## FPL Fleet
OPC 006114 | Plant | Equipment | Unit ID | MW Rating (CT, ST Only) | OEM | OEM Model | Notes
FPL RC-16 | Cape Canaveral | CT | PCC-31 | 274 | Siemens | 8000H
| Cape Canaveral | CT | PCC-32 | 274 | Siemens | 8000H
| Cape Canaveral | CT | PCC-33 | 274 | Siemens | 8000H
| Cape Canaveral | Gen - CT | 31 | 323 MVA | Siemens | SGEN5-2000H 110/46
| Cape Canaveral | Gen - CT | 32 | 323 MVA | Siemens | SGEN5-2000H 110/46
| Cape Canaveral | Gen - CT | 33 | 323 MVA | Siemens | SGEN5-2000H 110/46
| Cape Canaveral | Gen - ST | 30 - ST | 555 MVA | Toshiba | TAKS
| Cape Canaveral | HRSG | PCC3A | N/A | NE | N/A
| Cape Canaveral | HRSG | PCC3B | N/A | NE | N/A
| Cape Canaveral | HRSG | PCC3C | N/A | NE | N/A
| Cape Canaveral | ST | PCC3ST | 518 | Toshiba | TC4F
| Fort Myers | CT | PFM2A | 165 | GE | 7FA+E
| Fort Myers | CT | PFM2B | 165 | GE | 7FA+E
| Fort Myers | CT | PFM2C | 165 | GE | 7FA+E
| Fort Myers | CT | PFM2D | 165 | GE | 7FA+E
| Fort Myers | CT | PFM2E | 165 | GE | 7FA+E
| Fort Myers | CT | PFM2F | 165 | GE | 7FA+E
| Fort Myers | CT | PFM3A | 165 | GE | 7FA+E
| Fort Myers | CT | PFM3B | 165 | GE | 7FA+E
| Fort Myers | CT | PFMGT1 | 30 | GE | 7B
| Fort Myers | CT | PFMGT10 | 30 | GE | 7B
| Fort Myers | CT | PFMGT11 | 30 | GE | 7B
| Fort Myers | CT | PFMGT12 | 30 | GE | 7B
| Fort Myers | CT | PFMGT2 | 30 | GE | 7B
| Fort Myers | CT | PFMGT3 | 30 | GE | 7B
| Fort Myers | CT | PFMGT4 | 30 | GE | 7B
| Fort Myers | CT | PFMGT5 | 30 | GE | 7B
| Fort Myers | CT | PFMGT6 | 30 | GE | 7B
| Fort Myers | CT | PFMGT7 | 30 | GE | 7B
| Fort Myers | CT | PFMGT8 | 30 | GE | 7B
| Fort Myers | CT | PFMGT9 | 30 | GE | 7B
| Fort Myers | Gen - CT | PFM2A | 231 MVA | GE | 7FH2
| Fort Myers | Gen - CT | PFM2B | 231 MVA | GE | 7FH2
| Fort Myers | Gen - CT | PFM2C | 231 MVA | GE | 7FH2
| Fort Myers | Gen - CT | PFM2D | 231 MVA | GE | 7FH2
| Fort Myers | Gen - CT | PFM2E | 231 MVA | GE | 7FH2
| Fort Myers | Gen - CT | PFM2F | 231 MVA | GE | 7FH2
| Fort Myers | Gen - CT | PFM3A | 231 MVA | GE | 7FH2
| Fort Myers | Gen - CT | PFM3B | 231 MVA | GE | 7FH2
| Fort Myers | Gen - ST | PFM21ST | 184 MVA | WEST | Hydrogen-Cooled
| Fort Myers | Gen - ST | PFM22ST | 490 MVA | GE | Oil-Cooled
| Fort Myers | HRSG | PFM2A | N/A | FW | N/A
| Fort Myers | HRSG | PFM2B | N/A | FW | N/A
| Fort Myers | HRSG | PFM2C | N/A | FW | N/A
| Fort Myers | HRSG | PFM2D | N/A | FW | N/A
| Fort Myers | HRSG | PFM2E | N/A | FW | N/A
| Fort Myers | HRSG | PFM2F | N/A | FW | N/A
| Fort Myers | ST | PFM2ST | 450 | GE | G2
| Fort Myers | ST | PFM2ST | 65 | GE | K1-DFLP only
| Ft Lauderdale | CT | PFL-4A | 150 | WEST | 501F
| Ft Lauderdale | CT | PFL-4B | 150 | WEST | 501F
| Ft Lauderdale | CT | PFL-5A | 150 | WEST | 501F
| Ft Lauderdale | CT | PFL-5B | 150 | WEST | 501F
| Ft Lauderdale | Gen - CT | 4A | 190 MVA | WEST | Hydrogen-Cooled
| Ft Lauderdale | Gen - CT | 4B | 190 MVA | WEST | Hydrogen-Cooled
| Ft Lauderdale | Gen - CT | 5A | 190 MVA | WEST | Hydrogen-Cooled
| Ft Lauderdale | Gen - CT | 5B | 190 MVA | WEST | Hydrogen-Cooled
| Ft Lauderdale | Gen - ST | 4ST | 184 MVA | WEST | Hydrogen-Cooled
| Ft Lauderdale | Gen - ST | 5ST | 184 MVA | WEST | Hydrogen-Cooled
| Ft Lauderdale | HRSG | PFL4A | N/A | Vogt | N/A
| Ft Lauderdale | HRSG | PFL4B | N/A | Vogt | N/A
| Ft Lauderdale | HRSG | PFL5A | N/A | Vogt | N/A
| Ft Lauderdale | HRSG | PFL5B | N/A | Vogt | N/A
| Ft Lauderdale | ST | PFL4ST | 125 | WEST | RT1286G
| Ft Lauderdale | ST | PFL5ST | 125 | WEST | RT1286G
| GTPP | CT | GT01 | 15 | P&W | FT4
| GTPP | CT | GT02 | 15 | P&W | FT4
| GTPP | CT | GT03 | 15 | P&W | FT4
| GTPP | CT | GT04 | 15 | P&W | FT4
| GTPP | CT | GT05 | 15 | P&W | FT4
| GTPP | CT | GT06 | 15 | P&W | FT4
| GTPP | CT | GT07 | 15 | P&W | FT4
| GTPP | CT | GT08 | 15 | P&W | FT4
| GTPP | CT | GT09 | 15 | P&W | FT4
| GTPP | CT | GT10 | 15 | P&W | FT4
| GTPP | CT | GT11 | 15 | P&W | FT4
| GTPP | CT | GT12 | 15 | P&W | FT4
| GTPP | CT | GT13 | 15 | P&W | FT4
| GTPP | CT | GT14 | 15 | P&W | FT4
| GTPP | CT | GT15 | 15 | P&W | FT4
| GTPP | CT | GT16 | 15 | P&W | FT4
| GTPP | CT | GT17 | 15 | P&W | FT4
| GTPP | CT | GT18 | 15 | P&W | FT4
| GTPP | CT | GT19 | 15 | P&W | FT4
| GTPP | CT | GT20 | 15 | P&W | FT4
| GTPP | CT | GT21 | 15 | P&W | FT4
| GTPP | CT | GT22 | 15 | P&W | FT4
| GTPP | CT | GT23 | 15 | P&W | FT4
| GTPP | CT | GT24 | 15 | P&W | FT4
| GTPP | CT | GT25 | 15 | P&W | FT4
| GTPP | CT | GT26 | 15 | P&W | FT4
| GTPP | CT | GT27 | 15 | P&W | FT4
| GTPP | CT | GT28 | 15 | P&W | FT4
| GTPP | CT | GT29 | 15 | P&W | FT4
| GTPP | CT | GT30 | 15 | P&W | FT4
| GTPP | CT | GT31 | 15 | P&W | FT4
| GTPP | CT | GT32 | 15 | P&W | FT4
| GTPP | CT | GT33 | 15 | P&W | FT4
| GTPP | CT | GT34 | 15 | P&W | FT4
| GTPP | CT | GT35 | 15 | P&W | FT4
| GTPP | CT | GT36 | 15 | P&W | FT4
| GTPP | CT | GT37 | 15 | P&W | FT4
| GTPP | CT | GT38 | 15 | P&W | FT4
| GTPP | CT | GT39 | 15 | P&W | FT4
| GTPP | CT | GT40 | 15 | P&W | FT4
| GTPP | CT | GT41 | 15 | P&W | FT4
| GTPP | CT | GT42 | 15 | P&W | FT4
| GTPP | CT | GT43 | 15 | P&W | FT4
| GTPP | CT | GT44 | 15 | P&W | FT4
| GTPP | CT | GT45 | 15 | P&W | FT4
| GTPP | CT | GT46 | 15 | P&W | FT4
| GTPP | CT | GT47 | 15 | P&W | FT4
| GTPP | CT | GT48 | 15 | P&W | FT4
| GTPP | CT | GT49 | 15 | P&W | FT4
| GTPP | CT | GT50 | 15 | P&W | FT4
| GTPP | CT | GT51 | 15 | P&W | FT4
| GTPP | CT | GT52 | 15 | P&W | FT4
| GTPP | CT | GT53 | 15 | P&W | FT4
| GTPP | CT | GT54 | 15 | P&W | FT4
| GTPP | CT | GT55 | 15 | P&W | FT4
| GTPP | CT | GT56 | 15 | P&W | FT4
| GTPP | CT | GT57 | 15 | P&W | FT4
| GTPP | CT | GT58 | 15 | P&W | FT4
| GTPP | CT | GT59 | 15 | P&W | FT4
| GTPP | CT | GT60 | 15 | P&W | FT4
| GTPP | CT | GT61 | 15 | P&W | FT4
| GTPP | CT | GT62 | 15 | P&W | FT4
| GTPP | CT | GT63 | 15 | P&W | FT4
| GTPP | CT | GT64 | 15 | P&W | FT4
| GTPP | CT | GT65 | 15 | P&W | FT4
| GTPP | CT | GT66 | 15 | P&W | FT4
| GTPP | CT | GT67 | 15 | P&W | FT4
| GTPP | CT | GT68 | 15 | P&W | FT4
| GTPP | CT | GT69 | 15 | P&W | FT4
| GTPP | CT | GT70 | 15 | P&W | FT4
| GTPP | CT | GT71 | 15 | P&W | FT4
| GTPP | CT | GT72 | 15 | P&W | FT4
| Manatee | CT | PMT3A | 165 | GE | 7FA+E
| Manatee | CT | PMT3B | 165 | GE | 7FA+E
| Manatee | CT | PMT3C | 165 | GE | 7FA+E
| Manatee | CT | PMT3D | 165 | GE | 7FA+E
| Manatee | Gen - CT | PMT3A | 231 MVA | GE | 7FH2
| Manatee | Gen - CT | PMT3B | 231 MVA | GE | 7FH2
| Manatee | Gen - CT | PMT3C | 231 MVA | GE | 7FH2
| Manatee | Gen - CT | PMT3D | 231 MVA | GE | 7FH2
| Manatee | Gen - ST | PMT1 | 970 MVA | WEST | Hydrogen-Cooled
| Manatee | Gen - ST | PMT2 | 970 MVA | WEST | Hydrogen-Cooled
| Manatee | Gen - ST | PMT3ST | 555 MVA | Toshiba | TAKS
| Manatee | HRSG | PMT3A | N/A | NE | N/A
| Manatee | HRSG | PMT3B | N/A | NE | N/A
| Manatee | HRSG | PMT3C | N/A | NE | N/A
| Manatee | HRSG | PMT3D | N/A | NE | N/A
| Manatee | ST | PMT3ST | 474 | Toshiba | TC4F
| Manatee | ST | PMT1ST | 789 | WEST | 4316RT4
| Manatee | ST | PMT2ST | 789 | WEST | 4316RT4
| Martin | CT | PMG3A | 150 | GE | 7FA
| Martin | CT | PMG3B | 150 | GE | 7FA
| Martin | CT | PMG4A | 150 | GE | 7FA
| Martin | CT | PMG4B | 150 | GE | 7FA
| Martin | CT | PMR8A | 165 | GE | 7FA+E
| Martin | CT | PMR8B | 165 | GE | 7FA+E
| Martin | CT | PMR8C | 165 | GE | 7FA+E
| Martin | CT | PMR8D | 165 | GE | 7FA+E
| Martin | Gen - CT | PMG3A | 255 MVA | GE | Hydrogen-Cooled
| Martin | Gen - CT | PMG3B | 255 MVA | GE | Hydrogen-Cooled
| Martin | Gen - CT | PMG4A | 255 MVA | GE | Hydrogen-Cooled
| Martin | Gen - CT | PMG4B | 255 MVA | GE | Hydrogen-Cooled
| Martin | Gen - CT | PMR8A | 231 MVA | GE | 7FH2
| Martin | Gen - CT | PMR8B | 231 MVA | GE | 7FH2
| Martin | Gen - CT | PMR8C | 231 MVA | GE | 7FH2
| Martin | Gen - CT | PMR8D | 231 MVA | GE | 7FH2
| Martin | Gen - ST | PMR1 | 1050 MVA | ALSTOM | Water-Cooled
| Martin | Gen - ST | PMR2 | 1050 MVA | ALSTOM | Water-Cooled
| Martin | Gen - ST | PMG3ST | 255 MVA | GE | Hydrogen-Cooled
| Martin | Gen - ST | PMG4ST | 255 MVA | GE | Hydrogen-Cooled
| Martin | Gen - ST | PMR8ST | 555 MVA | Toshiba | TAKS
| Martin | HRSG | PMG3A | N/A | Vogt | N/A
| Martin | HRSG | PMG3B | N/A | Vogt | N/A
| Martin | HRSG | PMG4A | N/A | Vogt | N/A
| Martin | HRSG | PMG4B | N/A | Vogt | N/A
| Martin | HRSG | PMR8A | N/A | NE | N/A
| Martin | HRSG | PMR8B | N/A | NE | N/A
| Martin | HRSG | PMR8C | N/A | NE | N/A
| Martin | HRSG | PMR8D | N/A | NE | N/A
| Martin | ST | PMR1ST | 789 MW | WEST | 4316RT4
| Martin | ST | PMR2ST | 789 MW | WEST | 4316RT4
| Martin | ST | PMR3ST | 164 | GE | D10
| Martin | ST | PMR4ST | 164 | GE | D10
| Martin | ST | PMR8ST | 480 | Toshiba | TC4F
| Martin | Steam Generator (Boiler) | PMR1 | 800 | FW | Natural Circ Reheat SG
| Martin | Steam Generator (Boiler) | PMR2 | 800 | FW | Natural Circ Reheat SG
| Port Everglades | CT | PPE-51 | 294 | Siemens | 8000H
| Port Everglades | CT | PPE-52 | 294 | Siemens | 8000H
| Port Everglades | CT | PPE-53 | 294 | Siemens | 8000H
| Port Everglades | Gen - CT | PPE-51 | 323 MVA | Siemens | SGEN5-2000H 110/46 | Information not official as site is in construction
| Port Everglades | Gen - CT | PPE-52 | 323 MVA | Siemens | SGEN5-2000H 110/46 | Information not official as site is in construction
| Port Everglades | Gen - CT | PPE-53 | 323 MVA | Siemens | SGEN5-2000H 110/46 | Information not official as site is in construction
| Port Everglades | Gen - ST |  |  | Siemens |  | Information not official as site is in construction
| Port Everglades | HRSG | PPE5-1 | N/A | NE | N/A
| Port Everglades | HRSG | PPE5-2 | N/A | NE | N/A
| Port Everglades | HRSG | PPE5-3 | N/A | NE | N/A
| Port Everglades | ST | PPE-5ST | 500 | Siemens | KNN
| Riviera Beach | CT | PRV-51 | 274 | Siemens | 8000H
| Riviera Beach | CT | PRV-52 | 274 | Siemens | 8000H
| Riviera Beach | CT | PRV-53 | 274 | Siemens | 8000H
| Riviera Beach | Gen - CT | PRV5A | 323 MVA | Siemens | SGEN5-2000H 110/46
| Riviera Beach | Gen - CT | PRV5B | 323 MVA | Siemens | SGEN5-2000H 110/46
| Riviera Beach | Gen - CT | PRV5C | 323 MVA | Siemens | SGEN5-2000H 110/46
| Riviera Beach | Gen - ST | PRV5ST | 555 MVA | Toshiba | TAKS
| Riviera Beach | HRSG | PRV5A | N/A | NE | N/A
| Riviera Beach | HRSG | PRV5B | N/A | NE | N/A
| Riviera Beach | HRSG | PRV5C | N/A | NE | N/A
| Riviera Beach | ST | PRV5ST | 517 | Toshiba | TC4F
| Sanford | CT | PSR4A | 165 | GE | 7FA+E
| Sanford | CT | PSR4B | 165 | GE | 7FA+E
| Sanford | CT | PSR4C | 165 | GE | 7FA+E
| Sanford | CT | PSR4D | 165 | GE | 7FA+E
| Sanford | CT | PSR5A | 165 | GE | 7FA+E
| Sanford | CT | PSR5B | 165 | GE | 7FA+E
| Sanford | CT | PSR5C | 165 | GE | 7FA+E
| Sanford | CT | PSR5D | 165 | GE | 7FA+E
| Sanford | Gen - CT | PSR4A | 231 MVA | GE | 7FH2
| Sanford | Gen - CT | PSR4B | 231 MVA | GE | 7FH2
| Sanford | Gen - CT | PSR4C | 231 MVA | GE | 7FH2
| Sanford | Gen - CT | PSR4D | 231 MVA | GE | 7FH2
| Sanford | Gen - CT | PSR5A | 231 MVA | GE | 7FH2
| Sanford | Gen - CT | PSR5B | 231 MVA | GE | 7FH2
| Sanford | Gen - CT | PSR5C | 231 MVA | GE | 7FH2
| Sanford | Gen - CT | PSR5D | 231 MVA | GE | 7FH2
| Sanford | Gen - ST | PSR4ST | 525 MVA | WEST | Hydrogen-Cooled
| Sanford | Gen - ST | PSR5ST | 525 MVA | WEST | Hydrogen-Cooled
| Sanford | HRSG | PSR4A | N/A | FW | N/A
| Sanford | HRSG | PSR4B | N/A | FW | N/A
| Sanford | HRSG | PSR4C | N/A | FW | N/A
| Sanford | HRSG | PSR4D | N/A | FW | N/A
| Sanford | HRSG | PSR5A | N/A | FW | N/A
| Sanford | HRSG | PSR5B | N/A | FW | N/A
| Sanford | HRSG | PSR5C | N/A | FW | N/A
| Sanford | HRSG | PSR5D | N/A | FW | N/A
| Sanford | ST | PSR4ST | 352 | WEST | 2316RT2
| Sanford | ST | PSR5ST | 352 | WEST | 2316RT2
| Turkey Point 1 | ST | PTF1ST | 406 | GE | G2 | Will be decommissioned soon
| Turkey Point 2 | ST | PTF2ST | 406 | GE | G2 | Decommissioned but not dismantled
| Turkey Point 5 | CT | PTF5A | 165 | GE | 7FA+E
| Turkey Point 5 | CT | PTF5B | 165 | GE | 7FA+E
| Turkey Point 5 | CT | PTF5C | 165 | GE | 7FA+E
| Turkey Point 5 | CT | PTF5D | 165 | GE | 7FA+E
| Turkey Point 5 | Gen - CT | PTF5A | 231 MVA | GE | 7FH2
| Turkey Point 5 | Gen - CT | PTF5B | 231 MVA | GE | 7FH2
| Turkey Point 5 | Gen - CT | PTF5C | 231 MVA | GE | 7FH2
| Turkey Point 5 | Gen - CT | PTF5D | 231 MVA | GE | 7FH2
| Turkey Point 5 | Gen - ST | PTF5ST | 231 MVA | GE | 7FH2
| Turkey Point 5 | HRSG | PTF5A | N/A | NE | N/A
| Turkey Point 5 | HRSG | PTF5B | N/A | NE | N/A
| Turkey Point 5 | HRSG | PTF5C | N/A | NE | N/A
| Turkey Point 5 | HRSG | PTF5D | N/A | NE | N/A
| Turkey Point 5 | ST | PTF5ST | 489 | Toshiba | TC4F
| West County | CT | PWC1A | 267 | Mitsubishi | 501G1
| West County | CT | PWC1B | 267 | Mitsubishi | 501G1
| West County | CT | PWC1C | 267 | Mitsubishi | 501G1
| West County | CT | PWC2A | 267 | Mitsubishi | 501G1
| West County | CT | PWC2B | 267 | Mitsubishi | 501G1
| West County | CT | PWC2C | 267 | Mitsubishi | 501G1
| West County | CT | PWC3A | 267 | Mitsubishi | 501G1
| West County | CT | PWC3B | 267 | Mitsubishi | 501G1
| West County | CT | PWC3C | 267 | Mitsubishi | 501G1
| West County | Gen - CT | PWC1A | 351 MVA | Mitsubishi | MBH
| West County | Gen - CT | PWC1B | 351 MVA | Mitsubishi | MBH
| West County | Gen - CT | PWC1C | 351 MVA | Mitsubishi | MBH
| West County | Gen - CT | PWC2A | 351 MVA | Mitsubishi | MBH
| West County | Gen - CT | PWC2B | 351 MVA | Mitsubishi | MBH
| West County | Gen - CT | PWC2C | 351 MVA | Mitsubishi | MBH
| West County | Gen - CT | PWC3A | 351 MVA | Mitsubishi | MBH
| West County | Gen - CT | PWC3B | 351 MVA | Mitsubishi | MBH
| West County | Gen - CT | PWC3C | 351 MVA | Mitsubishi | MBH
| West County | Gen - ST | PWC1ST | 555 MVA | Toshiba | TAKS
| West County | Gen - ST | PWC2ST | 555 MVA | Toshiba | TAKS
| West County | Gen - ST | PWC3ST | 555 MVA | Toshiba | TAKS
| West County | HRSG | PWC1A | N/A | NE | N/A
| West County | HRSG | PWC1B | N/A | NE | N/A
| West County | HRSG | PWC1C | N/A | NE | N/A
| West County | HRSG | PWC2A | N/A | NE | N/A
| West County | HRSG | PWC2B | N/A | NE | N/A
| West County | HRSG | PWC2C | N/A | NE | N/A
| West County | HRSG | PWC3A | N/A | NE | N/A
| West County | HRSG | PWC3B | N/A | NE | N/A
| West County | HRSG | PWC3C | N/A | NE | N/A
| West County | ST | PWC1ST | 517 | Toshiba | TC4F
| West County | ST | PWC2ST | 517 | Toshiba | TC4F
| West County | ST | PWC3ST | 517 | Toshiba | TC4F
| Scherer | Steam Generator (Boiler) | SCH4 | 880 | GE | G3 | Baghouse, SCR, FGD, Precips
| SJRPP | Steam Generator (Boiler) | PJK1 | 625 | GE | G3 | SCR, FGD, Precips
| SJRPP | Steam Generator (Boiler) | PJK2 | 625 | GE | G3 | SCR, FGD, Precips