## Backup
OPC 002149 FPL RC-16
Economics of 3-74.5 MW solar portfolio (COD Sept 2016)
CPVRR Results (2015$) 2015-2046
(negative CPVRR indicates savings due to the solar projects)
| Generation | Transmission |  | Capital | Pipeline |  | Total |  | Startup |  | Total | Total | Total CPVRR
| Capital | Capital | Generation | Replacement | Capital | Short Term Purchase | Fixed | System | + VOM | Emission | VOM/Fuel | Annual | Difference from
| FPL | FPL | Fixed O&M | Charges | Costs |  | Costs | Net Fuel | Costs | Costs | Costs | Costs | Reference Case
| (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions)
without 3-74.5 MW Solar Projects = | 7075.6405 | 455.2506 | 464.9322 | 1356.0654 | 145.4543 | 11.4753 | 9508.8184 | 63505.5645 | 1066.0639 | 14826.2992 | 79397.9276 | 88906.746 | 0
with 3-74.5 MW Solar Projects = | 7445.2784 | 451.5707 | 482.6105 | 1343.7768 | 134.6996 | 6.0465 | 9863.9825 | 63204.6914 | 1078.1949 | 14765.5352 | 79048.4215 | 88912.404 | 5.658
[12 empty] | without Babcock Franchise Rebate = | 5.658
Babcock Rebate | 4.381 | (offset to costs) | [9 empty] | with Babcock Franchise Rebate = | 1.277
Difference = | 369.6378 | -3.6799 | 17.6782 | -12.2886 | -10.7547 | -5.4287 | 355.1641 | -300.8731 | 12.131 | -60.764 | -349.506 | 5.658
| Generation Capital = | 349.7745 | <--- Generation Capital + Transmission Capital + Pipeline Capital + Short Term Purchase
| Capital Replacement = | -12.2886
| Fixed O& M = | 17.6782
| Fuel / Emssions / VOM = | -349.506
-------
| CPVRR = | 5.658
Annual Reduction in fuel costs (nominal $):
|  |  | No Solar | Solar | Delta
|  |  | System | System | System
|  |  | Net Fuel | Net Fuel | Net Fuel
|  | Year | (Millions) | (Millions) | (Millions)
|  | 2015 | 2793.23 | 2793.23 | 0
|  | 2016 | 2959.3 | 2959.3 | 0
|  | 2017 | 3028.01 | 3002.03 | -25.98 | <------------ | The reduction in fuel costs in 2017 (savings)
|  | 2018 | 3240.41 | 3218.67 | -21.74
|  | 2019 | 3532.68 | 3503.75 | -28.93
|  | 2020 | 3870.31 | 3843.15 | -27.16
|  | Nominal = | 19423.94 | 19320.13 | -103.81 | <------------ | The annual reduction in fuel costs by 2020 (savings)