## Nameplate Capacity
OPC 006115 | FPL Generator Nameplate Capacity
FPL RC-16
Used for reporting Total Installed Capability (Max Gen Nameplate Ratings - MW) in FERC Form 1, line 5
Plants highlighted in red are future installations.
| Site | SubUnit | GENERATOR DESIGN NAME PLATE |  |  | Site | SubUnit | GENERATOR DESIGN NAME PLATE |  |  | Site | SubUnit | GENERATOR DESIGN NAME PLATE
|  |  | MVA | PF | MW |  |  | MVA | PF | MW |  |  | MVA | PF | MW
| PCC |  | 1524 |  | 1295.4 | PMT |  | 3380.6 |  | 2951.11 | PSN |  | 2751.2 |  | 2377.72
| PCC3 |  | 1524 | 0.85 | 1295.4 | PMT1 |  | 970 | 0.89 | 863.3 | PSN4 |  | 1375.6 | 0.86425 | 1188.86
|  | CTA | 323 | 0.85 | 274.55 | PMT2 |  | 970 | 0.89 | 863.3 |  | CTA | 221.4 | 0.85 | 188.19
|  | CTB | 323 | 0.85 | 274.55 | PMT3 |  | 1440.6 | 0.85 | 1224.51 |  | CTB | 221.4 | 0.85 | 188.19
|  | CTC | 323 | 0.85 | 274.55 |  | CTA | 221.4 | 0.85 | 188.19 |  | CTC | 221.4 | 0.85 | 188.19
|  | ST | 555 | 0.85 | 471.75 |  | CTB | 221.4 | 0.85 | 188.19 |  | CTD | 221.4 | 0.85 | 188.19
| PDO |  | 25 |  | 22.5 |  | CTC | 221.4 | 0.85 | 188.19 |  | ST | 490 | 0.89 | 436.1
| PDO |  | 25 | 0.9 | 22.5 |  | CTD | 221.4 | 0.85 | 188.19 | PSN5 |  | 1375.6 | 0.86425 | 1188.86
| PFL |  | 2259.08 |  | 1873.968 |  | ST | 555 | 0.85 | 471.75 |  | CTA | 221.4 | 0.85 | 188.19
| PFL4 |  | 646.324 | 0.81422 | 526.2504 | PPE |  | 2145.216 |  | 1823.4336 |  | CTB | 221.4 | 0.85 | 188.19
|  | CTA | 231.25 | 0.8 | 185 | PPE5 |  | 1662 | 0.85 | 1412.7 |  | CTC | 221.4 | 0.85 | 188.19
|  | CTB | 231.25 | 0.8 | 185 |  | CTA | 374 | 0.85 | 317.9 |  | CTD | 221.4 | 0.85 | 188.19
|  | ST | 183.824 | 0.85 | 156.2504 |  | CTB | 374 | 0.85 | 317.9 |  | ST | 490 | 0.89 | 436.1
| PFL5 |  | 646.324 | 0.81422 | 526.2504 |  | CTC | 374 | 0.85 | 317.9 | PTF |  | 3934.6 |  | 3344.41
|  | CTA | 231.25 | 0.8 | 185 |  | ST | 540 | 0.85 | 459 | PTF1 |  | 430 | 0.85 | 365.5
|  | CTB | 231.25 | 0.8 | 185 | PPEGT | 12 | 483.216 | 0.85 | 410.7336 | PTN3 |  | 1032 | 0.85 | 877.2
|  | ST | 183.824 | 0.85 | 156.2504 | PPN |  | 644.442 |  | 579.9978 | PTN4 |  | 1032 | 0.85 | 877.2
| PFLGT1 | 12 | 483.216 | 0.85 | 410.7336 | PPN1 |  | 322.221 | 0.9 | 289.9989 | PTF5 |  | 1440.6 | 0.85 | 1224.51
| PFLGT2 | 12 | 483.216 | 0.85 | 410.7336 |  | CTA | 94.444 | 0.9 | 84.9996 |  | CTA | 221.4 | 0.85 | 188.19
| PFM |  | 3271.824 |  | 2841.9904 |  | CTB | 94.444 | 0.9 | 84.9996 |  | CTB | 221.4 | 0.85 | 188.19
| PFM2 |  | 2002.224 | 0.85979 | 1721.4904 |  | ST | 133.333 | 0.9 | 119.9997 |  | CTC | 221.4 | 0.85 | 188.19
|  | CTA | 221.4 | 0.85 | 188.19 | PPN2 |  | 322.221 | 0.9 | 289.9989 |  | CTD | 221.4 | 0.85 | 188.19
|  | CTB | 221.4 | 0.85 | 188.19 |  | CTA | 94.444 | 0.9 | 84.9996 |  | ST | 555 | 0.85 | 471.75
|  | CTC | 221.4 | 0.85 | 188.19 |  | CTB | 94.444 | 0.9 | 84.9996 | PWC |  | 4824 |  | 4100.4
|  | CTD | 221.4 | 0.85 | 188.19 |  | ST | 133.333 | 0.9 | 119.9997 | PWC1 |  | 1608 | 0.85 | 1366.8
|  | CTE | 221.4 | 0.85 | 188.19 | PRV |  | 1524 |  | 1295.4 |  | CTA | 351 | 0.85 | 298.35
|  | CTF | 221.4 | 0.85 | 188.19 | PRV5 |  | 1524 | 0.85 | 1295.4 |  | CTB | 351 | 0.85 | 298.35
|  | ST1 | 183.824 | 0.85 | 156.2504 |  | CTA | 323 | 0.85 | 274.55 |  | CTC | 351 | 0.85 | 298.35
|  | ST2 | 490 | 0.89 | 436.1 |  | CTB | 323 | 0.85 | 274.55 |  | ST | 555 | 0.85 | 471.75
| PFM3 |  | 442.8 | 0.85 | 376.38 |  | CTC | 323 | 0.85 | 274.55 | PWC2 |  | 1608 | 0.85 | 1366.8
|  | CTA | 221.4 | 0.85 | 188.19 |  | ST | 555 | 0.85 | 471.75 |  | CTA | 351 | 0.85 | 298.35
|  | CTB | 221.4 | 0.85 | 188.19 | PSC |  | 10 |  | 10 |  | CTB | 351 | 0.85 | 298.35
| PFMGT | 12 | 826.8 | 0.9 | 744.12 | PSC |  | 10 | 1 | 10 |  | CTC | 351 | 0.85 | 298.35
| PJK | 100% | 1510.2 |  | 1359.18 | PSG | 100% | 990 |  | 891 |  | ST | 555 | 0.85 | 471.75
| PJK1 | 100% | 755.1 | 0.9 | 679.59 | PSG4 | 100% | 990 | 0.9 | 891 | PWC3 |  | 1608 | 0.85 | 1366.8
| PJK1 | 20% | 151.02 | 0.9 | 135.918 | PSG4 | 76.36% | 755.964 | 0.9 | 680.3676 |  | CTA | 351 | 0.85 | 298.35
| PJK2 | 100% | 755.1 | 0.9 | 679.59 | PSL | 100% | 2400 |  | 2160 |  | CTB | 351 | 0.85 | 298.35
| PJK2 | 20% | 151.02 | 0.9 | 135.918 | PSL1 | 100% | 1200 | 0.9 | 1080 |  | CTC | 351 | 0.85 | 298.35
| PMR |  | 5070.6 |  | 4317.51 | PSL2 | 100% | 1200 | 0.9 | 1080 |  | ST | 555 | 0.85 | 471.75
| PMR1 |  | 1050 | 0.89 | 934.5 | PSL2 | 85.15% | 851.5 | 0.9 | 766.35 | TOTAL SYSTEM |  | 36264.762 |  | 31244.0198
| PMR2 |  | 1050 | 0.89 | 934.5
| PMG3 |  | 765 | 0.8 | 612 | Nameplate Capacity (or Installed Capacity):
|  | CTA | 255 | 0.8 | 204 | The full-load continuous rating of a generator, prime mover or other electric power production equipment under specific conditions as designated by the manufacturer. Installed generator nameplate rating is usually indicated on a nameplate physically attached to the generator.
|  | CTB | 255 | 0.8 | 204
|  | ST | 255 | 0.8 | 204
| PMG4 |  | 765 | 0.8 | 612
|  | CTA | 255 | 0.8 | 204 | Generator nameplate capacity:
|  | CTB | 255 | 0.8 | 204 | The maximum rated output of a generator under specific conditions designated by the manufacturer. Generator nameplate capacity is usually indicated in units of kilovolt-amperes (kVA) and in kilowatts (kW) on a nameplate physically attached to the generator.
|  | ST | 255 | 0.8 | 204
| PMG8 |  | 1440.6 | 0.85 | 1224.51
|  | CTA | 221.4 | 0.85 | 188.19
|  | CTB | 221.4 | 0.85 | 188.19 | Nameplate Rating:
|  | CTC | 221.4 | 0.85 | 188.19 | The initial capability of a piece of electrical equipment as stated on the attached nameplate. Actual capability can vary from the nameplate rating due to age, wear, maintenance or ambient conditions.
|  | CTD | 221.4 | 0.85 | 188.19
|  | ST | 555 | 0.85 | 471.75
Name plate:
A metal tag attached to a machine or appliance that contains information such as brand name, serial number, voltage, power ratings under specified conditions, and other manufacturer supplied data.

## Nameplate Rating
OPC 006116 | FPL Generator Nameplate Rating
FPL RC-16
Plants highlighted in red are future installations.
| Site | SubUnit | GENERATOR DESIGN NAME PLATE |  |  | Site | SubUnit | GENERATOR DESIGN NAME PLATE |  |  | Site | SubUnit | GENERATOR DESIGN NAME PLATE
|  |  | MVA | PF | MW |  |  | MVA | PF | MW |  |  | MVA | PF | MW
| PCC |  | 1524 |  | 1295.4 | PMT |  | 3380.6 |  | 2951.11 | PSN |  | 2751.2 |  | 2377.72
| PCC3 |  | 1524 | 0.85 | 1295.4 | PMT1 |  | 970 | 0.89 | 863.3 | PSN4 |  | 1375.6 | 0.86425 | 1188.86
|  | CTA | 323 | 0.85 | 274.55 | PMT2 |  | 970 | 0.89 | 863.3 |  | CTA | 221.4 | 0.85 | 188.19
|  | CTB | 323 | 0.85 | 274.55 | PMT3 |  | 1440.6 | 0.85 | 1224.51 |  | CTB | 221.4 | 0.85 | 188.19
|  | CTC | 323 | 0.85 | 274.55 |  | CTA | 221.4 | 0.85 | 188.19 |  | CTC | 221.4 | 0.85 | 188.19
|  | ST | 555 | 0.85 | 471.75 |  | CTB | 221.4 | 0.85 | 188.19 |  | CTD | 221.4 | 0.85 | 188.19
| PDO |  | 25 |  | 22.5 |  | CTC | 221.4 | 0.85 | 188.19 |  | ST | 490 | 0.89 | 436.1
| PDO |  | 25 | 0.9 | 22.5 |  | CTD | 221.4 | 0.85 | 188.19 | PSN5 |  | 1375.6 | 0.86425 | 1188.86
| PFL |  | 2259.08 |  | 1873.968 |  | ST | 555 | 0.85 | 471.75 |  | CTA | 221.4 | 0.85 | 188.19
| PFL4 |  | 646.324 | 0.81422 | 526.2504 | PPE |  | 2145.216 |  | 1823.4336 |  | CTB | 221.4 | 0.85 | 188.19
|  | CTA | 231.25 | 0.8 | 185 | PPE5 |  | 1662 | 0.85 | 1412.7 |  | CTC | 221.4 | 0.85 | 188.19
|  | CTB | 231.25 | 0.8 | 185 |  | CTA | 374 | 0.85 | 317.9 |  | CTD | 221.4 | 0.85 | 188.19
|  | ST | 183.824 | 0.85 | 156.2504 |  | CTB | 374 | 0.85 | 317.9 |  | ST | 490 | 0.89 | 436.1
| PFL5 |  | 646.324 | 0.81422 | 526.2504 |  | CTC | 374 | 0.85 | 317.9 | PTF |  | 3934.6 |  | 3344.41
|  | CTA | 231.25 | 0.8 | 185 |  | ST | 540 | 0.85 | 459 | PTF1 |  | 430 | 0.85 | 365.5
|  | CTB | 231.25 | 0.8 | 185 | PPEGT | 12 | 483.216 | 0.85 | 410.7336 | PTN3 |  | 1032 | 0.85 | 877.2
|  | ST | 183.824 | 0.85 | 156.2504 | PPN |  | 644.442 |  | 579.9978 | PTN4 |  | 1032 | 0.85 | 877.2
| PFLGT1 | 12 | 483.216 | 0.85 | 410.7336 | PPN1 |  | 322.221 | 0.9 | 289.9989 | PTF5 |  | 1440.6 | 0.85 | 1224.51
| PFLGT2 | 12 | 483.216 | 0.85 | 410.7336 |  | CTA | 94.444 | 0.9 | 84.9996 |  | CTA | 221.4 | 0.85 | 188.19
| PFM |  | 3271.692 |  | 2841.8716 |  | CTB | 94.444 | 0.9 | 84.9996 |  | CTB | 221.4 | 0.85 | 188.19
| PFM2 |  | 2002.224 | 0.85979 | 1721.4904 |  | ST | 133.333 | 0.9 | 119.9997 |  | CTC | 221.4 | 0.85 | 188.19
|  | CTA | 221.4 | 0.85 | 188.19 | PPN2 |  | 322.221 | 0.9 | 289.9989 |  | CTD | 221.4 | 0.85 | 188.19
|  | CTB | 221.4 | 0.85 | 188.19 |  | CTA | 94.444 | 0.9 | 84.9996 |  | ST | 555 | 0.85 | 471.75
|  | CTC | 221.4 | 0.85 | 188.19 |  | CTB | 94.444 | 0.9 | 84.9996 | PWC |  | 4824 |  | 4100.4
|  | CTD | 221.4 | 0.85 | 188.19 |  | ST | 133.333 | 0.9 | 119.9997 | PWC1 |  | 1608 | 0.85 | 1366.8
|  | CTE | 221.4 | 0.85 | 188.19 | PRV |  | 1524 |  | 1295.4 |  | CTA | 351 | 0.85 | 298.35
|  | CTF | 221.4 | 0.85 | 188.19 | PRV5 |  | 1524 | 0.85 | 1295.4 |  | CTB | 351 | 0.85 | 298.35
|  | ST1 | 183.824 | 0.85 | 156.2504 |  | CTA | 323 | 0.85 | 274.55 |  | CTC | 351 | 0.85 | 298.35
|  | ST2 | 490 | 0.89 | 436.1 |  | CTB | 323 | 0.85 | 274.55 |  | ST | 555 | 0.85 | 471.75
| PFM3 |  | 442.8 | 0.85 | 376.38 |  | CTC | 323 | 0.85 | 274.55 | PWC2 |  | 1608 | 0.85 | 1366.8
|  | CTA | 221.4 | 0.85 | 188.19 |  | ST | 555 | 0.85 | 471.75 |  | CTA | 351 | 0.85 | 298.35
|  | CTB | 221.4 | 0.85 | 188.19 | PSC |  | 10 |  | 10 |  | CTB | 351 | 0.85 | 298.35
| PFMGT | 12 | 826.668 | 0.9 | 744.0012 | PSC |  | 10 | 1 | 10 |  | CTC | 351 | 0.85 | 298.35
| PJK | 100% | 1510.2 |  | 1359.18 | PSG | 100% | 990 |  | 891 |  | ST | 555 | 0.85 | 471.75
| PJK1 | 100% | 755.1 | 0.9 | 679.59 | PSG4 | 100% | 990 | 0.9 | 891 | PWC3 |  | 1608 | 0.85 | 1366.8
| PJK1 | 20% | 151.02 | 0.9 | 135.918 | PSG4 | 76.36% | 755.964 | 0.9 | 680.3676 |  | CTA | 351 | 0.85 | 298.35
| PJK2 | 100% | 755.1 | 0.9 | 679.59 | PSL | 100% | 2400 |  | 2160 |  | CTB | 351 | 0.85 | 298.35
| PJK2 | 20% | 151.02 | 0.9 | 135.918 | PSL1 | 100% | 1200 | 0.9 | 1080 |  | CTC | 351 | 0.85 | 298.35
| PMR |  | 5070.6 |  | 4317.51 | PSL2 | 100% | 1200 | 0.9 | 1080 |  | ST | 555 | 0.85 | 471.75
| PMR1 |  | 1050 | 0.89 | 934.5 | PSL2 | 85.15% | 851.5 | 0.9 | 766.35 | TOTAL SYSTEM |  | 36264.63 |  | 31243.901
| PMR2 |  | 1050 | 0.89 | 934.5
| PMG3 |  | 765 | 0.8 | 612 | Nameplate Capacity (or Installed Capacity):
|  | CTA | 255 | 0.8 | 204 | The full-load continuous rating of a generator, prime mover or other electric power production equipment under specific conditions as designated by the manufacturer. Installed generator nameplate rating is usually indicated on a nameplate physically attached to the generator.
|  | CTB | 255 | 0.8 | 204
|  | ST | 255 | 0.8 | 204
| PMG4 |  | 765 | 0.8 | 612
|  | CTA | 255 | 0.8 | 204 | Generator nameplate capacity:
|  | CTB | 255 | 0.8 | 204 | The maximum rated output of a generator under specific conditions designated by the manufacturer. Generator nameplate capacity is usually indicated in units of kilovolt-amperes (kVA) and in kilowatts (kW) on a nameplate physically attached to the generator.
|  | ST | 255 | 0.8 | 204
| PMG8 |  | 1440.6 | 0.85 | 1224.51
|  | CTA | 221.4 | 0.85 | 188.19
|  | CTB | 221.4 | 0.85 | 188.19 | Nameplate Rating:
|  | CTC | 221.4 | 0.85 | 188.19 | The initial capability of a piece of electrical equipment as stated on the attached nameplate. Actual capability can vary from the nameplate rating due to age, wear, maintenance or ambient conditions.
|  | CTD | 221.4 | 0.85 | 188.19
|  | ST | 555 | 0.85 | 471.75
Name plate:
A metal tag attached to a machine or appliance that contains information such as brand name, serial number, voltage, power ratings under specified conditions, and other manufacturer supplied data.