## Historical CILC-CDR Equip
OPC 013365
FPL RC-16
Field Equipment Used On CILC and CDR Programs
Costs Per Unit
|  | Item | Date | M&S Number | Plant Acct. | # of Units | Total Cost (Excl. engr & devel) | Total Engr & Develop- ment Costs | Cost (Excl. engr & devel) | Engr & Development Costs | Florida Sales Tax | Shipping & Handling | Installation Cost | Total Cost
PRIMARY ONLY-
1 |  | Primary Aerial Switch (see note) |  | 270-274-505 |  | 15 | 300000 |  | 20000
TRANSMISSION & DISTRIBUTION (TRANSACTIONS) -
2 |  | CILC Load Control Junction Box (LCJB) & installation |  | 420-07000-7 | 586.1 | 550 | 110000 |  | 200 |  |  | 5 | 50 | 205
2 |  | CABINET, W/3 POLE TEST SWITCH, FP:51 | Per BOM | 420-07000-7 |  |  |  |  | 222.5474 |  |  |  |  | 222.5474
2 |  | CABINET, METER, UTB | Per BOM | 420-00098-0 |  |  |  |  | 95.4498 |  |  |  |  | 95.4498
3 | Base | CILC LCI-200 Load Control Device (mtrs) & installation |  | n/a | 370.9 | 600 | 300000 | 27810 | 500 | 46.35 | 50 | 5 | 50 | 601.35
3 | Base | LCI-200 Base Unit | 2007-12-21 |  |  | 100 | 34200 |  | 342 |  |  |  |  | 445.3
3 | EXT | LCI-200 Additional Contact Input | 2007-12-21 |  |  | 100 | 575 |  | 5.75
3 | Feet | LCI-200 Mounting Feet | 2007-12-21 |  |  | 100 | 1505 |  | 15.05
3 | PS-200 | Power Supply for LCI-200 | 2007-12-13 |  |  | 100 | 7500 |  | 75
3 |  | Modem Connector | 2007-12-22 |  |  | 100 | 750 |  | 7.5
| Base | LCI-200 Base Unit | 2008-02-07 |  |  | 50 | 17100 |  | 342 |  |  |  |  | 437.8
| EXT | LCI-200 Additional Contact Input | 2008-02-07 |  |  | 50 | 287.5 |  | 5.75
| Feet | LCI-200 Mounting Feet | 2008-02-07 |  |  | 50 | 752.5 |  | 15.05
| PS-200 | Power Supply for LCI-200 | 2008-02-25 |  |  | 50 | 3750 |  | 75
| PS-200 | Power Supply for LCI-200 | 2008-12-11 |  |  | 50 | 3750 |  | 75
| Base | LCI-200 Base Unit | 2008-12-15 |  |  | 50 | 19528.9 |  | 390.578 |  |  |  |  | 486.378
| EXT | LCI-200 Additional Contact Input | 2008-12-15 |  |  | 50 | 287.5 |  | 5.75
| Feet | LCI-200 Mounting Feet | 2008-12-15 |  |  | 50 | 752.5 |  | 15.05
| Base | LCI-200 Base Unit | 2009-01-15 |  |  | 50 | 19558.95 |  | 391.179 |  |  |  |  | 427.029
| EXT | LCI-200 Additional Contact Input | 2009-01-15 |  |  | 50 | 287.5 |  | 5.75
| Feet | LCI-200 Mounting Feet | 2009-01-15 |  |  | 50 | 752.5 |  | 15.05
| PS-200 | Power Supply for LCI-200 | 2009-01-15 |  |  | 50 | 3750 |  | 75
| Base | LCI-200 Base Unit | 2009-11-03 |  |  | 50 | 19458.45 |  | 389.169 |  |  |  |  | 484.969
| EXT | LCI-200 Additional Contact Input | 2009-11-03 |  |  | 50 | 287.5 |  | 5.75
| Feet | LCI-200 Mounting Feet | 2009-11-03 |  |  | 50 | 752.5 |  | 15.05
| PS-200 | Power Supply for LCI-200 | 2009-11-04 |  |  | 46 | 3498 |  | 76.0435
| Base | LCI-200 Base Unit | 2010-11-17 |  |  | 50 | 19500 |  | 390 |  |  |  |  | 486.8435
| EXT | LCI-200 Additional Contact Input | 2010-11-17 |  |  | 50 | 287.5 |  | 5.75
| Feet | LCI-200 Mounting Feet | 2010-11-17 |  |  | 50 | 752.5 |  | 15.05
| PS-200 | Power Supply for LCI-200 | 2010-11-19 |  |  | 50 | 3815.8 |  | 76.316
| PCBoard | LCI-200-PCB (PC Board Assembly) | 2010-11-17 |  |  | 50 | 14048.5 |  | 280.97
| ProgramChip | LCI-200-CHIP (Program Chip for LCI-200) | 2010-11-17 |  |  | 250 | 3760 |  | 15.04
| ProgramChip | LCI-200-CHIP (Program Chip for LCI-200) | 2011-04-12 |  |  | 114 | 2147.5 |  | 18.8377
| ProgramChip | LCI-200-CHIP (Program Chip for LCI-200) | 2011-05-13 |  |  | 114 | 2147.5 |  | 18.8377
| ProgramChip | LCI-200-CHIP (Program Chip for LCI-200) | 2011-05-13 |  |  | 114 | 2225.07 |  | 19.5182
| ProgramChip | LCI-200-CHIP (Program Chip for LCI-200) | 2011-06-23 |  |  | 114 | 2147.5 |  | 18.8377
| ProgramChip | LCI-200-CHIP (Program Chip for LCI-200) | 2011-06-27 |  |  | 114 | 2147.5 |  | 18.8377
| ProgramChip | LCI-200-CHIP (Program Chip for LCI-200) | 2011-08-02 |  |  | 114 | 2147.5 |  | 18.8377
| ProgramChip | LCI-200-CHIP (Program Chip for LCI-200) | 2011-08-16 |  |  | 114 | 2147.5 |  | 18.8377
| ProgramChip | LCI-200-CHIP (Program Chip for LCI-200) | 2011-10-28 |  |  | 250 | 4698.5 |  | 18.8377
4 |  | CILC AirLink Modem for LCI-200 (communications) |  | Old | 586.85 | 500 | 112000 |  | 224 |  | 22.4 | 5 |  | 251.4
5 |  | CILC MA-200 Adapter Board for EDGE Modem |  | n/a | 370.9 | 650 | 109525 | 50000 | 168.5 | 76.9231 | 16.85 | 5 | 50 | 267.2731
5 | MA-200 | Modem Adapter for LCI-200 |  |  |  | 50 | 11850 |  | 237 |  |  |  |  | 237
| MA-200 | Modem Adapter for LCI-200 | 2008-02-07 |  |  | 50 | 11850 |  | 237 |  |  |  |  | 237
| MA-200 | Modem Adapter for LCI-200 | 2008-12-15 |  |  | 50 | 13000 |  | 260 |  |  |  |  | 260
| MA-200 | Modem Adapter for LCI-200 | 2009-01-15 |  |  | 50 | 13000 |  | 260 |  |  |  |  | 260
| MA-200 | Modem Adapter for LCI-200 | 2009-11-03 |  |  | 50 | 13000 |  | 260 |  |  |  |  | 260
| MA-200 | Modem Adapter for LCI-200 | 2010-11-17 |  |  | 50 | 13000 |  | 260 |  |  |  |  | 260
6 |  | CILC EDGE Modem for MA-200 (communications) |  | New | 397.199 | 600 | 240000 |  | 400 |  | 40 | 5 |  | 445
6 |  | Wireless GPRS Modem |  |  |  | 100 | 39450 |  | 394.5 |  |  |  |  | 394.5
| 70002019 | Wireless GPRS Modem | 2008-05-12 |  |  | 50 | 21143.54 |  | 422.8708 |  |  |  |  | 422.8708
| 70002019 | Wireless GPRS Modem | 2008-12-17 |  |  | 50 | 21110.57 |  | 422.2114 |  |  |  |  | 422.2114
| 70002019 | Wireless GPRS Modem | 2009-02-19 |  |  | 50 | 19729.5 |  | 394.59 |  |  |  |  | 394.59
| 70002019 | Wireless GPRS Modem | 2009-12-29 |  |  | 50 | 19729.5 |  | 394.59 |  |  |  |  | 394.59
| 70002019 | Wireless GPRS Modem | 2010-12-28 |  |  | 50 | 19729.5 |  | 394.59 |  |  |  |  | 394.59
7 |  | CILC Technicom Monitor. LCM-100 |  | n/a | 371.301 | 600 | 288000 |  | 480 |  | 48 | 5 | 50 | 533
7 |  | LCM-100 Load Control Monitor & Cable | 2007-12-14 |  |  | 100 | 60400 |  | 604 |  |  |  |  | 604
| LCM-100 | LCM-100 Load Control Monitor & Cable | 2008-12-11 |  |  | 50 | 32156.9 |  | 643.138 |  |  |  |  | 643.138
TRANSMISSION & DISTRIBUTION (AVERAGE) -
2 |  | CILC Load Control Junction Box (LCJB) & installation |  |  |  | 700 | 110000 |  | 317.9972 |  | 22.2598 | 5 | 50 | 395.257
3 |  | LCI-200 Load Control Device (mtrs) & installation |  |  |  | 950 | 481248.6 | 27810 | 527.4401 | 29.2737 | 36.9208 | 5 | 50 | 648.6346
4 |  | No Longer Used | [11 empty] | 0
5 |  | CILC MA-200 Adapter Board for EDGE Modem |  |  |  | 950 | 185225 | 50000 | 194.9737 | 52.6316 | 13.6482 | 5 | 50 | 316.2534
6 |  | CILC EDGE Modem for MA-200 (communications) |  |  |  | 900 | 361163.11 | 0 | 400.9396 | 0 | 28.0658 | 5 | 0 | 434.0054
7 |  | LCM-100 Load Control Monitor & Cable |  |  |  | 750 | 380556.9 |  | 507.4092 |  | 35.5186 | 5 | 50 | 597.9278
|  | Total Transmission & Distribution |  |  |  |  | 1518193.61 | 77810 | 1948.7598 | 81.9053 | 136.4132 | 25 | 200 | 2392.0782
|  | CILC Primary Switches |  | 12
|  | Total CILC Customers |  | 441
|  | % with switches |  | 2.721%
No additional costs were added during 2013 - per Dan Haywood.
|  | CDR Primary Switches |  | 3
|  | Total CDR Customers |  | 35 | ??
|  | % with switches |  | 8.571%
Note:
(1) Used where applicable on large primary metered locations.
(2) CDR goal reduction goal increased for 2006, 2007, 2008 years increasing # of sign ups to CDR.
(3) For above items # 2,3,5,6, and 7 we anticipate 100 of each to be purchased in 2006
Sources:
Technicom Inc's proposal for LCI-200, dated 7/6/01.
Technicom Inc's proposal for MA-200, dated 7/20/04.
PO # 4500015331 to Technicom Inc., dated 10/5/00.
Airlink's invoice dated 7/31/01.
Est # of CILC & CDR Cust's as of 1/31/06.
December 2007 invoices and estimated purchases per Ernie Placensia for recent transactions
2008, 2009, 2010 & 2011 invoices per Ernie Placensia