## 2017_LLS_Loss_Expansion_Factors
OPC 012994
FPL RC-16
Line No. | Voltage Level |  | Energy Expansion Factor | Demand Expansion Factor | Loss %
1
2 | Transmission | 0 | 1.017 | 1.0218 | 1.672%
3
4 | Primary | 0 | 1.0267 | 1.0348 | 2.6%
5
6 | Secondary | 0 | 1.0486 | 1.0644 | 4.637%
7
8
9 | Company Use Demand: |  | 0 | 0 | 0%
10 | (GSD-1) 12CP | 4065352.8417 | 0 | 0 | 0%
11 | (GSD-1) KWH | 25826947.6711 | 0 | 0 | 0%
12 | Load Factor | 0.72522 | 0 | 0 | 0%
13 | 12CP Demand (rounded) | 20.5755 | 0 | 0 | 0%
14
15
16 | Calculation Net Energy to Transmission Less Southern JEA LP: |  | 0 | 0 | 0%
17 | Net Energy For Load | 118831903.2927 | 0 | 0 | 0%
18
19 | + Seminole Load Received | 2282100 | 0 | 0 | 0%
20 | + St. Lucie Entitlement Received | 586976 | 0 | 0 | 0%
21 | + Power wheeled for others | 4643301 | 0 | 0 | 0%
22 | - Southern JEA / Transfers Loss Payback | -19451 | 0 | 0 | 0%
23 | - Non-Firm Wheeling Losses | -77259 | 0 | 0 | 0%
24 | - Short Term Firm Wheeling Losses | -54514 | 0 | 0 | 0%
25 | Seminole + Firm Wheeling - Southern JEA LP | 7361153 | 0 | 0 | 0%
26
27 | Net Energy To Transmission Less Southern JEA LP | 126193056.2927 | 0 | 0 | 0%
28
29
30 | USING UNBILLED SALES |  | 0 | 0 | 0%
31 | NEL | 118831903.2927 | 0 | 0 | 0%
32 | PRIOR MONTH UNBILLED | 4204904.7925 | 0 | 0 | 0%
33 | SUBTOTAL | 123036808.0852 | 0 | 0 | 0%
34 | BILLED SALES | -113233989.3594 | 0 | 0 | 0%
35 | COMPANY USE | -130715.0936 | 0 | 0 | 0%
36 | CURRENT MONTH UNBILLED | -4180071.0691 | 0 | 0 | 0%
37 | ENERGY LOST OR UNACCOUNTED FOR | 5492032.5631 | 0 | 0 | 0%
38 | % LOST OR UNACCOUNTED FOR | 4.622% | 0 | 0 | 0%
39
40
41 | OVERALL UNBILLED FACTOR |  | 0 | 0 | 0%
42 | TOTAL DELIVERED MWH | 113209155.636 | 0 | 0 | 0%
43 | TOTAL BILLED MWH | 113474467.2928 | 0 | 0 | 0%
44 | TOTAL UNBILLED FACTOR | 0.99766 | 0 | 0 | 0%

## 2018_LLS_Loss_Expansion_Factors
OPC 012995
FPL RC-16
Line No. | Voltage Level |  | Energy Expansion Factor | Demand Expansion Factor | Loss %
1
2 | Transmission | 0 | 1.017 | 1.0219 | 1.673%
3
4 | Primary | 0 | 1.0266 | 1.0349 | 2.594%
5
6 | Secondary | 0 | 1.0487 | 1.0647 | 4.64%
7
8
9 | Company Use Demand: |  | 0 | 0 | 0%
10 | (GSD-1) 12CP | 4109027.0065 | 0 | 0 | 0%
11 | (GSD-1) KWH | 25959712.5916 | 0 | 0 | 0%
12 | Load Factor | 0.7212 | 0 | 0 | 0%
13 | 12CP Demand (rounded) | 20.8175 | 0 | 0 | 0%
14
15
16 | Calculation Net Energy to Transmission Less Southern JEA LP: |  | 0 | 0 | 0%
17 | Net Energy For Load | 119562964.2862 | 0 | 0 | 0%
18
19 | + Seminole Load Received | 2282100 | 0 | 0 | 0%
20 | + St. Lucie Entitlement Received | 586976 | 0 | 0 | 0%
21 | + Power wheeled for others | 4643301 | 0 | 0 | 0%
22 | - Southern JEA / Transfers Loss Payback | -19451 | 0 | 0 | 0%
23 | - Non-Firm Wheeling Losses | -77259 | 0 | 0 | 0%
24 | - Short Term Firm Wheeling Losses | -54514 | 0 | 0 | 0%
25 | Seminole + Firm Wheeling - Southern JEA LP | 7361153 | 0 | 0 | 0%
26
27 | Net Energy To Transmission Less Southern JEA LP | 126924117.2862 | 0 | 0 | 0%
28
29
30 | USING UNBILLED SALES |  | 0 | 0 | 0%
31 | NEL | 119562964.2862 | 0 | 0 | 0%
32 | PRIOR MONTH UNBILLED | 4180071.0691 | 0 | 0 | 0%
33 | SUBTOTAL | 123743035.3553 | 0 | 0 | 0%
34 | BILLED SALES | -113871802.366 | 0 | 0 | 0%
35 | COMPANY USE | -131519.2607 | 0 | 0 | 0%
36 | CURRENT MONTH UNBILLED | -4214154.4631 | 0 | 0 | 0%
37 | ENERGY LOST OR UNACCOUNTED FOR | 5525559.2655 | 0 | 0 | 0%
38 | % LOST OR UNACCOUNTED FOR | 4.621% | 0 | 0 | 0%
39
40
41 | OVERALL UNBILLED FACTOR |  | 0 | 0 | 0%
42 | TOTAL DELIVERED MWH | 113905885.76 | 0 | 0 | 0%
43 | TOTAL BILLED MWH | 114140462.6226 | 0 | 0 | 0%
44 | TOTAL UNBILLED FACTOR | 0.99794 | 0 | 0 | 0%