## Summary
OPC 006976 | [9 empty] | Docket No. 160021
FPL RC-16 | [9 empty] | Operational Metrics
Exhibit JJR-5, Page 1 of 10
Operational Metrics
Summary
Florida Power & Light Company | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
Fossil - Equivalent Availability Factor | 91.703 | 92.2211 | 92.5612 | 92.6336 | 93.3627 | 92.0701 | 91.8933 | 89.9168 | 89.8092 | 88.9
Fossil - Equivalent Forced Outage Rate | 2.5532 | 3.0221 | 2.2657 | 2.287 | 1.6129 | 0.98429 | 1.3493 | 0.49519 | 0.85268 | 0.73
Nuclear - Capacity Factor | 83.41 | 91.1 | 84.97 | 93.39 | 88.37 | 89.53 | 82.7025 | 63.655 | 84.2325 | 88.0325
Nuclear - Equivalent Availability Factor | 82.35 | 89.6 | 83.6125 | 91.17 | 86.54 | 87.75 | 80.495 | 61.7575 | 82.6675 | 87.8225
Nuclear - Forced Loss Rate | 4.95 | 1.4025 | 2.595 | 2.0425 | 1.92 | 4.48 | 2.6819 | 1.3317 | 6.0253 | 1.9039
Nuclear - Industrial Safety Accident Rate | 0.1375 | 0 | 0.055 | 0.05 | 0.045 | 0.335 | 0.095 | 0.03 | 0 | 0
Distribution Reliability - SAIDI | 69.6 | 74.3 | 73.2 | 67.2 | 78 | 77.3 | 79.7 | 63.4771 | 61.3699 | 63.794
Distribution Reliability - SAIFI | 1.15 | 1.29 | 1.21 | 1.07 | 1.11 | 0.92 | 0.97 | 0.9 | 0.89358 | 0.98894
Distribution Reliability - CAIDI | 60.5217 | 57.5969 | 60.4959 | 62.8037 | 70.2703 | 84.0217 | 82.1649 | 70.5301 | 68.6783 | 64.5075
Industry Averages | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
Fossil - Equivalent Availability Factor | 87.9768 | 88.0742 | 89.0694 | 86.4429 | 86.539 | 85.526 | 86.094 | 86.1244 | 85.711 | 85
Fossil - Equivalent Forced Outage Rate | 6.58 | 6.55 | 6.83 | 7.43 | 7.9 | 7.94 | 7.27 | 7.44 | 7.95 | 7.89
Nuclear - Capacity Factor | 87.7 | 88.5 | 90.82 | 89.97 | 89.1 | 89.71 | 88.1 | 84.91 | 86.75 | 91.25
Nuclear - Equivalent Availability Factor | 87.06 | 88.7 | 90.33 | 89.4 | 88.21 | 88.53 | 86.37 | 83.5 | 87.54 | 90.48
Nuclear - Forced Loss Rate | 2.9033 | 2.6001 | 2.1226 | 2.0307 | 3.0196 | 2.0844 | 1.5853 | 3.1941 | 2.2668 | 1.658
Nuclear - Industrial Safety Accident Rate | 0.20202 | 0.17768 | 0.1546 | 0.1093 | 0.0889 | 0.1018 | 0.059091 | 0.064646 | 0.050269 | 0.038843
Florida Investor-Owned Utility Averages | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
Distribution Reliability - SAIDI | 85.325 | 125.6783 | 89.4525 | 107.935 | 129.375 | 112.55 | 111.8775 | 104.1804 | 109.6548 | 106.9985
Distribution Reliability - SAIFI | 1.085 | 1.172 | 1.1115 | 1.287 | 1.3618 | 1.3197 | 1.2792 | 1.1275 | 1.2352 | 1.2126
Distribution Reliability - CAIDI | 78.427 | 103.5434 | 80.0678 | 82.7276 | 91.2294 | 85.9277 | 86.9492 | 90.6485 | 88.0409 | 87.4763

## Fossil - EAF
OPC 006977 | [9 empty] | Docket No. 160021
FPL RC-16 | [9 empty] | Operational Metrics
Exhibit JJR-5, Page 2 of 10
Operational Metrics
Fossil - Equivalent Availability Factor
Annual Values
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
Florida Power & Light Company | 91.703 | 92.2211 | 92.5612 | 92.6336 | 93.3627 | 92.0701 | 91.8933 | 89.9168 | 89.8092 | 88.9
Industry Average | 87.9768 | 88.0742 | 89.0694 | 86.4429 | 86.539 | 85.526 | 86.094 | 86.1244 | 85.711 | 85
Source: Company provided data. Industry Average represents all companies providing fossil unit reports to North American Electric Reliability Council.
[11 empty] | Metric: | Fossil - Equivalent Availability Factor
Unit:
[11 empty] | Year end: | 2014

## Fossil - EFOR
OPC 006978 | [9 empty] | Docket No. 160021
FPL RC-16 | [9 empty] | Operational Metrics
Exhibit JJR-5, Page 3 of 10
Operational Metrics
Fossil - Equivalent Forced Outage Rate
Annual Values
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
Florida Power & Light Company | 2.5532 | 3.0221 | 2.2657 | 2.287 | 1.6129 | 0.98429 | 1.3493 | 0.49519 | 0.85268 | 0.73
Industry Average | 6.58 | 6.55 | 6.83 | 7.43 | 7.9 | 7.94 | 7.27 | 7.44 | 7.95 | 7.89
Source: Company provided data. Industry Average represents all companies providing fossil unit reports to North American Electric Reliability Council.
[11 empty] | Metric: | Fossil - Equivalent Forced Outage Rate
Unit:
[11 empty] | Year end: | 2014

## Nuclear - CF
OPC 006979 | [9 empty] | Docket No. 160021
FPL RC-16 | [9 empty] | Operational Metrics
Exhibit JJR-5, Page 4 of 10
Operational Metrics
Nuclear - Capacity Factor
Annual Values
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
Florida Power & Light Company | 83.41 | 91.1 | 84.97 | 93.39 | 88.37 | 89.53 | 82.7025 | 63.655 | 84.2325 | 88.0325
Industry Average | 87.7 | 88.5 | 90.82 | 89.97 | 89.1 | 89.71 | 88.1 | 84.91 | 86.75 | 91.25
Source: Company provided data
[11 empty] | Metric: | Nuclear - Capacity Factor
Unit:
[11 empty] | Year end: | 2014

## Nuclear - EAF
OPC 006980 | [9 empty] | Docket No. 160021
FPL RC-16 | [9 empty] | Operational Metrics
Exhibit JJR-5, Page 5 of 10
Operational Metrics
Nuclear - Equivalent Availability Factor
Annual Values
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
Florida Power & Light Company | 82.35 | 89.6 | 83.6125 | 91.17 | 86.54 | 87.75 | 80.495 | 61.7575 | 82.6675 | 87.8225
Industry Average | 87.06 | 88.7 | 90.33 | 89.4 | 88.21 | 88.53 | 86.37 | 83.5 | 87.54 | 90.48
Source: Company provided data
[11 empty] | Metric: | Nuclear - Equivalent Availability Factor
Unit:
[11 empty] | Year end: | 2014

## Nuclear - FLR
OPC 006981 | [9 empty] | Docket No. 160021
FPL RC-16 | [9 empty] | Operational Metrics
Exhibit JJR-5, Page 6 of 10
Operational Metrics
Nuclear - Forced Loss Rate
Annual Values
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
Florida Power & Light Company | 4.95 | 1.4025 | 2.595 | 2.0425 | 1.92 | 4.48 | 2.6819 | 1.3317 | 6.0253 | 1.9039
Industry Average | 2.9033 | 2.6001 | 2.1226 | 2.0307 | 3.0196 | 2.0844 | 1.5853 | 3.1941 | 2.2668 | 1.658
Source: Company provided data
[11 empty] | Metric: | Nuclear - Forced Loss Rate
Unit:
[11 empty] | Year end: | 2014

## Nuclear - ISA
OPC 006982 | [9 empty] | Docket No. 160021
FPL RC-16 | [9 empty] | Operational Metrics
Exhibit JJR-5, Page 7 of 10
Operational Metrics
Nuclear - Industrial Safety Accident Rate
Annual Values
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
Florida Power & Light Company | 0.1375 | 0 | 0.055 | 0.05 | 0.045 | 0.335 | 0.095 | 0.03 | 0 | 0
Industry Average | 0.20202 | 0.17768 | 0.1546 | 0.1093 | 0.0889 | 0.1018 | 0.059091 | 0.064646 | 0.050269 | 0.038843
Source: Company provided data
[11 empty] | Metric: | Nuclear - Industrial Safety Accident Rate
Unit:
[11 empty] | Year end: | 2014

## SAIDI
OPC 006983 | [9 empty] | Docket No. 160021
FPL RC-16 | [9 empty] | Operational Metrics
Exhibit JJR-5, Page 8 of 10
Operational Metrics
Distribution Reliability - SAIDI
Annual Values
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
Florida Power & Light Company | 69.6 | 74.3 | 73.2 | 67.2 | 78 | 77.3 | 79.7 | 63.4771 | 61.3699 | 63.794
Florida Investor-Owned Utility Average | 85.325 | 125.6783 | 89.4525 | 107.935 | 129.375 | 112.55 | 111.8775 | 104.1804 | 109.6548 | 106.9985
Source: Company provided data. For purposes of comparing reliability performance, Industry Average refers only to other Florida investor-owned
utilities due to limitations in the data that are publicly available.
[11 empty] | Metric: | Distribution Reliability - SAIDI
Unit:
[11 empty] | Year end: | 2014

## SAIFI
OPC 006984 | [9 empty] | Docket No. 160021
FPL RC-16 | [9 empty] | Operational Metrics
Exhibit JJR-5, Page 9 of 10
Operational Metrics
Distribution Reliability - SAIFI
Annual Values
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
Florida Power & Light Company | 1.15 | 1.29 | 1.21 | 1.07 | 1.11 | 0.92 | 0.97 | 0.9 | 0.89358 | 0.98894
Florida Investor-Owned Utility Average | 1.085 | 1.172 | 1.1115 | 1.287 | 1.3618 | 1.3197 | 1.2792 | 1.1275 | 1.2352 | 1.2126
Source: Company provided data. For purposes of comparing reliability performance, Industry Average refers only to other Florida investor-owned
utilities due to limitations in the data that are publicly available.
[11 empty] | Metric: | Distribution Reliability - SAIFI
Unit:
[11 empty] | Year end: | 2014

## CAIDI
OPC 006985 | [9 empty] | Docket No. 160021
FPL RC-16 | [9 empty] | Operational Metrics
Exhibit JJR-5, Page 10 of 10
Operational Metrics
Distribution Reliability - CAIDI
Annual Values
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
Florida Power & Light Company | 60.5217 | 57.5969 | 60.4959 | 62.8037 | 70.2703 | 84.0217 | 82.1649 | 70.5301 | 68.6783 | 64.5075
Florida Investor-Owned Utility Average | 78.427 | 103.5434 | 80.0678 | 82.7276 | 91.2294 | 85.9277 | 86.9492 | 90.6485 | 88.0409 | 87.4763
Source: Company provided data. For purposes of comparing reliability performance, Industry Average refers only to other Florida investor-owned
utilities due to limitations in the data that are publicly available.
[11 empty] | Metric: | Distribution Reliability - CAIDI
Unit:
[11 empty] | Year end: | 2014