## R&D Projects
STAFF 000985
FPL RC-16 | [9 empty] | Parties Involved
Category | Item | Description | Objective # | Test Objectives | Goal | Output | Study Duration (years) | Demo/Asset Life (years) | Deliverable Owner | Dev | PD (Eng.) | PD (Sys Ops.) | PGD (Plant Ops) | E&C
CISPP | Daytona International Speedway | 3 separate installs totaling 1.8 MW. Includes a test bed of various smart inverter manufactures | 1 | Communications: Demo new Smart Inverter communications using SSN, Cell, and Vendor channels | Determine use of SSN network or not Determine what security issues need consideration | Engineering Design Operations Planning White Paper Data | 1.5 | 20 | PD Eng |  |  | X | X
|  |  | 2 | Asset Optimization: Explore aggregation capabilties and value | Determine aggregation effects and future value | Engineering Design Operations Planning White Paper Data | 1.5 |  | PD Sys Ops | X
|  |  | 3 | Grid Impacts: Monitor reverse power flow, grid impacts to reliability/quality on heavy penetrated circuits | Identify adverse solar penetration grid impacts and develop countermeasures to protect grid | System and Plant Operations Planning White Paper Data | 1.5 |  | PD Sys Ops |  | X | X
|  |  | 4 | Inverter Testing: Explore full operational capability of new smart inverter technologies (LVRT, islanding, Volt/VAR, CA Rule 21) | Understand smart inverter features, performance limits, failure modes to establish future standards | Engineering Design Operations Planning White Paper Data | 1.5 |  | PD Eng |  | X
| Florida International University | 1.4 MW Solar Canopy Installation | 1 | Communications: Demo new Smart Inverter communications using SSN, Cell, and Vendor channels | Determine use of SSN network or not Determine what security issues need consideration | Engineering Design Operations Planning White Paper Data | 5 | 20 | PD Eng | X | X | X | X
|  |  | 2 | Data Analysis: Study performance of each CISPP site and grid impacts (SAIDI, MAIFI, etc) | Identify adverse solar penetration grid impacts and develop countermeasures to protect grid | Engineering Design Operations Planning White Paper Data | 5 |  | Dev | X |  | X | X
|  |  | 3 | Grid Impacts: Monitor reverse power flow, grid impacts to reliability/quality on heavy penetrated circuits | Identify adverse solar penetration grid impacts and develop countermeasures to protect grid | Engineering Design Operations Planning White Paper Data | 5 |  | Dev | X | X | X