## R&D Projects
STAFF 000927
FPL RC-16 | [9 empty] | Parties Involved
Category | Item | Description | Objective # | Test Objectives | Goal | Output | Study Duration (years) | Demo/Asset Life (years) | Deliverable Owner | Dev | PD (Eng.) | PD (Sys Ops.) | PGD (Plant Ops) | E&C
Storage | Battery Storage Demo | 1.5MW battery project at Southwest distribution substation site | 1 | Peak Shaving: Analyze all instances when the battery was called on to peak shave and assess whether the system met prescribed performance criteria. | Demonstrate that peak shaving can be performed reliably and consistently enough to deploy at scale | Engineering Design White Paper | 1 | 15 | PGD Eng | X | X | X | X
|  |  | 2 | Frequency response: Analyze all instances when the battery was called on to provide frequency response and assess whether the system met prescribed performance criteria. | Demonstrate that frequency response/regulation deployment can be performed reliably and consistently enough to deploy at scale | Report showing results of analytics with conclusion (continue, modify, terminate) | 1 |  | PGD Eng |  | X | X | X
|  |  | 3 | Power Quality: Analyze historical data post-COD and assess whether the system met prescribed performance criteria. | Demonstrate that power quality applications (reactive power, voltage, etc.) can be performed reliably and consistently enough to deploy at scale | Report showing results of analytics with conclusion (continue, modify, terminate) | 1 |  | PGD Eng |  | X | X | X
|  |  | 4 | Battery Optimization: How can we optimize the dispatch of a battery energy storage system? | Define optimal anticipated priority of use cases for the FPL system | Report showing results of analytics with conclusion (accept, modify, terminate) | 1 |  | PD Sys Ops |  |  | X | X
|  |  | 5 | Control Infrastructure: How will our control infrastructure need to be modified to accommodate for battery systems and future requirements? | Determine optimal control instructure required for battery systems and future deployments | Document any changes needed at control center | 1 |  | PGD Eng |  | X | X
|  |  | 6 | Battery Parameters: Which battery parameters will operator need to know on a real-time basis? | Determine O&M Services vs. System Ops roles and respective data requirements. | Data | 1 |  | PGD Eng |  |  | X | X
|  |  | 7 | Interconnect: What refinements do we need to make to interconnection rules for utility- and customer-connected batteries? | Determine if following conventional generator interconnect process is acceptable for battery applications | Summary of findings | 1 |  | PD Plant Ops |  | X
|  |  | 8 | Battery Degradation: How does the battery’s use impact degradation in a full system? | Confirm battery degradation charactaristics and impact to future battery projects | Engineering Design White Paper | 1 |  | PGD Eng | X |  | X | X
|  |  | 9 | 2nd Life Batteries: What modifications need to be made to electric vehicle 2nd life batteries to optimize them for grid storage (state of health management, BMS controls, etc.)? | Develop optimized control for large scale utility battery projects | Engineering Design Operations Planning White Paper Data | 1 |  | PGD Eng | X | X |  | X
|  |  | 10 | Lifecycle Costs: What are the lifecycle costs of designing a battery system with additional components relative to traditional large central inverter? | Determine optimal cooling method (air/water) for 2nd life battery projects | Engineering Design White Paper | 1 |  | PGD Eng |  |  |  | X | X
|  |  | 11 | Failure Modes: Understand failure modes of a battery system how to prevent them. | Perform Root Cause Corrective Action to prevent failure modes or improve detection of failures | Future Design Improvements | 1 |  | PGD Eng | X | X | X | X | X