## Pea Ridge Estimate
|  | Total |  |  |  |  | 308 Engineering | [8 empty] | 310 Land and Land Rights | [8 empty] | 311 Structure and Imporvements | [8 empty] | 312 Boiler Plant Equipment | [8 empty] | 314 Turbogenerator Units | [8 empty] | 315 Accesory Electric Equipment | [8 empty] | 316 Miscellaneous Power Plant Equipment | [8 empty] | 343 Prime Movers
[9 empty] | Unit 1 |  | Unit 2 |  | Unit 3 |  |  |  |  | Unit 1 |  | Unit 2 |  | Unit 3 |  |  |  |  | Unit 1 |  | Unit 2 |  | Unit 3 |  |  |  |  | Unit 1 |  | Unit 2 |  | Unit 3 |  |  |  |  | Unit 1 |  | Unit 2 |  | Unit 3 |  |  |  |  | Unit 1 |  | Unit 2 |  | Unit 3 |  |  |  |  | Unit 1 |  | Unit 2 |  | Unit 3 |  |  |  |  | Unit 1 |  | Unit 2 |  | Unit 3
| Tasks | Units | Quantity | Unit Cost | Cost |  | % | Total | % | Cost | % | Cost | % | Cost |  | % | Total | % | Cost | % | Cost | % | Cost |  | % | Total | % | Cost | % | Cost | % | Cost |  | % | Total | % | Cost | % | Cost | % | Cost |  | % | Total | % | Cost | % | Cost | % | Cost |  | % | Total | % | Cost | % | Cost | % | Cost |  | % | Total | % | Cost | % | Cost | % | Cost |  | % | Total | % | Cost | % | Cost | % | Cost | wenada Total | FERC Totals | Unit Totals | check
Engineering, Design and Survey Work |  |  |  |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0
| Perform environmental survey of above grade structures | ls | 1 | 25000 | 25000 |  | 100% | 25000 | 34% | 8500 | 33% | 8250 | 33% | 8250 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | 25000 | 25000 | 25000 | 0
| Storm Water Prevention Plan | ls | 1 | 25000 | 25000 |  | 100% | 25000 | 34% | 8500 | 33% | 8250 | 33% | 8250 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | 25000 | 25000 | 25000 | 0
[8 empty] | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0
General |  |  |  |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0
| Mob./Demob. | ls | 1 | 50000 | 50000 |  | 12.5% | 6250 | 34% | 2125 | 33% | 2062.5 | 33% | 2062.5 |  | 12.5% | 6250 | 34% | 2125 | 33% | 2062.5 | 33% | 2062.5 |  | 12.5% | 6250 | 34% | 2125 | 33% | 2062.5 | 33% | 2062.5 |  | 12.5% | 6250 | 34% | 2125 | 33% | 2062.5 | 33% | 2062.5 |  | 12.5% | 6250 | 34% | 2125 | 33% | 2062.5 | 33% | 2062.5 |  | 12.5% | 6250 | 34% | 2125 | 33% | 2062.5 | 33% | 2062.5 |  | 12.5% | 6250 | 34% | 2125 | 33% | 2062.5 | 33% | 2062.5 |  | 12.5% | 6250 | 34% | 2125 | 33% | 2062.5 | 33% | 2062.5 | 50000 | 50000 | 50000 | 0
| Pavement Repairs | sf | 10000 | 4.5 | 45000 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 100% | 45000 | 34% | 15300 | 33% | 14850 | 33% | 14850 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | 45000 | 45000 | 45000 | 0
| Utility Disconnects | ls | 1 | 25000 | 25000 |  | 12.5% | 3125 | 34% | 1062.5 | 33% | 1031.25 | 33% | 1031.25 |  | 12.5% | 3125 | 34% | 1062.5 | 33% | 1031.25 | 33% | 1031.25 |  | 12.5% | 3125 | 34% | 1062.5 | 33% | 1031.25 | 33% | 1031.25 |  | 12.5% | 3125 | 34% | 1062.5 | 33% | 1031.25 | 33% | 1031.25 |  | 12.5% | 3125 | 34% | 1062.5 | 33% | 1031.25 | 33% | 1031.25 |  | 12.5% | 3125 | 34% | 1062.5 | 33% | 1031.25 | 33% | 1031.25 |  | 12.5% | 3125 | 34% | 1062.5 | 33% | 1031.25 | 33% | 1031.25 |  | 12.5% | 3125 | 34% | 1062.5 | 33% | 1031.25 | 33% | 1031.25 | 25000 | 25000 | 25000 | 0
| Install Electrical for Decommisioning Work | ls | 1 | 10000 | 10000 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 100% | 10000 | 34% | 3400 | 33% | 3300 | 33% | 3300 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | 10000 | 10000 | 10000 | 0
[5 empty] | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0
3 - 5 MW Cogens |  |  |  |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0
| Demo FE | nt | 300 | 450 | 135000 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 95% | 128250 | 34% | 43605 | 33% | 42322.5 | 33% | 42322.5 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 5% | 6750 | 34% | 2295 | 33% | 2227.5 | 33% | 2227.5 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | 135000 | 135000 | 135000 | 0
| Fe Sales | nt | 300 | -180.5263 | -54157.8947 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 95% | -51450 | 34% | -17493 | 33% | -16978.5 | 33% | -16978.5 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 5% | -2707.8947 | 34% | -920.6842 | 33% | -893.6053 | 33% | -893.6053 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | -54157.8947 | -54157.8947 | -54157.8947 | 0
| Transport & Dispose of Combustibles | nt | 15 | 100 | 1500 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 14.29% | 214.2857 | 34% | 72.8571 | 33% | 70.7143 | 33% | 70.7143 |  | 14.29% | 214.2857 | 34% | 72.8571 | 33% | 70.7143 | 33% | 70.7143 |  | 14.29% | 214.2857 | 34% | 72.8571 | 33% | 70.7143 | 33% | 70.7143 |  | 14.29% | 214.2857 | 34% | 72.8571 | 33% | 70.7143 | 33% | 70.7143 |  | 14.29% | 214.2857 | 34% | 72.8571 | 33% | 70.7143 | 33% | 70.7143 |  | 14.29% | 214.2857 | 34% | 72.8571 | 33% | 70.7143 | 33% | 70.7143 |  | 14.29% | 214.2857 | 34% | 72.8571 | 33% | 70.7143 | 33% | 70.7143 | 1500 | 1500 | 1500 | 0
| Unit & Service Transformers | nt | 30 | -660 | -19800 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 100% | -19800 | 34% | -6732 | 33% | -6534 | 33% | -6534 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | -19800 | -19800 | -19800 | 0
| CU Sales | lbs | 25500 | -0.37018 | -9439.7077 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 20% | -1887.9415 | 34% | -641.9001 | 33% | -623.0207 | 33% | -623.0207 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 80% | -7551.7662 | 34% | -2567.6005 | 33% | -2492.0828 | 33% | -2492.0828 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | -9439.7077 | -9439.7077 | -9439.7077 | 0
[5 empty] | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0
Ancillary Buildings |  |  |  |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0
| Demo | nt | 10 | 240 | 2400 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 60% | 1440 | 34% | 489.6 | 33% | 475.2 | 33% | 475.2 |  | 20% | 480 | 34% | 163.2 | 33% | 158.4 | 33% | 158.4 |  | 15% | 360 | 34% | 122.4 | 33% | 118.8 | 33% | 118.8 |  | 5% | 120 | 34% | 40.8 | 33% | 39.6 | 33% | 39.6 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | 2400 | 2400 | 2400 | 0
| Sales | nt | 10 | -180.5263 | -1805.2632 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 60% | -1083.1579 | 34% | -368.2737 | 33% | -357.4421 | 33% | -357.4421 |  | 25% | -451.3158 | 34% | -153.4474 | 33% | -148.9342 | 33% | -148.9342 |  | 15% | -270.7895 | 34% | -92.0684 | 33% | -89.3605 | 33% | -89.3605 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | -1805.2632 | -1805.2632 | -1805.2632 | 0
| Transport & Dispose of Combustibles | nt | 35 | 100 | 3500 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 14.29% | 500 | 34% | 170 | 33% | 165 | 33% | 165 |  | 14.29% | 500 | 34% | 170 | 33% | 165 | 33% | 165 |  | 14.29% | 500 | 34% | 170 | 33% | 165 | 33% | 165 |  | 14.29% | 500 | 34% | 170 | 33% | 165 | 33% | 165 |  | 14.29% | 500 | 34% | 170 | 33% | 165 | 33% | 165 |  | 14.29% | 500 | 34% | 170 | 33% | 165 | 33% | 165 |  | 14.29% | 500 | 34% | 170 | 33% | 165 | 33% | 165 | 3500 | 3500 | 3500 | 0
[8 empty] | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0
| Total |  |  |  | 237197.1344 | 0 |  | 59375 |  | 20187.5 |  | 19593.75 |  | 19593.75 | 0 |  | 55089.2857 |  | 18730.3571 |  | 18179.4643 |  | 18179.4643 | 0 |  | 10446.1278 |  | 3551.6835 |  | 3447.2222 |  | 3447.2222 | 0 |  | 85030.0284 |  | 28910.2097 |  | 28059.9094 |  | 28059.9094 | 0 |  | 10178.4962 |  | 3460.6887 |  | 3358.9038 |  | 3358.9038 | 0 |  | -3100.3752 |  | -1054.1276 |  | -1023.1238 |  | -1023.1238 | 0 |  | 10089.2857 |  | 3430.3571 |  | 3329.4643 |  | 3329.4643 | 0 |  | 10089.2857 |  | 3430.3571 |  | 3329.4643 |  | 3329.4643 | 237197.1344 | 237197.1344 | 237197.1344 | 0
[8 empty] | 0 | [69 empty] | 0 | 0 | 0 | 0
Unit
Price
| * FE is based on the Aug. 7, 2015 Metal Prices Birmingham P&S 5' & under = $245 / GT | [6 empty] | -180.5263
| * AL is based on Aug. 18, 2015 LME Cash Official = $0.69/lb | [6 empty] | -0.39039
| * CU is baesd on Aug. 18, 2015 LME Cash Official = $2.27/lb | [6 empty] | -0.37018
| * SS is based on Aug. 17, 2015 LME 304 (18-8) Scrap Solids Processor = $0.50 / lb | [6 empty] | -0.18394
| *305 SS - is based on Aug. 17, 2014 LME 304 (18-8) Scrap Solids Processor = $0.50 / lb | [6 empty] | -0.22371
| * Transformers is based on Aug. 18, 2015 LME Cash official for CU = $2.27 | [6 empty] | -460.9846
| *Ti is based on Aug. 13, 2015 Secondary Market Tin Bearing >85% = $0.55 / lb | [6 empty] | -0.36
| * Ad Brass is based of Aug. 14, 2015 Secondary Market Yellow Brass = $1.66 | [6 empty] | -1.7513
| * 90-10 CU-NI is based on Aug. 18, 2015 Secondary Market Cupro-Nickel Scrap 90-10 = $2.07 | [6 empty] | -1.5825
| *304 SS - is based on Aug. 17, 2015 LME 304 (18-8) Scrap Solids Processor = $0.50 / lb | [6 empty] | -0.27326