## Daniel
|  | Total | [5 empty] | 308 Engineering | [6 empty] | 310 Land and Land Rights | [6 empty] | 311 Structure and Imporvements | [6 empty] | 312 Boiler Plant Equipment | [6 empty] | 314 Turbogenerator Units | [6 empty] | 315 Accesory Electric Equipment | [6 empty] | 316 Miscellaneous Power Plant Equipment | [6 empty] | 343 Prime Movers
[10 empty] | Unit 1 & 2 |  | Unit 3 and 4 CC |  |  |  |  | Unit 1 & 2 |  | Unit 3 and 4 CC |  |  |  |  | Unit 1 & 2 |  | Unit 3 and 4 CC |  |  |  |  | Unit 1 & 2 |  | Unit 3 and 4 CC |  |  |  |  | Unit 1 & 2 |  | Unit 3 and 4 CC |  |  |  |  | Unit 1 & 2 |  | Unit 3 and 4 CC |  |  |  |  | Unit 1 & 2 |  | Unit 3 and 4 CC |  |  |  |  | Unit 1 & 2 |  | Unit 3 and 4 CC
| Tasks | Units | Quantity | Unit Cost | Cost |  | 2015 Value | % | Total | % | Cost | % | Cost |  | % | Total | % | Cost | % | Cost |  | % | Total | % | Cost | % | Cost |  | % | Total | % | Cost | % | Cost |  | % | Total | % | Cost | % | Cost |  | % | Total | % | Cost | % | Cost |  | % | Total | % | Cost | % | Cost |  | % | Total | % | Cost | % | Cost | wenada Total | FERC Totals | Unit Totals | check
Engineering, Design and Survey Work |  |  |  |  | 0 |  |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0
| Design bulkhead for intake and discharge tunnel | ls | 1 | 50000 | 50000 |  | 50000 | 100% | 50000 | 85% | 42500 | 15% | 7500 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 | 50000 | 50000 | 50000 | 0
| Perform environmental survey of above grade structures | ls | 1 | 250000 | 250000 |  | 250000 | 100% | 250000 | 85% | 212500 | 15% | 37500 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 | 250000 | 250000 | 250000 | 0
| Storm Water Prevention Plan | ls | 1 | 30000 | 30000 |  | 30000 | 100% | 30000 | 85% | 25500 | 15% | 4500 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 | 30000 | 30000 | 30000 | 0
[7 empty] | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0
General |  |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0
| Mob./Demob. | ls | 1 | 250000 | 250000 |  | 250000 | 12.5% | 31250 | 85% | 26562.5 | 15% | 4687.5 |  | 12.5% | 31250 | 85% | 26562.5 | 15% | 4687.5 |  | 12.5% | 31250 | 85% | 26562.5 | 15% | 4687.5 |  | 12.5% | 31250 | 85% | 26562.5 | 15% | 4687.5 |  | 12.5% | 31250 | 85% | 26562.5 | 15% | 4687.5 |  | 12.5% | 31250 | 85% | 26562.5 | 15% | 4687.5 |  | 12.5% | 31250 | 85% | 26562.5 | 15% | 4687.5 |  | 12.5% | 31250 | 85% | 26562.5 | 15% | 4687.5 | 250000 | 250000 | 250000 | 0
| Pavement Repairs | sf | 100000 | 4.5918 | 459180 |  | 4.5 |  | 0 |  | 0 |  | 0 |  | 100% | 459180 | 85% | 390303 | 15% | 68877 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 | 459180 | 459180 | 459180 | 0
| Utility Disconnects | ls | 1 | 100000 | 100000 |  | 100000 | 12.5% | 12500 | 85% | 10625 | 15% | 1875 |  | 12.5% | 12500 | 85% | 10625 | 15% | 1875 |  | 12.5% | 12500 | 85% | 10625 | 15% | 1875 |  | 12.5% | 12500 | 85% | 10625 | 15% | 1875 |  | 12.5% | 12500 | 85% | 10625 | 15% | 1875 |  | 12.5% | 12500 | 85% | 10625 | 15% | 1875 |  | 12.5% | 12500 | 85% | 10625 | 15% | 1875 |  | 12.5% | 12500 | 85% | 10625 | 15% | 1875 | 100000 | 100000 | 100000 | 0
| Install Bulkhead in Intake & Discharge Tunnel | ls | 1 | 250000 | 250000 |  | 250000 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 5% | 12500 | 85% | 10625 | 15% | 1875 |  | 95% | 237500 | 85% | 201875 | 15% | 35625 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 | 250000 | 250000 | 250000 | 0
| Install Electrical for Decommisioning Work | ls | 1 | 200000 | 200000 |  | 200000 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 100% | 200000 | 85% | 170000 | 15% | 30000 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 | 200000 | 200000 | 200000 | 0
| Grade and Seeding | sf | 400000 | 0.2551 | 102040 |  | 0.25 |  | 0 |  | 0 |  | 0 |  | 100% | 102040 | 85% | 86734 | 15% | 15306 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 | 102040 | 102040 | 102040 | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0
Unit 1& 2 |  |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0
| Demo | nt | 38631.272 | 244.896 | 9460643.9877 |  | 240 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 60% | 5676386.3926 | 100% | 5676386.3926 |  | 0 |  | 20% | 1892128.7975 | 100% | 1892128.7975 |  | 0 |  | 15% | 1419096.5982 | 100% | 1419096.5982 |  | 0 |  | 5% | 473032.1994 | 100% | 473032.1994 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 | 9460643.9877 | 9460643.9877 | 9460643.9877 | 0
| FE Sales | nt | 38631.272 | -108.3696 | -4186454.4562 |  | -123.79 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 60% | -2511872.6737 | 100% | -2511872.6737 |  | 0 |  | 25% | -1046613.614 | 100% | -1046613.614 |  | 0 |  | 15% | -627968.1684 | 100% | -627968.1684 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 | -4186454.4562 | -4186454.4562 | -4186454.4562 | 0
| AL Sales | lbs | 348761.448 | -0.38793 | -135296.0792 |  | -0.38 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 100% | -135296.0792 | 100% | -135296.0792 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 | -135296.0792 | -135296.0792 | -135296.0792 | 0
| CU Sales | lbs | 3293858.12 | -0.31414 | -1034746.7857 |  | -0.37 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 20% | -206949.3571 | 100% | -206949.3571 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 80% | -827797.4285 | 100% | -827797.4285 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 | -1034746.7857 | -1034746.7857 | -1034746.7857 | 0
| SS Sales | lbs | 465015.264 | -0.137 | -63706.6448 |  | -0.16 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 100% | -63706.6448 | 100% | -63706.6448 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 | -63706.6448 | -63706.6448 | -63706.6448 | 0
| Turbine Foundations Concrete | cy | 5962.963 | 107.142 | 638883.7778 |  | 105 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 100% | 638883.7778 | 100% | 638883.7778 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 | 638883.7778 | 638883.7778 | 638883.7778 | 0
| Condenser Tubes (Ti) | lbs | 900000 | -0.16439 | -147952.5 |  | -0.25 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 10% | -14795.25 | 100% | -14795.25 |  | 0 |  | 90% | -133157.25 | 100% | -133157.25 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 | -147952.5 | -147952.5 | -147952.5 | 0
| Transport & Dispose of Combustibles | nt | 871.9036 | 66.326 | 57829.8795 |  | 65 |  | 0 |  | 0 |  | 0 |  | 14.29% | 8261.4114 | 100% | 8261.4114 |  | 0 |  | 14.29% | 8261.4114 | 100% | 8261.4114 |  | 0 |  | 14.29% | 8261.4114 | 100% | 8261.4114 |  | 0 |  | 14.29% | 8261.4114 | 100% | 8261.4114 |  | 0 |  | 14.29% | 8261.4114 | 100% | 8261.4114 |  | 0 |  | 14.29% | 8261.4114 | 100% | 8261.4114 |  | 0 |  | 14.29% | 8261.4114 | 100% | 8261.4114 |  | 0 | 57829.8795 | 57829.8795 | 57829.8795 | 0
| 350' Stack (felling) | ea | 1 | 350000 | 350000 |  | 350000 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 80% | 280000 | 100% | 280000 |  | 0 |  | 20% | 70000 | 100% | 70000 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 | 350000 | 350000 | 350000 | 0
| Process and haul brick, block & Concrete | nt | 18000 | 15.306 | 275508 |  | 15 |  | 0 |  | 0 |  | 0 |  | 100% | 275508 | 100% | 275508 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 | 275508 | 275508 | 275508 | 0
| Unit & Service Transformers - Demo | nt | 120 | 244.896 | 29387.52 |  | 240
| Unit & Service Transformers- CU Sales | lbs | 252113.4317 | -0.31414 | -79200 |  | -0.37 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 100% | -79200 | 100% | -79200 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 | -79200 | -79200 | -79200 | 0
| Unit & Service Transformers - FE Sales | nt | 120 | -108.3696 | -13004.3488 |  | -123.79
0
[7 empty] | 0 | [57 empty] | 0
Unit 1 & 2 Precipitators |  |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0
| Demo | nt | 11482.324 | 244.896 | 2811975.2183 |  | 240 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 80% | 2249580.1746 | 100% | 2249580.1746 |  | 0 |  | 20% | 562395.0437 | 100% | 562395.0437 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 | 2811975.2183 | 2811975.2183 | 2811975.2183 | 0
| FE Sales | nt | 11482.324 | -108.3696 | -1244334.5504 |  | -123.79 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 80% | -995467.6404 | 100% | -995467.6404 |  | 0 |  | 20% | -248866.9101 | 100% | -248866.9101 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 | -1244334.5504 | -1244334.5504 | -1244334.5504 | 0
[7 empty] | 0 | [57 empty] | 0
Units 1&2 SO2 Scrubber |  |  |  |  | 0 |  | 0
| Demo | nt | 1350 | 244.896 | 324000 |  | 240
| FE Sales | nt | 1350 | -108.3696 | -243710.5263 |  | -123.79
| AL Sales | lbs | 12150 | -0.38793 | -4743.2961 |  | -0.38
| CU Sales | lbs | 27000 | -0.31414 | -9994.9846 |  | -0.37
| SS Sales | lbs | 16200 | -0.137 | -2979.8281 |  | -0.16
| Concrete Foundations Concrete | cy | 225 | 107.142 | 23625 |  | 105
| Transport & Dispose of Combustibles | nt | 50.625 | 66.326 | 3290.625 |  | 65
| Concrete Stack | ea | 1 | 850000 | 850000 |  | 850000
| Process and haul brick, block & Concrete | nt | 6977.7778 | 15.306 | 104666.6667 |  | 15
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0
Ancillary Buildings |  |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0
| Demo | nt | 200 | 367.344 | 73468.8 |  | 360 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 60% | 44081.28 | 85% | 37469.088 | 15% | 6612.192 |  | 20% | 14693.76 | 85% | 12489.696 | 15% | 2204.064 |  | 15% | 11020.32 | 85% | 9367.272 | 15% | 1653.048 |  | 5% | 3673.44 | 85% | 3122.424 | 15% | 551.016 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 | 73468.8 | 73468.8 | 73468.8 | 0
| Sales | nt | 200 | -108.3696 | -21673.9146 |  | -123.79 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 60% | -13004.3488 | 85% | -11053.6965 | 15% | -1950.6523 |  | 25% | -5418.4787 | 85% | -4605.7069 | 15% | -812.7718 |  | 15% | -3251.0872 | 85% | -2763.4241 | 15% | -487.6631 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 | -21673.9146 | -21673.9146 | -21673.9146 | 0
| Transport & Dispose of Combustibles | nt | 65 | 66.326 | 4311.19 |  | 65 |  | 0 |  | 0 |  | 0 |  | 14.29% | 615.8843 | 85% | 523.5016 | 15% | 92.3826 |  | 14.29% | 615.8843 | 85% | 523.5016 | 15% | 92.3826 |  | 14.29% | 615.8843 | 85% | 523.5016 | 15% | 92.3826 |  | 14.29% | 615.8843 | 85% | 523.5016 | 15% | 92.3826 |  | 14.29% | 615.8843 | 85% | 523.5016 | 15% | 92.3826 |  | 14.29% | 615.8843 | 85% | 523.5016 | 15% | 92.3826 |  | 14.29% | 615.8843 | 85% | 523.5016 | 15% | 92.3826 | 4311.19 | 4311.19 | 4311.19 | 0
[7 empty] | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0
| Total |  |  |  | 9511012.7502 | 0 | 0 |  | 373750 |  | 317687.5 |  | 56062.5 | 0 |  | 889355.2956 |  | 798517.413 |  | 90837.8826 | 0 |  | 5421214.2578 |  | 5409897.8355 |  | 11316.4223 | 0 |  | 882698.5629 |  | 872777.3881 |  | 9921.1748 | 0 |  | 955867.7082 |  | 912422.4406 |  | 43445.2676 | 0 |  | -177664.4935 |  | -214870.3921 |  | 37205.8986 | 0 |  | 52627.2956 |  | 45972.413 |  | 6654.8826 | 0 |  | 52627.2956 |  | 45972.413 |  | 6654.8826 | 9511012.7502 | 8450475.9224 | 8450475.9224 | 1
[7 empty] | 0 |  | 0 | [53 empty] | 0 | 0 | 0 | 0
[7 empty] | 0 |  | 0 | [53 empty] | 0 | 0 | 0 | 0
[7 empty] | 0 |  | 0 | [53 empty] | 0 | 0 | 0 | 0
| Universal Wastes, Grease & Oil Removal | nt | 38751.272 | 6.1224 | 237250.7877 |  | 6 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 100% | 237250.7877 | 85% | 201663.1695 | 15% | 35587.6182 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 | 237250.7877 | 237250.7877 | 237250.7877 | 0
| Dispose of Refractory in Subtitle D Landfill | nt | 7111.1111 | 66.326 | 471651.5556 |  | 65 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 100% | 471651.5556 | 85% | 400903.8222 | 15% | 70747.7333 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 | 471651.5556 | 471651.5556 | 471651.5556 | 0
| Units 1 & 2 Boiler ACM | ls | 1 | 7750254.4 | 7750254.4 |  |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 60% | 4650152.64 | 100% | 4650152.64 |  | 0 |  | 20% | 1550050.88 | 100% | 1550050.88 |  |  |  | 15% | 1162538.16 | 100% | 1162538.16 |  | 0 |  | 5% | 387512.72 | 100% | 387512.72 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 | 7750254.4 | 7750254.4 | 7750254.4 | 0
| Units 1 & 2 Precipitator ACM | ls | 1 | 2296464.8 | 2296464.8 |  |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 80% | 1837171.84 | 100% | 1837171.84 |  | 0 |  | 20% | 459292.96 | 100% | 459292.96 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 | 2296464.8 | 2296464.8 | 2296464.8 | 0
|  |  |  | 31DEC16 Scrap Values | 10219915.0934
|  |  |  | 06NOV15 Scrap Values | 8880922.2515
|  |  |  | August '15 Scrap values | 5905140
4314775.0934
| Note: 2016 Salvage Values were escalated from 2015 based on % from Power Advocate. |  |  |  | 2016-12-31 |  |  |  | 2016-12-31
[5 empty] | Unit |  |  |  | ADJ Unit
[5 empty] | Price |  |  |  | Price
| * FE is based on the 31DEC15, 2015 Metal Prices Birmingham P&S 5' & under = $151.79 / GT and Escalated to 31DEC2016. |  |  |  | 147.0724 |  |  |  | -108.3696
| * AL is based on 31DEC15, 2015 LME Cash Official = $0.68/lb and Escalated to 31DEC2016. |  |  |  | 0.68399 |  |  |  | -0.38793
| * CU is based on 31DEC15, LME Cash Official = $2.14/lb and Escalated to 31DEC2016. |  |  |  | 1.9443 |  |  |  | -0.31414
| * SS is based on 31DEC15, LME 304 (18-8) Scrap Solids Processor = $0.38 / lb and Escalated to 31DEC2016. |  |  |  | 0.37675 |  |  |  | -0.137
| *305 SS - is based on 31DEC15, LME 304 (18-8) Scrap Solids Processor = $0.38 / lb and Escalated to 31DEC2016. |  |  |  | 0.37675 |  |  |  | -0.17125
* Transformers is based on 31DEC15, LME Cash Official = $2.29/lb
| *Ti is based on 31DEC15, Secondary Market Tin Bearing >85% = $0..25/ lb and Escalated to 31DEC2016. |  |  |  | 0.24659 |  |  |  | -0.16439
| * Ad Brass is based of 31DEC15, Secondary Market Yellow Brass = $1.51 and Escalated to 31DEC2016. |  |  |  | 1.3714 |  |  |  | -1.4481
| * 90-10 CU-NI is based on 31DEC15, Secondary Market Cupro-Nickel Scrap 90-10 = $1.87 and Escalated to 31DEC2016. |  |  |  | 1.9908 |  |  |  | -1.5206
| *304 SS - is based on 31DEC15, LME 304 (18-8) Scrap Solids Processor = $0.38 / lb and Escalated to 31DEC2016. |  |  |  | 0.37675 |  |  |  | -0.2055
| Labor Escalation (4Q15 to 4Q16) |  |  |  | 2.04% |  |  |  | 1.0204

## Daniel Import (to Gulf Study)
[7 empty] | 13551377.7895 | 5093887.0517 |  | 7731091.9919 |  |  |  | 5126028.0418 | 10219915.0934
WBS | FERC | UNIT | COEL | PLTCODE | QTY | UM | RATE | VALUE | COMMENT | MATERIALS | CLASSIFICATION | NOTES2016 | cRATE2016 | cVALUE2016 | BUCKET | OWNRSHP_PCT | OWNER | CCATDESC | 1 | 2 |  | 3 | 4 | 5 | 6 | 7 | 8 | 9
3090481 | 309 | C | CLR | DANIEL12-ECO | 1 | % | 14059.8761 | 14059.8761 | ADMINISTRATIVE & GENERAL OVERHEAD |  |  | ADMINISTRATIVE & GENERAL OVERHEAD | 14059.8761 | 14059.8761 | ECO | 50% | GULF | REMOVAL | SCS |  |  | 3: 3090481309CCLRDANIEL12-ECO%ADMINISTRATIVE & GENERAL OVERHEAD | 1
3090481 | 309 | C | CLR | DANIEL12-ECOF | 1 | % | 5988.125 | 5988.125 | ADMINISTRATIVE & GENERAL OVERHEAD |  |  | All Indirect Costs for FGD were put into Units 1&2; No Commons per GULF. | 5988.125 | 5988.125 | ECO | 50% | GULF | REMOVAL | SCS |  |  | 3: 3090481309CCLRDANIEL12-ECOF%ADMINISTRATIVE & GENERAL OVERHEAD | 1
3090481 | 309 | C | CLR | DANIEL12-NON | 1 | % | 57262.9188 | 57262.9188 | ADMINISTRATIVE & GENERAL OVERHEAD |  |  | ADMINISTRATIVE & GENERAL OVERHEAD | 57262.9188 | 57262.9188 | NON | 50% | GULF | REMOVAL | SCS |  |  | 3: 3090481309CCLRDANIEL12-NON%ADMINISTRATIVE & GENERAL OVERHEAD | 1
311UND | 311 | C | CLR | DANIEL12-NON | 85 | nt | 367.344 | 31224.24 | ANCILLARY BUILDINGS - Demo |  |  | ANICILLARY BUILDINGS - Demo | 367.344 | 31224.24 | NON | 50% | GULF | REMOVAL | BDG | MARKUP | 35 | 3: 311UND311CCLRDANIEL12-NONntANCILLARY BUILDINGS - Demo | 100000
311UND | 311 | C | CMS | DANIEL12-NON | 85 | nt | -108.3696 | -9211.4137 | ANCILLARY BUILDINGS - FE SALES | STEEL |  | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -108.3696 | -9211.4137 | NON | 50% | GULF | SALVAGE | BDG | MARKUP | 36 | 3: 311UND311CCMSDANIEL12-NONntANCILLARY BUILDINGS - FE SALES | 1
3040000 | 304 | C | CLR | DANIEL12-ASH | 0 |  |  | 0 | CONTINGENCY | CONTINGENCY |  | CONTINGENCY | 0 | 0 | ASH | 100% | GULF | REMOVAL | SCS |  |  | 3: 3040000304CCLRDANIEL12-ASHCONTINGENCY | 1
3040000 | 304 | 1 | 1LR | DANIEL12-ECO | 0 |  |  | 0 | CONTINGENCY | CONTINGENCY |  | CONTINGENCY | 0 | 0 | ECO | 100% | GULF | REMOVAL | SCS |  |  | 3: 304000030411LRDANIEL12-ECOCONTINGENCY | 1
3040000 | 304 | 2 | 2LR | DANIEL12-ECO | 0 |  |  | 0 | CONTINGENCY | CONTINGENCY |  | CONTINGENCY | 0 | 0 | ECO | 100% | GULF | REMOVAL | SCS |  |  | 3: 304000030422LRDANIEL12-ECOCONTINGENCY | 400000
3040000 | 304 | C | CLR | DANIEL12-ECO | 0 |  |  | 0 | CONTINGENCY | CONTINGENCY |  | CONTINGENCY | 0 | 0 | ECO | 100% | GULF | REMOVAL | SCS |  |  | 3: 3040000304CCLRDANIEL12-ECOCONTINGENCY | 1
3040000 | 304 | C | CLR | DANIEL12-ECOF | 0 |  |  | 0 | CONTINGENCY | CONTINGENCY |  | All Indirect Costs for FGD were put into Units 1&2; No Commons per GULF. | 0 | 0 | ECO | 100% | GULF | REMOVAL | SCS |  |  | 3: 3040000304CCLRDANIEL12-ECOFCONTINGENCY | 1
3040000 | 304 | 1 | 1LR | DANIEL12-NON | 0 |  |  | 0 | CONTINGENCY | CONTINGENCY |  | CONTINGENCY | 0 | 0 | NON | 100% | GULF | REMOVAL | SCS |  |  | 3: 304000030411LRDANIEL12-NONCONTINGENCY | 1
3040000 | 304 | 2 | 2LR | DANIEL12-NON | 0 |  |  | 0 | CONTINGENCY | CONTINGENCY |  | CONTINGENCY | 0 | 0 | NON | 100% | GULF | REMOVAL | SCS |  |  | 3: 304000030422LRDANIEL12-NONCONTINGENCY | 1
3040000 | 304 | C | CLR | DANIEL12-NON | 0 |  |  | 0 | CONTINGENCY | CONTINGENCY |  | CONTINGENCY | 0 | 0 | NON | 100% | GULF | REMOVAL | SCS |  |  | 3: 3040000304CCLRDANIEL12-NONCONTINGENCY | 1
3070201MO | 307 | C | CLR | DANIEL12-NON | 0.5 | LT | 250000 | 125000 | CONTRACTOR MOBILIZATION |  |  | CONTRACTOR MOBILIZATION | 250000 | 125000 | NON | 50% | GULF | REMOVAL | BDG |  | 4 | 3: 3070201MO307CCLRDANIEL12-NONLTCONTRACTOR MOBILIZATION | 1
3110230 | 311 | C | CLR | DANIEL12-ASH | 18.5 | AC | 115923.5946 | 2144586.5 | Daniel Gypsum Facility |  |  | Daniel Gypsum Facility | 115923.5946 | 2144586.5 | ASH | 50% | GULF | REMOVAL | SCS |  |  | 3: 3110230311CCLRDANIEL12-ASHACDaniel Gypsum Facility
3110230 | 311 | C | CLR | DANIEL12-ASH | 15 | AC | 107004.6 | 1605069 | Daniel NAMU Ash Landfill Closure |  |  | Daniel NAMU Ash Landfill Closure | 107004.6 | 1605069 | ASH | 50% | GULF | REMOVAL | SCS |  |  | 3: 3110230311CCLRDANIEL12-ASHACDaniel NAMU Ash Landfill Closure
3110230 | 311 | C | CLR | DANIEL12-ASH | 9.5 | AC | 400638.6842 | 3806067.5 | Daniel Bottom Ash Pond Closure |  |  | Daniel Bottom Ash Pond Closure | 400638.6842 | 3806067.5 | ASH | 50% | GULF | REMOVAL | SCS |  |  | 3: 3110230311CCLRDANIEL12-ASHACDaniel Bottom Ash Pond Closure
3080241 | 308 | C | CLR | DANIEL12-NON | 0.5 | ls | 50000 | 25000 | Design bulkhead for intake and discharge tunnel |  |  | Design bulkhead for intake and discharge tunnel | 50000 | 25000 | NON | 50% | GULF | REMOVAL | BDG |  | 1 | 3: 3080241308CCLRDANIEL12-NONlsDesign bulkhead for intake and discharge tunnel
312UND | 312 | 1 | 1LD | DANIEL12-NON | 1777.7778 | nt | 66.326 | 117912.8889 | Dispose of Refractory in Subtitle D Landfill |  |  | Dispose of Refractory in Subtitle D Landfill | 66.326 | 117912.8889 | NON | 50% | GULF | DISPOSAL | BDG | MARKUP |  | 3: 312UND31211LDDANIEL12-NONntDispose of Refractory in Subtitle D Landfill
312UND | 312 | 2 | 2LD | DANIEL12-NON | 1777.7778 | nt | 66.326 | 117912.8889 | Dispose of Refractory in Subtitle D Landfill |  |  | Dispose of Refractory in Subtitle D Landfill | 66.326 | 117912.8889 | NON | 50% | GULF | DISPOSAL | BDG | MARKUP |  | 3: 312UND31222LDDANIEL12-NONntDispose of Refractory in Subtitle D Landfill
3110001LC | 311 | C | CLR | DANIEL12-NON | 400000 | sf | 0.2551 | 51020 | Grade and Seeding |  |  | Grade and Seeding | 0.2551 | 51020 | NON | 50% | GULF | REMOVAL | BDG | MARKUP | 9 | 3: 3110001LC311CCLRDANIEL12-NONsfGrade and Seeding
314052102 | 314 | C | CLR | DANIEL12-NON | 1 | ls | 250000 | 125000 | Install Bulkhead in Intake & Discharge Tunnel |  |  | Install Bulkhead in Intake & Discharge Tunnel | 250000 | 125000 | NON | 50% | GULF | REMOVAL | BDG | MARKUP | 7 | 3: 314052102314CCLRDANIEL12-NONlsInstall Bulkhead in Intake & Discharge Tunnel
307UND | 307 | C | CLR | DANIEL12-NON | 1 | ls | 200000 | 100000 | Install Electrical for Decommissioning Work |  |  | Install Electrical for Decommisioning Work | 200000 | 100000 | NON | 50% | GULF | REMOVAL | BDG |  | 8 | 3: 307UND307CCLRDANIEL12-NONlsInstall Electrical for Decommissioning Work
312UND | 312 | 1 | 1LR | DANIEL12-NON | 0.25 | ea | 350000 | 87500 | Main Power Block - (1) each 350' Stack (felling) |  |  | Main Power Block - (1) each 350' Stack (felling) | 350000 | 87500 | NON | 50% | GULF | REMOVAL | BDG | MARKUP | 18 | 3: 312UND31211LRDANIEL12-NONeaMain Power Block - (1) each 350' Stack (felling)
312UND | 312 | 2 | 2LR | DANIEL12-NON | 0.25 | ea | 350000 | 87500 | Main Power Block - (1) each 350' Stack (felling) |  |  | Main Power Block - (1) each 350' Stack (felling) | 350000 | 87500 | NON | 50% | GULF | REMOVAL | BDG | MARKUP | 18 | 3: 312UND31222LRDANIEL12-NONeaMain Power Block - (1) each 350' Stack (felling)
312UND | 312 | 1 | 1MS | DANIEL12-NON | 87190.362 | lbs | -0.38793 | -33824.0198 | Main Power Block - AL Sales | ALUMINUM |  | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -0.38793 | -33824.0198 | NON | 50% | GULF | SALVAGE | BDG | MARKUP | 12 | 3: 312UND31211MSDANIEL12-NONlbsMain Power Block - AL Sales
312UND | 312 | 2 | 2MS | DANIEL12-NON | 87190.362 | lbs | -0.38793 | -33824.0198 | Main Power Block - AL Sales | ALUMINUM |  | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -0.38793 | -33824.0198 | NON | 50% | GULF | SALVAGE | BDG | MARKUP | 12 | 3: 312UND31222MSDANIEL12-NONlbsMain Power Block - AL Sales
314UND | 314 | 1 | 1MS | DANIEL12-NON | 225000 | lbs | -0.16439 | -36988.125 | Main Power Block - Condenser Tubes (Titanium) | TITANIUM |  | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -0.16439 | -36988.125 | NON | 50% | GULF | SALVAGE | BDG | MARKUP | 16 | 3: 314UND31411MSDANIEL12-NONlbsMain Power Block - Condenser Tubes (Titanium)
314UND | 314 | 2 | 2MS | DANIEL12-NON | 225000 | lbs | -0.16439 | -36988.125 | Main Power Block - Condenser Tubes (Titanium) | TITANIUM |  | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -0.16439 | -36988.125 | NON | 50% | GULF | SALVAGE | BDG | MARKUP | 16 | 3: 314UND31422MSDANIEL12-NONlbsMain Power Block - Condenser Tubes (Titanium)
312UND | 312 | 1 | 1MS | DANIEL12-NON | 164692.906 | lbs | -0.31414 | -51737.3393 | Main Power Block - CU Sales | COPPER |  | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -0.31414 | -51737.3393 | NON | 50% | GULF | SALVAGE | BDG | MARKUP | 13 | 3: 312UND31211MSDANIEL12-NONlbsMain Power Block - CU Sales
315UND | 315 | 1 | 1MS | DANIEL12-NON | 658771.624 | lbs | -0.31414 | -206949.3571 | Main Power Block - CU Sales | COPPER |  | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -0.31414 | -206949.3571 | NON | 50% | GULF | SALVAGE | BDG | MARKUP | 13 | 3: 315UND31511MSDANIEL12-NONlbsMain Power Block - CU Sales
312UND | 312 | 2 | 2MS | DANIEL12-NON | 164692.906 | lbs | -0.31414 | -51737.3393 | Main Power Block - CU Sales | COPPER |  | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -0.31414 | -51737.3393 | NON | 50% | GULF | SALVAGE | BDG | MARKUP | 13 | 3: 312UND31222MSDANIEL12-NONlbsMain Power Block - CU Sales
315UND | 315 | 2 | 2MS | DANIEL12-NON | 658771.624 | lbs | -0.31414 | -206949.3571 | Main Power Block - CU Sales | COPPER |  | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -0.31414 | -206949.3571 | NON | 50% | GULF | SALVAGE | BDG | MARKUP | 13 | 3: 315UND31522MSDANIEL12-NONlbsMain Power Block - CU Sales
311UND | 311 | 1 | 1LR | DANIEL12-NON | 5794.6908 | nt | 244.896 | 1419096.5982 | Main Power Block - DEMO |  |  | Main Power Block - DEMO | 244.896 | 1419096.5982 | NON | 50% | GULF | REMOVAL | BDG | MARKUP | 10 | 3: 311UND31111LRDANIEL12-NONntMain Power Block - DEMO
312UND | 312 | 1 | 1LR | DANIEL12-NON | 1931.5636 | nt | 244.896 | 473032.1994 | Main Power Block - DEMO |  |  | Main Power Block - DEMO | 244.896 | 473032.1994 | NON | 50% | GULF | REMOVAL | BDG | MARKUP | 10 | 3: 312UND31211LRDANIEL12-NONntMain Power Block - DEMO
314UND | 314 | 1 | 1LR | DANIEL12-NON | 1448.6727 | nt | 244.896 | 354774.1495 | Main Power Block - DEMO |  |  | Main Power Block - DEMO | 244.896 | 354774.1495 | NON | 50% | GULF | REMOVAL | BDG | MARKUP | 10 | 3: 314UND31411LRDANIEL12-NONntMain Power Block - DEMO
315UND | 315 | 1 | 1LR | DANIEL12-NON | 482.8909 | nt | 244.896 | 118258.0498 | Main Power Block - DEMO |  |  | Main Power Block - DEMO | 244.896 | 118258.0498 | NON | 50% | GULF | REMOVAL | BDG | MARKUP | 10 | 3: 315UND31511LRDANIEL12-NONntMain Power Block - DEMO
311UND | 311 | 2 | 2LR | DANIEL12-NON | 5794.6908 | nt | 244.896 | 1419096.5982 | Main Power Block - DEMO |  |  | Main Power Block - DEMO | 244.896 | 1419096.5982 | NON | 50% | GULF | REMOVAL | BDG | MARKUP | 10 | 3: 311UND31122LRDANIEL12-NONntMain Power Block - DEMO
312UND | 312 | 2 | 2LR | DANIEL12-NON | 1931.5636 | nt | 244.896 | 473032.1994 | Main Power Block - DEMO |  |  | Main Power Block - DEMO | 244.896 | 473032.1994 | NON | 50% | GULF | REMOVAL | BDG | MARKUP | 10 | 3: 312UND31222LRDANIEL12-NONntMain Power Block - DEMO
314UND | 314 | 2 | 2LR | DANIEL12-NON | 1448.6727 | nt | 244.896 | 354774.1495 | Main Power Block - DEMO |  |  | Main Power Block - DEMO | 244.896 | 354774.1495 | NON | 50% | GULF | REMOVAL | BDG | MARKUP | 10 | 3: 314UND31422LRDANIEL12-NONntMain Power Block - DEMO
315UND | 315 | 2 | 2LR | DANIEL12-NON | 482.8909 | nt | 244.896 | 118258.0498 | Main Power Block - DEMO |  |  | Main Power Block - DEMO | 244.896 | 118258.0498 | NON | 50% | GULF | REMOVAL | BDG | MARKUP | 10 | 3: 315UND31522LRDANIEL12-NONntMain Power Block - DEMO
311UND | 311 | 1 | 1MS | DANIEL12-NON | 5794.6908 | nt | -108.3696 | -627968.1684 | Main Power Block - FE Sales | STEEL |  | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -108.3696 | -627968.1684 | NON | 50% | GULF | SALVAGE | BDG | MARKUP | 11 | 3: 311UND31111MSDANIEL12-NONntMain Power Block - FE Sales
312UND | 312 | 1 | 1MS | DANIEL12-NON | 2414.4545 | nt | -108.3696 | -261653.4035 | Main Power Block - FE Sales | STEEL |  | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -108.3696 | -261653.4035 | NON | 50% | GULF | SALVAGE | BDG | MARKUP | 11 | 3: 312UND31211MSDANIEL12-NONntMain Power Block - FE Sales
314UND | 314 | 1 | 1MS | DANIEL12-NON | 1448.6727 | nt | -108.3696 | -156992.0421 | Main Power Block - FE Sales | STEEL |  | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -108.3696 | -156992.0421 | NON | 50% | GULF | SALVAGE | BDG | MARKUP | 11 | 3: 314UND31411MSDANIEL12-NONntMain Power Block - FE Sales
311UND | 311 | 2 | 2MS | DANIEL12-NON | 5794.6908 | nt | -108.3696 | -627968.1684 | Main Power Block - FE Sales | STEEL |  | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -108.3696 | -627968.1684 | NON | 50% | GULF | SALVAGE | BDG | MARKUP | 11 | 3: 311UND31122MSDANIEL12-NONntMain Power Block - FE Sales
312UND | 312 | 2 | 2MS | DANIEL12-NON | 2414.4545 | nt | -108.3696 | -261653.4035 | Main Power Block - FE Sales | STEEL |  | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -108.3696 | -261653.4035 | NON | 50% | GULF | SALVAGE | BDG | MARKUP | 11 | 3: 312UND31222MSDANIEL12-NONntMain Power Block - FE Sales
314UND | 314 | 2 | 2MS | DANIEL12-NON | 1448.6727 | nt | -108.3696 | -156992.0421 | Main Power Block - FE Sales | STEEL |  | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -108.3696 | -156992.0421 | NON | 50% | GULF | SALVAGE | BDG | MARKUP | 11 | 3: 314UND31422MSDANIEL12-NONntMain Power Block - FE Sales
312UND | 312 | 1 | 1MS | DANIEL12-NON | 116253.816 | lbs | -0.137 | -15926.6612 | Main Power Block - SS Sales | STAINLESS STEEL |  | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -0.137 | -15926.6612 | NON | 50% | GULF | SALVAGE | BDG | MARKUP | 14 | 3: 312UND31211MSDANIEL12-NONlbsMain Power Block - SS Sales
312UND | 312 | 2 | 2MS | DANIEL12-NON | 116253.816 | lbs | -0.137 | -15926.6612 | Main Power Block - SS Sales | STAINLESS STEEL |  | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -0.137 | -15926.6612 | NON | 50% | GULF | SALVAGE | BDG | MARKUP | 14 | 3: 312UND31222MSDANIEL12-NONlbsMain Power Block - SS Sales
314UND | 314 | 1 | 1LR | DANIEL12-NON | 1490.7407 | cy | 107.142 | 159720.9444 | Main Power Block - Turbine Foundations Concrete |  |  | Main Power Block - Turbine Foundations Concrete | 107.142 | 159720.9444 | NON | 50% | GULF | REMOVAL | BDG | MARKUP | 15 | 3: 314UND31411LRDANIEL12-NONcyMain Power Block - Turbine Foundations Concrete
314UND | 314 | 2 | 2LR | DANIEL12-NON | 1490.7407 | cy | 107.142 | 159720.9444 | Main Power Block - Turbine Foundations Concrete |  |  | Main Power Block - Turbine Foundations Concrete | 107.142 | 159720.9444 | NON | 50% | GULF | REMOVAL | BDG | MARKUP | 15 | 3: 314UND31422LRDANIEL12-NONcyMain Power Block - Turbine Foundations Concrete
3080261 | 308 | C | CLR | DANIEL12-NON | 850 | MH | 101.26 | 86069.3 | MPC ENGINEERING |  |  | SCS ENGINEERING | 101.26 | 86069.3 | NON | 50% | GULF | REMOVAL | SCS |  |  | 3: 3080261308CCLRDANIEL12-NONMHMPC ENGINEERING
3110061 | 311 | C | CLR | DANIEL12-NON | 50000 | sf | 4.5918 | 229590 | Pavement Repairs |  |  | Pavement Repairs | 4.5918 | 229590 | NON | 50% | GULF | REMOVAL | BDG | MARKUP | 5 | 3: 3110061311CCLRDANIEL12-NONsfPavement Repairs
3080268EA | 308 | C | CLR | DANIEL12-NON | 0.5 | ls | 250000 | 125000 | Perform environmental survey of above grade structures |  |  | Perform environmental survey of above grade structures | 250000 | 125000 | NON | 50% | GULF | REMOVAL | BDG |  | 2 | 3: 3080268EA308CCLRDANIEL12-NONlsPerform environmental survey of above grade structures | 675
3080268 | 308 | C | CLR | DANIEL12-ECO | 1 | LT | 1124.7901 | 1124.7901 | PERMITS |  |  | PERMITS | 1124.7901 | 1124.7901 | ECO | 50% | GULF | REMOVAL | SCS |  |  | 3: 3080268308CCLRDANIEL12-ECOLTPERMITS | 675
3080268 | 308 | C | CLR | DANIEL12-ECOF | 1 | LT | 479.05 | 479.05 | PERMITS |  |  | All Indirect Costs for FGD were put into Units 1&2; No Commons per GULF. | 479.05 | 479.05 | ECO | 50% | GULF | REMOVAL | SCS |  |  | 3: 3080268308CCLRDANIEL12-ECOFLTPERMITS | 675
3080268 | 308 | C | CLR | DANIEL12-NON | 1 | LT | 4581.0335 | 2290.5168 | PERMITS |  |  | PERMITS | 4581.0335 | 2290.5168 | NON | 50% | GULF | REMOVAL | SCS |  |  | 3: 3080268308CCLRDANIEL12-NONLTPERMITS | 1
3070041 | 307 | C | CLR | DANIEL12-NON | 1.5 | MY | 114759.146 | 172138.719 | POWER GENERATION SUPERVISION |  |  | POWER GENERATION SUPERVISION | 114759.146 | 172138.719 | NON | 50% | GULF | REMOVAL | SCS |  |  | 3: 3070041307CCLRDANIEL12-NONMYPOWER GENERATION SUPERVISION | 1
312UND | 312 | 1 | 1LR | DANIEL12-ECO | 2870.581 | nt | 244.896 | 702993.8046 | Precipitators - DEMO |  |  | Precipitators - DEMO | 244.896 | 702993.8046 | ECO | 50% | GULF | REMOVAL | BDG | MARKUP | 24 | 3: 312UND31211LRDANIEL12-ECOntPrecipitators - DEMO | 1
312UND | 312 | 2 | 2LR | DANIEL12-ECO | 2870.581 | nt | 244.896 | 702993.8046 | Precipitators - DEMO |  |  | Precipitators - DEMO | 244.896 | 702993.8046 | ECO | 50% | GULF | REMOVAL | BDG | MARKUP | 24 | 3: 312UND31222LRDANIEL12-ECOntPrecipitators - DEMO | 1
312UND | 312 | 1 | 1MS | DANIEL12-ECO | 2870.581 | nt | -108.3696 | -311083.6376 | Precipitators - FE Sales | STEEL |  | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -108.3696 | -311083.6376 | ECO | 50% | GULF | SALVAGE | BDG | MARKUP | 25 | 3: 312UND31211MSDANIEL12-ECOntPrecipitators - FE Sales | 675
312UND | 312 | 2 | 2MS | DANIEL12-ECO | 2870.581 | nt | -108.3696 | -311083.6376 | Precipitators - FE Sales | STEEL |  | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -108.3696 | -311083.6376 | ECO | 50% | GULF | SALVAGE | BDG | MARKUP | 25 | 3: 312UND31222MSDANIEL12-ECOntPrecipitators - FE Sales | 112.5
3111002CN | 311 | 1 | 1LD | DANIEL12-NON | 4500 | nt | 15.306 | 68877 | Process, haul and backfill brick & block |  |  | Process, haul and backfill brick & block | 15.306 | 68877 | NON | 50% | GULF | DISPOSAL | BDG | MARKUP | 19 | 3: 3111002CN31111LDDANIEL12-NONntProcess, haul and backfill brick & block
3111002CN | 311 | 2 | 2LD | DANIEL12-NON | 4500 | nt | 15.306 | 68877 | Process, haul and backfill brick & block |  |  | Process, haul and backfill brick & block | 15.306 | 68877 | NON | 50% | GULF | DISPOSAL | BDG | MARKUP | 19 | 3: 3111002CN31122LDDANIEL12-NONntProcess, haul and backfill brick & block
3080241 | 308 | C | CLR | DANIEL12-ECO | 3 | % | 14059.8761 | 42179.6283 | SCS ENGINEERING |  |  | GPC ENGINEERING | 14059.8761 | 42179.6283 | ECO | 50% | GULF | REMOVAL | SCS |  |  | 3: 3080241308CCLRDANIEL12-ECO%SCS ENGINEERING | 6075
3080241 | 308 | C | CLR | DANIEL12-ECOF | 3 | % | 5988.125 | 17964.375 | SCS ENGINEERING |  |  | All Indirect Costs for FGD were put into Units 1&2; No Commons per GULF. | 5988.125 | 17964.375 | ECO | 50% | GULF | REMOVAL | SCS |  |  | 3: 3080241308CCLRDANIEL12-ECOF%SCS ENGINEERING | 6075
3080241 | 308 | C | CLR | DANIEL12-NON | 3 | % | 57262.9188 | 171788.7565 | SCS ENGINEERING |  |  | GPC ENGINEERING | 57262.9188 | 171788.7565 | NON | 50% | GULF | REMOVAL | SCS |  |  | 3: 3080241308CCLRDANIEL12-NON%SCS ENGINEERING | 13500
3070221 | 307 | C | CLR | DANIEL12-NON | 3 | MY | 43137.7635 | 129413.2905 | SECURITY SERVICES |  |  | SECURITY SERVICES | 43137.7635 | 129413.2905 | NON | 50% | GULF | REMOVAL | SCS |  |  | 3: 3070221307CCLRDANIEL12-NONMYSECURITY SERVICES | 8100
312UND | 312 | C | CMS | DANIEL12-ECOF | 3037.5 | lbs | -0.38793 | -2371.648 | SO2 SCRUBBER - AL Sales | ALUMINUM |  | All Indirect Costs for FGD were put into Units 1&2; No Commons per GULF. | -0.38793 | -2371.648 | NON | 50% | GULF | SALVAGE | BDG | MARKUP | 28 | 3: 312UND312CCMSDANIEL12-ECOFlbsSO2 SCRUBBER - AL Sales | 8100
312UND | 312 | C | CLR | DANIEL12-ECOF | 0.25 | ea | 850000 | 425000 | SO2 SCRUBBER - 600' Stack (felling) |  |  | All Indirect Costs for FGD were put into Units 1&2; No Commons per GULF. | 850000 | 425000 | ECO | 50% | GULF | REMOVAL | BDG | MARKUP | 33 | 3: 312UNDCCLRDANIEL12-ECOF0.25ea850000SO2 SCRUBBER - 600' Stack (felling) | 112.5
315UND | 312 | C | CMS | DANIEL12-ECOF | 6750 | lbs | -0.31414 | -4997.4923 | SO2 SCRUBBER - CU Sales | COPPER |  | All Indirect Costs for FGD were put into Units 1&2; No Commons per GULF. | -0.31414 | -4997.4923 | NON | 50% | GULF | SALVAGE | BDG | MARKUP | 29 | 3: 315UND312CCMSDANIEL12-ECOFlbsSO2 SCRUBBER - CU Sales | 25.3125
312UND | 312 | C | CLR | DANIEL12-ECOF | 337.5 | nt | 244.896 | 162000 | SO2 SCRUBBER - Demo FE |  |  | All Indirect Costs for FGD were put into Units 1&2; No Commons per GULF. | 244.896 | 162000 | ECO | 50% | GULF | REMOVAL | BDG | MARKUP | 26 | 3: 312UNDCCLRDANIEL12-ECOF337.5nt244.896SO2 SCRUBBER - Demo FE | 0.5
312UND | 312 | C | CMS | DANIEL12-ECOF | 337.5 | nt | -108.3696 | -121855.2632 | SO2 SCRUBBER - FE Sales | STEEL |  | All Indirect Costs for FGD were put into Units 1&2; No Commons per GULF. | -108.3696 | -121855.2632 | ECO | 50% | GULF | SALVAGE | BDG | MARKUP | 27 | 3: 312UNDCCMSDANIEL12-ECOF337.5nt-108.369573131976SO2 SCRUBBER - FE Sales | 3488.8889
3111002CN | 312 | C | CLD | DANIEL12-ECOF | 1744.4444 | nt | 15.306 | 52333.3333 | SO2 SCRUBBER - Process, haul and backfill brick & block |  |  | All Indirect Costs for FGD were put into Units 1&2; No Commons per GULF. | 15.306 | 52333.3333 | NON | 50% | GULF | DISPOSAL | BDG | MARKUP | 34 | 3: 3111002CN312CCLDDANIEL12-ECOFntSO2 SCRUBBER - Process, haul and backfill brick & block
312UND | 312 | C | CMS | DANIEL12-ECOF | 4050 | lbs | -0.137 | -1489.9141 | SO2 SCRUBBER - SS Sales | STAINLESS STEEL |  | All Indirect Costs for FGD were put into Units 1&2; No Commons per GULF. | -0.137 | -1489.9141 | NON | 50% | GULF | SALVAGE | BDG | MARKUP | 30 | 3: 312UND312CCMSDANIEL12-ECOFlbsSO2 SCRUBBER - SS Sales
314UND | 312 | C | CLR | DANIEL12-ECOF | 56.25 | cy | 107.142 | 11812.5 | SO2 SCRUBBER - Stack Foundations Concrete |  |  | All Indirect Costs for FGD were put into Units 1&2; No Commons per GULF. | 107.142 | 11812.5 | NON | 50% | GULF | REMOVAL | BDG | MARKUP | 31 | 3: 314UND312CCLRDANIEL12-ECOFcySO2 SCRUBBER - Stack Foundations Concrete
311UND | 312 | C | CLD | DANIEL12-ECOF | 12.6562 | nt | 66.326 | 1645.3125 | SO2 SCRUBBER - Transport & Dispose of Combustibles |  |  | All Indirect Costs for FGD were put into Units 1&2; No Commons per GULF. | 66.326 | 1645.3125 | NON | 50% | GULF | DISPOSAL | BDG | MARKUP | 32 | 3: 311UND312CCLDDANIEL12-ECOFntSO2 SCRUBBER - Transport & Dispose of Combustibles
3080241SW | 308 | C | CLR | DANIEL12-NON | #REF! | ls | 30000 | 15000 | Storm Water Prevention Plan |  |  | Storm Water Prevention Plan | 30000 | 15000 | NON | 50% | GULF | REMOVAL | BDG |  | 3 | 3: 3080241SW308CCLRDANIEL12-NONlsStorm Water Prevention Plan
3070201 | 307 | C | CLR | DANIEL12-ECO | 2 | % | 14059.8761 | 28119.7522 | TEMPORARY CONSTRUCTION SERVICES |  |  | TEMPORARY CONSTRUCTION SERVICES | 14059.8761 | 28119.7522 | ECO | 50% | GULF | REMOVAL | SCS |  |  | 3: 3070201307CCLRDANIEL12-ECO%TEMPORARY CONSTRUCTION SERVICES
3070201 | 307 | C | CLR | DANIEL12-ECOF | 2 | % | 5988.125 | 11976.25 | TEMPORARY CONSTRUCTION SERVICES |  |  | All Indirect Costs for FGD were put into Units 1&2; No Commons per GULF. | 5988.125 | 11976.25 | ECO | 50% | GULF | REMOVAL | SCS |  |  | 3: 3070201307CCLRDANIEL12-ECOF%TEMPORARY CONSTRUCTION SERVICES
3070201 | 307 | C | CLR | DANIEL12-NON | 2 | % | 57262.9188 | 114525.8377 | TEMPORARY CONSTRUCTION SERVICES |  |  | 2% of FERCs 310 and above less "Install Electrical for Decommisioning Work". | 57262.9188 | 114525.8377 | NON | 50% | GULF | REMOVAL | SCS |  |  | 3: 3070201307CCLRDANIEL12-NON%TEMPORARY CONSTRUCTION SERVICES
311UND | 311 | 1 | 1LD | DANIEL12-NON | 217.9759 | nt | 66.326 | 14457.4699 | Transport & Dispose of Combustibles |  |  | Transport & Dispose of Combustibles | 66.326 | 14457.4699 | NON | 50% | GULF | DISPOSAL | BDG | MARKUP | 17 | 3: 311UND31111LDDANIEL12-NONntTransport & Dispose of Combustibles
311UND | 311 | 2 | 2LD | DANIEL12-NON | 217.9759 | nt | 66.326 | 14457.4699 | Transport & Dispose of Combustibles |  |  | Transport & Dispose of Combustibles | 66.326 | 14457.4699 | NON | 50% | GULF | DISPOSAL | BDG | MARKUP | 17 | 3: 311UND31122LDDANIEL12-NONntTransport & Dispose of Combustibles
341UND | 341 | C | CLD | DANIEL12-NON | 27.625 | nt | 66.326 | 1832.2557 | Transport & Dispose of Combustibles |  |  | Transport & Dispose of Combustibles | 66.326 | 1832.2557 | NON | 50% | GULF | DISPOSAL | BDG | MARKUP | 37 | 3: 341UND341CCLDDANIEL12-NONntTransport & Dispose of Combustibles
315UND | 315 | 1 | 1MS | DANIEL12-NON | 63028.3579 | lbs | -0.31414 | -19800 | Unit & Service Transformers - CU Sales | COPPER | TRANSFORMER | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -0.31414 | -19800 | NON | 50% | GULF | SALVAGE | BDG | MARKUP | 21 | 3: 315UND31511MSDANIEL12-NONlbsUnit & Service Transformers - CU Sales
315UND | 315 | 2 | 2MS | DANIEL12-NON | 63028.3579 | lbs | -0.31414 | -19800 | Unit & Service Transformers - CU Sales | COPPER | TRANSFORMER | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -0.31414 | -19800 | NON | 50% | GULF | SALVAGE | BDG | MARKUP | 21 | 3: 315UND31522MSDANIEL12-NONlbsUnit & Service Transformers - CU Sales
315UND | 315 | 1 | 1LR | DANIEL12-NON | 30 | nt | 244.896 | 7346.88 | Unit & Service Transformers - Demo |  | TRANSFORMER | Main Substation Transformers - Demo | 244.896 | 7346.88 | NON | 50% | GULF | REMOVAL | BDG | MARKUP | 20 | 3: 315UND31511LRDANIEL12-NONntUnit & Service Transformers - Demo
315UND | 315 | 2 | 2LR | DANIEL12-NON | 30 | nt | 244.896 | 7346.88 | Unit & Service Transformers - Demo |  | TRANSFORMER | Main Substation Transformers - Demo | 244.896 | 7346.88 | NON | 50% | GULF | REMOVAL | BDG | MARKUP | 20 | 3: 315UND31522LRDANIEL12-NONntUnit & Service Transformers - Demo
315UND | 315 | 1 | 1MS | DANIEL12-NON | 30 | nt | -108.3696 | -3251.0872 | Unit & Service Transformers - FE Sales | STEEL | TRANSFORMER | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -108.3696 | -3251.0872 | NON | 50% | GULF | SALVAGE | BDG | MARKUP | 23 | 3: 315UND31511MSDANIEL12-NONntUnit & Service Transformers - FE Sales
315UND | 315 | 2 | 2MS | DANIEL12-NON | 30 | nt | -108.3696 | -3251.0872 | Unit & Service Transformers - FE Sales | STEEL | TRANSFORMER | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -108.3696 | -3251.0872 | NON | 50% | GULF | SALVAGE | BDG | MARKUP | 23 | 3: 315UND31522MSDANIEL12-NONntUnit & Service Transformers - FE Sales
3430000FM | 343 | 1 | 1LD | DANIEL12-NON | 8719.0362 | nt | 6.1224 | 53381.4272 | Universal Wastes, Grease & Oil Removal |  |  | Universal Wastes, Grease & Oil Removal | 6.1224 | 53381.4272 | NON | 50% | GULF | DISPOSAL | BDG | MARKUP |  | 3: 3430000FM34311LDDANIEL12-NONntUniversal Wastes, Grease & Oil Removal
3430000FM | 343 | 2 | 2LD | DANIEL12-NON | 8719.0362 | nt | 6.1224 | 53381.4272 | Universal Wastes, Grease & Oil Removal |  |  | Universal Wastes, Grease & Oil Removal | 6.1224 | 53381.4272 | NON | 50% | GULF | DISPOSAL | BDG | MARKUP |  | 3: 3430000FM34322LDDANIEL12-NONntUniversal Wastes, Grease & Oil Removal
311UND | 311 | C | CLR | DANIEL12-NON | 0.5 | ls | 100000 | 50000 | Utility Disconnects |  |  | Utility Disconnects | 100000 | 50000 | NON | 50% | GULF | REMOVAL | BDG | MARKUP | 6 | 3: 311UND311CCLRDANIEL12-NONlsUtility Disconnects
3080361 | 308 | C | CLR | DANIEL12-ECO | 0.6 | % | 14059.8761 | 8435.9257 | WRAP-UP AND ALL-RISK INSURANCE |  |  | WRAP-UP AND ALL-RISK INSURANCE | 14059.8761 | 8435.9257 | ECO | 50% | GULF | REMOVAL | SCS |  |  | 3: 3080361308CCLRDANIEL12-ECO%WRAP-UP AND ALL-RISK INSURANCE
3080361 | 308 | C | CLR | DANIEL12-ECOF | 0.6 | % | 5988.125 | 3592.875 | WRAP-UP AND ALL-RISK INSURANCE |  |  | All Indirect Costs for FGD were put into Units 1&2; No Commons per GULF. | 5988.125 | 3592.875 | ECO | 50% | GULF | REMOVAL | SCS |  |  | 3: 3080361308CCLRDANIEL12-ECOF%WRAP-UP AND ALL-RISK INSURANCE
3080361 | 308 | C | CLR | DANIEL12-NON | 0.6 | % | 57262.9188 | 34357.7513 | WRAP-UP AND ALL-RISK INSURANCE |  |  | WRAP-UP AND ALL-RISK INSURANCE | 57262.9188 | 34357.7513 | NON | 50% | GULF | REMOVAL | SCS |  |  | 3: 3080361308CCLRDANIEL12-NON%WRAP-UP AND ALL-RISK INSURANCE
NOTE: Ricky Brock had me combine Units 1 & 2 FGD into Common because of Unit 1 Retirement two years earlier than Unit 2.

## Ownership %
Cost to Dismantle at Gulf Power Company Ownership
| Unit 1 | Unit 2 | Common | Total
Ownership Percentage | 50% | 50% | 50% | 50%
Cost of Ownership | 1453000 | 1478000 | 12841000 | 15772000

## Durations
MPC Dismantlement Study | [5 empty] | POWER GENERATION SUPERVISION |  |  |  | $135,010.76/MY | SECURITY SERVICES | [6 empty] | $50,750.31/MY
Plant | Weight (nt) | Asbestos | Duration | Months |  | 5 Tens |  | in Study | Diff | Diff$ | 24/7 |  | 5 Tens |  | TOTAL | in Study | Diff | Diff$
Chevron | 1464 |  | 2 months | 2 | CT | 2 | 1 | 6 | -5 | 0 | 1 | 0.83333 |  | 0 | 1 | 8 | -7 | 0
Daniel | 56979 | yes | 14 months | 14 | Coal/CT | 2 | 3 | 7 | -4 | 0 | 1 | 5.8333 |  | 0 | 6 | 9 | -3 | 0
Sweatt | 3839 | yes | 3 months | 3 | Oil/Gas | 2 | 1 | 8 | -7 | 0 | 1 | 1.25 |  | 0 | 2 | 10 | -8 | 0
Watson | 40048 | yes | 12 months | 12 |  | 2 | 2 | 9 | -7 | 0 | 1 | 5 |  | 0 | 5 | 11 | -6 | 0

## Daniel Scrubber 15 08 11
|  | Total |  |  |  |  | 308 Engineering |  |  |  |  | 310 Land and Land Rights |  |  |  |  | 311 Structure and Imporvements |  |  |  |  | 312 Boiler Plant Equipment |  |  |  |  | 314 Turbogenerator Units |  |  |  |  | 315 Accesory Electric Equipment |  |  |  |  | 316 Miscellaneous Power Plant Equipment |  |  |  |  | 343 Prime Movers
[9 empty] | S02 Scrubber |  |  |  |  | S02 Scrubber |  |  |  |  | S02 Scrubber |  |  |  |  | S02 Scrubber |  |  |  |  | S02 Scrubber |  |  |  |  | S02 Scrubber |  |  |  |  | S02 Scrubber |  |  |  |  | S02 Scrubber
| Tasks | Units | Quantity | Unit Cost | Cost |  | % | Total | % | Cost |  | % | Total | % | Cost |  | % | Total | % | Cost |  | % | Total | % | Cost |  | % | Total | % | Cost |  | % | Total | % | Cost |  | % | Total | % | Cost |  | % | Total | % | Cost | wenada Total | FERC Totals | Unit Totals | check
Units 1&2 SO2 Scrubber |  |  |  |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | 0
| Demo | nt | 1350 | 240 | 324000 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 60% | 194400 | 100% | 194400 |  | 20% | 64800 | 100% | 64800 |  | 15% | 48600 | 100% | 48600 |  | 5% | 16200 | 100% | 16200 |  |  | 0 |  | 0 |  |  | 0 |  | 0 | 324000 | 324000 | 324000 | 0
| FE Sales | nt | 1350 | -180.5263 | -243710.5263 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 60% | -146226.3158 | 100% | -146226.3158 |  | 25% | -60927.6316 | 100% | -60927.6316 |  | 15% | -36556.5789 | 100% | -36556.5789 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 | -243710.5263 | -243710.5263 | -243710.5263 | 0
| AL Sales | lbs | 12150 | -0.39039 | -4743.2961 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 100% | -4743.2961 | 100% | -4743.2961 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 | -4743.2961 | -4743.2961 | -4743.2961 | 0
| CU Sales | lbs | 27000 | -0.37018 | -9994.9846 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 20% | -1998.9969 | 100% | -1998.9969 |  |  | 0 |  | 0 |  | 80% | -7995.9877 | 100% | -7995.9877 |  |  | 0 |  | 0 |  |  | 0 |  | 0 | -9994.9846 | -9994.9846 | -9994.9846 | 0
| SS Sales | lbs | 16200 | -0.18394 | -2979.8281 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 100% | -2979.8281 | 100% | -2979.8281 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 | -2979.8281 | -2979.8281 | -2979.8281 | 0
| Concrete Foundations Concrete | cy | 225 | 105 | 23625 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 100% | 23625 | 100% | 23625 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 | 23625 | 23625 | 23625 | 0
| Transport & Dispose of Combustibles | nt | 50.625 | 65 | 3290.625 |  |  | 0 |  | 0 |  | 14.29% | 470.0893 | 100% | 470.0893 |  | 14.29% | 470.0893 | 100% | 470.0893 |  | 14.29% | 470.0893 | 100% | 470.0893 |  | 14.29% | 470.0893 | 100% | 470.0893 |  | 14.29% | 470.0893 | 100% | 470.0893 |  | 14.29% | 470.0893 | 100% | 470.0893 |  | 14.29% | 470.0893 | 100% | 470.0893 | 3290.625 | 3290.625 | 3290.625 | 0
| Concrete Stack | ea | 1 | 850000 | 850000 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 80% | 680000 | 100% | 680000 |  | 20% | 170000 | 100% | 170000 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 | 850000 | 850000 | 850000 | 0
| Process and haul brick, block & Concrete | nt | 6977.7778 | 15 | 104666.6667 |  |  | 0 |  | 0 |  | 100% | 104666.6667 | 100% | 104666.6667 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 | 104666.6667 | 104666.6667 | 104666.6667 | 0
0
| Total |  |  |  | 1044153.6566 | 0 |  | 0 |  | 0 | 0 |  | 105136.756 |  | 105136.756 | 0 |  | 752268.7735 |  | 752268.7735 | 0 |  | 164620.3366 |  | 164620.3366 | 0 |  | 12513.5103 |  | 12513.5103 | 0 |  | 8674.1016 |  | 8674.1016 | 0 |  | 470.0893 |  | 470.0893 | 0 |  | 470.0893 |  | 470.0893 | 1044153.6566 | 1044153.6566 | 1044153.6566 | 0
[8 empty] | 0 | [37 empty] | 0 | 0 | 0 | 0
[8 empty] | 0 | [37 empty] | 0 | 0 | 0 | 0
Unit
Price
| * FE is based on the Aug. 7, 2015 Metal Prices Birmingham P&S 5' & under = $245 / GT | [6 empty] | -180.5263
| * AL is based on Aug. 18, 2015 LME Cash Official = $0.69/lb | [6 empty] | -0.39039
| * CU is baesd on Aug. 18, 2015 LME Cash Official = $2.27/lb | [6 empty] | -0.37018
| * SS is based on Aug. 17, 2015 LME 304 (18-8) Scrap Solids Processor = $0.50 / lb | [6 empty] | -0.18394
| *305 SS - is based on Aug. 17, 2014 LME 304 (18-8) Scrap Solids Processor = $0.50 / lb | [6 empty] | -0.22371
| * Transformers is based on Aug. 18, 2015 LME Cash official for CU = $2.27 | [6 empty] | -460.9846
| *Ti is based on Aug. 13, 2015 Secondary Market Tin Bearing >85% = $0.55 / lb | [6 empty] | -0.36
| * Ad Brass is based of Aug. 14, 2015 Secondary Market Yellow Brass = $1.66 | [6 empty] | -1.7513
| * 90-10 CU-NI is based on Aug. 18, 2015 Secondary Market Cupro-Nickel Scrap 90-10 = $2.07 | [6 empty] | -1.5825
| *304 SS - is based on Aug. 17, 2015 LME 304 (18-8) Scrap Solids Processor = $0.50 / lb | [6 empty] | -0.27326

## Sheet1
Note:
85% of Commons attributed to the Coal Units (1&2).
15% of Commons attributed to the CC Units (3&4).
3110230 | 311 | C | CLR | DANIEL12-ASH | 12.5 | AC | 235000 | 2937500 | Ash Disposal Pond | Ash Disposal Pond | 235000 | 2937500 | ASH | 50% | GULF | REMOVAL | SCS |  |  | 3110230311CCLRDANIEL12-ASHACAsh Disposal Pond |  |  | 1
3040000 | 304 | C | CLR | DANIEL12-ASH | 0 |  |  | 0 | CONTINGENCY |  | 0 | 0 | ASH | 100% | GULF | REMOVAL | SCS |  |  | 3040000304CCLRDANIEL12-ASHCONTINGENCY |  |  | 1
3140000AADS | 314 | 1 | 1LR | DANIEL12-ASB |  | SF | 7.85 | 0 | SF ASBESTOS ABATEMENT - DUCT (REMOVAL) | SFTNSIDING (ASBESTOS) | 7.85 | 0 | ASB | 50% | MPCO | REMOVAL | SCS | MARKUP | 3140000AADS31411LRDANIEL12-ASBSFSF ASBESTOS ABATEMENT - DUCT (REMOVAL) |  | #N/A | #N/A
3140000AAPS | 314 | 1 | 1LR | DANIEL12-ASB |  | SF | 6.3 | 0 | SF ASBESTOS ABATEMENT - PIPE (REMOVAL) | SFTNSIDING (ASBESTOS) | 6.3 | 0 | ASB | 50% | MPCO | REMOVAL | SCS | MARKUP | 3140000AAPS31411LRDANIEL12-ASBSFSF ASBESTOS ABATEMENT - PIPE (REMOVAL) |  | #N/A | #N/A
3140000AAD | 314 | 1 | 1LD | DANIEL12-ASB |  | TN | 345.39 | 0 | TN ASBESTOS ABATEMENT (DISPOSAL) | SFTNSIDING (ASBESTOS) | 345.39 | 0 | ASB | 50% | MPCO | DISPOSAL | SCS | MARKUP | 3140000AAD31411LDDANIEL12-ASBTNTN ASBESTOS ABATEMENT (DISPOSAL) |  | #N/A | #N/A
3140000AADS | 314 | 2 | 2LR | DANIEL12-ASB |  | SF | 7.85 | 0 | SF ASBESTOS ABATEMENT - DUCT (REMOVAL) | SFTNSIDING (ASBESTOS) | 7.85 | 0 | ASB | 50% | MPCO | REMOVAL | SCS | MARKUP | 3140000AADS31422LRDANIEL12-ASBSFSF ASBESTOS ABATEMENT - DUCT (REMOVAL) |  | #N/A | #N/A
3140000AAPS | 314 | 2 | 2LR | DANIEL12-ASB |  | SF | 6.3 | 0 | SF ASBESTOS ABATEMENT - PIPE (REMOVAL) | SFTNSIDING (ASBESTOS) | 6.3 | 0 | ASB | 50% | MPCO | REMOVAL | SCS | MARKUP | 3140000AAPS31422LRDANIEL12-ASBSFSF ASBESTOS ABATEMENT - PIPE (REMOVAL) |  | #N/A | #N/A
3140000AAD | 314 | 2 | 2LD | DANIEL12-ASB |  | TN | 345.39 | 0 | TN ASBESTOS ABATEMENT (DISPOSAL) | SFTNSIDING (ASBESTOS) | 345.39 | 0 | ASB | 50% | MPCO | DISPOSAL | SCS | MARKUP | 3140000AAD31422LDDANIEL12-ASBTNTN ASBESTOS ABATEMENT (DISPOSAL) |  | #N/A | #N/A
3090481 | 309 | C | CLR | DANIEL12-ASB | 1 | % | 0 | 0 | ADMINISTRATIVE & GENERAL OVERHEAD | ADMINISTRATIVE & GENERAL OVERHEAD | 0 | 0 | ASB | 50% | MPCO | REMOVAL | SCS |  | 3090481309CCLRDANIEL12-ASB%ADMINISTRATIVE & GENERAL OVERHEAD |  | #N/A | #N/A
3080268 | 308 | C | CLR | DANIEL12-ASB | 1 | LT | 0 | 0 | PERMITS | PERMITS | 0 | 0 | ASB | 50% | MPCO | REMOVAL | SCS |  | 3080268308CCLRDANIEL12-ASBLTPERMITS |  | #N/A | #N/A
3080241 | 308 | C | CLR | DANIEL12-ASB | 1 | % | 0 | 0 | SCS ENGINEERING | GPC ENGINEERING | 0 | 0 | ASB | 50% | MPCO | REMOVAL | SCS |  | 3080241308CCLRDANIEL12-ASB%SCS ENGINEERING |  | #N/A | #N/A
3140000AADS | 314 | C | CLR | DANIEL12-ASB |  | SF | 7.85 | 0 | SF ASBESTOS ABATEMENT - DUCT (REMOVAL) | SFTNSIDING (ASBESTOS) | 7.85 | 0 | ASB | 50% | MPCO | REMOVAL | SCS | MARKUP | 3140000AADS314CCLRDANIEL12-ASBSFSF ASBESTOS ABATEMENT - DUCT (REMOVAL) |  | #N/A | #N/A
3140000AAPS | 314 | C | CLR | DANIEL12-ASB |  | SF | 6.3 | 0 | SF ASBESTOS ABATEMENT - PIPE (REMOVAL) | SFTNSIDING (ASBESTOS) | 6.3 | 0 | ASB | 50% | MPCO | REMOVAL | SCS | MARKUP | 3140000AAPS314CCLRDANIEL12-ASBSFSF ASBESTOS ABATEMENT - PIPE (REMOVAL) |  | #N/A | #N/A
3070201 | 307 | C | CLR | DANIEL12-ASB | 1 | % | 0 | 0 | TEMPORARY CONSTRUCTION SERVICES | TEMPORARY CONSTRUCTION SERVICES | 0 | 0 | ASB | 50% | MPCO | REMOVAL | SCS |  | 3070201307CCLRDANIEL12-ASB%TEMPORARY CONSTRUCTION SERVICES |  | #N/A | #N/A
3140000AAD | 314 | C | CLD | DANIEL12-ASB |  | TN | 345.39 | 0 | TN ASBESTOS ABATEMENT (DISPOSAL) | SFTNSIDING (ASBESTOS) | 345.39 | 0 | ASB | 50% | MPCO | DISPOSAL | SCS | MARKUP | 3140000AAD314CCLDDANIEL12-ASBTNTN ASBESTOS ABATEMENT (DISPOSAL) |  | #N/A | #N/A
3080361 | 308 | C | CLR | DANIEL12-ASB | 0.6 | % | 0 | 0 | WRAP-UP AND ALL-RISK INSURANCE | WRAP-UP AND ALL-RISK INSURANCE | 0 | 0 | ASB | 50% | MPCO | REMOVAL | SCS |  | 3080361308CCLRDANIEL12-ASB%WRAP-UP AND ALL-RISK INSURANCE |  | #N/A | #N/A
3040000 | 304 | 1 | 1LR | DANIEL12-ASB | 0 |  |  | 0 | CONTINGENCY |  | 0 | 0 | ASB | 100% | MPCO | REMOVAL | SCS |  | 304000030411LRDANIEL12-ASBCONTINGENCY |  | #N/A | #N/A
3040000 | 304 | 2 | 2LR | DANIEL12-ASB | 0 |  |  | 0 | CONTINGENCY |  | 0 | 0 | ASB | 100% | MPCO | REMOVAL | SCS |  | 304000030422LRDANIEL12-ASBCONTINGENCY |  | #N/A | #N/A
3040000 | 304 | C | CLR | DANIEL12-ASB | 0 |  |  | 0 | CONTINGENCY |  | 0 | 0 | ASB | 100% | MPCO | REMOVAL | SCS |  | 3040000304CCLRDANIEL12-ASBCONTINGENCY |  | #N/A | #N/A

## Scrap Values
#REF!
| 11328802 |  |  |  |  | 2015-11-06 | 2015-11-06 |  | 2015-12-31 |  | 2015-12-31
| #REF! | Unit |  |  |  | Unit | ADJ Unit |  | Unit |  | ADJ Unit
|  | Price |  |  | Change | Price | Price | Historical Links | Price |  | Price
* FE is based on the Aug. 7, 2015 Metal Prices Birmingham P&S 5' & under = $245 / GT | 245 | -180.5263 |  | 73.68% | -56.7363 | 168 | -123.79 | http://www.metalprices.com/historical/database/ferrous-scrap-price-index/fe-spi-5-plate-structural-birmingham | 184 | LME | 135.5789
* AL is based on Aug. 18, 2015 LME Cash Official = $0.69/lb | 0.69 | -0.39039 |  | 56.58% | -0.010395 | 0.67 | -0.38 | http://www.metalprices.com/historical/database/aluminum/lme-aluminum-cash-official | 0.6829 |  | 0.38638
* CU is baesd on Aug. 18, 2015 LME Cash Official = $2.27/lb | 2.27 | -0.37018 |  | 16.31% | -0.00018462 | 2.29 | -0.37 | http://www.metalprices.com/historical/database/copper/lme-copper-cash-official | 2.2759 | LME | 0.37115
* SS is based on Aug. 17, 2015 LME 304 (18-8) Scrap Solids Processor = $0.50 / lb | 0.5 | -0.18394 |  | 36.79% | -0.02394 | 0.44 | -0.16 | http://www.metalprices.com/historical/database/stainless-steel/stainless-steel-304-s-p |  |  | 0
*305 SS - is based on Aug. 17, 2014 LME 304 (18-8) Scrap Solids Processor = $0.50 / lb | 0.5 | -0.22371 |  | 44.74% | -0.023711 | 0.44 | -0.2 | http://www.metalprices.com/historical/database/stainless-steel/stainless-steel-304-s-p |  |  | 0
* Transformers is based on Aug. 18, 2015 LME Cash official for CU = $2.27 |  | -460.9846 | [8 empty] | 0
*Ti is based on Aug. 13, 2015 Secondary Market Tin Bearing >85% = $0.55 / lb | 0.55 | -0.36 |  | 65.45% | -0.11 | 0.375 | -0.25 | http://www.metalprices.com/metal/titanium/titanium-scrap-ferro-ti-quality-turnings-non-tin-bearing-gt-85-ti |  |  | 0
* Ad Brass is based of Aug. 14, 2015 Secondary Market Yellow Brass = $1.66 | 1.66 | -1.7513 |  | 105.5% | -0.0513 | 1.61 | -1.7 | http://www.metalprices.com/historical/database/brass/brass-yellow-brass |  |  | 0
* 90-10 CU-NI is based on Aug. 18, 2015 Secondary Market Cupro-Nickel Scrap 90-10 = $2.07 | 2.07 | -1.5825 |  | 76.45% | -0.0625 | 1.99 | -1.52 | http://www.metalprices.com/metal/cupro-nickel/cupro-nickel-c706 |  |  | 0
*304 SS - is based on Aug. 17, 2015 LME 304 (18-8) Scrap Solids Processor = $0.50 / lb | 0.5 | -0.27326 |  | 54.65% | -0.033256 | 0.44 | -0.24 | http://www.metalprices.com/historical/database/stainless-steel/stainless-steel-304-s-p |  |  | 0
| 2015-11-06 | 2015-11-06
| Unit | ADJ Unit
| Price | Price
* FE is based on the 06NOV15, 2015 Metal Prices Birmingham P&S 5' & under = $168 / GT | 168 | -123.79 | 73.68%
* AL is based on 06NOV15, 2015 LME Cash Official = $0.67/lb | 0.67 | -0.38 | 56.72%
* CU is based on 06NOV15, LME Cash Official = $2.29/lb | 2.29 | -0.37 | 16.16%
* SS is based on 06NOV15, LME 304 (18-8) Scrap Solids Processor = $0.44 / lb | 0.44 | -0.16 | 36.36%
*305 SS - is based on 06NOV15, LME 304 (18-8) Scrap Solids Processor = $0.44 / lb | 0.44 | -0.2 | 45.45%
*Ti is based on 06NOV15, Secondary Market Tin Bearing >85% = $0.375 / lb | 0.375 | -0.25 | 66.67%
* Ad Brass is based of 06NOV15, Secondary Market Yellow Brass = $1.61 | 1.61 | -1.7 | 105.6%
* 90-10 CU-NI is based on 06NOV15, Secondary Market Cupro-Nickel Scrap 90-10 = $1.99 | 1.99 | -1.52 | 76.38%
*304 SS - is based on 06NOV15, LME 304 (18-8) Scrap Solids Processor = $0.44 / lb | 0.44 | -0.24 | 54.55%
| 2016-12-31 | 2016-12-31
| Unit | ADJ Unit
Source: MetalPrices.com and Power Advocate (projections) | Price | Price
* FE is based on Birmingham P&S 5' & under | 147.0724 | -108.3696
* AL is based on LME Cash Official | 0.68399 | -0.38793
* CU is based on LME Cash Official | 1.9443 | -0.31414
* SS is based on LME 304 (18-8) Scrap Solids Processor | 0.37675 | -0.137
*305 SS - is based on LME 304 (18-8) Scrap Solids Processor | 0.37675 | -0.17125
*Ti is based on Secondary Market Tin Bearing | 0.24659 | -0.16439
* Ad Brass is based on Secondary Market Yellow Brass | 1.3714 | -1.4481
* 90-10 CU-NI is based on Secondary Market Cupro-Nickel Scrap 90-10 | 1.9908 | -1.5206
*304 SS - is based on LME 304 (18-8) Scrap Solids Processor | 0.37675 | -0.2055
Labor (from 31DEC15 to 31DEC16) | 2.04%
NOTE: The above pricing is escalated per data obtained by Power Advocate.