## Pea Ridge Data
|  | Total | [5 empty] | 308 Engineering | [8 empty] | 310 Land and Land Rights | [8 empty] | 311 Structure and Imporvements | [8 empty] | 312 Boiler Plant Equipment | [8 empty] | 314 Turbogenerator Units | [8 empty] | 315 Accesory Electric Equipment | [8 empty] | 316 Miscellaneous Power Plant Equipment | [8 empty] | 343 Prime Movers
[10 empty] | Unit 1 |  | Unit 2 |  | Unit 3 |  |  |  |  | Unit 1 |  | Unit 2 |  | Unit 3 |  |  |  |  | Unit 1 |  | Unit 2 |  | Unit 3 |  |  |  |  | Unit 1 |  | Unit 2 |  | Unit 3 |  |  |  |  | Unit 1 |  | Unit 2 |  | Unit 3 |  |  |  |  | Unit 1 |  | Unit 2 |  | Unit 3 |  |  |  |  | Unit 1 |  | Unit 2 |  | Unit 3 |  |  |  |  | Unit 1 |  | Unit 2 |  | Unit 3
| Tasks | Units | Quantity | Unit Cost | Cost |  | 2015 Costs | % | Total | % | Cost | % | Cost | % | Cost |  | % | Total | % | Cost | % | Cost | % | Cost |  | % | Total | % | Cost | % | Cost | % | Cost |  | % | Total | % | Cost | % | Cost | % | Cost |  | % | Total | % | Cost | % | Cost | % | Cost |  | % | Total | % | Cost | % | Cost | % | Cost |  | % | Total | % | Cost | % | Cost | % | Cost |  | % | Total | % | Cost | % | Cost | % | Cost | wenada Total | FERC Totals | Unit Totals | check
Engineering, Design and Survey Work |  |  |  |  | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | #REF! | #REF!
| Perform environmental survey of above grade structures | ls | 1 | 25000 | 25000 |  | 25000 | 100% | 25000 | 34% | 8500 | 33% | 8250 | 33% | 8250 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | 25000 | 25000 | #REF! | #REF!
| Storm Water Prevention Plan | ls | 1 | 25000 | 25000 |  | 25000 | 100% | 25000 | 34% | 8500 | 33% | 8250 | 33% | 8250 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | 25000 | 25000 | #REF! | #REF!
[7 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | #REF! | #REF!
General |  |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | #REF! | #REF!
| Mob./Demob. | ls | 1 | 50000 | 50000 |  | 50000 | 12.5% | 6250 | 34% | 2125 | 33% | 2062.5 | 33% | 2062.5 |  | 12.5% | 6250 | 34% | 2125 | 33% | 2062.5 | 33% | 2062.5 |  | 12.5% | 6250 | 34% | 2125 | 33% | 2062.5 | 33% | 2062.5 |  | 12.5% | 6250 | 34% | 2125 | 33% | 2062.5 | 33% | 2062.5 |  | 12.5% | 6250 | 34% | 2125 | 33% | 2062.5 | 33% | 2062.5 |  | 12.5% | 6250 | 34% | 2125 | 33% | 2062.5 | 33% | 2062.5 |  | 12.5% | 6250 | 34% | 2125 | 33% | 2062.5 | 33% | 2062.5 |  | 12.5% | 6250 | 34% | 2125 | 33% | 2062.5 | 33% | 2062.5 | 50000 | 50000 | #REF! | #REF!
| Pavement Repairs | sf | 10000 | 4.5918 | 45000 |  | 4.5 |  | 0 |  | 0 |  | 0 |  | 0 |  | 100% | 45000 | 34% | 15300 | 33% | 14850 | 33% | 14850 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | 45000 | 45000 | #REF! | #REF!
| Utility Disconnects | ls | 1 | 25000 | 25000 |  | 25000 | 12.5% | 3125 | 34% | 1062.5 | 33% | 1031.25 | 33% | 1031.25 |  | 12.5% | 3125 | 34% | 1062.5 | 33% | 1031.25 | 33% | 1031.25 |  | 12.5% | 3125 | 34% | 1062.5 | 33% | 1031.25 | 33% | 1031.25 |  | 12.5% | 3125 | 34% | 1062.5 | 33% | 1031.25 | 33% | 1031.25 |  | 12.5% | 3125 | 34% | 1062.5 | 33% | 1031.25 | 33% | 1031.25 |  | 12.5% | 3125 | 34% | 1062.5 | 33% | 1031.25 | 33% | 1031.25 |  | 12.5% | 3125 | 34% | 1062.5 | 33% | 1031.25 | 33% | 1031.25 |  | 12.5% | 3125 | 34% | 1062.5 | 33% | 1031.25 | 33% | 1031.25 | 25000 | 25000 | #REF! | #REF!
| Install Electrical for Decommisioning Work | ls | 1 | 10000 | 10000 |  | 10000 |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 100% | 10000 | 34% | 3400 | 33% | 3300 | 33% | 3300 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | 10000 | 10000 | #REF! | #REF!
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | #REF! | #REF!
0
3 - 5 MW Cogens |  |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | #REF! | #REF!
| Demo FE | nt | 270 | 459.18 | 123978.6 |  | 450 |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 95% | 117779.67 | 34% | 40045.0878 | 33% | 38867.2911 | 33% | 38867.2911 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 5% | 6198.93 | 34% | 2107.6362 | 33% | 2045.6469 | 33% | 2045.6469 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | 123978.6 | 123978.6 | #REF! | #REF!
| Fe Sales | nt | 270 | -108.3696 | -29259.7847 |  | -123.79 |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 95% | -27796.7955 | 34% | -9450.9105 | 33% | -9172.9425 | 33% | -9172.9425 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 5% | -1462.9892 | 34% | -497.4163 | 33% | -482.7864 | 33% | -482.7864 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | -29259.7847 | -29259.7847 | #REF! | #REF!
| CU Sales | lbs | 25500 | -0.31414 | -9439.7077 |  | -0.37 |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 20% | -1887.9415 | 34% | -641.9001 | 33% | -623.0207 | 33% | -623.0207 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 80% | -7551.7662 | 34% | -2567.6005 | 33% | -2492.0828 | 33% | -2492.0828 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | -9439.7077 | -9439.7077 | #REF! | #REF!
| Transport & Dispose of Combustibles | nt | 15 | 102.04 | 1500 |  | 100 |  | 0 |  | 0 |  | 0 |  | 0 |  | 14.29% | 214.2857 | 34% | 72.8571 | 33% | 70.7143 | 33% | 70.7143 |  | 14.29% | 214.2857 | 34% | 72.8571 | 33% | 70.7143 | 33% | 70.7143 |  | 14.29% | 214.2857 | 34% | 72.8571 | 33% | 70.7143 | 33% | 70.7143 |  | 14.29% | 214.2857 | 34% | 72.8571 | 33% | 70.7143 | 33% | 70.7143 |  | 14.29% | 214.2857 | 34% | 72.8571 | 33% | 70.7143 | 33% | 70.7143 |  | 14.29% | 214.2857 | 34% | 72.8571 | 33% | 70.7143 | 33% | 70.7143 |  | 14.29% | 214.2857 | 34% | 72.8571 | 33% | 70.7143 | 33% | 70.7143 | 1500 | 1500 | #REF! | #REF!
| Unit & Service Transformers - Demo | nt | 30 | 459.18 | 13775.4 |  | 450 | [71 empty] | 13775.4 | 0 | #REF! | #REF!
| Unit & Service Transformers- CU Sales | lbs | 63028.3579 | -0.31414 | -19800 |  | -0.37 |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 100% | -19800 | 34% | -6732 | 33% | -6534 | 33% | -6534 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | -19800 | -19800 | #REF! | #REF!
| Unit & Service Transformers - FE Sales | nt | 30 | -108.3696 | -3251.0872 |  | -123.79 | [71 empty] | -3251.0872 | 0 | #REF! | #REF!
0
Ancillary Buildings |  |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | #REF! | #REF!
| Demo | nt | 10 | 244.896 | 2400 |  | 240 |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 60% | 1440 | 34% | 489.6 | 33% | 475.2 | 33% | 475.2 |  | 20% | 480 | 34% | 163.2 | 33% | 158.4 | 33% | 158.4 |  | 15% | 360 | 34% | 122.4 | 33% | 118.8 | 33% | 118.8 |  | 5% | 120 | 34% | 40.8 | 33% | 39.6 | 33% | 39.6 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | 2400 | 2400 | #REF! | #REF!
| Sales | nt | 10 | -108.3696 | -1805.2632 |  | -123.79 |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 60% | -1083.1579 | 34% | -368.2737 | 33% | -357.4421 | 33% | -357.4421 |  | 25% | -451.3158 | 34% | -153.4474 | 33% | -148.9342 | 33% | -148.9342 |  | 15% | -270.7895 | 34% | -92.0684 | 33% | -89.3605 | 33% | -89.3605 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | -1805.2632 | -1805.2632 | #REF! | #REF!
| Transport & Dispose of Combustibles | nt | 35 | 102.04 | 3500 |  | 100 |  | 0 |  | 0 |  | 0 |  | 0 |  | 14.29% | 500 | 34% | 170 | 33% | 165 | 33% | 165 |  | 14.29% | 500 | 34% | 170 | 33% | 165 | 33% | 165 |  | 14.29% | 500 | 34% | 170 | 33% | 165 | 33% | 165 |  | 14.29% | 500 | 34% | 170 | 33% | 165 | 33% | 165 |  | 14.29% | 500 | 34% | 170 | 33% | 165 | 33% | 165 |  | 14.29% | 500 | 34% | 170 | 33% | 165 | 33% | 165 |  | 14.29% | 500 | 34% | 170 | 33% | 165 | 33% | 165 | 3500 | 3500 | #REF! | #REF!
[79 empty] | 0 | 0 | #REF! | #REF!
| Total |  |  |  | 261598.1572 | 0 |  |  | 59375 |  | 20187.5 |  | 19593.75 |  | 19593.75 | 0 |  | 55089.2857 |  | 18730.3571 |  | 18179.4643 |  | 18179.4643 | 0 |  | 10446.1278 |  | 3551.6835 |  | 3447.2222 |  | 3447.2222 | 0 |  | 98212.9029 |  | 33392.387 |  | 32410.2579 |  | 32410.2579 | 0 |  | 10178.4962 |  | 3460.6887 |  | 3358.9038 |  | 3358.9038 | 0 |  | -2406.5397 |  | -818.2235 |  | -794.1581 |  | -794.1581 | 0 |  | 10089.2857 |  | 3430.3571 |  | 3329.4643 |  | 3329.4643 | 0 |  | 10089.2857 |  | 3430.3571 |  | 3329.4643 |  | 3329.4643 | 261598.1572 | 251073.8444 | #REF!
|  |  |  | 31DEC16 Scrap Values | 261598.1572
|  |  |  | 06NOV15 Scrap Values | 254218.0291
|  |  |  | August '15 Scrap values | 237197 |  |  |  | 0 | [69 empty] | 237197 | 0 | #REF! | #REF!
[5 empty] | 24401.1572 |  |  |  | 0 | [69 empty] | #NUM! | #REF!
| Note: 2016 Salvage Values were escalated from 2015 based on % from Power Advocate. |  |  |  | 2016-12-31 |  |  |  | 2016-12-31
[5 empty] | Unit |  |  |  | ADJ Unit | [69 empty] | Unit | #VALUE! | #REF! | #VALUE!
[5 empty] | Price |  |  |  | Price | [69 empty] | Price | #VALUE! | #REF! | #VALUE!
| * FE is based on the 31DEC15, 2015 Metal Prices Birmingham P&S 5' & under = $151.79 / GT and Escalated to 31DEC2016. |  |  |  | 147.0724 |  |  |  | -108.3696 | [69 empty] | 147.0724 | -108.3696 | #REF! | #REF!
| * AL is based on 31DEC15, 2015 LME Cash Official = $0.68/lb and Escalated to 31DEC2016. |  |  |  | 0.68399 |  |  |  | -0.38793 | [69 empty] | 0.68399 | -0.38793 | #REF! | #REF!
| * CU is based on 31DEC15, LME Cash Official = $2.14/lb and Escalated to 31DEC2016. |  |  |  | 1.9443 |  |  |  | -0.31414 | [69 empty] | 1.9443 | -0.31414 | #REF! | #REF!
| * SS is based on 31DEC15, LME 304 (18-8) Scrap Solids Processor = $0.38 / lb and Escalated to 31DEC2016. |  |  |  | 0.37675 |  |  |  | -0.137 | [69 empty] | 0.37675 | -0.137 | #REF! | #REF!
| *305 SS - is based on 31DEC15, LME 304 (18-8) Scrap Solids Processor = $0.38 / lb and Escalated to 31DEC2016. |  |  |  | 0.37675 |  |  |  | -0.17125 | [69 empty] | 0.37675 | -0.17125 | #REF! | #REF!
| * Transformers is based on 31DEC15, LME Cash Official = $2.29/lb | [77 empty] | 0 | 0 | #REF! | #REF!
| *Ti is based on 31DEC15, Secondary Market Tin Bearing >85% = $0..25/ lb and Escalated to 31DEC2016. |  |  |  | 0.24659 |  |  |  | -0.16439 | [69 empty] | 0.24659 | -0.16439 | #REF! | #REF!
| * Ad Brass is based of 31DEC15, Secondary Market Yellow Brass = $1.51 and Escalated to 31DEC2016. |  |  |  | 1.3714 |  |  |  | -1.4481 | [69 empty] | 1.3714 | -1.4481 | #REF! | #REF!
| * 90-10 CU-NI is based on 31DEC15, Secondary Market Cupro-Nickel Scrap 90-10 = $1.87 and Escalated to 31DEC2016. |  |  |  | 1.9908 |  |  |  | -1.5206 | [69 empty] | 1.9908 | -1.5206 | #REF! | #REF!
| *304 SS - is based on 31DEC15, LME 304 (18-8) Scrap Solids Processor = $0.38 / lb and Escalated to 31DEC2016. |  |  |  | 0.37675 |  |  |  | -0.2055 | [69 empty] | 0.37675 | -0.2055 | #REF! | #REF!
| Labor Escalation (4Q15 to 4Q16) |  |  |  | 2.04% |  |  |  | 1.0204

## Pea Ridge Import
[7 empty] | 463913.5144 | 261598.1572 |  | 210154 |  |  |  | 0 | 261598.1572
WBS | FERC | UNIT | COEL | PLTCODE | QTY | UM | RATE | VALUE | COMMENT | MATERIALS | CLASSIFICATION | NOTES2016 | cRATE2016 | cVALUE2016 | BUCKET | OWNRSHP_PCT | OWNER | CCATDESC | 1 | 2 | SORT | 3 | 4 | 5 | 6 | 7 | 8 | 9
3090481 | 309 | C | CLR | PEA RIDGE-NON | 1 | % | 2101.54 | 2101.54 | ADMINISTRATIVE & GENERAL OVERHEAD |  |  | ADMINISTRATIVE & GENERAL OVERHEAD | 2101.54 | 2101.54 | NON | 1 | GULF | REMOVAL | SCS |  |  | 3: 3090481CCLRPEA RIDGE-NON1%2101.54ADMINISTRATIVE & GENERAL OVERHEAD
311UND | 311 | C | CLR | PEA RIDGE-NON | 10 | nt | 244.896 | 2400 | ANCILLARY BUILDINGS - Demo |  |  | ANICILLARY BUILDINGS - Demo | 244.896 | 2400 | NON | 1 | GULF | REMOVAL | BDG | MARKUP | 14 | 3: 311UNDCCLRPEA RIDGE-NON10nt244.896ANCILLARY BUILDINGS - Demo
311UND | 311 | C | CMS | PEA RIDGE-NON | 10 | nt | -108.3696 | -1805.2632 | ANCILLARY BUILDINGS - FE SALES | STEEL |  | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -108.3696 | -1805.2632 | NON | 1 | GULF | SALVAGE | BDG | MARKUP | 15 | 3: 311UNDCCMSPEA RIDGE-NON10nt-108.369573131976ANCILLARY BUILDINGS - FE SALES
3080261 | 308 | C | CLR | PEA RIDGE-NON | 2000 | MH | 101.26 | 202516 | APC ENGINEERING |  |  | SCS ENGINEERING | 101.26 | 202516 | NON | 1 | GULF | REMOVAL | SCS |  |  | 3: 3080261CCLRPEA RIDGE-NON2000MH101.26APC ENGINEERING
3040000 | 304 | 1CT | 1LRCT | PEA RIDGE-NON | 0 |  |  | 0 | CONTINGENCY |  |  | CONTINGENCY | 0 | 0 | NON | 1 | GULF | REMOVAL | SCS |  |  | 3: 30400001CT1LRCTPEA RIDGE-NON0CONTINGENCY
3040000 | 304 | 2CT | 2LRCT | PEA RIDGE-NON | 0 |  |  | 0 | CONTINGENCY |  |  | CONTINGENCY | 0 | 0 | NON | 1 | GULF | REMOVAL | SCS |  |  | 3: 30400002CT2LRCTPEA RIDGE-NON0CONTINGENCY
3040000 | 304 | 3CT | 3LRCT | PEA RIDGE-NON | 0 |  |  | 0 | CONTINGENCY |  |  | CONTINGENCY | 0 | 0 | NON | 1 | GULF | REMOVAL | SCS |  |  | 3: 30400003CT3LRCTPEA RIDGE-NON0CONTINGENCY
3040000 | 304 | C | CLR | PEA RIDGE-NON | 0 |  |  | 0 | CONTINGENCY |  |  | CONTINGENCY | 0 | 0 | NON | 1 | GULF | REMOVAL | SCS |  |  | 3: 3040000CCLRPEA RIDGE-NON0CONTINGENCY
3070201MO | 307 | C | CLR | PEA RIDGE-NON | 1 | LT | 50000 | 50000 | CONTRACTOR MOBILIZATION |  |  | CONTRACTOR MOBILIZATION | 50000 | 50000 | NON | 1 | GULF | REMOVAL | BDG |  | 3 | 3: 3070201MOCCLRPEA RIDGE-NON1LT50000CONTRACTOR MOBILIZATION
343UND | 343 | 1CT | 1MSCT | PEA RIDGE-NON | 1700 | lbs | -0.31414 | -629.3138 | CTs - CU Sales | COPPER |  | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -0.31414 | -629.3138 | NON | 1 | GULF | SALVAGE | BDG | MARKUP | 9 | 3: 343UND1CT1MSCTPEA RIDGE-NON1700lbs-0.314144309790393CTs - CU Sales
345UND | 345 | 1CT | 1MSCT | PEA RIDGE-NON | 6800 | lbs | -0.31414 | -2517.2554 | CTs - CU Sales | COPPER |  | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -0.31414 | -2517.2554 | NON | 1 | GULF | SALVAGE | BDG | MARKUP | 9 | 3: 345UND1CT1MSCTPEA RIDGE-NON6800lbs-0.314144309790393CTs - CU Sales
343UND | 343 | 2CT | 2MSCT | PEA RIDGE-NON | 1700 | lbs | -0.31414 | -629.3138 | CTs - CU Sales | COPPER |  | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -0.31414 | -629.3138 | NON | 1 | GULF | SALVAGE | BDG | MARKUP | 9 | 3: 343UND2CT2MSCTPEA RIDGE-NON1700lbs-0.314144309790393CTs - CU Sales
345UND | 345 | 2CT | 2MSCT | PEA RIDGE-NON | 6800 | lbs | -0.31414 | -2517.2554 | CTs - CU Sales | COPPER |  | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -0.31414 | -2517.2554 | NON | 1 | GULF | SALVAGE | BDG | MARKUP | 9 | 3: 345UND2CT2MSCTPEA RIDGE-NON6800lbs-0.314144309790393CTs - CU Sales
343UND | 343 | 3CT | 3MSCT | PEA RIDGE-NON | 1700 | lbs | -0.31414 | -629.3138 | CTs - CU Sales | COPPER |  | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -0.31414 | -629.3138 | NON | 1 | GULF | SALVAGE | BDG | MARKUP | 9 | 3: 343UND3CT3MSCTPEA RIDGE-NON1700lbs-0.314144309790393CTs - CU Sales
345UND | 345 | 3CT | 3MSCT | PEA RIDGE-NON | 6800 | lbs | -0.31414 | -2517.2554 | CTs - CU Sales | COPPER |  | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -0.31414 | -2517.2554 | NON | 1 | GULF | SALVAGE | BDG | MARKUP | 9 | 3: 345UND3CT3MSCTPEA RIDGE-NON6800lbs-0.314144309790393CTs - CU Sales
341UND | 341 | 1CT | 1LRCT | PEA RIDGE-NON | 54 | nt | 459.18 | 24795.72 | CTs - DEMO |  |  | Main Power Block - DEMO | 459.18 | 24795.72 | NON | 1 | GULF | REMOVAL | BDG | MARKUP | 7 | 3: 341UND1CT1LRCTPEA RIDGE-NON54nt459.18CTs - DEMO
343UND | 343 | 1CT | 1LRCT | PEA RIDGE-NON | 18 | nt | 459.18 | 8265.24 | CTs - DEMO |  |  | Main Power Block - DEMO | 459.18 | 8265.24 | NON | 1 | GULF | REMOVAL | BDG | MARKUP | 7 | 3: 343UND1CT1LRCTPEA RIDGE-NON18nt459.18CTs - DEMO
344UND | 344 | 1CT | 1LRCT | PEA RIDGE-NON | 13.5 | nt | 459.18 | 6198.93 | CTs - DEMO |  |  | Main Power Block - DEMO | 459.18 | 6198.93 | NON | 1 | GULF | REMOVAL | BDG | MARKUP | 7 | 3: 344UND1CT1LRCTPEA RIDGE-NON13.5nt459.18CTs - DEMO
345UND | 345 | 1CT | 1LRCT | PEA RIDGE-NON | 4.5 | nt | 459.18 | 2066.31 | CTs - DEMO |  |  | Main Power Block - DEMO | 459.18 | 2066.31 | NON | 1 | GULF | REMOVAL | BDG | MARKUP | 7 | 3: 345UND1CT1LRCTPEA RIDGE-NON4.5nt459.18CTs - DEMO
341UND | 341 | 2CT | 2LRCT | PEA RIDGE-NON | 54 | nt | 459.18 | 24795.72 | CTs - DEMO |  |  | Main Power Block - DEMO | 459.18 | 24795.72 | NON | 1 | GULF | REMOVAL | BDG | MARKUP | 7 | 3: 341UND2CT2LRCTPEA RIDGE-NON54nt459.18CTs - DEMO
343UND | 343 | 2CT | 2LRCT | PEA RIDGE-NON | 18 | nt | 459.18 | 8265.24 | CTs - DEMO |  |  | Main Power Block - DEMO | 459.18 | 8265.24 | NON | 1 | GULF | REMOVAL | BDG | MARKUP | 7 | 3: 343UND2CT2LRCTPEA RIDGE-NON18nt459.18CTs - DEMO
344UND | 344 | 2CT | 2LRCT | PEA RIDGE-NON | 13.5 | nt | 459.18 | 6198.93 | CTs - DEMO |  |  | Main Power Block - DEMO | 459.18 | 6198.93 | NON | 1 | GULF | REMOVAL | BDG | MARKUP | 7 | 3: 344UND2CT2LRCTPEA RIDGE-NON13.5nt459.18CTs - DEMO
345UND | 345 | 2CT | 2LRCT | PEA RIDGE-NON | 4.5 | nt | 459.18 | 2066.31 | CTs - DEMO |  |  | Main Power Block - DEMO | 459.18 | 2066.31 | NON | 1 | GULF | REMOVAL | BDG | MARKUP | 7 | 3: 345UND2CT2LRCTPEA RIDGE-NON4.5nt459.18CTs - DEMO
341UND | 341 | 3CT | 3LRCT | PEA RIDGE-NON | 54 | nt | 459.18 | 24795.72 | CTs - DEMO |  |  | Main Power Block - DEMO | 459.18 | 24795.72 | NON | 1 | GULF | REMOVAL | BDG | MARKUP | 7 | 3: 341UND3CT3LRCTPEA RIDGE-NON54nt459.18CTs - DEMO
343UND | 343 | 3CT | 3LRCT | PEA RIDGE-NON | 18 | nt | 459.18 | 8265.24 | CTs - DEMO |  |  | Main Power Block - DEMO | 459.18 | 8265.24 | NON | 1 | GULF | REMOVAL | BDG | MARKUP | 7 | 3: 343UND3CT3LRCTPEA RIDGE-NON18nt459.18CTs - DEMO
344UND | 344 | 3CT | 3LRCT | PEA RIDGE-NON | 13.5 | nt | 459.18 | 6198.93 | CTs - DEMO |  |  | Main Power Block - DEMO | 459.18 | 6198.93 | NON | 1 | GULF | REMOVAL | BDG | MARKUP | 7 | 3: 344UND3CT3LRCTPEA RIDGE-NON13.5nt459.18CTs - DEMO
345UND | 345 | 3CT | 3LRCT | PEA RIDGE-NON | 4.5 | nt | 459.18 | 2066.31 | CTs - DEMO |  |  | Main Power Block - DEMO | 459.18 | 2066.31 | NON | 1 | GULF | REMOVAL | BDG | MARKUP | 7 | 3: 345UND3CT3LRCTPEA RIDGE-NON4.5nt459.18CTs - DEMO
341UND | 341 | 1CT | 1MSCT | PEA RIDGE-NON | 54 | nt | -108.3696 | -5851.9569 | CTs - FE Sales | STEEL |  | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -108.3696 | -5851.9569 | NON | 1 | GULF | SALVAGE | BDG | MARKUP | 8 | 3: 341UND1CT1MSCTPEA RIDGE-NON54nt-108.369573131976CTs - FE Sales
343UND | 343 | 1CT | 1MSCT | PEA RIDGE-NON | 22.5 | nt | -108.3696 | -2438.3154 | CTs - FE Sales | STEEL |  | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -108.3696 | -2438.3154 | NON | 1 | GULF | SALVAGE | BDG | MARKUP | 8 | 3: 343UND1CT1MSCTPEA RIDGE-NON22.5nt-108.369573131976CTs - FE Sales
344UND | 344 | 1CT | 1MSCT | PEA RIDGE-NON | 13.5 | nt | -108.3696 | -1462.9892 | CTs - FE Sales | STEEL |  | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -108.3696 | -1462.9892 | NON | 1 | GULF | SALVAGE | BDG | MARKUP | 8 | 3: 344UND1CT1MSCTPEA RIDGE-NON13.5nt-108.369573131976CTs - FE Sales
341UND | 341 | 2CT | 2MSCT | PEA RIDGE-NON | 54 | nt | -108.3696 | -5851.9569 | CTs - FE Sales | STEEL |  | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -108.3696 | -5851.9569 | NON | 1 | GULF | SALVAGE | BDG | MARKUP | 8 | 3: 341UND2CT2MSCTPEA RIDGE-NON54nt-108.369573131976CTs - FE Sales
343UND | 343 | 2CT | 2MSCT | PEA RIDGE-NON | 22.5 | nt | -108.3696 | -2438.3154 | CTs - FE Sales | STEEL |  | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -108.3696 | -2438.3154 | NON | 1 | GULF | SALVAGE | BDG | MARKUP | 8 | 3: 343UND2CT2MSCTPEA RIDGE-NON22.5nt-108.369573131976CTs - FE Sales
344UND | 344 | 2CT | 2MSCT | PEA RIDGE-NON | 13.5 | nt | -108.3696 | -1462.9892 | CTs - FE Sales | STEEL |  | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -108.3696 | -1462.9892 | NON | 1 | GULF | SALVAGE | BDG | MARKUP | 8 | 3: 344UND2CT2MSCTPEA RIDGE-NON13.5nt-108.369573131976CTs - FE Sales
341UND | 341 | 3CT | 3MSCT | PEA RIDGE-NON | 54 | nt | -108.3696 | -5851.9569 | CTs - FE Sales | STEEL |  | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -108.3696 | -5851.9569 | NON | 1 | GULF | SALVAGE | BDG | MARKUP | 8 | 3: 341UND3CT3MSCTPEA RIDGE-NON54nt-108.369573131976CTs - FE Sales
343UND | 343 | 3CT | 3MSCT | PEA RIDGE-NON | 22.5 | nt | -108.3696 | -2438.3154 | CTs - FE Sales | STEEL |  | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -108.3696 | -2438.3154 | NON | 1 | GULF | SALVAGE | BDG | MARKUP | 8 | 3: 343UND3CT3MSCTPEA RIDGE-NON22.5nt-108.369573131976CTs - FE Sales
344UND | 344 | 3CT | 3MSCT | PEA RIDGE-NON | 13.5 | nt | -108.3696 | -1462.9892 | CTs - FE Sales | STEEL |  | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -108.3696 | -1462.9892 | NON | 1 | GULF | SALVAGE | BDG | MARKUP | 8 | 3: 344UND3CT3MSCTPEA RIDGE-NON13.5nt-108.369573131976CTs - FE Sales
345UND | 345 | 1CT | 1MSCT | PEA RIDGE-NON | 21009.4526 | lbs | -0.31414 | -6600 | CTs Transformers - CU Sales | COPPER | TRANSFORMER | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -0.31414 | -6600 | NON | 1 | GULF | SALVAGE | BDG | MARKUP | 12 | 3: 345UND1CT1MSCTPEA RIDGE-NON21009.452644244lbs-0.314144309790393CTs Transformers - CU Sales
345UND | 345 | 2CT | 2MSCT | PEA RIDGE-NON | 21009.4526 | lbs | -0.31414 | -6600 | CTs Transformers - CU Sales | COPPER | TRANSFORMER | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -0.31414 | -6600 | NON | 1 | GULF | SALVAGE | BDG | MARKUP | 12 | 3: 345UND2CT2MSCTPEA RIDGE-NON21009.452644244lbs-0.314144309790393CTs Transformers - CU Sales
345UND | 345 | 3CT | 3MSCT | PEA RIDGE-NON | 21009.4526 | lbs | -0.31414 | -6600 | CTs Transformers - CU Sales | COPPER | TRANSFORMER | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -0.31414 | -6600 | NON | 1 | GULF | SALVAGE | BDG | MARKUP | 12 | 3: 345UND3CT3MSCTPEA RIDGE-NON21009.452644244lbs-0.314144309790393CTs Transformers - CU Sales
345UND | 345 | 1CT | 1LRCT | PEA RIDGE-NON | 10 | lbs | 459.18 | 4591.8 | CTs Transformers - Demo |  | TRANSFORMER | CTs Transformers - CU Sales | 459.18 | 4591.8 | NON | 1 | GULF | REMOVAL | BDG | MARKUP | 11 | 3: 345UND1CT1LRCTPEA RIDGE-NON10lbs459.18CTs Transformers - Demo
345UND | 345 | 2CT | 2LRCT | PEA RIDGE-NON | 10 | lbs | 459.18 | 4591.8 | CTs Transformers - Demo |  | TRANSFORMER | CTs Transformers - CU Sales | 459.18 | 4591.8 | NON | 1 | GULF | REMOVAL | BDG | MARKUP | 11 | 3: 345UND2CT2LRCTPEA RIDGE-NON10lbs459.18CTs Transformers - Demo
345UND | 345 | 3CT | 3LRCT | PEA RIDGE-NON | 10 | lbs | 459.18 | 4591.8 | CTs Transformers - Demo |  | TRANSFORMER | CTs Transformers - CU Sales | 459.18 | 4591.8 | NON | 1 | GULF | REMOVAL | BDG | MARKUP | 11 | 3: 345UND3CT3LRCTPEA RIDGE-NON10lbs459.18CTs Transformers - Demo
345UND | 345 | 1CT | 1MSCT | PEA RIDGE-NON | 10 | lbs | -108.3696 | -1083.6957 | CTs Transformers - FE Sales | STEEL | TRANSFORMER | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -108.3696 | -1083.6957 | NON | 1 | GULF | SALVAGE | BDG | MARKUP | 13 | 3: 345UND1CT1MSCTPEA RIDGE-NON10lbs-108.369573131976CTs Transformers - FE Sales
345UND | 345 | 2CT | 2MSCT | PEA RIDGE-NON | 10 | lbs | -108.3696 | -1083.6957 | CTs Transformers - FE Sales | STEEL | TRANSFORMER | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -108.3696 | -1083.6957 | NON | 1 | GULF | SALVAGE | BDG | MARKUP | 13 | 3: 345UND2CT2MSCTPEA RIDGE-NON10lbs-108.369573131976CTs Transformers - FE Sales
345UND | 345 | 3CT | 3MSCT | PEA RIDGE-NON | 10 | lbs | -108.3696 | -1083.6957 | CTs Transformers - FE Sales | STEEL | TRANSFORMER | Scrap Market Values (MetalPrices.com) as projected to 31DEC16. | -108.3696 | -1083.6957 | NON | 1 | GULF | SALVAGE | BDG | MARKUP | 13 | 3: 345UND3CT3MSCTPEA RIDGE-NON10lbs-108.369573131976CTs Transformers - FE Sales
307UND | 307 | C | CLR | PEA RIDGE-NON | 1 | ls | 10000 | 10000 | Install Electrical for Decommissioning Work |  |  | Install Electrical for Decommisioning Work | 10000 | 10000 | NON | 1 | GULF | REMOVAL | BDG |  | 6 | 3: 307UNDCCLRPEA RIDGE-NON1ls10000Install Electrical for Decommissioning Work
3110061 | 311 | C | CLR | PEA RIDGE-NON | 10000 | sf | 4.5918 | 45000 | Pavement Repairs |  |  | Pavement Repairs | 4.5918 | 45000 | NON | 1 | GULF | REMOVAL | BDG | MARKUP | 4 | 3: 3110061CCLRPEA RIDGE-NON10000sf4.5918Pavement Repairs
3080268EA | 308 | C | CLR | PEA RIDGE-NON | 1 | ls | 25000 | 25000 | Perform environmental survey of above grade structures |  |  | Perform environmental survey of above grade structures | 25000 | 25000 | NON | 1 | GULF | REMOVAL | BDG |  | 1 | 3: 3080268EACCLRPEA RIDGE-NON1ls25000Perform environmental survey of above grade structures
3080268 | 308 | C | CLR | PEA RIDGE-NON | 1 | LT | 168.1232 | 168.1232 | PERMITS |  |  | PERMITS | 168.1232 | 168.1232 | NON | 1 | GULF | REMOVAL | SCS |  |  | 3: 3080268CCLRPEA RIDGE-NON1LT168.1232PERMITS
3070041 | 307 | C | CLR | PEA RIDGE-NON | 1 | MY | 135010.76 | 135010.76 | POWER GENERATION SUPERVISION |  |  | POWER GENERATION SUPERVISION | 135010.76 | 135010.76 | NON | 1 | GULF | REMOVAL | SCS |  |  | 3: 3070041CCLRPEA RIDGE-NON1MY135010.76POWER GENERATION SUPERVISION
3080241 | 308 | C | CLR | PEA RIDGE-NON | 3 | % | 2101.54 | 6304.62 | SCS ENGINEERING |  |  | GPC ENGINEERING | 2101.54 | 6304.62 | NON | 1 | GULF | REMOVAL | SCS |  |  | 3: 3080241CCLRPEA RIDGE-NON3%2101.54SCS ENGINEERING
3070221 | 307 | C | CLR | PEA RIDGE-NON | 1 | MY | 50750.31 | 50750.31 | SECURITY SERVICES |  |  | SECURITY SERVICES | 50750.31 | 50750.31 | NON | 1 | GULF | REMOVAL | SCS |  |  | 3: 3070221CCLRPEA RIDGE-NON1MY50750.31SECURITY SERVICES
3080241SW | 308 | C | CLR | PEA RIDGE-NON | 1 | ls | 25000 | 25000 | Storm Water Prevention Plan |  |  | Storm Water Prevention Plan | 25000 | 25000 | NON | 1 | GULF | REMOVAL | BDG |  | 2 | 3: 3080241SWCCLRPEA RIDGE-NON1ls25000Storm Water Prevention Plan
3070201 | 307 | C | CLR | PEA RIDGE-NON | 2 | % | 2101.54 | -195796.92 | TEMPORARY CONSTRUCTION SERVICES |  |  | 2% of FERCs 310 and above less "Install Electrical for Decommisioning Work". | 2101.54 | -195796.92 | NON | 1 | GULF | REMOVAL | SCS |  |  | 3: 3070201CCLRPEA RIDGE-NON2%2101.54TEMPORARY CONSTRUCTION SERVICES
341UND | 341 | 1CT | 1LDCT | PEA RIDGE-NON | 5 | nt | 102.04 | 500 | Transport & Dispose of Combustibles |  |  | Transport & Dispose of Combustibles | 102.04 | 500 | NON | 1 | GULF | DISPOSAL | BDG | MARKUP | 10 | 3: 341UND1CT1LDCTPEA RIDGE-NON5nt102.04Transport & Dispose of Combustibles
341UND | 341 | 2CT | 2LDCT | PEA RIDGE-NON | 5 | nt | 102.04 | 500 | Transport & Dispose of Combustibles |  |  | Transport & Dispose of Combustibles | 102.04 | 500 | NON | 1 | GULF | DISPOSAL | BDG | MARKUP | 10 | 3: 341UND2CT2LDCTPEA RIDGE-NON5nt102.04Transport & Dispose of Combustibles
341UND | 341 | 3CT | 3LDCT | PEA RIDGE-NON | 5 | nt | 102.04 | 500 | Transport & Dispose of Combustibles |  |  | Transport & Dispose of Combustibles | 102.04 | 500 | NON | 1 | GULF | DISPOSAL | BDG | MARKUP | 10 | 3: 341UND3CT3LDCTPEA RIDGE-NON5nt102.04Transport & Dispose of Combustibles
341UND | 341 | C | CLD | PEA RIDGE-NON | 35 | nt | 102.04 | 3500 | Transport & Dispose of Combustibles |  |  | Transport & Dispose of Combustibles | 102.04 | 3500 | NON | 1 | GULF | DISPOSAL | BDG | MARKUP | 16 | 3: 341UNDCCLDPEA RIDGE-NON35nt102.04Transport & Dispose of Combustibles
311UND | 311 | C | CLR | PEA RIDGE-NON | 1 | ls | 25000 | 25000 | Utility Disconnects |  |  | Utility Disconnects | 25000 | 25000 | NON | 1 | GULF | REMOVAL | BDG | MARKUP | 5 | 3: 311UNDCCLRPEA RIDGE-NON1ls25000Utility Disconnects
3080361 | 308 | C | CLR | PEA RIDGE-NON | 0.6 | % | 2101.54 | 1260.924 | WRAP-UP AND ALL-RISK INSURANCE |  |  | WRAP-UP AND ALL-RISK INSURANCE | 2101.54 | 1260.924 | NON | 1 | GULF | REMOVAL | SCS |  |  | 3: 3080361CCLRPEA RIDGE-NON0.6%2101.54WRAP-UP AND ALL-RISK INSURANCE

## Pea Ridge Estimate
|  | Total |  |  |  |  | 308 Engineering | [8 empty] | 310 Land and Land Rights | [8 empty] | 311 Structure and Imporvements | [8 empty] | 312 Boiler Plant Equipment | [8 empty] | 314 Turbogenerator Units | [8 empty] | 315 Accesory Electric Equipment | [8 empty] | 316 Miscellaneous Power Plant Equipment | [8 empty] | 343 Prime Movers
[9 empty] | Unit 1 |  | Unit 2 |  | Unit 3 |  |  |  |  | Unit 1 |  | Unit 2 |  | Unit 3 |  |  |  |  | Unit 1 |  | Unit 2 |  | Unit 3 |  |  |  |  | Unit 1 |  | Unit 2 |  | Unit 3 |  |  |  |  | Unit 1 |  | Unit 2 |  | Unit 3 |  |  |  |  | Unit 1 |  | Unit 2 |  | Unit 3 |  |  |  |  | Unit 1 |  | Unit 2 |  | Unit 3 |  |  |  |  | Unit 1 |  | Unit 2 |  | Unit 3
| Tasks | Units | Quantity | Unit Cost | Cost |  | % | Total | % | Cost | % | Cost | % | Cost |  | % | Total | % | Cost | % | Cost | % | Cost |  | % | Total | % | Cost | % | Cost | % | Cost |  | % | Total | % | Cost | % | Cost | % | Cost |  | % | Total | % | Cost | % | Cost | % | Cost |  | % | Total | % | Cost | % | Cost | % | Cost |  | % | Total | % | Cost | % | Cost | % | Cost |  | % | Total | % | Cost | % | Cost | % | Cost | wenada Total | FERC Totals | Unit Totals | check
Engineering, Design and Survey Work |  |  |  |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0
| Perform environmental survey of above grade structures | ls | 1 | 25000 | 25000 |  | 100% | 25000 | 34% | 8500 | 33% | 8250 | 33% | 8250 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | 25000 | 25000 | 25000 | 0
| Storm Water Prevention Plan | ls | 1 | 25000 | 25000 |  | 100% | 25000 | 34% | 8500 | 33% | 8250 | 33% | 8250 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | 25000 | 25000 | 25000 | 0
[8 empty] | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0
General |  |  |  |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0
| Mob./Demob. | ls | 1 | 50000 | 50000 |  | 12.5% | 6250 | 34% | 2125 | 33% | 2062.5 | 33% | 2062.5 |  | 12.5% | 6250 | 34% | 2125 | 33% | 2062.5 | 33% | 2062.5 |  | 12.5% | 6250 | 34% | 2125 | 33% | 2062.5 | 33% | 2062.5 |  | 12.5% | 6250 | 34% | 2125 | 33% | 2062.5 | 33% | 2062.5 |  | 12.5% | 6250 | 34% | 2125 | 33% | 2062.5 | 33% | 2062.5 |  | 12.5% | 6250 | 34% | 2125 | 33% | 2062.5 | 33% | 2062.5 |  | 12.5% | 6250 | 34% | 2125 | 33% | 2062.5 | 33% | 2062.5 |  | 12.5% | 6250 | 34% | 2125 | 33% | 2062.5 | 33% | 2062.5 | 50000 | 50000 | 50000 | 0
| Pavement Repairs | sf | 10000 | 4.5 | 45000 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 100% | 45000 | 34% | 15300 | 33% | 14850 | 33% | 14850 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | 45000 | 45000 | 45000 | 0
| Utility Disconnects | ls | 1 | 25000 | 25000 |  | 12.5% | 3125 | 34% | 1062.5 | 33% | 1031.25 | 33% | 1031.25 |  | 12.5% | 3125 | 34% | 1062.5 | 33% | 1031.25 | 33% | 1031.25 |  | 12.5% | 3125 | 34% | 1062.5 | 33% | 1031.25 | 33% | 1031.25 |  | 12.5% | 3125 | 34% | 1062.5 | 33% | 1031.25 | 33% | 1031.25 |  | 12.5% | 3125 | 34% | 1062.5 | 33% | 1031.25 | 33% | 1031.25 |  | 12.5% | 3125 | 34% | 1062.5 | 33% | 1031.25 | 33% | 1031.25 |  | 12.5% | 3125 | 34% | 1062.5 | 33% | 1031.25 | 33% | 1031.25 |  | 12.5% | 3125 | 34% | 1062.5 | 33% | 1031.25 | 33% | 1031.25 | 25000 | 25000 | 25000 | 0
| Install Electrical for Decommisioning Work | ls | 1 | 10000 | 10000 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 100% | 10000 | 34% | 3400 | 33% | 3300 | 33% | 3300 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | 10000 | 10000 | 10000 | 0
[5 empty] | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0
3 - 5 MW Cogens |  |  |  |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0
| Demo FE | nt | 300 | 450 | 135000 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 95% | 128250 | 34% | 43605 | 33% | 42322.5 | 33% | 42322.5 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 5% | 6750 | 34% | 2295 | 33% | 2227.5 | 33% | 2227.5 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | 135000 | 135000 | 135000 | 0
| Fe Sales | nt | 300 | -180.5263 | -54157.8947 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 95% | -51450 | 34% | -17493 | 33% | -16978.5 | 33% | -16978.5 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 5% | -2707.8947 | 34% | -920.6842 | 33% | -893.6053 | 33% | -893.6053 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | -54157.8947 | -54157.8947 | -54157.8947 | 0
| Transport & Dispose of Combustibles | nt | 15 | 100 | 1500 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 14.29% | 214.2857 | 34% | 72.8571 | 33% | 70.7143 | 33% | 70.7143 |  | 14.29% | 214.2857 | 34% | 72.8571 | 33% | 70.7143 | 33% | 70.7143 |  | 14.29% | 214.2857 | 34% | 72.8571 | 33% | 70.7143 | 33% | 70.7143 |  | 14.29% | 214.2857 | 34% | 72.8571 | 33% | 70.7143 | 33% | 70.7143 |  | 14.29% | 214.2857 | 34% | 72.8571 | 33% | 70.7143 | 33% | 70.7143 |  | 14.29% | 214.2857 | 34% | 72.8571 | 33% | 70.7143 | 33% | 70.7143 |  | 14.29% | 214.2857 | 34% | 72.8571 | 33% | 70.7143 | 33% | 70.7143 | 1500 | 1500 | 1500 | 0
| Unit & Service Transformers | nt | 30 | -660 | -19800 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 100% | -19800 | 34% | -6732 | 33% | -6534 | 33% | -6534 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | -19800 | -19800 | -19800 | 0
| CU Sales | lbs | 25500 | -0.37018 | -9439.7077 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 20% | -1887.9415 | 34% | -641.9001 | 33% | -623.0207 | 33% | -623.0207 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 80% | -7551.7662 | 34% | -2567.6005 | 33% | -2492.0828 | 33% | -2492.0828 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | -9439.7077 | -9439.7077 | -9439.7077 | 0
[5 empty] | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0
Ancillary Buildings |  |  |  |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0
| Demo | nt | 10 | 240 | 2400 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 60% | 1440 | 34% | 489.6 | 33% | 475.2 | 33% | 475.2 |  | 20% | 480 | 34% | 163.2 | 33% | 158.4 | 33% | 158.4 |  | 15% | 360 | 34% | 122.4 | 33% | 118.8 | 33% | 118.8 |  | 5% | 120 | 34% | 40.8 | 33% | 39.6 | 33% | 39.6 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | 2400 | 2400 | 2400 | 0
| Sales | nt | 10 | -180.5263 | -1805.2632 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 60% | -1083.1579 | 34% | -368.2737 | 33% | -357.4421 | 33% | -357.4421 |  | 25% | -451.3158 | 34% | -153.4474 | 33% | -148.9342 | 33% | -148.9342 |  | 15% | -270.7895 | 34% | -92.0684 | 33% | -89.3605 | 33% | -89.3605 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | -1805.2632 | -1805.2632 | -1805.2632 | 0
| Transport & Dispose of Combustibles | nt | 35 | 100 | 3500 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 14.29% | 500 | 34% | 170 | 33% | 165 | 33% | 165 |  | 14.29% | 500 | 34% | 170 | 33% | 165 | 33% | 165 |  | 14.29% | 500 | 34% | 170 | 33% | 165 | 33% | 165 |  | 14.29% | 500 | 34% | 170 | 33% | 165 | 33% | 165 |  | 14.29% | 500 | 34% | 170 | 33% | 165 | 33% | 165 |  | 14.29% | 500 | 34% | 170 | 33% | 165 | 33% | 165 |  | 14.29% | 500 | 34% | 170 | 33% | 165 | 33% | 165 | 3500 | 3500 | 3500 | 0
[8 empty] | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0
| Total |  |  |  | 237197.1344 | 0 |  | 59375 |  | 20187.5 |  | 19593.75 |  | 19593.75 | 0 |  | 55089.2857 |  | 18730.3571 |  | 18179.4643 |  | 18179.4643 | 0 |  | 10446.1278 |  | 3551.6835 |  | 3447.2222 |  | 3447.2222 | 0 |  | 85030.0284 |  | 28910.2097 |  | 28059.9094 |  | 28059.9094 | 0 |  | 10178.4962 |  | 3460.6887 |  | 3358.9038 |  | 3358.9038 | 0 |  | -3100.3752 |  | -1054.1276 |  | -1023.1238 |  | -1023.1238 | 0 |  | 10089.2857 |  | 3430.3571 |  | 3329.4643 |  | 3329.4643 | 0 |  | 10089.2857 |  | 3430.3571 |  | 3329.4643 |  | 3329.4643 | 237197.1344 | 237197.1344 | 237197.1344 | 0
[8 empty] | 0 | [69 empty] | 0 | 0 | 0 | 0
Unit
Price
| * FE is based on the Aug. 7, 2015 Metal Prices Birmingham P&S 5' & under = $245 / GT | [6 empty] | -180.5263
| * AL is based on Aug. 18, 2015 LME Cash Official = $0.69/lb | [6 empty] | -0.39039
| * CU is baesd on Aug. 18, 2015 LME Cash Official = $2.27/lb | [6 empty] | -0.37018
| * SS is based on Aug. 17, 2015 LME 304 (18-8) Scrap Solids Processor = $0.50 / lb | [6 empty] | -0.18394
| *305 SS - is based on Aug. 17, 2014 LME 304 (18-8) Scrap Solids Processor = $0.50 / lb | [6 empty] | -0.22371
| * Transformers is based on Aug. 18, 2015 LME Cash official for CU = $2.27 | [6 empty] | -460.9846
| *Ti is based on Aug. 13, 2015 Secondary Market Tin Bearing >85% = $0.55 / lb | [6 empty] | -0.36
| * Ad Brass is based of Aug. 14, 2015 Secondary Market Yellow Brass = $1.66 | [6 empty] | -1.7513
| * 90-10 CU-NI is based on Aug. 18, 2015 Secondary Market Cupro-Nickel Scrap 90-10 = $2.07 | [6 empty] | -1.5825
| *304 SS - is based on Aug. 17, 2015 LME 304 (18-8) Scrap Solids Processor = $0.50 / lb | [6 empty] | -0.27326

## Scrap Values
#REF!
| 11328802 |  |  |  | 2015-11-06 | 2015-11-06 |  | 2015-12-31 |  | 2015-12-31
| #REF! | Unit |  |  | Unit | ADJ Unit |  | Unit |  | ADJ Unit
|  | Price |  | Change | Price | Price | Historical Links | Price |  | Price
* FE is based on the Aug. 7, 2015 Metal Prices Birmingham P&S 5' & under = $245 / GT | 245 | -180.5263 | 73.68% | -56.7363 | 168 | -123.79 | http://www.metalprices.com/historical/database/ferrous-scrap-price-index/fe-spi-5-plate-structural-birmingham | 184 | LME | 135.5789
* AL is based on Aug. 18, 2015 LME Cash Official = $0.69/lb | 0.69 | -0.39039 | 56.58% | -0.010395 | 0.67 | -0.38 | http://www.metalprices.com/historical/database/aluminum/lme-aluminum-cash-official | 0.6829 |  | 0.38638
* CU is baesd on Aug. 18, 2015 LME Cash Official = $2.27/lb | 2.27 | -0.37018 | 16.31% | -0.00018462 | 2.29 | -0.37 | http://www.metalprices.com/historical/database/copper/lme-copper-cash-official | 2.2759 | LME | 0.37115
* SS is based on Aug. 17, 2015 LME 304 (18-8) Scrap Solids Processor = $0.50 / lb | 0.5 | -0.18394 | 36.79% | -0.02394 | 0.44 | -0.16 | http://www.metalprices.com/historical/database/stainless-steel/stainless-steel-304-s-p |  |  | 0
*305 SS - is based on Aug. 17, 2014 LME 304 (18-8) Scrap Solids Processor = $0.50 / lb | 0.5 | -0.22371 | 44.74% | -0.023711 | 0.44 | -0.2 | http://www.metalprices.com/historical/database/stainless-steel/stainless-steel-304-s-p |  |  | 0
* Transformers is based on Aug. 18, 2015 LME Cash official for CU = $2.27 |  | -460.9846 | [7 empty] | 0
*Ti is based on Aug. 13, 2015 Secondary Market Tin Bearing >85% = $0.55 / lb | 0.55 | -0.36 | 65.45% | -0.11 | 0.375 | -0.25 | http://www.metalprices.com/metal/titanium/titanium-scrap-ferro-ti-quality-turnings-non-tin-bearing-gt-85-ti |  |  | 0
* Ad Brass is based of Aug. 14, 2015 Secondary Market Yellow Brass = $1.66 | 1.66 | -1.7513 | 105.5% | -0.0513 | 1.61 | -1.7 | http://www.metalprices.com/historical/database/brass/brass-yellow-brass |  |  | 0
* 90-10 CU-NI is based on Aug. 18, 2015 Secondary Market Cupro-Nickel Scrap 90-10 = $2.07 | 2.07 | -1.5825 | 76.45% | -0.0625 | 1.99 | -1.52 | http://www.metalprices.com/metal/cupro-nickel/cupro-nickel-c706 |  |  | 0
*304 SS - is based on Aug. 17, 2015 LME 304 (18-8) Scrap Solids Processor = $0.50 / lb | 0.5 | -0.27326 | 54.65% | -0.033256 | 0.44 | -0.24 | http://www.metalprices.com/historical/database/stainless-steel/stainless-steel-304-s-p |  |  | 0
| 2015-11-06 | 2015-11-06
| Unit | ADJ Unit
| Price | Price
* FE is based on the 06NOV15, 2015 Metal Prices Birmingham P&S 5' & under = $168 / GT | 168 | -123.79 | 73.68%
* AL is based on 06NOV15, 2015 LME Cash Official = $0.67/lb | 0.67 | -0.38 | 56.72%
* CU is based on 06NOV15, LME Cash Official = $2.29/lb | 2.29 | -0.37 | 16.16%
* SS is based on 06NOV15, LME 304 (18-8) Scrap Solids Processor = $0.44 / lb | 0.44 | -0.16 | 36.36%
*305 SS - is based on 06NOV15, LME 304 (18-8) Scrap Solids Processor = $0.44 / lb | 0.44 | -0.2 | 45.45%
* Transformers is based on 06NOV15, LME Cash Official = $2.29/lb
*Ti is based on 06NOV15, Secondary Market Tin Bearing >85% = $0.375 / lb | 0.375 | -0.25 | 66.67%
* Ad Brass is based of 06NOV15, Secondary Market Yellow Brass = $1.61 | 1.61 | -1.7 | 105.6%
* 90-10 CU-NI is based on 06NOV15, Secondary Market Cupro-Nickel Scrap 90-10 = $1.99 | 1.99 | -1.52 | 76.38%
*304 SS - is based on 06NOV15, LME 304 (18-8) Scrap Solids Processor = $0.44 / lb | 0.44 | -0.24 | 54.55%