## F 6 (4)
Utilities, Inc. of Florida - Sandalhaven (256-446)
Docket No. 160101-WS
Test Year Ended: December 31, 2015
Preparer: Flynn, P.
Calculation of Committed EWD Capacity
Response to OPC 9th ROG, 219
| CIAC Paid | ERCs @ 190 gpd/ERC | Flow (gpd) | ERCs not built as of 12/31/16 | Prepaid Capacity Not Yet Used | Verification Method | Paid
All Flows to EWD, TY 2015 |  |  | 138285
Prepaid Commitments
Eagles Preserve | No | 68 | 12920 | 68 | 12920 | Counted empty lots in s/d | Guaranteed Rev. Payments
Shamrock Shores | Yes | 57 | 10830 | 56 | 10640 | Counted empty lots in s/d | Predates UI ownership
Cape Haze Marina | Yes | 59 | 11290 | 45 | 8550 | No construction has occurred | 6/12/95
Hacienda Del Mar | Yes | 112 | 21280 | 0 |  |  | 2/24/03
Ship's Lantern Hotel, under constr. | Yes | 51 | 9600 | 51 | 9690 | Hotel construction stopped | 1/15/03
Hammocks at Cape Haze, Ph. 1 of 2 built | Yes | 234 | 44460 | 85 | 16150 | County tax records | 10/1/04
Cape Haze Plaza Addition | Yes | 28 | 5260 | 0 |  |  | 3/31/05
Cape Haze Resort, Ph. 1 of 2 built | Yes | 264 | 50160 | 120 | 22800 | County tax records | 2/24/06
SUBTOTAL 2006 |  | 873 | 165800 | 425 | 80750
Coral Caye (fka 8401 Placida Road) | Yes | 418 | 79420 | 393 | 74670 | 96-lot s/d developed | 9/11/06
Total Prepaid Commitments through 2006 |  | 1291 | 245220 | 818 | 155420
Prepaid Commitments added after 2006
Placida Plaza | Yes | 26 | 4922 | 26 | 4940 | Developer-supplied info | 10/19/08
Egret Real Estate | Yes | 3 | 619 | 3 | 570 | Developer-supplied info | 3/17/09
|  | 29 | 5541 | 29 | 5510
Total Prepaid Commitments |  | 1320 | 250761 | 847 | 160930
Total Capacity Committed including flows diverted from WWTP |  |  | 389046
Note: Coral Caye log of sewer taps includes 8 homes and clubhouse in 2015, 16 homes in 2016.