BEFORE THE FLORIDA PUBLIC SERVICE COMMISSION

| In re: Petition for determination of need for Dania Beach Clean Energy Center Unit 7, by Florida Power & Light Company. | DOCKET NO. 20170225-EI ORDER NO. PSC-2017-0447-PCO-EI ISSUED: November 17, 2017 |
| --- | --- |

ORDER ESTABLISHING ISSUES FOR HEARING

The Procedural Order issued in this Docket anticipated that the issues would be memorialized in a subsequent order. The parties have agreed on the issues as set forth below:

Issue 1:  Is there a need for the proposed Dania Beach Clean Energy Center Unit 7, taking into account the need for electric system reliability and integrity, as this criterion is used in Section 403.519(3), Florida Statutes?

Issue 2:  Are there any renewable energy sources and technologies or conservation measures taken by or reasonably available to Florida Power & Light, which might mitigate the need for the proposed Dania Beach Clean Energy Center Unit 7?

Issue 3:  Is there a need for the proposed Dania Beach Clean Energy Center Unit 7, taking into account the need for adequate electricity at a reasonable cost, as this criterion is used in Section 403.519(3), Florida Statutes?

Issue 4:  Is there a need for the proposed Dania Beach Clean Energy Center Unit 7, taking into account the need for fuel diversity and supply reliability, as this criterion is used in Section 403.519(3), Florida Statutes?

Issue 5:  Will the proposed Dania Beach Clean Energy Center Unit 7 provide the most cost-effective alternative available, as this criterion is used in Section 403.519(3), Florida Statutes?

Issue 6:  Based on the resolution of the foregoing issues and other matters within its jurisdiction which it deems relevant, should the Commission grant Florida Power & Light’s petition to determine the need for the proposed Dania Beach Clean Energy Center Unit 7?

Issue 7:  Should this docket be closed?

The scope of the administrative hearing in this proceeding shall be based upon these issues and any other appropriate issues, raised by the parties up to and during the Prehearing Conference, unless modified by the Prehearing Officer.

Based on the foregoing, it is

ORDERED by Commissioner Gary F. Clark as Prehearing Officer, that the issues in the Docket are set forth in the body of this order.

By ORDER of Commissioner Gary F. Clark, as Prehearing Officer, this 17th day of November, 2017.

|  | /s/ Gary F. Clark |
| --- | --- |
|  | GARY F. CLARK Commissioner and Prehearing Officer |

Florida Public Service Commission

2540 Shumard Oak Boulevard

Tallahassee, Florida  32399

(850) 413-6770

www.floridapsc.com

Copies furnished:  A copy of this document is provided to the parties of record at the time of issuance and, if applicable, interested persons.

SAC

NOTICE OF FURTHER PROCEEDINGS OR JUDICIAL REVIEW

The Florida Public Service Commission is required by Section 120.569(1), Florida Statutes, to notify parties of any administrative hearing or judicial review of Commission orders that is available under Sections 120.57 or 120.68, Florida Statutes, as well as the procedures and time limits that apply.  This notice should not be construed to mean all requests for an administrative hearing or judicial review will be granted or result in the relief sought.

Mediation may be available on a case-by-case basis.  If mediation is conducted, it does not affect a substantially interested person's right to a hearing.

Any party adversely affected by this order, which is preliminary, procedural or intermediate in nature, may request: (1) reconsideration within 10 days pursuant to Rule 25-22.0376, Florida Administrative Code; or (2) judicial review by the Florida Supreme Court, in the case of an electric, gas or telephone utility, or the First District Court of Appeal, in the case of a water or wastewater utility.  A motion for reconsideration shall be filed with the Office of Commission Clerk, in the form prescribed by Rule 25-22.0376, Florida Administrative Code.  Judicial review of a preliminary, procedural or intermediate ruling or order is available if review of the final action will not provide an adequate remedy.  Such review may be requested from the appropriate court, as described above, pursuant to Rule 9.100, Florida Rules of Appellate Procedure.

Order No. PSC-2017-0426-PCO-EI, issued in this Docket on November 6, 2017, at 2.