## a. Plan 1
Florida Power & Light Company
Docket No. 20170225-EI
Staff's Third Set of Interrogatories
Interrogatory No. 60
Attachment No. 1
Tab 1 of 5
Scenario: a. Plan 1 (FL4+5 in; No DBEC)
Year | Installed | Firm | Retirements | Total | Total | Energy | Demand | Net | Reserve |  | Reserve
| Capacity | Purchases |  | Capacity | Demand | Efficiency | Response | Demand | Margin |  | Margin
[9 empty] | With |  | Without
| * | [7 empty] | Demand |  | Demand
[9 empty] | Response |  | Response
| (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (%) | (MW) | (%)
2017 | 26058.4529 | 825.5 | 0 | 26883.9529 | 24008.5867 | 30.4525 | 1820.7948 | 22157.3394 | 4726.6135 | 21.33% | 2905.8187 | 12.12%
2018 | 26356.8491 | 825.5 | 0 | 27182.3491 | 24297.1561 | 55.0543 | 1851.1851 | 22390.9167 | 4791.4324 | 21.4% | 2940.2473 | 12.13%
2019 | 27895.4415 | 113.5 | -254 | 28008.9415 | 24496.3951 | 80.4225 | 1869.1183 | 22546.8543 | 5462.0872 | 24.23% | 3592.9689 | 14.72%
2020 | 28203.9584 | 113.5 | 0 | 28317.4584 | 24605.4355 | 106.5939 | 1886.9078 | 22611.9337 | 5705.5247 | 25.23% | 3818.6169 | 15.59%
2021 | 28362.9971 | 113.5 | 0 | 28476.4971 | 24716.9829 | 133.5654 | 1904.5529 | 22678.8646 | 5797.6325 | 25.56% | 3893.0796 | 15.84%
2022 | 28609.559 | 113.5 | 0 | 28723.059 | 24966.6213 | 161.3336 | 1922.0529 | 22883.2349 | 5839.8241 | 25.52% | 3917.7713 | 15.79%
2023 | 28853.6456 | 113.5 | 0 | 28967.1456 | 25338.3096 | 189.905 | 1939.6537 | 23208.7508 | 5758.3948 | 24.81% | 3818.7411 | 15.18%
2024 | 29011.2582 | 113.5 | 0 | 29124.7582 | 25755.6899 | 219.4126 | 1957.1334 | 23579.1439 | 5545.6143 | 23.52% | 3588.481 | 14.05%
2025 | 29007.4783 | 113.5 | 0 | 29120.9783 | 26137.2704 | 249.2397 | 1974.4559 | 23913.5748 | 5207.4035 | 21.78% | 3232.9475 | 12.49%
2026 | 29003.71 | 203.5 | 0 | 29207.21 | 26551.8035 | 279.0667 | 1991.6219 | 24281.115 | 4926.0951 | 20.29% | 2934.4732 | 11.17%
2027 | 30750.9534 | 110 | 0 | 30860.9534 | 26956.2645 | 308.8937 | 2008.6315 | 24638.7393 | 6222.2141 | 25.25% | 4213.5826 | 15.81%
2028 | 30747.2084 | 110 | 0 | 30857.2084 | 27387.495 | 338.7207 | 2025.4853 | 25023.289 | 5833.9194 | 23.31% | 3808.4341 | 14.08%
2029 | 30743.4749 | 110 | 0 | 30853.4749 | 27915.5008 | 368.5478 | 2042.1846 | 25504.7685 | 5348.7064 | 20.97% | 3306.5218 | 12%
2030 | 30739.7529 | 525 | 0 | 31264.7529 | 28421.7851 | 398.3748 | 2058.7299 | 25964.6804 | 5300.0725 | 20.41% | 3241.3426 | 11.57%
2031 | 31836.0424 | 110 | 0 | 31946.0424 | 28907.2261 | 398.3748 | 2058.7299 | 26450.1214 | 5495.921 | 20.78% | 3437.191 | 12.06%
2032 | 32101.3433 | 232 | -831 | 32333.3433 | 29393.563 | 398.3748 | 2058.7299 | 26936.4583 | 5396.885 | 20.04% | 3338.1551 | 11.51%
2033 | 32774.3885 | 110 | -841 | 32884.3885 | 29860.7618 | 398.3748 | 2058.7299 | 27403.6571 | 5480.7314 | 20% | 3422.0015 | 11.61%
2034 | 33646.2122 | 0 | 0 | 33646.2122 | 30307.1116 | 398.3748 | 2058.7299 | 27850.0068 | 5796.2053 | 20.81% | 3737.4754 | 12.5%
2035 | 34518.0472 | 0 | 0 | 34518.0472 | 30760.6531 | 398.3748 | 2058.7299 | 28303.5484 | 6214.4988 | 21.96% | 4155.7688 | 13.69%
2036 | 35284.3935 | 0 | -981 | 35284.3935 | 31207.3738 | 398.3748 | 2058.7299 | 28750.2691 | 6534.1244 | 22.73% | 4475.3945 | 14.53%
2037 | 35280.7511 | 0 | 0 | 35280.7511 | 31634.1822 | 398.3748 | 2058.7299 | 29177.0775 | 6103.6736 | 20.92% | 4044.9436 | 12.95%
2038 | 36152.6199 | 0 | 0 | 36152.6199 | 32078.1228 | 398.3748 | 2058.7299 | 29621.0181 | 6531.6017 | 22.05% | 4472.8718 | 14.12%
2039 | 36148.9998 | 0 | 0 | 36148.9998 | 32519.7974 | 398.3748 | 2058.7299 | 30062.6927 | 6086.3071 | 20.25% | 4027.5772 | 12.54%
2040 | 37020.891 | 0 | 0 | 37020.891 | 32953.4096 | 398.3748 | 2058.7299 | 30496.3049 | 6524.5861 | 21.39% | 4465.8561 | 13.72%
2041 | 37017.2932 | 0 | 0 | 37017.2932 | 33292.3604 | 398.3748 | 2058.7299 | 30835.2557 | 6182.0375 | 20.05% | 4123.3076 | 12.54%
2042 | 37889.2065 | 0 | 0 | 37889.2065 | 33632.0248 | 398.3748 | 2058.7299 | 31174.9201 | 6714.2864 | 21.54% | 4655.5565 | 14.01%
2043 | 37921.1309 | 0 | -840 | 37921.1309 | 33972.4109 | 398.3748 | 2058.7299 | 31515.3062 | 6405.8247 | 20.33% | 4347.0948 | 12.95%
2044 | 38793.0663 | 0 | 0 | 38793.0663 | 34313.5269 | 398.3748 | 2058.7299 | 31856.4221 | 6936.6441 | 21.77% | 4877.9142 | 14.38%
2045 | 38789.5126 | 0 | 0 | 38789.5126 | 34655.381 | 398.3748 | 2058.7299 | 32198.2763 | 6591.2363 | 20.47% | 4532.5064 | 13.23%
2046 | 39661.4699 | 0 | 0 | 39661.4699 | 34997.9819 | 398.3748 | 2058.7299 | 32540.8771 | 7120.5928 | 21.88% | 5061.8628 | 14.63%
2047 | 39657.9381 | 0 | 0 | 39657.9381 | 35341.3381 | 398.3748 | 2058.7299 | 32884.2334 | 6773.7047 | 20.6% | 4714.9748 | 13.49%
2048 | 40529.9172 | 0 | 0 | 40529.9172 | 35685.4586 | 398.3748 | 2058.7299 | 33228.3539 | 7301.5633 | 21.97% | 5242.8334 | 14.86%
2049 | 40526.4071 | 0 | 0 | 40526.4071 | 36030.3524 | 398.3748 | 2058.7299 | 33573.2476 | 6953.1594 | 20.71% | 4894.4295 | 13.74%
2050 | 41398.4078 | 0 | 0 | 41398.4078 | 36376.0286 | 398.3748 | 2058.7299 | 33918.9239 | 7479.4839 | 22.05% | 5420.754 | 15.07%
2051 | 41394.9193 | 0 | 0 | 41394.9193 | 36718.7584 | 398.3748 | 2058.7299 | 34261.6536 | 7133.2657 | 20.82% | 5074.5357 | 13.97%
2052 | 42266.9415 | 0 | 0 | 42266.9415 | 37062.2758 | 398.3748 | 2058.7299 | 34605.1711 | 7661.7704 | 22.14% | 5603.0404 | 15.28%
2053 | 42263.4744 | 0 | 0 | 42263.4744 | 37406.5908 | 398.3748 | 2058.7299 | 34949.486 | 7313.9884 | 20.93% | 5255.2584 | 14.2%
2054 | 43135.518 | 0 | 0 | 43135.518 | 37751.7131 | 398.3748 | 2058.7299 | 35294.6084 | 7840.9096 | 22.22% | 5782.1797 | 15.48%
2055 | 43132.0722 | 0 | 0 | 43132.0722 | 38097.6529 | 398.3748 | 2058.7299 | 35640.5482 | 7491.524 | 21.02% | 5432.7941 | 14.41%
2056 | 44004.137 | 0 | 0 | 44004.137 | 38444.4205 | 398.3748 | 2058.7299 | 35987.3158 | 8016.8212 | 22.28% | 5958.0913 | 15.66%
2057 | 44000.7124 | 0 | 0 | 44000.7124 | 38792.0264 | 398.3748 | 2058.7299 | 36334.9217 | 7665.7907 | 21.1% | 5607.0607 | 14.6%
2058 | 44872.7983 | 0 | 0 | 44872.7983 | 39140.4814 | 398.3748 | 2058.7299 | 36683.3767 | 8189.4216 | 22.32% | 6130.6917 | 15.82%
2059 | 44869.3947 | 0 | 0 | 44869.3947 | 39489.7963 | 398.3748 | 2058.7299 | 37032.6916 | 7836.7031 | 21.16% | 5777.9731 | 14.78%
2060 | 44866.0015 | 0 | 0 | 44866.0015 | 39839.9824 | 398.3748 | 2058.7299 | 37382.8777 | 7483.1239 | 20.02% | 5424.3939 | 13.75%
2061 | 45738.1188 | 0 | 0 | 45738.1188 | 40191.051 | 398.3748 | 2058.7299 | 37733.9463 | 8004.1726 | 21.21% | 5945.4426 | 14.94%
* Note that the "Capacity Installed" values already account for retirements.

## b. Plan 2
Florida Power & Light Company
Docket No. 20170225-EI
Staff's Third Set of Interrogatories
Interrogatory No. 60
Attachment No. 1
Tab 2 of 5
Scenario: b. Plan 2 (FL4+5 out in 2018; DBEC in 2022)
Year | Installed | Firm | Retirements | Total | Total | Energy | Demand | Net | Reserve |  | Reserve
| Capacity | Purchases |  | Capacity | Demand | Efficiency | Response | Demand | Margin |  | Margin
[9 empty] | With |  | Without
| * | [7 empty] | Demand |  | Demand
[9 empty] | Response |  | Response
| (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (%) | (MW) | (%)
2017 | 26058.4529 | 825.5 | 0 | 26883.9529 | 24008.5867 | 30.4525 | 1820.7948 | 22157.3394 | 4726.6135 | 21.33% | 2905.8187 | 12.12%
2018 | 26356.8491 | 825.5 | 0 | 27182.3491 | 24297.1561 | 55.0543 | 1851.1851 | 22390.9167 | 4791.4324 | 21.4% | 2940.2473 | 12.13%
2019 | 27011.4415 | 113.5 | -1138 | 27124.9415 | 24496.3951 | 80.4225 | 1869.1183 | 22546.8543 | 4578.0872 | 20.3% | 2708.9689 | 11.1%
2020 | 27319.9584 | 113.5 | 0 | 27433.4584 | 24605.4355 | 106.5939 | 1886.9078 | 22611.9337 | 4821.5247 | 21.32% | 2934.6169 | 11.98%
2021 | 27478.9971 | 113.5 | 0 | 27592.4971 | 24716.9829 | 133.5654 | 1904.5529 | 22678.8646 | 4913.6325 | 21.67% | 3009.0796 | 12.24%
2022 | 28888.559 | 113.5 | 0 | 29002.059 | 24966.6213 | 161.3336 | 1922.0529 | 22883.2349 | 6118.8241 | 26.74% | 4196.7713 | 16.92%
2023 | 29132.6456 | 113.5 | 0 | 29246.1456 | 25338.3096 | 189.905 | 1939.6537 | 23208.7508 | 6037.3948 | 26.01% | 4097.7411 | 16.29%
2024 | 29290.2582 | 113.5 | 0 | 29403.7582 | 25755.6899 | 219.4126 | 1957.1334 | 23579.1439 | 5824.6143 | 24.7% | 3867.481 | 15.15%
2025 | 29286.4783 | 113.5 | 0 | 29399.9783 | 26137.2704 | 249.2397 | 1974.4559 | 23913.5748 | 5486.4035 | 22.94% | 3511.9475 | 13.57%
2026 | 29282.71 | 113.5 | 0 | 29396.21 | 26551.8035 | 279.0667 | 1991.6219 | 24281.115 | 5115.0951 | 21.07% | 3123.4732 | 11.89%
2027 | 29278.9534 | 373 | 0 | 29651.9534 | 26956.2645 | 308.8937 | 2008.6315 | 24638.7393 | 5013.2141 | 20.35% | 3004.5826 | 11.28%
2028 | 31026.2084 | 110 | 0 | 31136.2084 | 27387.495 | 338.7207 | 2025.4853 | 25023.289 | 6112.9194 | 24.43% | 4087.4341 | 15.11%
2029 | 31022.4749 | 110 | 0 | 31132.4749 | 27915.5008 | 368.5478 | 2042.1846 | 25504.7685 | 5627.7064 | 22.07% | 3585.5218 | 13.02%
2030 | 31018.7529 | 246 | 0 | 31264.7529 | 28421.7851 | 398.3748 | 2058.7299 | 25964.6804 | 5300.0725 | 20.41% | 3241.3426 | 11.57%
2031 | 32115.0424 | 110 | 0 | 32225.0424 | 28907.2261 | 398.3748 | 2058.7299 | 26450.1214 | 5774.921 | 21.83% | 3716.191 | 13.04%
2032 | 32380.3433 | 110 | -831 | 32490.3433 | 29393.563 | 398.3748 | 2058.7299 | 26936.4583 | 5553.885 | 20.62% | 3495.1551 | 12.05%
2033 | 32774.3885 | 110 | -841 | 32884.3885 | 29860.7618 | 398.3748 | 2058.7299 | 27403.6571 | 5480.7314 | 20% | 3422.0015 | 11.61%
2034 | 33646.2122 | 0 | 0 | 33646.2122 | 30307.1116 | 398.3748 | 2058.7299 | 27850.0068 | 5796.2053 | 20.81% | 3737.4754 | 12.5%
2035 | 34518.0472 | 0 | 0 | 34518.0472 | 30760.6531 | 398.3748 | 2058.7299 | 28303.5484 | 6214.4988 | 21.96% | 4155.7688 | 13.69%
2036 | 35284.3935 | 0 | -981 | 35284.3935 | 31207.3738 | 398.3748 | 2058.7299 | 28750.2691 | 6534.1244 | 22.73% | 4475.3945 | 14.53%
2037 | 35280.7511 | 0 | 0 | 35280.7511 | 31634.1822 | 398.3748 | 2058.7299 | 29177.0775 | 6103.6736 | 20.92% | 4044.9436 | 12.95%
2038 | 36152.6199 | 0 | 0 | 36152.6199 | 32078.1228 | 398.3748 | 2058.7299 | 29621.0181 | 6531.6017 | 22.05% | 4472.8718 | 14.12%
2039 | 36148.9998 | 0 | 0 | 36148.9998 | 32519.7974 | 398.3748 | 2058.7299 | 30062.6927 | 6086.3071 | 20.25% | 4027.5772 | 12.54%
2040 | 37020.891 | 0 | 0 | 37020.891 | 32953.4096 | 398.3748 | 2058.7299 | 30496.3049 | 6524.5861 | 21.39% | 4465.8561 | 13.72%
2041 | 37017.2932 | 0 | 0 | 37017.2932 | 33292.3604 | 398.3748 | 2058.7299 | 30835.2557 | 6182.0375 | 20.05% | 4123.3076 | 12.54%
2042 | 37889.2065 | 0 | 0 | 37889.2065 | 33632.0248 | 398.3748 | 2058.7299 | 31174.9201 | 6714.2864 | 21.54% | 4655.5565 | 14.01%
2043 | 37921.1309 | 0 | -840 | 37921.1309 | 33972.4109 | 398.3748 | 2058.7299 | 31515.3062 | 6405.8247 | 20.33% | 4347.0948 | 12.95%
2044 | 38793.0663 | 0 | 0 | 38793.0663 | 34313.5269 | 398.3748 | 2058.7299 | 31856.4221 | 6936.6441 | 21.77% | 4877.9142 | 14.38%
2045 | 38789.5126 | 0 | 0 | 38789.5126 | 34655.381 | 398.3748 | 2058.7299 | 32198.2763 | 6591.2363 | 20.47% | 4532.5064 | 13.23%
2046 | 39661.4699 | 0 | 0 | 39661.4699 | 34997.9819 | 398.3748 | 2058.7299 | 32540.8771 | 7120.5928 | 21.88% | 5061.8628 | 14.63%
2047 | 39657.9381 | 0 | 0 | 39657.9381 | 35341.3381 | 398.3748 | 2058.7299 | 32884.2334 | 6773.7047 | 20.6% | 4714.9748 | 13.49%
2048 | 40529.9172 | 0 | 0 | 40529.9172 | 35685.4586 | 398.3748 | 2058.7299 | 33228.3539 | 7301.5633 | 21.97% | 5242.8334 | 14.86%
2049 | 40526.4071 | 0 | 0 | 40526.4071 | 36030.3524 | 398.3748 | 2058.7299 | 33573.2476 | 6953.1594 | 20.71% | 4894.4295 | 13.74%
2050 | 41398.4078 | 0 | 0 | 41398.4078 | 36376.0286 | 398.3748 | 2058.7299 | 33918.9239 | 7479.4839 | 22.05% | 5420.754 | 15.07%
2051 | 41394.9193 | 0 | 0 | 41394.9193 | 36718.7584 | 398.3748 | 2058.7299 | 34261.6536 | 7133.2657 | 20.82% | 5074.5357 | 13.97%
2052 | 42266.9415 | 0 | 0 | 42266.9415 | 37062.2758 | 398.3748 | 2058.7299 | 34605.1711 | 7661.7704 | 22.14% | 5603.0404 | 15.28%
2053 | 42263.4744 | 0 | 0 | 42263.4744 | 37406.5908 | 398.3748 | 2058.7299 | 34949.486 | 7313.9884 | 20.93% | 5255.2584 | 14.2%
2054 | 43135.518 | 0 | 0 | 43135.518 | 37751.7131 | 398.3748 | 2058.7299 | 35294.6084 | 7840.9096 | 22.22% | 5782.1797 | 15.48%
2055 | 43132.0722 | 0 | 0 | 43132.0722 | 38097.6529 | 398.3748 | 2058.7299 | 35640.5482 | 7491.524 | 21.02% | 5432.7941 | 14.41%
2056 | 44004.137 | 0 | 0 | 44004.137 | 38444.4205 | 398.3748 | 2058.7299 | 35987.3158 | 8016.8212 | 22.28% | 5958.0913 | 15.66%
2057 | 44000.7124 | 0 | 0 | 44000.7124 | 38792.0264 | 398.3748 | 2058.7299 | 36334.9217 | 7665.7907 | 21.1% | 5607.0607 | 14.6%
2058 | 44872.7983 | 0 | 0 | 44872.7983 | 39140.4814 | 398.3748 | 2058.7299 | 36683.3767 | 8189.4216 | 22.32% | 6130.6917 | 15.82%
2059 | 44869.3947 | 0 | 0 | 44869.3947 | 39489.7963 | 398.3748 | 2058.7299 | 37032.6916 | 7836.7031 | 21.16% | 5777.9731 | 14.78%
2060 | 44866.0015 | 0 | 0 | 44866.0015 | 39839.9824 | 398.3748 | 2058.7299 | 37382.8777 | 7483.1239 | 20.02% | 5424.3939 | 13.75%
2061 | 45738.1188 | 0 | 0 | 45738.1188 | 40191.051 | 398.3748 | 2058.7299 | 37733.9463 | 8004.1726 | 21.21% | 5945.4426 | 14.94%
* Note that the "Capacity Installed" values already account for retirements.

## c. Plan 3
Florida Power & Light Company
Docket No. 20170225-EI
Staff's Third Set of Interrogatories
Interrogatory No. 60
Attachment No. 1
Tab 3 of 5
Scenario: c. Plan 3 (FL4+5 out in 2018; No DBEC; Solar and Storage by 2022)
Year | Installed | Firm | Retirements | Total | Total | Energy | Demand | Net | Reserve |  | Reserve
| Capacity | Purchases |  | Capacity | Demand | Efficiency | Response | Demand | Margin |  | Margin
[9 empty] | With |  | Without
| * | [7 empty] | Demand |  | Demand
[9 empty] | Response |  | Response
| (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (%) | (MW) | (%)
2017 | 26058.4529 | 825.5 | 0 | 26883.9529 | 24008.5867 | 30.4525 | 1820.7948 | 22157.3394 | 4726.6135 | 21.33% | 2905.8187 | 12.12%
2018 | 26509.3491 | 825.5 | 0 | 27334.8491 | 24297.1561 | 55.0543 | 1851.1851 | 22390.9167 | 4943.9324 | 22.08% | 3092.7473 | 12.76%
2019 | 27416.4415 | 113.5 | -1138 | 27529.9415 | 24496.3951 | 80.4225 | 1869.1183 | 22546.8543 | 4983.0872 | 22.1% | 3113.9689 | 12.75%
2020 | 27968.7084 | 113.5 | 0 | 28082.2084 | 24605.4355 | 106.5939 | 1886.9078 | 22611.9337 | 5470.2747 | 24.19% | 3583.3669 | 14.63%
2021 | 28362.7471 | 113.5 | 0 | 28476.2471 | 24716.9829 | 133.5654 | 1904.5529 | 22678.8646 | 5797.3825 | 25.56% | 3892.8296 | 15.84%
2022 | 28892.459 | 113.5 | 0 | 29005.959 | 24966.6213 | 161.3336 | 1922.0529 | 22883.2349 | 6122.7241 | 26.76% | 4200.6713 | 16.93%
2023 | 29136.5456 | 113.5 | 0 | 29250.0456 | 25338.3096 | 189.905 | 1939.6537 | 23208.7508 | 6041.2948 | 26.03% | 4101.6411 | 16.31%
2024 | 29294.1582 | 113.5 | 0 | 29407.6582 | 25755.6899 | 219.4126 | 1957.1334 | 23579.1439 | 5828.5143 | 24.72% | 3871.381 | 15.16%
2025 | 29290.3783 | 113.5 | 0 | 29403.8783 | 26137.2704 | 249.2397 | 1974.4559 | 23913.5748 | 5490.3035 | 22.96% | 3515.8475 | 13.58%
2026 | 29286.61 | 113.5 | 0 | 29400.11 | 26551.8035 | 279.0667 | 1991.6219 | 24281.115 | 5118.9951 | 21.08% | 3127.3732 | 11.9%
2027 | 29282.8534 | 370 | 0 | 29652.8534 | 26956.2645 | 308.8937 | 2008.6315 | 24638.7393 | 5014.1141 | 20.35% | 3005.4826 | 11.28%
2028 | 31030.1084 | 110 | 0 | 31140.1084 | 27387.495 | 338.7207 | 2025.4853 | 25023.289 | 6116.8194 | 24.44% | 4091.3341 | 15.13%
2029 | 31026.3749 | 110 | 0 | 31136.3749 | 27915.5008 | 368.5478 | 2042.1846 | 25504.7685 | 5631.6064 | 22.08% | 3589.4218 | 13.03%
2030 | 31022.6529 | 242 | 0 | 31264.6529 | 28421.7851 | 398.3748 | 2058.7299 | 25964.6804 | 5299.9725 | 20.41% | 3241.2426 | 11.57%
2031 | 32118.9424 | 110 | 0 | 32228.9424 | 28907.2261 | 398.3748 | 2058.7299 | 26450.1214 | 5778.821 | 21.85% | 3720.091 | 13.05%
2032 | 32384.2433 | 110 | -831 | 32494.2433 | 29393.563 | 398.3748 | 2058.7299 | 26936.4583 | 5557.785 | 20.63% | 3499.0551 | 12.07%
2033 | 32774.3885 | 110 | -841 | 32884.3885 | 29860.7618 | 398.3748 | 2058.7299 | 27403.6571 | 5480.7314 | 20% | 3422.0015 | 11.61%
2034 | 33646.2122 | 0 | 0 | 33646.2122 | 30307.1116 | 398.3748 | 2058.7299 | 27850.0068 | 5796.2053 | 20.81% | 3737.4754 | 12.5%
2035 | 34518.0472 | 0 | 0 | 34518.0472 | 30760.6531 | 398.3748 | 2058.7299 | 28303.5484 | 6214.4988 | 21.96% | 4155.7688 | 13.69%
2036 | 35284.3935 | 0 | -981 | 35284.3935 | 31207.3738 | 398.3748 | 2058.7299 | 28750.2691 | 6534.1244 | 22.73% | 4475.3945 | 14.53%
2037 | 35280.7511 | 0 | 0 | 35280.7511 | 31634.1822 | 398.3748 | 2058.7299 | 29177.0775 | 6103.6736 | 20.92% | 4044.9436 | 12.95%
2038 | 36152.6199 | 0 | 0 | 36152.6199 | 32078.1228 | 398.3748 | 2058.7299 | 29621.0181 | 6531.6017 | 22.05% | 4472.8718 | 14.12%
2039 | 36148.9998 | 0 | 0 | 36148.9998 | 32519.7974 | 398.3748 | 2058.7299 | 30062.6927 | 6086.3071 | 20.25% | 4027.5772 | 12.54%
2040 | 37020.891 | 0 | 0 | 37020.891 | 32953.4096 | 398.3748 | 2058.7299 | 30496.3049 | 6524.5861 | 21.39% | 4465.8561 | 13.72%
2041 | 37017.2932 | 0 | 0 | 37017.2932 | 33292.3604 | 398.3748 | 2058.7299 | 30835.2557 | 6182.0375 | 20.05% | 4123.3076 | 12.54%
2042 | 37889.2065 | 0 | 0 | 37889.2065 | 33632.0248 | 398.3748 | 2058.7299 | 31174.9201 | 6714.2864 | 21.54% | 4655.5565 | 14.01%
2043 | 37921.1309 | 0 | -840 | 37921.1309 | 33972.4109 | 398.3748 | 2058.7299 | 31515.3062 | 6405.8247 | 20.33% | 4347.0948 | 12.95%
2044 | 38793.0663 | 0 | 0 | 38793.0663 | 34313.5269 | 398.3748 | 2058.7299 | 31856.4221 | 6936.6441 | 21.77% | 4877.9142 | 14.38%
2045 | 38789.5126 | 0 | 0 | 38789.5126 | 34655.381 | 398.3748 | 2058.7299 | 32198.2763 | 6591.2363 | 20.47% | 4532.5064 | 13.23%
2046 | 39661.4699 | 0 | 0 | 39661.4699 | 34997.9819 | 398.3748 | 2058.7299 | 32540.8771 | 7120.5928 | 21.88% | 5061.8628 | 14.63%
2047 | 39657.9381 | 0 | 0 | 39657.9381 | 35341.3381 | 398.3748 | 2058.7299 | 32884.2334 | 6773.7047 | 20.6% | 4714.9748 | 13.49%
2048 | 40529.9172 | 0 | 0 | 40529.9172 | 35685.4586 | 398.3748 | 2058.7299 | 33228.3539 | 7301.5633 | 21.97% | 5242.8334 | 14.86%
2049 | 40526.4071 | 0 | 0 | 40526.4071 | 36030.3524 | 398.3748 | 2058.7299 | 33573.2476 | 6953.1594 | 20.71% | 4894.4295 | 13.74%
2050 | 41398.4078 | 0 | 0 | 41398.4078 | 36376.0286 | 398.3748 | 2058.7299 | 33918.9239 | 7479.4839 | 22.05% | 5420.754 | 15.07%
2051 | 41394.9193 | 0 | 0 | 41394.9193 | 36718.7584 | 398.3748 | 2058.7299 | 34261.6536 | 7133.2657 | 20.82% | 5074.5357 | 13.97%
2052 | 42266.9415 | 0 | 0 | 42266.9415 | 37062.2758 | 398.3748 | 2058.7299 | 34605.1711 | 7661.7704 | 22.14% | 5603.0404 | 15.28%
2053 | 42263.4744 | 0 | 0 | 42263.4744 | 37406.5908 | 398.3748 | 2058.7299 | 34949.486 | 7313.9884 | 20.93% | 5255.2584 | 14.2%
2054 | 43135.518 | 0 | 0 | 43135.518 | 37751.7131 | 398.3748 | 2058.7299 | 35294.6084 | 7840.9096 | 22.22% | 5782.1797 | 15.48%
2055 | 43132.0722 | 0 | 0 | 43132.0722 | 38097.6529 | 398.3748 | 2058.7299 | 35640.5482 | 7491.524 | 21.02% | 5432.7941 | 14.41%
2056 | 44004.137 | 0 | 0 | 44004.137 | 38444.4205 | 398.3748 | 2058.7299 | 35987.3158 | 8016.8212 | 22.28% | 5958.0913 | 15.66%
2057 | 44000.7124 | 0 | 0 | 44000.7124 | 38792.0264 | 398.3748 | 2058.7299 | 36334.9217 | 7665.7907 | 21.1% | 5607.0607 | 14.6%
2058 | 44872.7983 | 0 | 0 | 44872.7983 | 39140.4814 | 398.3748 | 2058.7299 | 36683.3767 | 8189.4216 | 22.32% | 6130.6917 | 15.82%
2059 | 44869.3947 | 0 | 0 | 44869.3947 | 39489.7963 | 398.3748 | 2058.7299 | 37032.6916 | 7836.7031 | 21.16% | 5777.9731 | 14.78%
2060 | 44866.0015 | 0 | 0 | 44866.0015 | 39839.9824 | 398.3748 | 2058.7299 | 37382.8777 | 7483.1239 | 20.02% | 5424.3939 | 13.75%
2061 | 45738.1188 | 0 | 0 | 45738.1188 | 40191.051 | 398.3748 | 2058.7299 | 37733.9463 | 8004.1726 | 21.21% | 5945.4426 | 14.94%
* Note that the "Capacity Installed" values already account for retirements.

## f. 2 Year Delay scenario
Florida Power & Light Company
Docket No. 20170225-EI
Staff's Third Set of Interrogatories
Interrogatory No. 60
Attachment No. 1
Tab 4 of 5
Scenario: f. FL4+5 out in 2018; DBEC in 2024 *
Year | Installed | Firm | Retirements | Total | Total | Energy | Demand | Net | Reserve |  | Reserve
| Capacity | Purchases |  | Capacity | Demand | Efficiency | Response | Demand | Margin |  | Margin
[9 empty] | With |  | Without
| ** | [7 empty] | Demand |  | Demand
[9 empty] | Response |  | Response
| (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (%) | (MW) | (%)
2017 | 26058.4529 | 825.5 | 0 | 26883.9529 | 24008.5867 | 30.4525 | 1820.7948 | 22157.3394 | 4726.6135 | 21.33% | 2905.8187 | 12.12%
2018 | 26356.8491 | 825.5 | 0 | 27182.3491 | 24297.1561 | 55.0543 | 1851.1851 | 22390.9167 | 4791.4324 | 21.4% | 2940.2473 | 12.13%
2019 | 27011.4415 | 113.5 | -1138 | 27124.9415 | 24496.3951 | 80.4225 | 1869.1183 | 22546.8543 | 4578.0872 | 20.3% | 2708.9689 | 11.1%
2020 | 27319.9584 | 113.5 | 0 | 27433.4584 | 24605.4355 | 106.5939 | 1886.9078 | 22611.9337 | 4821.5247 | 21.32% | 2934.6169 | 11.98%
2021 | 27478.9971 | 113.5 | 0 | 27592.4971 | 24716.9829 | 133.5654 | 1904.5529 | 22678.8646 | 4913.6325 | 21.67% | 3009.0796 | 12.24%
2022 | 27725.559 | 113.5 | 0 | 27839.059 | 24966.6213 | 161.3336 | 1922.0529 | 22883.2349 | 4955.8241 | 21.66% | 3033.7713 | 12.23%
2023 | 27969.6456 | 113.5 | 0 | 28083.1456 | 25338.3096 | 189.905 | 1939.6537 | 23208.7508 | 4874.3948 | 21% | 2934.7411 | 11.67%
2024 | 29290.2582 | 113.5 | 0 | 29403.7582 | 25755.6899 | 219.4126 | 1957.1334 | 23579.1439 | 5824.6143 | 24.7% | 3867.481 | 15.15%
2025 | 29286.4783 | 113.5 | 0 | 29399.9783 | 26137.2704 | 249.2397 | 1974.4559 | 23913.5748 | 5486.4035 | 22.94% | 3511.9475 | 13.57%
2026 | 29282.71 | 113.5 | 0 | 29396.21 | 26551.8035 | 279.0667 | 1991.6219 | 24281.115 | 5115.0951 | 21.07% | 3123.4732 | 11.89%
2027 | 29278.9534 | 373 | 0 | 29651.9534 | 26956.2645 | 308.8937 | 2008.6315 | 24638.7393 | 5013.2141 | 20.35% | 3004.5826 | 11.28%
2028 | 31026.2084 | 110 | 0 | 31136.2084 | 27387.495 | 338.7207 | 2025.4853 | 25023.289 | 6112.9194 | 24.43% | 4087.4341 | 15.11%
2029 | 31022.4749 | 110 | 0 | 31132.4749 | 27915.5008 | 368.5478 | 2042.1846 | 25504.7685 | 5627.7064 | 22.07% | 3585.5218 | 13.02%
2030 | 31018.7529 | 246 | 0 | 31264.7529 | 28421.7851 | 398.3748 | 2058.7299 | 25964.6804 | 5300.0725 | 20.41% | 3241.3426 | 11.57%
2031 | 32115.0424 | 110 | 0 | 32225.0424 | 28907.2261 | 398.3748 | 2058.7299 | 26450.1214 | 5774.921 | 21.83% | 3716.191 | 13.04%
2032 | 32380.3433 | 110 | -831 | 32490.3433 | 29393.563 | 398.3748 | 2058.7299 | 26936.4583 | 5553.885 | 20.62% | 3495.1551 | 12.05%
2033 | 32774.3885 | 110 | -841 | 32884.3885 | 29860.7618 | 398.3748 | 2058.7299 | 27403.6571 | 5480.7314 | 20% | 3422.0015 | 11.61%
2034 | 33646.2122 | 0 | 0 | 33646.2122 | 30307.1116 | 398.3748 | 2058.7299 | 27850.0068 | 5796.2053 | 20.81% | 3737.4754 | 12.5%
2035 | 34518.0472 | 0 | 0 | 34518.0472 | 30760.6531 | 398.3748 | 2058.7299 | 28303.5484 | 6214.4988 | 21.96% | 4155.7688 | 13.69%
2036 | 35284.3935 | 0 | -981 | 35284.3935 | 31207.3738 | 398.3748 | 2058.7299 | 28750.2691 | 6534.1244 | 22.73% | 4475.3945 | 14.53%
2037 | 35280.7511 | 0 | 0 | 35280.7511 | 31634.1822 | 398.3748 | 2058.7299 | 29177.0775 | 6103.6736 | 20.92% | 4044.9436 | 12.95%
2038 | 36152.6199 | 0 | 0 | 36152.6199 | 32078.1228 | 398.3748 | 2058.7299 | 29621.0181 | 6531.6017 | 22.05% | 4472.8718 | 14.12%
2039 | 36148.9998 | 0 | 0 | 36148.9998 | 32519.7974 | 398.3748 | 2058.7299 | 30062.6927 | 6086.3071 | 20.25% | 4027.5772 | 12.54%
2040 | 37020.891 | 0 | 0 | 37020.891 | 32953.4096 | 398.3748 | 2058.7299 | 30496.3049 | 6524.5861 | 21.39% | 4465.8561 | 13.72%
2041 | 37017.2932 | 0 | 0 | 37017.2932 | 33292.3604 | 398.3748 | 2058.7299 | 30835.2557 | 6182.0375 | 20.05% | 4123.3076 | 12.54%
2042 | 37889.2065 | 0 | 0 | 37889.2065 | 33632.0248 | 398.3748 | 2058.7299 | 31174.9201 | 6714.2864 | 21.54% | 4655.5565 | 14.01%
2043 | 37921.1309 | 0 | -840 | 37921.1309 | 33972.4109 | 398.3748 | 2058.7299 | 31515.3062 | 6405.8247 | 20.33% | 4347.0948 | 12.95%
2044 | 38793.0663 | 0 | 0 | 38793.0663 | 34313.5269 | 398.3748 | 2058.7299 | 31856.4221 | 6936.6441 | 21.77% | 4877.9142 | 14.38%
2045 | 38789.5126 | 0 | 0 | 38789.5126 | 34655.381 | 398.3748 | 2058.7299 | 32198.2763 | 6591.2363 | 20.47% | 4532.5064 | 13.23%
2046 | 39661.4699 | 0 | 0 | 39661.4699 | 34997.9819 | 398.3748 | 2058.7299 | 32540.8771 | 7120.5928 | 21.88% | 5061.8628 | 14.63%
2047 | 39657.9381 | 0 | 0 | 39657.9381 | 35341.3381 | 398.3748 | 2058.7299 | 32884.2334 | 6773.7047 | 20.6% | 4714.9748 | 13.49%
2048 | 40529.9172 | 0 | 0 | 40529.9172 | 35685.4586 | 398.3748 | 2058.7299 | 33228.3539 | 7301.5633 | 21.97% | 5242.8334 | 14.86%
2049 | 40526.4071 | 0 | 0 | 40526.4071 | 36030.3524 | 398.3748 | 2058.7299 | 33573.2476 | 6953.1594 | 20.71% | 4894.4295 | 13.74%
2050 | 41398.4078 | 0 | 0 | 41398.4078 | 36376.0286 | 398.3748 | 2058.7299 | 33918.9239 | 7479.4839 | 22.05% | 5420.754 | 15.07%
2051 | 41394.9193 | 0 | 0 | 41394.9193 | 36718.7584 | 398.3748 | 2058.7299 | 34261.6536 | 7133.2657 | 20.82% | 5074.5357 | 13.97%
2052 | 42266.9415 | 0 | 0 | 42266.9415 | 37062.2758 | 398.3748 | 2058.7299 | 34605.1711 | 7661.7704 | 22.14% | 5603.0404 | 15.28%
2053 | 42263.4744 | 0 | 0 | 42263.4744 | 37406.5908 | 398.3748 | 2058.7299 | 34949.486 | 7313.9884 | 20.93% | 5255.2584 | 14.2%
2054 | 43135.518 | 0 | 0 | 43135.518 | 37751.7131 | 398.3748 | 2058.7299 | 35294.6084 | 7840.9096 | 22.22% | 5782.1797 | 15.48%
2055 | 43132.0722 | 0 | 0 | 43132.0722 | 38097.6529 | 398.3748 | 2058.7299 | 35640.5482 | 7491.524 | 21.02% | 5432.7941 | 14.41%
2056 | 44004.137 | 0 | 0 | 44004.137 | 38444.4205 | 398.3748 | 2058.7299 | 35987.3158 | 8016.8212 | 22.28% | 5958.0913 | 15.66%
2057 | 44000.7124 | 0 | 0 | 44000.7124 | 38792.0264 | 398.3748 | 2058.7299 | 36334.9217 | 7665.7907 | 21.1% | 5607.0607 | 14.6%
2058 | 44872.7983 | 0 | 0 | 44872.7983 | 39140.4814 | 398.3748 | 2058.7299 | 36683.3767 | 8189.4216 | 22.32% | 6130.6917 | 15.82%
2059 | 44869.3947 | 0 | 0 | 44869.3947 | 39489.7963 | 398.3748 | 2058.7299 | 37032.6916 | 7836.7031 | 21.16% | 5777.9731 | 14.78%
2060 | 44866.0015 | 0 | 0 | 44866.0015 | 39839.9824 | 398.3748 | 2058.7299 | 37382.8777 | 7483.1239 | 20.02% | 5424.3939 | 13.75%
2061 | 45738.1188 | 0 | 0 | 45738.1188 | 40191.051 | 398.3748 | 2058.7299 | 37733.9463 | 8004.1726 | 21.21% | 5945.4426 | 14.94%
* FPL considers the resource plan in Scenario (f) to be an unrealistic resource plan. Please see FPL's response to Staff
Interrogatory Number 57 for a detailed explanation of why this resource plan is unrealistic.
* * Note that the "Capacity Installed" values already account for retirements.

## h. Solar -Batt in 2025
Florida Power & Light Company
Docket No. 20170225-EI
Staff's Third Set of Interrogatories
Interrogatory No. 60
Attachment No. 1
Tab 5 of 5
Scenario: h. FL4+5 out in 2018; Solar and Storage in 2025)
Year | Installed | Firm | Retirements | Total | Total | Energy | Demand | Net | Reserve |  | Reserve
| Capacity | Purchases |  | Capacity | Demand | Efficiency | Response | Demand | Margin |  | Margin
[9 empty] | With |  | Without
| ** | [7 empty] | Demand |  | Demand
[9 empty] | Response |  | Response
| (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | (%) | (MW) | (%)
2017 | 26058.4529 | 825.5 | 0 | 26883.9529 | 24008.5867 | 30.4525 | 1820.7948 | 22157.3394 | 4726.6135 | 21.33% | 2905.8187 | 12.12%
2018 | 26356.8491 | 825.5 | 0 | 27182.3491 | 24297.1561 | 55.0543 | 1851.1851 | 22390.9167 | 4791.4324 | 21.4% | 2940.2473 | 12.13%
2019 | 27011.4415 | 113.5 | -1138 | 27124.9415 | 24496.3951 | 80.4225 | 1869.1183 | 22546.8543 | 4578.0872 | 20.3% | 2708.9689 | 11.1%
2020 | 27319.9584 | 113.5 | 0 | 27433.4584 | 24605.4355 | 106.5939 | 1886.9078 | 22611.9337 | 4821.5247 | 21.32% | 2934.6169 | 11.98%
2021 | 27478.9971 | 113.5 | 0 | 27592.4971 | 24716.9829 | 133.5654 | 1904.5529 | 22678.8646 | 4913.6325 | 21.67% | 3009.0796 | 12.24%
2022 | 27725.559 | 113.5 | 0 | 27839.059 | 24966.6213 | 161.3336 | 1922.0529 | 22883.2349 | 4955.8241 | 21.66% | 3033.7713 | 12.23%
2023 | 27969.6456 | 113.5 | 0 | 28083.1456 | 25338.3096 | 189.905 | 1939.6537 | 23208.7508 | 4874.3948 | 21% | 2934.7411 | 11.67%
2024 | 28127.2582 | 204.5 | 0 | 28331.7582 | 25755.6899 | 219.4126 | 1957.1334 | 23579.1439 | 4752.6143 | 20.16% | 2795.481 | 10.95%
2025 | 28582.2983 | 169.5 | 0 | 28751.7983 | 26137.2704 | 249.2397 | 1974.4559 | 23913.5748 | 4838.2235 | 20.23% | 2863.7675 | 11.06%
2026 | 30329.53 | 113.5 | 0 | 30443.03 | 26551.8035 | 279.0667 | 1991.6219 | 24281.115 | 6161.9151 | 25.38% | 4170.2932 | 15.87%
2027 | 30325.7734 | 110 | 0 | 30435.7734 | 26956.2645 | 308.8937 | 2008.6315 | 24638.7393 | 5797.0341 | 23.53% | 3788.4026 | 14.22%
2028 | 30322.0284 | 110 | 0 | 30432.0284 | 27387.495 | 338.7207 | 2025.4853 | 25023.289 | 5408.7394 | 21.61% | 3383.2541 | 12.51%
2029 | 30318.2949 | 389 | 0 | 30707.2949 | 27915.5008 | 368.5478 | 2042.1846 | 25504.7685 | 5202.5264 | 20.4% | 3160.3418 | 11.47%
2030 | 32065.5729 | 110 | 0 | 32175.5729 | 28421.7851 | 398.3748 | 2058.7299 | 25964.6804 | 6210.8925 | 23.92% | 4152.1626 | 14.82%
2031 | 33161.8624 | 110 | 0 | 33271.8624 | 28907.2261 | 398.3748 | 2058.7299 | 26450.1214 | 6821.741 | 25.79% | 4763.011 | 16.71%
2032 | 33427.1633 | 110 | -831 | 33537.1633 | 29393.563 | 398.3748 | 2058.7299 | 26936.4583 | 6600.705 | 24.5% | 4541.9751 | 15.66%
2033 | 32774.3885 | 110 | -841 | 32884.3885 | 29860.7618 | 398.3748 | 2058.7299 | 27403.6571 | 5480.7314 | 20% | 3422.0015 | 11.61%
2034 | 33646.2122 | 0 | 0 | 33646.2122 | 30307.1116 | 398.3748 | 2058.7299 | 27850.0068 | 5796.2053 | 20.81% | 3737.4754 | 12.5%
2035 | 34518.0472 | 0 | 0 | 34518.0472 | 30760.6531 | 398.3748 | 2058.7299 | 28303.5484 | 6214.4988 | 21.96% | 4155.7688 | 13.69%
2036 | 35284.3935 | 0 | -981 | 35284.3935 | 31207.3738 | 398.3748 | 2058.7299 | 28750.2691 | 6534.1244 | 22.73% | 4475.3945 | 14.53%
2037 | 35280.7511 | 0 | 0 | 35280.7511 | 31634.1822 | 398.3748 | 2058.7299 | 29177.0775 | 6103.6736 | 20.92% | 4044.9436 | 12.95%
2038 | 36152.6199 | 0 | 0 | 36152.6199 | 32078.1228 | 398.3748 | 2058.7299 | 29621.0181 | 6531.6017 | 22.05% | 4472.8718 | 14.12%
2039 | 36148.9998 | 0 | 0 | 36148.9998 | 32519.7974 | 398.3748 | 2058.7299 | 30062.6927 | 6086.3071 | 20.25% | 4027.5772 | 12.54%
2040 | 37020.891 | 0 | 0 | 37020.891 | 32953.4096 | 398.3748 | 2058.7299 | 30496.3049 | 6524.5861 | 21.39% | 4465.8561 | 13.72%
2041 | 37017.2932 | 0 | 0 | 37017.2932 | 33292.3604 | 398.3748 | 2058.7299 | 30835.2557 | 6182.0375 | 20.05% | 4123.3076 | 12.54%
2042 | 37889.2065 | 0 | 0 | 37889.2065 | 33632.0248 | 398.3748 | 2058.7299 | 31174.9201 | 6714.2864 | 21.54% | 4655.5565 | 14.01%
2043 | 37921.1309 | 0 | -840 | 37921.1309 | 33972.4109 | 398.3748 | 2058.7299 | 31515.3062 | 6405.8247 | 20.33% | 4347.0948 | 12.95%
2044 | 38793.0663 | 0 | 0 | 38793.0663 | 34313.5269 | 398.3748 | 2058.7299 | 31856.4221 | 6936.6441 | 21.77% | 4877.9142 | 14.38%
2045 | 38789.5126 | 0 | 0 | 38789.5126 | 34655.381 | 398.3748 | 2058.7299 | 32198.2763 | 6591.2363 | 20.47% | 4532.5064 | 13.23%
2046 | 39661.4699 | 0 | 0 | 39661.4699 | 34997.9819 | 398.3748 | 2058.7299 | 32540.8771 | 7120.5928 | 21.88% | 5061.8628 | 14.63%
2047 | 39657.9381 | 0 | 0 | 39657.9381 | 35341.3381 | 398.3748 | 2058.7299 | 32884.2334 | 6773.7047 | 20.6% | 4714.9748 | 13.49%
2048 | 40529.9172 | 0 | 0 | 40529.9172 | 35685.4586 | 398.3748 | 2058.7299 | 33228.3539 | 7301.5633 | 21.97% | 5242.8334 | 14.86%
2049 | 40526.4071 | 0 | 0 | 40526.4071 | 36030.3524 | 398.3748 | 2058.7299 | 33573.2476 | 6953.1594 | 20.71% | 4894.4295 | 13.74%
2050 | 41398.4078 | 0 | 0 | 41398.4078 | 36376.0286 | 398.3748 | 2058.7299 | 33918.9239 | 7479.4839 | 22.05% | 5420.754 | 15.07%
2051 | 41394.9193 | 0 | 0 | 41394.9193 | 36718.7584 | 398.3748 | 2058.7299 | 34261.6536 | 7133.2657 | 20.82% | 5074.5357 | 13.97%
2052 | 42266.9415 | 0 | 0 | 42266.9415 | 37062.2758 | 398.3748 | 2058.7299 | 34605.1711 | 7661.7704 | 22.14% | 5603.0404 | 15.28%
2053 | 42263.4744 | 0 | 0 | 42263.4744 | 37406.5908 | 398.3748 | 2058.7299 | 34949.486 | 7313.9884 | 20.93% | 5255.2584 | 14.2%
2054 | 43135.518 | 0 | 0 | 43135.518 | 37751.7131 | 398.3748 | 2058.7299 | 35294.6084 | 7840.9096 | 22.22% | 5782.1797 | 15.48%
2055 | 43132.0722 | 0 | 0 | 43132.0722 | 38097.6529 | 398.3748 | 2058.7299 | 35640.5482 | 7491.524 | 21.02% | 5432.7941 | 14.41%
2056 | 44004.137 | 0 | 0 | 44004.137 | 38444.4205 | 398.3748 | 2058.7299 | 35987.3158 | 8016.8212 | 22.28% | 5958.0913 | 15.66%
2057 | 44000.7124 | 0 | 0 | 44000.7124 | 38792.0264 | 398.3748 | 2058.7299 | 36334.9217 | 7665.7907 | 21.1% | 5607.0607 | 14.6%
2058 | 44872.7983 | 0 | 0 | 44872.7983 | 39140.4814 | 398.3748 | 2058.7299 | 36683.3767 | 8189.4216 | 22.32% | 6130.6917 | 15.82%
2059 | 44869.3947 | 0 | 0 | 44869.3947 | 39489.7963 | 398.3748 | 2058.7299 | 37032.6916 | 7836.7031 | 21.16% | 5777.9731 | 14.78%
2060 | 44866.0015 | 0 | 0 | 44866.0015 | 39839.9824 | 398.3748 | 2058.7299 | 37382.8777 | 7483.1239 | 20.02% | 5424.3939 | 13.75%
2061 | 45738.1188 | 0 | 0 | 45738.1188 | 40191.051 | 398.3748 | 2058.7299 | 37733.9463 | 8004.1726 | 21.21% | 5945.4426 | 14.94%
* FPL considers the resource plan in Scenario (h) to be an unrealistic resource plan. Please see FPL's response to Staff
Interrogatory Number 57 for a detailed explanation of why this resource plan is unrealistic.
* * Note that the "Capacity Installed" values already account for retirements.