## a. Plan 1
Florida Power & Light Company
Docket No. 20170225-EI
Staff's Third Set of Interrogatories
Interrogatory No. 62
Attachment No. 1
Tab 1 of 5
Scenario: a. Plan 1 (FL4+5 in; No DBEC)
Year | Available Capacity |  |  | Transmission Capacity |  | Peak Load |  | Peak Load w/ Energy Efficiency |  | Peak Load w/ EE and Demand Response
| Inside | Outside |  | Region | Region | Inside | Outside | Inside | Outside | Inside | Outside
| Region | Region | Total | Imports | Exports * | Region | Region | Region | Region | Region | Region
2017 | 6163.6 | 20720.3529 | 26883.9529 | 5800 | N/A | 9947.8661 | 14060.7206 | 9934.467 | 14043.6672 | 9133.3173 | 13024.0222
2018 | 6124.6 | 21057.7491 | 27182.3491 | 6400 | N/A | 10038.3587 | 14258.7974 | 10014.1349 | 14227.967 | 9199.6134 | 13191.3033
2019 | 6164.6 | 21844.3415 | 28008.9415 | 7600 | N/A | 10092.5694 | 14403.8257 | 10057.1835 | 14358.7891 | 9234.7715 | 13312.0828
2020 | 6164.6 | 22152.8584 | 28317.4584 | 7600 | N/A | 10110.9311 | 14494.5043 | 10064.0298 | 14434.8117 | 9233.7904 | 13378.1434
2021 | 6164.6 | 22311.8971 | 28476.4971 | 7600 | N/A | 10217.5728 | 14499.4101 | 10158.804 | 14424.6134 | 9320.8008 | 13358.0638
2022 | 6164.6 | 22558.459 | 28723.059 | 7600 | N/A | 10297.8744 | 14668.7469 | 10226.8877 | 14578.4001 | 9381.1844 | 13502.0505
2023 | 6164.6 | 22802.5456 | 28967.1456 | 7600 | N/A | 10431.3285 | 14906.9811 | 10347.7703 | 14800.6342 | 9494.3226 | 13714.4282
2024 | 6164.6 | 22960.1582 | 29124.7582 | 7600 | N/A | 10584.5815 | 15171.1083 | 10488.0399 | 15048.2373 | 9626.9013 | 13952.2426
2025 | 6164.6 | 22956.3783 | 29120.9783 | 7600 | N/A | 10722.7673 | 15414.5031 | 10613.1019 | 15274.9289 | 9744.3412 | 14169.2336
2026 | 6164.6 | 23042.61 | 29207.21 | 7600 | N/A | 10875.1255 | 15676.6781 | 10752.3361 | 15520.4007 | 9876.0225 | 14405.0925
2027 | 6164.6 | 24696.3534 | 30860.9534 | 7600 | N/A | 11023.1058 | 15933.1587 | 10887.1926 | 15760.1782 | 10003.3947 | 14635.3446
2028 | 6164.6 | 24692.6084 | 30857.2084 | 7600 | N/A | 11182.701 | 16204.7941 | 11033.6638 | 16015.1104 | 10142.4503 | 14880.8387
2029 | 6164.6 | 24688.8749 | 30853.4749 | 7600 | N/A | 11383.7331 | 16531.7677 | 11221.5721 | 16325.381 | 10323.0109 | 15181.7576
2030 | 6164.6 | 25100.1529 | 31264.7529 | 7600 | N/A | 11575.3284 | 16846.4567 | 11400.0435 | 16623.3668 | 10494.2024 | 15470.478
2031 | 6164.6 | 25781.4424 | 31946.0424 | 7600 | N/A | 11753.7709 | 17153.4552 | 11578.486 | 16930.3654 | 10672.6448 | 15777.4766
2032 | 5333.6 | 26999.7433 | 32333.3433 | 7600 | N/A | 11932.5141 | 17461.0489 | 11757.2292 | 17237.959 | 10851.388 | 16085.0702
2033 | 4492.6 | 28391.7885 | 32884.3885 | 7600 | N/A | 12103.4336 | 17757.3282 | 11928.1487 | 17534.2383 | 11022.3075 | 16381.3496
2034 | 4492.6 | 29153.6122 | 33646.2122 | 7600 | N/A | 12266.178 | 18040.9335 | 12090.8931 | 17817.8437 | 11185.052 | 16664.9549
2035 | 4492.6 | 30025.4472 | 34518.0472 | 7600 | N/A | 12431.8098 | 18328.8433 | 12256.5249 | 18105.7535 | 11350.6837 | 16952.8647
2036 | 4492.6 | 30791.7935 | 35284.3935 | 7600 | N/A | 12616.7249 | 18590.6489 | 12441.44 | 18367.5591 | 11535.5988 | 17214.6703
2037 | 4492.6 | 30788.1511 | 35280.7511 | 7600 | N/A | 12793.3264 | 18840.8558 | 12618.0415 | 18617.7659 | 11712.2003 | 17464.8772
2038 | 4492.6 | 31660.0199 | 36152.6199 | 7600 | N/A | 12977.0707 | 19101.0522 | 12801.7858 | 18877.9623 | 11895.9446 | 17725.0735
2039 | 4492.6 | 31656.3998 | 36148.9998 | 7600 | N/A | 13159.864 | 19359.9335 | 12984.579 | 19136.8436 | 12078.7379 | 17983.9548
2040 | 4492.6 | 32528.291 | 37020.891 | 7600 | N/A | 13339.2878 | 19614.1218 | 13164.0029 | 19391.0319 | 12258.1618 | 18238.1431
2041 | 4492.6 | 32524.6932 | 37017.2932 | 7600 | N/A | 13479.2104 | 19813.15 | 13303.9254 | 19590.0602 | 12398.0843 | 18437.1714
2042 | 4492.6 | 33396.6065 | 37889.2065 | 7600 | N/A | 13619.4251 | 20012.5997 | 13444.1402 | 19789.5098 | 12538.299 | 18636.6211
2043 | 4492.6 | 33428.5309 | 37921.1309 | 7600 | N/A | 13759.9354 | 20212.4755 | 13584.6505 | 19989.3856 | 12678.8094 | 18836.4968
2044 | 4492.6 | 34300.4663 | 38793.0663 | 7600 | N/A | 13900.7447 | 20412.7821 | 13725.4598 | 20189.6922 | 12819.6187 | 19036.8035
2045 | 4492.6 | 34296.9126 | 38789.5126 | 7600 | N/A | 14041.8565 | 20613.5245 | 13866.5716 | 20390.4347 | 12960.7304 | 19237.5459
2046 | 4492.6 | 35168.8699 | 39661.4699 | 7600 | N/A | 14183.2742 | 20814.7077 | 14007.9893 | 20591.6178 | 13102.1481 | 19438.729
2047 | 4492.6 | 35165.3381 | 39657.9381 | 7600 | N/A | 14325.0014 | 21016.3367 | 14149.7165 | 20793.2468 | 13243.8754 | 19640.358
2048 | 4492.6 | 36037.3172 | 40529.9172 | 7600 | N/A | 14467.042 | 21218.4167 | 14291.757 | 20995.3268 | 13385.9159 | 19842.438
2049 | 4492.6 | 36033.8071 | 40526.4071 | 7600 | N/A | 14609.3994 | 21420.9529 | 14434.1145 | 21197.8631 | 13528.2734 | 20044.9743
2050 | 4492.6 | 36905.8078 | 41398.4078 | 7600 | N/A | 14752.0777 | 21623.9509 | 14576.7928 | 21400.861 | 13670.9517 | 20247.9722
2051 | 4492.6 | 36902.3193 | 41394.9193 | 7600 | N/A | 14895.0807 | 21823.6776 | 14719.7958 | 21600.5877 | 13813.9547 | 20447.699
2052 | 4492.6 | 37774.3415 | 42266.9415 | 7600 | N/A | 15038.4124 | 22023.8634 | 14863.1275 | 21800.7735 | 13957.2863 | 20647.8848
2053 | 4492.6 | 37770.8744 | 42263.4744 | 7600 | N/A | 15182.0768 | 22224.514 | 15006.7919 | 22001.4241 | 14100.9507 | 20848.5353
2054 | 4492.6 | 38642.918 | 43135.518 | 7600 | N/A | 15326.0781 | 22425.635 | 15150.7932 | 22202.5451 | 14244.952 | 21049.6564
2055 | 4492.6 | 38639.4722 | 43132.0722 | 7600 | N/A | 15470.4205 | 22627.2325 | 15295.1355 | 22404.1426 | 14389.2944 | 21251.2538
2056 | 4492.6 | 39511.537 | 44004.137 | 7600 | N/A | 15615.1082 | 22829.3123 | 15439.8233 | 22606.2224 | 14533.9821 | 21453.3337
2057 | 4492.6 | 39508.1124 | 44000.7124 | 7600 | N/A | 15760.1457 | 23031.8807 | 15584.8608 | 22808.7908 | 14679.0196 | 21655.9021
2058 | 4492.6 | 40380.1983 | 44872.7983 | 7600 | N/A | 15905.5375 | 23234.9439 | 15730.2526 | 23011.854 | 14824.4114 | 21858.9652
2059 | 4492.6 | 40376.7947 | 44869.3947 | 7600 | N/A | 16051.2881 | 23438.5082 | 15876.0032 | 23215.4184 | 14970.162 | 22062.5296
2060 | 4492.6 | 40373.4015 | 44866.0015 | 7600 | N/A | 16197.4021 | 23642.5803 | 16022.1172 | 23419.4904 | 15116.2761 | 22266.6016
2061 | 4492.6 | 41245.5188 | 45738.1188 | 7600 | N/A | 16343.8844 | 23847.1666 | 16168.5995 | 23624.0767 | 15262.7583 | 22471.1879
* The Southeastern Florida region does not export power in any credible scenario.

## b. Plan 2
Florida Power & Light Company
Docket No. 20170225-EI
Staff's Third Set of Interrogatories
Interrogatory No. 62
Attachment No. 1
Tab 2 of 5
Scenario: b. Plan 2 (FL4+5 out in 2018; DBEC in 2022)
Year | Available Capacity |  |  | Transmission Capacity |  | Peak Load |  | Peak Load w/ Energy Efficiency |  | Peak Load w/ EE and Demand Response
| Inside | Outside |  | Region | Region | Inside | Outside | Inside | Outside | Inside | Outside
| Region | Region | Total | Imports | Exports * | Region | Region | Region | Region | Region | Region
2017 | 6163.6 | 20720.3529 | 26883.9529 | 5800 | N/A | 9947.8661 | 14060.7206 | 9934.467 | 14043.6672 | 9133.3173 | 13024.0222
2018 | 6124.6 | 21057.7491 | 27182.3491 | 6400 | N/A | 10038.3587 | 14258.7974 | 10014.1349 | 14227.967 | 9199.6134 | 13191.3033
2019 | 5280.6 | 21844.3415 | 27124.9415 | 7200 | N/A | 10092.5694 | 14403.8257 | 10057.1835 | 14358.7891 | 9234.7715 | 13312.0828
2020 | 5280.6 | 22152.8584 | 27433.4584 | 7200 | N/A | 10110.9311 | 14494.5043 | 10064.0298 | 14434.8117 | 9233.7904 | 13378.1434
2021 | 5280.6 | 22311.8971 | 27592.4971 | 7200 | N/A | 10217.5728 | 14499.4101 | 10158.804 | 14424.6134 | 9320.8008 | 13358.0638
2022 | 6443.6 | 22558.459 | 29002.059 | 7600 | N/A | 10297.8744 | 14668.7469 | 10226.8877 | 14578.4001 | 9381.1844 | 13502.0505
2023 | 6443.6 | 22802.5456 | 29246.1456 | 7600 | N/A | 10431.3285 | 14906.9811 | 10347.7703 | 14800.6342 | 9494.3226 | 13714.4282
2024 | 6443.6 | 22960.1582 | 29403.7582 | 7600 | N/A | 10584.5815 | 15171.1083 | 10488.0399 | 15048.2373 | 9626.9013 | 13952.2426
2025 | 6443.6 | 22956.3783 | 29399.9783 | 7600 | N/A | 10722.7673 | 15414.5031 | 10613.1019 | 15274.9289 | 9744.3412 | 14169.2336
2026 | 6443.6 | 22952.61 | 29396.21 | 7600 | N/A | 10875.1255 | 15676.6781 | 10752.3361 | 15520.4007 | 9876.0225 | 14405.0925
2027 | 6443.6 | 23208.3534 | 29651.9534 | 7600 | N/A | 11023.1058 | 15933.1587 | 10887.1926 | 15760.1782 | 10003.3947 | 14635.3446
2028 | 6443.6 | 24692.6084 | 31136.2084 | 7600 | N/A | 11182.701 | 16204.7941 | 11033.6638 | 16015.1104 | 10142.4503 | 14880.8387
2029 | 6443.6 | 24688.8749 | 31132.4749 | 7600 | N/A | 11383.7331 | 16531.7677 | 11221.5721 | 16325.381 | 10323.0109 | 15181.7576
2030 | 6443.6 | 24821.1529 | 31264.7529 | 7600 | N/A | 11575.3284 | 16846.4567 | 11400.0435 | 16623.3668 | 10494.2024 | 15470.478
2031 | 6443.6 | 25781.4424 | 32225.0424 | 7600 | N/A | 11753.7709 | 17153.4552 | 11578.486 | 16930.3654 | 10672.6448 | 15777.4766
2032 | 5612.6 | 26877.7433 | 32490.3433 | 7600 | N/A | 11932.5141 | 17461.0489 | 11757.2292 | 17237.959 | 10851.388 | 16085.0702
2033 | 4771.6 | 28112.7885 | 32884.3885 | 7600 | N/A | 12103.4336 | 17757.3282 | 11928.1487 | 17534.2383 | 11022.3075 | 16381.3496
2034 | 4771.6 | 28874.6122 | 33646.2122 | 7600 | N/A | 12266.178 | 18040.9335 | 12090.8931 | 17817.8437 | 11185.052 | 16664.9549
2035 | 4771.6 | 29746.4472 | 34518.0472 | 7600 | N/A | 12431.8098 | 18328.8433 | 12256.5249 | 18105.7535 | 11350.6837 | 16952.8647
2036 | 4771.6 | 30512.7935 | 35284.3935 | 7600 | N/A | 12616.7249 | 18590.6489 | 12441.44 | 18367.5591 | 11535.5988 | 17214.6703
2037 | 4771.6 | 30509.1511 | 35280.7511 | 7600 | N/A | 12793.3264 | 18840.8558 | 12618.0415 | 18617.7659 | 11712.2003 | 17464.8772
2038 | 4771.6 | 31381.0199 | 36152.6199 | 7600 | N/A | 12977.0707 | 19101.0522 | 12801.7858 | 18877.9623 | 11895.9446 | 17725.0735
2039 | 4771.6 | 31377.3998 | 36148.9998 | 7600 | N/A | 13159.864 | 19359.9335 | 12984.579 | 19136.8436 | 12078.7379 | 17983.9548
2040 | 4771.6 | 32249.291 | 37020.891 | 7600 | N/A | 13339.2878 | 19614.1218 | 13164.0029 | 19391.0319 | 12258.1618 | 18238.1431
2041 | 4771.6 | 32245.6932 | 37017.2932 | 7600 | N/A | 13479.2104 | 19813.15 | 13303.9254 | 19590.0602 | 12398.0843 | 18437.1714
2042 | 4771.6 | 33117.6065 | 37889.2065 | 7600 | N/A | 13619.4251 | 20012.5997 | 13444.1402 | 19789.5098 | 12538.299 | 18636.6211
2043 | 4771.6 | 33149.5309 | 37921.1309 | 7600 | N/A | 13759.9354 | 20212.4755 | 13584.6505 | 19989.3856 | 12678.8094 | 18836.4968
2044 | 4771.6 | 34021.4663 | 38793.0663 | 7600 | N/A | 13900.7447 | 20412.7821 | 13725.4598 | 20189.6922 | 12819.6187 | 19036.8035
2045 | 4771.6 | 34017.9126 | 38789.5126 | 7600 | N/A | 14041.8565 | 20613.5245 | 13866.5716 | 20390.4347 | 12960.7304 | 19237.5459
2046 | 4771.6 | 34889.8699 | 39661.4699 | 7600 | N/A | 14183.2742 | 20814.7077 | 14007.9893 | 20591.6178 | 13102.1481 | 19438.729
2047 | 4771.6 | 34886.3381 | 39657.9381 | 7600 | N/A | 14325.0014 | 21016.3367 | 14149.7165 | 20793.2468 | 13243.8754 | 19640.358
2048 | 4771.6 | 35758.3172 | 40529.9172 | 7600 | N/A | 14467.042 | 21218.4167 | 14291.757 | 20995.3268 | 13385.9159 | 19842.438
2049 | 4771.6 | 35754.8071 | 40526.4071 | 7600 | N/A | 14609.3994 | 21420.9529 | 14434.1145 | 21197.8631 | 13528.2734 | 20044.9743
2050 | 4771.6 | 36626.8078 | 41398.4078 | 7600 | N/A | 14752.0777 | 21623.9509 | 14576.7928 | 21400.861 | 13670.9517 | 20247.9722
2051 | 4771.6 | 36623.3193 | 41394.9193 | 7600 | N/A | 14895.0807 | 21823.6776 | 14719.7958 | 21600.5877 | 13813.9547 | 20447.699
2052 | 4771.6 | 37495.3415 | 42266.9415 | 7600 | N/A | 15038.4124 | 22023.8634 | 14863.1275 | 21800.7735 | 13957.2863 | 20647.8848
2053 | 4771.6 | 37491.8744 | 42263.4744 | 7600 | N/A | 15182.0768 | 22224.514 | 15006.7919 | 22001.4241 | 14100.9507 | 20848.5353
2054 | 4771.6 | 38363.918 | 43135.518 | 7600 | N/A | 15326.0781 | 22425.635 | 15150.7932 | 22202.5451 | 14244.952 | 21049.6564
2055 | 4771.6 | 38360.4722 | 43132.0722 | 7600 | N/A | 15470.4205 | 22627.2325 | 15295.1355 | 22404.1426 | 14389.2944 | 21251.2538
2056 | 4771.6 | 39232.537 | 44004.137 | 7600 | N/A | 15615.1082 | 22829.3123 | 15439.8233 | 22606.2224 | 14533.9821 | 21453.3337
2057 | 4771.6 | 39229.1124 | 44000.7124 | 7600 | N/A | 15760.1457 | 23031.8807 | 15584.8608 | 22808.7908 | 14679.0196 | 21655.9021
2058 | 4771.6 | 40101.1983 | 44872.7983 | 7600 | N/A | 15905.5375 | 23234.9439 | 15730.2526 | 23011.854 | 14824.4114 | 21858.9652
2059 | 4771.6 | 40097.7947 | 44869.3947 | 7600 | N/A | 16051.2881 | 23438.5082 | 15876.0032 | 23215.4184 | 14970.162 | 22062.5296
2060 | 4771.6 | 40094.4015 | 44866.0015 | 7600 | N/A | 16197.4021 | 23642.5803 | 16022.1172 | 23419.4904 | 15116.2761 | 22266.6016
2061 | 4771.6 | 40966.5188 | 45738.1188 | 7600 | N/A | 16343.8844 | 23847.1666 | 16168.5995 | 23624.0767 | 15262.7583 | 22471.1879
* The Southeastern Florida region does not export power in any credible scenario.

## c. Plan 3
Florida Power & Light Company
Docket No. 20170225-EI
Staff's Third Set of Interrogatories
Interrogatory No. 62
Attachment No. 1
Tab 3 of 5
Scenario:c. Plan 3 (FL4+5 out in 2018; No DBEC; Solar and Storage by 2022)
Year | Available Capacity |  |  | Transmission Capacity |  | Peak Load |  | Peak Load w/ Energy Efficiency |  | Peak Load w/ EE and Demand Response
| Inside | Outside |  | Region | Region | Inside | Outside | Inside | Outside | Inside | Outside
| Region | Region | Total | Imports | Exports * | Region | Region | Region | Region | Region | Region
2017 | 6163.6 | 20720.3529 | 26883.9529 | 5800 | N/A | 9947.8661 | 14060.7206 | 9934.467 | 14043.6672 | 9133.3173 | 13024.0222
2018 | 6277.1 | 21057.7491 | 27334.8491 | 6400 | N/A | 10038.3587 | 14258.7974 | 10014.1349 | 14227.967 | 9199.6134 | 13191.3033
2019 | 5685.6 | 21844.3415 | 27529.9415 | 7200 | N/A | 10092.5694 | 14403.8257 | 10057.1835 | 14358.7891 | 9234.7715 | 13312.0828
2020 | 5929.35 | 22152.8584 | 28082.2084 | 7200 | N/A | 10110.9311 | 14494.5043 | 10064.0298 | 14434.8117 | 9233.7904 | 13378.1434
2021 | 6164.35 | 22311.8971 | 28476.2471 | 7200 | N/A | 10217.5728 | 14499.4101 | 10158.804 | 14424.6134 | 9320.8008 | 13358.0638
2022 | 6447.5 | 22558.459 | 29005.959 | 7200 | N/A | 10297.8744 | 14668.7469 | 10226.8877 | 14578.4001 | 9381.1844 | 13502.0505
2023 | 6447.5 | 22802.5456 | 29250.0456 | 7200 | N/A | 10431.3285 | 14906.9811 | 10347.7703 | 14800.6342 | 9494.3226 | 13714.4282
2024 | 6447.5 | 22960.1582 | 29407.6582 | 7200 | N/A | 10584.5815 | 15171.1083 | 10488.0399 | 15048.2373 | 9626.9013 | 13952.2426
2025 | 6447.5 | 22956.3783 | 29403.8783 | 7200 | N/A | 10722.7673 | 15414.5031 | 10613.1019 | 15274.9289 | 9744.3412 | 14169.2336
2026 | 6447.5 | 22952.61 | 29400.11 | 7200 | N/A | 10875.1255 | 15676.6781 | 10752.3361 | 15520.4007 | 9876.0225 | 14405.0925
2027 | 6447.5 | 23205.3534 | 29652.8534 | 7200 | N/A | 11023.1058 | 15933.1587 | 10887.1926 | 15760.1782 | 10003.3947 | 14635.3446
2028 | 6447.5 | 24692.6084 | 31140.1084 | 7200 | N/A | 11182.701 | 16204.7941 | 11033.6638 | 16015.1104 | 10142.4503 | 14880.8387
2029 | 6447.5 | 24688.8749 | 31136.3749 | 7200 | N/A | 11383.7331 | 16531.7677 | 11221.5721 | 16325.381 | 10323.0109 | 15181.7576
2030 | 6447.5 | 24817.1529 | 31264.6529 | 7200 | N/A | 11575.3284 | 16846.4567 | 11400.0435 | 16623.3668 | 10494.2024 | 15470.478
2031 | 6447.5 | 25781.4424 | 32228.9424 | 7200 | N/A | 11753.7709 | 17153.4552 | 11578.486 | 16930.3654 | 10672.6448 | 15777.4766
2032 | 5616.5 | 26877.7433 | 32494.2433 | 7200 | N/A | 11932.5141 | 17461.0489 | 11757.2292 | 17237.959 | 10851.388 | 16085.0702
2033 | 4775.5 | 28108.8885 | 32884.3885 | 7200 | N/A | 12103.4336 | 17757.3282 | 11928.1487 | 17534.2383 | 11022.3075 | 16381.3496
2034 | 4775.5 | 28870.7122 | 33646.2122 | 7200 | N/A | 12266.178 | 18040.9335 | 12090.8931 | 17817.8437 | 11185.052 | 16664.9549
2035 | 4775.5 | 29742.5472 | 34518.0472 | 7200 | N/A | 12431.8098 | 18328.8433 | 12256.5249 | 18105.7535 | 11350.6837 | 16952.8647
2036 | 4775.5 | 30508.8935 | 35284.3935 | 7200 | N/A | 12616.7249 | 18590.6489 | 12441.44 | 18367.5591 | 11535.5988 | 17214.6703
2037 | 4775.5 | 30505.2511 | 35280.7511 | 7200 | N/A | 12793.3264 | 18840.8558 | 12618.0415 | 18617.7659 | 11712.2003 | 17464.8772
2038 | 4775.5 | 31377.1199 | 36152.6199 | 7200 | N/A | 12977.0707 | 19101.0522 | 12801.7858 | 18877.9623 | 11895.9446 | 17725.0735
2039 | 4775.5 | 31373.4998 | 36148.9998 | 7200 | N/A | 13159.864 | 19359.9335 | 12984.579 | 19136.8436 | 12078.7379 | 17983.9548
2040 | 4775.5 | 32245.391 | 37020.891 | 7200 | N/A | 13339.2878 | 19614.1218 | 13164.0029 | 19391.0319 | 12258.1618 | 18238.1431
2041 | 4775.5 | 32241.7932 | 37017.2932 | 7200 | N/A | 13479.2104 | 19813.15 | 13303.9254 | 19590.0602 | 12398.0843 | 18437.1714
2042 | 4775.5 | 33113.7065 | 37889.2065 | 7200 | N/A | 13619.4251 | 20012.5997 | 13444.1402 | 19789.5098 | 12538.299 | 18636.6211
2043 | 4775.5 | 33145.6309 | 37921.1309 | 7200 | N/A | 13759.9354 | 20212.4755 | 13584.6505 | 19989.3856 | 12678.8094 | 18836.4968
2044 | 4775.5 | 34017.5663 | 38793.0663 | 7200 | N/A | 13900.7447 | 20412.7821 | 13725.4598 | 20189.6922 | 12819.6187 | 19036.8035
2045 | 4775.5 | 34014.0126 | 38789.5126 | 7200 | N/A | 14041.8565 | 20613.5245 | 13866.5716 | 20390.4347 | 12960.7304 | 19237.5459
2046 | 4775.5 | 34885.9699 | 39661.4699 | 7200 | N/A | 14183.2742 | 20814.7077 | 14007.9893 | 20591.6178 | 13102.1481 | 19438.729
2047 | 4775.5 | 34882.4381 | 39657.9381 | 7200 | N/A | 14325.0014 | 21016.3367 | 14149.7165 | 20793.2468 | 13243.8754 | 19640.358
2048 | 4775.5 | 35754.4172 | 40529.9172 | 7200 | N/A | 14467.042 | 21218.4167 | 14291.757 | 20995.3268 | 13385.9159 | 19842.438
2049 | 4775.5 | 35750.9071 | 40526.4071 | 7200 | N/A | 14609.3994 | 21420.9529 | 14434.1145 | 21197.8631 | 13528.2734 | 20044.9743
2050 | 4775.5 | 36622.9078 | 41398.4078 | 7200 | N/A | 14752.0777 | 21623.9509 | 14576.7928 | 21400.861 | 13670.9517 | 20247.9722
2051 | 4775.5 | 36619.4193 | 41394.9193 | 7200 | N/A | 14895.0807 | 21823.6776 | 14719.7958 | 21600.5877 | 13813.9547 | 20447.699
2052 | 4775.5 | 37491.4415 | 42266.9415 | 7200 | N/A | 15038.4124 | 22023.8634 | 14863.1275 | 21800.7735 | 13957.2863 | 20647.8848
2053 | 4775.5 | 37487.9744 | 42263.4744 | 7200 | N/A | 15182.0768 | 22224.514 | 15006.7919 | 22001.4241 | 14100.9507 | 20848.5353
2054 | 4775.5 | 38360.018 | 43135.518 | 7200 | N/A | 15326.0781 | 22425.635 | 15150.7932 | 22202.5451 | 14244.952 | 21049.6564
2055 | 4775.5 | 38356.5722 | 43132.0722 | 7200 | N/A | 15470.4205 | 22627.2325 | 15295.1355 | 22404.1426 | 14389.2944 | 21251.2538
2056 | 4775.5 | 39228.637 | 44004.137 | 7200 | N/A | 15615.1082 | 22829.3123 | 15439.8233 | 22606.2224 | 14533.9821 | 21453.3337
2057 | 4775.5 | 39225.2124 | 44000.7124 | 7200 | N/A | 15760.1457 | 23031.8807 | 15584.8608 | 22808.7908 | 14679.0196 | 21655.9021
2058 | 4775.5 | 40097.2983 | 44872.7983 | 7200 | N/A | 15905.5375 | 23234.9439 | 15730.2526 | 23011.854 | 14824.4114 | 21858.9652
2059 | 4775.5 | 40093.8947 | 44869.3947 | 7200 | N/A | 16051.2881 | 23438.5082 | 15876.0032 | 23215.4184 | 14970.162 | 22062.5296
2060 | 4775.5 | 40090.5015 | 44866.0015 | 7200 | N/A | 16197.4021 | 23642.5803 | 16022.1172 | 23419.4904 | 15116.2761 | 22266.6016
2061 | 4775.5 | 40962.6188 | 45738.1188 | 7200 | N/A | 16343.8844 | 23847.1666 | 16168.5995 | 23624.0767 | 15262.7583 | 22471.1879
* The Southeastern Florida region does not export power in any credible scenario.

## f. 2 Year Delay scenario
Florida Power & Light Company
Docket No. 20170225-EI
Staff's Third Set of Interrogatories
Interrogatory No. 62
Attachment No. 1
Tab 4 of 5
Scenario: f. FL4+5 out in 2018; DBEC in 2024 *
Year | Available Capacity |  |  | Transmission Capacity |  | Peak Load |  | Peak Load w/ Energy Efficiency |  | Peak Load w/ EE and Demand Response
| Inside | Outside |  | Region | Region | Inside | Outside | Inside | Outside | Inside | Outside
| Region | Region | Total | Imports | Exports ** | Region | Region | Region | Region | Region | Region
2017 | 6163.6 | 20720.3529 | 26883.9529 | 5800 | N/A | 9947.8661 | 14060.7206 | 9934.467 | 14043.6672 | 9133.3173 | 13024.0222
2018 | 6124.6 | 21057.7491 | 27182.3491 | 6400 | N/A | 10038.3587 | 14258.7974 | 10014.1349 | 14227.967 | 9199.6134 | 13191.3033
2019 | 5280.6 | 21844.3415 | 27124.9415 | 7200 | N/A | 10092.5694 | 14403.8257 | 10057.1835 | 14358.7891 | 9234.7715 | 13312.0828
2020 | 5280.6 | 22152.8584 | 27433.4584 | 7200 | N/A | 10110.9311 | 14494.5043 | 10064.0298 | 14434.8117 | 9233.7904 | 13378.1434
2021 | 5280.6 | 22311.8971 | 27592.4971 | 7200 | N/A | 10217.5728 | 14499.4101 | 10158.804 | 14424.6134 | 9320.8008 | 13358.0638
2022 | 5280.6 | 22558.459 | 27839.059 | 7200 | N/A | 10297.8744 | 14668.7469 | 10226.8877 | 14578.4001 | 9381.1844 | 13502.0505
2023 | 5280.6 | 22802.5456 | 28083.1456 | 7200 | N/A | 10431.3285 | 14906.9811 | 10347.7703 | 14800.6342 | 9494.3226 | 13714.4282
2024 | 6443.6 | 22960.1582 | 29403.7582 | 7600 | N/A | 10584.5815 | 15171.1083 | 10488.0399 | 15048.2373 | 9626.9013 | 13952.2426
2025 | 6443.6 | 22956.3783 | 29399.9783 | 7600 | N/A | 10722.7673 | 15414.5031 | 10613.1019 | 15274.9289 | 9744.3412 | 14169.2336
2026 | 6443.6 | 22952.61 | 29396.21 | 7600 | N/A | 10875.1255 | 15676.6781 | 10752.3361 | 15520.4007 | 9876.0225 | 14405.0925
2027 | 6443.6 | 23208.3534 | 29651.9534 | 7600 | N/A | 11023.1058 | 15933.1587 | 10887.1926 | 15760.1782 | 10003.3947 | 14635.3446
2028 | 6443.6 | 24692.6084 | 31136.2084 | 7600 | N/A | 11182.701 | 16204.7941 | 11033.6638 | 16015.1104 | 10142.4503 | 14880.8387
2029 | 6443.6 | 24688.8749 | 31132.4749 | 7600 | N/A | 11383.7331 | 16531.7677 | 11221.5721 | 16325.381 | 10323.0109 | 15181.7576
2030 | 6443.6 | 24821.1529 | 31264.7529 | 7600 | N/A | 11575.3284 | 16846.4567 | 11400.0435 | 16623.3668 | 10494.2024 | 15470.478
2031 | 6443.6 | 25781.4424 | 32225.0424 | 7600 | N/A | 11753.7709 | 17153.4552 | 11578.486 | 16930.3654 | 10672.6448 | 15777.4766
2032 | 5612.6 | 26877.7433 | 32490.3433 | 7600 | N/A | 11932.5141 | 17461.0489 | 11757.2292 | 17237.959 | 10851.388 | 16085.0702
2033 | 4771.6 | 28112.7885 | 32884.3885 | 7600 | N/A | 12103.4336 | 17757.3282 | 11928.1487 | 17534.2383 | 11022.3075 | 16381.3496
2034 | 4771.6 | 28874.6122 | 33646.2122 | 7600 | N/A | 12266.178 | 18040.9335 | 12090.8931 | 17817.8437 | 11185.052 | 16664.9549
2035 | 4771.6 | 29746.4472 | 34518.0472 | 7600 | N/A | 12431.8098 | 18328.8433 | 12256.5249 | 18105.7535 | 11350.6837 | 16952.8647
2036 | 4771.6 | 30512.7935 | 35284.3935 | 7600 | N/A | 12616.7249 | 18590.6489 | 12441.44 | 18367.5591 | 11535.5988 | 17214.6703
2037 | 4771.6 | 30509.1511 | 35280.7511 | 7600 | N/A | 12793.3264 | 18840.8558 | 12618.0415 | 18617.7659 | 11712.2003 | 17464.8772
2038 | 4771.6 | 31381.0199 | 36152.6199 | 7600 | N/A | 12977.0707 | 19101.0522 | 12801.7858 | 18877.9623 | 11895.9446 | 17725.0735
2039 | 4771.6 | 31377.3998 | 36148.9998 | 7600 | N/A | 13159.864 | 19359.9335 | 12984.579 | 19136.8436 | 12078.7379 | 17983.9548
2040 | 4771.6 | 32249.291 | 37020.891 | 7600 | N/A | 13339.2878 | 19614.1218 | 13164.0029 | 19391.0319 | 12258.1618 | 18238.1431
2041 | 4771.6 | 32245.6932 | 37017.2932 | 7600 | N/A | 13479.2104 | 19813.15 | 13303.9254 | 19590.0602 | 12398.0843 | 18437.1714
2042 | 4771.6 | 33117.6065 | 37889.2065 | 7600 | N/A | 13619.4251 | 20012.5997 | 13444.1402 | 19789.5098 | 12538.299 | 18636.6211
2043 | 4771.6 | 33149.5309 | 37921.1309 | 7600 | N/A | 13759.9354 | 20212.4755 | 13584.6505 | 19989.3856 | 12678.8094 | 18836.4968
2044 | 4771.6 | 34021.4663 | 38793.0663 | 7600 | N/A | 13900.7447 | 20412.7821 | 13725.4598 | 20189.6922 | 12819.6187 | 19036.8035
2045 | 4771.6 | 34017.9126 | 38789.5126 | 7600 | N/A | 14041.8565 | 20613.5245 | 13866.5716 | 20390.4347 | 12960.7304 | 19237.5459
2046 | 4771.6 | 34889.8699 | 39661.4699 | 7600 | N/A | 14183.2742 | 20814.7077 | 14007.9893 | 20591.6178 | 13102.1481 | 19438.729
2047 | 4771.6 | 34886.3381 | 39657.9381 | 7600 | N/A | 14325.0014 | 21016.3367 | 14149.7165 | 20793.2468 | 13243.8754 | 19640.358
2048 | 4771.6 | 35758.3172 | 40529.9172 | 7600 | N/A | 14467.042 | 21218.4167 | 14291.757 | 20995.3268 | 13385.9159 | 19842.438
2049 | 4771.6 | 35754.8071 | 40526.4071 | 7600 | N/A | 14609.3994 | 21420.9529 | 14434.1145 | 21197.8631 | 13528.2734 | 20044.9743
2050 | 4771.6 | 36626.8078 | 41398.4078 | 7600 | N/A | 14752.0777 | 21623.9509 | 14576.7928 | 21400.861 | 13670.9517 | 20247.9722
2051 | 4771.6 | 36623.3193 | 41394.9193 | 7600 | N/A | 14895.0807 | 21823.6776 | 14719.7958 | 21600.5877 | 13813.9547 | 20447.699
2052 | 4771.6 | 37495.3415 | 42266.9415 | 7600 | N/A | 15038.4124 | 22023.8634 | 14863.1275 | 21800.7735 | 13957.2863 | 20647.8848
2053 | 4771.6 | 37491.8744 | 42263.4744 | 7600 | N/A | 15182.0768 | 22224.514 | 15006.7919 | 22001.4241 | 14100.9507 | 20848.5353
2054 | 4771.6 | 38363.918 | 43135.518 | 7600 | N/A | 15326.0781 | 22425.635 | 15150.7932 | 22202.5451 | 14244.952 | 21049.6564
2055 | 4771.6 | 38360.4722 | 43132.0722 | 7600 | N/A | 15470.4205 | 22627.2325 | 15295.1355 | 22404.1426 | 14389.2944 | 21251.2538
2056 | 4771.6 | 39232.537 | 44004.137 | 7600 | N/A | 15615.1082 | 22829.3123 | 15439.8233 | 22606.2224 | 14533.9821 | 21453.3337
2057 | 4771.6 | 39229.1124 | 44000.7124 | 7600 | N/A | 15760.1457 | 23031.8807 | 15584.8608 | 22808.7908 | 14679.0196 | 21655.9021
2058 | 4771.6 | 40101.1983 | 44872.7983 | 7600 | N/A | 15905.5375 | 23234.9439 | 15730.2526 | 23011.854 | 14824.4114 | 21858.9652
2059 | 4771.6 | 40097.7947 | 44869.3947 | 7600 | N/A | 16051.2881 | 23438.5082 | 15876.0032 | 23215.4184 | 14970.162 | 22062.5296
2060 | 4771.6 | 40094.4015 | 44866.0015 | 7600 | N/A | 16197.4021 | 23642.5803 | 16022.1172 | 23419.4904 | 15116.2761 | 22266.6016
2061 | 4771.6 | 40966.5188 | 45738.1188 | 7600 | N/A | 16343.8844 | 23847.1666 | 16168.5995 | 23624.0767 | 15262.7583 | 22471.1879
* FPL considers the resource plan in Scenario (f) to be an unrealistic resource plan. Please see FPL's response to Staff's
Interrogatory Number 57 for a detailed explanation of why this resource plan is unrealistic.
** The Southeastern Florida region does not export power in any credible scenario.

## h. Solar - Batt in 2025
Florida Power & Light Company
Docket No. 20170225-EI
Staff's Third Set of Interrogatories
Interrogatory No. 62
Attachment No. 1
Tab 5 of 5
Scenario: h. FL4+5 out in 2018; Solar and Storage in 2025 *
Year | Available Capacity |  |  | Transmission Capacity |  | Peak Load |  | Peak Load w/ Energy Efficiency |  | Peak Load w/ EE and Demand Response
| Inside | Outside |  | Region | Region | Inside | Outside | Inside | Outside | Inside | Outside
| Region | Region | Total | Imports | Exports ** | Region | Region | Region | Region | Region | Region
2017 | 6163.6 | 20720.3529 | 26883.9529 | 5800 | N/A | 9947.8661 | 14060.7206 | 9934.467 | 14043.6672 | 9133.3173 | 13024.0222
2018 | 6124.6 | 21057.7491 | 27182.3491 | 6400 | N/A | 10038.3587 | 14258.7974 | 10014.1349 | 14227.967 | 9199.6134 | 13191.3033
2019 | 5280.6 | 21844.3415 | 27124.9415 | 7200 | N/A | 10092.5694 | 14403.8257 | 10057.1835 | 14358.7891 | 9234.7715 | 13312.0828
2020 | 5280.6 | 22152.8584 | 27433.4584 | 7200 | N/A | 10110.9311 | 14494.5043 | 10064.0298 | 14434.8117 | 9233.7904 | 13378.1434
2021 | 5280.6 | 22311.8971 | 27592.4971 | 7200 | N/A | 10217.5728 | 14499.4101 | 10158.804 | 14424.6134 | 9320.8008 | 13358.0638
2022 | 5280.6 | 22558.459 | 27839.059 | 7200 | N/A | 10297.8744 | 14668.7469 | 10226.8877 | 14578.4001 | 9381.1844 | 13502.0505
2023 | 5280.6 | 22802.5456 | 28083.1456 | 7200 | N/A | 10431.3285 | 14906.9811 | 10347.7703 | 14800.6342 | 9494.3226 | 13714.4282
2024 | 5280.6 | 23051.1582 | 28331.7582 | 7200 | N/A | 10584.5815 | 15171.1083 | 10488.0399 | 15048.2373 | 9626.9013 | 13952.2426
2025 | 5739.6 | 23012.1983 | 28751.7983 | 7200 | N/A | 10722.7673 | 15414.5031 | 10613.1019 | 15274.9289 | 9744.3412 | 14169.2336
2026 | 5739.6 | 24703.43 | 30443.03 | 7200 | N/A | 10875.1255 | 15676.6781 | 10752.3361 | 15520.4007 | 9876.0225 | 14405.0925
2027 | 5739.6 | 24696.1734 | 30435.7734 | 7200 | N/A | 11023.1058 | 15933.1587 | 10887.1926 | 15760.1782 | 10003.3947 | 14635.3446
2028 | 5739.6 | 24692.4284 | 30432.0284 | 8500*** | N/A | 11182.701 | 16204.7941 | 11033.6638 | 16015.1104 | 10142.4503 | 14880.8387
2029 | 5739.6 | 24967.6949 | 30707.2949 | 8500*** | N/A | 11383.7331 | 16531.7677 | 11221.5721 | 16325.381 | 10323.0109 | 15181.7576
2030 | 5739.6 | 26435.9729 | 32175.5729 | 8500*** | N/A | 11575.3284 | 16846.4567 | 11400.0435 | 16623.3668 | 10494.2024 | 15470.478
2031 | 5739.6 | 27532.2624 | 33271.8624 | 8500*** | N/A | 11753.7709 | 17153.4552 | 11578.486 | 16930.3654 | 10672.6448 | 15777.4766
2032 | 4908.6 | 28628.5633 | 33537.1633 | 8500*** | N/A | 11932.5141 | 17461.0489 | 11757.2292 | 17237.959 | 10851.388 | 16085.0702
2033 | 4067.6 | 28816.7885 | 32884.3885 | 8500*** | N/A | 12103.4336 | 17757.3282 | 11928.1487 | 17534.2383 | 11022.3075 | 16381.3496
2034 | 4067.6 | 29578.6122 | 33646.2122 | 8500*** | N/A | 12266.178 | 18040.9335 | 12090.8931 | 17817.8437 | 11185.052 | 16664.9549
2035 | 4067.6 | 30450.4472 | 34518.0472 | 8500*** | N/A | 12431.8098 | 18328.8433 | 12256.5249 | 18105.7535 | 11350.6837 | 16952.8647
2036 | 4067.6 | 31216.7935 | 35284.3935 | 8500*** | N/A | 12616.7249 | 18590.6489 | 12441.44 | 18367.5591 | 11535.5988 | 17214.6703
2037 | 4067.6 | 31213.1511 | 35280.7511 | 8500*** | N/A | 12793.3264 | 18840.8558 | 12618.0415 | 18617.7659 | 11712.2003 | 17464.8772
2038 | 4067.6 | 32085.0199 | 36152.6199 | 8500*** | N/A | 12977.0707 | 19101.0522 | 12801.7858 | 18877.9623 | 11895.9446 | 17725.0735
2039 | 4067.6 | 32081.3998 | 36148.9998 | 8500*** | N/A | 13159.864 | 19359.9335 | 12984.579 | 19136.8436 | 12078.7379 | 17983.9548
2040 | 4067.6 | 32953.291 | 37020.891 | 8500*** | N/A | 13339.2878 | 19614.1218 | 13164.0029 | 19391.0319 | 12258.1618 | 18238.1431
2041 | 4067.6 | 32949.6932 | 37017.2932 | 8500*** | N/A | 13479.2104 | 19813.15 | 13303.9254 | 19590.0602 | 12398.0843 | 18437.1714
2042 | 4067.6 | 33821.6065 | 37889.2065 | 8500*** | N/A | 13619.4251 | 20012.5997 | 13444.1402 | 19789.5098 | 12538.299 | 18636.6211
2043 | 4067.6 | 33853.5309 | 37921.1309 | 8500*** | N/A | 13759.9354 | 20212.4755 | 13584.6505 | 19989.3856 | 12678.8094 | 18836.4968
2044 | 4067.6 | 34725.4663 | 38793.0663 | 8500*** | N/A | 13900.7447 | 20412.7821 | 13725.4598 | 20189.6922 | 12819.6187 | 19036.8035
2045 | 4067.6 | 34721.9126 | 38789.5126 | 8500*** | N/A | 14041.8565 | 20613.5245 | 13866.5716 | 20390.4347 | 12960.7304 | 19237.5459
2046 | 4067.6 | 35593.8699 | 39661.4699 | 8500*** | N/A | 14183.2742 | 20814.7077 | 14007.9893 | 20591.6178 | 13102.1481 | 19438.729
2047 | 4067.6 | 35590.3381 | 39657.9381 | 8500*** | N/A | 14325.0014 | 21016.3367 | 14149.7165 | 20793.2468 | 13243.8754 | 19640.358
2048 | 4067.6 | 36462.3172 | 40529.9172 | 8500*** | N/A | 14467.042 | 21218.4167 | 14291.757 | 20995.3268 | 13385.9159 | 19842.438
2049 | 4067.6 | 36458.8071 | 40526.4071 | 8500*** | N/A | 14609.3994 | 21420.9529 | 14434.1145 | 21197.8631 | 13528.2734 | 20044.9743
2050 | 4067.6 | 37330.8078 | 41398.4078 | 8500*** | N/A | 14752.0777 | 21623.9509 | 14576.7928 | 21400.861 | 13670.9517 | 20247.9722
2051 | 4067.6 | 37327.3193 | 41394.9193 | 8500*** | N/A | 14895.0807 | 21823.6776 | 14719.7958 | 21600.5877 | 13813.9547 | 20447.699
2052 | 4067.6 | 38199.3415 | 42266.9415 | 8500*** | N/A | 15038.4124 | 22023.8634 | 14863.1275 | 21800.7735 | 13957.2863 | 20647.8848
2053 | 4067.6 | 38195.8744 | 42263.4744 | 8500*** | N/A | 15182.0768 | 22224.514 | 15006.7919 | 22001.4241 | 14100.9507 | 20848.5353
2054 | 4067.6 | 39067.918 | 43135.518 | 8500*** | N/A | 15326.0781 | 22425.635 | 15150.7932 | 22202.5451 | 14244.952 | 21049.6564
2055 | 4067.6 | 39064.4722 | 43132.0722 | 8500*** | N/A | 15470.4205 | 22627.2325 | 15295.1355 | 22404.1426 | 14389.2944 | 21251.2538
2056 | 4067.6 | 39936.537 | 44004.137 | 8500*** | N/A | 15615.1082 | 22829.3123 | 15439.8233 | 22606.2224 | 14533.9821 | 21453.3337
2057 | 4067.6 | 39933.1124 | 44000.7124 | 8500*** | N/A | 15760.1457 | 23031.8807 | 15584.8608 | 22808.7908 | 14679.0196 | 21655.9021
2058 | 4067.6 | 40805.1983 | 44872.7983 | 8500*** | N/A | 15905.5375 | 23234.9439 | 15730.2526 | 23011.854 | 14824.4114 | 21858.9652
2059 | 4067.6 | 40801.7947 | 44869.3947 | 8500*** | N/A | 16051.2881 | 23438.5082 | 15876.0032 | 23215.4184 | 14970.162 | 22062.5296
2060 | 4067.6 | 40798.4015 | 44866.0015 | 8500*** | N/A | 16197.4021 | 23642.5803 | 16022.1172 | 23419.4904 | 15116.2761 | 22266.6016
2061 | 4067.6 | 41670.5188 | 45738.1188 | 8500*** | N/A | 16343.8844 | 23847.1666 | 16168.5995 | 23624.0767 | 15262.7583 | 22471.1879
* FPL considers the resource plan in Scenario (h) to be an unrealistic resource plan. Please see FPL's response to Staff's
Interrogatory Number 57 for a detailed explanation of why this resource plan is unrealistic.
** The Southeastern Florida region does not export power in any credible scenario.
*** Import capability of 8500 MW is an estimate. Verification by load flow analysis studies has not been perfomed.