## I3 RP
DRAFT Attorney-Client Work Product |  | Updated per TP to defer CSQ line | [10 empty] | Filename: 2016 SE Florida Study Template for Economic Results for Iteration # 3 11.10.16
SE Florida Study: Economic Results for Iteration # 2
(CPVRR, millions, 2017$, 2017-2061)
| Plan 1 |  |  | Plan 2 |  |  | Plan 3 |  |  | Plan 4 |  |  | Plan 5 |  |  | Iteration 1 - Plan 1
Description --> | Large Battery, Local Need Only |  |  | Small Battery, Local Need Only |  |  | Max large and small solar |  |  | Max solar and storage deployment in MD |  |  | Local need, storage, late solar (EGEAS)MD |  |  | Fossil Outside SE FL
Year | Storage MW | Solar MW | Fossil MW | Storage MW | Solar MW | Fossil MW | Storage MW | Solar MW | Fossil MW | Storage MW | Solar MW | Fossil MW | Storage MW | Solar MW | Fossil MW | Storage MW | Solar MW | Fossil MW | Year
2018 | [18 empty] | 2018
2019 | [18 empty] | 2019
2020 | [7 empty] | DG 50 MW |  |  | DG 50 MW | [7 empty] | 2020
2021 | [7 empty] | DG 50 MW Krome 74.5 MW |  |  | DG 50 MW Krome 74.5 MW | [7 empty] | 2021
2022 | [7 empty] | DG 50 MW TP-H 60 MW |  |  | DG 50 MW TP-H 60 MW | [7 empty] | 2022
2023 | [7 empty] | 2 - DG 50 MW |  |  | DG 50 MW | [7 empty] | 2023
2024 | [7 empty] | 2 - DG 50 MW |  |  | DG 50 MW | [7 empty] | 2024
2025 | Krome 150 MW TP-H 50 MW | TP-H 60 MW Krome 74.5 MW |  | 2 - Generic 10 MW 3 - Generic 20 MW 4 - Generic 30 MW |  |  |  | 2 - Generic A 74.5 MW 2 - Generic B 74.5 MW 2 - DG 50 MW |  |  | 2 - Generic A 74.5 MW 2 - Generic B 74.5 MW DG 50 MW |  | Andy South 150 MW TP - H 50 MW | TP-H 60 MW Krome 74.5 MW |  |  |  | Okee CC | 2025
2026 | Andy S 150 MW |  | Okee CC | 5 - Generic 10 MW 3 - Generic 20 MW 3 - Generic 30 MW |  | Okee CC |  | 2 - DG 50 MW | Okee CC | Krome 150 MW Andy S 150 MW Cutler Bay 150 MW Pennsuco 150 MW | DG 50 MW |  | Andy S 150 MW Krome 150 MW Cutler Bay 150 MW Jasmine 50 MW Hacienda 75 MW | [5 empty] | 2026
2027 | Andy South 150 MW Jasmine 50 MW |  |  | 3 - Generic 10 MW 9 - Generic 20 MW 3 - Generic 30 MW | [5 empty] | Andy S 150 MW TP-H 50 MW Hacienda 75 MW Jasmine 50 MW Deerfield 50 MW Davis East 50 MW Lauderdale 20 MW 3 - Generic 10 2 - Generic 20 3 - Generic 30 | DG 50 MW |  |  |  | Okee CC |  |  |  | 2027
2028 | Andy South 150 MW Deerfield 50 MW Cutler Bay 150 MW |  |  | 2 - Generic 10 MW 3 - Generic 20 MW 4 - Generic 30 MW | [5 empty] | Andy S 150 MW 7 - Generic 10 7 - Generic 20 8 - Generic 30 | DG 50 MW | [7 empty] | 2028
2029 | Pennsuco 150 MW Davis East 50 MW |  |  | 5 - Generic 10 MW 3 - Generic 20 MW 3 - Generic 30 MW |  |  |  |  | Martin CC | 10 - Generic 10 10 - Generic 20 10 - Generic 30 | DG 50 MW |  | Andy S 150 MW Lauderdale 20 MW 5 - Generic 20 | [5 empty] | 2029
2030 | Andy South 150 MW Hacienda 75 MW |  | Martin CC | 3 - Generic 10 MW 9 - Generic 20 MW 3 - Generic 30 MW |  | Martin CC |  |  |  | 10 - Generic 10 11 - Generic 20 9 - Generic 30 | DG 50 MW |  | Pennsucco 150 MW Deerfield 50 MW Davis East 50 MW 5 - Generic 10 5 - Generic 30 | 2 - Generic A 74.5 MW 2 - Generic B 74.5 MW |  |  |  | Martin CC | 2030
(1) Generation & Fuel Costs | [18 empty] | (1) Generation & Fuel Costs
(2) Pipeline Costs * | [18 empty] | (2) Pipeline Costs *
(3) Transmission Integration Costs * | [18 empty] | (3) Transmission Integration Costs *
(4) Resource Plan Total Costs | [18 empty] | (4) Resource Plan Total Costs
(5) Difference from Lowest Cost Plan | [18 empty] | (5) Difference from Lowest Cost Plan

## From FCSS
SE Florida Study Summary: Economic Results for Iteration #3
(CPVRR, millions, 2017$, 2017-2061)
|  |  | Transmission | Transmission | Pipeline |  | Capital | Firm Gas | Short | Total |  | Startup |  | Total Fuel/VOM | Total
| Generation | Land | Interconnect | Integration | Capital | Generation | Repl. | Transport | Term | Fixed | System | + VOM | Emission | Startup/Emissions | Annual
| Capital | Capital | Costs | Costs | Costs | Fixed O&M | Costs | Costs | Purchase | Costs | Net Fuel | Costs | Costs | Costs | Costs
| (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions)
Plan 1 * | 6404.8755 | 14.0382 | 368.4132 | 10.5562 | 21.9255 | 405.3477 | 850.9316 | 27.8043 | 11.7393 | 8115.6316 | 63516.2602 | 979.9121 | 23018.0753 | 87514.2476 | 95629.8792
Plan 2 | 6406.4185 | 200.6053 | 355.3949 | 10.5562 | 21.9255 | 395.5885 | 760.2558 | 36.8495 | 11.7393 | 8199.3336 | 63636.6485 | 1004.1426 | 23076.5576 | 87717.3486 | 95916.6822
Plan 3 | 6805.7266 | 149.8106 | 410.434 | 264.1405 | 21.9255 | 599.7267 | 803.4862 | -62.6111 | 11.7393 | 9004.3785 | 62793.4257 | 966.0949 | 22726.3723 | 86485.8929 | 95490.2714
Plan 4 * | 6978.509 | 388.9109 | 308.2177 | 0 | 0 | 587.1372 | 648.0134 | 27.8043 | 11.7393 | 8950.3318 | 64033.4863 | 947.5804 | 23254.6974 | 88235.7641 | 97186.0959
Plan 5 * | 6102.4038 | 146.5486 | 353.6546 | 0 | 20.896 | 396.1374 | 751.383 | 27.8043 | 11.7393 | 7810.5671 | 63774.5224 | 960.0771 | 23116.484 | 87851.0835 | 95661.6506
Iteration #1 | 5845.9619 | 0 | 378.2931 | 319.1334 | 19.9149 | 385.7837 | 837.6914 | 0 | 11.7393 | 7798.5178 | 63444.3379 | 998.6547 | 22999.5644 | 87442.557 | 95241.0748
|  |  |  | Difference from Best Plan - Iteration #1 - Okee and Martin |  | 95241.0748
|  | Plan 1 - Large Battery | 388.8044
|  | Plan 2 - Small Battery | 675.6074
|  | Plan 3 - Solar Only | 249.1966
|  | Plan 4 - Max Solar & Storage | 1945.0211
|  | Plan 5 - Storage & late Solar (EGEAS) | 420.5758
Notes:
Updated per TP to defer CSQ line
* The transmission interconnection costs for Plans 1, 4 and 5 have been reduced by $6 M (CPVRR) to account for the difference in cost estimates between Power Delivery and Project Development.
Previous Results (11/21)
SE Florida Study Summary: Economic Results for Iteration #3
(CPVRR, millions, 2017$, 2017-2061)
|  |  | Transmission | Transmission | Pipeline |  | Capital | Firm Gas | Short | Total |  | Startup |  | Total Fuel/VOM | Total
| Generation | Land | Interconnect | Integration | Capital | Generation | Repl. | Transport | Term | Fixed | System | + VOM | Emission | Startup/Emissions | Annual
| Capital | Capital | Costs | Costs | Costs | Fixed O&M | Costs | Costs | Purchase | Costs | Net Fuel | Costs | Costs | Costs | Costs
| (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions)
Plan 1 | 6384.8598 | 13.4863 | 378.6456 | 10.5562 | 21.9255 | 406.5534 | 853.3235 | 27.8043 | 11.7393 | 8108.894 | 63489.6546 | 983.1662 | 23000.4063 | 87473.2271 | 95582.1212
Plan 2 | 6363.1204 | 162.0704 | 361.0381 | 10.5562 | 21.9255 | 397.322 | 775.3366 | 36.8495 | 11.7393 | 8139.9583 | 63596.2289 | 1006.5683 | 23046.2914 | 87649.0887 | 95789.0469
Plan 3 | 6805.7266 | 149.8106 | 410.434 | 264.1405 | 21.9255 | 599.7267 | 803.4862 | -62.6111 | 11.7393 | 9004.3785 | 62793.4257 | 966.0949 | 22726.3723 | 86485.8929 | 95490.2714
Plan 4 | 6978.509 | 388.9109 | 314.2177 | 0 | 0 | 587.1372 | 648.0134 | 27.8043 | 11.7393 | 8956.3318 | 64033.4863 | 947.5804 | 23254.6974 | 88235.7641 | 97192.0959
Plan 5 | 6098.6424 | 145.4165 | 359.6546 | 0 | 20.896 | 396.0658 | 752.6487 | 27.8043 | 11.7393 | 7812.8677 | 63775.2639 | 959.9801 | 23116.682 | 87851.9259 | 95664.7936
Iteration #1 | 5845.9619 | 0 | 378.2931 | 319.1334 | 19.9149 | 385.7837 | 837.6914 | 0 | 11.7393 | 7798.5178 | 63444.3379 | 998.6547 | 22999.5644 | 87442.557 | 95241.0748
|  |  |  | Difference from Best Plan - Iteration #1 - Okee and Martin |  | 95241.0748
|  | Plan 1 - Large Battery | 341.0464
|  | Plan 2 - Small Battery | 547.9721
|  | Plan 3 - Solar Only | 249.1966
|  | Plan 4 - Max Solar & Storage | 1951.0211
|  | Plan 5 - Storage & late Solar (EGEAS) | 423.7188

## Appendix
SE Florida Study Summary: Economic Results for Iteration #3
(CPVRR, millions, 2017$, 2017-2061)
| Generation |  |  | TX | Capital |  | Firm Gas | Total Fuel/VOM/Startup/ | -1 | (2) Pipeline | Total Generation & Fuel | (3) Transmission | Startup |  |  | (4) Resource | (5) Difference
| and Land | Land | Generation | Interconnection | Replacement | Short Term | Transport | Emission | Generation | Capital | + Pipeline | Integration | + VOM | System | Emission | Plan | from Lowest
| Capital | Capital | Fixed O&M | Capital FPL | Charges | Purchase | Costs | Costs | & Fuel Costs | Costs | Costs | Costs | Costs | Net Fuel | Costs | Total Costs | Cost Plan
| (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions)
Plan 1 | 6418.9137 | 14.0382 | 405.3477 | 368.4132 | 850.9316 | 11.7393 | 27.8043 | 87514.2476 | 95597.3974 | 21.9255 | 95619.323 | 10.5562 | 63516.2602 | 979.9121 | 23018.0753 | 95629.8792 | 139.6078
Plan 2 | 6607.0239 | 200.6053 | 395.5885 | 355.3949 | 760.2558 | 11.7393 | 36.8495 | 87717.3486 | 95884.2005 | 21.9255 | 95906.126 | 10.5562 | 63636.6485 | 1004.1426 | 23076.5576 | 95916.6822 | 427
Plan 3 | 6955.5372 | 149.8106 | 599.7267 | 410.434 | 803.4862 | 11.7393 | -62.6111 | 86485.8929 | 95204.2053 | 21.9255 | 95226.1309 | 264.1405 | 62793.4257 | 966.0949 | 22726.3723 | 95490.2714 | 0
Plan 4 | 7367.4199 | 388.9109 | 587.1372 | 308.2177 | 648.0134 | 11.7393 | 27.8043 | 88235.7641 | 97186.0959 | 0 | 97186.0959 | 0 | 64033.4863 | 947.5804 | 23254.6974 | 97186.0959 | 1695.8245
Plan 5 | 6248.9524 | 146.5486 | 396.1374 | 353.6546 | 751.383 | 11.7393 | 27.8043 | 87851.0835 | 95640.7546 | 20.896 | 95661.6506 | 0 | 63774.5224 | 960.0771 | 23116.484 | 95661.6506 | 172

## Summary Breakdown by Technology
Iteration 1 2-CC Plan
| Generation Capital | Land Capital | TX Interconnection Capital | TX Integration Capital | Fixed O&M | Avoided Distribution O&M | Capital Replacement | Capital Replenishment | Avoided Distribution Capital | Rent | Gas Transportation | Pipeline Capital | Short-Term Purchase | Total Cost by Technology | DIFFERENCE From IT#1 2-CC's Plan
| (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions)
Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Batteries | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CC | 5845.9619 | 0 | 378.2931 | 319.1334 | 385.7837 | 0 | 837.6914 | 0 | 0 | 0 | 0 | 19.9171 | 11.7393 | 7798.5201 | 0
Total | 5845.9619 | 0 | 378.2931 | 319.1334 | 385.7837 | 0 | 837.6914 | 0 | 0 | 0 | 0 | 19.9171 | 11.7393 | 7798.5201 | 0
Check
Plan 1 - Large Battery (some Solar)
| Generation Capital | Land Capital | TX Interconnection Capital | TX Integration Capital | Pipeline | Fixed O&M | Avoided Distribution O&M | Capital Replacement | Capital Replenishment | Avoided Distribution Capital | Rent | Firm Gas Transportation | Short Term Purchase | Total Cost by Technology | DIFFERENCE From IT#1 2-CC's Plan
| (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions)
Solar | 108.6256 | 0 | 17.7768 | 0 | 0 | 6.0098 | 0 | 0.048661 | 0 | 0 | 0 | 0 | 0 | 132.4608 | 132.4608
Batteries | 699.2159 | 13.4863 | 0 | 0 | 0 | 32.2713 | 0 | 0.41955 | 59.5012 | 0 | 0 | 27.8043 | 0 | 832.6986 | 832.6986
CC | 5577.0183 | 0 | 360.8688 | 10.5562 | 21.9255 | 368.2724 | 0 | 793.3501 | 0 | 0 | 0 | 0 | 11.7393 | 7143.7307 | -654.7894
Total | 6384.8598 | 13.4863 | 378.6456 | 10.5562 | 21.9255 | 406.5534 | 0 | 793.8183 | 59.5012 | 0 | 0 | 27.8043 | 11.7393 | 8108.8901 | 310.37
Check | 20.0157 | 0.55183 | -10.2324 | 0 | 0 | -1.2056 |  | -2.3879 |  |  |  | 0 | 0 | 6.7415
Plan 2 - Small Battery (no Solar)
| Generation Capital | Land Capital | TX Interconnection Capital | TX Integration Capital | Pipeline | Fixed O&M | Avoided Distribution O&M | Capital Replacement | Capital Replenishment | Avoided Distribution Capital | Rent | Firm Gas Transportation | Short Term Purchase | Total Cost by Technology | DIFFERENCE From IT#1 2-CC's Plan
| (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions)
Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Batteries | 783.5602 | 162.0704 | 0 | 0 | 0 | 67.3626 | -38.5098 | 1.2944 | 62.8268 | -82.5225 | 0 | 37.0724 | 0 | 993.1544 | 993.1544
CC | 5579.5603 | 0 | 361.0381 | 10.5562 | 21.9255 | 368.4692 | 0 | 793.7381 | 0 | 0 | 0 | 0 | 11.7393 | 7147.0268 | -651.4933
Total | 6363.1204 | 162.0704 | 361.0381 | 10.5562 | 21.9255 | 435.8318 | -38.5098 | 795.0324 | 62.8268 | -82.5225 | 0 | 37.0724 | 11.7393 | 8140.1811 | 341.6611
Check | 43.2981 | 38.5349 | -5.6433 | 0 | 0 | -1.7335 |  | -15.0809 |  |  |  | -0.2229 | 0 | 59.1525
Plan 3 - Solar Only
| Generation Capital | Land Capital | TX Interconnection Capital | TX Integration Capital | Pipeline | Fixed O&M | Avoided Distribution O&M | Capital Replacement | Capital Replenishment | Avoided Distribution Capital | Rent | Firm Gas Transportation | Short Term Purchase | Total Cost by Technology | DIFFERENCE From IT#1 2-CC's Plan
| (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions)
Solar | 1204.1094 | 149.8106 | 48.0079 | 0 | 0 | 116.374 | 0 | 5.0209 | 0 | 0 | 114.2039 | -62.6111 | 0 | 1574.9157 | 1574.9157
Batteries | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CC | 5601.6172 | 0 | 362.4261 | 264.1405 | 21.9255 | 369.1489 | 0 | 798.243 | 0 | 0 | 0 | 0 | 11.7393 | 7429.2405 | -369.2796
Total | 6805.7266 | 149.8106 | 410.434 | 264.1405 | 21.9255 | 485.5229 | 0 | 803.2639 |  | 0 | 114.2039 | -62.6111 | 11.7393 | 9004.1562 | 1205.6361
Check | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.22229 |  |  |  | 0 | 0 | 0.22229
Plan 4 - Max solar and storage (No CC's)
| Generation Capital | Land Capital | TX Interconnection Capital | TX Integration Capital | Pipeline | Fixed O&M | Avoided Distribution O&M | Capital Replacement | Capital Replenishment | Avoided Distribution Capital | Rent | Firm Gas Transportation | Short Term Purchase | Total Cost by Technology | DIFFERENCE From IT#1 2-CC's Plan
| (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions)
Solar | 1121.2837 | 148.5747 | 48.0079 | 0 | 0 | 110.0279 | 0 | 4.6976 | 0 | -58.7914 | 105.5515 | 0 | 0 | 1479.3519 | 1479.3519
Batteries | 1825.5942 | 240.3362 | 0 | 0 | 0 | 129.1882 | -52.8542 | 2.2598 | 146.4363 | 0 | 0 | 27.8043 | 0 | 2318.7648 | 2318.7648
CC | 4031.6311 | 0 | 266.2098 | 0 | 0 | 295.2238 | 0 | 553.2132 | 0 | 0 | 0 | 0 | 11.7393 | 5158.0173 | -2640.5028
Total | 6978.509 | 388.9109 | 314.2177 | 0 | 0 | 534.44 | -52.8542 | 560.1706 | 146.4363 | -58.7914 | 105.5515 | 27.8043 | 11.7393 | 8956.134 | 1157.6139
Check | 0 | 0 | -6 | 0 | 0 | 0 |  | 0.19788 |  |  |  | 0 | 0 | -5.8021
Plan 5 - Storage, late solar (1 - CC)
| Generation Capital | Land Capital | TX Interconnection Capital | TX Integration Capital | Pipeline | Fixed O&M | Avoided Distribution O&M | Capital Replacement | Capital Replenishment | Avoided Distribution Capital | Rent | Gas Transportation | Short Term Purchase | Total Cost by Technology | DIFFERENCE From IT#1 2-CC's Plan
| (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions)
Solar | 275.8481 | 97.5055 | 38.0013 | 0 | 0 | 16.094 | 0 | 0.083678 | 0 | -15.7379 | 0 | 0 | 0 | 411.7947 | 411.7947
Batteries | 907.604 | 47.911 | 0 | 0 | 0 | 49.0791 | -8.2127 | 0.73265 | 75.5844 | 0 | 0 | 27.8043 | 0 | 1100.5028 | 1100.5028
CC | 4915.1903 | 0 | 321.6533 | 0 | 20.896 | 339.1053 | 0 | 691.978 | 0 | 0 | 0 | 0 | 11.7393 | 6300.5624 | -1497.9577
Total | 6098.6424 | 145.4165 | 359.6546 | 0 | 20.896 | 404.2784 | -8.2127 | 692.7944 | 75.5844 | -15.7379 | 0 | 27.8043 | 11.7393 | 7812.8598 | 14.3398
Check | 3.7614 | 1.1321 | -6 | 0 | 0 | 0.071632 |  | -1.2578 |  |  |  | 0 | 0 | -2.2927
CC capital is broken out in this spreadsheet for comparison purposes only. The calcualtions for TX Integration, Pipeline and Short Term PPA are copied from the "From FCSS" tab, and not individually calculated like the solar and battery capital.

## Plan 1
Iteration #3 - Resource Plan 1 | [7 empty] | 1000000
| Solar | [12 empty] | Battery
| Generation Capital | Land Capital | TX Interconnection Capital | TX Integration Capital | Fixed O&M | Avoided Distribution O&M | Capital Replacement | Capital Replenishment | Avoided Distribution Capital | Rent | Gas Transportation | Total Cost by Technology |  | Generation Capital | Land Capital | TX Interconnection Capital | TX Integration Capital | Fixed O&M | Avoided Distribution O&M | Capital Replacement | Capital Replenishment | Avoided Distribution Capital | Rent | Gas Transportation | Total Cost by Technology
| (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) |  | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions)
2016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2024 | 0 | 0 | 0.31636 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.31636 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2025 | 26.8517 | 0 | 3.6947 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30.5465 | 2025 | 43.3729 | 0 | 0 | 0 | 0.62941 | 0 | 0 | 0.3163 | 0 | 0 | 0 | 44.3186
2026 | 24.4177 | 0 | 3.5447 | 0 | 0.72244 | 0 | 0 | 0 | 0 | 0 | 0 | 28.6849 | 2026 | 71.0454 | 0 | 0 | 0 | 1.0546 | 0 | 0 | 0.83257 | 0 | 0 | 0 | 72.9326
2027 | 22.0131 | 0 | 3.4042 | 0 | 0.71457 | 0 | 0 | 0 | 0 | 0 | 0 | 26.1319 | 2027 | 107.658 | 0 | 0 | 0 | 1.7584 | 0 | 0 | 1.5966 | 0 | 0 | 0 | 111.0131
2028 | 20.3605 | 0 | 3.2724 | 0 | 0.73191 | 0 | 0 | 0 | 0 | 0 | 0 | 24.3649 | 2028 | 142.0956 | 0.22173 | 0 | 0 | 2.448 | 0 | 0 | 2.5804 | 0 | 0 | 23.8319 | 171.1776
2029 | 18.99 | 0 | 3.1484 | 0 | 0.74967 | 0 | 0 | 0 | 0 | 0 | 0 | 22.8881 | 2029 | 173.8552 | 1.1184 | 0 | 0 | 3.1809 | 0 | 0 | 3.7601 | 0 | 0 | 23.8319 | 205.7466
2030 | 17.831 | 0 | 3.03 | 0 | 0.76785 | 0 | 0 | 0 | 0 | 0 | 0 | 21.6288 | 2030 | 208.4468 | 2.8273 | 0 | 0 | 4.3129 | 0 | 0 | 5.15 | 0 | 0 | 23.8319 | 244.5689
2031 | 17.095 | 0 | 2.9133 | 0 | 0.96705 | 0 | 0 | 0 | 0 | 0 | 0 | 20.9754 | 2031 | 190.9402 | 2.8273 | 0 | 0 | 4.6154 | 0 | 0 | 6.4261 | 0 | 0 | 0 | 204.8089
2032 | 16.5706 | 0 | 2.7965 | 0 | 0.97437 | 0 | 0 | 0 | 0 | 0 | 0 | 20.3415 | 2032 | 175.979 | 2.8273 | 0 | 0 | 5.0852 | 0 | 0.014414 | 7.6008 | 0 | 0 | 0 | 191.5067
2033 | 16.0461 | 0 | 2.6798 | 0 | 1.0005 | 0 | 0.012055 | 0 | 0 | 0 | 0 | 19.7385 | 2033 | 163.7325 | 2.8273 | 0 | 0 | 5.5667 | 0 | 0.023338 | 8.691 | 0 | 0 | 0 | 180.8408
2034 | 15.5216 | 0 | 2.5631 | 0 | 1.0146 | 0 | 0.011125 | 0 | 0 | 0 | 0 | 19.1105 | 2034 | 153.1377 | 2.8273 | 0 | 0 | 6.067 | 0 | 0.039409 | 9.7094 | 0 | 0 | 0 | 171.7808
2035 | 14.9972 | 0 | 2.4464 | 0 | 1.0201 | 0 | 0.010145 | 0 | 0 | 0 | 0 | 18.4738 | 2035 | 143.7876 | 2.8273 | 0 | 0 | 6.508 | 0 | 0.056195 | 10.6654 | 0 | 0 | 0 | 163.8444
2036 | 14.4727 | 0 | 2.3297 | 0 | 1.0231 | 0 | 0.0093513 | 0 | 0 | 0 | 0 | 17.8348 | 2036 | 135.4168 | 2.8273 | 0 | 0 | 6.6997 | 0 | 0.075199 | 11.5668 | 0 | 0 | 0 | 156.5857
2037 | 13.9483 | 0 | 2.213 | 0 | 1.1494 | 0 | 0.0086905 | 0 | 0 | 0 | 0 | 17.3193 | 2037 | 127.3845 | 2.8273 | 0 | 0 | 6.6602 | 0 | 0.097932 | 12.4211 | 0 | 0 | 0 | 149.3911
2038 | 13.4238 | 0 | 2.0963 | 0 | 1.0454 | 0 | 0.0080852 | 0 | 0 | 0 | 0 | 16.5736 | 2038 | 119.6203 | 2.8273 | 0 | 0 | 6.6745 | 0 | 0.10139 | 13.2344 | 0 | 0 | 0 | 142.4578
2039 | 12.8993 | 0 | 1.9954 | 0 | 1.0696 | 0 | 0.0074798 | 0 | 0 | 0 | 0 | 15.9718 | 2039 | 112.0518 | 2.8273 | 0 | 0 | 6.5842 | 0 | 0.10652 | 14.0088 | 0 | 0 | 0 | 135.5785
2040 | 12.3749 | 0 | 1.9259 | 0 | 1.1001 | 0 | 0.0069436 | 0 | 0 | 0 | 0 | 15.4078 | 2040 | 90.9087 | 2.8273 | 0 | 0 | 6.4681 | 0 | 0.12618 | 14.6332 | 0 | 0 | 0 | 114.9635
2041 | 11.8504 | 0 | 1.8722 | 0 | 1.133 | 0 | 0.021234 | 0 | 0 | 0 | 0 | 14.8769 | 2041 | 74.0513 | 2.8273 | 0 | 0 | 6.567 | 0 | 0.13605 | 15.1491 | 0 | 0 | 0 | 98.7307
2042 | 11.326 | 0 | 1.8185 | 0 | 1.1649 | 0 | 0.019772 | 0 | 0 | 0 | 0 | 14.3292 | 2042 | 54.7026 | 2.8273 | 0 | 0 | 6.5914 | 0 | 0.14807 | 15.5392 | 0 | 0 | 0 | 79.8085
2043 | 10.8015 | 0 | 1.7648 | 0 | 1.2543 | 0 | 0.01825 | 0 | 0 | 0 | 0 | 13.8389 | 2043 | 36.2847 | 2.8273 | 0 | 0 | 6.7125 | 0 | 0.15636 | 15.815 | 0 | 0 | 0 | 61.7958
2044 | 10.277 | 0 | 1.7112 | 0 | 1.2196 | 0 | 0.016955 | 0 | 0 | 0 | 0 | 13.2247 | 2044 | 18.8908 | 2.8273 | 0 | 0 | 6.9032 | 0 | 0.16845 | 15.9871 | 0 | 0 | 0 | 44.7768
2045 | 9.7526 | 0 | 1.6575 | 0 | 1.2427 | 0 | 0.015821 | 0 | 0 | 0 | 0 | 12.6686 | 2045 | 0.92322 | 2.8273 | 0 | 0 | 7.0765 | 0 | 0.1804 | 16.0518 | 0 | 0 | 0 | 27.0591
2046 | 9.2281 | 0 | 1.6039 | 0 | 1.2648 | 0 | 0.014756 | 0 | 0 | 0 | 0 | 12.1115 | 2046 | 0 | 2.8273 | 0 | 0 | 7.2505 | 0 | 0.17172 | 16.1284 | 0 | 0 | 0 | 26.3779
2047 | 8.7037 | 0 | 1.5502 | 0 | 1.2872 | 0 | 0.01369 | 0 | 0 | 0 | 0 | 11.5548 | 2047 | 0 | 2.8273 | 0 | 0 | 7.534 | 0 | 0.1587 | 16.2168 | 0 | 0 | 0 | 26.7368
2048 | 8.1792 | 0 | 1.4966 | 0 | 1.3113 | 0 | 0.025919 | 0 | 0 | 0 | 0 | 11.013 | 2048 | 0 | 2.8273 | 0 | 0 | 7.6613 | 0 | 0.16999 | 16.3167 | 0 | 0 | 0 | 26.9753
2049 | 7.6547 | 0 | 1.443 | 0 | 1.4979 | 0 | 0.024088 | 0 | 0 | 0 | 0 | 10.6197 | 2049 | 0 | 2.8273 | 0 | 0 | 7.8479 | 0 | 0.1713 | 16.4307 | 0 | 0 | 0 | 27.2772
2050 | 7.2315 | 0 | 1.3894 | 0 | 1.3658 | 0 | 0.022268 | 0 | 0 | 0 | 0 | 10.009 | 2050 | 0 | 2.8273 | 0 | 0 | 8.0307 | 0 | 0.17495 | 16.5528 | 0 | 0 | 0 | 27.5857
2051 | 6.8083 | 0 | 1.3358 | 0 | 1.3956 | 0 | 0.020719 | 0 | 0 | 0 | 0 | 9.5604 | 2051 | 0 | 2.8273 | 0 | 0 | 8.1742 | 0 | 0.17758 | 16.6819 | 0 | 0 | 0 | 27.8609
2052 | 6.3851 | 0 | 1.2823 | 0 | 1.426 | 0 | 0.019362 | 0 | 0 | 0 | 0 | 9.1127 | 2052 | 0 | 2.8273 | 0 | 0 | 8.3146 | 0 | 0.17883 | 16.8171 | 0 | 0 | 0 | 28.1378
2053 | 5.9618 | 0 | 1.2287 | 0 | 1.3667 | 0 | 0.018085 | 0 | 0 | 0 | 0 | 8.5754 | 2053 | 0 | 2.8273 | 0 | 0 | 8.3879 | 0 | 0.18902 | 16.9574 | 0 | 0 | 0 | 28.3617
2054 | 5.5386 | 0 | 1.1752 | 0 | 1.3158 | 0 | 0.016809 | 0 | 0 | 0 | 0 | 8.0464 | 2054 | 0 | 2.8273 | 0 | 0 | 8.5363 | 0 | 0.17373 | 16.7672 | 0 | 0 | 0 | 28.3045
2055 | 0.60737 | 0 | 1.1217 | 0 | 0.65647 | 0 | 0.015632 | 0 | 0 | 0 | 0 | 2.4012 | 2055 | 0 | 2.8273 | 0 | 0 | 7.2153 | 0 | 0.15305 | 16.3524 | 0 | 0 | 0 | 26.548
2056 | 0 | 0 | 1.0682 | 0 | 0 | 0 | 0.0094805 | 0 | 0 | 0 | 0 | 1.0777 | 2056 | 0 | 2.8273 | 0 | 0 | 6.3491 | 0 | 0.13858 | 15.6476 | 0 | 0 | 0 | 24.9625
2057 | 0 | 0 | 1.0156 | 0 | 0 | 0 | 0.009005 | 0 | 0 | 0 | 0 | 1.0246 | 2057 | 0 | 2.8273 | 0 | 0 | 4.8735 | 0 | 0.12439 | 14.6715 | 0 | 0 | 0 | 22.4966
2058 | 0 | 0 | 0.97256 | 0 | 0 | 0 | 0.0085295 | 0 | 0 | 0 | 0 | 0.98109 | 2058 | 0 | 2.8273 | 0 | 0 | 3.3819 | 0 | 0.11239 | 13.441 | 0 | 0 | 0 | 19.7626
2059 | 0 | 0 | 0.92953 | 0 | 0 | 0 | 0.008054 | 0 | 0 | 0 | 0 | 0.93759 | 2059 | 0 | 2.6055 | 0 | 0 | 1.8385 | 0 | 0.099883 | 11.9295 | 0 | 0 | 0 | 16.4734
2060 | 0 | 0 | 0.88653 | 0 | 0 | 0 | 0.0075786 | 0 | 0 | 0 | 0 | 0.8941 | 2060 | 0 | 1.7089 | 0 | 0 | 0 | 0 | 0.085348 | 10.5321 | 0 | 0 | 0 | 12.3263
2061 | 0 | 0 | 0.84354 | 0 | 0 | 0 | 0.0071033 | 0 | 0 | 0 | 0 | 0.85064 | 2061 | 0 | 0 | 0 | 0 | 0 | 0 | 0.078926 | 9.2379 | 0 | 0 | 0 | 9.3169
2062 | 0 | 0 | 0.80057 | 0 | 0 | 0 | 0.006628 | 0 | 0 | 0 | 0 | 0.8072 | 2062 | 0 | 0 | 0 | 0 | 0 | 0 | 0.072851 | 8.031 | 0 | 0 | 0 | 8.1039
2063 | 0 | 0 | 0.75763 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.75763 | 2063 | 0 | 0 | 0 | 0 | 0 | 0 | 0.059398 | 6.8992 | 0 | 0 | 0 | 6.9586
2064 | 0 | 0 | 0.65681 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.65681 | 2064 | 0 | 0 | 0 | 0 | 0 | 0 | 0.04896 | 5.833 | 0 | 0 | 0 | 5.8819
2065 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2065 | 0 | 0 | 0 | 0 | 0 | 0 | 0.037899 | 4.8268 | 0 | 0 | 0 | 4.8647
2066 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2066 | 0 | 0 | 0 | 0 | 0 | 0 | 0.027317 | 3.8734 | 0 | 0 | 0 | 3.9007
2067 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2067 | 0 | 0 | 0 | 0 | 0 | 0 | 0.017208 | 2.967 | 0 | 0 | 0 | 2.9842
2068 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2068 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0067731 | 2.1059 | 0 | 0 | 0 | 2.1127
2069 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2069 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0054703 | 1.4088 | 0 | 0 | 0 | 1.4143
2070 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2070 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0046736 | 0.83848 | 0 | 0 | 0 | 0.84315
NPV | 108.6256 | 0 | 17.7768 | 0 | 6.0098 | 0 | 0.048661 | 0 | 0 | 0 | 0 | 132.4608 |  | 699.2159 | 13.4863 | 0 | 0 | 32.2713 | 0 | 0.41955 | 59.5012 | 0 | 0 | 27.8043 | 832.6986

## Plan 2
Iteration #3 - Resource Plan 2 | [9 empty] | 1000000 | [8 empty] | -1
| Solar | [12 empty] | Battery
| Generation Capital | Land Capital | TX Interconnection Capital | TX Integration Capital | Fixed O&M | Avoided Distribution O&M | Capital Replacement | Capital Replenishment | Avoided Distribution Capital | Rent | Gas Transportation | Total Cost by Technology |  | Generation Capital | Land Capital | TX Interconnection Capital | TX Integration Capital | Fixed O&M | Avoided Distribution O&M | Capital Replacement | Capital Replenishment | Avoided Distribution Capital | Rent | Gas Transportation | Total Cost by Technology
| (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) |  | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions)
2016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2025 | 47.0024 | 4.2321 | 0 | 0 | 1.3364 | -0.82425 | 0 | 0.3163 | -3.3483 | 0 | 0 | 48.7145
2026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2026 | 89.7802 | 9.1732 | 0 | 0 | 2.8362 | -1.6897 | 0 | 0.90929 | -6.5973 | 0 | 0 | 94.4119
2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2027 | 128.5015 | 14.3201 | 0 | 0 | 4.3708 | -2.5979 | 0 | 1.743 | -9.7332 | 0 | 0 | 136.6042
2028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2028 | 164.0443 | 18.822 | 0 | 0 | 5.8418 | -3.5505 | 0 | 2.7894 | -12.761 | 0 | 31.7759 | 206.962
2029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2029 | 197.4373 | 24.0227 | 0 | 0 | 7.5197 | -4.5491 | 0 | 4.0262 | -15.6852 | 0 | 31.7759 | 244.5476
2030 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2030 | 229.0939 | 29.3255 | 0 | 0 | 9.5639 | -5.5954 | 0 | 5.4342 | -18.51 | 0 | 31.7759 | 281.088
2031 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2031 | 209.9816 | 29.3255 | 0 | 0 | 10.026 | -5.7353 | 0 | 6.727 | -17.891 | 0 | 0 | 232.434
2032 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2032 | 193.7884 | 29.3255 | 0 | 0 | 10.6073 | -5.8786 | 0.028965 | 7.9175 | -17.2793 | 0 | 0 | 218.5098
2033 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2033 | 180.4972 | 29.3255 | 0 | 0 | 11.2249 | -6.0256 | 0.060596 | 9.0223 | -16.6908 | 0 | 0 | 207.4142
2034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2034 | 168.9416 | 29.3255 | 0 | 0 | 11.9192 | -6.1762 | 0.10112 | 10.0549 | -16.1208 | 0 | 0 | 198.0454
2035 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2035 | 158.6933 | 29.3255 | 0 | 0 | 12.4336 | -6.3307 | 0.15359 | 11.0249 | -15.5648 | 0 | 0 | 189.7355
2036 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2036 | 149.4352 | 29.3255 | 0 | 0 | 12.9507 | -6.4889 | 0.22315 | 11.9401 | -15.0186 | 0 | 0 | 182.3672
2037 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2037 | 140.509 | 29.3255 | 0 | 0 | 13.2125 | -6.6511 | 0.30101 | 12.808 | -14.4784 | 0 | 0 | 175.0265
2038 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2038 | 131.8732 | 29.3255 | 0 | 0 | 13.2482 | -6.8174 | 0.34239 | 13.6339 | -13.9405 | 0 | 0 | 167.6654
2039 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2039 | 123.5286 | 29.3255 | 0 | 0 | 13.2458 | -6.9879 | 0.38066 | 14.4201 | -13.4029 | 0 | 0 | 160.51
2040 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2040 | 100.4749 | 29.3255 | 0 | 0 | 13.4274 | -7.1626 | 0.43708 | 15.0554 | -12.8654 | 0 | 0 | 138.6924
2041 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2041 | 77.9797 | 29.3255 | 0 | 0 | 13.6167 | -7.3416 | 0.48176 | 15.5542 | -12.328 | 0 | 0 | 117.2884
2042 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2042 | 56.8759 | 29.3255 | 0 | 0 | 13.4455 | -7.5252 | 0.5034 | 15.9289 | -11.7906 | 0 | 0 | 96.7635
2043 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2043 | 37.2469 | 29.3255 | 0 | 0 | 13.7942 | -7.7133 | 0.5049 | 16.1908 | -11.2533 | 0 | 0 | 78.0958
2044 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2044 | 18.6039 | 29.3255 | 0 | 0 | 14.1115 | -7.9061 | 0.53048 | 16.3503 | -10.716 | 0 | 0 | 60.2997
2045 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2045 | 0.90521 | 29.3255 | 0 | 0 | 14.441 | -8.1038 | 0.55774 | 16.4158 | -10.1893 | 0 | 0 | 43.3523
2046 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2046 | 0 | 29.3255 | 0 | 0 | 14.8437 | -8.3064 | 0.53895 | 16.4937 | -9.6941 | 0 | 0 | 43.2015
2047 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2047 | 0 | 29.3255 | 0 | 0 | 15.5714 | -8.514 | 0.50994 | 16.5838 | -9.2409 | 0 | 0 | 44.2359
2048 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2048 | 0 | 29.3255 | 0 | 0 | 15.9923 | -8.7269 | 0.52967 | 16.686 | -8.8297 | 0 | 0 | 44.977
2049 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2049 | 0 | 29.3255 | 0 | 0 | 16.3511 | -8.945 | 0.54985 | 16.802 | -8.4605 | 0 | 0 | 45.623
2050 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2050 | 0 | 29.3255 | 0 | 0 | 16.6386 | -9.1687 | 0.53952 | 16.9264 | -8.1333 | 0 | 0 | 46.128
2051 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2051 | 0 | 29.3255 | 0 | 0 | 17.0618 | -9.3979 | 0.51976 | 17.0579 | -7.8377 | 0 | 0 | 46.7294
2052 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2052 | 0 | 29.3255 | 0 | 0 | 17.4219 | -9.6328 | 0.50466 | 17.1957 | -7.5526 | 0 | 0 | 47.2623
2053 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2053 | 0 | 29.3255 | 0 | 0 | 17.2707 | -9.8737 | 0.49943 | 17.3388 | -7.2676 | 0 | 0 | 47.2932
2054 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2054 | 0 | 29.3255 | 0 | 0 | 17.5841 | -10.1205 | 0.45339 | 19.272 | -6.9827 | 0 | 0 | 49.5318
2055 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2055 | 0 | 29.3255 | 0 | 0 | 15.2469 | -10.3735 | 0.40604 | 20.1826 | -6.6979 | 0 | 0 | 48.0896
2056 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2056 | 0 | 25.0935 | 0 | 0 | 12.3896 | -10.6329 | 0.36463 | 20.6612 | -6.4132 | 0 | 0 | 41.4629
2057 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2057 | 0 | 20.1523 | 0 | 0 | 9.4238 | -10.8987 | 0.33269 | 19.2294 | -6.1285 | 0 | 0 | 32.1109
2058 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2058 | 0 | 15.0054 | 0 | 0 | 6.6348 | -11.1711 | 0.31299 | 17.5894 | -5.8532 | 0 | 0 | 22.5184
2059 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2059 | 0 | 10.5036 | 0 | 0 | 3.4083 | -11.4504 | 0.28547 | 15.7654 | -5.5871 | 0 | 0 | 12.9252
2060 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2060 | 0 | 5.3028 | 0 | 0 | 0 | 0 | 0.24478 | 14.0808 | -5.3303 | 0 | 0 | 14.298
2061 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2061 | 0 | 0 | 0 | 0 | 0 | 0 | 0.22271 | 12.5192 | -5.0829 | 0 | 0 | 7.6591
2062 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2062 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20266 | 11.0791 | 0 | 0 | 0 | 11.2818
2063 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2063 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1669 | 9.7536 | 0 | 0 | 0 | 9.9205
2064 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2064 | 0 | 0 | 0 | 0 | 0 | 0 | 0.13126 | 8.5206 | 0 | 0 | 0 | 8.6519
2065 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2065 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10588 | 7.3567 | 0 | 0 | 0 | 7.4626
2066 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2066 | 0 | 0 | 0 | 0 | 0 | 0 | 0.082856 | 6.2458 | 0 | 0 | 0 | 6.3287
2067 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2067 | 0 | 0 | 0 | 0 | 0 | 0 | 0.05859 | 5.1828 | 0 | 0 | 0 | 5.2414
2068 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2068 | 0 | 0 | 0 | 0 | 0 | 0 | 0.036618 | 4.1662 | 0 | 0 | 0 | 4.2028
2069 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2069 | 0 | 0 | 0 | 0 | 0 | 0 | 0.030373 | 2.5672 | 0 | 0 | 0 | 2.5975
2070 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2070 | 0 | 0 | 0 | 0 | 0 | 0 | 0.02342 | 1.3774 | 0 | 0 | 0 | 1.4008
NPV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 783.5602 | 162.0704 | 0 | 0 | 67.3626 | -38.5098 | 1.2944 | 62.8268 | -82.5225 | 0 | 37.0724 | 993.1544

## Plan 3
Iteration #3 - Resource Plan 3 | [8 empty] | 1000000
| Solar | [12 empty] | Battery
| Generation Capital | Land Capital | TX Interconnection Capital | TX Integration Capital | Fixed O&M | Avoided Distribution O&M | Capital Replacement | Capital Replenishment | Avoided Distribution Capital | Rent | Gas Transportation | Total Cost by Technology |  | Generation Capital | Land Capital | TX Interconnection Capital | TX Integration Capital | Fixed O&M | Avoided Distribution O&M | Capital Replacement | Capital Replenishment | Avoided Distribution Capital | Rent | Gas Transportation | Total Cost by Technology
| (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) |  | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions)
2016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020 | 18.3761 | 0.19304 | 0.077571 | 0 | 1.1141 | 0 | 0.19505 | 0 | 0 | 1.3635 | 0 | 21.3194 | 2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2021 | 49.2956 | 0.38801 | 1.1292 | 0 | 2.2505 | 0 | 0.37681 | 0 | 0 | 2.7406 | 0 | 56.1808 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022 | 74.2434 | 0.58493 | 3.4767 | 0 | 3.7368 | 0 | 0.54514 | 0 | 0 | 4.1315 | 0 | 86.7186 | 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023 | 100.5404 | 0.98271 | 3.3364 | 0 | 6.4333 | 0 | 0.9098 | 0 | 0 | 6.9412 | 0 | 119.1438 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2024 | 125.1173 | 1.3845 | 3.6762 | 0 | 8.8493 | 0 | 1.2506 | 0 | 0 | 9.7789 | 0 | 150.0568 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2025 | 204.5564 | 21.9438 | 8.5852 | 0 | 11.3255 | 0 | 1.4463 | 0 | 0 | 12.645 | 0 | 260.5023 | 2025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026 | 219.5765 | 22.3536 | 8.2452 | 0 | 15.128 | 0 | 1.631 | 0 | 0 | 15.5398 | 0 | 282.4741 | 2026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2027 | 202.3418 | 22.3536 | 7.9237 | 0 | 15.4689 | 0 | 1.3576 | 0 | 0 | 15.5398 | -38.7511 | 226.2342 | 2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2028 | 188.9336 | 22.3536 | 7.6164 | 0 | 15.6014 | 0 | 0.97609 | 0 | 0 | 15.5398 | -38.7511 | 212.2697 | 2028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2029 | 178.3339 | 22.3536 | 7.3207 | 0 | 15.6542 | 0 | 0.63168 | 0 | 0 | 15.5398 | -38.7511 | 201.0827 | 2029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2030 | 169.543 | 22.3536 | 7.0332 | 0 | 15.7112 | 0 | 0.31219 | 0 | 0 | 15.5398 | -38.7511 | 191.7418 | 2030 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2031 | 162.6731 | 22.3536 | 6.7484 | 0 | 16.2021 | 0 | 0.0097606 | 0 | 0 | 15.5398 | 0 | 223.5268 | 2031 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2032 | 157.0069 | 22.3536 | 6.4635 | 0 | 16.2236 | 0 | 0.0089462 | 0 | 0 | 15.5398 | 0 | 217.5964 | 2032 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2033 | 151.5896 | 22.3536 | 6.1787 | 0 | 16.3378 | 0 | 0.0082784 | 0 | 0 | 15.5398 | 0 | 212.0077 | 2033 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2034 | 146.1722 | 22.3536 | 5.8938 | 0 | 16.3745 | 0 | 0.0076974 | 0 | 0 | 15.5398 | 0 | 206.3416 | 2034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2035 | 140.7549 | 22.3536 | 5.6129 | 0 | 16.3405 | 0 | 0.0071421 | 0 | 0 | 15.5398 | 0 | 200.6087 | 2035 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2036 | 135.3375 | 22.3536 | 5.3507 | 0 | 16.3624 | 0 | 0.0066181 | 0 | 0 | 15.5398 | 0 | 194.9506 | 2036 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2037 | 129.9202 | 22.3536 | 5.1148 | 0 | 16.6439 | 0 | 0.012842 | 0 | 0 | 15.5398 | 0 | 189.5851 | 2037 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2038 | 124.5028 | 22.3536 | 4.8899 | 0 | 16.4549 | 0 | 0.037318 | 0 | 0 | 15.5398 | 0 | 183.7784 | 2038 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2039 | 119.0854 | 22.3536 | 4.6885 | 0 | 16.5592 | 0 | 0.034522 | 0 | 0 | 15.5398 | 0 | 178.261 | 2039 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2040 | 113.6681 | 22.3536 | 4.534 | 0 | 16.6493 | 0 | 0.031725 | 0 | 0 | 15.5398 | 0 | 172.7765 | 2040 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2041 | 108.2507 | 22.3536 | 4.403 | 0 | 16.7139 | 0 | 0.029392 | 0 | 0 | 15.5398 | 0 | 167.2903 | 2041 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2042 | 102.8334 | 22.3536 | 4.2719 | 0 | 16.802 | 0 | 0.027369 | 0 | 0 | 15.5398 | 0 | 161.8281 | 2042 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2043 | 97.416 | 22.3536 | 4.141 | 0 | 17.0113 | 0 | 0.025462 | 0 | 0 | 15.5398 | 0 | 156.4872 | 2043 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2044 | 91.9987 | 22.3536 | 4.01 | 0 | 16.9545 | 0 | 0.029577 | 0 | 0 | 15.5398 | 0 | 150.8861 | 2044 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2045 | 86.6543 | 22.3536 | 3.8791 | 0 | 17.0945 | 0 | 0.033603 | 0 | 0 | 15.5398 | 0 | 145.5549 | 2045 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2046 | 81.4392 | 22.3536 | 3.7482 | 0 | 17.1627 | 0 | 0.053862 | 0 | 0 | 15.5398 | 0 | 140.2973 | 2046 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2047 | 76.3398 | 22.3536 | 3.6174 | 0 | 17.1569 | 0 | 0.050072 | 0 | 0 | 15.5398 | 0 | 135.0575 | 2047 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2048 | 71.3683 | 22.3536 | 3.4865 | 0 | 17.2301 | 0 | 0.046402 | 0 | 0 | 15.5398 | 0 | 130.0248 | 2048 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2049 | 66.5214 | 22.3536 | 3.3558 | 0 | 17.5986 | 0 | 0.043205 | 0 | 0 | 15.5398 | 0 | 125.4123 | 2049 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2050 | 59.801 | 22.3536 | 3.225 | 0 | 16.1588 | 0 | 0.040295 | 0 | 0 | 14.1763 | 0 | 115.7549 | 2050 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2051 | 51.3801 | 22.1606 | 3.0943 | 0 | 15.0562 | 0 | 0.037533 | 0 | 0 | 12.7991 | 0 | 104.5278 | 2051 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2052 | 43.2768 | 21.9656 | 2.9637 | 0 | 12.7515 | 0 | 0.032565 | 0 | 0 | 11.4082 | 0 | 92.3984 | 2052 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2053 | 34.9934 | 21.7687 | 2.8333 | 0 | 10.2225 | 0 | 0.048264 | 0 | 0 | 8.5986 | 0 | 78.4648 | 2053 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2054 | 26.2471 | 21.3709 | 2.7059 | 0 | 7.6668 | 0 | 0.045016 | 0 | 0 | 5.7609 | 0 | 63.7965 | 2054 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2055 | 8.5431 | 20.9691 | 2.5852 | 0 | 5.1716 | 0 | 0.041788 | 0 | 0 | 2.8948 | 0 | 40.2056 | 2055 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2056 | 0.71454 | 0.40983 | 2.4646 | 0 | 0 | 0 | 0.038974 | 0 | 0 | 0 | 0 | 3.628 | 2056 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2057 | 0 | 0 | 2.3454 | 0 | 0 | 0 | 0.036455 | 0 | 0 | 0 | 0 | 2.3818 | 2057 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2058 | 0 | 0 | 2.2404 | 0 | 0 | 0 | 0.034059 | 0 | 0 | 0 | 0 | 2.2744 | 2058 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2059 | 0 | 0 | 2.1354 | 0 | 0 | 0 | 0.028877 | 0 | 0 | 0 | 0 | 2.1643 | 2059 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2060 | 0 | 0 | 2.0163 | 0 | 0 | 0 | 0.023994 | 0 | 0 | 0 | 0 | 2.0403 | 2060 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2061 | 0 | 0 | 1.7201 | 0 | 0 | 0 | 0.014552 | 0 | 0 | 0 | 0 | 1.7346 | 2061 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2062 | 0 | 0 | 1.1925 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1925 | 2062 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2063 | 0 | 0 | 1.1286 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1286 | 2063 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2064 | 0 | 0 | 0.9784 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9784 | 2064 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2065 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2065 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2066 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2066 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2067 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2067 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2068 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2068 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2069 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2069 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2070 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2070 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NPV | 1204.1094 | 149.8106 | 48.0079 | 0 | 116.374 | 0 | 5.0209 | 0 | 0 | 114.2039 | -62.6111 | 1574.9157 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Plan 4
Iteration #3 - Resource Plan 4 | [9 empty] | -1000000 | [5 empty] | -1
| Solar | [12 empty] | Battery
| Generation Capital | Land Capital | TX Interconnection Capital | TX Integration Capital | Fixed O&M | Avoided Distribution O&M | Capital Replacement | Capital Replenishment | Avoided Distribution Capital | Rent | Gas Transportation | Total Cost by Technology |  | Generation Capital | Land Capital | TX Interconnection Capital | TX Integration Capital | Fixed O&M | Avoided Distribution O&M | Capital Replacement | Capital Replenishment | Avoided Distribution Capital | Rent | Gas Transportation | Total Cost by Technology
| (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) |  | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions)
2016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
2020 | 18.3761 | 0.19304 | 0.077571 | 0 | 1.1141 | 0 | 0.19505 | 0 | 0 | 1.3635 | 0 | 21.3194 | 2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
2021 | 49.2956 | 0.38801 | 1.1292 | 0 | 2.2505 | 0 | 0.37681 | 0 | 0 | 2.7406 | 0 | 56.1808 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
2022 | 74.2434 | 0.58493 | 3.4767 | 0 | 3.7368 | 0 | 0.54514 | 0 | 0 | 4.1315 | 0 | 86.7186 | 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
2023 | 84.0935 | 0.78382 | 3.3364 | 0 | 5.251 | 0 | 0.70281 | 0 | 0 | 5.5364 | 0 | 99.7039 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
2024 | 93.6195 | 0.9847 | 3.6762 | 0 | 6.4611 | 0 | 0.85076 | 0 | 0 | 6.9552 | 0 | 112.5475 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
2025 | 159.8646 | 21.3411 | 8.5852 | 0 | 7.7073 | 0 | 0.86777 | 0 | 0 | 8.3883 | 0 | 206.7543 | 2025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
2026 | 163.0417 | 21.546 | 8.2452 | 0 | 10.2551 | 0 | 0.88513 | 0 | 0 | 9.8357 | 0 | 213.8088 | 2026 | 128.3965 | 1.6033 | 0 | 0 | 1.7052 | 0 | 0 | 0.92068 |  | 0 | 0 | 132.6257
2027 | 166.039 | 21.753 | 7.9237 | 0 | 11.8757 | 0 | 0.90283 | 0 | -2.9787 | 11.2975 | 0 | 216.813 | 2027 | 255.3392 | 6.3863 | 0 | 0 | 4.6662 | -0.69278 | 0 | 2.6607 |  | 0 | 0 | 268.3596
2028 | 170.4058 | 21.962 | 7.6164 | 0 | 13.3136 | 0 | 0.92088 | 0 | -7.1113 | 12.774 | 0 | 219.8814 | 2028 | 369.3559 | 17.1752 | 0 | 0 | 8.5684 | -2.7073 | 0 | 5.109 |  | 0 | 23.8319 | 421.3332
2029 | 174.9613 | 22.1732 | 7.3207 | 0 | 14.6978 | 0 | 0.94476 | 0 | -11.1064 | 14.2652 | 0 | 223.2565 | 2029 | 479.4263 | 32.1731 | 0 | 0 | 13.3237 | -5.5044 | 0 | 8.185 |  | 0 | 23.8319 | 551.4357
2030 | 179.494 | 22.3864 | 7.0332 | 0 | 16.1129 | 0 | 0.96872 | 0 | -14.9634 | 15.7714 | 0 | 226.8032 | 2030 | 580.2774 | 47.6773 | 0 | 0 | 18.1841 | -8.3931 | 0 | 11.8109 |  | 0 | 23.8319 | 673.3887
2031 | 170.0144 | 22.3864 | 6.7484 | 0 | 16.6038 | 0 | 0.74449 | 0 | -14.4672 | 15.7714 | 0 | 217.8017 | 2031 | 529.6511 | 47.6773 | 0 | 0 | 19.261 | -8.6029 | 0 | 15.1406 |  | 0 | 0 | 603.1272
2032 | 162.079 | 22.3864 | 6.4635 | 0 | 16.6253 | 0 | 0.53722 | 0 | -13.9693 | 15.7714 | 0 | 209.8936 | 2032 | 486.5921 | 47.6773 | 0 | 0 | 20.7345 | -8.818 | 0 | 18.2055 |  | 0 | 0 | 564.3914
2033 | 155.2006 | 22.3864 | 6.1787 | 0 | 16.7394 | 0 | 0.3472 | 0 | -13.4921 | 15.7714 | 0 | 203.1317 | 2033 | 452.0166 | 47.6773 | 0 | 0 | 22.1129 | -9.0384 | 0.040146 | 21.0433 |  | 0 | 0 | 533.8519
2034 | 148.9561 | 22.3864 | 5.8938 | 0 | 16.7762 | 0 | 0.1709 | 0 | -13.034 | 15.7714 | 0 | 196.9208 | 2034 | 422.5525 | 47.6773 | 0 | 0 | 23.9508 | -9.2644 | 0.10231 | 23.6876 |  | 0 | 0 | 508.7062
2035 | 143.1826 | 22.3864 | 5.6129 | 0 | 16.7422 | 0 | 0.0071421 | 0 | -12.5924 | 15.7714 | 0 | 191.1101 | 2035 | 396.9689 | 47.6773 | 0 | 0 | 25.8641 | -9.496 | 0.18446 | 26.1669 |  | 0 | 0 | 487.3657
2036 | 137.7583 | 22.3864 | 5.3507 | 0 | 16.764 | 0 | 0.0066181 | 0 | -12.163 | 15.7714 | 0 | 185.8745 | 2036 | 374.3202 | 47.6773 | 0 | 0 | 25.9815 | -9.7334 | 0.30086 | 28.5042 |  | 0 | 0 | 467.0507
2037 | 132.4499 | 22.3864 | 5.1148 | 0 | 17.0456 | 0 | 0.012842 | 0 | -11.7411 | 15.7714 | 0 | 181.0398 | 2037 | 352.6487 | 47.6773 | 0 | 0 | 26.5646 | -9.9767 | 0.44646 | 30.7211 |  | 0 | 0 | 448.0815
2038 | 127.1415 | 22.3864 | 4.8899 | 0 | 16.8566 | 0 | 0.037318 | 0 | -11.3221 | 15.7714 | 0 | 175.761 | 2038 | 330.9772 | 47.6773 | 0 | 0 | 27.0719 | -10.2261 | 0.52534 | 32.8336 |  | 0 | 0 | 428.8592
2039 | 121.833 | 22.3864 | 4.6885 | 0 | 16.9608 | 0 | 0.034522 | 0 | -10.9035 | 15.7714 | 0 | 170.7712 | 2039 | 310.0991 | 47.6773 | 0 | 0 | 27.0636 | -10.4818 | 0.64316 | 34.8477 |  | 0 | 0 | 409.849
2040 | 116.5246 | 22.3864 | 4.534 | 0 | 17.051 | 0 | 0.031725 | 0 | -10.4849 | 15.7714 | 0 | 165.8141 | 2040 | 290.0789 | 47.6773 | 0 | 0 | 27.3756 | -10.7438 | 0.73191 | 36.7642 |  | 0 | 0 | 391.8841
2041 | 111.2161 | 22.3864 | 4.403 | 0 | 17.1155 | 0 | 0.029392 | 0 | -10.0665 | 15.7714 | 0 | 160.8553 | 2041 | 229.9343 | 47.6773 | 0 | 0 | 27.9598 | -11.0124 | 0.8275 | 38.2596 |  | 0 | 0 | 333.6461
2042 | 105.9077 | 22.3864 | 4.2719 | 0 | 17.2037 | 0 | 0.027369 | 0 | -9.648 | 15.7714 | 0 | 155.9204 | 2042 | 168.1874 | 47.6773 | 0 | 0 | 26.8487 | -11.2877 | 0.89748 | 39.3702 |  | 0 | 0 | 271.6933
2043 | 100.5992 | 22.3864 | 4.141 | 0 | 17.413 | 0 | 0.025462 | 0 | -9.2296 | 15.7714 | 0 | 151.1068 | 2043 | 110.6751 | 47.6773 | 0 | 0 | 27.6692 | -11.5699 | 0.93424 | 40.134 |  | 0 | 0 | 215.5199
2044 | 95.2908 | 22.3864 | 4.01 | 0 | 17.3561 | 0 | 0.029577 | 0 | -8.8113 | 15.7714 | 0 | 146.033 | 2044 | 54.8342 | 47.6773 | 0 | 0 | 28.4078 | -11.8592 | 0.99213 | 40.5833 |  | 0 | 0 | 160.6356
2045 | 90.0553 | 22.3864 | 3.8791 | 0 | 17.4962 | 0 | 0.033603 | 0 | -8.393 | 15.7714 | 0 | 141.229 | 2045 | 2.6655 | 47.6773 | 0 | 0 | 28.8849 | -12.1557 | 1.0576 | 40.7505 |  | 0 | 0 | 108.8802
2046 | 84.9491 | 22.3864 | 3.7482 | 0 | 17.5644 | 0 | 0.053862 | 0 | -7.9747 | 15.7714 | 0 | 136.4986 | 2046 | 0 | 47.6773 | 0 | 0 | 29.776 | -12.4596 | 1.013 | 40.9466 |  | 0 | 0 | 106.9534
2047 | 79.9586 | 22.3864 | 3.6174 | 0 | 17.5586 | 0 | 0.050072 | 0 | -7.5658 | 15.7714 | 0 | 131.7766 | 2047 | 0 | 47.6773 | 0 | 0 | 30.6933 | -12.771 | 0.98921 | 41.1724 |  | 0 | 0 | 107.7612
2048 | 75.032 | 22.3864 | 3.4865 | 0 | 17.6318 | 0 | 0.046402 | 0 | -7.1889 | 15.7714 | 0 | 127.1657 | 2048 | 0 | 47.6773 | 0 | 0 | 31.2106 | -13.0903 | 0.97028 | 41.4282 |  | 0 | 0 | 108.1961
2049 | 70.1678 | 22.3864 | 3.3558 | 0 | 18.0003 | 0 | 0.043205 | 0 | -6.8609 | 15.7714 | 0 | 122.8639 | 2049 | 0 | 47.6773 | 0 | 0 | 32.6653 | -13.4176 | 1.0056 | 41.72 |  | 0 | 0 | 109.6507
2050 | 63.3692 | 22.3864 | 3.225 | 0 | 16.5604 | 0 | 0.040295 | 0 | -6.5859 | 14.4079 | 0 | 113.4033 | 2050 | 0 | 47.6773 | 0 | 0 | 33.8018 | -13.753 | 1.0037 | 42.0323 |  | 0 | 0 | 110.7621
2051 | 54.8106 | 22.1934 | 3.0943 | 0 | 15.4579 | 0 | 0.037533 | 0 | -6.3506 | 13.0307 | 0 | 102.2738 | 2051 | 0 | 47.6773 | 0 | 0 | 34.5582 | -14.0968 | 1.0147 | 42.3623 |  | 0 | 0 | 111.5157
2052 | 46.628 | 21.9984 | 2.9637 | 0 | 13.1532 | 0 | 0.032565 | 0 | -6.1286 | 11.6398 | 0 | 90.287 | 2052 | 0 | 47.6773 | 0 | 0 | 35.4282 | -14.4493 | 1.0382 | 42.7076 |  | 0 | 0 | 112.402
2053 | 40.6244 | 21.8015 | 2.8333 | 0 | 11.8065 | 0 | 0.048264 | 0 | -5.9067 | 10.235 | 0 | 81.4423 | 2053 | 0 | 47.6773 | 0 | 0 | 34.8517 | -14.8105 | 1.082 | 43.066 |  | 0 | 0 | 111.8665
2054 | 34.7928 | 21.6026 | 2.7059 | 0 | 10.4567 | 0 | 0.045016 | 0 | -5.6848 | 8.8162 | 0 | 72.7343 | 2054 | 0 | 47.6773 | 0 | 0 | 35.1469 | -15.1808 | 0.95 | 43.4358 |  | 0 | 0 | 112.0293
2055 | 19.7253 | 21.4017 | 2.5852 | 0 | 9.1916 | 0 | 0.041788 | 0 | -5.4629 | 7.3831 | 0 | 54.8658 | 2055 | 0 | 47.6773 | 0 | 0 | 36.1376 | -15.5603 | 0.83959 | 42.81 |  | 0 | 0 | 111.9043
2056 | 14.2114 | 1.0453 | 2.4646 | 0 | 5.2746 | 0 | 0.038974 | 0 | -5.2412 | 5.9357 | 0 | 23.7295 | 2056 | 0 | 47.6773 | 0 | 0 | 32.8626 | -15.9493 | 0.74906 | 42.7996 |  | 0 | 0 | 108.1393
2057 | 10.3014 | 0.84036 | 2.3454 | 0 | 3.9949 | 0 | 0.036455 | 0 | -5.0195 | 4.4739 | 0 | 16.9729 | 2057 | 0 | 46.074 | 0 | 0 | 26.8167 | -16.348 | 0.68408 | 40.2626 |  | 0 | 0 | 97.4893
2058 | 6.6901 | 0.6334 | 2.2404 | 0 | 2.6895 | 0 | 0.034059 | 0 | -4.7978 | 2.9974 | 0 | 10.4871 | 2058 | 0 | 41.291 | 0 | 0 | 19.321 | -16.7567 | 0.64434 | 36.922 |  | 0 | 0 | 81.4216
2059 | 3.3696 | 0.42436 | 2.1354 | 0 | 1.3581 | 0 | 0.028877 | 0 | -4.5763 | 1.5062 | 0 | 4.2463 | 2059 | 0 | 30.5022 | 0 | 0 | 10.1343 | -17.1756 | 0.60056 | 32.872 |  | 0 | 0 | 56.9334
2060 | 0.33244 | 0.21324 | 2.0163 | 0 | 0 | 0 | 0.023994 | 0 | -4.363 | 0 | 0 | -1.777 | 2060 | 0 | 15.5042 | 0 | 0 | 0 | 0 | 0.51414 | 29.1374 |  | 0 | 0 | 45.1558
2061 | 0 | 0 | 1.7201 | 0 | 0 | 0 | 0.014552 | 0 | -4.1613 | 0 | 0 | -2.4267 | 2061 | 0 | 0 | 0 | 0 | 0 | 0 | 0.47231 | 25.6815 |  | 0 | 0 | 26.1538
2062 | 0 | 0 | 1.1925 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1925 | 2062 | 0 | 0 | 0 | 0 | 0 | 0 | 0.42763 | 22.4609 |  | 0 | 0 | 22.8885
2063 | 0 | 0 | 1.1286 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1286 | 2063 | 0 | 0 | 0 | 0 | 0 | 0 | 0.37963 | 19.4523 |  | 0 | 0 | 19.8319
2064 | 0 | 0 | 0.9784 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9784 | 2064 | 0 | 0 | 0 | 0 | 0 | 0 | 0.31239 | 16.6354 |  | 0 | 0 | 16.9478
2065 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2065 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25806 | 13.9842 |  | 0 | 0 | 14.2423
2066 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2066 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19717 | 11.4684 |  | 0 | 0 | 11.6656
2067 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2067 | 0 | 0 | 0 | 0 | 0 | 0 | 0.13098 | 9.0723 |  | 0 | 0 | 9.2032
2068 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2068 | 0 | 0 | 0 | 0 | 0 | 0 | 0.068168 | 6.7912 |  | 0 | 0 | 6.8594
2069 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2069 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064301 | 4.6266 |  | 0 | 0 | 4.6909
2070 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2070 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.9337 |  | 0 | 0 | 2.9337
NPV | 1121.2837 | 148.5747 | 48.0079 | 0 | 110.0279 | 0 | 4.6976 | 0 | -58.7914 | 105.5515 | 0 | 1479.3519 |  | 1825.5942 | 240.3362 | 0 | 0 | 129.1882 | -52.8542 | 2.2598 | 146.4363 | 0 | 0 | 27.8043 | 2318.7648

## Plan 5
Iteration #3 - Resource Plan 5 | [9 empty] | -1000000 | [7 empty] | -1
| Solar | [12 empty] | Battery
| Generation Capital | Land Capital | TX Interconnection Capital | TX Integration Capital | Fixed O&M | Avoided Distribution O&M | Capital Replacement | Capital Replenishment | Avoided Distribution Capital | Rent | Gas Transportation | Total Cost by Technology |  | Generation Capital | Land Capital | TX Interconnection Capital | TX Integration Capital | Fixed O&M | Avoided Distribution O&M | Capital Replacement | Capital Replenishment | Avoided Distribution Capital | Rent | Gas Transportation | Total Cost by Technology
| (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) |  | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions)
2016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
2024 | 0 | 0 | 0.31636 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.31636 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
2025 | 26.8517 | 0 | 3.6947 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30.5465 | 2025 | 43.2405 | 0 | 0 | 0 | 0.62941 | 0 | 0 | 0.3163 |  | 0 | 0 | 44.1862
2026 | 24.4177 | 0 | 3.5447 | 0 | 0.72244 | 0 | 0 | 0 | 0 | 0 | 0 | 28.6849 | 2026 | 163.991 | 0 | 0 | 0 | 2.4001 | 0 | 0 | 1.4847 |  | 0 | 0 | 167.8758
2027 | 22.0131 | 0 | 3.4042 | 0 | 0.71457 | 0 | 0 | 0 | 0 | 0 | 0 | 26.1319 | 2027 | 148.4784 | 0 | 0 | 0 | 2.4414 | 0 | 0 | 2.5421 |  | 0 | 0 | 153.4619
2028 | 20.3605 | 0 | 3.2724 | 0 | 0.73191 | 0 | 0 | 0 | 0 | 0 | 0 | 24.3649 | 2028 | 134.1284 | 0 | 0 | 0 | 2.5422 | 0 | 0 | 3.4949 |  | 0 | 23.8319 | 163.9975
2029 | 18.99 | 0 | 3.6724 | 0 | 0.74967 | 0 | 0 | 0 | 0 | 0 | 0 | 23.4121 | 2029 | 160.574 | 0 | 0 | 0 | 3.124 | 0 | 0 | 4.6054 |  | 0 | 23.8319 | 192.1353
2030 | 77.3132 | 21.1816 | 9.1494 | 0 | 0.76785 | 0 | 0 | 0 | -4.6618 | 0 | 0 | 103.7501 | 2030 | 277.8705 | 10.4079 | 0 | 0 | 6.8273 | -1.3988 | 0 | 6.3861 |  | 0 | 23.8319 | 323.9249
2031 | 71.1854 | 21.1816 | 8.7842 | 0 | 2.4115 | 0 | 0 | 0 | -4.5236 | 0 | 0 | 99.0391 | 2031 | 254.2989 | 10.4079 | 0 | 0 | 7.7708 | -1.4338 | 0 | 8.0242 |  | 0 | 0 | 279.068
2032 | 65.3342 | 21.1816 | 8.4348 | 0 | 2.6929 | 0 | 0 | 0 | -4.3661 | 0 | 0 | 93.2773 | 2032 | 233.7432 | 10.4079 | 0 | 0 | 8.1166 | -1.4697 | 0.014414 | 9.5258 |  | 0 | 0 | 260.3383
2033 | 61.1489 | 21.1816 | 8.0998 | 0 | 2.7605 | 0 | 0.012055 | 0 | -4.2156 | 0 | 0 | 88.9873 | 2033 | 217.5222 | 10.4079 | 0 | 0 | 8.2991 | -1.5064 | 0.054232 | 10.9172 |  | 0 | 0 | 245.6942
2034 | 57.5884 | 21.1816 | 7.7777 | 0 | 2.8171 | 0 | 0.011125 | 0 | -4.0713 | 0 | 0 | 85.3047 | 2034 | 202.7358 | 10.4079 | 0 | 0 | 8.8103 | -1.5441 | 0.052776 | 12.2222 |  | 0 | 0 | 232.6849
2035 | 54.4965 | 21.1816 | 7.4648 | 0 | 2.8661 | 0 | 0.010145 | 0 | -3.9329 | 0 | 0 | 82.0862 | 2035 | 189.3429 | 10.4079 | 0 | 0 | 9.8857 | -1.5827 | 0.058588 | 13.451 |  | 0 | 0 | 221.5635
2036 | 52.3417 | 21.1816 | 7.1548 | 0 | 3.4143 | 0 | 0.0093513 | 0 | -3.7999 | 0 | 0 | 80.3018 | 2036 | 177.9749 | 10.4079 | 0 | 0 | 9.6322 | -1.6222 | 0.07886 | 14.6065 |  | 0 | 0 | 211.0782
2037 | 50.6555 | 21.1816 | 6.8448 | 0 | 3.5605 | 0 | 0.0086905 | 0 | -3.672 | 0 | 0 | 78.5791 | 2037 | 167.4923 | 10.4079 | 0 | 0 | 10.1991 | -1.6628 | 0.15793 | 15.6968 |  | 0 | 0 | 202.2913
2038 | 48.9692 | 21.1816 | 6.5348 | 0 | 3.5194 | 0 | 0.0080852 | 0 | -3.5468 | 0 | 0 | 76.6664 | 2038 | 157.2769 | 10.4079 | 0 | 0 | 10.2214 | -1.7044 | 0.15684 | 16.7329 |  | 0 | 0 | 193.0915
2039 | 47.283 | 21.1816 | 6.2406 | 0 | 3.5721 | 0 | 0.0074798 | 0 | -3.422 | 0 | 0 | 74.8627 | 2039 | 147.8324 | 10.4079 | 0 | 0 | 10.1162 | -1.747 | 0.17655 | 17.7197 |  | 0 | 0 | 184.5058
2040 | 45.5967 | 21.1816 | 5.9778 | 0 | 3.6063 | 0 | 0.0069436 | 0 | -3.2972 | 0 | 0 | 73.0722 | 2040 | 124.5865 | 10.4079 | 0 | 0 | 9.9463 | -1.7906 | 0.21412 | 18.5463 |  | 0 | 0 | 161.9106
2041 | 43.9105 | 21.1816 | 5.7308 | 0 | 3.6357 | 0 | 0.021234 | 0 | -3.1725 | 0 | 0 | 71.3073 | 2041 | 75.6051 | 10.4079 | 0 | 0 | 10.9381 | -1.8354 | 0.28256 | 19.0243 |  | 0 | 0 | 114.4225
2042 | 42.2243 | 21.1816 | 5.4839 | 0 | 3.9533 | 0 | 0.019772 | 0 | -3.0477 | 0 | 0 | 69.815 | 2042 | 68.2872 | 10.4079 | 0 | 0 | 10.0819 | -1.8813 | 0.29312 | 19.4928 |  | 0 | 0 | 106.6816
2043 | 40.538 | 21.1816 | 5.2369 | 0 | 3.7952 | 0 | 0.039184 | 0 | -2.923 | 0 | 0 | 67.8678 | 2043 | 64.0871 | 10.4079 | 0 | 0 | 10.4843 | -1.9283 | 0.27088 | 19.9502 |  | 0 | 0 | 103.2721
2044 | 38.8518 | 21.1816 | 5.0161 | 0 | 3.8158 | 0 | 0.036274 | 0 | -2.7983 | 0 | 0 | 66.1031 | 2044 | 47.9533 | 10.4079 | 0 | 0 | 10.7345 | -1.9765 | 0.27235 | 20.3103 |  | 0 | 0 | 87.7017
2045 | 37.1655 | 21.1816 | 4.8474 | 0 | 3.9118 | 0 | 0.033439 | 0 | -2.6736 | 0 | 0 | 64.4661 | 2045 | 2.4152 | 10.4079 | 0 | 0 | 10.8629 | -2.0259 | 0.35378 | 20.3945 |  | 0 | 0 | 42.4084
2046 | 35.4793 | 21.1816 | 4.7048 | 0 | 4.0132 | 0 | 0.030995 | 0 | -2.5489 | 0 | 0 | 62.8609 | 2046 | 0 | 10.4079 | 0 | 0 | 11.1754 | -2.0766 | 0.32921 | 20.4951 |  | 0 | 0 | 40.331
2047 | 33.793 | 21.1816 | 4.5622 | 0 | 4.112 | 0 | 0.028782 | 0 | -2.4243 | 0 | 0 | 61.2533 | 2047 | 0 | 10.4079 | 0 | 0 | 11.7212 | -2.1285 | 0.30034 | 20.6087 |  | 0 | 0 | 40.9097
2048 | 32.1068 | 21.1816 | 4.4197 | 0 | 4.3498 | 0 | 0.03996 | 0 | -2.2996 | 0 | 0 | 59.7982 | 2048 | 0 | 10.4079 | 0 | 0 | 11.8126 | -2.1817 | 0.29101 | 20.7328 |  | 0 | 0 | 41.0626
2049 | 30.4205 | 21.1816 | 4.2772 | 0 | 4.4479 | 0 | 0.037077 | 0 | -2.175 | 0 | 0 | 58.1893 | 2049 | 0 | 10.4079 | 0 | 0 | 12.0661 | -2.2363 | 0.36963 | 20.8798 |  | 0 | 0 | 41.4872
2050 | 28.8355 | 21.1816 | 4.1347 | 0 | 4.366 | 0 | 0.034326 | 0 | -2.065 | 0 | 0 | 56.4872 | 2050 | 0 | 10.4079 | 0 | 0 | 12.3323 | -2.2922 | 0.34111 | 21.037 |  | 0 | 0 | 41.8262
2051 | 27.2505 | 21.1816 | 3.9923 | 0 | 4.4425 | 0 | 0.057593 | 0 | -1.9842 | 0 | 0 | 54.9404 | 2051 | 0 | 10.4079 | 0 | 0 | 12.5292 | -2.3495 | 0.30807 | 21.2028 |  | 0 | 0 | 42.0984
2052 | 25.6655 | 21.1816 | 3.8499 | 0 | 4.5206 | 0 | 0.053698 | 0 | -1.918 | 0 | 0 | 53.3533 | 2052 | 0 | 10.4079 | 0 | 0 | 13.5988 | -2.4082 | 0.27821 | 21.376 |  | 0 | 0 | 43.2527
2053 | 24.0805 | 21.1816 | 3.7076 | 0 | 4.5129 | 0 | 0.049778 | 0 | -1.8518 | 0 | 0 | 51.6805 | 2053 | 0 | 10.4079 | 0 | 0 | 13.169 | -2.4684 | 0.36649 | 21.5558 |  | 0 | 0 | 43.0308
2054 | 22.4954 | 21.1816 | 3.5653 | 0 | 4.8933 | 0 | 0.046252 | 0 | -1.7856 | 0 | 0 | 50.3962 | 2054 | 0 | 10.4079 | 0 | 0 | 13.0729 | -2.5301 | 0.33245 | 21.406 |  | 0 | 0 | 42.6892
2055 | 16.6267 | 21.1816 | 3.423 | 0 | 3.9226 | 0 | 0.043107 | 0 | -1.7195 | 0 | 0 | 43.4775 | 2055 | 0 | 10.4079 | 0 | 0 | 12.097 | -2.5934 | 0.29662 | 20.3205 |  | 0 | 0 | 40.5287
2056 | 15.0818 | 21.1816 | 3.2808 | 0 | 3.3326 | 0 | 0.035105 | 0 | -1.6534 | 0 | 0 | 41.2585 | 2056 | 0 | 10.4079 | 0 | 0 | 8.2079 | -2.6582 | 0.24625 | 19.3295 |  | 0 | 0 | 35.5334
2057 | 14.1442 | 21.1816 | 3.1395 | 0 | 3.4006 | 0 | 0.032778 | 0 | -1.5873 | 0 | 0 | 40.3114 | 2057 | 0 | 10.4079 | 0 | 0 | 8.1427 | -2.7247 | 0.21928 | 18.4323 |  | 0 | 0 | 34.4775
2058 | 13.2067 | 21.1816 | 3.0078 | 0 | 3.2146 | 0 | 0.05354 | 0 | -1.5212 | 0 | 0 | 39.143 | 2058 | 0 | 10.4079 | 0 | 0 | 8.2657 | -2.7928 | 0.20827 | 17.3257 |  | 0 | 0 | 33.4148
2059 | 12.2691 | 21.1816 | 2.8761 | 0 | 3.0518 | 0 | 0.049884 | 0 | -1.4551 | 0 | 0 | 37.9734 | 2059 | 0 | 10.4079 | 0 | 0 | 7.3303 | -2.8626 | 0.21294 | 15.3807 |  | 0 | 0 | 30.4693
2060 | 1.3454 | 21.1816 | 2.7445 | 0 | 3.0121 | 0 | 0.04625 | 0 | -1.3891 | 0 | 0 | 26.9408 | 2060 | 0 | 10.4079 | 0 | 0 | 0 | 0 | 0.16342 | 13.5796 |  | 0 | 0 | 24.1509
2061 | 0 | 0 | 2.6129 | 0 | 0 | 0 | 0.043084 | 0 | -1.323 | 0 | 0 | 1.3329 | 2061 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15312 | 11.9192 |  | 0 | 0 | 12.0723
2062 | 0 | 0 | 2.4828 | 0 | 0 | 0 | 0.040252 | 0 | 0 | 0 | 0 | 2.5231 | 2062 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14395 | 10.3743 |  | 0 | 0 | 10.5182
2063 | 0 | 0 | 2.3686 | 0 | 0 | 0 | 0.031407 | 0 | 0 | 0 | 0 | 2.4 | 2063 | 0 | 0 | 0 | 0 | 0 | 0 | 0.12619 | 8.9217 |  | 0 | 0 | 9.0479
2064 | 0 | 0 | 2.1965 | 0 | 0 | 0 | 0.02919 | 0 | 0 | 0 | 0 | 2.2257 | 2064 | 0 | 0 | 0 | 0 | 0 | 0 | 0.083647 | 7.5476 |  | 0 | 0 | 7.6313
2065 | 0 | 0 | 1.4685 | 0 | 0 | 0 | 0.027147 | 0 | 0 | 0 | 0 | 1.4956 | 2065 | 0 | 0 | 0 | 0 | 0 | 0 | 0.078404 | 6.2551 |  | 0 | 0 | 6.3335
2066 | 0 | 0 | 1.3973 | 0 | 0 | 0 | 0.016464 | 0 | 0 | 0 | 0 | 1.4137 | 2066 | 0 | 0 | 0 | 0 | 0 | 0 | 0.073342 | 5.0363 |  | 0 | 0 | 5.1097
2067 | 0 | 0 | 1.3261 | 0 | 0 | 0 | 0.015638 | 0 | 0 | 0 | 0 | 1.3418 | 2067 | 0 | 0 | 0 | 0 | 0 | 0 | 0.061155 | 3.8799 |  | 0 | 0 | 3.941
2068 | 0 | 0 | 1.255 | 0 | 0 | 0 | 0.014812 | 0 | 0 | 0 | 0 | 1.2698 | 2068 | 0 | 0 | 0 | 0 | 0 | 0 | 0.018341 | 2.7811 |  | 0 | 0 | 2.7995
2069 | 0 | 0 | 1.088 | 0 | 0 | 0 | 0.013986 | 0 | 0 | 0 | 0 | 1.102 | 2069 | 0 | 0 | 0 | 0 | 0 | 0 | 0.016417 | 1.8587 |  | 0 | 0 | 1.8751
2070 | 0 | 0 | 0 | 0 | 0 | 0 | 0.013161 | 0 | 0 | 0 | 0 | 0.013161 | 2070 | 0 | 0 | 0 | 0 | 0 | 0 | 0.013162 | 1.3266 |  | 0 | 0 | 1.3398
NPV | 275.8481 | 97.5055 | 38.0013 | 0 | 16.094 | 0 | 0.083678 | 0 | -15.7379 | 0 | 0 | 411.7947 |  | 907.604 | 47.911 | 0 | 0 | 49.0791 | -8.2127 | 0.73265 | 75.5844 | 0 | 0 | 27.8043 | 1100.5028

## Sheet2
Avoided Distribution Costs - South Florida Imbalance Study
Iteration #3
| -1 | -2 | -3 | -4 | -5 | -6
| Total Installed MW of Distribution Batteries | Avoided Distribution Capital | Avoided Distribution Capital | Avoided Distribution Capital | Avoided Distribution O&M | Total Avoided Distribution Costs
|  | Dade | Broward | Total | Total | Total
| (MW) | (NPV, 2017$) | (NPV, 2017$) | (NPV, 2017$) | (NPV, 2017$) | (NPV, 2017$)
Plan 1 | 0 | 0 | 0 | 0 | 0 | 0
Plan 2 | 1200 | 83.7929 | 31.5395 | 115.3324 | 39.4417 | 154.7741
Plan 3 | 0 | 0 | 0 | 0 | 0 | 0
Plan 4 | 1800 | 118.0717 | 44.0927 | 162.1645 | 54.2522 | 216.4167
Plan 5 | 300 | 18.633 | 7.0135 | 25.6465 | 8.4457 | 34.0921
Distributed Solar Costs - South Florida Imbalance Study
Iteration #3
| -1 | -2 | -3 | -4 | -5
| Total Installed MW of Distributed Solar | PGD O&M Initial Capex | Standard O&M | Rent | Total Distributed Solar Costs
| (MW) | (NPV, 2017$) | (NPV, 2017$) | (NPV, 2017$) | (NPV, 2017$)
Plan 1 | 0 | 0 | 0 | 0 | 0
Plan 2 | 0 | 0 | 0 | 0 | 0
Plan 3 | 0.00055 | 4.9131 | 96.4338 | 114.2039 | 215.5507
Plan 4 | 0.00055 | 4.5897 | 90.0877 | 105.5515 | 200.2289
Plan 5 | 0 | 0 | 0 | 0 | 0