## wo pipeline or integration
DRAFT Attorney-Client Work Product | [18 empty] | Filename: 2016 SE Florida Study Template for Results of Iteration # 3
SE Florida Study: Economic Results for Iteration # 3: Without Pipeline or Transmission Integration Costs
(CPVRR, millions, 2017$, 2017-2061)
| Plan 1: Large Battery Intensive |  |  |  | Plan 2: Small Battery Only |  |  |  | Plan 3: Large & Small Solar Only |  |  |  | Plan 4: Solar & Batteries |  |  |  | Plan 5: Solar & Batteries
| Battery | Solar | CC |  | Battery | Solar | CC |  | Battery | Solar | CC |  | Battery | Solar | CC |  | Battery | Solar | CC
Year | MW | MW | MW | Year | MW | MW | MW | Year | MW | MW | MW | Year | MW | MW | MW | Year | MW | MW | MW
2020 | 0 | 0 | --- | 2020 | 0 | 0 | --- | 2020 | 0 | 50 | --- | 2020 | 0 | 50 | --- | 2020 | 0 | 0 | ---
2021 | 0 | 0 | --- | 2021 | 0 | 0 | --- | 2021 | 0 | 124.5 | --- | 2021 | 0 | 124.5 | --- | 2021 | 0 | 0 | ---
2022 | 0 | 0 | --- | 2022 | 0 | 0 | --- | 2022 | 0 | 110 | --- | 2022 | 0 | 110 | --- | 2022 | 0 | 0 | ---
2023 | 0 | 0 | --- | 2023 | 0 | 0 | --- | 2023 | 0 | 100 | --- | 2023 | 0 | 50 | --- | 2023 | 0 | 0 | ---
2024 | 0 | 0 | --- | 2024 | 0 | 0 | --- | 2024 | 0 | 100 | --- | 2024 | 0 | 50 | --- | 2024 | 0 | 0 | ---
2025 | 200 | 135 | --- | 2025 | 200 | 0 | --- | 2025 | 0 | 398 | --- | 2025 | 0 | 348 | --- | 2025 | 200 | 135 | ---
2026 | 150 | 0 | 1751 | 2026 | 200 | 0 | 1751 | 2026 | 0 | 100 | 1751 | 2026 | 600 | 50 | --- | 2026 | 575 | 0 | ---
2027 | 200 | 0 | --- | 2027 | 300 | 0 | --- | 2027 | 0 | 0 | --- | 2027 | 605 | 50 | --- | 2027 | 0 | 0 | 1751
2028 | 350 | 0 | --- | 2028 | 200 | 0 | --- | 2028 | 0 | 0 | --- | 2028 | 600 | 50 | --- | 2028 | 0 | 0 | ---
2029 | 200 | 0 | --- | 2029 | 200 | 0 | --- | 2029 | 0 | 0 | 1751 | 2029 | 600 | 50 | --- | 2029 | 270 | 0 | ---
2030 | 225 | 0 | 1751 | 2030 | 300 | 0 | 1751 | 2030 | 0 | 0 | --- | 2030 | 590 | 50 | --- | 2030 | 450 | 298 | ---
MW (Nameplate) = | 1325 | 135 | 3502 | MW (Nameplate) = | 1400 | 0 | 3502 | MW (Nameplate) = | 0 | 982.5 | 3502 | MW (Nameplate) = | 2995 | 982.5 | 0 | MW (Nameplate) = | 1495 | 433 | 1751
(1) Generation & Fuel Costs (w/o solar & battery fixed costs) |  | 94537.0947 |  |  |  | 94722.0245 |  |  |  | 93629.0673 |  |  |  | 93387.7814 |  |  |  | 94124.7499
(1a) Battery fixed costs |  | 927.838 |  |  |  | 1162.3988 |  |  |  | 0 |  |  |  | 2259.9734 |  |  |  | 1088.4643
(1b) Solar fixed costs |  | 132.4608 |  |  |  | 0 |  |  |  | 1574.9157 |  |  |  | 1538.1433 |  |  |  | 427.5326
(2) Pipeline Costs * |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
(3) Transmission Integration Costs * |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
(4) Resource Plan Total Costs |  | 95597.3935 |  |  |  | 95884.4234 |  |  |  | 95203.983 |  |  |  | 97185.8981 |  |  |  | 95640.7467
(5) Difference from Lowest Cost Plan |  | 393.4105 |  |  |  | 680.4403 | [7 empty] | 1981.915 |  |  |  | 436.7637
* Pipeline and transmission integration costs are only for the new units identifided in each plan (not for filler units)

## wo integration
DRAFT Attorney-Client Work Product | [18 empty] | Filename: 2016 SE Florida Study Template for Results of Iteration # 3
SE Florida Study: Economic Results for Iteration # 3: Without Transmission Integration Costs
(CPVRR, millions, 2017$, 2017-2061)
| Plan 1: Large Battery Intensive |  |  |  | Plan 2: Small Battery Only |  |  |  | Plan 3: Large & Small Solar Only |  |  |  | Plan 4: Solar & Batteries |  |  |  | Plan 5: Solar & Batteries
| Battery | Solar | CC |  | Battery | Solar | CC |  | Battery | Solar | CC |  | Battery | Solar | CC |  | Battery | Solar | CC
Year | MW | MW | MW | Year | MW | MW | MW | Year | MW | MW | MW | Year | MW | MW | MW | Year | MW | MW | MW
2020 | 0 | 0 | --- | 2020 | 0 | 0 | --- | 2020 | 0 | 50 | --- | 2020 | 0 | 50 | --- | 2020 | 0 | 0 | ---
2021 | 0 | 0 | --- | 2021 | 0 | 0 | --- | 2021 | 0 | 124.5 | --- | 2021 | 0 | 124.5 | --- | 2021 | 0 | 0 | ---
2022 | 0 | 0 | --- | 2022 | 0 | 0 | --- | 2022 | 0 | 110 | --- | 2022 | 0 | 110 | --- | 2022 | 0 | 0 | ---
2023 | 0 | 0 | --- | 2023 | 0 | 0 | --- | 2023 | 0 | 100 | --- | 2023 | 0 | 50 | --- | 2023 | 0 | 0 | ---
2024 | 0 | 0 | --- | 2024 | 0 | 0 | --- | 2024 | 0 | 100 | --- | 2024 | 0 | 50 | --- | 2024 | 0 | 0 | ---
2025 | 200 | 135 | --- | 2025 | 200 | 0 | --- | 2025 | 0 | 398 | --- | 2025 | 0 | 348 | --- | 2025 | 200 | 135 | ---
2026 | 150 | 0 | 1751 | 2026 | 200 | 0 | 1751 | 2026 | 0 | 100 | 1751 | 2026 | 600 | 50 | --- | 2026 | 575 | 0 | ---
2027 | 200 | 0 | --- | 2027 | 300 | 0 | --- | 2027 | 0 | 0 | --- | 2027 | 605 | 50 | --- | 2027 | 0 | 0 | 1751
2028 | 350 | 0 | --- | 2028 | 200 | 0 | --- | 2028 | 0 | 0 | --- | 2028 | 600 | 50 | --- | 2028 | 0 | 0 | ---
2029 | 200 | 0 | --- | 2029 | 200 | 0 | --- | 2029 | 0 | 0 | 1751 | 2029 | 600 | 50 | --- | 2029 | 270 | 0 | ---
2030 | 225 | 0 | 1751 | 2030 | 300 | 0 | 1751 | 2030 | 0 | 0 | --- | 2030 | 590 | 50 | --- | 2030 | 450 | 298 | ---
MW (Nameplate) = | 1325 | 135 | 3502 | MW (Nameplate) = | 1400 | 0 | 3502 | MW (Nameplate) = | 0 | 982.5 | 3502 | MW (Nameplate) = | 2995 | 982.5 | 0 | MW (Nameplate) = | 1495 | 433 | 1751
(1) Generation & Fuel Costs (w/o solar & battery fixed costs) |  | 94537.0947 |  |  |  | 94722.0245 |  |  |  | 93629.0673 |  |  |  | 93387.7814 |  |  |  | 94124.7499
(1a) Battery fixed costs |  | 927.838 |  |  |  | 1162.3988 |  |  |  | 0 |  |  |  | 2259.9734 |  |  |  | 1088.4643
(1b) Solar fixed costs |  | 132.4608 |  |  |  | 0 |  |  |  | 1574.9157 |  |  |  | 1538.1433 |  |  |  | 427.5326
(2) Pipeline Costs * |  | 21.9255 |  |  |  | 21.9255 |  |  |  | 21.9255 |  |  |  | 0 |  |  |  | 20.896
(3) Transmission Integration Costs * |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
(4) Resource Plan Total Costs |  | 95619.3191 |  |  |  | 95906.3489 |  |  |  | 95225.9086 |  |  |  | 97185.8981 |  |  |  | 95661.6428
(5) Difference from Lowest Cost Plan |  | 393.4105 |  |  |  | 680.4403 | [7 empty] | 1959.9895 |  |  |  | 435.7342
* Pipeline and transmission integration costs are only for the new units identifided in each plan (not for filler units)

## w all costs
DRAFT Attorney-Client Work Product | [18 empty] | Filename: 2016 SE Florida Study Template for Results of Iteration # 3
SE Florida Study: Economic Results for Iteration # 3
(CPVRR, millions, 2017$, 2017-2061)
| Plan 1: Large Battery Intensive |  |  |  | Plan 2: Small Battery Only |  |  |  | Plan 3: Large & Small Solar Only |  |  |  | Plan 4: Solar & Batteries |  |  |  | Plan 5: Solar & Batteries
| Battery | Solar | CC |  | Battery | Solar | CC |  | Battery | Solar | CC |  | Battery | Solar | CC |  | Battery | Solar | CC
Year | MW | MW | MW | Year | MW | MW | MW | Year | MW | MW | MW | Year | MW | MW | MW | Year | MW | MW | MW
2020 | 0 | 0 | --- | 2020 | 0 | 0 | --- | 2020 | 0 | 50 | --- | 2020 | 0 | 50 | --- | 2020 | 0 | 0 | ---
2021 | 0 | 0 | --- | 2021 | 0 | 0 | --- | 2021 | 0 | 124.5 | --- | 2021 | 0 | 124.5 | --- | 2021 | 0 | 0 | ---
2022 | 0 | 0 | --- | 2022 | 0 | 0 | --- | 2022 | 0 | 110 | --- | 2022 | 0 | 110 | --- | 2022 | 0 | 0 | ---
2023 | 0 | 0 | --- | 2023 | 0 | 0 | --- | 2023 | 0 | 100 | --- | 2023 | 0 | 50 | --- | 2023 | 0 | 0 | ---
2024 | 0 | 0 | --- | 2024 | 0 | 0 | --- | 2024 | 0 | 100 | --- | 2024 | 0 | 50 | --- | 2024 | 0 | 0 | ---
2025 | 200 | 135 | --- | 2025 | 200 | 0 | --- | 2025 | 0 | 398 | --- | 2025 | 0 | 348 | --- | 2025 | 200 | 135 | ---
2026 | 150 | 0 | 1751 | 2026 | 200 | 0 | 1751 | 2026 | 0 | 100 | 1751 | 2026 | 600 | 50 | --- | 2026 | 575 | 0 | ---
2027 | 200 | 0 | --- | 2027 | 300 | 0 | --- | 2027 | 0 | 0 | --- | 2027 | 605 | 50 | --- | 2027 | 0 | 0 | 1751
2028 | 350 | 0 | --- | 2028 | 200 | 0 | --- | 2028 | 0 | 0 | --- | 2028 | 600 | 50 | --- | 2028 | 0 | 0 | ---
2029 | 200 | 0 | --- | 2029 | 200 | 0 | --- | 2029 | 0 | 0 | 1751 | 2029 | 600 | 50 | --- | 2029 | 270 | 0 | ---
2030 | 225 | 0 | 1751 | 2030 | 300 | 0 | 1751 | 2030 | 0 | 0 | --- | 2030 | 590 | 50 | --- | 2030 | 450 | 298 | ---
MW (Nameplate) = | 1325 | 135 | 3502 | MW (Nameplate) = | 1400 | 0 | 3502 | MW (Nameplate) = | 0 | 982.5 | 3502 | MW (Nameplate) = | 2995 | 982.5 | 0 | MW (Nameplate) = | 1495 | 433 | 1751
(1) Generation & Fuel Costs (w/o solar & battery fixed costs) |  | 94537.0947 |  |  |  | 94722.0245 |  |  |  | 93629.0673 |  |  |  | 93387.7814 |  |  |  | 94124.7499
(1a) Battery fixed costs |  | 927.838 |  |  |  | 1162.3988 |  |  |  | 0 |  |  |  | 2259.9734 |  |  |  | 1088.4643
(1b) Solar fixed costs |  | 132.4608 |  |  |  | 0 |  |  |  | 1574.9157 |  |  |  | 1538.1433 |  |  |  | 427.5326
(2) Pipeline Costs * |  | 21.9255 |  |  |  | 21.9255 |  |  |  | 21.9255 |  |  |  | 0 |  |  |  | 20.896
(3) Transmission Integration Costs * |  | 10.5562 |  |  |  | 10.5562 |  |  |  | 264.1405 |  |  |  | 0 |  |  |  | 0
(4) Resource Plan Total Costs |  | 95629.8753 |  |  |  | 95916.9051 |  |  |  | 95490.0491 |  |  |  | 97185.8981 |  |  |  | 95661.6428
(5) Difference from Lowest Cost Plan |  | 139.8262 |  |  |  | 426.856 | [7 empty] | 1695.849 |  |  |  | 171.5937
* Pipeline and transmission integration costs are only for the new units identifided in each plan (not for filler units)

## From FCSS
SE Florida Study Summary: Economic Results for Iteration #3
(CPVRR, millions, 2017$, 2017-2061)
|  |  | Transmission | Transmission | Pipeline |  | Capital | Firm Gas | Short | Total |  | Startup |  | Total Fuel/VOM | Total
| Generation | Land | Interconnect | Integration | Capital | Generation | Repl. | Transport | Term | Fixed | System | + VOM | Emission | Startup/Emissions | Annual
| Capital | Capital | Costs | Costs | Costs | Fixed O&M | Costs | Costs | Purchase | Costs | Net Fuel | Costs | Costs | Costs | Costs
| (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions)
Plan 1 * | 6404.8755 | 14.0382 | 368.4132 | 10.5562 | 21.9255 | 405.3477 | 850.9316 | 27.8043 | 11.7393 | 8115.6316 | 63516.2602 | 979.9121 | 23018.0753 | 87514.2476 | 95629.8792
Plan 2 | 6406.4185 | 200.6053 | 355.3949 | 10.5562 | 21.9255 | 395.5885 | 760.2558 | 36.8495 | 11.7393 | 8199.3336 | 63636.6485 | 1004.1426 | 23076.5576 | 87717.3486 | 95916.6822
Plan 3 | 6805.7266 | 149.8106 | 410.434 | 264.1405 | 21.9255 | 599.7267 | 803.4862 | -62.6111 | 11.7393 | 9004.3785 | 62793.4257 | 966.0949 | 22726.3723 | 86485.8929 | 95490.2714
Plan 4 * | 6978.509 | 388.9109 | 308.2177 | 0 | 0 | 587.1372 | 648.0134 | 27.8043 | 11.7393 | 8950.3318 | 64033.4863 | 947.5804 | 23254.6974 | 88235.7641 | 97186.0959
Plan 5 * | 6102.4038 | 146.5486 | 353.6546 | 0 | 20.896 | 396.1374 | 751.383 | 27.8043 | 11.7393 | 7810.5671 | 63774.5224 | 960.0771 | 23116.484 | 87851.0835 | 95661.6506
Iteration #1 | 5845.9619 | 0 | 378.2931 | 319.1334 | 19.9149 | 385.7837 | 837.6914 | 0 | 11.7393 | 7798.5178 | 63444.3379 | 998.6547 | 22999.5644 | 87442.557 | 95241.0748
|  |  |  | Difference from Best Plan - Iteration #1 - Okee and Martin |  | 95241.0748
|  | Plan 1 - Large Battery | 388.8044
|  | Plan 2 - Small Battery | 675.6074
|  | Plan 3 - Solar Only | 249.1966
|  | Plan 4 - Max Solar & Storage | 1945.0211
|  | Plan 5 - Storage & late Solar (EGEAS) | 420.5758
Notes:
Updated per TP to defer CSQ line
* The transmission interconnection costs for Plans 1, 4 and 5 have been reduced by $6 M (CPVRR) to account for the difference in cost estimates between Power Delivery and Project Development.
Previous Results (11/21)
SE Florida Study Summary: Economic Results for Iteration #3
(CPVRR, millions, 2017$, 2017-2061)
|  |  | Transmission | Transmission | Pipeline |  | Capital | Firm Gas | Short | Total |  | Startup |  | Total Fuel/VOM | Total
| Generation | Land | Interconnect | Integration | Capital | Generation | Repl. | Transport | Term | Fixed | System | + VOM | Emission | Startup/Emissions | Annual
| Capital | Capital | Costs | Costs | Costs | Fixed O&M | Costs | Costs | Purchase | Costs | Net Fuel | Costs | Costs | Costs | Costs
| (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions)
Plan 1 | 6384.8598 | 13.4863 | 378.6456 | 10.5562 | 21.9255 | 406.5534 | 853.3235 | 27.8043 | 11.7393 | 8108.894 | 63489.6546 | 983.1662 | 23000.4063 | 87473.2271 | 95582.1212
Plan 2 | 6363.1204 | 162.0704 | 361.0381 | 10.5562 | 21.9255 | 397.322 | 775.3366 | 36.8495 | 11.7393 | 8139.9583 | 63596.2289 | 1006.5683 | 23046.2914 | 87649.0887 | 95789.0469
Plan 3 | 6805.7266 | 149.8106 | 410.434 | 264.1405 | 21.9255 | 599.7267 | 803.4862 | -62.6111 | 11.7393 | 9004.3785 | 62793.4257 | 966.0949 | 22726.3723 | 86485.8929 | 95490.2714
Plan 4 | 6978.509 | 388.9109 | 314.2177 | 0 | 0 | 587.1372 | 648.0134 | 27.8043 | 11.7393 | 8956.3318 | 64033.4863 | 947.5804 | 23254.6974 | 88235.7641 | 97192.0959
Plan 5 | 6098.6424 | 145.4165 | 359.6546 | 0 | 20.896 | 396.0658 | 752.6487 | 27.8043 | 11.7393 | 7812.8677 | 63775.2639 | 959.9801 | 23116.682 | 87851.9259 | 95664.7936
Iteration #1 | 5845.9619 | 0 | 378.2931 | 319.1334 | 19.9149 | 385.7837 | 837.6914 | 0 | 11.7393 | 7798.5178 | 63444.3379 | 998.6547 | 22999.5644 | 87442.557 | 95241.0748
|  |  |  | Difference from Best Plan - Iteration #1 - Okee and Martin |  | 95241.0748
|  | Plan 1 - Large Battery | 341.0464
|  | Plan 2 - Small Battery | 547.9721
|  | Plan 3 - Solar Only | 249.1966
|  | Plan 4 - Max Solar & Storage | 1951.0211
|  | Plan 5 - Storage & late Solar (EGEAS) | 423.7188

## Summary Breakdown by Technology
Iteration 1 2-CC Plan
| Generation Capital | Land Capital | TX Interconnection Capital | TX Integration Capital | Fixed O&M | Avoided Distribution O&M | Capital Replacement | Capital Replenishment | Avoided Distribution Capital | Rent | Gas Transportation | Pipeline Capital | Short-Term Purchase | Total Cost by Technology | DIFFERENCE From IT#1 2-CC's Plan
| (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions)
Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Batteries | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CC | 5845.9619 | 0 | 378.2931 | 319.1334 | 385.7837 | 0 | 837.6914 | 0 | 0 | 0 | 0 | 19.9171 | 11.7393 | 7798.5201 | 0
Total | 5845.9619 | 0 | 378.2931 | 319.1334 | 385.7837 | 0 | 837.6914 | 0 | 0 | 0 | 0 | 19.9171 | 11.7393 | 7798.5201 | 0
Check
Plan 1 - Large Battery (some Solar)
| Generation Capital | Land Capital | TX Interconnection Capital | TX Integration Capital | Pipeline | Fixed O&M | Avoided Distribution O&M | Capital Replacement | Capital Replenishment | Avoided Distribution Capital | Rent | Firm Gas Transportation | Short Term Purchase | Total Cost by Technology | DIFFERENCE From IT#1 2-CC's Plan
| (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions)
Solar | 108.6256 | 0 | 17.7768 | 0 | 0 | 6.0098 | 0 | 0.048661 | 0 | 0 | 0 | 0 | 0 | 132.4608 | 132.4608
Batteries | 782.7818 | 14.0382 | 0 | 0 | 0 | 35.9862 | 0 | 7.7263 | 59.5012 | 0 | 0 | 27.8043 | 0 | 927.838 | 927.838
CC | 5513.4681 | 0 | 350.6364 | 10.5562 | 21.9255 | 363.3518 | 0 | 783.6515 | 0 | 0 | 0 | 0 | 11.7393 | 7055.3289 | -743.1912
Total | 6404.8755 | 14.0382 | 368.4132 | 10.5562 | 21.9255 | 405.3477 | 0 | 791.4265 | 59.5012 | 0 | 0 | 27.8043 | 11.7393 | 8115.6277 | 317.1076
Check | 0 | 0 | -5.6843e-13 | 0 | 0 | 0 |  | 0.0039244 |  |  |  | 0 | 0 | 0.0039244
Plan 2 - Small Battery (no Solar)
| Generation Capital | Land Capital | TX Interconnection Capital | TX Integration Capital | Pipeline | Fixed O&M | Avoided Distribution O&M | Capital Replacement | Capital Replenishment | Avoided Distribution Capital | Rent | Firm Gas Transportation | Short Term Purchase | Total Cost by Technology | DIFFERENCE From IT#1 2-CC's Plan
| (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions)
Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Batteries | 911.5918 | 200.6053 | 0 | 0 | 0 | 72.1899 | -38.5098 | -20.5508 |  |  | 0 | 37.0724 | 0 | 1162.3988 | 1162.3988
CC | 5494.8267 | 0 | 355.3949 | 10.5562 | 21.9255 | 361.9084 | 0 | 780.8066 | 0 | 0 | 0 | 0 | 11.7393 | 7037.1577 | -761.3624
Total | 6406.4185 | 200.6053 | 355.3949 | 10.5562 | 21.9255 | 434.0983 | -38.5098 | 760.2558 | 0 | 0 | 0 | 37.0724 | 11.7393 | 8199.5565 | 401.0364
Check | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  | -0.2229 | 0 | -0.2229
Plan 3 - Solar Only
| Generation Capital | Land Capital | TX Interconnection Capital | TX Integration Capital | Pipeline | Fixed O&M | Avoided Distribution O&M | Capital Replacement | Capital Replenishment | Avoided Distribution Capital | Rent | Firm Gas Transportation | Short Term Purchase | Total Cost by Technology | DIFFERENCE From IT#1 2-CC's Plan
| (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions)
Solar | 1204.1094 | 149.8106 | 48.0079 | 0 | 0 | 116.374 | 0 | 5.0209 | 0 | 0 | 114.2039 | -62.6111 | 0 | 1574.9157 | 1574.9157
Batteries | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CC | 5601.6172 | 0 | 362.4261 | 264.1405 | 21.9255 | 369.1489 | 0 | 798.243 | 0 | 0 | 0 | 0 | 11.7393 | 7429.2405 | -369.2796
Total | 6805.7266 | 149.8106 | 410.434 | 264.1405 | 21.9255 | 485.5229 | 0 | 803.2639 |  | 0 | 114.2039 | -62.6111 | 11.7393 | 9004.1562 | 1205.6361
Check | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.22229 |  |  |  | 0 | 0 | 0.22229
Plan 4 - Max solar and storage (No CC's)
| Generation Capital | Land Capital | TX Interconnection Capital | TX Integration Capital | Pipeline | Fixed O&M | Avoided Distribution O&M | Capital Replacement | Capital Replenishment | Avoided Distribution Capital | Rent | Firm Gas Transportation | Short Term Purchase | Total Cost by Technology | DIFFERENCE From IT#1 2-CC's Plan
| (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions)
Solar | 1121.2837 | 148.5747 | 48.0079 | 0 | 0 | 110.0279 | 0 | 4.6976 | 0 |  | 105.5515 | 0 | 0 | 1538.1433 | 1538.1433
Batteries | 1825.5942 | 240.3362 | 0 | 0 | 0 | 129.1882 | -52.8542 | 89.9047 |  |  | 0 | 27.8043 | 0 | 2259.9734 | 2259.9734
CC | 4031.6311 | 0 | 260.2098 | 0 | 0 | 295.2238 | 0 | 553.2132 | 0 | 0 | 0 | 0 | 11.7393 | 5152.0173 | -2646.5028
Total | 6978.509 | 388.9109 | 308.2177 | 0 | 0 | 534.44 | -52.8542 | 647.8155 | 0 | 0 | 105.5515 | 27.8043 | 11.7393 | 8950.134 | 1151.6139
Check | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.19788 |  |  |  | 0 | 0 | 0.19788
Plan 5 - Storage, late solar (1 - CC)
| Generation Capital | Land Capital | TX Interconnection Capital | TX Integration Capital | Pipeline | Fixed O&M | Avoided Distribution O&M | Capital Replacement | Capital Replenishment | Avoided Distribution Capital | Rent | Gas Transportation | Short Term Purchase | Total Cost by Technology | DIFFERENCE From IT#1 2-CC's Plan
| (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions)
Solar | 275.8481 | 97.5055 | 38.0013 | 0 | 0 | 16.094 | 0 | 0.083678 | 0 |  | 0 | 0 | 0 | 427.5326 | 427.5326
Batteries | 911.3654 | 49.0431 | 0 | 0 | 0 | 49.1507 | -8.2127 | 59.3135 | 0 | 0 | 0 | 27.8043 | 0 | 1088.4643 | 1088.4643
CC | 4915.1903 | 0 | 315.6533 | 0 | 20.896 | 339.1053 | 0 | 691.978 | 0 | 0 | 0 | 0 | 11.7393 | 6294.5624 | -1503.9577
Total | 6102.4038 | 146.5486 | 353.6546 | 0 | 20.896 | 404.3501 | -8.2127 | 751.3752 | 0 | 0 | 0 | 27.8043 | 11.7393 | 7810.5593 | 12.0392
Check | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.0078394 |  |  |  | 0 | 0 | 0.0078394
CC capital is broken out in this spreadsheet for comparison purposes only. The calcualtions for TX Integration, Pipeline and Short Term PPA are copied from the "From FCSS" tab, and not individually calculated like the solar and battery capital.

## Solar Fixed Costs Breakdown
Solar Fixed Cost Breakdown
| Equipment | Land Capital | Fixed O&M | Capital Replacement | Total Solar Fixed Cost | Equipment % of Total Fixed Cost
| (Millions) | (Millions) | (Millions) | (Millions) | (Millions)
Plan 1 - Large Battery (some Solar) | 108.6256 | 0 | 6.0098 | 0.048661 | 114.684 | 94.72%
Plan 2 - Small Battery (no Solar) | 0 | 0 | 0 | 0 | 0 | 0%
Plan 3 - Solar Only | 1204.1094 | 149.8106 | 116.374 | 5.0209 | 1475.315 | 81.62%
Plan 4 - Max solar and storage (No CC's) | 1121.2837 | 148.5747 | 110.0279 | 4.6976 | 1384.5839 | 80.98%
Plan 5 - Storage, late solar (1 - CC) | 275.8481 | 97.5055 | 16.094 | 0.083678 | 389.5313 | 70.82%