## Sheet1
Filename: 2016 SE Florida Study Additional Plans to Address Questions(5)
DRAFT Attorney-Client Work Product
Early Fort Lauderdale Retirement Question |  |  |  | Retirement of Two 800 MW Unit Question
| -1 | -2 |  |  | -3 | -4
| Resource Plan 2 | Modified Plan 2 to Address |  |  | Resource Plan 1 | Modified Plan 1 to Address
| (from Iteration # 1) | Early PFL Retirement Question |  |  | (from Iteration # 1) | Retirement of Two 800 MW Units
Year | Unit Additions | Unit Additions |  | Year | Unit Additions | Unit Additions
2018 | --- | 600 MW Solar; CSQ line in-service 12/31/2018 |  | 2018 | --- | 600 MW Solar; CSQ line in-service 12/31/2018
2019 | OCEC | OCEC; 300 MW Solar; Lauderdale 4 & 5 retired 1/1/2019 |  | 2019 | OCEC | OCEC; 300 MW Solar
2020 | 300 MW Solar | 250 MW PPA; 300 MW Solar |  | 2020 | 300 MW Solar | 300 MW Solar
2021 | --- | 100 MW PPA; 300 MW Solar |  | 2021 | --- | 300 MW Solar; Martin 1 & 2 retired; new Martin CC # 1 added
2022 | OCEC Inc MW | 214 MW Solar; OCEC Incremental MW; Ft. Lauderdale 2x1 CC (1200 MW) |  | 2022 | OCEC Inc MW | 214 MW Solar; OCEC Incremental MW
2023 | 1,414 MW Solar | --- |  | 2023 | 1,414 MW Solar | ---
2024 | --- | --- |  | 2024 | --- | ---
2025 | Okeechobee CC | 100 MW PPA |  | 2025 | Martin CC | Martin CC
2026 | --- | Okeechobee CC |  | 2026 | --- | ---
2027 | --- | --- |  | 2027 | --- | ---
2028 | Martin CC | Martin CC |  | 2028 | Okeechobee CC | Okeechobee CC
2029 | --- | --- |  | 2029 | --- | ---
2030 | --- | --- |  | 2030 | --- | ---
Note: Solar MW total is unchanged from that used in Iterations # 1 and # 2. The annual totals have been changed because the focus of these additional
has now changed to earlier than 2025. The new annual solar values are now based on the planned SOBRA roll out.
EMT: | - No new pipeline so just checking to see if any pipeline / firm |  |  | EMT: | - Any change in firm gas costs w/ 3 CCs added instead of 2?
| gas costs should be accounted for |  |  | E&C: | - Need cost info for two CCs at Martin coming in-service three
E&C: | - Need costs for earlier repowering and for a one-year later CC |  |  |  | years apart.
| at Okeechobee (unless this is simply a one-year escalation) |  |  | TSP: | - Need interconnection and integration cost review.
TSP: | - Need integration cost review |  |  | PGD: | - To supply cost projection to keep existing units operating.
PGD: | - To supply cost projection to keep existing units operating.