## Reserve Margin - SGS 2x1
SGS 2x1 Portfolio | [15 empty] | SGS 2x1 Portfolio
Schedule 7.1 | [15 empty] | Schedule 7.2
Forecast of Capacity, Demand and Scheduled Maintenance at Time of Summer Peak | [15 empty] | Forecast of Capacity, Demand and Scheduled Maintenance at Time of Winter Peak
Year | Total Installed Capacity (MW) | Firm Capacity Import (MW) |  |  | Firm Capacity Export (MW) | QFs (MW) | Capacity Available (MW) |  | System Firm Summer Peak Demand (MW) |  | Reserve Margin Before Maintenance |  | Scheduled Maintenance (MW) | Reserve Margin After Maintenance |  | Year | Total Installed Capacity (MW) | Firm Capacity Import (MW) |  |  | Firm Capacity Export (MW) | QFs (MW) | Capacity Available (MW) |  | System Firm Winter Peak Demand (MW) |  | Reserve Margin Before Maintenance |  | Scheduled Maintenance (MW) | Reserve Margin After Maintenance
|  | PR and FR | Other Purchases | Total |  |  | Total | Less PR and FR | Total | Obligation | [7 empty] | PR and FR | Other Purchases | Total |  |  | Total | Less PR and FR | Total | Obligation
[11 empty] | MW | % of Pk |  | MW | % of Pk | [11 empty] | MW | % of Pk |  | MW | % of Pk
2018 | 2012 | 0 | 1647.5578 | 1647.5578 | 0 | 0 | 3659.5578 | 3659.5578 | 3140.7069 | 3140.7069 | 518.8509 | 16.52% | 0 | 518.8509 | 16.52% | 2018/19 | 2178 | 0 | 2318.125 | 2318.125 | 0 | 0 | 4496.125 | 4496.125 | 3465.993 | 3465.993 | 1030.132 | 29.72% | 0 | 1030.132 | 29.72%
2019 | 2012 | 0 | 1897.5506 | 1897.5506 | 0 | 0 | 3909.5506 | 3909.5506 | 3187.639 | 3187.639 | 721.9117 | 22.65% | 0 | 721.9117 | 22.65% | 2019/20 | 2178 | 0 | 2568.125 | 2568.125 | 0 | 0 | 4746.125 | 4746.125 | 3531.1864 | 3531.1864 | 1214.9386 | 34.41% | 0 | 1214.9386 | 34.41%
2020 | 2012 | 0 | 1895.9435 | 1895.9435 | 0 | 0 | 3907.9435 | 3907.9435 | 3238.6575 | 3238.6575 | 669.286 | 20.67% | 0 | 669.286 | 20.67% | 2020/21 | 2178 | 0 | 1958.343 | 1958.343 | 0 | 0 | 4136.343 | 4136.343 | 3588.0809 | 3588.0809 | 548.2621 | 15.28% | 0 | 548.2621 | 15.28%
2021 | 2012 | 0 | 1779.9364 | 1779.9364 | 0 | 0 | 3791.9364 | 3791.9364 | 3251.1031 | 3251.1031 | 540.8333 | 16.64% | 0 | 540.8333 | 16.64% | 2021/22 | 2178 | 0 | 2021.5361 | 2021.5361 | 0 | 0 | 4199.5361 | 4199.5361 | 3643.0314 | 3643.0314 | 556.5047 | 15.28% | 0 | 556.5047 | 15.28%
2022 | 2012 | 0 | 1789.5574 | 1789.5574 | 0 | 0 | 3801.5574 | 3801.5574 | 3296.963 | 3296.963 | 504.5944 | 15.3% | 0 | 504.5944 | 15.3% | 2022/23 | 3300 | 0 | 1152.525 | 1152.525 | 0 | 0 | 4452.525 | 4452.525 | 3698.9982 | 3698.9982 | 753.5268 | 20.37% | 0 | 753.5268 | 20.37%
2023 | 3120 | 0 | 1029.5233 | 1029.5233 | 0 | 0 | 4149.5233 | 4149.5233 | 3342.7816 | 3342.7816 | 806.7418 | 24.13% | 0 | 806.7418 | 24.13% | 2023/24 | 3300 | 0 | 1139.525 | 1139.525 | 0 | 0 | 4439.525 | 4439.525 | 3748.9133 | 3748.9133 | 690.6117 | 18.42% | 0 | 690.6117 | 18.42%
2024 | 3120 | 0 | 1016.3183 | 1016.3183 | 0 | 0 | 4136.3183 | 4136.3183 | 3388.6415 | 3388.6415 | 747.6769 | 22.06% | 0 | 747.6769 | 22.06% | 2024/25 | 3300 | 0 | 1089.525 | 1089.525 | 0 | 0 | 4389.525 | 4389.525 | 3801.8361 | 3801.8361 | 587.6889 | 15.46% | 0 | 587.6889 | 15.46%
2025 | 3120 | 0 | 835.0183 | 835.0183 | 0 | 0 | 3955.0183 | 3955.0183 | 3430.4072 | 3430.4072 | 524.6111 | 15.29% | 0 | 524.6111 | 15.29% | 2025/26 | 3300 | 0 | 1145.3517 | 1145.3517 | 0 | 0 | 4445.3517 | 4445.3517 | 3856.7841 | 3856.7841 | 588.5676 | 15.26% | 0 | 588.5676 | 15.26%
2026 | 3120 | 0 | 885.3779 | 885.3779 | 0 | 0 | 4005.3779 | 4005.3779 | 3474.1982 | 3474.1982 | 531.1797 | 15.29% | 0 | 531.1797 | 15.29% | 2026/27 | 3300 | 0 | 1206.1741 | 1206.1741 | 0 | 0 | 4506.1741 | 4506.1741 | 3909.6731 | 3909.6731 | 596.501 | 15.26% | 0 | 596.501 | 15.26%
2027 | 3120 | 0 | 933.4085 | 933.4085 | 0 | 0 | 4053.4085 | 4053.4085 | 3515.9639 | 3515.9639 | 537.4446 | 15.29% | 0 | 537.4446 | 15.29% | 2027/28 | 3544.459 | 0 | 1014.4093 | 1014.4093 | 0 | 0 | 4558.8683 | 4558.8683 | 3955.4942 | 3955.4942 | 603.3741 | 15.25% | 0 | 603.3741 | 15.25%
2028 | 3335.079 | 0 | 854.5086 | 854.5086 | 0 | 0 | 4189.5876 | 4189.5876 | 3558.7773 | 3558.7773 | 630.8102 | 17.73% | 0 | 630.8102 | 17.73% | 2028/29 | 3544.459 | 0 | 1069.4771 | 1069.4771 | 0 | 0 | 4613.9361 | 4613.9361 | 4003.3792 | 4003.3792 | 610.5569 | 15.25% | 0 | 610.5569 | 15.25%
2029 | 3335.079 | 0 | 854.3087 | 854.3087 | 0 | 0 | 4189.3877 | 4189.3877 | 3603.6159 | 3603.6159 | 585.7718 | 16.26% | 0 | 585.7718 | 16.26% | 2029/30 | 3544.459 | 0 | 1120.9723 | 1120.9723 | 0 | 0 | 4665.4313 | 4665.4313 | 4048.1576 | 4048.1576 | 617.2736 | 15.25% | 0 | 617.2736 | 15.25%
2030 | 3335.079 | 0 | 862.4575 | 862.4575 | 0 | 0 | 4197.5365 | 4197.5365 | 3641.2926 | 3641.2926 | 556.2439 | 15.28% | 0 | 556.2439 | 15.28% | 2030/31 | 4033.377 | 0 | 687.0861 | 687.0861 | 0 | 0 | 4720.4631 | 4720.4631 | 4096.0114 | 4096.0114 | 624.4517 | 15.25% | 0 | 624.4517 | 15.25%
2031 | 3765.237 | 0 | 503.9118 | 503.9118 | 0 | 0 | 4269.1488 | 4269.1488 | 3681.0307 | 3681.0307 | 588.1181 | 15.98% | 0 | 588.1181 | 15.98% | 2031/32 | 4033.377 | 0 | 740.9491 | 740.9491 | 0 | 0 | 4774.3261 | 4774.3261 | 4142.8488 | 4142.8488 | 631.4773 | 15.24% | 0 | 631.4773 | 15.24%
2032 | 3765.237 | 0 | 523.6972 | 523.6972 | 0 | 0 | 4288.9342 | 4288.9342 | 3720.7689 | 3720.7689 | 568.1653 | 15.27% | 0 | 568.1653 | 15.27% | 2032/33 | 4522.295 | 0 | 295.3982 | 295.3982 | 0 | 0 | 4817.6932 | 4817.6932 | 4180.5593 | 4180.5593 | 637.1339 | 15.24% | 0 | 637.1339 | 15.24%
2033 | 4195.395 | 0 | 143.5189 | 143.5189 | 0 | 0 | 4338.9139 | 4338.9139 | 3758.4769 | 3758.4769 | 580.437 | 15.44% | 0 | 580.437 | 15.44% | 2033/34 | 4522.295 | 0 | 336.4335 | 336.4335 | 0 | 0 | 4858.7285 | 4858.7285 | 4216.2422 | 4216.2422 | 642.4863 | 15.24% | 0 | 642.4863 | 15.24%
2034 | 4195.395 | 0 | 175.6012 | 175.6012 | 0 | 0 | 4370.9962 | 4370.9962 | 3792.1271 | 3792.1271 | 578.8691 | 15.27% | 0 | 578.8691 | 15.27% | 2034/35 | 4522.295 | 0 | 377.427 | 377.427 | 0 | 0 | 4899.722 | 4899.722 | 4251.8887 | 4251.8887 | 647.8333 | 15.24% | 0 | 647.8333 | 15.24%
2035 | 4195.395 | 0 | 214.3047 | 214.3047 | 0 | 0 | 4409.6997 | 4409.6997 | 3825.7823 | 3825.7823 | 583.9173 | 15.26% | 0 | 583.9173 | 15.26% | 2035/36 | 4766.754 | 0 | 176.2905 | 176.2905 | 0 | 0 | 4943.0445 | 4943.0445 | 4289.5604 | 4289.5604 | 653.4841 | 15.23% | 0 | 653.4841 | 15.23%
2036 | 4410.474 | 0 | 92.9369 | 92.9369 | 0 | 0 | 4503.4109 | 4503.4109 | 3858.3824 | 3858.3824 | 645.0285 | 16.72% | 0 | 645.0285 | 16.72% | 2036/37 | 4766.754 | 0 | 221.9893 | 221.9893 | 0 | 0 | 4988.7433 | 4988.7433 | 4329.2985 | 4329.2985 | 659.4448 | 15.23% | 0 | 659.4448 | 15.23%
2037 | 4410.474 | 0 | 92.7449 | 92.7449 | 0 | 0 | 4503.2189 | 4503.2189 | 3888.9861 | 3888.9861 | 614.2328 | 15.79% | 0 | 614.2328 | 15.79% | 2037/38 | 4766.754 | 0 | 265.3117 | 265.3117 | 0 | 0 | 5032.0657 | 5032.0657 | 4366.9702 | 4366.9702 | 665.0955 | 15.23% | 0 | 665.0955 | 15.23%
2038 | 4410.474 | 0 | 107.0712 | 107.0712 | 0 | 0 | 4517.5452 | 4517.5452 | 3919.5611 | 3919.5611 | 597.9842 | 15.26% | 0 | 597.9842 | 15.26% | 2038/39 | 4766.754 | 0 | 310.9688 | 310.9688 | 0 | 0 | 5077.7228 | 5077.7228 | 4406.672 | 4406.672 | 671.0508 | 15.23% | 0 | 671.0508 | 15.23%
2039 | 4410.474 | 0 | 142.2713 | 142.2713 | 0 | 0 | 4552.7453 | 4552.7453 | 3950.1698 | 3950.1698 | 602.5755 | 15.25% | 0 | 602.5755 | 15.25% | 2039/40 | 4766.754 | 0 | 349.6277 | 349.6277 | 0 | 0 | 5116.3817 | 5116.3817 | 4440.2884 | 4440.2884 | 676.0933 | 15.23% | 0 | 676.0933 | 15.23%
2040 | 4410.474 | 0 | 175.0978 | 175.0978 | 0 | 0 | 4585.5718 | 4585.5718 | 3978.7146 | 3978.7146 | 606.8572 | 15.25% | 0 | 606.8572 | 15.25% | 2040/41 | 5358.7242 | 0 | 54.525 | 54.525 | 0 | 0 | 5413.2492 | 5413.2492 | 4473.9048 | 4473.9048 | 939.3443 | 21% | 0 | 939.3443 | 21%
2041 | 5003.3117 | 0 | 55.965 | 55.965 | 0 | 0 | 5059.2767 | 5059.2767 | 4006.2431 | 4006.2431 | 1053.0337 | 26.28% | 0 | 1053.0337 | 26.28% | 2041/42 | 5358.7242 | 0 | 54.525 | 54.525 | 0 | 0 | 5413.2492 | 5413.2492 | 4510.5652 | 4510.5652 | 902.6839 | 20.01% | 0 | 902.6839 | 20.01%
2042 | 5003.3117 | 0 | 54.525 | 54.525 | 0 | 0 | 5057.8367 | 5057.8367 | 4033.7766 | 4033.7766 | 1024.0602 | 25.39% | 0 | 1024.0602 | 25.39% | 2042/43 | 5358.7242 | 0 | 54.525 | 54.525 | 0 | 0 | 5413.2492 | 5413.2492 | 4544.1816 | 4544.1816 | 869.0676 | 19.12% | 0 | 869.0676 | 19.12%
2043 | 5003.3117 | 0 | 54.525 | 54.525 | 0 | 0 | 5057.8367 | 5057.8367 | 4061.31 | 4061.31 | 996.5267 | 24.54% | 0 | 996.5267 | 24.54% | 2043/44 | 5358.7242 | 0 | 54.525 | 54.525 | 0 | 0 | 5413.2492 | 5413.2492 | 4578.783 | 4578.783 | 834.4661 | 18.22% | 0 | 834.4661 | 18.22%
2044 | 5003.3117 | 0 | 54.525 | 54.525 | 0 | 0 | 5057.8367 | 5057.8367 | 4088.836 | 4088.836 | 969.0007 | 23.7% | 0 | 969.0007 | 23.7% | 2044/45 | 5358.7242 | 0 | 54.525 | 54.525 | 0 | 0 | 5413.2492 | 5413.2492 | 4613.4471 | 4613.4471 | 799.8021 | 17.34% | 0 | 799.8021 | 17.34%
2045 | 5003.3117 | 0 | 54.525 | 54.525 | 0 | 0 | 5057.8367 | 5057.8367 | 4117.3545 | 4117.3545 | 940.4822 | 22.84% | 0 | 940.4822 | 22.84% | 2045/46 | 5358.7242 | 0 | 54.525 | 54.525 | 0 | 0 | 5413.2492 | 5413.2492 | 4649.0886 | 4649.0886 | 764.1606 | 16.44% | 0 | 764.1606 | 16.44%
2046 | 5003.3117 | 0 | 54.525 | 54.525 | 0 | 0 | 5057.8367 | 5057.8367 | 4144.888 | 4144.888 | 912.9487 | 22.03% | 0 | 912.9487 | 22.03% | 2046/47 | 5358.7242 | 0 | 54.525 | 54.525 | 0 | 0 | 5413.2492 | 5413.2492 | 4682.705 | 4682.705 | 730.5442 | 15.6% | 0 | 730.5442 | 15.6%
2047 | 5003.3117 | 0 | 54.525 | 54.525 | 0 | 0 | 5057.8367 | 5057.8367 | 4172.414 | 4172.414 | 885.4228 | 21.22% | 0 | 885.4228 | 21.22% | 2047/48 | 5358.7242 | 0 | 75.0954 | 75.0954 | 0 | 0 | 5433.8196 | 5433.8196 | 4716.3214 | 4716.3214 | 717.4982 | 15.21% | 0 | 717.4982 | 15.21%
2048 | 5003.3117 | 0 | 54.525 | 54.525 | 0 | 0 | 5057.8367 | 5057.8367 | 4199.9475 | 4199.9475 | 857.8893 | 20.43% | 0 | 857.8893 | 20.43% | 2048/49 | 5358.7242 | 0 | 114.9202 | 114.9202 | 0 | 0 | 5473.6443 | 5473.6443 | 4750.9516 | 4750.9516 | 722.6927 | 15.21% | 0 | 722.6927 | 15.21%
2049 | 5003.3117 | 0 | 54.525 | 54.525 | 0 | 0 | 5057.8367 | 5057.8367 | 4227.4809 | 4227.4809 | 830.3558 | 19.64% | 0 | 830.3558 | 19.64% | 2049/50 | 5358.7242 | 0 | 154.7421 | 154.7421 | 0 | 0 | 5513.4662 | 5513.4662 | 4785.5793 | 4785.5793 | 727.8869 | 15.21% | 0 | 727.8869 | 15.21%
2050 | 5003.3117 | 0 | 54.525 | 54.525 | 0 | 0 | 5057.8367 | 5057.8367 | 4256.0282 | 4256.0282 | 801.8085 | 18.84% | 0 | 801.8085 | 18.84% | 2050/51 | 5358.7242 | 0 | 195.7385 | 195.7385 | 0 | 0 | 5554.4626 | 5554.4626 | 4821.2284 | 4821.2284 | 733.2343 | 15.21% | 0 | 733.2343 | 15.21%
2051 | 5003.3117 | 0 | 54.525 | 54.525 | 0 | 0 | 5057.8367 | 5057.8367 | 4283.5542 | 4283.5542 | 774.2825 | 18.08% | 0 | 774.2825 | 18.08% | 2051/52 | 5358.7242 | 0 | 234.3973 | 234.3973 | 0 | 0 | 5593.1215 | 5593.1215 | 4854.8448 | 4854.8448 | 738.2767 | 15.21% | 0 | 738.2767 | 15.21%
NOTES: | 1. Total installed capacity and the associated reserve margins are based on Seminole's 2x1 SGS Portfolio and are based on a 15% reserve margin criterion. | [14 empty] | NOTES: | 1. Total installed capacity and the associated reserve margins are based on Seminole's SGS 2x1 Portfolio and are based on a 15% reserve margin criterion.
| 2. Total Installed Capacity does not include SEPA. | [15 empty] | 2. Total Installed Capacity does not include SEPA or Solar.
| 3. Percent reserves are calculated at 15% of Seminole’s obligation and include any surplus capacity. | [15 empty] | 3. Percent reserves are calculated at 15% of Seminole’s obligation and include any surplus capacity.

## Reserve Margin - CPP-CC
CPP/CC Portfolio | [15 empty] | CPP/CC Portfolio
Schedule 7.1 | [15 empty] | Schedule 7.2
Forecast of Capacity, Demand and Scheduled Maintenance at Time of Summer Peak | [15 empty] | Forecast of Capacity, Demand and Scheduled Maintenance at Time of Winter Peak
Year | Total Installed Capacity (MW) | Firm Capacity Import (MW) |  |  | Firm Capacity Export (MW) | QFs (MW) | Capacity Available (MW) |  | System Firm Summer Peak Demand (MW) |  | Reserve Margin Before Maintenance |  | Scheduled Maintenance (MW) | Reserve Margin After Maintenance |  | Year | Total Installed Capacity (MW) | Firm Capacity Import (MW) |  |  | Firm Capacity Export (MW) | QFs (MW) | Capacity Available (MW) |  | System Firm Winter Peak Demand (MW) |  | Reserve Margin Before Maintenance |  | Scheduled Maintenance (MW) | Reserve Margin After Maintenance
|  | PR and FR | Other Purchases | Total |  |  | Total | Less PR and FR | Total | Obligation | [7 empty] | PR and FR | Other Purchases | Total |  |  | Total | Less PR and FR | Total | Obligation
[11 empty] | MW | % of Pk |  | MW | % of Pk | [11 empty] | MW | % of Pk |  | MW | % of Pk
2018 | 2012 | 0 | 1647.5578 | 1647.5578 | 0 | 0 | 3659.5578 | 3659.5578 | 3140.7069 | 3140.7069 | 518.8509 | 16.52% | 0 | 518.8509 | 16.52% | 2018/19 | 2178 | 0 | 2318.125 | 2318.125 | 0 | 0 | 4496.125 | 4496.125 | 3469.9341 | 3469.9341 | 1026.1909 | 29.57% | 0 | 1026.1909 | 29.57%
2019 | 2012 | 0 | 1897.5506 | 1897.5506 | 0 | 0 | 3909.5506 | 3909.5506 | 3187.639 | 3187.639 | 721.9117 | 22.65% | 0 | 721.9117 | 22.65% | 2019/20 | 2178 | 0 | 2568.125 | 2568.125 | 0 | 0 | 4746.125 | 4746.125 | 3536.8199 | 3536.8199 | 1209.3051 | 34.19% | 0 | 1209.3051 | 34.19%
2020 | 2012 | 0 | 1895.9435 | 1895.9435 | 0 | 0 | 3907.9435 | 3907.9435 | 3238.6575 | 3238.6575 | 669.286 | 20.67% | 0 | 669.286 | 20.67% | 2020/21 | 2178 | 0 | 1976.525 | 1976.525 | 0 | 0 | 4154.525 | 4154.525 | 3595.4421 | 3595.4421 | 559.0829 | 15.55% | 0 | 559.0829 | 15.55%
2021 | 2012 | 0 | 1736.8186 | 1736.8186 | 0 | 0 | 3748.8186 | 3748.8186 | 3251.1031 | 3251.1031 | 497.7155 | 15.31% | 0 | 497.7155 | 15.31% | 2021/22 | 2178 | 0 | 2021.5361 | 2021.5361 | 0 | 0 | 4199.5361 | 4199.5361 | 3643.0314 | 3643.0314 | 556.5047 | 15.28% | 0 | 556.5047 | 15.28%
2022 | 2012 | 0 | 1822.7294 | 1822.7294 | 0 | 0 | 3834.7294 | 3834.7294 | 3296.963 | 3296.963 | 537.7664 | 16.31% | 0 | 537.7664 | 16.31% | 2022/23 | 2636 | 0 | 1627.8979 | 1627.8979 | 0 | 0 | 4263.8979 | 4263.8979 | 3698.9982 | 3698.9982 | 564.8997 | 15.27% | 0 | 564.8997 | 15.27%
2023 | 2494 | 0 | 1472.5233 | 1472.5233 | 0 | 0 | 3966.5233 | 3966.5233 | 3342.7816 | 3342.7816 | 623.7418 | 18.66% | 0 | 623.7418 | 18.66% | 2023/24 | 2636 | 0 | 1685.3003 | 1685.3003 | 0 | 0 | 4321.3003 | 4321.3003 | 3748.9133 | 3748.9133 | 572.387 | 15.27% | 0 | 572.387 | 15.27%
2024 | 2494 | 0 | 1787.3183 | 1787.3183 | 0 | 0 | 4281.3183 | 4281.3183 | 3388.6415 | 3388.6415 | 892.6769 | 26.34% | 0 | 892.6769 | 26.34% | 2024/25 | 2636 | 0 | 1751.525 | 1751.525 | 0 | 0 | 4387.525 | 4387.525 | 3801.8361 | 3801.8361 | 585.6889 | 15.41% | 0 | 585.6889 | 15.41%
2025 | 2494 | 0 | 1549.1144 | 1549.1144 | 0 | 0 | 4043.1144 | 4043.1144 | 3430.4072 | 3430.4072 | 612.7071 | 17.86% | 0 | 612.7071 | 17.86% | 2025/26 | 2636 | 0 | 1813.525 | 1813.525 | 0 | 0 | 4449.525 | 4449.525 | 3856.7841 | 3856.7841 | 592.7409 | 15.37% | 0 | 592.7409 | 15.37%
2026 | 2494 | 0 | 1511.3779 | 1511.3779 | 0 | 0 | 4005.3779 | 4005.3779 | 3474.1982 | 3474.1982 | 531.1797 | 15.29% | 0 | 531.1797 | 15.29% | 2026/27 | 2636 | 0 | 1870.1741 | 1870.1741 | 0 | 0 | 4506.1741 | 4506.1741 | 3909.6731 | 3909.6731 | 596.501 | 15.26% | 0 | 596.501 | 15.26%
2027 | 2494 | 0 | 1559.4085 | 1559.4085 | 0 | 0 | 4053.4085 | 4053.4085 | 3515.9639 | 3515.9639 | 537.4446 | 15.29% | 0 | 537.4446 | 15.29% | 2027/28 | 2636 | 0 | 1922.8683 | 1922.8683 | 0 | 0 | 4558.8683 | 4558.8683 | 3955.4942 | 3955.4942 | 603.3741 | 15.25% | 0 | 603.3741 | 15.25%
2028 | 2494 | 0 | 1608.6439 | 1608.6439 | 0 | 0 | 4102.6439 | 4102.6439 | 3558.7773 | 3558.7773 | 543.8666 | 15.28% | 0 | 543.8666 | 15.28% | 2028/29 | 2636 | 0 | 1977.9361 | 1977.9361 | 0 | 0 | 4613.9361 | 4613.9361 | 4003.3792 | 4003.3792 | 610.5569 | 15.25% | 0 | 610.5569 | 15.25%
2029 | 2494 | 0 | 1660.2083 | 1660.2083 | 0 | 0 | 4154.2083 | 4154.2083 | 3603.6159 | 3603.6159 | 550.5924 | 15.28% | 0 | 550.5924 | 15.28% | 2029/30 | 2636 | 0 | 2029.4313 | 2029.4313 | 0 | 0 | 4665.4313 | 4665.4313 | 4048.1576 | 4048.1576 | 617.2736 | 15.25% | 0 | 617.2736 | 15.25%
2030 | 2494 | 0 | 1703.5365 | 1703.5365 | 0 | 0 | 4197.5365 | 4197.5365 | 3641.2926 | 3641.2926 | 556.2439 | 15.28% | 0 | 556.2439 | 15.28% | 2030/31 | 3124.918 | 0 | 1595.5451 | 1595.5451 | 0 | 0 | 4720.4631 | 4720.4631 | 4096.0114 | 4096.0114 | 624.4517 | 15.25% | 0 | 624.4517 | 15.25%
2031 | 2924.158 | 0 | 1377.9118 | 1377.9118 | 0 | 0 | 4302.0698 | 4302.0698 | 3681.0307 | 3681.0307 | 621.0391 | 16.87% | 0 | 621.0391 | 16.87% | 2031/32 | 3124.918 | 0 | 1649.4081 | 1649.4081 | 0 | 0 | 4774.3261 | 4774.3261 | 4142.8488 | 4142.8488 | 631.4773 | 15.24% | 0 | 631.4773 | 15.24%
2032 | 2924.158 | 0 | 1377.7149 | 1377.7149 | 0 | 0 | 4301.8729 | 4301.8729 | 3720.7689 | 3720.7689 | 581.104 | 15.62% | 0 | 581.104 | 15.62% | 2032/33 | 3613.836 | 0 | 1203.8572 | 1203.8572 | 0 | 0 | 4817.6932 | 4817.6932 | 4180.5593 | 4180.5593 | 637.1339 | 15.24% | 0 | 637.1339 | 15.24%
2033 | 3354.316 | 0 | 1017.5189 | 1017.5189 | 0 | 0 | 4371.8349 | 4371.8349 | 3758.4769 | 3758.4769 | 613.358 | 16.32% | 0 | 613.358 | 16.32% | 2033/34 | 3613.836 | 0 | 1244.8925 | 1244.8925 | 0 | 0 | 4858.7285 | 4858.7285 | 4216.2422 | 4216.2422 | 642.4863 | 15.24% | 0 | 642.4863 | 15.24%
2034 | 3354.316 | 0 | 1017.324 | 1017.324 | 0 | 0 | 4371.64 | 4371.64 | 3792.1271 | 3792.1271 | 579.5129 | 15.28% | 0 | 579.5129 | 15.28% | 2034/35 | 3613.836 | 0 | 1285.886 | 1285.886 | 0 | 0 | 4899.722 | 4899.722 | 4251.8887 | 4251.8887 | 647.8333 | 15.24% | 0 | 647.8333 | 15.24%
2035 | 3354.316 | 0 | 1055.3837 | 1055.3837 | 0 | 0 | 4409.6997 | 4409.6997 | 3825.7823 | 3825.7823 | 583.9173 | 15.26% | 0 | 583.9173 | 15.26% | 2035/36 | 4205.8062 | 0 | 973.525 | 973.525 | 0 | 0 | 5179.3312 | 5179.3312 | 4289.5604 | 4289.5604 | 889.7708 | 20.74% | 0 | 889.7708 | 20.74%
2036 | 3947.1537 | 0 | 966.9369 | 966.9369 | 0 | 0 | 4914.0907 | 4914.0907 | 3858.3824 | 3858.3824 | 1055.7083 | 27.36% | 0 | 1055.7083 | 27.36% | 2036/37 | 4205.8062 | 0 | 973.525 | 973.525 | 0 | 0 | 5179.3312 | 5179.3312 | 4329.2985 | 4329.2985 | 850.0326 | 19.63% | 0 | 850.0326 | 19.63%
2037 | 3947.1537 | 0 | 966.7449 | 966.7449 | 0 | 0 | 4913.8986 | 4913.8986 | 3888.9861 | 3888.9861 | 1024.9125 | 26.35% | 0 | 1024.9125 | 26.35% | 2037/38 | 4205.8062 | 0 | 973.525 | 973.525 | 0 | 0 | 5179.3312 | 5179.3312 | 4366.9702 | 4366.9702 | 812.361 | 18.6% | 0 | 812.361 | 18.6%
2038 | 3947.1537 | 0 | 966.6977 | 966.6977 | 0 | 0 | 4913.8514 | 4913.8514 | 3919.5611 | 3919.5611 | 994.2903 | 25.37% | 0 | 994.2903 | 25.37% | 2038/39 | 4205.8062 | 0 | 973.525 | 973.525 | 0 | 0 | 5179.3312 | 5179.3312 | 4406.672 | 4406.672 | 772.6591 | 17.53% | 0 | 772.6591 | 17.53%
2039 | 3947.1537 | 0 | 638.514 | 638.514 | 0 | 0 | 4585.6677 | 4585.6677 | 3950.1698 | 3950.1698 | 635.4979 | 16.09% | 0 | 635.4979 | 16.09% | 2039/40 | 4205.8062 | 0 | 910.5755 | 910.5755 | 0 | 0 | 5116.3817 | 5116.3817 | 4440.2884 | 4440.2884 | 676.0933 | 15.23% | 0 | 676.0933 | 15.23%
2040 | 3947.1537 | 0 | 638.4181 | 638.4181 | 0 | 0 | 4585.5718 | 4585.5718 | 3978.7146 | 3978.7146 | 606.8572 | 15.25% | 0 | 606.8572 | 15.25% | 2040/41 | 4450.2652 | 0 | 704.7754 | 704.7754 | 0 | 0 | 5155.0405 | 5155.0405 | 4473.9048 | 4473.9048 | 681.1357 | 15.22% | 0 | 681.1357 | 15.22%
2041 | 4162.2327 | 0 | 601.965 | 601.965 | 0 | 0 | 4764.1977 | 4764.1977 | 4006.2431 | 4006.2431 | 757.9547 | 18.92% | 0 | 757.9547 | 18.92% | 2041/42 | 4450.2652 | 0 | 746.9348 | 746.9348 | 0 | 0 | 5197.2 | 5197.2 | 4510.5652 | 4510.5652 | 686.6348 | 15.22% | 0 | 686.6348 | 15.22%
2042 | 4162.2327 | 0 | 600.525 | 600.525 | 0 | 0 | 4762.7577 | 4762.7577 | 4033.7766 | 4033.7766 | 728.9812 | 18.07% | 0 | 728.9812 | 18.07% | 2042/43 | 4450.2652 | 0 | 785.5937 | 785.5937 | 0 | 0 | 5235.8588 | 5235.8588 | 4544.1816 | 4544.1816 | 691.6772 | 15.22% | 0 | 691.6772 | 15.22%
2043 | 4162.2327 | 0 | 600.525 | 600.525 | 0 | 0 | 4762.7577 | 4762.7577 | 4061.31 | 4061.31 | 701.4477 | 17.27% | 0 | 701.4477 | 17.27% | 2043/44 | 4450.2652 | 0 | 825.3853 | 825.3853 | 0 | 0 | 5275.6505 | 5275.6505 | 4578.783 | 4578.783 | 696.8675 | 15.22% | 0 | 696.8675 | 15.22%
2044 | 4162.2327 | 0 | 600.525 | 600.525 | 0 | 0 | 4762.7577 | 4762.7577 | 4088.836 | 4088.836 | 673.9217 | 16.48% | 0 | 673.9217 | 16.48% | 2044/45 | 4450.2652 | 0 | 865.249 | 865.249 | 0 | 0 | 5315.5141 | 5315.5141 | 4613.4471 | 4613.4471 | 702.0671 | 15.22% | 0 | 702.0671 | 15.22%
2045 | 4162.2327 | 0 | 600.525 | 600.525 | 0 | 0 | 4762.7577 | 4762.7577 | 4117.3545 | 4117.3545 | 645.4032 | 15.68% | 0 | 645.4032 | 15.68% | 2045/46 | 4450.2652 | 0 | 906.2367 | 906.2367 | 0 | 0 | 5356.5019 | 5356.5019 | 4649.0886 | 4649.0886 | 707.4133 | 15.22% | 0 | 707.4133 | 15.22%
2046 | 4162.2327 | 0 | 614.4385 | 614.4385 | 0 | 0 | 4776.6712 | 4776.6712 | 4144.888 | 4144.888 | 631.7832 | 15.24% | 0 | 631.7832 | 15.24% | 2046/47 | 4450.2652 | 0 | 944.8956 | 944.8956 | 0 | 0 | 5395.1607 | 5395.1607 | 4682.705 | 4682.705 | 712.4557 | 15.21% | 0 | 712.4557 | 15.21%
2047 | 4162.2327 | 0 | 646.0933 | 646.0933 | 0 | 0 | 4808.3261 | 4808.3261 | 4172.414 | 4172.414 | 635.9121 | 15.24% | 0 | 635.9121 | 15.24% | 2047/48 | 5042.2353 | 0 | 627.525 | 627.525 | 0 | 0 | 5669.7603 | 5669.7603 | 4716.3214 | 4716.3214 | 953.4389 | 20.22% | 0 | 953.4389 | 20.22%
2048 | 4755.0705 | 0 | 600.525 | 600.525 | 0 | 0 | 5355.5955 | 5355.5955 | 4199.9475 | 4199.9475 | 1155.648 | 27.52% | 0 | 1155.648 | 27.52% | 2048/49 | 5042.2353 | 0 | 627.525 | 627.525 | 0 | 0 | 5669.7603 | 5669.7603 | 4750.9516 | 4750.9516 | 918.8087 | 19.34% | 0 | 918.8087 | 19.34%
2049 | 4755.0705 | 0 | 600.525 | 600.525 | 0 | 0 | 5355.5955 | 5355.5955 | 4227.4809 | 4227.4809 | 1128.1145 | 26.69% | 0 | 1128.1145 | 26.69% | 2049/50 | 5042.2353 | 0 | 627.525 | 627.525 | 0 | 0 | 5669.7603 | 5669.7603 | 4785.5793 | 4785.5793 | 884.181 | 18.48% | 0 | 884.181 | 18.48%
2050 | 4755.0705 | 0 | 600.525 | 600.525 | 0 | 0 | 5355.5955 | 5355.5955 | 4256.0282 | 4256.0282 | 1099.5672 | 25.84% | 0 | 1099.5672 | 25.84% | 2050/51 | 5042.2353 | 0 | 627.525 | 627.525 | 0 | 0 | 5669.7603 | 5669.7603 | 4821.2284 | 4821.2284 | 848.5319 | 17.6% | 0 | 848.5319 | 17.6%
2051 | 4755.0705 | 0 | 600.525 | 600.525 | 0 | 0 | 5355.5955 | 5355.5955 | 4283.5542 | 4283.5542 | 1072.0413 | 25.03% | 0 | 1072.0413 | 25.03% | 2051/52 | 5634.2055 | 0 | 54.525 | 54.525 | 0 | 0 | 5688.7305 | 5688.7305 | 4854.8448 | 4854.8448 | 833.8857 | 17.18% | 0 | 833.8857 | 17.18%
NOTES: | 1. Total installed capacity and the associated reserve margins are based on Seminole's 2x1 CPP/CC Portfolio and are based on a 15% reserve margin criterion. | [14 empty] | NOTES: | 1. Total installed capacity and the associated reserve margins are based on Seminole's CPP/CC Portfolio and are based on a 15% reserve margin criterion.
| 2. Total Installed Capacity does not include SEPA. | [15 empty] | 2. Total Installed Capacity does not include SEPA or Solar.
| 3. Percent reserves are calculated at 15% of Seminole’s obligation and include any surplus capacity. | [15 empty] | 3. Percent reserves are calculated at 15% of Seminole’s obligation and include any surplus capacity.

## Reserve Margin - LBR-SHCC
Limited Build Risk: Shady Hills CC Portfolio | [15 empty] | Limited Build Risk: Shady Hills CC Portfolio
Schedule 7.1 | [15 empty] | Schedule 7.2
Forecast of Capacity, Demand and Scheduled Maintenance at Time of Summer Peak | [15 empty] | Forecast of Capacity, Demand and Scheduled Maintenance at Time of Winter Peak
Year | Total Installed Capacity (MW) | Firm Capacity Import (MW) |  |  | Firm Capacity Export (MW) | QFs (MW) | Capacity Available (MW) |  | System Firm Summer Peak Demand (MW) |  | Reserve Margin Before Maintenance |  | Scheduled Maintenance (MW) | Reserve Margin After Maintenance |  | Year | Total Installed Capacity (MW) | Firm Capacity Import (MW) |  |  | Firm Capacity Export (MW) | QFs (MW) | Capacity Available (MW) |  | System Firm Winter Peak Demand (MW) |  | Reserve Margin Before Maintenance |  | Scheduled Maintenance (MW) | Reserve Margin After Maintenance
|  | PR and FR | Other Purchases | Total |  |  | Total | Less PR and FR | Total | Obligation | [7 empty] | PR and FR | Other Purchases | Total |  |  | Total | Less PR and FR | Total | Obligation
[11 empty] | MW | % of Pk |  | MW | % of Pk | [11 empty] | MW | % of Pk |  | MW | % of Pk
2018 | 2012 | 0 | 1647.5578 | 1647.5578 | 0 | 0 | 3659.5578 | 3659.5578 | 3140.7069 | 3140.7069 | 518.8509 | 16.52% | 0 | 518.8509 | 16.52% | 2018/19 | 2178 | 0 | 2318.125 | 2318.125 | 0 | 0 | 4496.125 | 4496.125 | 3465.993 | 3465.993 | 1030.132 | 29.72% | 0 | 1030.132 | 29.72%
2019 | 2012 | 0 | 1897.5506 | 1897.5506 | 0 | 0 | 3909.5506 | 3909.5506 | 3187.639 | 3187.639 | 721.9117 | 22.65% | 0 | 721.9117 | 22.65% | 2019/20 | 2178 | 0 | 2568.125 | 2568.125 | 0 | 0 | 4746.125 | 4746.125 | 3531.1864 | 3531.1864 | 1214.9386 | 34.41% | 0 | 1214.9386 | 34.41%
2020 | 2012 | 0 | 1895.9435 | 1895.9435 | 0 | 0 | 3907.9435 | 3907.9435 | 3238.6575 | 3238.6575 | 669.286 | 20.67% | 0 | 669.286 | 20.67% | 2020/21 | 2178 | 0 | 1958.343 | 1958.343 | 0 | 0 | 4136.343 | 4136.343 | 3588.0809 | 3588.0809 | 548.2621 | 15.28% | 0 | 548.2621 | 15.28%
2021 | 2012 | 0 | 1736.8186 | 1736.8186 | 0 | 0 | 3748.8186 | 3748.8186 | 3251.1031 | 3251.1031 | 497.7155 | 15.31% | 0 | 497.7155 | 15.31% | 2021/22 | 2178 | 0 | 2075.525 | 2075.525 | 0 | 0 | 4253.525 | 4253.525 | 3643.0314 | 3643.0314 | 610.4936 | 16.76% | 0 | 610.4936 | 16.76%
2022 | 2012 | 0 | 1925.7294 | 1925.7294 | 0 | 0 | 3937.7294 | 3937.7294 | 3296.963 | 3296.963 | 640.7664 | 19.44% | 0 | 640.7664 | 19.44% | 2022/23 | 2178 | 0 | 2085.8979 | 2085.8979 | 0 | 0 | 4263.8979 | 4263.8979 | 3698.9982 | 3698.9982 | 564.8997 | 15.27% | 0 | 564.8997 | 15.27%
2023 | 2012 | 0 | 1842.2488 | 1842.2488 | 0 | 0 | 3854.2488 | 3854.2488 | 3342.7816 | 3342.7816 | 511.4672 | 15.3% | 0 | 511.4672 | 15.3% | 2023/24 | 2178 | 0 | 2162.525 | 2162.525 | 0 | 0 | 4340.525 | 4340.525 | 3748.9133 | 3748.9133 | 591.6117 | 15.78% | 0 | 591.6117 | 15.78%
2024 | 2012 | 0 | 1940.3183 | 1940.3183 | 0 | 0 | 3952.3183 | 3952.3183 | 3388.6415 | 3388.6415 | 563.6769 | 16.63% | 0 | 563.6769 | 16.63% | 2024/25 | 2178 | 0 | 2258.525 | 2258.525 | 0 | 0 | 4436.525 | 4436.525 | 3801.8361 | 3801.8361 | 634.6889 | 16.69% | 0 | 634.6889 | 16.69%
2025 | 2012 | 0 | 1943.0183 | 1943.0183 | 0 | 0 | 3955.0183 | 3955.0183 | 3430.4072 | 3430.4072 | 524.6111 | 15.29% | 0 | 524.6111 | 15.29% | 2025/26 | 2178 | 0 | 2267.3517 | 2267.3517 | 0 | 0 | 4445.3517 | 4445.3517 | 3856.7841 | 3856.7841 | 588.5676 | 15.26% | 0 | 588.5676 | 15.26%
2026 | 2012 | 0 | 1993.3779 | 1993.3779 | 0 | 0 | 4005.3779 | 4005.3779 | 3474.1982 | 3474.1982 | 531.1797 | 15.29% | 0 | 531.1797 | 15.29% | 2026/27 | 2178 | 0 | 2328.1741 | 2328.1741 | 0 | 0 | 4506.1741 | 4506.1741 | 3909.6731 | 3909.6731 | 596.501 | 15.26% | 0 | 596.501 | 15.26%
2027 | 2012 | 0 | 2041.4085 | 2041.4085 | 0 | 0 | 4053.4085 | 4053.4085 | 3515.9639 | 3515.9639 | 537.4446 | 15.29% | 0 | 537.4446 | 15.29% | 2027/28 | 2422.459 | 0 | 2136.4093 | 2136.4093 | 0 | 0 | 4558.8683 | 4558.8683 | 3955.4942 | 3955.4942 | 603.3741 | 15.25% | 0 | 603.3741 | 15.25%
2028 | 2227.079 | 0 | 1881.5086 | 1881.5086 | 0 | 0 | 4108.5876 | 4108.5876 | 3558.7773 | 3558.7773 | 549.8102 | 15.45% | 0 | 549.8102 | 15.45% | 2028/29 | 2422.459 | 0 | 2191.4771 | 2191.4771 | 0 | 0 | 4613.9361 | 4613.9361 | 4003.3792 | 4003.3792 | 610.5569 | 15.25% | 0 | 610.5569 | 15.25%
2029 | 2227.079 | 0 | 1927.1293 | 1927.1293 | 0 | 0 | 4154.2083 | 4154.2083 | 3603.6159 | 3603.6159 | 550.5924 | 15.28% | 0 | 550.5924 | 15.28% | 2029/30 | 2422.459 | 0 | 2242.9723 | 2242.9723 | 0 | 0 | 4665.4313 | 4665.4313 | 4048.1576 | 4048.1576 | 617.2736 | 15.25% | 0 | 617.2736 | 15.25%
2030 | 2227.079 | 0 | 1970.4575 | 1970.4575 | 0 | 0 | 4197.5365 | 4197.5365 | 3641.2926 | 3641.2926 | 556.2439 | 15.28% | 0 | 556.2439 | 15.28% | 2030/31 | 3014.4292 | 0 | 1706.0339 | 1706.0339 | 0 | 0 | 4720.4631 | 4720.4631 | 4096.0114 | 4096.0114 | 624.4517 | 15.25% | 0 | 624.4517 | 15.25%
2031 | 2819.9167 | 0 | 1423.3186 | 1423.3186 | 0 | 0 | 4243.2353 | 4243.2353 | 3681.0307 | 3681.0307 | 562.2046 | 15.27% | 0 | 562.2046 | 15.27% | 2031/32 | 3014.4292 | 0 | 1759.8969 | 1759.8969 | 0 | 0 | 4774.3261 | 4774.3261 | 4142.8488 | 4142.8488 | 631.4773 | 15.24% | 0 | 631.4773 | 15.24%
2032 | 2819.9167 | 0 | 1469.0175 | 1469.0175 | 0 | 0 | 4288.9342 | 4288.9342 | 3720.7689 | 3720.7689 | 568.1653 | 15.27% | 0 | 568.1653 | 15.27% | 2032/33 | 3503.3472 | 0 | 1314.346 | 1314.346 | 0 | 0 | 4817.6932 | 4817.6932 | 4180.5593 | 4180.5593 | 637.1339 | 15.24% | 0 | 637.1339 | 15.24%
2033 | 3250.0747 | 0 | 1082.2237 | 1082.2237 | 0 | 0 | 4332.2984 | 4332.2984 | 3758.4769 | 3758.4769 | 573.8215 | 15.27% | 0 | 573.8215 | 15.27% | 2033/34 | 3747.8062 | 0 | 1110.9223 | 1110.9223 | 0 | 0 | 4858.7285 | 4858.7285 | 4216.2422 | 4216.2422 | 642.4863 | 15.24% | 0 | 642.4863 | 15.24%
2034 | 3465.1537 | 0 | 1017.324 | 1017.324 | 0 | 0 | 4482.4777 | 4482.4777 | 3792.1271 | 3792.1271 | 690.3506 | 18.2% | 0 | 690.3506 | 18.2% | 2034/35 | 3747.8062 | 0 | 1151.9159 | 1151.9159 | 0 | 0 | 4899.722 | 4899.722 | 4251.8887 | 4251.8887 | 647.8333 | 15.24% | 0 | 647.8333 | 15.24%
2035 | 3465.1537 | 0 | 1017.13 | 1017.13 | 0 | 0 | 4482.2837 | 4482.2837 | 3825.7823 | 3825.7823 | 656.5014 | 17.16% | 0 | 656.5014 | 17.16% | 2035/36 | 3747.8062 | 0 | 1195.2383 | 1195.2383 | 0 | 0 | 4943.0444 | 4943.0444 | 4289.5604 | 4289.5604 | 653.4841 | 15.23% | 0 | 653.4841 | 15.23%
2036 | 3465.1537 | 0 | 982.036 | 982.036 | 0 | 0 | 4447.1898 | 4447.1898 | 3858.3824 | 3858.3824 | 588.8074 | 15.26% | 0 | 588.8074 | 15.26% | 2036/37 | 3747.8062 | 0 | 1240.9371 | 1240.9371 | 0 | 0 | 4988.7433 | 4988.7433 | 4329.2985 | 4329.2985 | 659.4448 | 15.23% | 0 | 659.4448 | 15.23%
2037 | 3465.1537 | 0 | 1017.2303 | 1017.2303 | 0 | 0 | 4482.384 | 4482.384 | 3888.9861 | 3888.9861 | 593.3979 | 15.26% | 0 | 593.3979 | 15.26% | 2037/38 | 4339.7763 | 0 | 973.525 | 973.525 | 0 | 0 | 5313.3013 | 5313.3013 | 4366.9702 | 4366.9702 | 946.3311 | 21.67% | 0 | 946.3311 | 21.67%
2038 | 4057.9915 | 0 | 966.6977 | 966.6977 | 0 | 0 | 5024.6891 | 5024.6891 | 3919.5611 | 3919.5611 | 1105.1281 | 28.2% | 0 | 1105.1281 | 28.2% | 2038/39 | 4339.7763 | 0 | 973.525 | 973.525 | 0 | 0 | 5313.3013 | 5313.3013 | 4406.672 | 4406.672 | 906.6293 | 20.57% | 0 | 906.6293 | 20.57%
2039 | 4057.9915 | 0 | 638.514 | 638.514 | 0 | 0 | 4696.5055 | 4696.5055 | 3950.1698 | 3950.1698 | 746.3357 | 18.89% | 0 | 746.3357 | 18.89% | 2039/40 | 4339.7763 | 0 | 776.6054 | 776.6054 | 0 | 0 | 5116.3817 | 5116.3817 | 4440.2884 | 4440.2884 | 676.0933 | 15.23% | 0 | 676.0933 | 15.23%
2040 | 4057.9915 | 0 | 638.3313 | 638.3313 | 0 | 0 | 4696.3227 | 4696.3227 | 3978.7146 | 3978.7146 | 717.6081 | 18.04% | 0 | 717.6081 | 18.04% | 2040/41 | 4339.7763 | 0 | 815.2642 | 815.2642 | 0 | 0 | 5155.0405 | 5155.0405 | 4473.9048 | 4473.9048 | 681.1357 | 15.22% | 0 | 681.1357 | 15.22%
2041 | 4057.9915 | 0 | 601.965 | 601.965 | 0 | 0 | 4659.9565 | 4659.9565 | 4006.2431 | 4006.2431 | 653.7134 | 16.32% | 0 | 653.7134 | 16.32% | 2041/42 | 4339.7763 | 0 | 857.4237 | 857.4237 | 0 | 0 | 5197.2 | 5197.2 | 4510.5652 | 4510.5652 | 686.6348 | 15.22% | 0 | 686.6348 | 15.22%
2042 | 4057.9915 | 0 | 600.525 | 600.525 | 0 | 0 | 4658.5165 | 4658.5165 | 4033.7766 | 4033.7766 | 624.7399 | 15.49% | 0 | 624.7399 | 15.49% | 2042/43 | 4339.7763 | 0 | 896.0825 | 896.0825 | 0 | 0 | 5235.8588 | 5235.8588 | 4544.1816 | 4544.1816 | 691.6772 | 15.22% | 0 | 691.6772 | 15.22%
2043 | 4057.9915 | 0 | 622.5651 | 622.5651 | 0 | 0 | 4680.5565 | 4680.5565 | 4061.31 | 4061.31 | 619.2465 | 15.25% | 0 | 619.2465 | 15.25% | 2043/44 | 4584.2353 | 0 | 691.4152 | 691.4152 | 0 | 0 | 5275.6505 | 5275.6505 | 4578.783 | 4578.783 | 696.8675 | 15.22% | 0 | 696.8675 | 15.22%
2044 | 4273.0705 | 0 | 600.525 | 600.525 | 0 | 0 | 4873.5955 | 4873.5955 | 4088.836 | 4088.836 | 784.7595 | 19.19% | 0 | 784.7595 | 19.19% | 2044/45 | 4584.2353 | 0 | 731.2788 | 731.2788 | 0 | 0 | 5315.5141 | 5315.5141 | 4613.4471 | 4613.4471 | 702.0671 | 15.22% | 0 | 702.0671 | 15.22%
2045 | 4273.0705 | 0 | 600.525 | 600.525 | 0 | 0 | 4873.5955 | 4873.5955 | 4117.3545 | 4117.3545 | 756.2409 | 18.37% | 0 | 756.2409 | 18.37% | 2045/46 | 4584.2353 | 0 | 772.2666 | 772.2666 | 0 | 0 | 5356.5019 | 5356.5019 | 4649.0886 | 4649.0886 | 707.4133 | 15.22% | 0 | 707.4133 | 15.22%
2046 | 4273.0705 | 0 | 600.525 | 600.525 | 0 | 0 | 4873.5955 | 4873.5955 | 4144.888 | 4144.888 | 728.7075 | 17.58% | 0 | 728.7075 | 17.58% | 2046/47 | 4584.2353 | 0 | 810.9254 | 810.9254 | 0 | 0 | 5395.1607 | 5395.1607 | 4682.705 | 4682.705 | 712.4557 | 15.21% | 0 | 712.4557 | 15.21%
2047 | 4273.0705 | 0 | 600.525 | 600.525 | 0 | 0 | 4873.5955 | 4873.5955 | 4172.414 | 4172.414 | 701.1815 | 16.81% | 0 | 701.1815 | 16.81% | 2047/48 | 4584.2353 | 0 | 849.5843 | 849.5843 | 0 | 0 | 5433.8196 | 5433.8196 | 4716.3214 | 4716.3214 | 717.4982 | 15.21% | 0 | 717.4982 | 15.21%
2048 | 4273.0705 | 0 | 600.525 | 600.525 | 0 | 0 | 4873.5955 | 4873.5955 | 4199.9475 | 4199.9475 | 673.648 | 16.04% | 0 | 673.648 | 16.04% | 2048/49 | 4584.2353 | 0 | 889.409 | 889.409 | 0 | 0 | 5473.6443 | 5473.6443 | 4750.9516 | 4750.9516 | 722.6927 | 15.21% | 0 | 722.6927 | 15.21%
2049 | 4273.0705 | 0 | 600.525 | 600.525 | 0 | 0 | 4873.5955 | 4873.5955 | 4227.4809 | 4227.4809 | 646.1145 | 15.28% | 0 | 646.1145 | 15.28% | 2049/50 | 4828.6943 | 0 | 684.7719 | 684.7719 | 0 | 0 | 5513.4662 | 5513.4662 | 4785.5793 | 4785.5793 | 727.8869 | 15.21% | 0 | 727.8869 | 15.21%
2050 | 4488.1495 | 0 | 600.525 | 600.525 | 0 | 0 | 5088.6745 | 5088.6745 | 4256.0282 | 4256.0282 | 832.6462 | 19.56% | 0 | 832.6462 | 19.56% | 2050/51 | 4828.6943 | 0 | 725.7683 | 725.7683 | 0 | 0 | 5554.4626 | 5554.4626 | 4821.2284 | 4821.2284 | 733.2343 | 15.21% | 0 | 733.2343 | 15.21%
2051 | 4488.1495 | 0 | 600.525 | 600.525 | 0 | 0 | 5088.6745 | 5088.6745 | 4283.5542 | 4283.5542 | 805.1203 | 18.8% | 0 | 805.1203 | 18.8% | 2051/52 | 5420.6645 | 0 | 172.457 | 172.457 | 0 | 0 | 5593.1215 | 5593.1215 | 4854.8448 | 4854.8448 | 738.2767 | 15.21% | 0 | 738.2767 | 15.21%
NOTES: | 1. Total installed capacity and the associated reserve margins are based on Seminole's Least Build Risk: Shady HIlls Portfolio and are based on a 15% reserve margin criterion. | [14 empty] | NOTES: | 1. Total installed capacity and the associated reserve margins are based on Seminole's Least Build Risk: Shady HIlls Portfolio and are based on a 15% reserve margin criterion.
| 2. Total Installed Capacity does not include SEPA. | [15 empty] | 2. Total Installed Capacity does not include SEPA or Solar.
| 3. Percent reserves are calculated at 15% of Seminole’s obligation and include any surplus capacity. | [15 empty] | 3. Percent reserves are calculated at 15% of Seminole’s obligation and include any surplus capacity.

## Reserve Margin - No Build Risk
No Build Risk: All PPA Portfolio | [15 empty] | No Build Risk: All PPA Portfolio
Schedule 7.1 | [15 empty] | Schedule 7.2
Forecast of Capacity, Demand and Scheduled Maintenance at Time of Summer Peak | [15 empty] | Forecast of Capacity, Demand and Scheduled Maintenance at Time of Winter Peak
Year | Total Installed Capacity (MW) | Firm Capacity Import (MW) |  |  | Firm Capacity Export (MW) | QFs (MW) | Capacity Available (MW) |  | System Firm Summer Peak Demand (MW) |  | Reserve Margin Before Maintenance |  | Scheduled Maintenance (MW) | Reserve Margin After Maintenance |  | Year | Total Installed Capacity (MW) | Firm Capacity Import (MW) |  |  | Firm Capacity Export (MW) | QFs (MW) | Capacity Available (MW) |  | System Firm Winter Peak Demand (MW) |  | Reserve Margin Before Maintenance |  | Scheduled Maintenance (MW) | Reserve Margin After Maintenance
|  | PR and FR | Other Purchases | Total |  |  | Total | Less PR and FR | Total | Obligation | [7 empty] | PR and FR | Other Purchases | Total |  |  | Total | Less PR and FR | Total | Obligation
[11 empty] | MW | % of Pk |  | MW | % of Pk | [11 empty] | MW | % of Pk |  | MW | % of Pk
2018 | 2012 | 0 | 1647.5578 | 1647.5578 | 0 | 0 | 3659.5578 | 3659.5578 | 3140.7069 | 3140.7069 | 518.8509 | 16.52% | 0 | 518.8509 | 16.52% | 2018/19 | 2178 | 0 | 2318.125 | 2318.125 | 0 | 0 | 4496.125 | 4496.125 | 3465.993 | 3465.993 | 1030.132 | 29.72% | 0 | 1030.132 | 29.72%
2019 | 2012 | 0 | 1897.5506 | 1897.5506 | 0 | 0 | 3909.5506 | 3909.5506 | 3187.639 | 3187.639 | 721.9117 | 22.65% | 0 | 721.9117 | 22.65% | 2019/20 | 2178 | 0 | 2568.125 | 2568.125 | 0 | 0 | 4746.125 | 4746.125 | 3531.1864 | 3531.1864 | 1214.9386 | 34.41% | 0 | 1214.9386 | 34.41%
2020 | 2012 | 0 | 1895.9435 | 1895.9435 | 0 | 0 | 3907.9435 | 3907.9435 | 3238.6575 | 3238.6575 | 669.286 | 20.67% | 0 | 669.286 | 20.67% | 2020/21 | 2178 | 0 | 1958.343 | 1958.343 | 0 | 0 | 4136.343 | 4136.343 | 3588.0809 | 3588.0809 | 548.2621 | 15.28% | 0 | 548.2621 | 15.28%
2021 | 2012 | 0 | 1736.8186 | 1736.8186 | 0 | 0 | 3748.8186 | 3748.8186 | 3251.1031 | 3251.1031 | 497.7155 | 15.31% | 0 | 497.7155 | 15.31% | 2021/22 | 2178 | 0 | 2021.5361 | 2021.5361 | 0 | 0 | 4199.5361 | 4199.5361 | 3643.0314 | 3643.0314 | 556.5047 | 15.28% | 0 | 556.5047 | 15.28%
2022 | 2012 | 0 | 1789.5574 | 1789.5574 | 0 | 0 | 3801.5574 | 3801.5574 | 3296.963 | 3296.963 | 504.5944 | 15.3% | 0 | 504.5944 | 15.3% | 2022/23 | 2178 | 0 | 2085.8979 | 2085.8979 | 0 | 0 | 4263.8979 | 4263.8979 | 3698.9982 | 3698.9982 | 564.8997 | 15.27% | 0 | 564.8997 | 15.27%
2023 | 2012 | 0 | 1842.2488 | 1842.2488 | 0 | 0 | 3854.2488 | 3854.2488 | 3342.7816 | 3342.7816 | 511.4672 | 15.3% | 0 | 511.4672 | 15.3% | 2023/24 | 2178 | 0 | 2143.3003 | 2143.3003 | 0 | 0 | 4321.3003 | 4321.3003 | 3748.9133 | 3748.9133 | 572.387 | 15.27% | 0 | 572.387 | 15.27%
2024 | 2012 | 0 | 1896.3183 | 1896.3183 | 0 | 0 | 3908.3183 | 3908.3183 | 3388.6415 | 3388.6415 | 519.6769 | 15.34% | 0 | 519.6769 | 15.34% | 2024/25 | 2178 | 0 | 2204.1616 | 2204.1616 | 0 | 0 | 4382.1616 | 4382.1616 | 3801.8361 | 3801.8361 | 580.3254 | 15.26% | 0 | 580.3254 | 15.26%
2025 | 2012 | 0 | 1943.0183 | 1943.0183 | 0 | 0 | 3955.0183 | 3955.0183 | 3430.4072 | 3430.4072 | 524.6111 | 15.29% | 0 | 524.6111 | 15.29% | 2025/26 | 2178 | 0 | 2267.3517 | 2267.3517 | 0 | 0 | 4445.3517 | 4445.3517 | 3856.7841 | 3856.7841 | 588.5676 | 15.26% | 0 | 588.5676 | 15.26%
2026 | 2012 | 0 | 1993.3779 | 1993.3779 | 0 | 0 | 4005.3779 | 4005.3779 | 3474.1982 | 3474.1982 | 531.1797 | 15.29% | 0 | 531.1797 | 15.29% | 2026/27 | 2178 | 0 | 2328.1741 | 2328.1741 | 0 | 0 | 4506.1741 | 4506.1741 | 3909.6731 | 3909.6731 | 596.501 | 15.26% | 0 | 596.501 | 15.26%
2027 | 2012 | 0 | 2041.4085 | 2041.4085 | 0 | 0 | 4053.4085 | 4053.4085 | 3515.9639 | 3515.9639 | 537.4446 | 15.29% | 0 | 537.4446 | 15.29% | 2027/28 | 2422.459 | 0 | 2136.4093 | 2136.4093 | 0 | 0 | 4558.8683 | 4558.8683 | 3955.4942 | 3955.4942 | 603.3741 | 15.25% | 0 | 603.3741 | 15.25%
2028 | 2227.079 | 0 | 1887.5086 | 1887.5086 | 0 | 0 | 4114.5876 | 4114.5876 | 3558.7773 | 3558.7773 | 555.8102 | 15.62% | 0 | 555.8102 | 15.62% | 2028/29 | 2422.459 | 0 | 2191.4771 | 2191.4771 | 0 | 0 | 4613.9361 | 4613.9361 | 4003.3792 | 4003.3792 | 610.5569 | 15.25% | 0 | 610.5569 | 15.25%
2029 | 2227.079 | 0 | 1927.1293 | 1927.1293 | 0 | 0 | 4154.2083 | 4154.2083 | 3603.6159 | 3603.6159 | 550.5924 | 15.28% | 0 | 550.5924 | 15.28% | 2029/30 | 2422.459 | 0 | 2242.9723 | 2242.9723 | 0 | 0 | 4665.4313 | 4665.4313 | 4048.1576 | 4048.1576 | 617.2736 | 15.25% | 0 | 617.2736 | 15.25%
2030 | 2227.079 | 0 | 1970.4575 | 1970.4575 | 0 | 0 | 4197.5365 | 4197.5365 | 3641.2926 | 3641.2926 | 556.2439 | 15.28% | 0 | 556.2439 | 15.28% | 2030/31 | 3014.4292 | 0 | 1706.0339 | 1706.0339 | 0 | 0 | 4720.4631 | 4720.4631 | 4096.0114 | 4096.0114 | 624.4517 | 15.25% | 0 | 624.4517 | 15.25%
2031 | 2819.9167 | 0 | 1423.3186 | 1423.3186 | 0 | 0 | 4243.2353 | 4243.2353 | 3681.0307 | 3681.0307 | 562.2046 | 15.27% | 0 | 562.2046 | 15.27% | 2031/32 | 3258.8882 | 0 | 1515.4379 | 1515.4379 | 0 | 0 | 4774.3261 | 4774.3261 | 4142.8488 | 4142.8488 | 631.4773 | 15.24% | 0 | 631.4773 | 15.24%
2032 | 3034.9957 | 0 | 1253.9385 | 1253.9385 | 0 | 0 | 4288.9342 | 4288.9342 | 3720.7689 | 3720.7689 | 568.1653 | 15.27% | 0 | 568.1653 | 15.27% | 2032/33 | 3850.8583 | 0 | 966.8349 | 966.8349 | 0 | 0 | 4817.6932 | 4817.6932 | 4180.5593 | 4180.5593 | 637.1339 | 15.24% | 0 | 637.1339 | 15.24%
2033 | 3627.8335 | 0 | 860.5189 | 860.5189 | 0 | 0 | 4488.3524 | 4488.3524 | 3758.4769 | 3758.4769 | 729.8755 | 19.42% | 0 | 729.8755 | 19.42% | 2033/34 | 3850.8583 | 0 | 1007.8702 | 1007.8702 | 0 | 0 | 4858.7285 | 4858.7285 | 4216.2422 | 4216.2422 | 642.4863 | 15.24% | 0 | 642.4863 | 15.24%
2034 | 3627.8335 | 0 | 860.324 | 860.324 | 0 | 0 | 4488.1574 | 4488.1574 | 3792.1271 | 3792.1271 | 696.0303 | 18.35% | 0 | 696.0303 | 18.35% | 2034/35 | 3850.8583 | 0 | 1048.8637 | 1048.8637 | 0 | 0 | 4899.722 | 4899.722 | 4251.8887 | 4251.8887 | 647.8333 | 15.24% | 0 | 647.8333 | 15.24%
2035 | 3627.8335 | 0 | 860.13 | 860.13 | 0 | 0 | 4487.9634 | 4487.9634 | 3825.7823 | 3825.7823 | 662.1811 | 17.31% | 0 | 662.1811 | 17.31% | 2035/36 | 3850.8583 | 0 | 1092.1861 | 1092.1861 | 0 | 0 | 4943.0444 | 4943.0444 | 4289.5604 | 4289.5604 | 653.4841 | 15.23% | 0 | 653.4841 | 15.23%
2036 | 3627.8335 | 0 | 819.3563 | 819.3563 | 0 | 0 | 4447.1898 | 4447.1898 | 3858.3824 | 3858.3824 | 588.8074 | 15.26% | 0 | 588.8074 | 15.26% | 2036/37 | 4095.3173 | 0 | 893.426 | 893.426 | 0 | 0 | 4988.7433 | 4988.7433 | 4329.2985 | 4329.2985 | 659.4448 | 15.23% | 0 | 659.4448 | 15.23%
2037 | 3842.9125 | 0 | 809.7449 | 809.7449 | 0 | 0 | 4652.6574 | 4652.6574 | 3888.9861 | 3888.9861 | 763.6712 | 19.64% | 0 | 763.6712 | 19.64% | 2037/38 | 4095.3173 | 0 | 936.7484 | 936.7484 | 0 | 0 | 5032.0657 | 5032.0657 | 4366.9702 | 4366.9702 | 665.0955 | 15.23% | 0 | 665.0955 | 15.23%
2038 | 3842.9125 | 0 | 809.6977 | 809.6977 | 0 | 0 | 4652.6101 | 4652.6101 | 3919.5611 | 3919.5611 | 733.0491 | 18.7% | 0 | 733.0491 | 18.7% | 2038/39 | 4095.3173 | 0 | 982.4055 | 982.4055 | 0 | 0 | 5077.7228 | 5077.7228 | 4406.672 | 4406.672 | 671.0508 | 15.23% | 0 | 671.0508 | 15.23%
2039 | 4057.9915 | 0 | 494.7538 | 494.7538 | 0 | 0 | 4552.7453 | 4552.7453 | 3950.1698 | 3950.1698 | 602.5755 | 15.25% | 0 | 602.5755 | 15.25% | 2039/40 | 4584.2353 | 0 | 532.1464 | 532.1464 | 0 | 0 | 5116.3817 | 5116.3817 | 4440.2884 | 4440.2884 | 676.0933 | 15.23% | 0 | 676.0933 | 15.23%
2040 | 4273.0705 | 0 | 317.3313 | 317.3313 | 0 | 0 | 4590.4017 | 4590.4017 | 3978.7146 | 3978.7146 | 611.6871 | 15.37% | 0 | 611.6871 | 15.37% | 2040/41 | 4584.2353 | 0 | 570.8052 | 570.8052 | 0 | 0 | 5155.0405 | 5155.0405 | 4473.9048 | 4473.9048 | 681.1357 | 15.22% | 0 | 681.1357 | 15.22%
2041 | 4273.0705 | 0 | 344.1591 | 344.1591 | 0 | 0 | 4617.2295 | 4617.2295 | 4006.2431 | 4006.2431 | 610.9865 | 15.25% | 0 | 610.9865 | 15.25% | 2041/42 | 5176.2055 | 0 | 54.525 | 54.525 | 0 | 0 | 5230.7305 | 5230.7305 | 4510.5652 | 4510.5652 | 720.1653 | 15.97% | 0 | 720.1653 | 15.97%
2042 | 4865.9082 | 0 | 54.525 | 54.525 | 0 | 0 | 4920.4332 | 4920.4332 | 4033.7766 | 4033.7766 | 886.6567 | 21.98% | 0 | 886.6567 | 21.98% | 2042/43 | 5176.2055 | 0 | 59.6534 | 59.6534 | 0 | 0 | 5235.8588 | 5235.8588 | 4544.1816 | 4544.1816 | 691.6772 | 15.22% | 0 | 691.6772 | 15.22%
2043 | 4865.9082 | 0 | 54.525 | 54.525 | 0 | 0 | 4920.4332 | 4920.4332 | 4061.31 | 4061.31 | 859.1232 | 21.15% | 0 | 859.1232 | 21.15% | 2043/44 | 5176.2055 | 0 | 99.445 | 99.445 | 0 | 0 | 5275.6505 | 5275.6505 | 4578.783 | 4578.783 | 696.8675 | 15.22% | 0 | 696.8675 | 15.22%
2044 | 4865.9082 | 0 | 54.525 | 54.525 | 0 | 0 | 4920.4332 | 4920.4332 | 4088.836 | 4088.836 | 831.5972 | 20.34% | 0 | 831.5972 | 20.34% | 2044/45 | 5176.2055 | 0 | 139.3086 | 139.3086 | 0 | 0 | 5315.5141 | 5315.5141 | 4613.4471 | 4613.4471 | 702.0671 | 15.22% | 0 | 702.0671 | 15.22%
2045 | 4865.9082 | 0 | 54.525 | 54.525 | 0 | 0 | 4920.4332 | 4920.4332 | 4117.3545 | 4117.3545 | 803.0787 | 19.5% | 0 | 803.0787 | 19.5% | 2045/46 | 5176.2055 | 0 | 180.2964 | 180.2964 | 0 | 0 | 5356.5019 | 5356.5019 | 4649.0886 | 4649.0886 | 707.4133 | 15.22% | 0 | 707.4133 | 15.22%
2046 | 4865.9082 | 0 | 54.525 | 54.525 | 0 | 0 | 4920.4332 | 4920.4332 | 4144.888 | 4144.888 | 775.5452 | 18.71% | 0 | 775.5452 | 18.71% | 2046/47 | 5176.2055 | 0 | 218.9553 | 218.9553 | 0 | 0 | 5395.1607 | 5395.1607 | 4682.705 | 4682.705 | 712.4557 | 15.21% | 0 | 712.4557 | 15.21%
2047 | 4865.9082 | 0 | 54.525 | 54.525 | 0 | 0 | 4920.4332 | 4920.4332 | 4172.414 | 4172.414 | 748.0192 | 17.93% | 0 | 748.0192 | 17.93% | 2047/48 | 5176.2055 | 0 | 257.6141 | 257.6141 | 0 | 0 | 5433.8196 | 5433.8196 | 4716.3214 | 4716.3214 | 717.4982 | 15.21% | 0 | 717.4982 | 15.21%
2048 | 4865.9082 | 0 | 54.525 | 54.525 | 0 | 0 | 4920.4332 | 4920.4332 | 4199.9475 | 4199.9475 | 720.4858 | 17.15% | 0 | 720.4858 | 17.15% | 2048/49 | 5176.2055 | 0 | 297.4388 | 297.4388 | 0 | 0 | 5473.6443 | 5473.6443 | 4750.9516 | 4750.9516 | 722.6927 | 15.21% | 0 | 722.6927 | 15.21%
2049 | 4865.9082 | 0 | 54.525 | 54.525 | 0 | 0 | 4920.4332 | 4920.4332 | 4227.4809 | 4227.4809 | 692.9523 | 16.39% | 0 | 692.9523 | 16.39% | 2049/50 | 5176.2055 | 0 | 337.2607 | 337.2607 | 0 | 0 | 5513.4662 | 5513.4662 | 4785.5793 | 4785.5793 | 727.8869 | 15.21% | 0 | 727.8869 | 15.21%
2050 | 4865.9082 | 0 | 54.525 | 54.525 | 0 | 0 | 4920.4332 | 4920.4332 | 4256.0282 | 4256.0282 | 664.405 | 15.61% | 0 | 664.405 | 15.61% | 2050/51 | 5420.6645 | 0 | 133.7981 | 133.7981 | 0 | 0 | 5554.4626 | 5554.4626 | 4821.2284 | 4821.2284 | 733.2343 | 15.21% | 0 | 733.2343 | 15.21%
2051 | 5080.9872 | 0 | 54.525 | 54.525 | 0 | 0 | 5135.5122 | 5135.5122 | 4283.5542 | 4283.5542 | 851.958 | 19.89% | 0 | 851.958 | 19.89% | 2051/52 | 5420.6645 | 0 | 172.457 | 172.457 | 0 | 0 | 5593.1215 | 5593.1215 | 4854.8448 | 4854.8448 | 738.2767 | 15.21% | 0 | 738.2767 | 15.21%
NOTES: | 1. Total installed capacity and the associated reserve margins are based on Seminole's All PPA Portfolio and are based on a 15% reserve margin criterion. | [14 empty] | NOTES: | 1. Total installed capacity and the associated reserve margins are based on Seminole's All PPA Portfolio and are based on a 15% reserve margin criterion.
| 2. Total Installed Capacity does not include SEPA. | [15 empty] | 2. Total Installed Capacity does not include SEPA or Solar.
| 3. Percent reserves are calculated at 15% of Seminole’s obligation and include any surplus capacity. | [15 empty] | 3. Percent reserves are calculated at 15% of Seminole’s obligation and include any surplus capacity.

## Reserve Margin - No Planned Cap
No Planned Capacity | [15 empty] | No Planned Capacity
Schedule 7.1 | [15 empty] | Schedule 7.2
Forecast of Capacity, Demand and Scheduled Maintenance at Time of Summer Peak | [15 empty] | Forecast of Capacity, Demand and Scheduled Maintenance at Time of Winter Peak
Year | Total Installed Capacity (MW) | Firm Capacity Import (MW) |  |  | Firm Capacity Export (MW) | QFs (MW) | Capacity Available (MW) |  | System Firm Summer Peak Demand (MW) |  | Reserve Margin Before Maintenance |  | Scheduled Maintenance (MW) | Reserve Margin After Maintenance |  | Year | Total Installed Capacity (MW) | Firm Capacity Import (MW) |  |  | Firm Capacity Export (MW) | QFs (MW) | Capacity Available (MW) |  | System Firm Winter Peak Demand (MW) |  | Reserve Margin Before Maintenance |  | Scheduled Maintenance (MW) | Reserve Margin After Maintenance
|  | PR and FR | Other Purchases | Total |  |  | Total | Less PR and FR | Total | Obligation | [7 empty] | PR and FR | Other Purchases | Total |  |  | Total | Less PR and FR | Total | Obligation
[11 empty] | MW | % of Pk |  | MW | % of Pk | [11 empty] | MW | % of Pk |  | MW | % of Pk
2018 | 2012 | 0 | 1647.5578 | 1647.5578 | 0 | 0 | 3659.5578 | 3659.5578 | 3140.7069 | 3140.7069 | 518.8509 | 16.52% | 0 | 518.8509 | 16.52% | 2018/19 | 2178 | 0 | 2318.125 | 2318.125 | 0 | 0 | 4496.125 | 4496.125 | 3469.9341 | 3469.9341 | 1026.1909 | 29.57% | 0 | 1026.1909 | 29.57%
2019 | 2012 | 0 | 1897.5506 | 1897.5506 | 0 | 0 | 3909.5506 | 3909.5506 | 3187.639 | 3187.639 | 721.9117 | 22.65% | 0 | 721.9117 | 22.65% | 2019/20 | 2178 | 0 | 2568.125 | 2568.125 | 0 | 0 | 4746.125 | 4746.125 | 3536.8199 | 3536.8199 | 1209.3051 | 34.19% | 0 | 1209.3051 | 34.19%
2020 | 2012 | 0 | 1895.9435 | 1895.9435 | 0 | 0 | 3907.9435 | 3907.9435 | 3238.6575 | 3238.6575 | 669.286 | 20.67% | 0 | 669.286 | 20.67% | 2020/21 | 2178 | 0 | 2416.525 | 2416.525 | 0 | 0 | 4594.525 | 4594.525 | 3595.4421 | 3595.4421 | 999.0829 | 27.79% | 0 | 999.0829 | 27.79%
2021 | 2012 | 0 | 1445.9364 | 1445.9364 | 0 | 0 | 3457.9364 | 3457.9364 | 3251.1031 | 3251.1031 | 206.8333 | 6.362% | 0 | 206.8333 | 6.362% | 2021/22 | 2178 | 0 | 1670.525 | 1670.525 | 0 | 0 | 3848.525 | 3848.525 | 3643.0314 | 3643.0314 | 205.4936 | 5.641% | 0 | 205.4936 | 5.641%
2022 | 2012 | 0 | 986.9294 | 986.9294 | 0 | 0 | 2998.9294 | 2998.9294 | 3296.963 | 3296.963 | -298.0336 | -9.04% | 0 | -298.0336 | -9.04% | 2022/23 | 2178 | 0 | 1370.525 | 1370.525 | 0 | 0 | 3548.525 | 3548.525 | 3698.9982 | 3698.9982 | -150.4732 | -4.068% | 0 | -150.4732 | -4.068%
2023 | 2012 | 0 | 686.9223 | 686.9223 | 0 | 0 | 2698.9223 | 2698.9223 | 3342.7816 | 3342.7816 | -643.8592 | -19.26% | 0 | -643.8592 | -19.26% | 2023/24 | 2178 | 0 | 1357.525 | 1357.525 | 0 | 0 | 3535.525 | 3535.525 | 3748.9133 | 3748.9133 | -213.3883 | -5.692% | 0 | -213.3883 | -5.692%
2024 | 2012 | 0 | 673.9153 | 673.9153 | 0 | 0 | 2685.9153 | 2685.9153 | 3388.6415 | 3388.6415 | -702.7261 | -20.74% | 0 | -702.7261 | -20.74% | 2024/25 | 2178 | 0 | 1157.525 | 1157.525 | 0 | 0 | 3335.525 | 3335.525 | 3801.8361 | 3801.8361 | -466.3111 | -12.27% | 0 | -466.3111 | -12.27%
2025 | 2012 | 0 | 435.9084 | 435.9084 | 0 | 0 | 2447.9084 | 2447.9084 | 3430.4072 | 3430.4072 | -982.4988 | -28.64% | 0 | -982.4988 | -28.64% | 2025/26 | 2178 | 0 | 1119.525 | 1119.525 | 0 | 0 | 3297.525 | 3297.525 | 3856.7841 | 3856.7841 | -559.2591 | -14.5% | 0 | -559.2591 | -14.5%
2026 | 2012 | 0 | 415.9015 | 415.9015 | 0 | 0 | 2427.9015 | 2427.9015 | 3474.1982 | 3474.1982 | -1046.2967 | -30.12% | 0 | -1046.2967 | -30.12% | 2026/27 | 2178 | 0 | 1099.525 | 1099.525 | 0 | 0 | 3277.525 | 3277.525 | 3909.6731 | 3909.6731 | -632.1481 | -16.17% | 0 | -632.1481 | -16.17%
2027 | 2012 | 0 | 415.8946 | 415.8946 | 0 | 0 | 2427.8946 | 2427.8946 | 3515.9639 | 3515.9639 | -1088.0693 | -30.95% | 0 | -1088.0693 | -30.95% | 2027/28 | 2178 | 0 | 499.525 | 499.525 | 0 | 0 | 2677.525 | 2677.525 | 3955.4942 | 3955.4942 | -1277.9692 | -32.31% | 0 | -1277.9692 | -32.31%
NOTES: | 1. Total installed capacity, firm capacity imports and the associated reserve margins are based on Seminole's current base case plan with all planned additions removed. | [14 empty] | NOTES: | 1. Total installed capacity, firm capacity imports and the associated reserve margins are based on Seminole's current base case plan with all planned additions removed.
| 2. Total Installed Capacity does not include SEPA. | [15 empty] | 2. Total Installed Capacity does not include SEPA or Solar.
| 3. Percent reserves are calculated at 15% of Seminole’s obligation and include any surplus capacity. | [15 empty] | 3. Percent reserves are calculated at 15% of Seminole’s obligation and include any surplus capacity.