## INT # 42
Florida Power & Light Company
Docket No. 20170235-EI
Staff's Fifth Set of Interrogatories
Interrogatory No. 42
Attachment No. 1
Tab 1 of 1
Long-Term incremental generation and purchased power plan assuming FPL does not acquire COVB
| Firm | Total Firm |  | Summer | 20% Summer | 10% Gen. Only
| Capacity | Capacity | Capacity | Peak | Reserve | Summer Reserve
Year | Changes | Available | Retirements | Demand | Margin | Margin
2018 | SoBRA PV Sited: 322 MW | 26892 | St. Johns River Power Park: 254 MW | 24010.326 | 21.14% | 12%
Manatee 3: (21) MW
Martin 8: (2) MW
Cape Canaveral Energy Center 3: (7) MW
Ft. Myers - 2 CT: 26 MW
Sanford 4: 6 MW
Sanford 5: 6 MW
Turkey Point 5: 26 MW
West County 1: 14 MW
West County 3: 14 MW
Exelon Generation Company, LLC (PPA): 200 MW
2019 | West County 3: 14 MW | 26887.8018 | Lauderdale 4&5: 884 MW | 24298.6124 | 20% | 10.66%
| Cape Canaveral Energy Center 3: 33 MW |  | Martin 1&2: 1,626 MW
| Turkey Point 3: 20 MW |  | Exelon Generation Company (PPA): 200 MW
Sanford 5: 162 MW
Turkey Point 4: 20 MW
West County 1: 27 MW
SoBRA PV Sited: 164 MW
Riviera Beach Energy Center 5: 78 MW
Unspecified PPA: 236 MW
Fort Myers 2: 288 MW
Martin 8: 101 MW
Manatee 3: 116 MW
Okeechobee Energy Center: 1,778 MW
2020 | West County 3: 42 MW | 27253.2819 |  | 24554.2986 | 20.6% | 10.99%
Sanford 4: 162 MW
Turkey Point 5: 12 MW
SoBRA PV Unsited: 165 MW
Unsited Solar PV: 124 MW
2021 | Unsited Solar PV: 331 MW | 27494.3904 |  | 24745.0107 | 20.91% | 11.11%
West County 3: 14 MW
2022 | Unsited Solar PV: 165 MW | 28818.8564 |  | 25029.681 | 25.43% | 15.14%
Lauderdale Modernization (Dania Beach Clean Energy Center Unit 7): 1,163 MW
2023 | Unsited Solar PV: 165 MW | 28979.838 |  | 25385.5181 | 24.46% | 14.16%
2024 | Unsited Solar PV: 165 MW | 29140.3367 |  | 25777.2364 | 23.33% | 13.05%
2025 | Unsited Solar PV: 155 MW | 29290.1543 |  | 26096.0602 | 22.56% | 12.24%
2026 | Unsited Solar PV: 131 MW | 29415.6825 |  | 26508.7408 | 21.24% | 10.97%
2027 | Unsited Solar PV: 116 MW | 29603.434 |  | 26911.7609 | 20.26% | 10%
Unspecified PPA: 81 MW
2028 | 1 Greenfield CC Unit: 1,778 MW | 31294.1348 |  | 27313.2433 | 25.33% | 14.57%
2029 |  | 31287.8545 |  | 27854.715 | 22.88% | 12.33%
2030 |  | 31281.593 |  | 28402.84 | 20.49% | 10.14%
2031 | Equalizing 552 MW CC Unit | 31827.221 |  | 28933.8373 | 20.14% | 10%
2032 | 1 Filler CC Unit: 889 MW | 32709.9971 |  | 29448.1042 | 21.12% | 11.08%
2033 | 1 Filler CC Unit: 889 MW | 33592.7918 |  | 29953.9236 | 22.1% | 12.15%
2034 | 1 Filler CC Unit: 889 MW | 34365.6052 |  | 30448.78 | 22.7% | 12.86%
2035 |  | 34359.437 |  | 30940.7893 | 20.56% | 11.05%
2036 | 2 Filler CC Unit: 1,788 MW | 35150.2874 | St. Lucie 1 Nuclear: 981 MW | 31438.9253 | 21.22% | 11.8%
2037 | 1 Filler CC Unit: 889 MW | 36033.1563 |  | 31926.549 | 22.21% | 12.86%
2038 |  | 36027.0435 |  | 32431.8822 | 20.13% | 11.09%
2039 | 1 Filler CC Unit: 889 MW | 36909.9491 |  | 32943.736 | 21.01% | 12.04%
2040 | 1 Filler CC Unit: 889 MW | 37792.873 |  | 33448.8162 | 21.89% | 12.99%
2041 |  | 37786.8151 |  | 33781.3267 | 20.57% | 11.86%
2042 | 1 Filler CC Unit: 889 MW | 38669.7753 |  | 34114.5428 | 22.09% | 13.35%
2043 | 1 Filler CC Unit: 889 MW | 38712.7537 | St. Lucie 2 Nuclear: 840 MW | 34448.4725 | 20.95% | 12.38%
2044 | 1 Filler CC Unit: 889 MW | 39595.7502 |  | 34783.1239 | 22.43% | 13.84%
2045 |  | 39589.7646 |  | 35118.5052 | 21.16% | 12.73%
2046 | 1 Filler CC Unit: 889 MW | 40472.7971 |  | 35454.6249 | 22.6% | 14.15%
2047 |  | 40466.8474 |  | 35791.4916 | 21.34% | 13.06%
2048 |  | 40460.9156 |  | 36129.1141 | 20.11% | 11.99%