## Sheet1
Question 77
Part # | Part Description | Hours to Install New | Hours to Remove Old
100OH | Transformer | 9 | 4.5
10OH | Transformer | 6 | 4.5
150PAD | Transformer | 9 | 7.5
15OH | Transformer | 6 | 4.5
25OH | Transformer | 7.5 | 4.5
50OH | Transformer | 7.5 | 4.5
75OH | Transformer | 9 | 4.5
EARL76 | ARRESTOR LIGHTING 7.6KV | 0.5 | 0.5
EARL9 | ARRESTOR LIGHTING 9V | 0.5 | 0.5
ECOF100 | CUT OUT FUSED 100 AMP | 3 | 2
ECOF200 | CUT OUT FUSED 200 AMP | 3 | 2
ECOL150 | CUT OUT LOAD BREAK 150 AMP | 3 | 2
ECOSS | CUT OUT SILICONE SEACOST | 3 | 2
EESU | SWITCH UNERSLUNG | 16.5 | 18
EFIHPC100 | FIXTURE HPS COBRAHEAD 100 | 3 | 1.5
EFIMH175 | FIXTURE MH SHOE BOX 175W | 3 | 2
EPCP21 | POLE CONCRETE PEBBLED OCT 20 FT. | 8 | 5
EPW301 | POLE WOOD 30 FT CLASS 1 | 4.5 | 2.5
EPW306 | POLE WOOD 30 FT CLASS 6 | 4.5 | 2.5
EPW351 | POLE WOOD 35 FT CLASS 1 | 4.5 | 2.5
EPW355 | POLE WOOD 35 FT CLASS 5 | 4.5 | 2.5
EPW401 | POLE WOOD 40 FT. CLASS 1 | 7 | 4
EPW451 | POLE WOOD 45 FT CLASS 1 | 27 | 15
EPW45H1 | POLE WOOD 45 FT CLASS H1 | 27 | 15
EPW501 | POLE WOOD 50 FT CLASS 1 | 27 | 15
EWA04 | WIRE ALUMINUM #4 per foot | 0.045 | 0.03375
EWB010 | WIRE BARE #1/0 per foot | 0.011786 | 0.0097996
EWB396 | WIRE BARE 396.4 per foot | 0.016875 | 0.015
EWT020 | WIRE TRIPLEX #2/0 per foot | 0.011 | 0.009
EWT04 | WIRE TRIPLEX #4 per foot | 0.055 | 0.045
EWT040 | WIRE TRIPLEX #4/0 per foot | 0.055 | 0.01
EWT040U | WIRE TRIPLEX #4/0 URD per foot | 0.0195 | 0.012