## Staff INT 3
Florida Power & Light Company
Docket No. 20190015-EG
Staff's First Set of Interrogatories
Interrogatory No. 3
Attachment No. 1
Tab 1 of 1
Energy Efficiency (EE)
Technical Potential – Change Since Last Goalsetting Proceeding
TPS | Summer Peak (MW) |  |  | Winter Peak (MW) |  |  | Annual Energy (GWh)
| Res | Com & Ind | Total | Res | Com & Ind | Total | Res | Com & Ind | Total
2014 | 4848.9496 | 2296.8613 | 7145.8109 | 3142.526 | 1267.3717 | 4409.8977 | 18915.0772 | 12553.0406 | 31468.1178
2019 | 3921.9468 | 2400.9425 | 6322.8893 | 2562.1382 | 1489.7717 | 4051.9099 | 16893.4844 | 9853.6522 | 26747.1366
Delta | -927.0028 | 104.0812 | -822.9216 | -580.3878 | 222.4 | -357.9879 | -2021.5928 | -2699.3884 | -4720.9812
Demand Response (DR)
Technical Potential – Change Since Last Goalsetting Proceeding
TPS | Summer Peak (MW) |  |  | Winter Peak (MW) |  |  | Annual Energy (GWh)
| Res | Com & Ind | Total | Res | Com & Ind | Total | Res | Com & Ind | Total
2014 | 1317 | 752.05 | 2069.05 | 2182 | 210 | 2392 | 0 | 0 | 0
2019 | 4545.7956 | 5429.1785 | 9974.9741 | 5236.7554 | 4025.4717 | 9262.2271 | 0 | 0 | 0
Delta | 3228.7956 | 4677.1285 | 7905.9241 | 3054.7554 | 3815.4717 | 6870.2271 | 0 | 0 | 0
Demand-Side Renewable Energy (DSRE)
Technical Potential – Change Since Last Goalsetting Proceeding
TPS | Summer Peak (MW) |  |  | Winter Peak (MW) |  |  | Annual Energy (GWh)
| Res | Com & Ind | Total | Res | Com & Ind | Total | Res | Com & Ind | Total
2014 | 8855.654 | 5199.016 | 14054.67 | 1613.43 | 660.582 | 2274.012 | 24400.676 | 13735.108 | 38135.784
2019* | 3277.8719 | 714.2111 | 3992.0831 | 7718.0765 | 1681.6814 | 9399.7579 | 14390.5212 | 33883.9181 | 48274.4393
Delta | -5577.7821 | -4484.8049 | -10062.5869 | 6104.6465 | 1021.0994 | 7125.7459 | -10010.1548 | 20148.8101 | 10138.6553
* Photovoltaic (PV) only for direct comparison because 2014 only included PV
DSRE - 2019 Only
Storage | 0 | 262.3867 | 262.3867 | 1524.4278 | 0 | 1524.4278 | 0 | 0 | 0
CHP | N/A | 2197.6 | 2197.6 | N/A | 568.6685 | 568.6685 | N/A | 9557.0658 | 9557.0658