## SRS-4
FPL 003517
20190015-EG
A Comparison of 2009, 2014, and 2019 In-Service
Year Capital Costs for the Avoided CC Unit
($/kW, nominal $, w/o AFUDC)
|  | -1 | -2 | -3
|  | 2009 | 2014 | 2019
|  | DSM Goals | DSM Goals | DSM Goals
| Start Year = | 2009 | 2014 | 2019
| CC cost = | 725 | 776 | 558
| In-Service Year = | 2019 | 2019 | 2026
Year
| 2009 | 725 | --- | ---
| 2010 | 746.75 | --- | ---
| 2011 | 769.1525 | --- | ---
| 2012 | 792.2271 | --- | ---
| 2013 | 815.9939 | --- | ---
| 2014 | 840.4737 | 776 | ---
| 2015 | 865.6879 | 799.28 | ---
| 2016 | 891.6586 | 823.2584 | ---
| 2017 | 918.4083 | 847.9562 | ---
| 2018 | 945.9606 | 873.3948 | ---
| 2019 | 974.3394 | 899.5967 | 558
| 2020 |  |  | 571.95
| 2021 |  |  | 586.2487
| 2022 |  |  | 600.905
| 2023 |  |  | 615.9276
| 2024 |  |  | 631.3258
| 2025 |  |  | 647.1089
| 2026 |  |  | 663.2867

## SRS-5
FPL 003518
20190015-EG
A Comparison of a Benefits Only Calculation for a Proxy DSM Measure
Using System Cost Values from the 2014 and 2019 DSM Goals Dockets
(CPVRR, $000, in Start Year $, with 7.73% Discount Rate)
Assumptions for the Proxy DSM Measure:
| Summer kW reduction = | 1
| Winter kW reduction = | 1
| Annual kWh reduction = | 1000
| Number of participants in Year 1 = | 1000
Category of System Impact by DSM | Results Using System Cost Values from the 2014 DSM Goals Docket | Results Using System Cost Values from the 2019 DSM Goals Docket | Change (2019 Values - 2014 Values)
Avoided Gen Unit Capacity Cost | 1305.8289 | 759.0641 | -546.7649
Avoided Gen Unit Fixed O&M | 955.4336 | 386.2806 | -569.153
Avoided Gen Unit Variable O&M | 82.5741 | 14.4129 | -68.1612
Avoided Gen Unit Fuel Cost | 5075.6492 | 2350.3525 | -2725.2967
Replacement Fuel Cost | -5663.4071 | -2510.6417 | 3152.7654
Avoided Transmission Cap Cost | 268.1266 | 523.0008 | 254.8741
Avoided Transmission O&M Cost | 69.8021 | 93.1393 | 23.3372
Avoided Distribution Cap Cost | 35.585 | 101.4055 | 65.8205
Avoided Distribution O&M Cost | 35.2259 | 50.7148 | 15.4889
Program Fuel Savings | 1324.4716 | 441.762 | -882.7096
Program Off-Peak Payback | 0 | 0 | 0
Avoided Gen Unit Emission Benefit | 987.0155 | 415.0561 | -571.9595
Replacement Emission Cost | -1293.6231 | -473.8856 | 819.7375
Program Emission Benefit | 132.4121 | 50.7233 | -81.6888
Off-Peak Emissions Payback Cost | 0 | 0 | 0
Total RIM and TRC Benefits = | 3315.0945 | 2201.3844 | -1113.7101
|  | Percentage Change in Total RIM and TRC Benefits = | -33.6%