## Staff ROG29
Technical Potential – Measure Savings
Customer | Measure | Measure | Summer | Winter | Annual
Class | Type | Name | Peak | Peak | Energy
|  |  | (MW) | (MW) | (GWh)
Residential | NonEquip | Smart Power Strip | 0.29306 | 0.22867 | 2.6605
Residential | Equip | Energy Star TV | 1.9142 | 1.1451 | 9.5721
Residential | NonEquip | Water Heater Timeclock | 0 | 0 | 6.0399
Residential | NonEquip | Water Heater Thermostat Setback | 0.011333 | 0.024395 | 0.12582
Residential | NonEquip | Water Heater Blanket | 0.63223 | 1.3609 | 7.0193
Residential | NonEquip | Thermostatic Shower Restriction Valve | 0.038337 | 0.082524 | 0.42563
Residential | NonEquip | Low Flow Showerhead | 0.66365 | 1.4286 | 7.3681
Residential | NonEquip | Hot Water Pipe Insulation | 0.31224 | 0.67212 | 3.4666
Residential | NonEquip | Heat Trap | 0.15896 | 0.34219 | 1.7649
Residential | NonEquip | Faucet Aerator | 0.14465 | 0.31138 | 1.606
Residential | NonEquip | Drain Water Heat Recovery | 0.57635 | 1.2406 | 6.3988
Residential | Equip | Solar Water Heater | 8.9849 | 1.2614 | 120.2128
Residential | NonEquip | Wall Insulation | 1.1727 | 7.84 | 10.7039
Residential | NonEquip | Storm Door | 0 | 0 | 0
Residential | NonEquip | Spray Foam Insulation(Base R30) | 13.8979 | 17.6494 | 39.7461
Residential | NonEquip | Spray Foam Insulation(Base R2) | 35.0463 | 28.8592 | 85.6088
Residential | NonEquip | Spray Foam Insulation(Base R19) | 3.2197 | 3.7474 | 8.908
Residential | NonEquip | Spray Foam Insulation(Base R12) | 8.045 | 12.2275 | 30.2916
Residential | NonEquip | Smart Thermostat | 0 | 0 | 16.0014
Residential | NonEquip | Sealed crawlspace | 0 | 0.37368 | 0.27017
Residential | NonEquip | Radiant Barrier | 0.78803 | 0.82308 | 2.0068
Residential | NonEquip | Programmable Thermostat | 0 | 0 | 0.34595
Residential | NonEquip | HVAC ECM Motor | 0 | 0.47094 | 0.5087
Residential | NonEquip | Home Energy Management System | 0.39602 | 0.13532 | 1.8747
Residential | NonEquip | Heat Pump Tune Up | 0 | 0 | 0
Residential | NonEquip | Green Roof | 0.14987 | 0.12131 | 0.37899
Residential | NonEquip | Floor Insulation | 0 | 0.0053383 | 0.0086773
Residential | NonEquip | Energy Star Windows | 2.3264 | 3.5371 | 16.5986
Residential | NonEquip | Energy Star Door | 0.48548 | 1.2987 | 2.8444
Residential | NonEquip | Energy Star Certified Roof Products | 23.8997 | 19.7295 | 60.8697
Residential | NonEquip | Duct Repair | 14.3255 | 11.5315 | 36.1547
Residential | NonEquip | Duct Insulation | 0 | 0 | 0
Residential | NonEquip | Ceiling Insulation(R30 to R38) | 0.26467 | 0.36518 | 0.7494
Residential | NonEquip | Ceiling Insulation(R2 to R38) | 2.1573 | 3.1736 | 7.8077
Residential | NonEquip | Ceiling Insulation(R19 to R38) | 0.15486 | 0.20241 | 0.43235
Residential | NonEquip | Ceiling Insulation(R12 to R38) | 0.76905 | 0.97895 | 2.1782
Residential | NonEquip | Air Sealing-Infiltration Control | 11.0909 | 9.2774 | 28.3839
Residential | NonEquip | Solar Attic Fan | 0.26107 | 0 | 0.75919
Residential | NonEquip | Window Sun Protection | 6.4136 | -2.9354 | 4.264
Residential | NonEquip | Central AC Tune Up | 0 | 0 | 0
Residential | Equip | Variable Refrigerant Flow (VRF) HVAC Systems | 0.023936 | 0.39836 | 2.1189
Residential | Equip | Energy Star Room AC | 0.68434 | 0 | 1.1085
Residential | NonEquip | Removal of 2nd Refrigerator-Freezer | 1.5734 | 0.52422 | 15.0734
Residential | Equip | Energy Star Refrigerator | 6.5032 | 2.1667 | 62.3006
Residential | Equip | High Efficiency Induction Cooktop | 5.7169 | 1.3716 | 24.1075
Residential | Equip | Variable Speed Pool Pump | 21.8671 | 0 | 40.2354
Residential | Equip | Two Speed Pool Pump | 0 | 0 | 0
Residential | Equip | Solar Powered Pool Pumps | 0 | 0 | 0
Residential | Equip | Solar Pool Heater | 0 | 0 | 10.1948
Residential | Equip | Heat Pump Pool Heater | 0 | 0 | 29.9539
Residential | Equip | Instantaneous Hot Water System | -0.017795 | 0.21156 | 0.76816
Residential | Equip | High Efficiency Convection Oven | 6.3018 | 2.072 | 25.3948
Residential | Equip | Energy Star Audio-Video Equipment | 0 | 0 | 39.3922
Residential | Equip | Energy Star Dehumidifier | 0.10364 | 0.01963 | 0.63188
Residential | NonEquip | Interior Lighting Controls | 0.07823 | 0.05907 | 0.57681
Residential | NonEquip | Exterior Lighting Controls | 0 | 0 | 0.070704
Residential | Equip | LED Specialty Lamps-5W Chandelier | 0.13271 | 0.13934 | 1.5087
Residential | Equip | LED - 9W Flood | 2.9468 | 3.0939 | 33.5006
Residential | Equip | LED - 14W | 2.1329 | 2.2394 | 24.2481
Residential | Equip | Low Wattage T8 Fixture | 0 | 0 | 0
Residential | Equip | Linear LED | 0 | 5.0621e-07 | 8.6904
Residential | Equip | Energy Star Personal Computer | 2.3973 | 0.51393 | 15.1204
Residential | Equip | Energy Star Imaging Equipment | 0.03242 | 0.018929 | 0.35758
Residential | Equip | Ground Source Heat Pump | 0.069083 | 0.098765 | 0.20019
Residential | Equip | 21 SEER ASHP from base electric resistance heating | 21.5259 | 10.9873 | 83.6267
Residential | Equip | 21 SEER Air Source Heat Pump | 28.3064 | 7.2554 | 75.7611
Residential | Equip | 14 SEER ASHP from base electric resistance heating | 0 | 0 | 0
Residential | Equip | 18 SEER Air Source Heat Pump | 0 | 0 | 0
Residential | Equip | 17 SEER Air Source Heat Pump | 0 | 0 | 0
Residential | Equip | 16 SEER Air Source Heat Pump | 0 | 0 | 0
Residential | Equip | 15 SEER Air Source Heat Pump | 0 | 0 | 0
Residential | Equip | Heat Pump Water Heater | 8.1544 | 30.459 | 121.2771
Residential | Equip | Energy Star Freezer | 1.0632 | 0.73578 | 8.1812
Residential | Equip | Energy Star Ceiling Fan | 0 | 0.00084968 | 7.4792
Residential | Equip | Energy Star Bathroom Ventilating Fan | 0.21391 | 0.85565 | 6.1111
Residential | Equip | LED - 9W Flood (Exterior) | 0 | 0 | 2.1256
Residential | Equip | CFL - 15W Flood (Exterior) | 0 | 0 | 0
Residential | Equip | Energy Star Dishwasher | 0.15706 | 0.17073 | 1.4345
Residential | Equip | Energy Star Clothes Washer | 0.90354 | 0.52478 | 5.7454
Residential | Equip | Heat Pump Clothes Dryer | 8.3324 | 4.8395 | 52.984
Residential | Equip | Energy Star Clothes Dryer | 3.9948 | 2.3202 | 25.4025
Residential | Equip | 21 SEER Central AC | 128.1226 | 0 | 207.5393
Residential | Equip | 18 SEER Central AC | 0 | 0 | 0
Residential | Equip | 17 SEER Central AC | 0 | 0 | 0
Residential | Equip | 16 SEER Central AC | 0 | 0 | 0
Residential | Equip | 15 SEER Central AC | 0 | 0 | 0
Residential | Equip | Energy Star Air Purifier | 0.82659 | 0.59646 | 6.2378
Commercial | NonEquip | Retro-Commissioning | 19.1552 | 32.4999 | 91.4119
Commercial | NonEquip | Strip Curtains for Walk-ins | 0.0072444 | 0.0025833 | 0.05094
Commercial | NonEquip | Refrigerated Display Case Lighting Controls | 0.019857 | 0.018556 | 0.14456
Commercial | NonEquip | PSC to ECM Evaporator Fan Motor (Walk-In, Refrigerator) | 0.27193 | 0.11766 | 2.0194
Commercial | NonEquip | PSC to ECM Evaporator Fan Motor (Reach-In) | 0.28376 | 0.11656 | 2.1028
Commercial | NonEquip | Night Covers for Display Cases | 0.014551 | 0.0065032 | 0.096875
Commercial | NonEquip | High R-Value Glass Doors | 0.43001 | 0.1479 | 2.9444
Commercial | NonEquip | High Efficiency Refrigeration Compressor | 0.1146 | 0.059809 | 0.77805
Commercial | NonEquip | Freezer-Cooler Replacement Gaskets | 0.070763 | 0.039269 | 0.51273
Commercial | NonEquip | Floating Head Pressure Controls | 0.049805 | 0.041718 | 0.38413
Commercial | NonEquip | Demand Defrost | 0.73616 | 0.31203 | 5.4623
Commercial | NonEquip | Automatic Door Closer for Walk-in Coolers and Freezers | 0.051456 | 0.026 | 0.38253
Commercial | NonEquip | Anti-Sweat Controls | 0.54859 | 0.52611 | 6.1368
Commercial | Equip | Energy Star Vending Machine | 0.71996 | 0.44951 | 4.6015
Commercial | Equip | Energy Star Ice Maker | 0.28246 | 0.21185 | 2.0273
Commercial | NonEquip | Outdoor Lighting Controls | 0 | 0 | 10.3838
Commercial | NonEquip | Bi-Level Lighting Control (Exterior) | 0 | 0 | 4.3823
Commercial | Equip | LED Traffic and Crosswalk Lighting | 0 | 0 | 0
Commercial | Equip | LED Street Lights | 0 | 0 | 0
Commercial | Equip | Energy Star Steamer | 0.0032296 | 0.0018753 | 0.02198
Commercial | Equip | LED Exterior Lighting | 0 | 0 | 0.018536
Commercial | Equip | LED - 9W Flood | 0 | 0 | 0.045003
Commercial | Equip | CFL - 15W Flood | 0 | 0 | 0
Commercial | NonEquip | Interior Lighting Controls | 0 | 0 | 20.8189
Commercial | NonEquip | Bi-Level Lighting Control (Interior) | 0.24057 | 0 | 38.4676
Commercial | NonEquip | Facility Energy Management System | 3.2073 | 0.47454 | 15.8217
Commercial | Equip | LED Display Lighting (Interior) | 0.001782 | 0.00051024 | 0.0081976
Commercial | Equip | LED - 14W | 0.041993 | 0.012474 | 0.19806
Commercial | Equip | CFL-23W | 0 | 0 | 0
Commercial | NonEquip | Smart Strip Plug Outlet | 0.28663 | 0.16308 | 1.9276
Commercial | NonEquip | Network PC Power Management | 0.7078 | 0.46719 | 4.8174
Commercial | Equip | Server Virtualization | 0.56457 | 0.39267 | 3.7931
Commercial | Equip | Energy Star Servers | 0.062426 | 0.043419 | 0.41942
Commercial | Equip | High Efficiency Data Center Cooling | 0.027126 | 0.015667 | 0.11832
Commercial | NonEquip | Window Sun Protection | 4.7721 | -0.34513 | 14.7136
Commercial | NonEquip | Waterside Economizer | 0.4928 | 0 | 1.4898
Commercial | NonEquip | Smart Thermostat | 3.5551 | 0.67233 | 39.3409
Commercial | NonEquip | Roof Insulation | 1.3036 | 0.23973 | 11.0646
Commercial | NonEquip | Low U-Value Windows | 12.8373 | -0.13063 | 41.3259
Commercial | NonEquip | HVAC tune-up_RTU | 0 | 0 | 0
Commercial | NonEquip | HVAC tune-up | 0 | 0 | 0
Commercial | NonEquip | Green Roof | 0.003501 | 0 | 0.0095179
Commercial | NonEquip | Facility Commissioning | 0.15056 | 0.0046858 | 0.86689
Commercial | NonEquip | Energy Recovery Ventilation System (ERV) | 40.3002 | 7.81 | 27.4848
Commercial | NonEquip | Duct Sealing Repair | 2.7009 | 2.3411 | 17.0636
Commercial | NonEquip | Dedicated Outdoor Air System on VRF unit | 0.10409 | 0.95101 | 3.5317
Commercial | NonEquip | Cool Roof | 4.0831 | 0 | 10.5573
Commercial | NonEquip | Chilled Water System - Variable Speed Drives | 3.552 | 0.80734 | 38.1879
Commercial | NonEquip | Chilled Water Controls Optimization | 1.9015 | 0.011079 | 5.9686
Commercial | NonEquip | Ceiling Insulation(R2 to R38) | 0.097439 | 0.16 | 5.2241
Commercial | NonEquip | Ceiling Insulation(R12 to R38) | 0.007473 | 0.014074 | 0.40466
Commercial | NonEquip | Airside Economizer | -0.21152 | 0.0019464 | 1.2328
Commercial | NonEquip | Wall Insulation | 1.2446 | 0.073672 | 14.1234
Commercial | NonEquip | Programmable Thermostat | 0 | 0 | 0
Commercial | NonEquip | Floor Insulation | 0.017982 | 0.013033 | 0.30331
Commercial | NonEquip | Duct Insulation | 0.52229 | 0.28224 | 2.4059
Commercial | NonEquip | Ceiling Insulation(R19 to R38) | 0.0013251 | 0.0043239 | 0.075807
Commercial | Equip | Geothermal Heat Pump | 0.098472 | 0.14104 | 0.66657
Commercial | Equip | Variable Refrigerant Flow (VRF) HVAC Systems | 0.24809 | 3.0829 | 11.1541
Commercial | Equip | High Efficiency PTHP | 0 | 0 | 0
Commercial | Equip | High Efficiency PTAC | 0 | 0 | 0
Commercial | NonEquip | Water Cooled Refrigeration Heat Recovery | 0 | 0.094287 | 1.2503
Commercial | NonEquip | Warehouse Loading Dock Seals | 0.010365 | 0.0017885 | 0.10018
Commercial | NonEquip | Infiltration Reduction - Air Sealing | 0.030848 | 0.033928 | 0.19111
Commercial | NonEquip | ECM Motors on Furnaces | 0 | 0.00037365 | 0.046121
Commercial | NonEquip | Destratification Fans | 0 | 0.060042 | 0.29655
Commercial | NonEquip | Air Curtains | 0 | 0.0073761 | 0.12063
Commercial | NonEquip | Hotel Card Energy Control Systems | 0.0063211 | -0.0056829 | 0.97953
Commercial | NonEquip | Ceiling Insulation(R30 to R38) | 0 | 0.00057581 | 0.0012765
Commercial | Equip | Energy Star Refrigerator | 0.73871 | 0.58126 | 5.6107
Commercial | NonEquip | VSD Controlled Compressor | 1.0776 | 0.55578 | 7.2971
Commercial | NonEquip | Regenerative Drive Elevator Motor | 0.013469 | 0.0050754 | 0.099494
Commercial | NonEquip | Engine Block Timer | 0.090223 | 0.094127 | 1.8301
Commercial | NonEquip | Efficient Motor Belts | 0.015216 | 0.0044662 | 0.1115
Commercial | Equip | Variable Speed Pool Pump | 0.011084 | 0.0017205 | 0.047098
Commercial | Equip | Solar Powered Pool Pump | 0.0025125 | 0.00038999 | 0.010676
Commercial | Equip | Solar Pool Heater | 0 | 0.00064473 | 0.017649
Commercial | Equip | Heat Pump Pool Heater | 0 | 0.0081 | 0.22174
Commercial | Equip | High Efficiency DX 135k- less than 240k BTU | 8.7695 | 0 | 24.176
Commercial | Equip | Premium T8 - Lamp Replacement | 0 | 0 | 0
Commercial | Equip | Premium T8 - Fixture Replacement | 0 | 0 | 0
Commercial | Equip | LED Linear - Lamp Replacement | 4.2265 | 0.65207 | 18.2505
Commercial | Equip | LED Linear - Fixture Replacement | 27.8123 | 4.9309 | 119.1224
Commercial | Equip | Energy Star Commercial Oven | 0.2577 | 0.13485 | 1.5869
Commercial | Equip | ENERGY STAR Water Cooler | 0.34864 | 0.34864 | 2.0046
Commercial | Equip | ENERGY STAR Commercial Clothes Washer | 0.38952 | 0.42833 | 4.4408
Commercial | Equip | Efficient Battery Charger | 2.3132 | 0 | 4.2216
Commercial | Equip | Energy Star Uninterruptable Power Supply | 0.074899 | 0.074899 | 0.65612
Commercial | NonEquip | VAV System | 1.4878 | 1.5099 | 5.2274
Commercial | NonEquip | Demand Controlled Ventilation | 1.704 | 9.5938 | 16.367
Commercial | NonEquip | CO Sensors for Parking Garage Exhaust | 0.016495 | 0.016495 | 0.40979
Commercial | Equip | High Speed Fans | 0.0031459 | 0.0021178 | 0.023898
Commercial | Equip | 10HP Open Drip-Proof(ODP) Motor | 0.000712 | 0.00052716 | 0.0054425
Commercial | Equip | High Bay LED | 13.9542 | 13.6907 | 75.4569
Commercial | Equip | High Bay Fluorescent (T5) | 0 | 0 | 0
Commercial | Equip | Energy Star Fryer | 0.066807 | 0.020659 | 0.41214
Commercial | Equip | LED Parking Lighting | 0 | 0 | 8.4477
Commercial | Equip | High Efficiency HID Lighting | 0 | 0 | 0
Commercial | Equip | LED Display Lighting (Exterior) | 0 | 0 | 0.014491
Commercial | Equip | ENERGY STAR Imaging Equipment | 1.4312 | 0.96106 | 10.3205
Commercial | Equip | High Efficiency Chiller (Air Cooled, 50 tons) | 1.5183 | 0.35023 | 6.5473
Commercial | Equip | High Efficiency Chiller (Water cooled-positive displacement, 100 tons) | 0.60239 | 0.0059305 | 1.8778
Commercial | Equip | High Efficiency Chiller (Water cooled-centrifugal, 200 tons) | 1.0039 | 0.0098833 | 3.1294
Commercial | Equip | Refrigerated Display Case LED Lighting | 0 | 0 | 0
Commercial | Equip | Energy Star Commercial Solid Door Refrigerator | 1.9162 | 0.85626 | 12.829
Commercial | Equip | Energy Star Commercial Solid Door Freezer | 1.0603 | 0.4738 | 7.0987
Commercial | Equip | Energy Star Commercial Glass Door Refrigerator | 0 | 0 | 0
Commercial | Equip | Energy Star Commercial Glass Door Freezer | 0 | 0 | 0
Commercial | Equip | Induction Cooktops | 0.15489 | 0.063778 | 0.71832
Commercial | Equip | Efficient Exhaust Hood | 0.79506 | 0.31206 | 3.6367
Commercial | Equip | Energy Star Hot Food Holding Cabinet | 1.9081 | 0.92326 | 10.3609
Commercial | Equip | Energy Star Griddle | 0.47397 | 0.1213 | 2.8684
Commercial | Equip | Energy Star PCs | 0.89157 | 0.35775 | 6.0381
Commercial | NonEquip | Thermostatic Shower Restriction Valve | 0.060662 | 0.374 | 0.94912
Commercial | NonEquip | Tank Wrap on Water Heater | 0.040707 | 0.041533 | 0.40639
Commercial | NonEquip | Low-Flow Pre-Rinse Sprayers | 0.042148 | 0.049629 | 0.31271
Commercial | NonEquip | Low Flow Shower Head | 0.01067 | 0.065679 | 0.16682
Commercial | NonEquip | Hot Water Pipe Insulation | 0.061678 | 0.072869 | 0.57454
Commercial | NonEquip | Hot Water Circulation Pump Control | 0.072073 | 0.075434 | 2.0234
Commercial | NonEquip | Faucet Aerator | 0.038564 | 0.034078 | 0.20551
Commercial | NonEquip | Drain Water Heat Recovery | 0.037435 | 0.047489 | 0.21323
Commercial | Equip | Solar Water Heater | 0.87475 | 0.12281 | 11.7036
Commercial | Equip | Heat Pump Water Heater | 2.3794 | 3.3349 | 17.4317
Commercial | Equip | Energy Star Commercial Dishwasher | 0.21601 | -2.2982e-05 | 2.977
Commercial | Equip | Instantaneous Hot Water System | 0.031999 | 0.040969 | 0.29527
Commercial | Equip | Two Speed Pool Pump | 0 | 0 | 0
Commercial | NonEquip | Thermal Energy Storage | 13.4032 | 3.8845 | -2.1328
Industrial | NonEquip | Process Other Systems Optimization | 0.12706 | 0.19859 | 0.92293
Industrial | NonEquip | Plant Energy Management | 5.5139 | 5.1252 | 40.5692
Industrial | NonEquip | Process Heat System Optimization | 0.13027 | 0.04548 | 0.94621
Industrial | NonEquip | Process Heat Improved Controls | 0.041201 | 0.35521 | 0.29927
Industrial | NonEquip | Process Refrig System Optimization | 0.17223 | 0.040522 | 1.251
Industrial | NonEquip | Process Refrig Controls | 0.079548 | 0.24483 | 0.57781
Industrial | Equip | Process Refrig Equipment Upgrade | 0.18356 | 0.000259 | 1.3333
Industrial | NonEquip | Pump System Optimization | 1.8016 | 0.28432 | 13.3791
Industrial | NonEquip | Pump Improved Controls | 0.29596 | 2.3772 | 2.1978
Industrial | NonEquip | Motor Optimization | 1.9755 | 0.19706 | 14.6701
Industrial | NonEquip | Motor Improved Controls | 0.2024 | 5.4338 | 1.5031
Industrial | Equip | Pump Equipment Upgrade | 3.7736 | 0.69187 | 28.0226
Industrial | Equip | Motor Equipment Upgrades | 0.71555 | 0.0027527 | 5.3137
Industrial | NonEquip | Fan Improved Controls | 1.6296 | 1.8977 | 12.1018
Industrial | Equip | Fan Equipment Upgrades | 0.73812 | 0.00043304 | 5.4813
Industrial | NonEquip | Lighting Controls | 0.72303 | 4.0536 | 5.0655
Industrial | Equip | Efficient Lighting - Other Interior Lighting | 3.4495 | 2.283 | 24.167
Industrial | Equip | Efficient Lighting - High Bay | 2.3488 | 0.0031953 | 16.4554
Industrial | NonEquip | HVAC Recommissioning | 1.2875 | 0.91106 | 9.0379
Industrial | NonEquip | HVAC Improved Controls | 1.5832 | 1.6536 | 11.1136
Industrial | NonEquip | Building Envelope Improvements | 1.0846 | 2.4558 | 7.6136
Industrial | Equip | HVAC Equipment Upgrades | 1.1915 | 0.00033395 | 8.3645
Industrial | NonEquip | Lighting Controls - Exterior | 0 | 0 | 0.60366
Industrial | Equip | Efficient Lighting - Exterior | 0 | 0.00035617 | 1.7357
Industrial | NonEquip | Compressed Air System Optimization | 0.39885 | 0.27222 | 2.9619
Industrial | NonEquip | Compressed Air Controls | 0.2796 | 1.5171 | 2.0763
Industrial | Equip | Compressed Air Equipment | 0.94819 | 0.00071976 | 7.0413
Industrial | Equip | Process Heat Equipment Upgrade | 0.18621 | 0.00014599 | 1.3526
Industrial | NonEquip | Fan System Optimization | 1.5097 | 1.517 | 11.2111
Industrial | Equip | Process Other Equipment Upgrades | 0.022717 | 2.1766e-05 | 0.16501
Residential | Direct Load Control | Central air conditioner - Load Shed | 465.092 | 667.21 | 0
Residential | Direct Load Control | Central Heating - Load Shed
Residential | Direct Load Control | Central air conditioner - 50% cycling
Residential | Direct Load Control | Central Heating - 50% cycling
Residential | Direct Load Control | Water heater switches
Residential | Direct Load Control | Pool pump switches
Residential | Direct Load Control | Room AC control
Residential | Direct Load Control | Smart thermostats - Utility Installation
Residential | Direct Load Control | Smart thermostats - BYOT
Residential | Pricing | CPP + Tech
Small C&I | Direct Load Control | Central air conditioner - Load Shed | 18.107 | 4.688 | 0
Small C&I | Direct Load Control | Central Heating - Load Shed
Small C&I | Direct Load Control | Central air conditioner - 50% cycling
Small C&I | Direct Load Control | Central Heating - 50% cycling
Small C&I | Direct Load Control | Smart thermostats - Utility Installation
Small C&I | Direct Load Control | Smart thermostats - BYOT
Small C&I | Pricing | CPP + Tech
Large C&I | Utility-Controlled Loads | Auto DR | 475.235 | 425.973 | 0
Large C&I | Pricing | CPP
Large C&I | Contractual | Firm Service Level
Large C&I | Contractual | Guaranteed Load Drop
Residential | PV | PV System | 23.6384 | 103.5858 | 2072.1008
Residential | Storage | Battery Storage from PV System | 65.4018 | 221.8613 | 0
Non-Residential | PV | PV System | 111.3414 | 47.6009 | 952.1948
Non-Residential | Storage | Battery Storage from PV System | 0 | 0 | 0
Non-Residential | CHP | CHP – Fuel Cell | 21.575 | 8.4824 | 134.1879
Non-Residential | CHP | CHP – Micro Turbine | 57.45 | 22.5871 | 246.5984
Non-Residential | CHP | CHP – Gas Turbine | 29.5 | 11.5982 | 209.3202
Non-Residential | CHP | CHP – Reciprocating Engine | 109.85 | 43.1887 | 384.9144
Non-Residential | CHP | CHP - Steam Turbine | 34 | 13.3674 | 268.056