## RES RIM
Segment | Vintage | (1) Measure | RIM NPV Benefits | RIM NPV Costs | RIM Benefit/Cost Ratio
No Measures Passing RIM/PT/3 yr payback

## RES TRC
Segment | Vintage | (1) Measure | TRC NPV Benefits | TRC NPV Costs | TRC Benefit/Cost Ratio
Single Family | Turnover | High Efficiency Induction Cooktop | 1722.3492 | 1258.5593 | 1.3685
Multi-Family | Turnover | High Efficiency Induction Cooktop | 1722.3492 | 1258.5593 | 1.3685
Manufactured Home | Turnover | High Efficiency Induction Cooktop | 1722.3492 | 1258.5593 | 1.3685
Single Family | New | High Efficiency Induction Cooktop | 1722.3492 | 1258.5593 | 1.3685
Multi-Family | New | High Efficiency Induction Cooktop | 1722.3492 | 1258.5593 | 1.3685
Manufactured Home | New | High Efficiency Induction Cooktop | 1722.3492 | 1258.5593 | 1.3685
Single Family | Turnover | Heat Pump Water Heater | 5899.1895 | 5432.7392 | 1.0859
Single Family | New | Heat Pump Water Heater | 5899.1895 | 5432.7392 | 1.0859
Single Family | Turnover | 21 SEER ASHP from base electric resistance heating | 29613.2973 | 29210.3198 | 1.0138
Manufactured Home | Turnover | 21 SEER ASHP from base electric resistance heating | 29613.2973 | 29210.3198 | 1.0138
Single Family | New | 21 SEER ASHP from base electric resistance heating | 29613.2973 | 29210.3198 | 1.0138
Single Family | Turnover | Two Speed Pool Pump | 3664.2031 | 2007.6625 | 1.8251
Multi-Family | Turnover | Two Speed Pool Pump | 3664.2031 | 2007.6625 | 1.8251
Manufactured Home | Turnover | Two Speed Pool Pump | 3664.2031 | 2007.6625 | 1.8251
Single Family | New | Two Speed Pool Pump | 3664.2031 | 2007.6625 | 1.8251
Multi-Family | New | Two Speed Pool Pump | 3664.2031 | 2007.6625 | 1.8251
Manufactured Home | New | Two Speed Pool Pump | 3664.2031 | 2007.6625 | 1.8251
Single Family | Turnover | Variable Speed Pool Pump | 11075.381 | 6067.7722 | 1.8253
Multi-Family | Turnover | Variable Speed Pool Pump | 11075.381 | 6067.7722 | 1.8253
Manufactured Home | Turnover | Variable Speed Pool Pump | 11075.381 | 6067.7722 | 1.8253
Single Family | New | Variable Speed Pool Pump | 11075.381 | 6067.7722 | 1.8253
Multi-Family | New | Variable Speed Pool Pump | 11075.381 | 6067.7722 | 1.8253
Manufactured Home | New | Variable Speed Pool Pump | 11075.381 | 6067.7722 | 1.8253
Single Family | Existing | Thermostatic Shower Restriction Valve | 323.934 | 192.5025 | 1.6828
Multi-Family | Existing | Thermostatic Shower Restriction Valve | 254.6335 | 179.306 | 1.4201
Manufactured Home | Existing | Thermostatic Shower Restriction Valve | 252.6036 | 178.9194 | 1.4118
Single Family | New | Thermostatic Shower Restriction Valve | 323.934 | 192.5025 | 1.6828
Multi-Family | New | Thermostatic Shower Restriction Valve | 254.6335 | 179.306 | 1.4201
Manufactured Home | New | Thermostatic Shower Restriction Valve | 252.6036 | 178.9194 | 1.4118
Single Family | Existing | Water Heater Blanket | 922.9261 | 909.1995 | 1.0151
Multi-Family | Existing | Water Heater Blanket | 922.9261 | 909.1995 | 1.0151
Manufactured Home | Existing | Water Heater Blanket | 922.9261 | 909.1995 | 1.0151
Single Family | Existing | Air Sealing-Infiltration Control | 3542.7935 | 3041.9484 | 1.1646
Multi-Family | Existing | Air Sealing-Infiltration Control | 2486.5684 | 1834.1322 | 1.3557
Manufactured Home | Existing | Air Sealing-Infiltration Control | 3810.3185 | 2085.4648 | 1.8271
Single Family | Existing | Ceiling Insulation(R12 to R38) | 5460.9329 | 4406.9791 | 1.2392
Single Family | New | Ceiling Insulation(R12 to R38) | 5460.9329 | 4406.9791 | 1.2392
Single Family | Existing | Ceiling Insulation(R2 to R38) | 19456.1685 | 7228.5755 | 2.6916
Multi-Family | Existing | Ceiling Insulation(R2 to R38) | 11718.193 | 5365.0346 | 2.1842
Manufactured Home | Existing | Ceiling Insulation(R2 to R38) | 12070.5805 | 5617.9444 | 2.1486
Single Family | New | Ceiling Insulation(R2 to R38) | 19456.1685 | 7228.5755 | 2.6916
Multi-Family | New | Ceiling Insulation(R2 to R38) | 11718.193 | 5365.0346 | 2.1842
Manufactured Home | New | Ceiling Insulation(R2 to R38) | 12070.5805 | 5617.9444 | 2.1486
Single Family | Existing | Duct Repair | 4723.7247 | 1888.0379 | 2.5019
Multi-Family | Existing | Duct Repair | 3315.4246 | 1647.8212 | 2.012
Manufactured Home | Existing | Duct Repair | 5080.4247 | 1873.0707 | 2.7124
Single Family | Existing | Heat Pump Tune Up | 1968.2186 | 1050.5743 | 1.8735
Multi-Family | Existing | Heat Pump Tune Up | 1381.4269 | 950.484 | 1.4534
Manufactured Home | Existing | Heat Pump Tune Up | 2116.8436 | 1044.3379 | 2.027

## COM RIM
Segment | Vintage | (1) Measure | RIM NPV Benefits | RIM NPV Costs | RIM Benefit/Cost Ratio
Assembly | Existing | Duct Sealing Repair | 44163.7625 | 38831.7677 | 1.1373
Warehouse | Existing | Duct Sealing Repair | 17965.4586 | 15796.4466 | 1.1373
Assembly | New | Duct Sealing Repair | 44163.7625 | 38831.7677 | 1.1373
Warehouse | New | Duct Sealing Repair | 17965.4586 | 15796.4466 | 1.1373
Lodging/Hospitality | Existing | Programmable Thermostat | 152407.7157 | 46425.9005 | 3.2828
Lodging/Hospitality | New | Programmable Thermostat | 152407.7157 | 46425.9005 | 3.2828
Lodging/Hospitality | Existing | Smart Thermostat | 423354.7658 | 128960.8348 | 3.2828
Lodging/Hospitality | New | Smart Thermostat | 423354.7658 | 128960.8348 | 3.2828
Lodging/Hospitality | Existing | ENERGY STAR certified buildings program | 457553.848 | 405918.842 | 1.1272
Retail | Existing | ENERGY STAR certified buildings program | 125806.3995 | 111609.1324 | 1.1272
Lodging/Hospitality | New | ENERGY STAR certified buildings program | 457553.848 | 405918.842 | 1.1272
Retail | New | ENERGY STAR certified buildings program | 125806.3995 | 111609.1324 | 1.1272

## COM TRC
Segment | Vintage | (1) Measure | TRC NPV Benefits | TRC NPV Costs | TRC Benefit/Cost Ratio
Assembly | Turnover | Energy Star Hot Food Holding Cabinet | 6035.6702 | 3710.4397 | 1.6267
College and University | Turnover | Energy Star Hot Food Holding Cabinet | 6035.6702 | 3710.4397 | 1.6267
Grocery | Turnover | Energy Star Hot Food Holding Cabinet | 6035.6702 | 3710.4397 | 1.6267
Healthcare | Turnover | Energy Star Hot Food Holding Cabinet | 6035.6702 | 3710.4397 | 1.6267
Hospitals | Turnover | Energy Star Hot Food Holding Cabinet | 6035.6702 | 3710.4397 | 1.6267
Institutional | Turnover | Energy Star Hot Food Holding Cabinet | 6035.6702 | 3710.4397 | 1.6267
Lodging/Hospitality | Turnover | Energy Star Hot Food Holding Cabinet | 6035.6702 | 3710.4397 | 1.6267
Miscellaneous | Turnover | Energy Star Hot Food Holding Cabinet | 6035.6702 | 3710.4397 | 1.6267
Offices | Turnover | Energy Star Hot Food Holding Cabinet | 6035.6702 | 3710.4397 | 1.6267
Restaurants | Turnover | Energy Star Hot Food Holding Cabinet | 6035.6702 | 3710.4397 | 1.6267
Retail | Turnover | Energy Star Hot Food Holding Cabinet | 6035.6702 | 3710.4397 | 1.6267
Schools K-12 | Turnover | Energy Star Hot Food Holding Cabinet | 6035.6702 | 3710.4397 | 1.6267
Warehouse | Turnover | Energy Star Hot Food Holding Cabinet | 6035.6702 | 3710.4397 | 1.6267
Assembly | New | Energy Star Hot Food Holding Cabinet | 6035.6702 | 3710.4397 | 1.6267
College and University | New | Energy Star Hot Food Holding Cabinet | 6035.6702 | 3710.4397 | 1.6267
Grocery | New | Energy Star Hot Food Holding Cabinet | 6035.6702 | 3710.4397 | 1.6267
Healthcare | New | Energy Star Hot Food Holding Cabinet | 6035.6702 | 3710.4397 | 1.6267
Hospitals | New | Energy Star Hot Food Holding Cabinet | 6035.6702 | 3710.4397 | 1.6267
Institutional | New | Energy Star Hot Food Holding Cabinet | 6035.6702 | 3710.4397 | 1.6267
Lodging/Hospitality | New | Energy Star Hot Food Holding Cabinet | 6035.6702 | 3710.4397 | 1.6267
Miscellaneous | New | Energy Star Hot Food Holding Cabinet | 6035.6702 | 3710.4397 | 1.6267
Offices | New | Energy Star Hot Food Holding Cabinet | 6035.6702 | 3710.4397 | 1.6267
Restaurants | New | Energy Star Hot Food Holding Cabinet | 6035.6702 | 3710.4397 | 1.6267
Retail | New | Energy Star Hot Food Holding Cabinet | 6035.6702 | 3710.4397 | 1.6267
Schools K-12 | New | Energy Star Hot Food Holding Cabinet | 6035.6702 | 3710.4397 | 1.6267
Warehouse | New | Energy Star Hot Food Holding Cabinet | 6035.6702 | 3710.4397 | 1.6267
Schools K-12 | Turnover | Heat Pump Water Heater | 7005.2286 | 4584.2809 | 1.5281
Schools K-12 | New | Heat Pump Water Heater | 7005.2286 | 4584.2809 | 1.5281
College and University | Turnover | Solar Water Heater | 313451.0735 | 307896.3259 | 1.018
Hospitals | Turnover | Solar Water Heater | 549675.0709 | 464969.8738 | 1.1822
Institutional | Turnover | Solar Water Heater | 1090264.6033 | 781795.871 | 1.3946
Lodging/Hospitality | Turnover | Solar Water Heater | 130831.7524 | 93815.5045 | 1.3946
Miscellaneous | Turnover | Solar Water Heater | 817698.4525 | 623293.5757 | 1.3119
Offices | Turnover | Solar Water Heater | 113569.2295 | 93136.8495 | 1.2194
College and University | New | Solar Water Heater | 313451.0735 | 307896.3259 | 1.018
Hospitals | New | Solar Water Heater | 549675.0709 | 464969.8738 | 1.1822
Institutional | New | Solar Water Heater | 1090264.6033 | 781795.871 | 1.3946
Lodging/Hospitality | New | Solar Water Heater | 130831.7524 | 93815.5045 | 1.3946
Miscellaneous | New | Solar Water Heater | 817698.4525 | 623293.5757 | 1.3119
Offices | New | Solar Water Heater | 113569.2295 | 93136.8495 | 1.2194
Assembly | Turnover | High Efficiency HID Lighting | 1001.4416 | 891.963 | 1.1227
College and University | Turnover | High Efficiency HID Lighting | 1001.4416 | 891.963 | 1.1227
Grocery | Turnover | High Efficiency HID Lighting | 1001.4416 | 891.963 | 1.1227
Healthcare | Turnover | High Efficiency HID Lighting | 1001.4416 | 891.963 | 1.1227
Hospitals | Turnover | High Efficiency HID Lighting | 1001.4416 | 891.963 | 1.1227
Institutional | Turnover | High Efficiency HID Lighting | 1001.4416 | 891.963 | 1.1227
Lodging/Hospitality | Turnover | High Efficiency HID Lighting | 1001.4416 | 891.963 | 1.1227
Miscellaneous | Turnover | High Efficiency HID Lighting | 1001.4416 | 891.963 | 1.1227
Offices | Turnover | High Efficiency HID Lighting | 1001.4416 | 891.963 | 1.1227
Restaurants | Turnover | High Efficiency HID Lighting | 1001.4416 | 891.963 | 1.1227
Retail | Turnover | High Efficiency HID Lighting | 1001.4416 | 891.963 | 1.1227
Schools K-12 | Turnover | High Efficiency HID Lighting | 1001.4416 | 891.963 | 1.1227
Warehouse | Turnover | High Efficiency HID Lighting | 1001.4416 | 891.963 | 1.1227
Assembly | New | High Efficiency HID Lighting | 1001.4416 | 891.963 | 1.1227
College and University | New | High Efficiency HID Lighting | 1001.4416 | 891.963 | 1.1227
Grocery | New | High Efficiency HID Lighting | 1001.4416 | 891.963 | 1.1227
Healthcare | New | High Efficiency HID Lighting | 1001.4416 | 891.963 | 1.1227
Hospitals | New | High Efficiency HID Lighting | 1001.4416 | 891.963 | 1.1227
Institutional | New | High Efficiency HID Lighting | 1001.4416 | 891.963 | 1.1227
Lodging/Hospitality | New | High Efficiency HID Lighting | 1001.4416 | 891.963 | 1.1227
Miscellaneous | New | High Efficiency HID Lighting | 1001.4416 | 891.963 | 1.1227
Offices | New | High Efficiency HID Lighting | 1001.4416 | 891.963 | 1.1227
Restaurants | New | High Efficiency HID Lighting | 1001.4416 | 891.963 | 1.1227
Retail | New | High Efficiency HID Lighting | 1001.4416 | 891.963 | 1.1227
Schools K-12 | New | High Efficiency HID Lighting | 1001.4416 | 891.963 | 1.1227
Warehouse | New | High Efficiency HID Lighting | 1001.4416 | 891.963 | 1.1227
Assembly | Turnover | LED Exterior Lighting | 1579.0365 | 1327.7532 | 1.1893
College and University | Turnover | LED Exterior Lighting | 1579.0365 | 1327.7532 | 1.1893
Grocery | Turnover | LED Exterior Lighting | 1579.0365 | 1327.7532 | 1.1893
Healthcare | Turnover | LED Exterior Lighting | 1579.0365 | 1327.7532 | 1.1893
Hospitals | Turnover | LED Exterior Lighting | 1579.0365 | 1327.7532 | 1.1893
Institutional | Turnover | LED Exterior Lighting | 1579.0365 | 1327.7532 | 1.1893
Lodging/Hospitality | Turnover | LED Exterior Lighting | 1579.0365 | 1327.7532 | 1.1893
Miscellaneous | Turnover | LED Exterior Lighting | 1579.0365 | 1327.7532 | 1.1893
Offices | Turnover | LED Exterior Lighting | 1579.0365 | 1327.7532 | 1.1893
Restaurants | Turnover | LED Exterior Lighting | 1579.0365 | 1327.7532 | 1.1893
Retail | Turnover | LED Exterior Lighting | 1579.0365 | 1327.7532 | 1.1893
Schools K-12 | Turnover | LED Exterior Lighting | 1579.0365 | 1327.7532 | 1.1893
Warehouse | Turnover | LED Exterior Lighting | 1579.0365 | 1327.7532 | 1.1893
Assembly | New | LED Exterior Lighting | 1579.0365 | 1327.7532 | 1.1893
College and University | New | LED Exterior Lighting | 1579.0365 | 1327.7532 | 1.1893
Grocery | New | LED Exterior Lighting | 1579.0365 | 1327.7532 | 1.1893
Healthcare | New | LED Exterior Lighting | 1579.0365 | 1327.7532 | 1.1893
Hospitals | New | LED Exterior Lighting | 1579.0365 | 1327.7532 | 1.1893
Institutional | New | LED Exterior Lighting | 1579.0365 | 1327.7532 | 1.1893
Lodging/Hospitality | New | LED Exterior Lighting | 1579.0365 | 1327.7532 | 1.1893
Miscellaneous | New | LED Exterior Lighting | 1579.0365 | 1327.7532 | 1.1893
Offices | New | LED Exterior Lighting | 1579.0365 | 1327.7532 | 1.1893
Restaurants | New | LED Exterior Lighting | 1579.0365 | 1327.7532 | 1.1893
Retail | New | LED Exterior Lighting | 1579.0365 | 1327.7532 | 1.1893
Schools K-12 | New | LED Exterior Lighting | 1579.0365 | 1327.7532 | 1.1893
Warehouse | New | LED Exterior Lighting | 1579.0365 | 1327.7532 | 1.1893
Assembly | Turnover | High Efficiency Chiller (Air Cooled, 50 tons) | 72059.8938 | 32326.8193 | 2.2291
College and University | Turnover | High Efficiency Chiller (Air Cooled, 50 tons) | 79944.029 | 32614.0603 | 2.4512
Grocery | Turnover | High Efficiency Chiller (Air Cooled, 50 tons) | 39806.6131 | 31151.7428 | 1.2778
Institutional | Turnover | High Efficiency Chiller (Air Cooled, 50 tons) | 38924.4721 | 31119.604 | 1.2508
Lodging/Hospitality | Turnover | High Efficiency Chiller (Air Cooled, 50 tons) | 119033.9025 | 34038.2128 | 3.4971
Miscellaneous | Turnover | High Efficiency Chiller (Air Cooled, 50 tons) | 40247.6836 | 31167.8123 | 1.2913
Offices | Turnover | High Efficiency Chiller (Air Cooled, 50 tons) | 81101.8391 | 32656.2425 | 2.4835
Restaurants | Turnover | High Efficiency Chiller (Air Cooled, 50 tons) | 116773.4162 | 33955.857 | 3.439
Retail | Turnover | High Efficiency Chiller (Air Cooled, 50 tons) | 91522.1298 | 33035.8826 | 2.7704
Schools K-12 | Turnover | High Efficiency Chiller (Air Cooled, 50 tons) | 79558.0923 | 32599.9995 | 2.4404
Assembly | New | High Efficiency Chiller (Air Cooled, 50 tons) | 72059.8938 | 32326.8193 | 2.2291
College and University | New | High Efficiency Chiller (Air Cooled, 50 tons) | 79944.029 | 32614.0603 | 2.4512
Grocery | New | High Efficiency Chiller (Air Cooled, 50 tons) | 39806.6131 | 31151.7428 | 1.2778
Institutional | New | High Efficiency Chiller (Air Cooled, 50 tons) | 38924.4721 | 31119.604 | 1.2508
Lodging/Hospitality | New | High Efficiency Chiller (Air Cooled, 50 tons) | 119033.9025 | 34038.2128 | 3.4971
Miscellaneous | New | High Efficiency Chiller (Air Cooled, 50 tons) | 40247.6836 | 31167.8123 | 1.2913
Offices | New | High Efficiency Chiller (Air Cooled, 50 tons) | 81101.8391 | 32656.2425 | 2.4835
Restaurants | New | High Efficiency Chiller (Air Cooled, 50 tons) | 116773.4162 | 33955.857 | 3.439
Retail | New | High Efficiency Chiller (Air Cooled, 50 tons) | 91522.1298 | 33035.8826 | 2.7704
Schools K-12 | New | High Efficiency Chiller (Air Cooled, 50 tons) | 79558.0923 | 32599.9995 | 2.4404
Assembly | Turnover | High Efficiency Chiller (Water cooled-centrifugal, 200 tons) | 66355.79 | 44887.3441 | 1.4783
College and University | Turnover | High Efficiency Chiller (Water cooled-centrifugal, 200 tons) | 73615.8344 | 45242.6052 | 1.6271
Lodging/Hospitality | Turnover | High Efficiency Chiller (Water cooled-centrifugal, 200 tons) | 109611.4389 | 47004.005 | 2.332
Offices | Turnover | High Efficiency Chiller (Water cooled-centrifugal, 200 tons) | 74681.9948 | 45294.7765 | 1.6488
Restaurants | Turnover | High Efficiency Chiller (Water cooled-centrifugal, 200 tons) | 107529.8878 | 46902.1469 | 2.2926
Retail | Turnover | High Efficiency Chiller (Water cooled-centrifugal, 200 tons) | 84277.438 | 45764.3174 | 1.8416
Schools K-12 | Turnover | High Efficiency Chiller (Water cooled-centrifugal, 200 tons) | 73260.4476 | 45225.2148 | 1.6199
Assembly | New | High Efficiency Chiller (Water cooled-centrifugal, 200 tons) | 66355.79 | 44887.3441 | 1.4783
College and University | New | High Efficiency Chiller (Water cooled-centrifugal, 200 tons) | 73615.8344 | 45242.6052 | 1.6271
Lodging/Hospitality | New | High Efficiency Chiller (Water cooled-centrifugal, 200 tons) | 109611.4389 | 47004.005 | 2.332
Offices | New | High Efficiency Chiller (Water cooled-centrifugal, 200 tons) | 74681.9948 | 45294.7765 | 1.6488
Restaurants | New | High Efficiency Chiller (Water cooled-centrifugal, 200 tons) | 107529.8878 | 46902.1469 | 2.2926
Retail | New | High Efficiency Chiller (Water cooled-centrifugal, 200 tons) | 84277.438 | 45764.3174 | 1.8416
Schools K-12 | New | High Efficiency Chiller (Water cooled-centrifugal, 200 tons) | 73260.4476 | 45225.2148 | 1.6199
Healthcare | Turnover | High Efficiency Chiller (Water cooled-positive displacement, 100 tons) | 45815.6054 | 24954.8238 | 1.8359
Hospitals | Turnover | High Efficiency Chiller (Water cooled-positive displacement, 100 tons) | 43399.1705 | 24836.5785 | 1.7474
Lodging/Hospitality | Turnover | High Efficiency Chiller (Water cooled-positive displacement, 100 tons) | 34780.5527 | 24414.8373 | 1.4246
Restaurants | Turnover | High Efficiency Chiller (Water cooled-positive displacement, 100 tons) | 34120.0605 | 24382.5169 | 1.3994
Retail | Turnover | High Efficiency Chiller (Water cooled-positive displacement, 100 tons) | 26741.8794 | 24021.4749 | 1.1132
Healthcare | New | High Efficiency Chiller (Water cooled-positive displacement, 100 tons) | 45815.6054 | 24954.8238 | 1.8359
Hospitals | New | High Efficiency Chiller (Water cooled-positive displacement, 100 tons) | 43399.1705 | 24836.5785 | 1.7474
Lodging/Hospitality | New | High Efficiency Chiller (Water cooled-positive displacement, 100 tons) | 34780.5527 | 24414.8373 | 1.4246
Restaurants | New | High Efficiency Chiller (Water cooled-positive displacement, 100 tons) | 34120.0605 | 24382.5169 | 1.3994
Retail | New | High Efficiency Chiller (Water cooled-positive displacement, 100 tons) | 26741.8794 | 24021.4749 | 1.1132
Healthcare | Turnover | High Efficiency DX 135k- less than 240k BTU | 16697.7176 | 15366.0294 | 1.0867
Hospitals | Turnover | High Efficiency DX 135k- less than 240k BTU | 15817.0363 | 15322.6357 | 1.0323
Healthcare | New | High Efficiency DX 135k- less than 240k BTU | 16697.7176 | 15366.0294 | 1.0867
Hospitals | New | High Efficiency DX 135k- less than 240k BTU | 15817.0363 | 15322.6357 | 1.0323
Warehouse | Turnover | High Efficiency PTAC | 852.8057 | 588.705 | 1.4486
Warehouse | New | High Efficiency PTAC | 852.8057 | 588.705 | 1.4486
Warehouse | Turnover | High Efficiency PTHP | 860.8984 | 589.0637 | 1.4615
Warehouse | New | High Efficiency PTHP | 860.8984 | 589.0637 | 1.4615
Assembly | Turnover | Variable Refrigerant Flow (VRF) HVAC Systems | 15873.2709 | 14947.9215 | 1.0619
Healthcare | Turnover | Variable Refrigerant Flow (VRF) HVAC Systems | 34389.4971 | 15596.2742 | 2.205
Hospitals | Turnover | Variable Refrigerant Flow (VRF) HVAC Systems | 32649.5733 | 15535.3501 | 2.1016
Lodging/Hospitality | Turnover | Variable Refrigerant Flow (VRF) HVAC Systems | 19274.2812 | 15305.0791 | 1.2593
Offices | Turnover | Variable Refrigerant Flow (VRF) HVAC Systems | 17731.1132 | 15012.9746 | 1.1811
Restaurants | Turnover | Variable Refrigerant Flow (VRF) HVAC Systems | 26234.0036 | 15310.7065 | 1.7134
Retail | Turnover | Variable Refrigerant Flow (VRF) HVAC Systems | 20418.0546 | 15107.0589 | 1.3516
Schools K-12 | Turnover | Variable Refrigerant Flow (VRF) HVAC Systems | 17778.1859 | 15014.6229 | 1.1841
Assembly | New | Variable Refrigerant Flow (VRF) HVAC Systems | 15873.2709 | 14947.9215 | 1.0619
Healthcare | New | Variable Refrigerant Flow (VRF) HVAC Systems | 34389.4971 | 15596.2742 | 2.205
Hospitals | New | Variable Refrigerant Flow (VRF) HVAC Systems | 32649.5733 | 15535.3501 | 2.1016
Lodging/Hospitality | New | Variable Refrigerant Flow (VRF) HVAC Systems | 19274.2812 | 15305.0791 | 1.2593
Offices | New | Variable Refrigerant Flow (VRF) HVAC Systems | 17731.1132 | 15012.9746 | 1.1811
Restaurants | New | Variable Refrigerant Flow (VRF) HVAC Systems | 26234.0036 | 15310.7065 | 1.7134
Retail | New | Variable Refrigerant Flow (VRF) HVAC Systems | 20418.0546 | 15107.0589 | 1.3516
Schools K-12 | New | Variable Refrigerant Flow (VRF) HVAC Systems | 17778.1859 | 15014.6229 | 1.1841
Schools K-12 | Turnover | High Bay LED | 1980.9096 | 697.5813 | 2.8397
Schools K-12 | New | High Bay LED | 1980.9096 | 697.5813 | 2.8397
Assembly | Turnover | Premium T8 - Fixture Replacement | 106.9142 | 90.3082 | 1.1839
College and University | Turnover | Premium T8 - Fixture Replacement | 148.5079 | 91.8801 | 1.6163
Grocery | Turnover | Premium T8 - Fixture Replacement | 184.5671 | 93.0457 | 1.9836
Healthcare | Turnover | Premium T8 - Fixture Replacement | 186.9141 | 92.5162 | 2.0203
Institutional | Turnover | Premium T8 - Fixture Replacement | 122.6391 | 90.7422 | 1.3515
Lodging/Hospitality | Turnover | Premium T8 - Fixture Replacement | 124.9757 | 91.209 | 1.3702
Miscellaneous | Turnover | Premium T8 - Fixture Replacement | 163.8658 | 91.8801 | 1.7835
Offices | Turnover | Premium T8 - Fixture Replacement | 120.9291 | 90.695 | 1.3334
Restaurants | Turnover | Premium T8 - Fixture Replacement | 111.759 | 90.8017 | 1.2308
Retail | Turnover | Premium T8 - Fixture Replacement | 165.924 | 92.4711 | 1.7943
Warehouse | Turnover | Premium T8 - Fixture Replacement | 142.1558 | 91.2809 | 1.5573
Assembly | New | Premium T8 - Fixture Replacement | 106.9142 | 90.3082 | 1.1839
College and University | New | Premium T8 - Fixture Replacement | 148.5079 | 91.8801 | 1.6163
Grocery | New | Premium T8 - Fixture Replacement | 184.5671 | 93.0457 | 1.9836
Healthcare | New | Premium T8 - Fixture Replacement | 186.9141 | 92.5162 | 2.0203
Institutional | New | Premium T8 - Fixture Replacement | 122.6391 | 90.7422 | 1.3515
Lodging/Hospitality | New | Premium T8 - Fixture Replacement | 124.9757 | 91.209 | 1.3702
Miscellaneous | New | Premium T8 - Fixture Replacement | 163.8658 | 91.8801 | 1.7835
Offices | New | Premium T8 - Fixture Replacement | 120.9291 | 90.695 | 1.3334
Restaurants | New | Premium T8 - Fixture Replacement | 111.759 | 90.8017 | 1.2308
Retail | New | Premium T8 - Fixture Replacement | 165.924 | 92.4711 | 1.7943
Warehouse | New | Premium T8 - Fixture Replacement | 142.1558 | 91.2809 | 1.5573
Assembly | Turnover | Efficient Battery Charger | 5005.1597 | 1913.7078 | 2.6154
College and University | Turnover | Efficient Battery Charger | 5005.1597 | 1913.7078 | 2.6154
Grocery | Turnover | Efficient Battery Charger | 5005.1597 | 1913.7078 | 2.6154
Healthcare | Turnover | Efficient Battery Charger | 5005.1597 | 1913.7078 | 2.6154
Hospitals | Turnover | Efficient Battery Charger | 5005.1597 | 1913.7078 | 2.6154
Institutional | Turnover | Efficient Battery Charger | 5005.1597 | 1913.7078 | 2.6154
Lodging/Hospitality | Turnover | Efficient Battery Charger | 5005.1597 | 1913.7078 | 2.6154
Miscellaneous | Turnover | Efficient Battery Charger | 5005.1597 | 1913.7078 | 2.6154
Offices | Turnover | Efficient Battery Charger | 5005.1597 | 1913.7078 | 2.6154
Restaurants | Turnover | Efficient Battery Charger | 5005.1597 | 1913.7078 | 2.6154
Retail | Turnover | Efficient Battery Charger | 5005.1597 | 1913.7078 | 2.6154
Schools K-12 | Turnover | Efficient Battery Charger | 5005.1597 | 1913.7078 | 2.6154
Warehouse | Turnover | Efficient Battery Charger | 5005.1597 | 1913.7078 | 2.6154
Assembly | New | Efficient Battery Charger | 5005.1597 | 1913.7078 | 2.6154
College and University | New | Efficient Battery Charger | 5005.1597 | 1913.7078 | 2.6154
Grocery | New | Efficient Battery Charger | 5005.1597 | 1913.7078 | 2.6154
Healthcare | New | Efficient Battery Charger | 5005.1597 | 1913.7078 | 2.6154
Hospitals | New | Efficient Battery Charger | 5005.1597 | 1913.7078 | 2.6154
Institutional | New | Efficient Battery Charger | 5005.1597 | 1913.7078 | 2.6154
Lodging/Hospitality | New | Efficient Battery Charger | 5005.1597 | 1913.7078 | 2.6154
Miscellaneous | New | Efficient Battery Charger | 5005.1597 | 1913.7078 | 2.6154
Offices | New | Efficient Battery Charger | 5005.1597 | 1913.7078 | 2.6154
Restaurants | New | Efficient Battery Charger | 5005.1597 | 1913.7078 | 2.6154
Retail | New | Efficient Battery Charger | 5005.1597 | 1913.7078 | 2.6154
Schools K-12 | New | Efficient Battery Charger | 5005.1597 | 1913.7078 | 2.6154
Warehouse | New | Efficient Battery Charger | 5005.1597 | 1913.7078 | 2.6154
College and University | Turnover | ENERGY STAR Commercial Clothes Washer | 3509.8434 | 2561.2359 | 1.3704
Grocery | Turnover | ENERGY STAR Commercial Clothes Washer | 3058.9793 | 2561.2359 | 1.1943
Healthcare | Turnover | ENERGY STAR Commercial Clothes Washer | 3058.9793 | 2561.2359 | 1.1943
Hospitals | Turnover | ENERGY STAR Commercial Clothes Washer | 3509.8434 | 2561.2359 | 1.3704
Lodging/Hospitality | Turnover | ENERGY STAR Commercial Clothes Washer | 3509.8434 | 2561.2359 | 1.3704
Offices | Turnover | ENERGY STAR Commercial Clothes Washer | 3058.9793 | 2561.2359 | 1.1943
Retail | Turnover | ENERGY STAR Commercial Clothes Washer | 3058.9793 | 2561.2359 | 1.1943
Schools K-12 | Turnover | ENERGY STAR Commercial Clothes Washer | 3509.8434 | 2561.2359 | 1.3704
College and University | New | ENERGY STAR Commercial Clothes Washer | 3509.8434 | 2561.2359 | 1.3704
Grocery | New | ENERGY STAR Commercial Clothes Washer | 3058.9793 | 2561.2359 | 1.1943
Healthcare | New | ENERGY STAR Commercial Clothes Washer | 3058.9793 | 2561.2359 | 1.1943
Hospitals | New | ENERGY STAR Commercial Clothes Washer | 3509.8434 | 2561.2359 | 1.3704
Lodging/Hospitality | New | ENERGY STAR Commercial Clothes Washer | 3509.8434 | 2561.2359 | 1.3704
Offices | New | ENERGY STAR Commercial Clothes Washer | 3058.9793 | 2561.2359 | 1.1943
Retail | New | ENERGY STAR Commercial Clothes Washer | 3058.9793 | 2561.2359 | 1.1943
Schools K-12 | New | ENERGY STAR Commercial Clothes Washer | 3509.8434 | 2561.2359 | 1.3704
Assembly | Turnover | Solar Pool Heater | 23452.3487 | 16705.5891 | 1.4039
College and University | Turnover | Solar Pool Heater | 23452.3487 | 16705.5891 | 1.4039
Grocery | Turnover | Solar Pool Heater | 23452.3487 | 16705.5891 | 1.4039
Healthcare | Turnover | Solar Pool Heater | 23452.3487 | 16705.5891 | 1.4039
Hospitals | Turnover | Solar Pool Heater | 23452.3487 | 16705.5891 | 1.4039
Institutional | Turnover | Solar Pool Heater | 23452.3487 | 16705.5891 | 1.4039
Lodging/Hospitality | Turnover | Solar Pool Heater | 23452.3487 | 16705.5891 | 1.4039
Miscellaneous | Turnover | Solar Pool Heater | 23452.3487 | 16705.5891 | 1.4039
Offices | Turnover | Solar Pool Heater | 23452.3487 | 16705.5891 | 1.4039
Restaurants | Turnover | Solar Pool Heater | 23452.3487 | 16705.5891 | 1.4039
Retail | Turnover | Solar Pool Heater | 23452.3487 | 16705.5891 | 1.4039
Schools K-12 | Turnover | Solar Pool Heater | 23452.3487 | 16705.5891 | 1.4039
Warehouse | Turnover | Solar Pool Heater | 23452.3487 | 16705.5891 | 1.4039
Assembly | New | Solar Pool Heater | 23452.3487 | 16705.5891 | 1.4039
College and University | New | Solar Pool Heater | 23452.3487 | 16705.5891 | 1.4039
Grocery | New | Solar Pool Heater | 23452.3487 | 16705.5891 | 1.4039
Healthcare | New | Solar Pool Heater | 23452.3487 | 16705.5891 | 1.4039
Hospitals | New | Solar Pool Heater | 23452.3487 | 16705.5891 | 1.4039
Institutional | New | Solar Pool Heater | 23452.3487 | 16705.5891 | 1.4039
Lodging/Hospitality | New | Solar Pool Heater | 23452.3487 | 16705.5891 | 1.4039
Miscellaneous | New | Solar Pool Heater | 23452.3487 | 16705.5891 | 1.4039
Offices | New | Solar Pool Heater | 23452.3487 | 16705.5891 | 1.4039
Restaurants | New | Solar Pool Heater | 23452.3487 | 16705.5891 | 1.4039
Retail | New | Solar Pool Heater | 23452.3487 | 16705.5891 | 1.4039
Schools K-12 | New | Solar Pool Heater | 23452.3487 | 16705.5891 | 1.4039
Warehouse | New | Solar Pool Heater | 23452.3487 | 16705.5891 | 1.4039
Assembly | Turnover | Solar Powered Pool Pump | 13663.7882 | 10476.3927 | 1.3042
College and University | Turnover | Solar Powered Pool Pump | 13663.7882 | 10476.3927 | 1.3042
Grocery | Turnover | Solar Powered Pool Pump | 13663.7882 | 10476.3927 | 1.3042
Healthcare | Turnover | Solar Powered Pool Pump | 13663.7882 | 10476.3927 | 1.3042
Hospitals | Turnover | Solar Powered Pool Pump | 13663.7882 | 10476.3927 | 1.3042
Institutional | Turnover | Solar Powered Pool Pump | 13663.7882 | 10476.3927 | 1.3042
Lodging/Hospitality | Turnover | Solar Powered Pool Pump | 13663.7882 | 10476.3927 | 1.3042
Miscellaneous | Turnover | Solar Powered Pool Pump | 13663.7882 | 10476.3927 | 1.3042
Offices | Turnover | Solar Powered Pool Pump | 13663.7882 | 10476.3927 | 1.3042
Restaurants | Turnover | Solar Powered Pool Pump | 13663.7882 | 10476.3927 | 1.3042
Retail | Turnover | Solar Powered Pool Pump | 13663.7882 | 10476.3927 | 1.3042
Schools K-12 | Turnover | Solar Powered Pool Pump | 13663.7882 | 10476.3927 | 1.3042
Assembly | New | Solar Powered Pool Pump | 13663.7882 | 10476.3927 | 1.3042
College and University | New | Solar Powered Pool Pump | 13663.7882 | 10476.3927 | 1.3042
Grocery | New | Solar Powered Pool Pump | 13663.7882 | 10476.3927 | 1.3042
Healthcare | New | Solar Powered Pool Pump | 13663.7882 | 10476.3927 | 1.3042
Hospitals | New | Solar Powered Pool Pump | 13663.7882 | 10476.3927 | 1.3042
Institutional | New | Solar Powered Pool Pump | 13663.7882 | 10476.3927 | 1.3042
Lodging/Hospitality | New | Solar Powered Pool Pump | 13663.7882 | 10476.3927 | 1.3042
Miscellaneous | New | Solar Powered Pool Pump | 13663.7882 | 10476.3927 | 1.3042
Offices | New | Solar Powered Pool Pump | 13663.7882 | 10476.3927 | 1.3042
Restaurants | New | Solar Powered Pool Pump | 13663.7882 | 10476.3927 | 1.3042
Retail | New | Solar Powered Pool Pump | 13663.7882 | 10476.3927 | 1.3042
Schools K-12 | New | Solar Powered Pool Pump | 13663.7882 | 10476.3927 | 1.3042
Assembly | Turnover | Variable Speed Pool Pump | 10857.4209 | 5223.3686 | 2.0786
College and University | Turnover | Variable Speed Pool Pump | 10857.4209 | 5223.3686 | 2.0786
Grocery | Turnover | Variable Speed Pool Pump | 10857.4209 | 5223.3686 | 2.0786
Healthcare | Turnover | Variable Speed Pool Pump | 10857.4209 | 5223.3686 | 2.0786
Hospitals | Turnover | Variable Speed Pool Pump | 10857.4209 | 5223.3686 | 2.0786
Institutional | Turnover | Variable Speed Pool Pump | 10857.4209 | 5223.3686 | 2.0786
Lodging/Hospitality | Turnover | Variable Speed Pool Pump | 10857.4209 | 5223.3686 | 2.0786
Miscellaneous | Turnover | Variable Speed Pool Pump | 10857.4209 | 5223.3686 | 2.0786
Offices | Turnover | Variable Speed Pool Pump | 10857.4209 | 5223.3686 | 2.0786
Restaurants | Turnover | Variable Speed Pool Pump | 10857.4209 | 5223.3686 | 2.0786
Retail | Turnover | Variable Speed Pool Pump | 10857.4209 | 5223.3686 | 2.0786
Schools K-12 | Turnover | Variable Speed Pool Pump | 10857.4209 | 5223.3686 | 2.0786
Assembly | New | Variable Speed Pool Pump | 10857.4209 | 5223.3686 | 2.0786
College and University | New | Variable Speed Pool Pump | 10857.4209 | 5223.3686 | 2.0786
Grocery | New | Variable Speed Pool Pump | 10857.4209 | 5223.3686 | 2.0786
Healthcare | New | Variable Speed Pool Pump | 10857.4209 | 5223.3686 | 2.0786
Hospitals | New | Variable Speed Pool Pump | 10857.4209 | 5223.3686 | 2.0786
Institutional | New | Variable Speed Pool Pump | 10857.4209 | 5223.3686 | 2.0786
Lodging/Hospitality | New | Variable Speed Pool Pump | 10857.4209 | 5223.3686 | 2.0786
Miscellaneous | New | Variable Speed Pool Pump | 10857.4209 | 5223.3686 | 2.0786
Offices | New | Variable Speed Pool Pump | 10857.4209 | 5223.3686 | 2.0786
Restaurants | New | Variable Speed Pool Pump | 10857.4209 | 5223.3686 | 2.0786
Retail | New | Variable Speed Pool Pump | 10857.4209 | 5223.3686 | 2.0786
Schools K-12 | New | Variable Speed Pool Pump | 10857.4209 | 5223.3686 | 2.0786
Assembly | Turnover | Refrigerated Display Case LED Lighting | 527.9486 | 255.8748 | 2.0633
College and University | Turnover | Refrigerated Display Case LED Lighting | 543.8066 | 255.8748 | 2.1253
Grocery | Turnover | Refrigerated Display Case LED Lighting | 527.9486 | 255.8748 | 2.0633
Healthcare | Turnover | Refrigerated Display Case LED Lighting | 543.8066 | 255.8748 | 2.1253
Hospitals | Turnover | Refrigerated Display Case LED Lighting | 543.8066 | 255.8748 | 2.1253
Institutional | Turnover | Refrigerated Display Case LED Lighting | 527.9486 | 255.8748 | 2.0633
Lodging/Hospitality | Turnover | Refrigerated Display Case LED Lighting | 543.8066 | 255.8748 | 2.1253
Miscellaneous | Turnover | Refrigerated Display Case LED Lighting | 527.9486 | 255.8748 | 2.0633
Offices | Turnover | Refrigerated Display Case LED Lighting | 527.9486 | 255.8748 | 2.0633
Restaurants | Turnover | Refrigerated Display Case LED Lighting | 543.8066 | 255.8748 | 2.1253
Retail | Turnover | Refrigerated Display Case LED Lighting | 527.9486 | 255.8748 | 2.0633
Schools K-12 | Turnover | Refrigerated Display Case LED Lighting | 543.8066 | 255.8748 | 2.1253
Warehouse | Turnover | Refrigerated Display Case LED Lighting | 527.9486 | 255.8748 | 2.0633
Assembly | Turnover | High Speed Fans | 1410.3346 | 753.0736 | 1.8728
College and University | Turnover | High Speed Fans | 1717.87 | 753.0736 | 2.2811
Grocery | Turnover | High Speed Fans | 1410.3346 | 753.0736 | 1.8728
Healthcare | Turnover | High Speed Fans | 1717.87 | 753.0736 | 2.2811
Hospitals | Turnover | High Speed Fans | 1717.87 | 753.0736 | 2.2811
Institutional | Turnover | High Speed Fans | 1410.3346 | 753.0736 | 1.8728
Lodging/Hospitality | Turnover | High Speed Fans | 1717.87 | 753.0736 | 2.2811
Miscellaneous | Turnover | High Speed Fans | 1410.3346 | 753.0736 | 1.8728
Offices | Turnover | High Speed Fans | 1410.3346 | 753.0736 | 1.8728
Restaurants | Turnover | High Speed Fans | 1717.87 | 753.0736 | 2.2811
Retail | Turnover | High Speed Fans | 1410.3346 | 753.0736 | 1.8728
Schools K-12 | Turnover | High Speed Fans | 1717.87 | 753.0736 | 2.2811
Warehouse | Turnover | High Speed Fans | 1410.3346 | 753.0736 | 1.8728
Assembly | New | High Speed Fans | 1410.3346 | 753.0736 | 1.8728
College and University | New | High Speed Fans | 1717.87 | 753.0736 | 2.2811
Grocery | New | High Speed Fans | 1410.3346 | 753.0736 | 1.8728
Healthcare | New | High Speed Fans | 1717.87 | 753.0736 | 2.2811
Hospitals | New | High Speed Fans | 1717.87 | 753.0736 | 2.2811
Institutional | New | High Speed Fans | 1410.3346 | 753.0736 | 1.8728
Lodging/Hospitality | New | High Speed Fans | 1717.87 | 753.0736 | 2.2811
Miscellaneous | New | High Speed Fans | 1410.3346 | 753.0736 | 1.8728
Offices | New | High Speed Fans | 1410.3346 | 753.0736 | 1.8728
Restaurants | New | High Speed Fans | 1717.87 | 753.0736 | 2.2811
Retail | New | High Speed Fans | 1410.3346 | 753.0736 | 1.8728
Schools K-12 | New | High Speed Fans | 1717.87 | 753.0736 | 2.2811
Warehouse | New | High Speed Fans | 1410.3346 | 753.0736 | 1.8728
College and University | Existing | Hot Water Circulation Pump Control | 22541.93 | 20681.0284 | 1.09
Hospitals | Existing | Hot Water Circulation Pump Control | 33812.8949 | 31021.5426 | 1.09
College and University | New | Hot Water Circulation Pump Control | 22541.93 | 20681.0284 | 1.09
Hospitals | New | Hot Water Circulation Pump Control | 33812.8949 | 31021.5426 | 1.09
Assembly | Existing | Tank Wrap on Water Heater | 845.5774 | 759.0976 | 1.1139
College and University | Existing | Tank Wrap on Water Heater | 8455.7738 | 7590.9756 | 1.1139
Grocery | Existing | Tank Wrap on Water Heater | 845.5774 | 759.0976 | 1.1139
Healthcare | Existing | Tank Wrap on Water Heater | 845.5774 | 759.0976 | 1.1139
Hospitals | Existing | Tank Wrap on Water Heater | 12683.6607 | 11386.4633 | 1.1139
Institutional | Existing | Tank Wrap on Water Heater | 21139.4344 | 18977.4389 | 1.1139
Lodging/Hospitality | Existing | Tank Wrap on Water Heater | 2536.7321 | 2277.2927 | 1.1139
Miscellaneous | Existing | Tank Wrap on Water Heater | 16911.5476 | 15181.9511 | 1.1139
Offices | Existing | Tank Wrap on Water Heater | 2536.7321 | 2277.2927 | 1.1139
Restaurants | Existing | Tank Wrap on Water Heater | 1691.1548 | 1518.1951 | 1.1139
Retail | Existing | Tank Wrap on Water Heater | 2536.7321 | 2277.2927 | 1.1139
Schools K-12 | Existing | Tank Wrap on Water Heater | 845.5774 | 759.0976 | 1.1139
Warehouse | Existing | Tank Wrap on Water Heater | 845.5774 | 759.0976 | 1.1139
Assembly | New | Tank Wrap on Water Heater | 808.891 | 757.9849 | 1.0672
College and University | New | Tank Wrap on Water Heater | 8088.9095 | 7579.8488 | 1.0672
Grocery | New | Tank Wrap on Water Heater | 808.891 | 757.9849 | 1.0672
Healthcare | New | Tank Wrap on Water Heater | 808.891 | 757.9849 | 1.0672
Hospitals | New | Tank Wrap on Water Heater | 12133.3643 | 11369.7732 | 1.0672
Institutional | New | Tank Wrap on Water Heater | 20222.2738 | 18949.6221 | 1.0672
Lodging/Hospitality | New | Tank Wrap on Water Heater | 2426.6729 | 2273.9546 | 1.0672
Miscellaneous | New | Tank Wrap on Water Heater | 16177.819 | 15159.6976 | 1.0672
Offices | New | Tank Wrap on Water Heater | 2426.6729 | 2273.9546 | 1.0672
Restaurants | New | Tank Wrap on Water Heater | 1617.7819 | 1515.9698 | 1.0672
Retail | New | Tank Wrap on Water Heater | 2426.6729 | 2273.9546 | 1.0672
Schools K-12 | New | Tank Wrap on Water Heater | 808.891 | 757.9849 | 1.0672
Warehouse | New | Tank Wrap on Water Heater | 808.891 | 757.9849 | 1.0672
Assembly | Existing | Bi-Level Lighting Control (Exterior) | 2808.4354 | 1874.7058 | 1.4981
College and University | Existing | Bi-Level Lighting Control (Exterior) | 2808.4354 | 1874.7058 | 1.4981
Grocery | Existing | Bi-Level Lighting Control (Exterior) | 2808.4354 | 1874.7058 | 1.4981
Healthcare | Existing | Bi-Level Lighting Control (Exterior) | 2808.4354 | 1874.7058 | 1.4981
Hospitals | Existing | Bi-Level Lighting Control (Exterior) | 2808.4354 | 1874.7058 | 1.4981
Institutional | Existing | Bi-Level Lighting Control (Exterior) | 2808.4354 | 1874.7058 | 1.4981
Lodging/Hospitality | Existing | Bi-Level Lighting Control (Exterior) | 2808.4354 | 1874.7058 | 1.4981
Miscellaneous | Existing | Bi-Level Lighting Control (Exterior) | 2808.4354 | 1874.7058 | 1.4981
Offices | Existing | Bi-Level Lighting Control (Exterior) | 2808.4354 | 1874.7058 | 1.4981
Restaurants | Existing | Bi-Level Lighting Control (Exterior) | 2808.4354 | 1874.7058 | 1.4981
Retail | Existing | Bi-Level Lighting Control (Exterior) | 2808.4354 | 1874.7058 | 1.4981
Schools K-12 | Existing | Bi-Level Lighting Control (Exterior) | 2808.4354 | 1874.7058 | 1.4981
Warehouse | Existing | Bi-Level Lighting Control (Exterior) | 2808.4354 | 1874.7058 | 1.4981
Assembly | New | Bi-Level Lighting Control (Exterior) | 2808.4354 | 1874.7058 | 1.4981
College and University | New | Bi-Level Lighting Control (Exterior) | 2808.4354 | 1874.7058 | 1.4981
Grocery | New | Bi-Level Lighting Control (Exterior) | 2808.4354 | 1874.7058 | 1.4981
Healthcare | New | Bi-Level Lighting Control (Exterior) | 2808.4354 | 1874.7058 | 1.4981
Hospitals | New | Bi-Level Lighting Control (Exterior) | 2808.4354 | 1874.7058 | 1.4981
Institutional | New | Bi-Level Lighting Control (Exterior) | 2808.4354 | 1874.7058 | 1.4981
Lodging/Hospitality | New | Bi-Level Lighting Control (Exterior) | 2808.4354 | 1874.7058 | 1.4981
Miscellaneous | New | Bi-Level Lighting Control (Exterior) | 2808.4354 | 1874.7058 | 1.4981
Offices | New | Bi-Level Lighting Control (Exterior) | 2808.4354 | 1874.7058 | 1.4981
Restaurants | New | Bi-Level Lighting Control (Exterior) | 2808.4354 | 1874.7058 | 1.4981
Retail | New | Bi-Level Lighting Control (Exterior) | 2808.4354 | 1874.7058 | 1.4981
Schools K-12 | New | Bi-Level Lighting Control (Exterior) | 2808.4354 | 1874.7058 | 1.4981
Warehouse | New | Bi-Level Lighting Control (Exterior) | 2808.4354 | 1874.7058 | 1.4981
Assembly | Existing | Ceiling Insulation(R2 to R38) | 8.8791 | 3.137 | 2.8304
College and University | Existing | Ceiling Insulation(R2 to R38) | 9.4748 | 3.137 | 3.0203
Grocery | Existing | Ceiling Insulation(R2 to R38) | 10.4556 | 3.137 | 3.333
Healthcare | Existing | Ceiling Insulation(R2 to R38) | 8.8791 | 3.137 | 2.8304
Hospitals | Existing | Ceiling Insulation(R2 to R38) | 9.4748 | 3.137 | 3.0203
Institutional | Existing | Ceiling Insulation(R2 to R38) | 8.8791 | 3.137 | 2.8304
Lodging/Hospitality | Existing | Ceiling Insulation(R2 to R38) | 9.4748 | 3.137 | 3.0203
Miscellaneous | Existing | Ceiling Insulation(R2 to R38) | 8.8791 | 3.137 | 2.8304
Offices | Existing | Ceiling Insulation(R2 to R38) | 8.8791 | 3.137 | 2.8304
Restaurants | Existing | Ceiling Insulation(R2 to R38) | 10.4556 | 3.137 | 3.333
Retail | Existing | Ceiling Insulation(R2 to R38) | 10.4556 | 3.137 | 3.333
Schools K-12 | Existing | Ceiling Insulation(R2 to R38) | 8.8791 | 3.137 | 2.8304
Warehouse | Existing | Ceiling Insulation(R2 to R38) | 4.8657 | 3.0462 | 1.5973
Assembly | New | Ceiling Insulation(R2 to R38) | 8.8234 | 3.135 | 2.8145
College and University | New | Ceiling Insulation(R2 to R38) | 9.4154 | 3.135 | 3.0034
Grocery | New | Ceiling Insulation(R2 to R38) | 10.39 | 3.135 | 3.3142
Healthcare | New | Ceiling Insulation(R2 to R38) | 8.8234 | 3.135 | 2.8145
Hospitals | New | Ceiling Insulation(R2 to R38) | 9.4154 | 3.135 | 3.0034
Institutional | New | Ceiling Insulation(R2 to R38) | 8.8234 | 3.135 | 2.8145
Lodging/Hospitality | New | Ceiling Insulation(R2 to R38) | 9.4154 | 3.135 | 3.0034
Miscellaneous | New | Ceiling Insulation(R2 to R38) | 8.8234 | 3.135 | 2.8145
Offices | New | Ceiling Insulation(R2 to R38) | 8.8234 | 3.135 | 2.8145
Restaurants | New | Ceiling Insulation(R2 to R38) | 10.39 | 3.135 | 3.3142
Retail | New | Ceiling Insulation(R2 to R38) | 10.39 | 3.135 | 3.3142
Schools K-12 | New | Ceiling Insulation(R2 to R38) | 8.8234 | 3.135 | 2.8145
Warehouse | New | Ceiling Insulation(R2 to R38) | 4.8236 | 3.0442 | 1.5845
Healthcare | Existing | Dedicated Outdoor Air System on VRF unit | 9465.9341 | 4701.8509 | 2.0132
Hospitals | Existing | Dedicated Outdoor Air System on VRF unit | 9018.4123 | 4686.1808 | 1.9245
Lodging/Hospitality | Existing | Dedicated Outdoor Air System on VRF unit | 5294.9317 | 4621.2031 | 1.1458
Offices | Existing | Dedicated Outdoor Air System on VRF unit | 4856.7379 | 4540.4582 | 1.0697
Restaurants | Existing | Dedicated Outdoor Air System on VRF unit | 7486.0477 | 4632.5245 | 1.616
Retail | Existing | Dedicated Outdoor Air System on VRF unit | 5767.0526 | 4572.3332 | 1.2613
Schools K-12 | Existing | Dedicated Outdoor Air System on VRF unit | 5033.6451 | 4546.6527 | 1.1071
Healthcare | New | Dedicated Outdoor Air System on VRF unit | 9465.9341 | 4701.8509 | 2.0132
Hospitals | New | Dedicated Outdoor Air System on VRF unit | 9018.4123 | 4686.1808 | 1.9245
Lodging/Hospitality | New | Dedicated Outdoor Air System on VRF unit | 5294.9317 | 4621.2031 | 1.1458
Offices | New | Dedicated Outdoor Air System on VRF unit | 4856.7379 | 4540.4582 | 1.0697
Restaurants | New | Dedicated Outdoor Air System on VRF unit | 7486.0477 | 4632.5245 | 1.616
Retail | New | Dedicated Outdoor Air System on VRF unit | 5767.0526 | 4572.3332 | 1.2613
Schools K-12 | New | Dedicated Outdoor Air System on VRF unit | 5033.6451 | 4546.6527 | 1.1071
Assembly | Existing | Duct Sealing Repair | 44163.7625 | 10367.8016 | 4.2597
Warehouse | Existing | Duct Sealing Repair | 17965.4586 | 8169.9538 | 2.199
Assembly | New | Duct Sealing Repair | 44163.7625 | 10367.8016 | 4.2597
Warehouse | New | Duct Sealing Repair | 17965.4586 | 8169.9538 | 2.199
Restaurants | Existing | ECM Motors on Furnaces | 1865.1808 | 1380.0411 | 1.3515
Restaurants | New | ECM Motors on Furnaces | 1865.1808 | 1380.0411 | 1.3515
Grocery | New | Facility Commissioning | 49514.6038 | 26880.2803 | 1.842
Restaurants | New | Facility Commissioning | 51594.5196 | 28871.6332 | 1.787
College and University | Existing | Facility Energy Management System | 394470.3278 | 259426.3727 | 1.5205
Lodging/Hospitality | Existing | Facility Energy Management System | 296107.3052 | 117866.9948 | 2.5122
Retail | Existing | Facility Energy Management System | 81415.9795 | 39447.6923 | 2.0639
Schools K-12 | Existing | Facility Energy Management System | 235196.379 | 177867.548 | 1.3223
College and University | New | Facility Energy Management System | 394470.3278 | 259426.3727 | 1.5205
Lodging/Hospitality | New | Facility Energy Management System | 296107.3052 | 117866.9948 | 2.5122
Retail | New | Facility Energy Management System | 81415.9795 | 39447.6923 | 2.0639
Schools K-12 | New | Facility Energy Management System | 235196.379 | 177867.548 | 1.3223
Assembly | Existing | HVAC tune-up | 555.2222 | 262.7645 | 2.113
Grocery | Existing | HVAC tune-up | 306.7104 | 247.7919 | 1.2378
Institutional | Existing | HVAC tune-up | 299.9135 | 247.3824 | 1.2123
Miscellaneous | Existing | HVAC tune-up | 310.1088 | 247.9966 | 1.2505
Assembly | New | HVAC tune-up | 555.2222 | 262.7645 | 2.113
Grocery | New | HVAC tune-up | 306.7104 | 247.7919 | 1.2378
Institutional | New | HVAC tune-up | 299.9135 | 247.3824 | 1.2123
Miscellaneous | New | HVAC tune-up | 310.1088 | 247.9966 | 1.2505
Assembly | Existing | HVAC tune-up_RTU | 2505.8171 | 1679.7257 | 1.4918
College and University | Existing | HVAC tune-up_RTU | 4012.0128 | 1696.2438 | 2.3652
Offices | Existing | HVAC tune-up_RTU | 2820.2425 | 1698.6695 | 1.6603
Retail | Existing | HVAC tune-up_RTU | 3182.5987 | 1720.5011 | 1.8498
Schools K-12 | Existing | HVAC tune-up_RTU | 2766.5602 | 1695.4352 | 1.6318
Assembly | New | HVAC tune-up_RTU | 2505.8171 | 1679.7257 | 1.4918
College and University | New | HVAC tune-up_RTU | 4012.0128 | 1696.2438 | 2.3652
Offices | New | HVAC tune-up_RTU | 2820.2425 | 1698.6695 | 1.6603
Retail | New | HVAC tune-up_RTU | 3182.5987 | 1720.5011 | 1.8498
Schools K-12 | New | HVAC tune-up_RTU | 2766.5602 | 1695.4352 | 1.6318
Hospitals | Existing | Programmable Thermostat | 197560.9264 | 142996.9862 | 1.3816
Lodging/Hospitality | Existing | Programmable Thermostat | 152407.7157 | 21964.7254 | 6.9387
Hospitals | New | Programmable Thermostat | 197560.9264 | 142996.9862 | 1.3816
Lodging/Hospitality | New | Programmable Thermostat | 152407.7157 | 21964.7254 | 6.9387
Lodging/Hospitality | Existing | Smart Thermostat | 423354.7658 | 36001.6431 | 11.7593
Retail | Existing | Smart Thermostat | 19550.4133 | 12982.03 | 1.506
Lodging/Hospitality | New | Smart Thermostat | 423354.7658 | 36001.6431 | 11.7593
Retail | New | Smart Thermostat | 19550.4133 | 12982.03 | 1.506
Assembly | Existing | Wall Insulation | 9.8054 | 4.4769 | 2.1902
College and University | Existing | Wall Insulation | 10.1624 | 4.4665 | 2.2753
Grocery | Existing | Wall Insulation | 11.3782 | 4.4716 | 2.5445
Healthcare | Existing | Wall Insulation | 9.3877 | 4.4614 | 2.1042
Hospitals | Existing | Wall Insulation | 10.3109 | 4.4716 | 2.3059
Institutional | Existing | Wall Insulation | 9.5234 | 4.4665 | 2.1322
Lodging/Hospitality | Existing | Wall Insulation | 10.1624 | 4.4665 | 2.2753
Miscellaneous | Existing | Wall Insulation | 9.6626 | 4.4716 | 2.1609
Offices | Existing | Wall Insulation | 9.6626 | 4.4716 | 2.1609
Restaurants | Existing | Wall Insulation | 11.5464 | 4.4769 | 2.5791
Retail | Existing | Wall Insulation | 11.3782 | 4.4716 | 2.5445
Schools K-12 | Existing | Wall Insulation | 9.952 | 4.4823 | 2.2203
Warehouse | Existing | Wall Insulation | 7.4253 | 4.4769 | 1.6586
Grocery | Existing | Bi-Level Lighting Control (Interior) | 1824.5854 | 1712.7075 | 1.0653
Hospitals | Existing | Bi-Level Lighting Control (Interior) | 2193.5914 | 1731.6533 | 1.2668
Grocery | New | Bi-Level Lighting Control (Interior) | 1824.5854 | 1712.7075 | 1.0653
Hospitals | New | Bi-Level Lighting Control (Interior) | 2193.5914 | 1731.6533 | 1.2668
Assembly | Existing | Interior Lighting Controls | 832.8093 | 722.1666 | 1.1532
Institutional | Existing | Interior Lighting Controls | 955.2982 | 727.9206 | 1.3124
Lodging/Hospitality | Existing | Interior Lighting Controls | 1087.0535 | 734.1099 | 1.4808
Offices | Existing | Interior Lighting Controls | 941.9779 | 727.2948 | 1.2952
Restaurants | Existing | Interior Lighting Controls | 972.0934 | 728.7095 | 1.334
Warehouse | Existing | Interior Lighting Controls | 1107.3236 | 735.0621 | 1.5064
Assembly | New | Interior Lighting Controls | 832.8093 | 722.1666 | 1.1532
Institutional | New | Interior Lighting Controls | 955.2982 | 727.9206 | 1.3124
Lodging/Hospitality | New | Interior Lighting Controls | 1087.0535 | 734.1099 | 1.4808
Offices | New | Interior Lighting Controls | 941.9779 | 727.2948 | 1.2952
Restaurants | New | Interior Lighting Controls | 972.0934 | 728.7095 | 1.334
Warehouse | New | Interior Lighting Controls | 1107.3236 | 735.0621 | 1.5064
Assembly | Existing | Engine Block Timer | 536.122 | 381.686 | 1.4046
College and University | Existing | Engine Block Timer | 897.522 | 381.686 | 2.3515
Grocery | Existing | Engine Block Timer | 536.122 | 381.686 | 1.4046
Healthcare | Existing | Engine Block Timer | 536.122 | 381.686 | 1.4046
Hospitals | Existing | Engine Block Timer | 897.522 | 381.686 | 2.3515
Institutional | Existing | Engine Block Timer | 678.3509 | 381.686 | 1.7772
Lodging/Hospitality | Existing | Engine Block Timer | 536.122 | 381.686 | 1.4046
Miscellaneous | Existing | Engine Block Timer | 678.3509 | 381.686 | 1.7772
Offices | Existing | Engine Block Timer | 678.3509 | 381.686 | 1.7772
Restaurants | Existing | Engine Block Timer | 678.3509 | 381.686 | 1.7772
Retail | Existing | Engine Block Timer | 678.3509 | 381.686 | 1.7772
Schools K-12 | Existing | Engine Block Timer | 678.3509 | 381.686 | 1.7772
Warehouse | Existing | Engine Block Timer | 678.3509 | 381.686 | 1.7772
Assembly | New | Engine Block Timer | 536.122 | 381.686 | 1.4046
College and University | New | Engine Block Timer | 897.522 | 381.686 | 2.3515
Grocery | New | Engine Block Timer | 536.122 | 381.686 | 1.4046
Healthcare | New | Engine Block Timer | 536.122 | 381.686 | 1.4046
Hospitals | New | Engine Block Timer | 897.522 | 381.686 | 2.3515
Institutional | New | Engine Block Timer | 678.3509 | 381.686 | 1.7772
Lodging/Hospitality | New | Engine Block Timer | 536.122 | 381.686 | 1.4046
Miscellaneous | New | Engine Block Timer | 678.3509 | 381.686 | 1.7772
Offices | New | Engine Block Timer | 678.3509 | 381.686 | 1.7772
Restaurants | New | Engine Block Timer | 678.3509 | 381.686 | 1.7772
Retail | New | Engine Block Timer | 678.3509 | 381.686 | 1.7772
Schools K-12 | New | Engine Block Timer | 678.3509 | 381.686 | 1.7772
Warehouse | New | Engine Block Timer | 678.3509 | 381.686 | 1.7772
Assembly | Existing | VSD Controlled Compressor | 42311.2563 | 19382.9243 | 2.1829
College and University | Existing | VSD Controlled Compressor | 44453.6777 | 19382.9243 | 2.2934
Grocery | Existing | VSD Controlled Compressor | 42311.2563 | 19382.9243 | 2.1829
Healthcare | Existing | VSD Controlled Compressor | 44453.6777 | 19382.9243 | 2.2934
Hospitals | Existing | VSD Controlled Compressor | 44453.6777 | 19382.9243 | 2.2934
Institutional | Existing | VSD Controlled Compressor | 42311.2563 | 19382.9243 | 2.1829
Lodging/Hospitality | Existing | VSD Controlled Compressor | 44453.6777 | 19382.9243 | 2.2934
Miscellaneous | Existing | VSD Controlled Compressor | 42311.2563 | 19382.9243 | 2.1829
Offices | Existing | VSD Controlled Compressor | 42311.2563 | 19382.9243 | 2.1829
Restaurants | Existing | VSD Controlled Compressor | 44453.6777 | 19382.9243 | 2.2934
Retail | Existing | VSD Controlled Compressor | 42311.2563 | 19382.9243 | 2.1829
Schools K-12 | Existing | VSD Controlled Compressor | 44453.6777 | 19382.9243 | 2.2934
Warehouse | Existing | VSD Controlled Compressor | 42311.2563 | 19382.9243 | 2.1829
Assembly | New | VSD Controlled Compressor | 42311.2563 | 19382.9243 | 2.1829
College and University | New | VSD Controlled Compressor | 44453.6777 | 19382.9243 | 2.2934
Grocery | New | VSD Controlled Compressor | 42311.2563 | 19382.9243 | 2.1829
Healthcare | New | VSD Controlled Compressor | 44453.6777 | 19382.9243 | 2.2934
Hospitals | New | VSD Controlled Compressor | 44453.6777 | 19382.9243 | 2.2934
Institutional | New | VSD Controlled Compressor | 42311.2563 | 19382.9243 | 2.1829
Lodging/Hospitality | New | VSD Controlled Compressor | 44453.6777 | 19382.9243 | 2.2934
Miscellaneous | New | VSD Controlled Compressor | 42311.2563 | 19382.9243 | 2.1829
Offices | New | VSD Controlled Compressor | 42311.2563 | 19382.9243 | 2.1829
Restaurants | New | VSD Controlled Compressor | 44453.6777 | 19382.9243 | 2.2934
Retail | New | VSD Controlled Compressor | 42311.2563 | 19382.9243 | 2.1829
Schools K-12 | New | VSD Controlled Compressor | 44453.6777 | 19382.9243 | 2.2934
Warehouse | New | VSD Controlled Compressor | 42311.2563 | 19382.9243 | 2.1829
Warehouse | Existing | Network PC Power Management | 1068.8128 | 544.7173 | 1.9621
Warehouse | New | Network PC Power Management | 1068.8128 | 544.7173 | 1.9621
Retail | Existing | Smart Strip Plug Outlet | 103.7187 | 46.6193 | 2.2248
Retail | New | Smart Strip Plug Outlet | 103.7187 | 46.6193 | 2.2248
Assembly | Existing | Freezer-Cooler Replacement Gaskets | 474.6004 | 437.9989 | 1.0836
College and University | Existing | Freezer-Cooler Replacement Gaskets | 528.0719 | 437.9989 | 1.2056
Grocery | Existing | Freezer-Cooler Replacement Gaskets | 474.6004 | 437.9989 | 1.0836
Healthcare | Existing | Freezer-Cooler Replacement Gaskets | 528.0719 | 437.9989 | 1.2056
Hospitals | Existing | Freezer-Cooler Replacement Gaskets | 528.0719 | 437.9989 | 1.2056
Institutional | Existing | Freezer-Cooler Replacement Gaskets | 474.6004 | 437.9989 | 1.0836
Lodging/Hospitality | Existing | Freezer-Cooler Replacement Gaskets | 528.0719 | 437.9989 | 1.2056
Miscellaneous | Existing | Freezer-Cooler Replacement Gaskets | 474.6004 | 437.9989 | 1.0836
Offices | Existing | Freezer-Cooler Replacement Gaskets | 474.6004 | 437.9989 | 1.0836
Restaurants | Existing | Freezer-Cooler Replacement Gaskets | 528.0719 | 437.9989 | 1.2056
Retail | Existing | Freezer-Cooler Replacement Gaskets | 474.6004 | 437.9989 | 1.0836
Schools K-12 | Existing | Freezer-Cooler Replacement Gaskets | 528.0719 | 437.9989 | 1.2056
Warehouse | Existing | Freezer-Cooler Replacement Gaskets | 474.6004 | 437.9989 | 1.0836
Assembly | Existing | PSC to ECM Evaporator Fan Motor (Reach-In) | 1397.4965 | 822.0756 | 1.7
College and University | Existing | PSC to ECM Evaporator Fan Motor (Reach-In) | 1702.2323 | 822.0756 | 2.0707
Grocery | Existing | PSC to ECM Evaporator Fan Motor (Reach-In) | 1397.4965 | 822.0756 | 1.7
Healthcare | Existing | PSC to ECM Evaporator Fan Motor (Reach-In) | 1702.2323 | 822.0756 | 2.0707
Hospitals | Existing | PSC to ECM Evaporator Fan Motor (Reach-In) | 1702.2323 | 822.0756 | 2.0707
Institutional | Existing | PSC to ECM Evaporator Fan Motor (Reach-In) | 1397.4965 | 822.0756 | 1.7
Lodging/Hospitality | Existing | PSC to ECM Evaporator Fan Motor (Reach-In) | 1702.2323 | 822.0756 | 2.0707
Miscellaneous | Existing | PSC to ECM Evaporator Fan Motor (Reach-In) | 1397.4965 | 822.0756 | 1.7
Offices | Existing | PSC to ECM Evaporator Fan Motor (Reach-In) | 1397.4965 | 822.0756 | 1.7
Restaurants | Existing | PSC to ECM Evaporator Fan Motor (Reach-In) | 1702.2323 | 822.0756 | 2.0707
Retail | Existing | PSC to ECM Evaporator Fan Motor (Reach-In) | 1397.4965 | 822.0756 | 1.7
Schools K-12 | Existing | PSC to ECM Evaporator Fan Motor (Reach-In) | 1702.2323 | 822.0756 | 2.0707
Warehouse | Existing | PSC to ECM Evaporator Fan Motor (Reach-In) | 1397.4965 | 822.0756 | 1.7
Assembly | New | PSC to ECM Evaporator Fan Motor (Reach-In) | 1397.4965 | 822.0756 | 1.7
College and University | New | PSC to ECM Evaporator Fan Motor (Reach-In) | 1702.2323 | 822.0756 | 2.0707
Grocery | New | PSC to ECM Evaporator Fan Motor (Reach-In) | 1397.4965 | 822.0756 | 1.7
Healthcare | New | PSC to ECM Evaporator Fan Motor (Reach-In) | 1702.2323 | 822.0756 | 2.0707
Hospitals | New | PSC to ECM Evaporator Fan Motor (Reach-In) | 1702.2323 | 822.0756 | 2.0707
Institutional | New | PSC to ECM Evaporator Fan Motor (Reach-In) | 1397.4965 | 822.0756 | 1.7
Lodging/Hospitality | New | PSC to ECM Evaporator Fan Motor (Reach-In) | 1702.2323 | 822.0756 | 2.0707
Miscellaneous | New | PSC to ECM Evaporator Fan Motor (Reach-In) | 1397.4965 | 822.0756 | 1.7
Offices | New | PSC to ECM Evaporator Fan Motor (Reach-In) | 1397.4965 | 822.0756 | 1.7
Restaurants | New | PSC to ECM Evaporator Fan Motor (Reach-In) | 1702.2323 | 822.0756 | 2.0707
Retail | New | PSC to ECM Evaporator Fan Motor (Reach-In) | 1397.4965 | 822.0756 | 1.7
Schools K-12 | New | PSC to ECM Evaporator Fan Motor (Reach-In) | 1702.2323 | 822.0756 | 2.0707
Warehouse | New | PSC to ECM Evaporator Fan Motor (Reach-In) | 1397.4965 | 822.0756 | 1.7
Assembly | Existing | PSC to ECM Evaporator Fan Motor (Walk-In, Refrigerator) | 906.9738 | 804.8893 | 1.1268
College and University | Existing | PSC to ECM Evaporator Fan Motor (Walk-In, Refrigerator) | 1104.747 | 804.8893 | 1.3725
Grocery | Existing | PSC to ECM Evaporator Fan Motor (Walk-In, Refrigerator) | 906.9738 | 804.8893 | 1.1268
Healthcare | Existing | PSC to ECM Evaporator Fan Motor (Walk-In, Refrigerator) | 1104.747 | 804.8893 | 1.3725
Hospitals | Existing | PSC to ECM Evaporator Fan Motor (Walk-In, Refrigerator) | 1104.747 | 804.8893 | 1.3725
Institutional | Existing | PSC to ECM Evaporator Fan Motor (Walk-In, Refrigerator) | 906.9738 | 804.8893 | 1.1268
Lodging/Hospitality | Existing | PSC to ECM Evaporator Fan Motor (Walk-In, Refrigerator) | 1104.747 | 804.8893 | 1.3725
Miscellaneous | Existing | PSC to ECM Evaporator Fan Motor (Walk-In, Refrigerator) | 906.9738 | 804.8893 | 1.1268
Offices | Existing | PSC to ECM Evaporator Fan Motor (Walk-In, Refrigerator) | 906.9738 | 804.8893 | 1.1268
Restaurants | Existing | PSC to ECM Evaporator Fan Motor (Walk-In, Refrigerator) | 1104.747 | 804.8893 | 1.3725
Retail | Existing | PSC to ECM Evaporator Fan Motor (Walk-In, Refrigerator) | 906.9738 | 804.8893 | 1.1268
Schools K-12 | Existing | PSC to ECM Evaporator Fan Motor (Walk-In, Refrigerator) | 1104.747 | 804.8893 | 1.3725
Warehouse | Existing | PSC to ECM Evaporator Fan Motor (Walk-In, Refrigerator) | 906.9738 | 804.8893 | 1.1268
Assembly | New | PSC to ECM Evaporator Fan Motor (Walk-In, Refrigerator) | 906.9738 | 804.8893 | 1.1268
College and University | New | PSC to ECM Evaporator Fan Motor (Walk-In, Refrigerator) | 1104.747 | 804.8893 | 1.3725
Grocery | New | PSC to ECM Evaporator Fan Motor (Walk-In, Refrigerator) | 906.9738 | 804.8893 | 1.1268
Healthcare | New | PSC to ECM Evaporator Fan Motor (Walk-In, Refrigerator) | 1104.747 | 804.8893 | 1.3725
Hospitals | New | PSC to ECM Evaporator Fan Motor (Walk-In, Refrigerator) | 1104.747 | 804.8893 | 1.3725
Institutional | New | PSC to ECM Evaporator Fan Motor (Walk-In, Refrigerator) | 906.9738 | 804.8893 | 1.1268
Lodging/Hospitality | New | PSC to ECM Evaporator Fan Motor (Walk-In, Refrigerator) | 1104.747 | 804.8893 | 1.3725
Miscellaneous | New | PSC to ECM Evaporator Fan Motor (Walk-In, Refrigerator) | 906.9738 | 804.8893 | 1.1268
Offices | New | PSC to ECM Evaporator Fan Motor (Walk-In, Refrigerator) | 906.9738 | 804.8893 | 1.1268
Restaurants | New | PSC to ECM Evaporator Fan Motor (Walk-In, Refrigerator) | 1104.747 | 804.8893 | 1.3725
Retail | New | PSC to ECM Evaporator Fan Motor (Walk-In, Refrigerator) | 906.9738 | 804.8893 | 1.1268
Schools K-12 | New | PSC to ECM Evaporator Fan Motor (Walk-In, Refrigerator) | 1104.747 | 804.8893 | 1.3725
Warehouse | New | PSC to ECM Evaporator Fan Motor (Walk-In, Refrigerator) | 906.9738 | 804.8893 | 1.1268
Assembly | Existing | Strip Curtains for Walk-ins | 1251.5571 | 978.2395 | 1.2794
College and University | Existing | Strip Curtains for Walk-ins | 1418.7172 | 978.2395 | 1.4503
Grocery | Existing | Strip Curtains for Walk-ins | 1251.5571 | 978.2395 | 1.2794
Healthcare | Existing | Strip Curtains for Walk-ins | 1418.7172 | 978.2395 | 1.4503
Hospitals | Existing | Strip Curtains for Walk-ins | 1418.7172 | 978.2395 | 1.4503
Institutional | Existing | Strip Curtains for Walk-ins | 1251.5571 | 978.2395 | 1.2794
Lodging/Hospitality | Existing | Strip Curtains for Walk-ins | 1418.7172 | 978.2395 | 1.4503
Miscellaneous | Existing | Strip Curtains for Walk-ins | 1251.5571 | 978.2395 | 1.2794
Offices | Existing | Strip Curtains for Walk-ins | 1251.5571 | 978.2395 | 1.2794
Restaurants | Existing | Strip Curtains for Walk-ins | 1418.7172 | 978.2395 | 1.4503
Retail | Existing | Strip Curtains for Walk-ins | 1251.5571 | 978.2395 | 1.2794
Schools K-12 | Existing | Strip Curtains for Walk-ins | 1418.7172 | 978.2395 | 1.4503
Warehouse | Existing | Strip Curtains for Walk-ins | 1251.5571 | 978.2395 | 1.2794
Assembly | New | Strip Curtains for Walk-ins | 1251.5571 | 978.2395 | 1.2794
College and University | New | Strip Curtains for Walk-ins | 1418.7172 | 978.2395 | 1.4503
Grocery | New | Strip Curtains for Walk-ins | 1251.5571 | 978.2395 | 1.2794
Healthcare | New | Strip Curtains for Walk-ins | 1418.7172 | 978.2395 | 1.4503
Hospitals | New | Strip Curtains for Walk-ins | 1418.7172 | 978.2395 | 1.4503
Institutional | New | Strip Curtains for Walk-ins | 1251.5571 | 978.2395 | 1.2794
Lodging/Hospitality | New | Strip Curtains for Walk-ins | 1418.7172 | 978.2395 | 1.4503
Miscellaneous | New | Strip Curtains for Walk-ins | 1251.5571 | 978.2395 | 1.2794
Offices | New | Strip Curtains for Walk-ins | 1251.5571 | 978.2395 | 1.2794
Restaurants | New | Strip Curtains for Walk-ins | 1418.7172 | 978.2395 | 1.4503
Retail | New | Strip Curtains for Walk-ins | 1251.5571 | 978.2395 | 1.2794
Schools K-12 | New | Strip Curtains for Walk-ins | 1418.7172 | 978.2395 | 1.4503
Warehouse | New | Strip Curtains for Walk-ins | 1251.5571 | 978.2395 | 1.2794
Assembly | Existing | Demand Controlled Ventilation | 30355.5342 | 7452.3757 | 4.0733
Grocery | Existing | Demand Controlled Ventilation | 13789.2941 | 6960.8933 | 1.981
Restaurants | Existing | Demand Controlled Ventilation | 14866.557 | 6992.8532 | 2.126
Retail | Existing | Demand Controlled Ventilation | 33262.151 | 7538.6083 | 4.4122
Warehouse | Existing | Demand Controlled Ventilation | 12348.3839 | 6918.1448 | 1.7849
Assembly | New | Demand Controlled Ventilation | 30355.5342 | 7452.3757 | 4.0733
Grocery | New | Demand Controlled Ventilation | 13789.2941 | 6960.8933 | 1.981
Restaurants | New | Demand Controlled Ventilation | 14866.557 | 6992.8532 | 2.126
Retail | New | Demand Controlled Ventilation | 33262.151 | 7538.6083 | 4.4122
Warehouse | New | Demand Controlled Ventilation | 12348.3839 | 6918.1448 | 1.7849
Healthcare | Existing | ENERGY STAR certified buildings program | 407104.2782 | 186431.8093 | 2.1837
Hospitals | Existing | ENERGY STAR certified buildings program | 2672298.2671 | 1942590.1195 | 1.3756
Institutional | Existing | ENERGY STAR certified buildings program | 470616.886 | 191971.9979 | 2.4515
Lodging/Hospitality | Existing | ENERGY STAR certified buildings program | 457553.848 | 308641.0785 | 1.4825
Miscellaneous | Existing | ENERGY STAR certified buildings program | 4486712.7163 | 2647678.541 | 1.6946
Offices | Existing | ENERGY STAR certified buildings program | 335383.5072 | 149012.0276 | 2.2507
Retail | Existing | ENERGY STAR certified buildings program | 125806.3995 | 104103.9159 | 1.2085
Healthcare | New | ENERGY STAR certified buildings program | 407104.2782 | 186431.8093 | 2.1837
Hospitals | New | ENERGY STAR certified buildings program | 2672298.2671 | 1942590.1195 | 1.3756
Institutional | New | ENERGY STAR certified buildings program | 470616.886 | 191971.9979 | 2.4515
Lodging/Hospitality | New | ENERGY STAR certified buildings program | 457553.848 | 308641.0785 | 1.4825
Miscellaneous | New | ENERGY STAR certified buildings program | 4486712.7163 | 2647678.541 | 1.6946
Offices | New | ENERGY STAR certified buildings program | 335383.5072 | 149012.0276 | 2.2507
Retail | New | ENERGY STAR certified buildings program | 125806.3995 | 104103.9159 | 1.2085
Assembly | Existing | Retro-Commissioning | 122467.7942 | 27132.6124 | 4.5137
Warehouse | Existing | Retro-Commissioning | 49819.0165 | 21816.6455 | 2.2835
Assembly | New | Retro-Commissioning | 122467.7942 | 27132.6124 | 4.5137
Warehouse | New | Retro-Commissioning | 49819.0165 | 21816.6455 | 2.2835

## IND RIM
Segment | Vintage | (1) Measure | RIM NPV Benefits | RIM NPV Costs | RIM Benefit/Cost Ratio
Construction |  | Process Heat Improved Controls | 106544.3414 | 45307.7818 | 2.3516
Electrical and Electronic Equip. |  | Process Heat Improved Controls | 29062.7027 | 25250.8882 | 1.151
Lumber/Furniture/Pulp/Paper |  | Process Heat Improved Controls | 41816.6547 | 10836.4978 | 3.8589
Lumber/Furniture/Pulp/Paper |  | Process Refrig Controls | 54554.2072 | 47022.6332 | 1.1602
Metal Products and Machinery |  | Process Heat Improved Controls | 52834.3203 | 13152.5195 | 4.017
Metal Products and Machinery |  | Process Refrig Controls | 27484.6354 | 13858.2846 | 1.9833
Miscellaneous Manufacturing |  | Process Heat Improved Controls | 32990.5516 | 28735.5285 | 1.1481
Primary Resources Industries |  | Process Heat Improved Controls | 52146.5365 | 20037.1372 | 2.6025
Stone/Clay/Glass/Concrete |  | Process Heat Improved Controls | 15709.3913 | 13683.2409 | 1.1481
Textiles and Leather |  | Process Heat System Optimization | 25016.4669 | 21252.9714 | 1.1771
Textiles and Leather |  | Building Envelope Improvements | 129399.3155 | 118921.7378 | 1.0881
Transportation Equipment |  | Process Heat Improved Controls | 52760.2391 | 15688.178 | 3.3631
Water and Wastewater |  | Process Heat Improved Controls | 248603.4641 | 105718.1589 | 2.3516

## IND TRC
Segment | Vintage | (1) Measure | TRC NPV Benefits | TRC NPV Costs | TRC Benefit/Cost Ratio
Chemicals and Plastics |  | Process Heat System Optimization | 151957.8473 | 91354.8955 | 1.6634
Chemicals and Plastics |  | Process Heat Improved Controls | 64234.0313 | 35622.0938 | 1.8032
Chemicals and Plastics |  | Process Refrig Controls | 70728.5556 | 25243.6676 | 2.8018
Chemicals and Plastics |  | Efficient Lighting - Other Interior Lighting | 1356207.7271 | 799436.3041 | 1.6965
Construction |  | Process Heat System Optimization | 14800.8299 | 7653.6907 | 1.9338
Construction |  | Process Heat Improved Controls | 106544.3414 | 35097.4316 | 3.0357
Construction |  | Motor Optimization | 32247.0686 | 24800.6486 | 1.3003
Construction |  | Efficient Lighting - Other Interior Lighting | 179095.3181 | 95755.1087 | 1.8703
Electrical and Electronic Equip. |  | Process Heat Improved Controls | 29062.7027 | 18273.7862 | 1.5904
Electrical and Electronic Equip. |  | Process Refrig Controls | 32132.4285 | 30149.5427 | 1.0658
Electrical and Electronic Equip. |  | Efficient Lighting - Other Interior Lighting | 356283.3807 | 209050.5184 | 1.7043
Lumber/Furniture/Pulp/Paper |  | Process Heat System Optimization | 7285.713 | 3133.5718 | 2.3251
Lumber/Furniture/Pulp/Paper |  | Process Heat Improved Controls | 41816.6547 | 7842.2526 | 5.3322
Lumber/Furniture/Pulp/Paper |  | Process Refrig Controls | 54554.2072 | 33393.1413 | 1.6337
Lumber/Furniture/Pulp/Paper |  | Process Refrig Equipment Upgrade | 11082.71 | 4826.3995 | 2.2963
Lumber/Furniture/Pulp/Paper |  | Pump System Optimization | 1648718.8244 | 743047.6834 | 2.2189
Lumber/Furniture/Pulp/Paper |  | Pump Equipment Upgrade | 351247.9289 | 176141.0279 | 1.9941
Lumber/Furniture/Pulp/Paper |  | Efficient Lighting - Other Interior Lighting | 633607.9186 | 342841.9176 | 1.8481
Metal Products and Machinery |  | Process Heat Improved Controls | 52834.3203 | 9540.791 | 5.5377
Metal Products and Machinery |  | Process Refrig Controls | 27484.6354 | 6774.0967 | 4.0573
Metal Products and Machinery |  | Efficient Lighting - Other Interior Lighting | 741471.7634 | 352061.084 | 2.1061
Miscellaneous Manufacturing |  | Process Heat Improved Controls | 32990.5516 | 20795.5815 | 1.5864
Miscellaneous Manufacturing |  | Process Refrig System Optimization | 106357.9504 | 56584.1575 | 1.8796
Miscellaneous Manufacturing |  | Process Refrig Controls | 31872.5849 | 29905.7107 | 1.0658
Miscellaneous Manufacturing |  | Process Refrig Equipment Upgrade | 6701.4911 | 2895.5121 | 2.3144
Miscellaneous Manufacturing |  | Motor Optimization | 26778.6217 | 24987.8797 | 1.0717
Miscellaneous Manufacturing |  | Efficient Lighting - Other Interior Lighting | 332386.548 | 161168.5915 | 2.0624
Miscellaneous Manufacturing |  | HVAC Equipment Upgrades | 793798.2691 | 463844.6532 | 1.7113
Primary Resources Industries |  | Process Heat Improved Controls | 52146.5365 | 14500.6527 | 3.5962
Primary Resources Industries |  | Process Refrig Controls | 4640.664 | 4354.2896 | 1.0658
Primary Resources Industries |  | Efficient Lighting - Other Interior Lighting | 85731.2888 | 37405.0612 | 2.292
Primary Resources Industries |  | HVAC Equipment Upgrades | 31675.6332 | 14227.0351 | 2.2264
Stone/Clay/Glass/Concrete |  | Process Heat System Optimization | 4365.1762 | 1625.2502 | 2.6858
Stone/Clay/Glass/Concrete |  | Process Heat Improved Controls | 15709.3913 | 9902.4088 | 1.5864
Stone/Clay/Glass/Concrete |  | Process Refrig Controls | 5114.3708 | 4762.1591 | 1.074
Stone/Clay/Glass/Concrete |  | Process Refrig Equipment Upgrade | 5577.6295 | 2597.7605 | 2.1471
Stone/Clay/Glass/Concrete |  | Efficient Lighting - Other Interior Lighting | 47295.8315 | 25727.093 | 1.8384
Textiles and Leather |  | Process Heat System Optimization | 25016.4669 | 18035.9818 | 1.387
Textiles and Leather |  | Process Refrig Controls | 19951.6909 | 15787.9676 | 1.2637
Textiles and Leather |  | Motor Optimization | 10677899.1166 | 5788236.146 | 1.8448
Textiles and Leather |  | Efficient Lighting - Other Interior Lighting | 614594.2848 | 365008.0085 | 1.6838
Textiles and Leather |  | Building Envelope Improvements | 129399.3155 | 29859.2757 | 4.3336
Transportation Equipment |  | Process Heat Improved Controls | 52760.2391 | 11353.3595 | 4.6471
Transportation Equipment |  | Process Refrig Controls | 62122.0139 | 58288.4769 | 1.0658
Transportation Equipment |  | Pump Equipment Upgrade | 110267.9552 | 35654.291 | 3.0927
Transportation Equipment |  | Fan Equipment Upgrades | 27259.3911 | 12596.3881 | 2.1641
Transportation Equipment |  | Efficient Lighting - Other Interior Lighting | 1904627.3585 | 1132726.6824 | 1.6815
Transportation Equipment |  | HVAC Recommissioning | 3919605.2008 | 1491452.5672 | 2.628
Water and Wastewater |  | Process Heat System Optimization | 34535.27 | 17858.6117 | 1.9338
Water and Wastewater |  | Process Heat Improved Controls | 248603.4641 | 81894.008 | 3.0357
Water and Wastewater |  | Motor Optimization | 75243.1607 | 57868.1805 | 1.3003
Water and Wastewater |  | Efficient Lighting - Other Interior Lighting | 417889.0749 | 223428.5866 | 1.8703
Other |  | Motor Optimization | 1212585.8508 | 932578.2686 | 1.3003
Other |  | Efficient Lighting - Other Interior Lighting | 10598399.8424 | 5666540.8104 | 1.8703

## Res DER RIM
Segment | (1) Measure | RIM NPV Benefits | RIM NPV Costs | RIM Benefit/Cost Ratio
No Measures Passing RIM/PT/3 yr payback

## Res DER TRC
Segment | (1) Measure | TRC NPV Benefits | TRC NPV Costs | TRC Benefit/Cost Ratio
No Measures Passing TRC/PT/3 yr payback

## Com DER RIM
Segment | (1) Measure | RIM NPV Benefits | RIM NPV Costs | RIM Benefit/Cost Ratio
No Measures Passing RIM/PT/3 yr payback

## Com DER TRC
Segment | Vintage | (1) Measure | TRC NPV Benefits | TRC NPV Costs | TRC Benefit/Cost Ratio
No Measures Passing TRC/PT/3 yr payback

## Ind DER RIM
Segment | (1) Measure | RIM NPV Benefits | RIM NPV Costs | RIM Benefit/Cost Ratio
No Measures Passing RIM/PT/3 yr payback

## Ind DER TRC
Segment | Vintage | (1) Measure | TRC NPV Benefits | TRC NPV Costs | TRC Benefit/Cost Ratio
No Measures Passing TRC/PT/3 yr payback