## Measures Installed
Residential Program Measures | 2015 |  |  | 2016 | 2017 | 2018
| 2010 Plan | 2015 Plan | Combined
Residential Community Energy Saver (Home Assessments) | 1772 | 979 | 2751 | 2500 | 2500 | 3272
Bathroom Aerators | 1803 | 1126 | 2929 | 1706 | 1511 | 3717
14 W Spiral CFLs | 12175 | 2500 | 14675 | 5422 | 7318 | 15439
20 W Spiral CFLs | 11332 | 2346 | 13678 | 5433 | 3440 | 555
23 W Spiral CFLs | 1465 | 652 | 2117 | 1258 | 1316 | 12
9 W Spiral CFLs | 237 | 102 | 339 | 14 | 0 | 84
Coil Brush | 1769 | 91 | 1860 | 0 | 0 | 0
Dual Spray Aerators | 1656 | 880 | 2536 | 1876 | 1749 | 2520
Foam Outlet Gasket | 46 | 0 | 46 | 0 | 0 | 0
Foam Switch Gasket | 48 | 0 | 48 | 0 | 0 | 0
Filter 12x20x1 | NA | 0 | 0 | 1260 | 804 | 804
Filter 12x24x1 | NA | 3408 | 3408 | 6900 | 8916 | 7284
Filter 14x20x1 | NA | 288 | 288 | 1560 | 1224 | 876
Filter 14x25x1 | NA | 252 | 252 | 756 | 1608 | 1488
Filter 16x20x1 | NA | 1104 | 1104 | 3588 | 2940 | 5556
Filter 16x25x1 | NA | 648 | 648 | 1848 | 2028 | 3456
Filter 20x20x1 | NA | 312 | 312 | 3048 | 3108 | 4020
Filter 20x24x1 | NA | 96 | 96 | 948 | 372 | 1224
Filter 20x25x1 | NA | 1092 | 1092 | 3252 | 2016 | 2676
Filter 24x24x1 | NA | 192 | 192 | 240 | 216 | 576
Filter Hog Hair | NA | 78 | 78 | 34 | 0 | 0
Handheld Shower | 20 | 2 | 22 | 271 | 739 | 2775
Massage Showerhead | 1793 | 1028 | 2821 | 1763 | 1467 | 1860
W/H Pipe Insul. 1/2" x 3' | 3 | 0 | 3 | 125 | 17 | 1599
WH Pipe Insul. 3/4" x 3' | 79 | 3 | 82 | 43 | 28 | 21
Refrigerator Thermometer | 1768 | 923 | 2691 | 1047 | 0 | 0
W/H Temperature check | 1766 | 928 | 2694 | 1966 | 1644 | 2313
Landlord/Renter Customer Incentive Program | 0 | 0 | 0 | 0 | 0 | 0
Residentail HVAC Total | 11804 | 1003 | 12807 | 5780 | 2464 | 1855
Residential HVAC Maintenance | 5710 | 1003 | 6713 | 3742 | 1278 | 1038
All Inclusive | 0 | 0 | 0 | 114 | 56 | 83
Indoor Coil Clean | 973 | 319 | 1292 | 615 | 513 | 353
Initial Test and Charge Repair | 2198 | 570 | 2768 | 1145 | 1203 | 894
Non-Qualifying Repair | 26 | 10 | 36 | 13 | 9 | 19
Outdoor Coil Clean | 690 | 247 | 937 | 150 | 192 | 169
StripCutOutInstall | 2028 | 0 | 2028 | 0 | 0 | 0
Initial Test Only | 3398 | 411 | 3809 | 2483 | 2014 | 1902
Initial Needing Repair | 163 | 40 | 203 | 98 | 77 | 99
Initial Test and Airflow Repair | 40 | 8 | 48 | 0 | 0 | 0
Too Low to Test | 3 | 1 | 4 | 0 | 0 | 0
Initial Test with Coil Cleaning | 74 | 14 | 88 | 0 | 0 | 0
StripCutOutReset | 45 | 0 | 45 | 0 | 0 | 0
Residential Quality Installation | NA | 0 | 0 | 567 | 708 | 608
Residential Duct Repair | 3734 | 0 | 3734 | 1471 | 478 | 209
Residential HVAC Early Retirement Tier 1 | 1102 | NA | 1102 | NA | NA | NA
Residential HVAC Early Retirement Tier 2 | 770 | NA | 770 | NA | NA | NA
Residential HVAC Early Retirement Tier 3 | 113 | NA | 113 | NA | NA | NA
Residential HVAC Efficiency Upgrade Tier 1 | 249 | NA | 249 | NA | NA | NA
Residential HVAC Efficiency Upgrade Tier 2 | 87 | NA | 87 | NA | NA | NA
Residential HVAC Efficiency Upgrade Tier 3 | 39 | NA | 39 | NA | NA | NA
Residential ECM Fan | 0 | NA | 0 | NA | NA | NA
Residential HPWH | 298 | NA | 298 | NA | NA | NA
Residential Ceiling Insulation (Count of Participants) | 338 | NA | 338 | NA | NA | NA
Residential Ceiling Insulation (Sq Ft) | 497515 | NA | 497515 | NA | NA | NA
Residential High Performance Window (Count of Participants) | 511 | 251 | 762 | 266 | 295 | 776
Residential High Performance Window (Sq Ft) | 79889 | 64678 | 144567 | 58791 | 129825 | 87922
Residential Window Film (Count of Participants) | 96 | NA | 96 | NA | NA | NA
Residential Window Film (Sq Ft) | 13340 | NA | 13340 | NA | NA | NA
Residential Reflective Roof (Count of Participants) | 155 | 60 | 215 | 310 | 206 | 186
Residential Reflective Roof (Sq Ft) | 361515 | 141611 | 503126 | 775709 | 577180 | 468188
Variable Speed/Flow Pool Pump | 223 | NA | 223 | NA | NA | NA
Energy Select | 1394 | 472 | 1866 | 1473 | 1439 | 639
Energy Select Lite | 0 | NA | 0 | NA | NA | NA
Residential Energy Star Refrigerator | 754 | NA | 754 | NA | NA | NA
Residential Energy Star Freezer | 44 | NA | 44 | NA | NA | NA
Residential Energy Star Window A/C | 199 | 84 | 283 | 20 | 9 | 25
Residential Energy Star Clothes Washer | 893 | NA | 893 | NA | NA | NA
Residential CFL | 0 | NA | 0 | NA | NA | NA
Residential Refrigerator Recycling | 0 | NA | 0 | NA | NA | NA
Commercial Program Measures | 2015 |  |  | 2016 | 2017 | 2018
| 2010 Plan | 2015 Plan | Combined
Commercial HVAC Retrocommissioning | 17 | 6 | 23 | 41 | 214 | 78
All Inclusive | 0 | 0 | 0 | 0 | 69 | 4
Charge Repair with Indoor Coil Cleaning | 0 | 0 | 0 | 0 | 8 | 1
Indoor Coil Clean (<= 5 ton) | 1 | 4 | 5 | 2 | 22 | 16
Initial Test and Charge Repair | 6 | 4 | 10 | 10 | 136 | 73
Outdoor Coil Clean (<= 5 ton) | 6 | 3 | 9 | 0 | 27 | 14
Outdoor Coil Clean (> 5 ton) | 0 | 0 | 0 | 0 | 16 | 0
Initial Test Only | 11 | 2 | 13 | 31 | 344 | 145
Initial Needing Repair | 6 | 1 | 7 | 0 | 35 | 7
Strip Cut-Out Install (<= 5 ton) | 2 | 0 | 2 | 0 | 0 | 0
Non-Qualifying Repair | 0 | 0 | 0 | 1 | 5 | 0
Indoor Coil Clean (> 5 ton) | 0 | 0 | 0 | 0 | 2 | 1
Commercial HVAC Program | 1296 | NA | 1296 | NA | NA | NA
Commercial Geothermal Heat Pump Program | 0 | 37 | 37 | 50 | 0 | 0
Commercial HPWH Program | 0 | NA | 0 | NA | NA | NA
Commercial Ceiling/Roof Insulation Program | 8511 | 20555 | 29066 | 20806 | 19744 | 76533
Commercial Window Film | 2503 | NA | 2503 | NA | NA | NA
Commercial Interior Lighting | 164 | NA | 164 | NA | NA | NA
Commercial Interior Lighting - LED | 1855 | NA | 1855 | NA | NA | NA
Commercial Occupancy Sensor - Interior Lighting | 283 | NA | 283 | NA | NA | NA
Commercial Reflective Roof | 171266 | 59300 | 230566 | 269196 | 33202 | 234300
Commercial Occupancy Sensor - HVAC | 0 | NA | 0 | NA | NA | NA
Commercial EE Motor 1-5 HP | 20 | NA | 20 | NA | NA | NA
Commercial EE Motor 6-50 HP | 343 | NA | 343 | NA | NA | NA
Commercial EE Motor 51 + HP | 260 | NA | 260 | NA | NA | NA
Convection Oven | 0 | NA | 0 | NA | NA | NA
Food Service Efficiency Fryer | 12 | NA | 12 | NA | NA | NA
Food Service Efficiency Griddle | 1 | NA | 1 | NA | NA | NA
Food Service Efficiency Steamer | 0 | NA | 0 | NA | NA | NA
Food Service Efficiency Holding Cabinet | 0 | NA | 0 | NA | NA | NA
Food Service Efficiency Ice Machine | 12 | NA | 12 | NA | NA | NA
Commercial/Industrial Custom Incentive | 0 | 0 | 0 | 0 | 1 | 0
Solar Measures | 2015 |  |  | 2016 | 2017 | 2018
| 2010 Plan | 2015 Plan | Combined
Residential Solar Thermal | 34 | NA | 34 | NA | NA | NA
Residential Solar PV | 47 | NA | 47 | NA | NA | NA
Commercial Solar PV | 6 | NA | 6 | NA | NA | NA