## Res EP Screen
Utility | Housing Type | Sector | Measure | NPV Costs (Per Customer) | NPV Benefits (Per Customer) | Number of Eligible Customers | Total Summer MW Saved from Measure | Total Winter MW Saved from Measure | Total Summer Benefit ($) | Total Winter Benefit ($) | Total Benefit ($) | Total Cost ($) | Cost-Effectiveness Ratio | Passes?
FPUC | Single Family | Residential | HVAC - Load Shed | 16.1827 | 0.23848 | 9910.2238 | 15.5878 | 23.1166 | 4006.4605 | 5941.5537 | 9948.0142 | 361139.3799 | 0.027546 | No
FPUC | Multi Family | Residential | HVAC - Load Shed | 16.1827 | 0.17035 | 5460.1229 | 6.1344 | 6.5434 | 1576.7099 | 1681.8239 | 3258.5338 | 289124.691 | 0.01127 | No
FPUC | Mobile Home/Other | Residential | HVAC - Load Shed | 16.1827 | 0.18332 | 1576.915 | 1.9066 | 4.9269 | 490.0572 | 1266.3426 | 1756.3998 | 226283.8657 | 0.0077619 | No
FPUC | Single Family | Residential | HVAC - 50% cycling | 16.1827 | 0.12005 | 9910.2238 | 7.8469 | 11.5583 | 2016.8577 | 2970.7768 | 4987.6345 | 361139.3799 | 0.013811 | No
FPUC | Multi Family | Residential | HVAC - 50% cycling | 16.1827 | 0.085984 | 5460.1229 | 3.0964 | 3.2717 | 795.8631 | 840.9119 | 1636.775 | 289124.691 | 0.0056611 | No
FPUC | Mobile Home/Other | Residential | HVAC - 50% cycling | 16.1827 | 0.090851 | 1576.915 | 0.94489 | 2.4635 | 242.8602 | 633.1713 | 876.0315 | 226283.8657 | 0.0038714 | No
FPUC | Single Family | Residential | Water heater switches | 16.1827 | 0.034069 | 8959.9283 | 2.0133 | 1.9174 | 517.4685 | 492.8271 | 1010.2956 | 345761.0251 | 0.0029219 | No
FPUC | Multi Family | Residential | Water heater switches | 16.1827 | 0.034069 | 6269.03 | 1.4087 | 1.3416 | 362.0593 | 344.8184 | 706.8777 | 302214.9996 | 0.002339 | No
FPUC | Mobile Home/Other | Residential | Water heater switches | 16.1827 | 0.034069 | 1689.5518 | 0.37964 | 0.36156 | 97.5778 | 92.9312 | 190.509 | 228106.6341 | 0.00083518 | No
FPUC | Single Family | Residential | Pool pump switches | 16.1827 | 0.12492 | 3258.1558 | 2.6844 | 2.4055 | 689.958 | 618.274 | 1308.232 | 253490.8961 | 0.0051609 | No
FPUC | Multi Family | Residential | Pool pump switches | 16.1827 | 0.12492 | 1078.5428 | 0.88861 | 0.79629 | 228.3958 | 204.6664 | 433.0622 | 218218.8529 | 0.0019845 | No
FPUC | Mobile Home/Other | Residential | Pool pump switches | 16.1827 | 0.12492 | 225.2736 | 0.1856 | 0.16632 | 47.7047 | 42.7484 | 90.453 | 204410.645 | 0.00044251 | No
FPUC | Single Family | Residential | Room AC control | 15.1789 | 0.029202 | 715.4367 | 0.13779 | 0.20669 | 35.4163 | 53.1245 | 88.5409 | 211624.6388 | 0.00041839 | No
FPUC | Multi Family | Residential | Room AC control | 15.1789 | 0.02109 | 377.49 | 0.052509 | 0.056548 | 13.4961 | 14.5343 | 28.0304 | 206494.9847 | 0.00013574 | No
FPUC | Mobile Home/Other | Residential | Room AC control | 15.1789 | 0.022713 | 32918.2202 | 4.9311 | 12.6801 | 1267.4314 | 3259.1092 | 4526.5406 | 700426.9511 | 0.0064625 | No
FPUC | Single Family | Residential | Smart thermostats - Utility Installation | 735.2286 | 0.12005 | 9910.2238 | 7.8469 | 4.8778 | 2016.8577 | 1253.7223 | 3270.58 | 7487045.441 | 0.00043683 | No
FPUC | Multi Family | Residential | Smart thermostats - Utility Installation | 486.0252 | 0.085984 | 5460.1229 | 3.0964 | 1.4022 | 795.8631 | 360.3908 | 1156.2539 | 2854522.6405 | 0.00040506 | No
FPUC | Mobile Home/Other | Residential | Smart thermostats - Utility Installation | 719.6955 | 0.090851 | 1576.915 | 0.94489 | 1.0461 | 242.8602 | 268.881 | 511.7412 | 1335663.7342 | 0.00038314 | No
FPUC | Single Family | Residential | Smart thermostats - BYOT | 0.27594 | 0.12005 | 950.2954 | 0.75244 | 0.46774 | 193.3973 | 120.2199 | 313.6173 | 201027.3284 | 0.0015601 | No
FPUC | Multi Family | Residential | Smart thermostats - BYOT | 0.27594 | 0.085984 | 471.8625 | 0.26759 | 0.12117 | 68.7783 | 31.1449 | 99.9232 | 200895.3118 | 0.00049739 | No
FPUC | Mobile Home/Other | Residential | Smart thermostats - BYOT | 0.27594 | 0.090851 | 131.4096 | 0.078741 | 0.087177 | 20.2384 | 22.4067 | 42.6451 | 200801.3687 | 0.00021237 | No
FPUC | Single Family | Residential | CPP + Tech | 740.8655 | 0.18981 | 9910.2238 | 12.4066 | 9.8617 | 3188.8155 | 2534.6995 | 5723.515 | 7542908.0493 | 0.00075879 | No
FPUC | Multi Family | Residential | CPP + Tech | 491.6621 | 0.15574 | 5460.1229 | 5.6086 | 3.5054 | 1441.5633 | 900.9771 | 2342.5404 | 2885300.6245 | 0.00081189 | No
FPUC | Mobile Home/Other | Residential | CPP + Tech | 725.3324 | 0.16061 | 1576.915 | 1.6704 | 1.9573 | 429.3422 | 503.0676 | 932.4098 | 1344552.5936 | 0.00069347 | No
FPUC | Single Family | Residential | Central Heating - Load Shed | 16.1827 | 0 | 9910.2238 | 0 | 23.1166 | 0 | 5941.5537 | 5941.5537 | 361139.3799 | 0.016452 | No
FPUC | Multi Family | Residential | Central Heating - Load Shed | 16.1827 | 0 | 5460.1229 | 0 | 6.5434 | 0 | 1681.8239 | 1681.8239 | 289124.691 | 0.005817 | No
FPUC | Mobile Home/Other | Residential | Central Heating - Load Shed | 16.1827 | 0 | 1576.915 | 0 | 4.9269 | 0 | 1266.3426 | 1266.3426 | 226283.8657 | 0.0055963 | No
FPUC | Single Family | Residential | Central Heating - 50% cycling | 16.1827 | 0 | 9910.2238 | 0 | 11.5583 | 0 | 2970.7768 | 2970.7768 | 361139.3799 | 0.0082261 | No
FPUC | Multi Family | Residential | Central Heating - 50% cycling | 16.1827 | 0 | 5460.1229 | 0 | 3.2717 | 0 | 840.9119 | 840.9119 | 289124.691 | 0.0029085 | No
FPUC | Mobile Home/Other | Residential | Central Heating - 50% cycling | 16.1827 | 0 | 1576.915 | 0 | 2.4635 | 0 | 633.1713 | 633.1713 | 226283.8657 | 0.0027981 | No
FPUC | Single Family | Residential | Central air conditioner - Load Shed | 16.1827 | 0.23848 | 13448.0379 | 21.1524 | 0 | 5436.712 | 0 | 5436.712 | 418390.7981 | 0.012994 | No
FPUC | Multi Family | Residential | Central air conditioner - Load Shed | 16.1827 | 0.17035 | 6403.8479 | 7.1947 | 0 | 1849.2276 | 0 | 1849.2276 | 304396.7177 | 0.0060751 | No
FPUC | Mobile Home/Other | Residential | Central air conditioner - Load Shed | 16.1827 | 0.18332 | 1745.8702 | 2.1109 | 0 | 542.5634 | 0 | 542.5634 | 229018.0183 | 0.0023691 | No
FPUC | Single Family | Residential | Central air conditioner - 50% cycling | 16.1827 | 0.12005 | 12761.1101 | 10.1042 | 0 | 2597.0496 | 0 | 2597.0496 | 407274.4444 | 0.0063767 | No
FPUC | Multi Family | Residential | Central air conditioner - 50% cycling | 16.1827 | 0.085984 | 6403.8479 | 3.6316 | 0 | 933.4197 | 0 | 933.4197 | 304396.7177 | 0.0030665 | No
FPUC | Mobile Home/Other | Residential | Central air conditioner - 50% cycling | 16.1827 | 0.090851 | 1745.8702 | 1.0461 | 0 | 268.881 | 0 | 268.881 | 229018.0183 | 0.0011741 | No