## Res EP Screen
Utility | Housing Type | Sector | Measure | NPV Costs (Per Customer) | NPV Benefits (Per Customer) | Number of Eligible Customers | Total Summer MW Saved from Measure | Total Winter MW Saved from Measure | Total Summer Benefit ($) | Total Winter Benefit ($) | Total Benefit ($) | Total Cost ($) | Cost-Effectiveness Ratio | Passes?
FPUC | Single Family | Residential | HVAC - Load Shed | 15.9068 | 0.23848 | 9910.2238 | 15.5878 | 23.1166 | 4006.4605 | 5941.5537 | 9948.0142 | 358404.7974 | 0.027756 | No
FPUC | Multi Family | Residential | HVAC - Load Shed | 15.9068 | 0.17035 | 5460.1229 | 6.1344 | 6.5434 | 1576.7099 | 1681.8239 | 3258.5338 | 287618.0493 | 0.011329 | No
FPUC | Mobile Home/Other | Residential | HVAC - Load Shed | 15.9068 | 0.18332 | 1576.915 | 1.9066 | 4.9269 | 490.0572 | 1266.3426 | 1756.3998 | 225848.7389 | 0.0077769 | No
FPUC | Single Family | Residential | HVAC - 50% cycling | 15.9068 | 0.12005 | 9910.2238 | 7.8469 | 11.5583 | 2016.8577 | 2970.7768 | 4987.6345 | 358404.7974 | 0.013916 | No
FPUC | Multi Family | Residential | HVAC - 50% cycling | 15.9068 | 0.085984 | 5460.1229 | 3.0964 | 3.2717 | 795.8631 | 840.9119 | 1636.775 | 287618.0493 | 0.0056908 | No
FPUC | Mobile Home/Other | Residential | HVAC - 50% cycling | 15.9068 | 0.090851 | 1576.915 | 0.94489 | 2.4635 | 242.8602 | 633.1713 | 876.0315 | 225848.7389 | 0.0038788 | No
FPUC | Single Family | Residential | Water heater switches | 15.9068 | 0.034069 | 8959.9283 | 2.0133 | 1.9174 | 517.4685 | 492.8271 | 1010.2956 | 343288.6628 | 0.002943 | No
FPUC | Multi Family | Residential | Water heater switches | 15.9068 | 0.034069 | 6269.03 | 1.4087 | 1.3416 | 362.0593 | 344.8184 | 706.8777 | 300485.1517 | 0.0023525 | No
FPUC | Mobile Home/Other | Residential | Water heater switches | 15.9068 | 0.034069 | 1689.5518 | 0.37964 | 0.36156 | 97.5778 | 92.9312 | 190.509 | 227640.4268 | 0.00083689 | No
FPUC | Single Family | Residential | Pool pump switches | 15.9068 | 0.12492 | 3258.1558 | 2.6844 | 2.4055 | 689.958 | 618.274 | 1308.232 | 252591.8553 | 0.0051792 | No
FPUC | Multi Family | Residential | Pool pump switches | 15.9068 | 0.12492 | 1078.5428 | 0.88861 | 0.79629 | 228.3958 | 204.6664 | 433.0622 | 217921.2447 | 0.0019872 | No
FPUC | Mobile Home/Other | Residential | Pool pump switches | 15.9068 | 0.12492 | 225.2736 | 0.1856 | 0.16632 | 47.7047 | 42.7484 | 90.453 | 204348.484 | 0.00044264 | No
FPUC | Single Family | Residential | Room AC control | 14.9029 | 0.029202 | 715.4367 | 0.13779 | 0.20669 | 35.4163 | 53.1245 | 88.5409 | 211427.2244 | 0.00041878 | No
FPUC | Multi Family | Residential | Room AC control | 14.9029 | 0.02109 | 377.49 | 0.052509 | 0.056548 | 13.4961 | 14.5343 | 28.0304 | 206390.8219 | 0.00013581 | No
FPUC | Mobile Home/Other | Residential | Room AC control | 14.9029 | 0.022713 | 32918.2202 | 4.9311 | 12.6801 | 1267.4314 | 3259.1092 | 4526.5406 | 691343.6457 | 0.0065475 | No
FPUC | Single Family | Residential | Smart thermostats - Utility Installation | 22.393 | 0.12005 | 9910.2238 | 7.8469 | 4.8778 | 2016.8577 | 1253.7223 | 3270.58 | 422685.0591 | 0.0077376 | No
FPUC | Multi Family | Residential | Smart thermostats - Utility Installation | 22.393 | 0.085984 | 5460.1229 | 3.0964 | 1.4022 | 795.8631 | 360.3908 | 1156.2539 | 323033.8117 | 0.0035794 | No
FPUC | Mobile Home/Other | Residential | Smart thermostats - Utility Installation | 22.393 | 0.090851 | 1576.915 | 0.94489 | 1.0461 | 242.8602 | 268.881 | 511.7412 | 236077.0155 | 0.0021677 | No
FPUC | Single Family | Residential | Smart thermostats - BYOT | 0 | 0.12005 | 950.2954 | 0.75244 | 0.46774 | 193.3973 | 120.2199 | 313.6173 | 200765.1082 | 0.0015621 | No
FPUC | Multi Family | Residential | Smart thermostats - BYOT | 0 | 0.085984 | 471.8625 | 0.26759 | 0.12117 | 68.7783 | 31.1449 | 99.9232 | 200765.1082 | 0.00049771 | No
FPUC | Mobile Home/Other | Residential | Smart thermostats - BYOT | 0 | 0.090851 | 131.4096 | 0.078741 | 0.087177 | 20.2384 | 22.4067 | 42.6451 | 200765.1082 | 0.00021241 | No
FPUC | Single Family | Residential | CPP + Tech | 28.0299 | 0.18981 | 9910.2238 | 12.4066 | 9.8617 | 3188.8155 | 2534.6995 | 5723.515 | 478547.6674 | 0.01196 | No
FPUC | Multi Family | Residential | CPP + Tech | 28.0299 | 0.15574 | 5460.1229 | 5.6086 | 3.5054 | 1441.5633 | 900.9771 | 2342.5404 | 353811.7957 | 0.0066209 | No
FPUC | Mobile Home/Other | Residential | CPP + Tech | 28.0299 | 0.16061 | 1576.915 | 1.6704 | 1.9573 | 429.3422 | 503.0676 | 932.4098 | 244965.8749 | 0.0038063 | No
FPUC | Single Family | Residential | Central Heating - Load Shed | 15.9068 | 0 | 9910.2238 | 0 | 23.1166 | 0 | 5941.5537 | 5941.5537 | 358404.7974 | 0.016578 | No
FPUC | Multi Family | Residential | Central Heating - Load Shed | 15.9068 | 0 | 5460.1229 | 0 | 6.5434 | 0 | 1681.8239 | 1681.8239 | 287618.0493 | 0.0058474 | No
FPUC | Mobile Home/Other | Residential | Central Heating - Load Shed | 15.9068 | 0 | 1576.915 | 0 | 4.9269 | 0 | 1266.3426 | 1266.3426 | 225848.7389 | 0.005607 | No
FPUC | Single Family | Residential | Central Heating - 50% cycling | 15.9068 | 0 | 9910.2238 | 0 | 11.5583 | 0 | 2970.7768 | 2970.7768 | 358404.7974 | 0.0082889 | No
FPUC | Multi Family | Residential | Central Heating - 50% cycling | 15.9068 | 0 | 5460.1229 | 0 | 3.2717 | 0 | 840.9119 | 840.9119 | 287618.0493 | 0.0029237 | No
FPUC | Mobile Home/Other | Residential | Central Heating - 50% cycling | 15.9068 | 0 | 1576.915 | 0 | 2.4635 | 0 | 633.1713 | 633.1713 | 225848.7389 | 0.0028035 | No
FPUC | Single Family | Residential | Central air conditioner - Load Shed | 15.9068 | 0.23848 | 13448.0379 | 21.1524 | 0 | 5436.712 | 0 | 5436.712 | 414680.0071 | 0.013111 | No
FPUC | Multi Family | Residential | Central air conditioner - Load Shed | 15.9068 | 0.17035 | 6403.8479 | 7.1947 | 0 | 1849.2276 | 0 | 1849.2276 | 302629.6688 | 0.0061105 | No
FPUC | Mobile Home/Other | Residential | Central air conditioner - Load Shed | 15.9068 | 0.18332 | 1745.8702 | 2.1109 | 0 | 542.5634 | 0 | 542.5634 | 228536.2708 | 0.0023741 | No
FPUC | Single Family | Residential | Central air conditioner - 50% cycling | 15.9068 | 0.12005 | 12761.1101 | 10.1042 | 0 | 2597.0496 | 0 | 2597.0496 | 403753.2012 | 0.0064323 | No
FPUC | Multi Family | Residential | Central air conditioner - 50% cycling | 15.9068 | 0.085984 | 6403.8479 | 3.6316 | 0 | 933.4197 | 0 | 933.4197 | 302629.6688 | 0.0030844 | No
FPUC | Mobile Home/Other | Residential | Central air conditioner - 50% cycling | 15.9068 | 0.090851 | 1745.8702 | 1.0461 | 0 | 268.881 | 0 | 268.881 | 228536.2708 | 0.0011765 | No