## IRR No.1 Inclusion
Technical Potential – New Measure
Customer | Measure | Measure | Reason for
Class | Type | Name | Inclusion
Residential | Appliances | Heat Pump Clothes Dryer | Technically feasible EE measure applicable in Florida
Residential | Cooking | High Efficiency Convection Oven | Technically feasible EE measure applicable in Florida
Residential | Cooking | High Efficiency Induction Cooktop | Technically feasible EE measure applicable in Florida
Residential | Domestic Hot Water | Drain Water Heat Recovery | Technically feasible EE measure applicable in Florida
Residential | Domestic Hot Water | Instantaneous Hot Water System | Technically feasible EE measure applicable in Florida
Residential | Domestic Hot Water | Thermostatic Shower Restriction Valve | Technically feasible EE measure applicable in Florida
Residential | Electronics | Energy Star Air Purifier | Technically feasible EE measure applicable in Florida
Residential | Electronics | Energy Star Imaging Equipment | Technically feasible EE measure applicable in Florida
Residential | Lighting | Exterior Lighting Controls | Technically feasible EE measure applicable in Florida
Residential | Lighting | Interior Lighting Controls | Technically feasible EE measure applicable in Florida
Residential | Lighting | LED Specialty Lamps 5W - Chandlier | Technically feasible EE measure applicable in Florida
Residential | Lighting | Linear LED | Technically feasible EE measure applicable in Florida
Residential | Miscellaneous | Energy Star Bathroom Ventilating Fan | Technically feasible EE measure applicable in Florida
Residential | Miscellaneous | Energy Star Ceiling Fan | Technically feasible EE measure applicable in Florida
Residential | Miscellaneous | Energy Star Dehumidifier | Technically feasible EE measure applicable in Florida
Residential | Miscellaneous | Heat Pump Pool Heater | Technically feasible EE measure applicable in Florida
Residential | Miscellaneous | Solar Pool Heater | Technically feasible EE measure applicable in Florida
Residential | HVAC | Solar Attic Fan | Technically feasible EE measure applicable in Florida
Residential | HVAC | Energy Star Door | Technically feasible EE measure applicable in Florida
Residential | HVAC | Floor Insulation | Technically feasible EE measure applicable in Florida
Residential | HVAC | Green Roof | Technically feasible EE measure applicable in Florida
Residential | HVAC | Home Energy Management System | Technically feasible EE measure applicable in Florida
Residential | HVAC | Sealed Crawlspace | Technically feasible EE measure applicable in Florida
Residential | HVAC | Smart Thermostat | Technically feasible EE measure applicable in Florida
Residential | HVAC | Storm Door | Technically feasible EE measure applicable in Florida
Residential | HVAC | Variable Refrigerant Flow (VRF) HVAC Systems | Technically feasible EE measure applicable in Florida
Commercial | Domestic Hot Water | Instantaneous Hot Water System | Technically feasible EE measure applicable in Florida
Commercial | Domestic Hot Water | Low-Flow Shwer Head | Technically feasible EE measure applicable in Florida
Commercial | Domestic Hot Water | Tank Wrap on Water Heater | Technically feasible EE measure applicable in Florida
Commercial | Domestic Hot Water | Thermostatic Shower Restriction Valve | Technically feasible EE measure applicable in Florida
Commercial | Exterior Lighting | Bi-Level Lighting Control (Exterior) | Technically feasible EE measure applicable in Florida
Commercial | Exterior Lighting | LED Display Lighting (Exterior) | Technically feasible EE measure applicable in Florida
Commercial | Exterior Lighting | LED Parking Lighting | Technically feasible EE measure applicable in Florida
Commercial | Exterior Lighting | LED Street Lights | Technically feasible EE measure applicable in Florida
Commercial | Exterior Lighting | LED Traffic and Crosswalk Lighting | Technically feasible EE measure applicable in Florida
Commercial | Interior Lighting | Bi-Level Lighting Control (Interior) | Technically feasible EE measure applicable in Florida
Commercial | Interior Lighting | LED Linear - Fixture Replacement | Technically feasible EE measure applicable in Florida
Commercial | Miscellaneous | Efficient Battery Charger | Technically feasible EE measure applicable in Florida
Commercial | Miscellaneous | Efficient Motor Belts | Technically feasible EE measure applicable in Florida
Commercial | Miscellaneous | ENERGY STAR Commercial Clothes Washer | Technically feasible EE measure applicable in Florida
Commercial | Miscellaneous | ENERGY STAR Water Cooler | Technically feasible EE measure applicable in Florida
Commercial | Miscellaneous | Engine Block Timer | Technically feasible EE measure applicable in Florida
Commercial | Miscellaneous | Regenerative Drive Elevator Motor | Technically feasible EE measure applicable in Florida
Commercial | Miscellaneous | Solar Pool Heater | Technically feasible EE measure applicable in Florida
Commercial | Miscellaneous | Heat Pump Pool Heater | Technically feasible EE measure applicable in Florida
Commercial | Miscellaneous | Two Speed Pool Pump | Technically feasible EE measure applicable in Florida
Commercial | Miscellaneous | Variable Speed Pool Pump | Technically feasible EE measure applicable in Florida
Commercial | Miscellaneous | Solar Powered Pool Pump | Technically feasible EE measure applicable in Florida
Commercial | Multiple | Retro-Commissioning | Technically feasible EE measure applicable in Florida
Commercial | Office Equipment | Energy Star Uninterruptable Power Supply | Technically feasible EE measure applicable in Florida
Commercial | Office Equipment | Network PC Power Management | Technically feasible EE measure applicable in Florida
Commercial | Office Equipment | Smart Strip Plug Outlet | Technically feasible EE measure applicable in Florida
Commercial | Refrigeration | Energy Star Commercial Glass Door Freezer | Technically feasible EE measure applicable in Florida
Commercial | Refrigeration | Energy Star Commercial Glass Door Refrigerator | Technically feasible EE measure applicable in Florida
Commercial | Refrigeration | Energy Star Commercial Solid Door Freezer | Technically feasible EE measure applicable in Florida
Commercial | Refrigeration | Energy Star Commercial Solid Door Refrigerator | Technically feasible EE measure applicable in Florida
Commercial | Appliances | Energy Star Refrigerator | Technically feasible EE measure applicable in Florida
Commercial | Refrigeration | PSC to ECM Evaporator Fan Motor (Reach-In) | Technically feasible EE measure applicable in Florida
Commercial | Refrigeration | Refrigerated Display Case LED Lighting | Technically feasible EE measure applicable in Florida
Commercial | Refrigeration | Refrigerated Display Case Lighting Controls | Technically feasible EE measure applicable in Florida
Commercial | HVAC | Chilled Water Controls Optimization | Technically feasible EE measure applicable in Florida
Commercial | HVAC | Air Curtains | Technically feasible EE measure applicable in Florida
Commercial | HVAC | Airside Economizer | Technically feasible EE measure applicable in Florida
Commercial | HVAC | Dedicated Outdoor Air System on VRF unit | Technically feasible EE measure applicable in Florida
Commercial | HVAC | Destratification Fans | Technically feasible EE measure applicable in Florida
Commercial | Multiple | Facility Commissioning | Technically feasible EE measure applicable in Florida
Commercial | HVAC | Floor Insulation | Technically feasible EE measure applicable in Florida
Commercial | HVAC | Green Roof | Technically feasible EE measure applicable in Florida
Commercial | Office Equipment | High Efficiency Data Center Cooling | Technically feasible EE measure applicable in Florida
Commercial | HVAC | Infiltration Reduction - Air Sealing | Technically feasible EE measure applicable in Florida
Commercial | HVAC | Low U-Value Windows | Technically feasible EE measure applicable in Florida
Commercial | HVAC | Programmable Thermostat | Technically feasible EE measure applicable in Florida
Commercial | HVAC | Smart Thermostat | Technically feasible EE measure applicable in Florida
Commercial | HVAC | Variable Refrigerant Flow (VRF) HVAC Systems | Technically feasible EE measure applicable in Florida
Commercial | HVAC | Wall Insulation | Technically feasible EE measure applicable in Florida
Commercial | HVAC | Warehouse Loading Dock Seals | Technically feasible EE measure applicable in Florida
Commercial | HVAC | Water Cooled Refrigeration Heat Recovery | Technically feasible EE measure applicable in Florida
Commercial | HVAC | Waterside Economizer | Technically feasible EE measure applicable in Florida
Commercial | Ventilation and Circulation | 10 HP Open Drip Proof (ODP) Motor | Technically feasible EE measure applicable in Florida
Commercial | Ventilation and Circulation | CO Sensors for Parking Garage Exhaust | Technically feasible EE measure applicable in Florida
Commercial | Ventilation and Circulation | Vav System | Technically feasible EE measure applicable in Florida
Industrial | Industrial Lighting | Lighting Controls Interior | Technically feasible EE measure applicable in Florida
Industrial | Exterior Lighting | Efficient Lighting-Exterior | Technically feasible EE measure applicable in Florida
Industrial | Process Cooling | Process Refrigeration System Optimization | Technically feasible EE measure applicable in Florida
Industrial | Process Cooling | Process refrigeration Equipment Upgrade | Technically feasible EE measure applicable in Florida
Residential | Direct Load Control | Smart Thermostats - Utility Installation | Technically feasible DR measure applicable in Florida
Residential | Direct Load Control | Smart Thermostats - BYOT | Technically feasible DR measure applicable in Florida
Residential | Direct Load Control | Room AC Control | Technically feasible DR measure applicable in Florida
Commercial | Direct Load Control | Central Heating 50% Cycling | Technically feasible DR measure applicable in Florida
Commercial | Direct Load Control | Smart Thermostats - Utility Installation | Technically feasible DR measure applicable in Florida
Commercial | Direct Load Control | Smart Thermostats - BYOT | Technically feasible DR measure applicable in Florida
Industrial | Pricing | CPP + Tech | Technically feasible DR measure applicable in Florida
Industrial | Utility-Controlled Loads | Auto DR | Technically feasible DR measure applicable in Florida
Industrial | Contractual | Guaranteed Load Drop | Technically feasible DR measure applicable in Florida
Residential | Storage | Battery Storage from PV System | Technically feasible DSRE measure applicable in Florida
Commercial/Industrial | Storage | Battery Storage from PV System | Technically feasible DSRE measure applicable in Florida
Commercial/Industrial | CHP | CHP – Fuel Cell | Technically feasible DSRE measure applicable in Florida
Commercial/Industrial | CHP | CHP – Micro Turbine | Technically feasible DSRE measure applicable in Florida
Commercial/Industrial | CHP | CHP – Gas Turbine | Technically feasible DSRE measure applicable in Florida
Commercial/Industrial | CHP | CHP – Reciprocating Engine | Technically feasible DSRE measure applicable in Florida
Commercial/Industrial | CHP | CHP - Steam Turbine | Technically feasible DSRE measure applicable in Florida