## RIM AP Avoided Items
Passing Measures Savings & Costs
Achievable Potential - RIM – $ Nominal and $ NPV
Customer | Measure | Avoided |  | Avoided |  | Avoided |  | Avoided |  | Admin |  | Incentives |  | Lost |  | Utility |  | Customer
Class | Name | Generation |  | T&D |  | O&M |  | Fuel |  | Costs |  |  |  | Revenues |  | Equipment |  | Equipment
|  | Nominal (000's) | NPV (000's) | Nominal (000's) | NPV (000's) | Nominal (000's) | NPV (000's) | Nominal (000's) | NPV (000's) | Nominal (000's) | NPV (000's) | Nominal (000's) | NPV (000's) | Nominal (000's) | NPV (000's) | Nominal (000's) | NPV (000's) | Nominal (000's) | NPV (000's)
Residential | Central air conditioner - 50% cycling | 2722.3775 | 1533.3888 | 536.5721 | 324.9801 | 661.3417 | 400.548 | 0 | 0 | 1293.5545 | 1208.604 | 1441.9662 | 882.0598 | 0 | 0 | 244.2284 | 145.6858 | 0 | 0
Residential | Central air conditioner - Load Shed | 4470.885 | 2518.2421 | 881.1396 | 533.6707 | 1085.9927 | 657.7419 | 0 | 0 | 1293.5545 | 1208.604 | 3789.3162 | 2317.9487 | 0 | 0 | 244.2284 | 145.6858 | 0 | 0
Residential | Central Heating - Load Shed | 1432.736 | 806.9934 | 877.3383 | 531.3684 | 1176.9069 | 712.805 | 0 | 0 | 1293.5545 | 1208.604 | 1104.804 | 675.8156 | 0 | 0 | 244.2284 | 145.6858 | 0 | 0
Residential | CPP + Tech | 4326.8807 | 2437.1312 | 774.9016 | 469.3266 | 942.5513 | 570.8653 | 0 | 0 | 1677.6265 | 1567.4531 | 0 | 0 | 0 | 0 | 732.6851 | 437.0575 | 0 | 0
Residential | Pool pump switches | 2623.6033 | 1477.7536 | 465.5922 | 281.9904 | 565.6077 | 342.5657 | 0 | 0 | 1293.5545 | 1208.604 | 1186.8243 | 725.9879 | 0 | 0 | 244.2284 | 145.6858 | 0 | 0
Residential | Smart thermostats - BYOT | 2492.3873 | 1403.846 | 454.4195 | 275.2235 | 554.1748 | 335.6413 | 0 | 0 | 660.6038 | 617.2206 | 2013.0251 | 1231.3802 | 0 | 0 | 244.2284 | 145.6858 | 764.3127 | 714.1505
Residential | Smart thermostats - Utility Installation | 3023.3937 | 1702.937 | 552.7977 | 334.8072 | 674.4365 | 408.4789 | 0 | 0 | 1551.6509 | 1449.7506 | 1350.2266 | 825.9422 | 0 | 0 | 244.2284 | 145.6858 | 0 | 0
Commercial | Auto DR | 1921250.3656 | 866623.7388 | 252832.9957 | 120781.3431 | 449572.224 | 197784.6073 | 0 | 0 | 5714.9914 | 5339.6755 | 2472453.0884 | 1151385.558 | 0 | 0 | 37962.2816 | 16423.9429 | 0 | 0
Commercial | Central air conditioner - 50% cycling | 6057.7042 | 3412.0246 | 1196.3838 | 724.6013 | 1474.9846 | 893.3386 | 0 | 0 | 2519.5123 | 2354.0505 | 3573.5405 | 2185.9573 | 0 | 0 | 732.6851 | 437.0575 | 0 | 0
Commercial | Central air conditioner - Load Shed | 9800.0738 | 5519.9278 | 1935.6005 | 1172.315 | 2386.4137 | 1445.3544 | 0 | 0 | 2519.5123 | 2354.0505 | 8601.3602 | 5261.5064 | 0 | 0 | 732.6851 | 437.0575 | 0 | 0
Commercial | Central Heating - 50% cycling | 1949.0274 | 1097.797 | 1196.4695 | 724.6532 | 1605.1476 | 972.1731 | 0 | 0 | 2519.5123 | 2354.0505 | 0 | 0 | 0 | 0 | 732.6851 | 437.0575 | 0 | 0
Commercial | Central Heating - Load Shed | 2842.5051 | 1601.0513 | 1745.1957 | 1056.9945 | 2341.3431 | 1418.057 | 0 | 0 | 2519.5123 | 2354.0505 | 2033.4727 | 1243.8881 | 0 | 0 | 732.6851 | 437.0575 | 0 | 0
Commercial | CPP | 1921250.3656 | 866623.7388 | 252832.9957 | 120781.3431 | 449572.224 | 197784.6073 | 0 | 0 | 4157.1953 | 3884.1833 | 2509357.0432 | 1168571.1948 | 0 | 0 | 1448.942 | 626.868 | 0 | 0
Commercial | CPP + Tech | 6943.7017 | 3911.0657 | 1244.1332 | 753.5213 | 1513.5053 | 916.6691 | 0 | 0 | 4157.1953 | 3884.1833 | 1969.2386 | 1204.5957 | 0 | 0 | 732.6851 | 437.0575 | 0 | 0
Commercial | Firm Service Level | 1921250.3656 | 866623.7388 | 252832.9957 | 120781.3431 | 449572.224 | 197784.6073 | 0 | 0 | 5714.9914 | 5339.6755 | 2472453.0884 | 1151385.558 | 0 | 0 | 37962.2816 | 16423.9429 | 0 | 0
Commercial | Guaranteed Load Drop | 1921250.3656 | 866623.7388 | 252832.9957 | 120781.3431 | 449572.224 | 197784.6073 | 0 | 0 | 5714.9914 | 5339.6755 | 2472453.0884 | 1151385.558 | 0 | 0 | 37962.2816 | 16423.9429 | 0 | 0
Commercial | Smart thermostats - BYOT | 5362.235 | 3020.2989 | 990.6665 | 600.0067 | 1210.4211 | 733.1032 | 0 | 0 | 1754.4409 | 1639.223 | 3651.4118 | 2233.5917 | 0 | 0 | 732.6851 | 437.0575 | 764.3127 | 714.1505
Commercial | Smart thermostats - Utility Installation | 5362.235 | 3020.2989 | 990.6665 | 600.0067 | 1210.4211 | 733.1032 | 0 | 0 | 2519.5123 | 2354.0505 | 2485.9851 | 1520.6928 | 0 | 0 | 732.6851 | 437.0575 | 0 | 0
Residential | Ceiling Insulation | 12320.0686 | 5102.8489 | 661.0393 | 315.7864 | 1217.4544 | 535.6064 | 8496.0876 | 3377.9052 | 153.6288 | 143.5397 | 1528.9262 | 1430.0635 | 16077.0426 | 6945.1658 | 0 | 0 | 2752.6308 | 2571.9741
Residential | Duct Repair | 2786.6418 | 1421.9853 | 227.4744 | 125.0226 | 284.3684 | 156.2922 | 1724.3329 | 880.2307 | 92.1773 | 86.1238 | 384.6251 | 359.7547 | 3580.4436 | 1930.8116 | 0 | 0 | 844.1205 | 788.7204
Residential | ENERGY STAR Certified Home | 33485.5969 | 13887.9164 | 1515.3358 | 723.894 | 2721.5874 | 1197.334 | 22745.8267 | 9043.3679 | 76.8144 | 71.7698 | 4292.9654 | 4015.3755 | 43041.6498 | 18593.6805 | 0 | 0 | 15308.5085 | 14303.8027
Residential | Energy Star Windows | 3047.8894 | 1244.2071 | 125.7535 | 60.0739 | 235.8576 | 103.7631 | 2442.1016 | 970.9395 | 168.9917 | 157.8936 | 0 | 0 | 4621.1589 | 1996.3071 | 0 | 0 | 1105.0304 | 1032.5067
Residential | Programmable Thermostat | 310.092 | 202.4942 | 38.9788 | 26.9152 | 48.0247 | 33.1614 | 125.898 | 84.0148 | 92.1773 | 86.1238 | 37.8337 | 35.3874 | 302.5167 | 205.9049 | 0 | 0 | 101.2945 | 94.6464
Residential | Smart Thermostat | 720.4705 | 470.4831 | 90.5869 | 62.551 | 111.6633 | 77.1044 | 292.7808 | 195.3797 | 92.1773 | 86.1238 | 209.822 | 196.2546 | 703.5148 | 478.8401 | 0 | 0 | 405.2085 | 378.6145
Residential | Two Speed Pool Pump | 1894.5969 | 1289.2752 | 194.0238 | 138.4798 | 239.1336 | 170.6759 | 1003.1157 | 696.5427 | 92.1773 | 86.1238 | 336.6054 | 314.84 | 2477.6497 | 1745.0858 | 0 | 0 | 1101.9916 | 1029.6673
Residential | Variable Speed Pool Pump | 5726.4769 | 3896.8751 | 586.4459 | 418.5617 | 722.8029 | 515.8832 | 3032.0067 | 2105.3624 | 92.1773 | 86.1238 | 1203.5007 | 1125.6805 | 7488.9176 | 5274.6776 | 0 | 0 | 3330.4697 | 3111.8891
Commercial | ECM Motors on Furnaces | 2120.1165 | 1213.9421 | 26.9941 | 16.3493 | 36.2063 | 21.9287 | 2076.0661 | 1189.1305 | 384.072 | 358.8492 | 149.0196 | 139.3837 | 2868.3895 | 1689.7945 | 0 | 0 | 880.9548 | 823.1373
Commercial | Solar Pool Heater | 18726.9132 | 10723.832 | 166.4155 | 100.7912 | 223.2724 | 135.2271 | 18455.9609 | 10571.2171 | 122.903 | 114.8317 | 4993.4259 | 4670.5432 | 24633.8183 | 14497.9943 | 0 | 0 | 10672.7523 | 9972.2937
Commercial | Solar Water Heater | 417878.2868 | 238921.3839 | 8713.3502 | 5277.3243 | 10706.4242 | 6484.4488 | 372616.0918 | 213427.2844 | 122.903 | 114.8317 | 107468.0647 | 100519.0122 | 538780.4592 | 317788.2724 | 0 | 0 | 274183.8362 | 256189
Commercial | Variable Speed Pool Pump | 4320.9177 | 2963.8895 | 262.0134 | 187.0058 | 321.8009 | 229.6776 | 3084.5375 | 2141.8387 | 122.903 | 114.8317 | 389.0094 | 363.8554 | 6549.217 | 4608.3716 | 0 | 0 | 3330.4697 | 3111.8891
Commercial | VSD Controlled Compressor | 30139.2154 | 17204.4325 | 1095.4416 | 663.4647 | 1331.0192 | 806.1446 | 23974.9394 | 13732.3812 | 384.072 | 358.8492 | 6212.6328 | 5810.9143 | 39309.2409 | 23257.5343 | 0 | 0 | 12235.1426 | 11432.1434
Commercial | Water Cooled Refrigeration Heat Recovery | 104227.4163 | 49543.3817 | 1515.0415 | 780.9364 | 2032.5431 | 1047.6855 | 101626.7598 | 48302.4101 | 691.3296 | 645.9285 | 22311.7041 | 20868.9946 | 135420.9054 | 67355.0815 | 0 | 0 | 59774.3502 | 55851.3267
Commercial | Chilled Water System - Variable Speed Drives | 16040.8437 | 9873.5458 | 519.9771 | 336.187 | 626.5337 | 405.0803 | 13040.8697 | 8067.9137 | 384.072 | 358.8492 | 2487.93 | 2327.0566 | 21105.6071 | 13355.9506 | 0 | 0 | 5825.966 | 5443.6047
Commercial | CO Sensors for Parking Garage Exhaust | 9790.6196 | 5601.0362 | 120.7703 | 73.1457 | 145.5166 | 88.1335 | 9072.5278 | 5196.5683 | 384.072 | 358.8492 | 319.71 | 299.0371 | 12205.4181 | 7184.9886 | 0 | 0 | 1863.2041 | 1740.921
Commercial | Dedicated Outdoor Air System on VRF unit | 4592.0503 | 2613.8202 | 289.8372 | 175.5427 | 349.2397 | 211.5204 | 2868.7962 | 1643.1909 | 384.072 | 358.8492 | 334.4321 | 312.8072 | 6067.792 | 3608.6494 | 0 | 0 | 3071.3093 | 2869.7376
Commercial | Efficient Exhaust Hood | 20229.6804 | 11534.4446 | 1020.4534 | 618.0474 | 1246.4819 | 754.9437 | 14695.4026 | 8417.2421 | 122.903 | 114.8317 | 2811.33 | 2629.545 | 27379.3993 | 16243.9803 | 0 | 0 | 6102.2237 | 5701.7314
Commercial | ENERGY STAR certified buildings program | 4257278.135 | 1768923.2963 | 212374.0715 | 101453.6316 | 384204.7774 | 169026.8815 | 2830834.4872 | 1125493.3882 | 76.8144 | 71.7698 | 356448.6526 | 333400.1273 | 5911470.984 | 2564158.8826 | 0 | 0 | 1319262.63 | 1232678.6971
Commercial | Energy Star Commercial Glass Door Refrigerator | 1478.3134 | 944.1275 | 57.612 | 38.4919 | 70.1484 | 46.8679 | 1173.6658 | 754.5937 | 122.903 | 114.8317 | 164.49 | 153.8538 | 2033.3204 | 1333.1858 | 0 | 0 | 503.4028 | 470.3642
Commercial | Energy Star Hot Food Holding Cabinet | 2938.8749 | 1874.1525 | 141.1831 | 94.3278 | 172.1356 | 115.0079 | 2200.2657 | 1414.6331 | 122.903 | 114.8317 | 410.243 | 383.716 | 4121.4926 | 2705.0829 | 0 | 0 | 2489.388 | 2326.0081
Commercial | Energy Star Commercial Oven | 10505.886 | 6704.5639 | 456.1233 | 304.7469 | 555.4394 | 371.1024 | 8098.5446 | 5206.8573 | 122.903 | 114.8317 | 1237.5 | 1157.4813 | 14570.0389 | 9557.9149 | 0 | 0 | 3655.809 | 3415.8763
Commercial | ENERGY STAR Water Cooler | 719.2568 | 493.6427 | 36.486 | 26.041 | 43.9621 | 31.3769 | 522.803 | 363.0235 | 122.903 | 114.8317 | 11.7309 | 10.9723 | 1016.3282 | 714.6999 | 0 | 0 | 260.91 | 243.7863
Commercial | Facility Commissioning | 20730.8028 | 14232.8622 | 1177.653 | 840.5215 | 1448.4606 | 1033.8039 | 15232.2154 | 10576.9336 | 691.3296 | 645.9285 | 2008.8249 | 1878.9311 | 31290.9669 | 22013.0078 | 0 | 0 | 17432.0394 | 16287.965
Commercial | Facility Energy Management System | 578595.1567 | 330074.5948 | 25902.0577 | 15687.8302 | 31655.2518 | 19172.3076 | 438622.3602 | 251234.3973 | 691.3296 | 645.9285 | 92586.39 | 86599.6098 | 775921.4981 | 459852.485 | 0 | 0 | 186322.5283 | 174094.0781
Commercial | Floating Head Pressure Controls | 5787.396 | 3303.5715 | 211.8583 | 128.314 | 257.4729 | 155.9409 | 4597.3938 | 2633.2982 | 384.072 | 358.8492 | 14.88 | 13.9178 | 7555.5164 | 4470.5046 | 0 | 0 | 942.3454 | 880.4988
Commercial | Heat Pump Pool Heater | 17395.5151 | 9961.439 | 152.9474 | 92.6341 | 205.1692 | 124.2627 | 17146.1727 | 9820.9958 | 122.903 | 114.8317 | 54.72 | 51.1817 | 22865.771 | 13457.0951 | 0 | 0 | 2783.9093 | 2601.1998
Commercial | Heat Pump Water Heater | 6489.2058 | 4458.9907 | 310.5022 | 221.6135 | 376.8916 | 268.9973 | 4896.3864 | 3399.9489 | 537.7008 | 502.3888 | 659.6684 | 617.0132 | 9302.0843 | 6540.2754 | 0 | 0 | 3087.9462 | 2885.2826
Commercial | High Efficiency Chiller (Air Cooled, 50 tons) | 71555.1385 | 34056.6102 | 4010.6155 | 2067.2938 | 4838.0275 | 2493.7878 | 46605.0497 | 22151.0184 | 691.3296 | 645.9285 | 11094.4466 | 10377.0624 | 88486.4973 | 44636.3863 | 0 | 0 | 20872.7972 | 19502.904
Commercial | High Efficiency DX 135k- less than 240k BTU | 11899.6413 | 6771.2409 | 925.4957 | 560.5354 | 1141.0258 | 691.0732 | 7213.6181 | 4131.8208 | 122.903 | 114.8317 | 702.8086 | 657.3639 | 17552.1272 | 10462.8977 | 0 | 0 | 10220.3345 | 9549.5683
Commercial | High Efficiency PTAC | 2415.8501 | 1375.0453 | 180.5534 | 109.3539 | 222.6392 | 134.8436 | 1501.9498 | 860.2877 | 122.903 | 114.8317 | 17.97 | 16.808 | 3540.794 | 2109.637 | 0 | 0 | 386.7607 | 361.3773
Commercial | High Efficiency PTHP | 2368.7697 | 1349.4217 | 144.2409 | 87.3609 | 176.4837 | 106.889 | 1595.8262 | 914.0583 | 122.903 | 114.8317 | 11.13 | 10.4103 | 3285.1999 | 1952.8277 | 0 | 0 | 386.7607 | 361.3773
Commercial | High Efficiency Chiller (Water cooled-positive displacement, 100 tons) | 34514.8491 | 16428.8575 | 2389.4811 | 1231.6711 | 2942.8545 | 1516.9105 | 21660.5354 | 10295.0843 | 691.3296 | 645.9285 | 2863.5758 | 2678.4125 | 46917.4058 | 23763.4963 | 0 | 0 | 15961.5508 | 14913.9854
Commercial | Hot Water Pipe Insulation | 15885.9024 | 9778.8432 | 543.5921 | 351.4551 | 661.704 | 427.8194 | 12954.7002 | 8014.6037 | 122.903 | 114.8317 | 364.83 | 341.2395 | 21353.996 | 13517.4634 | 0 | 0 | 3655.103 | 3415.2166
Commercial | LED Street Lights | 4173.6735 | 2130.5605 | 0 | 0 | 0 | 0 | 4173.6735 | 2130.5605 | 537.7008 | 502.3888 | 255.36 | 238.848 | 4919.9494 | 2601.9789 | 0 | 0 | 732.2975 | 684.2364
Commercial | Programmable Thermostat | 37291.6014 | 24741.0602 | 1228.6504 | 848.3928 | 1507.7055 | 1041.0826 | 31292.7374 | 20882.4025 | 384.072 | 358.8492 | 8031.5783 | 7512.2439 | 52135.6362 | 35360.6471 | 0 | 0 | 31691.0759 | 29611.1731
Commercial | Smart Thermostat | 96272.842 | 64155.6779 | 1280.4873 | 884.1866 | 1657.5233 | 1144.533 | 92557.037 | 61765.5553 | 384.072 | 358.8492 | 25997.2247 | 24316.2037 | 134014.5749 | 90738.1833 | 0 | 0 | 63919.8719 | 59724.7755
Commercial | Variable Refrigerant Flow (VRF) HVAC Systems | 16202.0145 | 9222.2621 | 1029.4339 | 623.4866 | 1241.6837 | 752.0377 | 10120.5078 | 5796.8309 | 122.903 | 114.8317 | 2370.9604 | 2217.6504 | 21494.1761 | 12783.993 | 0 | 0 | 10114.0981 | 9450.3042
Commercial | High Efficiency Chiller (Water cooled-centrifugal, 200 tons) | 91883.8458 | 43736.1935 | 6366.1803 | 3281.4826 | 7840.5999 | 4041.4802 | 57641.3886 | 27396.5045 | 691.3296 | 645.9285 | 8724.9987 | 8160.8267 | 124923.9632 | 63274.5691 | 0 | 0 | 29262.8329 | 27342.2971
Industrial | Building Envelope Improvements | 68579.0541 | 27907.2918 | 1528.0074 | 729.9474 | 2703.6749 | 1189.4535 | 56588.2141 | 22498.5463 | 645.241 | 602.8666 | 853.89 | 798.6761 | 84972.131 | 36264.32 | 0 | 0 | 7499.7188 | 7007.5081
Industrial | Compressed Air Controls | 250917.6533 | 154338.332 | 9282.4283 | 6001.4791 | 11191.5714 | 7235.8202 | 197564.4646 | 122225.977 | 384.072 | 358.8492 | 31166.07 | 29150.8233 | 346847.1812 | 219792.6933 | 0 | 0 | 85909.3637 | 80271.0849
Industrial | Compressed Air Equipment | 422724.0432 | 241287.2379 | 14900.6263 | 9024.7076 | 17965.1534 | 10880.7678 | 334457.2697 | 191570.6498 | 384.072 | 358.8492 | 14529.48 | 13589.9812 | 564986.2043 | 334503.8459 | 0 | 0 | 87380.3127 | 81645.4947
Industrial | Efficient Lighting - Exterior | 12904.0902 | 7680.0175 | 0 | 0 | 0 | 0 | 12904.0902 | 7680.0175 | 537.7008 | 502.3888 | 562.35 | 525.9876 | 16067.7768 | 9771.1963 | 0 | 0 | 2781.8834 | 2599.3069
Industrial | Efficient Lighting - High Bay | 150712.239 | 89265.8622 | 5687.6854 | 3558.9576 | 6857.5881 | 4291.0013 | 117477.3907 | 69918.0187 | 537.7008 | 502.3888 | 18376.8 | 17188.5275 | 205372.4862 | 125844.3552 | 0 | 0 | 47786.5503 | 44650.2926
Industrial | Efficient Lighting - Other Interior Lighting | 145560.0946 | 86214.2912 | 5493.8696 | 3437.6811 | 6624.0588 | 4144.8749 | 113462.1695 | 67528.3137 | 537.7008 | 502.3888 | 26498.34 | 24784.916 | 198362.8817 | 121549.2513 | 0 | 0 | 85176.4523 | 79586.2748
Industrial | Fan Equipment Upgrades | 17573.939 | 10030.9951 | 620.7387 | 375.9564 | 748.4552 | 453.3091 | 13898.373 | 7960.719 | 384.072 | 358.8492 | 2083.71 | 1948.9741 | 23495.2115 | 13910.7243 | 0 | 0 | 5146.6486 | 4808.8712
Industrial | HVAC Equipment Upgrades | 110785.9452 | 56541.8907 | 3831.5625 | 2105.8708 | 4619.2932 | 2538.8166 | 87305.2768 | 44567.2566 | 384.072 | 358.8492 | 10929.18 | 10222.4822 | 141911.562 | 75985.0254 | 0 | 0 | 25398.9405 | 23731.994
Industrial | HVAC Improved Controls | 60190.2622 | 34350.5894 | 2218.4538 | 1343.6279 | 2674.6395 | 1619.9211 | 47045.6922 | 26946.8618 | 384.072 | 358.8492 | 393.9 | 368.4298 | 80736.8844 | 47817.5484 | 0 | 0 | 10779.8789 | 10072.3895
Industrial | HVAC Recommissioning | 220705.1828 | 151783.6976 | 9284.881 | 6626.8603 | 11194.0023 | 7989.4497 | 170885.4309 | 118659.2894 | 76.8144 | 71.7698 | 36014.0711 | 33685.3452 | 323425.9603 | 227393.6682 | 0 | 0 | 127619.5665 | 119243.824
Industrial | Lighting Controls | 18655.6625 | 12829.6782 | 786.6123 | 561.4256 | 948.4263 | 676.9164 | 14437.001 | 10024.7533 | 384.072 | 358.8492 | 610.53 | 571.0522 | 27349.0891 | 19228.6739 | 0 | 0 | 6702.7156 | 6262.8127
Industrial | Lighting Controls - Exterior | 2170.4678 | 1507.1277 | 0 | 0 | 0 | 0 | 2170.4678 | 1507.1277 | 384.072 | 358.8492 | 344.31 | 322.0464 | 2869.1869 | 2010.7113 | 0 | 0 | 985.3802 | 920.7092
Industrial | Motor Equipment Upgrades | 12506.3803 | 8604.5748 | 502.7641 | 358.8357 | 606.0993 | 432.5888 | 9807.6882 | 6810.2547 | 384.072 | 358.8492 | 1761.6426 | 1647.732 | 18245.0953 | 12826.0461 | 0 | 0 | 5894.2938 | 5507.448
Industrial | Motor Optimization | 1033848.2854 | 711296.5271 | 41629.0212 | 29711.7118 | 50190.7323 | 35822.427 | 810542.2617 | 562823.6903 | 384.072 | 358.8492 | 176733.2326 | 165305.3864 | 1508803.3801 | 1060672.7986 | 0 | 0 | 797928.5144 | 745560.0266
Industrial | Process Heat Equipment Upgrade | 143481.3186 | 98700.1308 | 5878.9052 | 4195.9271 | 7087.7818 | 5058.7337 | 111939.0382 | 77728.1402 | 384.072 | 358.8492 | 23749.3779 | 22213.7061 | 209728.8522 | 147444.4598 | 0 | 0 | 83787.8281 | 78288.7868
Industrial | Process Heat Improved Controls | 7854.2199 | 4482.7381 | 283.4162 | 171.6538 | 341.6456 | 206.9209 | 6174.0184 | 3536.3582 | 384.072 | 358.8492 | 1121.036 | 1048.5481 | 10514.7792 | 6226.4735 | 0 | 0 | 6376.2098 | 5957.7356
Industrial | Process Other Systems Optimization | 26031.8802 | 21541.8596 | 1329.9446 | 1121.8942 | 1603.3975 | 1352.5695 | 21476.5377 | 17955.9417 | 384.072 | 358.8492 | 1898.5103 | 1775.7496 | 43485.2205 | 36413.5927 | 0 | 0 | 34904.1054 | 32613.3297
Industrial | Process Refrig Controls | 14628.0309 | 8349.0349 | 524.5513 | 317.6995 | 632.3603 | 382.9951 | 11519.1261 | 6597.9324 | 384.072 | 358.8492 | 2429.6828 | 2272.5758 | 19574.8593 | 11590.9619 | 0 | 0 | 6175.5854 | 5770.2783
Industrial | Process Refrig Equipment Upgrade | 19403.8471 | 13347.9199 | 794.1616 | 566.8137 | 957.4111 | 683.3291 | 15141.7108 | 10514.0891 | 384.072 | 358.8492 | 1715.97 | 1605.0127 | 28357.183 | 19935.7203 | 0 | 0 | 8060.4604 | 7531.4479
Industrial | Pump Equipment Upgrade | 26030.2727 | 14857.9268 | 916.2436 | 554.9317 | 1104.6524 | 669.0434 | 20602.5299 | 11800.7303 | 384.072 | 358.8492 | 3369.21 | 3151.3516 | 34785.9477 | 20595.0252 | 0 | 0 | 7911.7724 | 7392.5184
Industrial | Pump System Optimization | 57217.5943 | 39366.0006 | 2305.3531 | 1645.3903 | 2779.5282 | 1983.8213 | 44852.1976 | 31144.4332 | 384.072 | 358.8492 | 9413.5426 | 8804.8483 | 83510.6799 | 58707.2283 | 0 | 0 | 35385.6838 | 33063.3019

## TRC AP Avoided items
Passing Measures Savings & Costs
Achievable Potential - TRC – $ Nominal and $ NPV
Customer | Measure | Avoided |  | Avoided |  | Avoided |  | Avoided |  | Admin |  | Incentives |  | Lost |  | Utility |  | Customer
Class | Name | Generation |  | T&D |  | O&M |  | Fuel |  | Costs |  |  |  | Revenues |  | Equipment |  | Equipment
|  | Nominal (000's) | NPV (000's) | Nominal (000's) | NPV (000's) | Nominal (000's) | NPV (000's) | Nominal (000's) | NPV (000's) | Nominal (000's) | NPV (000's) | Nominal (000's) | NPV (000's) | Nominal (000's) | NPV (000's) | Nominal (000's) | NPV (000's) | Nominal (000's) | NPV (000's)
Residential | Central air conditioner - 50% cycling | 3209.3125 | 1807.6565 | 632.5744 | 383.1248 | 779.6871 | 472.225 | 0 | 0 | 1293.5545 | 1208.604 | 1701 | 1040.5125 | 0 | 0 | 244.2284 | 145.6858 | 0 | 0
Residential | Central air conditioner - Load Shed | 5473.6914 | 3083.0762 | 1078.8119 | 653.3928 | 1329.645 | 805.3122 | 0 | 0 | 1293.5545 | 1208.604 | 3402 | 2081.0249 | 0 | 0 | 244.2284 | 145.6858 | 0 | 0
Residential | CPP + Tech | 4886.9912 | 2752.615 | 874.8444 | 529.8579 | 1064.0905 | 644.4767 | 0 | 0 | 1677.6265 | 1567.4531 | 0 | 0 | 0 | 0 | 732.6851 | 437.0575 | 0 | 0
Residential | Smart thermostats - BYOT | 3023.3937 | 1702.937 | 552.7977 | 334.8072 | 674.4365 | 408.4789 | 0 | 0 | 660.6038 | 617.2206 | 5832 | 3567.4713 | 0 | 0 | 244.2284 | 145.6858 | 764.3127 | 714.1505
Residential | Smart thermostats - Utility Installation | 3525.296 | 1985.6353 | 649.6113 | 393.4433 | 793.4206 | 480.5428 | 0 | 0 | 1551.6509 | 1449.7506 | 5832 | 3567.4713 | 0 | 0 | 244.2284 | 145.6858 | 0 | 0
Commercial | Auto DR | 1921250.3656 | 866623.7388 | 252832.9957 | 120781.3431 | 449572.224 | 197784.6073 | 0 | 0 | 5714.9914 | 5339.6755 | 3363061.5 | 1566128.9834 | 0 | 0 | 37962.2816 | 16423.9429 | 0 | 0
Commercial | Central air conditioner - 50% cycling | 6057.7042 | 3412.0246 | 1196.3838 | 724.6013 | 1474.9846 | 893.3386 | 0 | 0 | 2519.5123 | 2354.0505 | 10732.5 | 6565.1381 | 0 | 0 | 732.6851 | 437.0575 | 0 | 0
Commercial | Central air conditioner - Load Shed | 9800.0738 | 5519.9278 | 1935.6005 | 1172.315 | 2386.4137 | 1445.3544 | 0 | 0 | 2519.5123 | 2354.0505 | 152928 | 93547.0247 | 0 | 0 | 732.6851 | 437.0575 | 0 | 0
Commercial | Central Heating - Load Shed | 3898.0548 | 2195.5939 | 2392.939 | 1449.3065 | 3210.2952 | 1944.3462 | 0 | 0 | 2519.5123 | 2354.0505 | 152928 | 93547.0247 | 0 | 0 | 732.6851 | 437.0575 | 0 | 0
Commercial | CPP | 1921250.3656 | 866623.7388 | 252832.9957 | 120781.3431 | 449572.224 | 197784.6073 | 0 | 0 | 4157.1953 | 3884.1833 | 3363061.5 | 1566128.9834 | 0 | 0 | 1448.942 | 626.868 | 0 | 0
Commercial | CPP + Tech | 6943.7017 | 3911.0657 | 1244.1332 | 753.5213 | 1513.5053 | 916.6691 | 0 | 0 | 4157.1953 | 3884.1833 | 5832 | 3567.4713 | 0 | 0 | 732.6851 | 437.0575 | 0 | 0
Commercial | Firm Service Level | 1921250.3656 | 866623.7388 | 252832.9957 | 120781.3431 | 449572.224 | 197784.6073 | 0 | 0 | 5714.9914 | 5339.6755 | 3363061.5 | 1566128.9834 | 0 | 0 | 37962.2816 | 16423.9429 | 0 | 0
Commercial | Guaranteed Load Drop | 1921250.3656 | 866623.7388 | 252832.9957 | 120781.3431 | 449572.224 | 197784.6073 | 0 | 0 | 5714.9914 | 5339.6755 | 3363061.5 | 1566128.9834 | 0 | 0 | 37962.2816 | 16423.9429 | 0 | 0
Commercial | Smart thermostats - BYOT | 5362.235 | 3020.2989 | 990.6665 | 600.0067 | 1210.4211 | 733.1032 | 0 | 0 | 1754.4409 | 1639.223 | 5832 | 3567.4713 | 0 | 0 | 732.6851 | 437.0575 | 764.3127 | 714.1505
Commercial | Smart thermostats - Utility Installation | 6657.7891 | 3750.0242 | 1228.719 | 744.1855 | 1501.0895 | 909.1493 | 0 | 0 | 2519.5123 | 2354.0505 | 5832 | 3567.4713 | 0 | 0 | 732.6851 | 437.0575 | 0 | 0
Residential | Ceiling Insulation | 12320.0686 | 5102.8489 | 661.0393 | 315.7864 | 1217.4544 | 535.6064 | 8496.0876 | 3377.9052 | 153.6288 | 143.5397 | 1684.92 | 1575.9704 | 16077.0426 | 6945.1658 | 0 | 0 | 2752.6308 | 2571.9741
Residential | Duct Repair | 2786.6418 | 1421.9853 | 227.4744 | 125.0226 | 284.3684 | 156.2922 | 1724.3329 | 880.2307 | 92.1773 | 86.1238 | 479.82 | 448.7941 | 3580.4436 | 1930.8116 | 0 | 0 | 844.1205 | 788.7204
Residential | ENERGY STAR Certified Home | 33485.5969 | 13887.9164 | 1515.3358 | 723.894 | 2721.5874 | 1197.334 | 22745.8267 | 9043.3679 | 76.8144 | 71.7698 | 12270.15 | 11476.743 | 43041.6498 | 18593.6805 | 0 | 0 | 15308.5085 | 14303.8027
Residential | Energy Star Windows | 3047.8894 | 1244.2071 | 125.7535 | 60.0739 | 235.8576 | 103.7631 | 2442.1016 | 970.9395 | 168.9917 | 157.8936 | 791.01 | 739.8621 | 4621.1589 | 1996.3071 | 0 | 0 | 1105.0304 | 1032.5067
Residential | Programmable Thermostat | 310.092 | 202.4942 | 38.9788 | 26.9152 | 48.0247 | 33.1614 | 125.898 | 84.0148 | 92.1773 | 86.1238 | 42.66 | 39.9015 | 302.5167 | 205.9049 | 0 | 0 | 101.2945 | 94.6464
Residential | Smart Thermostat | 720.4705 | 470.4831 | 90.5869 | 62.551 | 111.6633 | 77.1044 | 292.7808 | 195.3797 | 92.1773 | 86.1238 | 265.0096 | 247.8736 | 703.5148 | 478.8401 | 0 | 0 | 405.2085 | 378.6145
Residential | Solar Pool Heater | 18534.1641 | 10616.0104 | 0 | 0 | 0 | 0 | 18534.1641 | 10616.0104 | 92.1773 | 86.1238 | 5360.979 | 5014.3297 | 40932.8443 | 24363.7169 | 0 | 0 | 10672.7523 | 9972.2937
Residential | Two Speed Pool Pump | 1894.5969 | 1289.2752 | 194.0238 | 138.4798 | 239.1336 | 170.6759 | 1003.1157 | 696.5427 | 92.1773 | 86.1238 | 553.5138 | 517.7227 | 2477.6497 | 1745.0858 | 0 | 0 | 1101.9916 | 1029.6673
Residential | Variable Speed Pool Pump | 5726.4769 | 3896.8751 | 586.4459 | 418.5617 | 722.8029 | 515.8832 | 3032.0067 | 2105.3624 | 92.1773 | 86.1238 | 1672.6557 | 1564.4992 | 7488.9176 | 5274.6776 | 0 | 0 | 3330.4697 | 3111.8891
Commercial | Smart Thermostat | 124645.9988 | 82692.5086 | 4789.882 | 3307.4515 | 5985.942 | 4133.3403 | 104441.2779 | 69696.1974 | 384.072 | 358.8492 | 29850.75 | 27920.554 | 182895.6797 | 124116.5942 | 0 | 0 | 64088.0821 | 59881.946
Commercial | Variable Speed Pool Pump | 18726.9132 | 10723.832 | 166.4155 | 100.7912 | 223.2724 | 135.2271 | 18455.9609 | 10571.2171 | 122.903 | 114.8317 | 7561.2 | 7072.281 | 24633.8183 | 14497.9943 | 0 | 0 | 10672.7523 | 9972.2937
Commercial | Solar Water Heater | 843109.695 | 482047.2101 | 17574.5807 | 10644.2138 | 21594.6979 | 13079.0363 | 751820.8396 | 430628.4234 | 122.903 | 114.8317 | 380802.54 | 356179.2544 | 1087032.8213 | 641162.4975 | 0 | 0 | 519287.5686 | 485206.4395
Commercial | Solar Pool Heater | 4321.1564 | 2964.0552 | 262.0134 | 187.0058 | 321.8009 | 229.6776 | 3084.7762 | 2142.0045 | 122.903 | 114.8317 | 2017.83 | 1887.354 | 6549.5325 | 4608.5927 | 0 | 0 | 3330.4697 | 3111.8891
Commercial | VSD Controlled Compressor | 30089.848 | 17176.626 | 1080.4668 | 654.3951 | 1311.7386 | 794.4671 | 23974.9394 | 13732.3812 | 384.072 | 358.8492 | 7233.81 | 6766.0606 | 39150.2744 | 23161.3127 | 0 | 0 | 12235.1426 | 11432.1434
Commercial | Anti-Sweat Controls | 867.6884 | 643.4584 | 35.6224 | 27.1728 | 43.0842 | 32.8647 | 695.5311 | 521.0687 | 230.4432 | 215.3095 | 144.81 | 135.4464 | 1266.072 | 953.8642 | 0 | 0 | 524.8895 | 490.4407
Commercial | Chilled Water System - Variable Speed Drives | 16040.8437 | 9873.5458 | 519.9771 | 336.187 | 626.5337 | 405.0803 | 13040.8697 | 8067.9137 | 384.072 | 358.8492 | 2487.93 | 2327.0566 | 21105.6071 | 13355.9506 | 0 | 0 | 5825.966 | 5443.6047
Commercial | CO Sensors for Parking Garage Exhaust | 9790.6196 | 5601.0362 | 120.7703 | 73.1457 | 145.5166 | 88.1335 | 9072.5278 | 5196.5683 | 384.072 | 358.8492 | 319.71 | 299.0371 | 12205.4181 | 7184.9886 | 0 | 0 | 1863.2041 | 1740.921
Commercial | Demand Controlled Ventilation | 13564.175 | 9301.1964 | 1694.848 | 1209.6569 | 2221.9193 | 1585.8414 | 9580.8538 | 6652.7456 | 384.072 | 358.8492 | 548.19 | 512.7432 | 31788.3014 | 22421.8659 | 0 | 0 | 5627.4596 | 5258.1263
Commercial | ECM Motors on Furnaces | 2848.5264 | 1630.3931 | 76.4737 | 46.317 | 102.5846 | 62.1314 | 2723.8552 | 1560.1715 | 384.072 | 358.8492 | 402.54 | 376.5111 | 4247.0783 | 2509.8215 | 0 | 0 | 880.9548 | 823.1373
Commercial | Efficient Exhaust Hood | 20229.6804 | 11534.4446 | 1020.4534 | 618.0474 | 1246.4819 | 754.9437 | 14695.4026 | 8417.2421 | 122.903 | 114.8317 | 2811.33 | 2629.545 | 27379.3993 | 16243.9803 | 0 | 0 | 6102.2237 | 5701.7314
Commercial | ENERGY STAR certified buildings program | 1988531.742 | 823455.2266 | 81718.0367 | 39037.6826 | 145547.0516 | 64031.9061 | 1374433.3443 | 546452.1675 | 76.8144 | 71.7698 | 520989.66 | 487301.6568 | 2545507.4575 | 1098338.2323 | 0 | 0 | 691115.474 | 645757.1848
Commercial | Energy Star Commercial Glass Door Refrigerator | 1478.3134 | 944.1275 | 57.612 | 38.4919 | 70.1484 | 46.8679 | 1173.6658 | 754.5937 | 122.903 | 114.8317 | 169.62 | 158.6521 | 2033.3204 | 1333.1858 | 0 | 0 | 503.4028 | 470.3642
Commercial | Energy Star Commercial Oven | 10505.886 | 6704.5639 | 456.1233 | 304.7469 | 555.4394 | 371.1024 | 8098.5446 | 5206.8573 | 122.903 | 114.8317 | 1237.5 | 1157.4813 | 14570.0389 | 9557.9149 | 0 | 0 | 3655.809 | 3415.8763
Commercial | Energy Star Commercial Solid Door Refrigerator | 1370.0786 | 874.8607 | 53.629 | 35.8308 | 65.1231 | 43.5103 | 1080.8912 | 694.9454 | 122.903 | 114.8317 | 185.58 | 173.5801 | 1873.7133 | 1228.5463 | 0 | 0 | 503.4028 | 470.3642
Commercial | ENERGY STAR Water Cooler | 719.2568 | 493.6427 | 36.486 | 26.041 | 43.9621 | 31.3769 | 522.803 | 363.0235 | 122.903 | 114.8317 | 36.78 | 34.4017 | 1016.3282 | 714.6999 | 0 | 0 | 260.91 | 243.7863
Commercial | Facility Energy Management System | 471499.1581 | 268899.4702 | 23564.0187 | 14271.7745 | 28954.1197 | 17536.3409 | 349096.616 | 199955.784 | 691.3296 | 645.9285 | 76129.53 | 71206.876 | 647975.5063 | 384409.4881 | 0 | 0 | 150994.613 | 141084.7534
Commercial | Floating Head Pressure Controls | 5787.396 | 3303.5715 | 211.8583 | 128.314 | 257.4729 | 155.9409 | 4597.3938 | 2633.2982 | 384.072 | 358.8492 | 18.87 | 17.6498 | 7555.5164 | 4470.5046 | 0 | 0 | 942.3454 | 880.4988
Commercial | Heat Pump Pool Heater | 17395.5151 | 9961.439 | 152.9474 | 92.6341 | 205.1692 | 124.2627 | 17146.1727 | 9820.9958 | 122.903 | 114.8317 | 54.72 | 51.1817 | 22865.771 | 13457.0951 | 0 | 0 | 2783.9093 | 2601.1998
Commercial | High Bay LED | 2153.7535 | 1228.1584 | 96.5931 | 58.5025 | 116.4132 | 70.5068 | 1579.6123 | 904.7714 | 537.7008 | 502.3888 | 94.74 | 88.614 | 2788.3819 | 1652.4687 | 0 | 0 | 457.3598 | 427.343
Commercial | High Efficiency Chiller (Air Cooled, 50 tons) | 96031.0613 | 45705.8579 | 5383.047 | 2774.7211 | 6494.4866 | 3347.6188 | 62571.3981 | 29739.6998 | 645.241 | 602.8666 | 10103.82 | 9450.4913 | 118805.9163 | 59930.8851 | 0 | 0 | 20872.7972 | 19502.904
Commercial | High Efficiency Chiller (Water cooled-positive displacement, 100 tons) | 85848.8398 | 40863.5561 | 5948.4111 | 3066.1411 | 7326.2725 | 3776.3674 | 53859.8044 | 25599.1469 | 645.241 | 602.8666 | 17150.55 | 16041.5687 | 116731.3337 | 59125.0086 | 0 | 0 | 25937.52 | 24235.2263
Commercial | Hot Water Pipe Insulation | 10238.7954 | 6303.6662 | 341.7618 | 220.9634 | 416.4586 | 269.258 | 8409.036 | 5202.3659 | 122.903 | 114.8317 | 263.85 | 246.789 | 13769.4579 | 8715.3102 | 0 | 0 | 2372.5617 | 2216.8492
Commercial | LED Street Lights | 4173.6735 | 2130.5605 | 0 | 0 | 0 | 0 | 4173.6735 | 2130.5605 | 537.7008 | 502.3888 | 255.36 | 238.848 | 4919.9494 | 2601.9789 | 0 | 0 | 732.2975 | 684.2364
Commercial | Programmable Thermostat | 12279.7212 | 8049.4862 | 3221.0839 | 2224.1839 | 4282.6375 | 2957.1951 | 6258.4495 | 4176.4151 | 384.072 | 358.8492 | 3459.63 | 3235.9249 | 45748.6796 | 31302.1742 | 0 | 0 | 8594.1901 | 8030.1486
Industrial | Building Envelope Improvements | 68579.0541 | 27907.2918 | 1528.0074 | 729.9474 | 2703.6749 | 1189.4535 | 56588.2141 | 22498.5463 | 645.241 | 602.8666 | 853.89 | 798.6761 | 84972.131 | 36264.32 | 0 | 0 | 6271.9072 | 5860.2785
Industrial | Compressed Air Controls | 250917.6533 | 154338.332 | 9282.4283 | 6001.4791 | 11191.5714 | 7235.8202 | 197564.4646 | 122225.977 | 384.072 | 358.8492 | 31166.07 | 29150.8233 | 346847.1812 | 219792.6933 | 0 | 0 | 85909.3637 | 80271.0849
Industrial | Compressed Air Equipment | 422724.0432 | 241287.2379 | 14900.6263 | 9024.7076 | 17965.1534 | 10880.7678 | 334457.2697 | 191570.6498 | 384.072 | 358.8492 | 14529.48 | 13589.9812 | 564986.2043 | 334503.8459 | 0 | 0 | 87380.3127 | 81645.4947
Industrial | Efficient Lighting - Exterior | 12904.0902 | 7680.0175 | 0 | 0 | 0 | 0 | 12904.0902 | 7680.0175 | 537.7008 | 502.3888 | 562.35 | 525.9876 | 16067.7768 | 9771.1963 | 0 | 0 | 2781.8834 | 2599.3069
Industrial | Efficient Lighting - High Bay | 138311.9599 | 81921.0887 | 5222.9312 | 3268.1468 | 6297.4097 | 3940.4806 | 107798.5086 | 64157.5208 | 537.7008 | 502.3888 | 16860.54 | 15770.3112 | 188496.7009 | 115504.0368 | 0 | 0 | 43849.2347 | 40971.3853
Industrial | Efficient Lighting - Other Interior Lighting | 145560.0946 | 86214.2912 | 5493.8696 | 3437.6811 | 6624.0588 | 4144.8749 | 113462.1695 | 67528.3137 | 537.7008 | 502.3888 | 55889.91 | 52275.9813 | 198362.8817 | 121549.2513 | 0 | 0 | 85176.4523 | 79586.2748
Industrial | Fan Equipment Upgrades | 17573.939 | 10030.9951 | 620.7387 | 375.9564 | 748.4552 | 453.3091 | 13898.373 | 7960.719 | 384.072 | 358.8492 | 2083.71 | 1948.9741 | 23495.2115 | 13910.7243 | 0 | 0 | 5146.6486 | 4808.8712
Industrial | HVAC Equipment Upgrades | 88839.8786 | 45341.2686 | 3071.1283 | 1687.9274 | 3702.6138 | 2034.9991 | 70021.917 | 35744.5146 | 384.072 | 358.8492 | 8747.88 | 8182.2284 | 113800.6159 | 60933.0173 | 0 | 0 | 20349.3811 | 19013.84
Industrial | HVAC Improved Controls | 60190.2622 | 34350.5894 | 2218.4538 | 1343.6279 | 2674.6395 | 1619.9211 | 47045.6922 | 26946.8618 | 384.072 | 358.8492 | 393.9 | 368.4298 | 80736.8844 | 47817.5484 | 0 | 0 | 10779.8789 | 10072.3895
Industrial | HVAC Recommissioning | 220705.1828 | 151783.6976 | 9284.881 | 6626.8603 | 11194.0023 | 7989.4497 | 170885.4309 | 118659.2894 | 76.8144 | 71.7698 | 54448.86 | 50928.1119 | 323425.9603 | 227393.6682 | 0 | 0 | 127619.5665 | 119243.824
Industrial | Lighting Controls | 18655.6625 | 12829.6782 | 786.6123 | 561.4256 | 948.4263 | 676.9164 | 14437.001 | 10024.7533 | 384.072 | 358.8492 | 610.53 | 571.0522 | 27349.0891 | 19228.6739 | 0 | 0 | 6702.7156 | 6262.8127
Industrial | Lighting Controls - Exterior | 2387.2282 | 1657.6416 | 0 | 0 | 0 | 0 | 2387.2282 | 1657.6416 | 384.072 | 358.8492 | 375.78 | 351.4815 | 3155.7268 | 2211.5171 | 0 | 0 | 1080.8119 | 1009.8776
Industrial | Motor Equipment Upgrades | 12506.3803 | 8604.5748 | 502.7641 | 358.8357 | 606.0993 | 432.5888 | 9807.6882 | 6810.2547 | 384.072 | 358.8492 | 1796.1 | 1679.9614 | 18245.0953 | 12826.0461 | 0 | 0 | 5894.2938 | 5507.448
Industrial | Motor Optimization | 1033848.2854 | 711296.5271 | 41629.0212 | 29711.7118 | 50190.7323 | 35822.427 | 810542.2617 | 562823.6903 | 384.072 | 358.8492 | 452171.25 | 422933.1524 | 1508803.3801 | 1060672.7986 | 0 | 0 | 797928.5144 | 745560.0266
Industrial | Process Heat Equipment Upgrade | 143481.3186 | 98700.1308 | 5878.9052 | 4195.9271 | 7087.7818 | 5058.7337 | 111939.0382 | 77728.1402 | 384.072 | 358.8492 | 36026.94 | 33697.3819 | 209728.8522 | 147444.4598 | 0 | 0 | 83480.8752 | 78001.9794
Industrial | Process Refrig Controls | 14628.0309 | 8349.0349 | 524.5513 | 317.6995 | 632.3603 | 382.9951 | 11519.1261 | 6597.9324 | 384.072 | 358.8492 | 3578.31 | 3346.9309 | 19574.8593 | 11590.9619 | 0 | 0 | 6175.5854 | 5770.2783
Industrial | Process Refrig Equipment Upgrade | 19403.8471 | 13347.9199 | 794.1616 | 566.8137 | 957.4111 | 683.3291 | 15141.7108 | 10514.0891 | 384.072 | 358.8492 | 1715.97 | 1605.0127 | 28357.183 | 19935.7203 | 0 | 0 | 8060.4604 | 7531.4479
Industrial | Pump Equipment Upgrade | 23309.4351 | 13304.8899 | 819.9982 | 496.6398 | 988.5575 | 598.7294 | 18449.1839 | 10567.3354 | 384.072 | 358.8492 | 2994.84 | 2801.189 | 31143.1159 | 18438.1926 | 0 | 0 | 7063.2318 | 6599.668
Industrial | Pump System Optimization | 57217.5943 | 39366.0006 | 2305.3531 | 1645.3903 | 2779.5282 | 1983.8213 | 44852.1976 | 31144.4332 | 384.072 | 358.8492 | 16448.37 | 15384.7928 | 83510.6799 | 58707.2283 | 0 | 0 | 35385.6838 | 33063.3019