## Results
Savings Potential
| Summer | Winter | Energy
| Peak Demand (MW) | Peak Demand (MW) | (GWh)
PV_TECO Systems
Residential | 508.9025 | 18.9677 | 3461.1767
Non-Residential | 835.0009 | 31.122 | 5679.0564
Total | 1343.9034 | 50.0897 | 9140.2331
Battery Storage charged from PV_TECO Systems
Residential | 214.1666 | 211.1146 | 0
Non-Residential | 1.487 | 0 | 0
Total | 215.6536 | 211.1146 | 0
CHP Systems
Total | 656.05 | 357.6061 | 3125.5111

## Battery Storage - Res
DRAFT - Work Product
| Residential Segment | Per Unit - Solar Plus Storage | [6 empty] | Residential Segment | Per Unit - Solar Plus Storage with other DSM (EE and DR)
|  | DEF | FPL | Gulf | FPU | TECO | OUC | JEA |  | DEF_DR | FPL_DR | Gulf_DR | FPU_DR | TECO_DR | OUC_DR | JEA_DR | Column Lookup | Column Lookup
| Single Family Average Residential Load (kWh) | 15438.7843 | 13900.8489 | 14704.4351 | 14704.4351 | 18070.3848 | 14804.8112 | 13222.9311 | Single Family Average Residential Load | 10826.2004 | 9639.863 | 10729.8798 | 10729.8798 | 12609.586 | 9927.0689 | 9245.3906 | D1 | D1
| Single Family Solar Generation Potential (kWh) | 5592.3778 | 6241.681 | 5921.4439 | 5742.6867 | 6216.4507 | 6062.4095 | 5742.6867 | Single Family Solar Generation Potential | 5592.3778 | 6241.681 | 5921.4439 | 5742.6867 | 6216.4507 | 6062.4095 | 5742.6867 | M1 | G1
| Single Family Solar Loss/Export (no battery) (kWh) | 833.2644 | 1306.2183 | 1263.9602 | 1094.9069 | 745.6876 | 1372.3028 | 1612.8593 | Single Family Solar Loss/Export (no battery) | 1586.3423 | 2349.698 | 2043.1638 | 1811.0464 | 1633.8516 | 2405.6827 | 2475.5577 | S1 | M1
| Single Family Net Consumption (no battery) (kWh) | 10679.6709 | 8965.3862 | 10046.9513 | 10056.6553 | 12599.6218 | 10114.7045 | 9093.1038 | Single Family Net Consumption (no battery) | 6820.1649 | 5747.8801 | 6851.5997 | 6798.2395 | 8026.9869 | 6270.3422 | 5978.2616 | P1 | J1
| Single Family Solar Battery Charging Potential (kWh) | 833.2644 | 1306.2183 | 1263.9602 | 1094.9069 | 745.6876 | 1372.3028 | 1612.8593 | Single Family Solar Battery Charging Potential | 1586.3423 | 2349.698 | 2043.1638 | 1811.0464 | 1633.8516 | 2405.6827 | 2475.5577 | S1 | M1
| Single Family Battery Consumption Offset (kWh) | 833.2644 | 1305.6599 | 1263.9602 | 1094.9069 | 745.6876 | 1372.3028 | 1612.8593 | Single Family Battery Consumption Offset (kWh) | 1577.6842 | 2308.6151 | 2021.4807 | 1802.9517 | 1633.3369 | 2343.2992 | 2386.5717 | Y1 | S1
| Single Family Net Consumption (with battery) (kWh) | 9846.4065 | 7659.7264 | 8782.9911 | 8961.7484 | 11853.9342 | 8742.4017 | 7480.2444 | Single Family Net Consumption (with battery) (kWh) | 5242.4807 | 3439.265 | 4832.3995 | 4995.2878 | 6393.65 | 3927.043 | 3591.6899 | V1 | P1
| Storage Winter Peak Savings (kW) | 0 | 0.029376 | 0.037119 | 0.00023264 | 0.00069149 | 0.0081537 | 0.009959 | Storage Winter Peak Savings (kW) | 0.15309 | 0.45316 | 0.54247 | 0.24545 | 0.29583 | 0.17193 | 0.31216 | Y | S
| Storage Summer Peak Savings (kW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Storage Summer Peak Savings (kW) | 0.33903 | 0 | 0.073505 | 0.19652 | 0.26991 | 0.23023 | 0.32305 | Y | S
| Multi-Family Average Residential Load (kWh) | 7948.8551 | 12886.985 | 8619.3297 | 8619.3297 | 9929.2095 | 9142.7411 | N/A* | Multi-Family Average Residential Load (kWh) | 5563.9203 | 8946.2374 | 6280.8131 | 6280.8131 | 6924.7457 | 6124.5743 | N/A* | H1 | E1
| Multi-Family Solar Generation Potential (kWh) | 5592.3778 | 6241.681 | 5921.4439 | 5742.6867 | 6216.4507 | 6062.4095 | N/A* | Multi-Family Solar Generation Potential (kWh) | 5592.3778 | 6241.681 | 5921.4439 | 5742.6867 | 6216.4507 | 6062.4095 | N/A* | M1 | G1
| Multi-Family Solar Loss/Export (no battery) (kWh) | 2473.798 | 1617.0149 | 2657.9572 | 2415.7882 | 2617.5711 | 2594.4399 | N/A* | Multi-Family Solar Loss/Export (no battery) (kWh) | 3239.873 | 2691.5217 | 3383.3963 | 3146.3679 | 3503.5918 | 3535.8205 | N/A* | AG1 | AA1
| Multi-Family Net Consumption (no battery) (kWh) | 4830.2753 | 8262.3189 | 5355.8429 | 5292.4312 | 6330.33 | 5674.7716 | N/A* | Multi-Family Net Consumption (no battery) (kWh) | 3211.4155 | 5396.078 | 3742.7654 | 3684.4943 | 4211.8868 | 3597.9853 | N/A* | AD1 | X1
| Multi-Family Solar Battery Charging Potential (kWh) | 2473.798 | 1617.0149 | 2657.9572 | 2415.7882 | 2617.5711 | 2594.4399 | N/A* | Multi-Family Solar Battery Charging Potential (kWh) | 3239.873 | 2691.5217 | 3383.3963 | 3146.3679 | 3503.5918 | 3535.8205 | N/A* | AG1 | AA1
| Multi-Family Battery Consumption Offset (kWh) | 2263.1951 | 1615.1664 | 2488.0174 | 2291.618 | 2570.6312 | 2493.9273 | N/A* | Multi-Family Battery Consumption Offset (kWh) | 2409.7483 | 2609.4013 | 2708.0048 | 2590.3925 | 3070.8023 | 2808.6114 | N/A* | AM1 | AG1
| Multi-Family Net Consumption (with battery) (kWh) | 2699.7296 | 6893.2808 | 3041.5174 | 3154.8964 | 3992.8186 | 3353.5767 | N/A* | Multi-Family Net Consumption (with battery) (kWh) | 859.3951 | 2957.6828 | 1120.4295 | 1173.1949 | 1228.5594 | 858.9874 | N/A* | AJ1 | AD1
| Storage Winter Peak Savings (kW) | 0.11837 | 0.098759 | 0.33137 | 0.1023 | 0.12087 | 0.17317 | N/A* | Storage Winter Peak Savings (kW) | 0.441 | 0.53052 | 0.77173 | 0.45524 | 0.46801 | 0.38043 | N/A* | AM | AG
| Storage Summer Peak Savings (kW) | 0 | 0 | 0 | 0 | 0 | 0 | N/A* | Storage Summer Peak Savings (kW) | 0.6661 | 0 | 0.39363 | 0.54492 | 0.5276 | 0.54857 | N/A* | AM | AG
| Residential Segment | Aggregate - Solar Plus Storage | [6 empty] | Residential Segment | Aggregate - Solar Plus Storage with other DSM (EE and DR)
|  | DEF | FPL | Gulf | FPU | TECO | OUC | JEA |  | DEF_DR | FPL_DR | Gulf_DR | FPU_DR | TECO_DR | OUC_DR | JEA_DR
| Single Family Average Residential Load (kWh) | 10315809698.9643 | 25208105193.8974 | 3456439208.106 | 218967224.3916 | 6772220052.889 | 1044879156.8252 | 2774184177.9393 | Single Family Average Residential Load (kWh) | 7233796461.0307 | 17481139678.0091 | 2522176273.7182 | 159781180.8138 | 4725681938.9683 | 700622744.7683 | 1939692189.2319
| Single Family Solar Generation Potential (kWh) | 3736687033.8423 | 11318801631.5015 | 1391900533.7453 | 85515707.5626 | 2329732995.5237 | 427866672.4584 | 1204821412.9761 | Single Family Solar Generation Potential (kWh) | 3736687033.8423 | 11318801631.5015 | 1391900533.7453 | 85515707.5626 | 2329732995.5237 | 427866672.4584 | 1204821412.9761
| Single Family Solar Loss/Export (no battery) (kWh) | 556766469.9792 | 2368725033.5678 | 297107750.9596 | 16304518.4486 | 279460606.2429 | 96853014.0849 | 338379496.703 | Single Family Solar Loss/Export (no battery) (kWh) | 1059954264.5661 | 4260994107.9791 | 480268130.4802 | 26968721.1198 | 612316911.6374 | 169785869.0825 | 519374481.517
| Single Family Net Consumption (no battery) (kWh) | 7135889135.1012 | 16258028595.9638 | 2361646425.3204 | 149756035.2776 | 4721947663.6081 | 713865498.4517 | 1907742261.6662 | Single Family Net Consumption (no battery) (kWh) | 4557063691.7545 | 10423332154.4867 | 1610543870.4531 | 101234194.371 | 3008265855.082 | 442541941.3924 | 1254245257.7728
| Single Family Solar Battery Charging Potential (kWh) | 556766469.9792 | 2368725033.5678 | 297107750.9596 | 16304518.4486 | 279460606.2429 | 96853014.0849 | 338379496.703 | Single Family Solar Battery Charging Potential (kWh) | 1059954264.5661 | 4260994107.9791 | 480268130.4802 | 26968721.1198 | 612316911.6374 | 169785869.0825 | 519374481.517
| Single Family Battery Consumption Offset (kWh) | 556766469.9792 | 2367712316.2181 | 297107750.9596 | 16304518.4486 | 279460606.2429 | 96853014.0849 | 338379496.703 | Single Family Battery Consumption Offset (kWh) | 1054169150.8822 | 4186493331.72 | 475171277.3145 | 26848181.241 | 612124020.0271 | 165383028.4712 | 500705125.3884
| Single Family Net Consumption (with battery) (kWh) | 6579122665.122 | 13890316279.7456 | 2064538674.3607 | 133451516.829 | 4442487057.3653 | 617012484.3668 | 1569362764.9632 | Single Family Net Consumption (with battery) (kWh) | 3502894540.8722 | 6236838822.7667 | 1135908652.4116 | 74386013.13 | 2396141835.0549 | 277158912.9212 | 753540132.3844
| Storage Winter Peak Savings (kW) | 0 | 53270.2711 | 8725.1501 | 3.4643 | 259.1506 | 575.4663 | 2089.4158 | Storage Winter Peak Savings (kW) | 102288.1759 | 821769.6099 | 127513.0062 | 3655.0031 | 110866.8384 | 12134.2192 | 65492.2778
| Storage Summer Peak Savings (kW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Storage Summer Peak Savings (kW) | 226528.4535 | 0 | 17278.1348 | 2926.4264 | 101154.6347 | 16249.2084 | 67775.8231
| Multi-Family Average Residential Load (kWh) | 2532481403.9565 | 17068309036.9853 | 1053764770.1744 | 63756512.8324 | 2126836682.0928 | 905414797.2912 | N/A* | Multi-Family Average Residential Load (kWh) | 1772648303.6616 | 11848942476.8395 | 767867080.9563 | 46458686.783 | 1483280521.5978 | 606522715.0175 | N/A*
| Multi-Family Solar Generation Potential (kWh) | 1781714788.6722 | 8266863050.9942 | 723932050.2064 | 42478207.9096 | 1331563730.301 | 600366471.2333 | N/A* | Multi-Family Solar Generation Potential (kWh) | 1781714788.6722 | 8266863050.9942 | 723932050.2064 | 42478207.9096 | 1331563730.301 | 600366471.2333 | N/A*
| Multi-Family Solar Loss/Export (no battery) (kWh) | 788144611.3534 | 2141673185.2215 | 324951213.1938 | 17869398.0248 | 560683735.6933 | 256929978.1221 | N/A* | Multi-Family Solar Loss/Export (no battery) (kWh) | 1032213830.4418 | 3564815486.0813 | 413640493.7066 | 23273439.3208 | 750469356.7839 | 350155839.2236 | N/A*
| Multi-Family Net Consumption (no battery) (kWh) | 1538911226.6376 | 10943119171.2126 | 654783933.1618 | 39147702.9476 | 1355956687.4851 | 561978304.18 | N/A* | Multi-Family Net Consumption (no battery) (kWh) | 1023147345.4313 | 7146894911.9265 | 457575524.4565 | 27253918.1943 | 902186148.0807 | 356312083.0078 | N/A*
| Multi-Family Solar Battery Charging Potential (kWh) | 788144611.3534 | 2141673185.2215 | 324951213.1938 | 17869398.0248 | 560683735.6933 | 256929978.1221 | N/A* | Multi-Family Solar Battery Charging Potential (kWh) | 1032213830.4418 | 3564815486.0813 | 413640493.7066 | 23273439.3208 | 750469356.7839 | 350155839.2236 | N/A*
| Multi-Family Battery Consumption Offset (kWh) | 721047168.9084 | 2139224902.864 | 304175055.4073 | 16950920.5724 | 550629201.573 | 246976115.9807 | N/A* | Multi-Family Battery Consumption Offset (kWh) | 767738589.0142 | 3456050283.1666 | 331069831.4212 | 19160931.9595 | 657765854.691 | 278139597.9015 | N/A*
| Multi-Family Net Consumption (with battery) (kWh) | 860125742.6441 | 9129881594.546 | 371843755.2184 | 23336523.5622 | 855261734.8014 | 332108056.2743 | N/A* | Multi-Family Net Consumption (with battery) (kWh) | 273800698.6539 | 3917335540.9905 | 136979223.8655 | 8678031.559 | 263157433.1994 | 85066376.5754 | N/A*
| Storage Winter Peak Savings (kW) | 37710.9742 | 130802.6809 | 40512.0894 | 756.6686 | 25890.6556 | 17149.2844 | N/A* | Storage Winter Peak Savings (kW) | 140500.6782 | 702658.1466 | 94348.3313 | 3367.3686 | 100247.81 | 37674.2974 | N/A*
| Storage Summer Peak Savings (kW) | 0 | 0 | 0 | 0 | 0 | 0 | N/A* | Storage Summer Peak Savings (kW) | 212218.0914 | 0 | 48123.6733 | 4030.7093 | 113012.0088 | 54325.2032 | N/A*
*JEA only provided data that represents a combined residential value, which included both SF and MF. The residential values have been reported in this table as Single Family to maintain a consistent reporting structure.

## Battery Storage - Com
DRAFT - Work Product
| Commercial Segment | Per Unit - Solar Plus Storage | [6 empty] | Commercial Segment | Per Unit - Solar Plus Storage with other DSM (EE and DR)
|  | DEF | FPL | Gulf | FPU | TECO | OUC | JEA |  | DEF_DR | FPL_DR | Gulf_DR | FPU_DR | TECO_DR | OUC_DR | JEA_DR | Column Lookup |  | Column Lookup
Seg 1 - 15 MWh | Segment 1 (15 MWh) Average Commercial Load (kWh) | 5481.9099 | 5816.0064 | 5889.1045 | 5889.1045 | 5813.1122 | 6002.978 | 5599.7274 | Segment 1 (15 MWh) Average Commercial Load (kWh) | 4269.832 | 4628.4032 | 5642.9166 | 4540.6248 | 4521.8175 | 4738.2687 | 4190.2067 | D1 | D | D5 | D
Seg 1 - 15 MWh | Segment 1 (15 MWh) Solar Generation Potential (kWh) | 4281.5328 | 4857.9827 | 420.0397 | 2927.2857 | 1383.5939 | 2244.9498 | 398.9705 | Segment 1 (15 MWh) Solar Generation Potential (kWh) | 4281.5328 | 4857.9827 | 420.0397 | 2927.2857 | 1383.5939 | 2244.9498 | 398.9705 | S1 | S | J1 | J
Seg 1 - 15 MWh | Segment 1 (15 MWh) Solar Loss/Export (no battery) (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Segment 1 (15 MWh) Solar Loss/Export (no battery) (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | AU1 | AU | AL1 | AL
Seg 1 - 15 MWh | Segment 1 (15 MWh) Net Consumption (no battery) (kWh) | 3120.7907 | 2867.9331 | 5469.0648 | 3676.7961 | 4452.1055 | 4101.9738 | 5200.7569 | Segment 1 (15 MWh) Net Consumption (no battery) (kWh) | 2343.7001 | 2163.0092 | 5222.8769 | 2664.8183 | 3212.302 | 3049.5998 | 3791.2362 | AE1 | AE | V1 | V1
Seg 1 - 15 MWh | Segment 1 (15 MWh) Solar Battery Charging Potential (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Segment 1 (15 MWh) Solar Battery Charging Potential (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | AU1 | AU | AL1 | AL
Seg 1 - 15 MWh | Segment 1 (15 MWh) Battery Consumption Offset (kWh) | 1816.9227 | 1673.5345 | 0 | 714.9773 | 22.5872 | 343.9456 | 0 | Segment 1 (15 MWh) Battery Consumption Offset (kWh) | 1936.2148 | 1771.2292 | 0 | 1045.3702 | 74.0783 | 556.2809 | 0 | BS1 | BS | BJ1 | BJ
Seg 1 - 15 MWh | Segment 1 (15 MWh) Net Consumption (with battery) (kWh) | 1303.8679 | 1194.3985 | 5469.0648 | 2961.8188 | 4429.5183 | 3758.0282 | 5200.7569 | Segment 1 (15 MWh) Net Consumption (with battery) (kWh) | 410.2705 | 398.311 | 5222.8769 | 1619.4481 | 3138.2236 | 2493.3189 | 3791.2362 | BG1 | BG | AX1 | AX
Seg 1 - 15 MWh | Storage Winter Peak Savings (kW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Storage Winter Peak Savings (kW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | BS1 | BS | BJ1 | BJ
Seg 1 - 15 MWh | Storage Summer Peak Savings (kW) | 0.054689 | 0.052668 | 0 | 0.00021804 | 0 | 0 | 0 | Storage Summer Peak Savings (kW) | 0.52983 | 0.5283 | 0 | 0.2671 | 0.031435 | 0.12928 | 0 | BS1 | BS | BJ1 | BJ
Seg 2 - 25 MWh | Segment 2 (25 MWh) Average Commercial Load (kWh) | 18923.4185 | 19398.65 | 19441.8995 | 19441.8995 | 20224.9517 | 19188.415 | 21452.3223 | Segment 2 (25 MWh) Average Commercial Load (kWh) | 14759.154 | 15465.1117 | 18683.5331 | 15015.2359 | 15744.4778 | 15171.6889 | 16063.1596 | E1 | E | E5 | E
Seg 2 - 25 MWh | Segment 2 (25 MWh) Solar Generation Potential (kWh) | 14779.7464 | 16203.2671 | 1386.6912 | 9663.947 | 4813.7931 | 7175.9431 | 1528.4394 | Segment 2 (25 MWh) Solar Generation Potential (kWh) | 14779.7464 | 16203.2671 | 1386.6912 | 9663.947 | 4813.7931 | 7175.9431 | 1528.4394 | T1 | T | K1 | K
Seg 2 - 25 MWh | Segment 2 (25 MWh) Solar Loss/Export (no battery) (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Segment 2 (25 MWh) Solar Loss/Export (no battery) (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | AV1 | AV | AM1 | AM
Seg 2 - 25 MWh | Segment 2 (25 MWh) Net Consumption (no battery) (kWh) | 9738.63 | 9229.9638 | 18055.2083 | 11618.3591 | 15453.4994 | 12708.0342 | 19923.8829 | Segment 2 (25 MWh) Net Consumption (no battery) (kWh) | 7186.4354 | 6913.902 | 17296.8419 | 8235.0358 | 11080.7409 | 9264.1911 | 14534.7202 | AF1 | AF | W1 | W
Seg 2 - 25 MWh | Segment 2 (25 MWh) Solar Battery Charging Potential (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Segment 2 (25 MWh) Solar Battery Charging Potential (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | AV1 | AV | AM1 | AM
Seg 2 - 25 MWh | Segment 2 (25 MWh) Battery Consumption Offset (kWh) | 3598.5221 | 3607.5089 | 0 | 1700.6522 | 42.3408 | 694.4004 | 0 | Segment 2 (25 MWh) Battery Consumption Offset (kWh) | 4126.6946 | 4079.1749 | 0 | 2487.279 | 150.0561 | 1247.3364 | 0 | BT1 | BT | BK1 | BK
Seg 2 - 25 MWh | Segment 2 (25 MWh) Net Consumption (with battery) (kWh) | 6140.1078 | 5622.4549 | 18055.2083 | 9917.7069 | 15411.1586 | 12013.6338 | 19923.8829 | Segment 2 (25 MWh) Net Consumption (with battery) (kWh) | 3059.7407 | 2834.7271 | 17296.8419 | 5747.7568 | 10930.6847 | 8016.8548 | 14534.7202 | BH1 | BH | AY1 | AY
Seg 2 - 25 MWh | Storage Winter Peak Savings (kW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Storage Winter Peak Savings (kW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | BT1 | BT | BK1 | BK
Seg 2 - 25 MWh | Storage Summer Peak Savings (kW) | 0.069001 | 0.044867 | 0 | 0 | 0 | 0 | 0 | Storage Summer Peak Savings (kW) | 0.46925 | 0.35262 | 0 | 0.15847 | 0.00078277 | 0.066801 | 0 | BT1 | BT | BK1 | BK
Seg 3 - 50 MWh) | Segment 3 (50 MWh) Average Commercial Load (kWh) | 34665.1364 | 36321.5862 | 30170.7824 | 30170.7824 | 36292.8357 | 35745.5125 | 36377.9233 | Segment 3 (50 MWh) Average Commercial Load (kWh) | 27057.2426 | 28967.8967 | 29011.7858 | 23317.0935 | 28266.5287 | 28265.7714 | 27269.5017 | F1 | F | F5 | F
Seg 3 - 50 MWh) | Segment 3 (50 MWh) Solar Generation Potential (kWh) | 27074.491 | 30338.6248 | 2151.9275 | 14996.9319 | 8638.1518 | 13367.8454 | 2591.8617 | Segment 3 (50 MWh) Solar Generation Potential (kWh) | 27074.491 | 30338.6248 | 2151.9275 | 14996.9319 | 8638.1518 | 13367.8454 | 2591.8617 | U1 | U | L1 | L
Seg 3 - 50 MWh) | Segment 3 (50 MWh) Solar Loss/Export (no battery) (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Segment 3 (50 MWh) Solar Loss/Export (no battery) (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | AW1 | AW | AN1 | AN
Seg 3 - 50 MWh) | Segment 3 (50 MWh) Net Consumption (no battery) (kWh) | 17570.8043 | 18428.4193 | 28018.8549 | 17943.995 | 27722.8258 | 23586.1874 | 33786.0616 | Segment 3 (50 MWh) Net Consumption (no battery) (kWh) | 12954.8069 | 14001.538 | 26859.8583 | 12695.6772 | 19922.7268 | 17060.7473 | 24677.64 | AG1 | AG | X1 | X
Seg 3 - 50 MWh) | Segment 3 (50 MWh) Solar Battery Charging Potential (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Segment 3 (50 MWh) Solar Battery Charging Potential (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | AW1 | AW | AN1 | AN
Seg 3 - 50 MWh) | Segment 3 (50 MWh) Battery Consumption Offset (kWh) | 6910.9797 | 7646.0096 | 0 | 2101.5638 | 68.1418 | 996.4689 | 0 | Segment 3 (50 MWh) Battery Consumption Offset (kWh) | 7974.0832 | 8420.9544 | 0 | 2954.198 | 294.3499 | 1734.097 | 0 | BU1 | BU | BL1 | BL
Seg 3 - 50 MWh) | Segment 3 (50 MWh) Net Consumption (with battery) (kWh) | 10659.8245 | 10782.4096 | 28018.8549 | 15842.4312 | 27654.6839 | 22589.7185 | 33786.0616 | Segment 3 (50 MWh) Net Consumption (with battery) (kWh) | 4980.7237 | 5580.5836 | 26859.8583 | 9741.4793 | 19628.3769 | 15326.6504 | 24677.64 | BI1 | BI | AZ1 | AZ
Seg 3 - 50 MWh) | Storage Winter Peak Savings (kW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Storage Winter Peak Savings (kW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | BU1 | BU | BL1 | BL
Seg 3 - 50 MWh) | Storage Summer Peak Savings (kW) | 0.21183 | 0.097297 | 0 | 0 | 0 | 0 | 0 | Storage Summer Peak Savings (kW) | 0.7986 | 0.73803 | 0 | 0.18593 | 0.0078417 | 0.15773 | 0 | BU1 | BU | BL1 | BL
Seg 4 51+ MWh | Segment 4 (51+ MWh) Average Commercial Load (kWh) | 77097.6283 | 64450.1283 | 59812.0686 | 59812.0686 | 61736.9213 | 67703.9925 | 79763.4612 | Segment 4 (51+ MWh) Average Commercial Load (kWh) | 60177.9859 | 51444.1216 | 58437.2359 | 46279.4389 | 48139.9301 | 53536.3148 | 59820.4867 | G1 | G | G5 | G
Seg 4 51+ MWh | Segment 4 (51+ MWh) Solar Generation Potential (kWh) | 60215.515 | 53833.7795 | 4266.0887 | 29730.6681 | 14694.1644 | 25319.444 | 5683.0034 | Segment 4 (51+ MWh) Solar Generation Potential (kWh) | 60215.515 | 53833.7795 | 4266.0887 | 29730.6681 | 14694.1644 | 25319.444 | 5683.0034 | V1 | V | M1 | M
Seg 4 51+ MWh | Segment 4 (51+ MWh) Solar Loss/Export (no battery) (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Segment 4 (51+ MWh) Solar Loss/Export (no battery) (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | AX1 | AX | AO1 | AO
Seg 4 51+ MWh | Segment 4 (51+ MWh) Net Consumption (no battery) (kWh) | 39894.2733 | 35594.3357 | 55546.1352 | 37442.4094 | 47342.3864 | 44675.114 | 74080.4578 | Segment 4 (51+ MWh) Net Consumption (no battery) (kWh) | 29599.3461 | 27433.3803 | 54172.7489 | 26664.585 | 34211.3938 | 32836.5637 | 54137.4833 | AH1 | AH | Y1 | Y
Seg 4 51+ MWh | Segment 4 (51+ MWh) Solar Battery Charging Potential (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Segment 4 (51+ MWh) Solar Battery Charging Potential (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | AX1 | AX | AO1 | AO
Seg 4 51+ MWh | Segment 4 (51+ MWh) Battery Consumption Offset (kWh) | 14992.9118 | 12735.128 | 0.15529 | 4476.4346 | 273.1628 | 2164.9818 | 0 | Segment 4 (51+ MWh) Battery Consumption Offset (kWh) | 16798.1471 | 13346.631 | 1.6017 | 5970.6805 | 663.2478 | 4107.5277 | 0 | BV1 | BV | BM1 | BM
Seg 4 51+ MWh | Segment 4 (51+ MWh) Net Consumption (with battery) (kWh) | 24901.3615 | 22859.2077 | 55545.9799 | 32965.9748 | 47069.2236 | 42510.1322 | 74080.4578 | Segment 4 (51+ MWh) Net Consumption (with battery) (kWh) | 12801.199 | 14086.7493 | 54171.1472 | 20693.9045 | 33548.146 | 28729.036 | 54137.4833 | BJ1 | BJ | BA1 | BA
Seg 4 51+ MWh | Storage Winter Peak Savings (kW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Storage Winter Peak Savings (kW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | BV1 | BV | BM1 | BM
Seg 4 51+ MWh | Storage Summer Peak Savings (kW) | 0.22444 | 0.25943 | 0 | 0 | 0 | 0 | 0 | Storage Summer Peak Savings (kW) | 1.634 | 0.81299 | 0 | 0.68266 | 0.016365 | 0.24114 | 0 | BV1 | BV | BM1 | BM
| Commercial Segment | Aggregate - Solar Plus Storage | [6 empty] | Commercial Segment | Aggregate - Solar Plus Storage with other DSM (EE and DR)
|  | DEF | FPL | Gulf | FPU | TECO | OUC | JEA |  | DEF_DR | FPL_DR | Gulf_DR | FPU_DR | TECO_DR | OUC_DR | JEA_DR
0-15,000 kWh | Segment 1 (15 MWh) Average Commercial Load (kWh) | 682656756.9309 | 1331981781.4627 | 130838234.3113 | 16106700.7625 | 250521881.8987 | 75919662.6116 | 144456167.6351 | Segment 1 (15 MWh) Average Commercial Load (kWh) | 531717912.1194 | 1059996890.57 | 125368677.7825 | 12418608.9107 | 194872246.5172 | 59924884.4713 | 108094761.9489
0-15,000 kWh | Segment 1 (15 MWh) Solar Generation Potential (kWh) | 533175003.0651 | 1112575187.2076 | 9332021.6119 | 8006126.2919 | 59627361.6149 | 28391880.2392 | 10292242.5559 | Segment 1 (15 MWh) Solar Generation Potential (kWh) | 533175003.0651 | 1112575187.2076 | 9332021.6119 | 8006126.2919 | 59627361.6149 | 28391880.2392 | 10292242.5559
0-15,000 kWh | Segment 1 (15 MWh) Solar Loss/Export (no battery) (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Segment 1 (15 MWh) Solar Loss/Export (no battery) (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0
0-15,000 kWh | Segment 1 (15 MWh) Net Consumption (no battery) (kWh) | 388628943.5959 | 656814029.1945 | 121506212.6994 | 10056037.27 | 191867940.2817 | 51877662.9848 | 134163925.0792 | Segment 1 (15 MWh) Net Consumption (no battery) (kWh) | 291858630.7838 | 495372370.4632 | 116036656.1706 | 7288278.0643 | 138437365.4206 | 38568288.5498 | 97802519.3931
0-15,000 kWh | Segment 1 (15 MWh) Solar Battery Charging Potential (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Segment 1 (15 MWh) Solar Battery Charging Potential (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0
0-15,000 kWh | Segment 1 (15 MWh) Battery Consumption Offset (kWh) | 226259572.0063 | 383272875.7463 | 0 | 1955462.7994 | 973419.9978 | 4349880.6123 | 0 | Segment 1 (15 MWh) Battery Consumption Offset (kWh) | 241114894.4852 | 405646922.4705 | 0 | 2859087.5753 | 3192480.5183 | 7035284.3176 | 0
0-15,000 kWh | Segment 1 (15 MWh) Net Consumption (with battery) (kWh) | 162369371.5897 | 273541153.4482 | 121506212.6994 | 8100574.4706 | 190894520.2839 | 47527782.3725 | 134163925.0792 | Segment 1 (15 MWh) Net Consumption (with battery) (kWh) | 51090572.9192 | 91221189.6293 | 116036656.1706 | 4429190.489 | 135244884.9024 | 31533004.2322 | 97802519.3931
0-15,000 kWh | Storage Winter Peak Savings (kW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Storage Winter Peak Savings (kW) | 0 | 0 | 0 | 0 | 0 | 0 | 0
0-15,000 kWh | Storage Summer Peak Savings (kW) | 6810.3916 | 12061.9438 | 0 | 0.59635 | 0 | 0 | 0 | Storage Summer Peak Savings (kW) | 65978.7333 | 120990.58 | 0 | 730.5295 | 1354.7409 | 1634.9915 | 0
15,001-25,000 kWh | Segment 2 (25 MWh) Average Commercial Load (kWh) | 280369368.9123 | 1078681329.3306 | 86380359.4779 | 8923831.8704 | 190134770.9862 | 55838287.5233 | 113654403.5806 | Segment 2 (25 MWh) Average Commercial Load (kWh) | 218671626.3676 | 859953003.6411 | 83010937.511 | 6891993.2855 | 148013836.0915 | 44149614.6688 | 85102619.6637
15,001-25,000 kWh | Segment 2 (25 MWh) Solar Generation Potential (kWh) | 218976722.3593 | 900998871.4707 | 6161068.9393 | 4435751.6797 | 45254469.0277 | 20881994.4344 | 8097672.1752 | Segment 2 (25 MWh) Solar Generation Potential (kWh) | 218976722.3593 | 900998871.4707 | 6161068.9393 | 4435751.6797 | 45254469.0277 | 20881994.4344 | 8097672.1752
15,001-25,000 kWh | Segment 2 (25 MWh) Solar Loss/Export (no battery) (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Segment 2 (25 MWh) Solar Loss/Export (no battery) (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0
15,001-25,000 kWh | Segment 2 (25 MWh) Net Consumption (no battery) (kWh) | 144287541.6249 | 513241367.3271 | 80219290.5385 | 5332826.8319 | 145278347.8143 | 36980379.4046 | 105556731.4054 | Segment 2 (25 MWh) Net Consumption (no battery) (kWh) | 106474226.4227 | 384454434.6059 | 76849868.5717 | 3779881.443 | 104170044.7344 | 26958796.144 | 77004947.4885
15,001-25,000 kWh | Segment 2 (25 MWh) Solar Battery Charging Potential (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Segment 2 (25 MWh) Solar Battery Charging Potential (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0
15,001-25,000 kWh | Segment 2 (25 MWh) Battery Consumption Offset (kWh) | 53315703.722 | 200599140.8851 | 0 | 780599.3615 | 398045.8558 | 2020705.1782 | 0 | Segment 2 (25 MWh) Battery Consumption Offset (kWh) | 61141107.8318 | 226826596.7383 | 0 | 1141661.0717 | 1410677.6706 | 3629748.7957 | 0
15,001-25,000 kWh | Segment 2 (25 MWh) Net Consumption (with battery) (kWh) | 90971837.9028 | 312642226.4421 | 80219290.5385 | 4552227.4705 | 144880301.9585 | 34959674.2263 | 105556731.4054 | Segment 2 (25 MWh) Net Consumption (with battery) (kWh) | 45333118.5909 | 157627837.8676 | 76849868.5717 | 2638220.3713 | 102759367.0638 | 23329047.3483 | 77004947.4885
15,001-25,000 kWh | Storage Winter Peak Savings (kW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Storage Winter Peak Savings (kW) | 0 | 0 | 0 | 0 | 0 | 0 | 0
15,001-25,000 kWh | Storage Summer Peak Savings (kW) | 1022.3206 | 2494.8865 | 0 | 0 | 0 | 0 | 0 | Storage Summer Peak Savings (kW) | 6952.379 | 19607.6054 | 0 | 72.7393 | 7.3589 | 194.3896 | 0
25,001-50,000 kWh | Segment 3 (50 MWh) Average Commercial Load (kWh) | 259087229.3288 | 1953810763.8221 | 78836254.3168 | 13546681.2814 | 328885677.1103 | 103125803.4605 | 36814458.4243 | Segment 3 (50 MWh) Average Commercial Load (kWh) | 202225831.2797 | 1558241101.0089 | 75807796.1704 | 10469374.9729 | 256151282.9895 | 81546750.4358 | 27596735.7349
25,001-50,000 kWh | Segment 3 (50 MWh) Solar Generation Potential (kWh) | 202354745.4691 | 1631975306.7047 | 5622986.5296 | 6733622.4081 | 78278931.3667 | 38566233.8411 | 2622964.058 | Segment 3 (50 MWh) Solar Generation Potential (kWh) | 202354745.4691 | 1631975306.7047 | 5622986.5296 | 6733622.4081 | 78278931.3667 | 38566233.8411 | 2622964.058
25,001-50,000 kWh | Segment 3 (50 MWh) Solar Loss/Export (no battery) (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Segment 3 (50 MWh) Solar Loss/Export (no battery) (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0
25,001-50,000 kWh | Segment 3 (50 MWh) Net Consumption (no battery) (kWh) | 131324190.9948 | 991301528.4909 | 73213267.7872 | 8056853.7447 | 251224247.1159 | 68046150.7474 | 34191494.3663 | Segment 3 (50 MWh) Net Consumption (no battery) (kWh) | 96824227.0414 | 753170729.9021 | 70184809.6408 | 5700359.0783 | 180539750.0683 | 49220256.0156 | 24973771.6769
25,001-50,000 kWh | Segment 3 (50 MWh) Solar Battery Charging Potential (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Segment 3 (50 MWh) Solar Battery Charging Potential (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0
25,001-50,000 kWh | Segment 3 (50 MWh) Battery Consumption Offset (kWh) | 51652662.4371 | 411294149.4219 | 0 | 943602.1432 | 617501.3723 | 2874812.8679 | 0 | Segment 3 (50 MWh) Battery Consumption Offset (kWh) | 59598297.7507 | 452979976.5033 | 0 | 1326434.8819 | 2667398.4455 | 5002869.7495 | 0
25,001-50,000 kWh | Segment 3 (50 MWh) Net Consumption (with battery) (kWh) | 79671528.5577 | 580007379.069 | 73213267.7872 | 7113251.6015 | 250606745.7437 | 65171337.8794 | 34191494.3663 | Segment 3 (50 MWh) Net Consumption (with battery) (kWh) | 37225929.2907 | 300190753.3988 | 70184809.6408 | 4373924.1964 | 177872351.6228 | 44217386.2661 | 24973771.6769
25,001-50,000 kWh | Storage Winter Peak Savings (kW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Storage Winter Peak Savings (kW) | 0 | 0 | 0 | 0 | 0 | 0 | 0
25,001-50,000 kWh | Storage Summer Peak Savings (kW) | 1583.1867 | 5233.8056 | 0 | 0 | 0 | 0 | 0 | Storage Summer Peak Savings (kW) | 5968.7082 | 39699.9462 | 0 | 83.4821 | 71.0617 | 455.0624 | 0
50,001 kWh + | Segment 4 (51+ MWh) Average Commercial Load (kWh) | 233760009.005 | 6507593906.8272 | 25300505.0354 | 21891217.1229 | 203052734.0111 | 120783922.5775 | 994570597.546 | Segment 4 (51+ MWh) Average Commercial Load (kWh) | 182459653.3124 | 5194364400.6007 | 24718950.7833 | 16938274.6393 | 158332230.0842 | 95508785.5189 | 745901648.276
50,001 kWh + | Segment 4 (51+ MWh) Solar Generation Potential (kWh) | 182573441.561 | 5435650554.6262 | 1804555.534 | 10881424.5421 | 48329106.8469 | 45169888.0984 | 70861369.206 | Segment 4 (51+ MWh) Solar Generation Potential (kWh) | 182573441.561 | 5435650554.6262 | 1804555.534 | 10881424.5421 | 48329106.8469 | 45169888.0984 | 70861369.206
50,001 kWh + | Segment 4 (51+ MWh) Solar Loss/Export (no battery) (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Segment 4 (51+ MWh) Solar Loss/Export (no battery) (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0
50,001 kWh + | Segment 4 (51+ MWh) Net Consumption (no battery) (kWh) | 120959436.6265 | 3593995673.7574 | 23496015.1871 | 13703921.8352 | 155709108.8626 | 79700403.4104 | 923709228.34 | Segment 4 (51+ MWh) Net Consumption (no battery) (kWh) | 89745217.5101 | 2769975846.2634 | 22915072.782 | 9759238.1028 | 112521274.2058 | 58580429.6382 | 675040279.07
50,001 kWh + | Segment 4 (51+ MWh) Solar Battery Charging Potential (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Segment 4 (51+ MWh) Solar Battery Charging Potential (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0
50,001 kWh + | Segment 4 (51+ MWh) Battery Consumption Offset (kWh) | 45458508.429 | 1285878611.101 | 65.6856 | 1638375.0552 | 898432.5042 | 3862327.5068 | 0 | Segment 4 (51+ MWh) Battery Consumption Offset (kWh) | 50931982.0692 | 1347622679.0638 | 677.5326 | 2185269.0454 | 2181422.0167 | 7327829.4861 | 0
50,001 kWh + | Segment 4 (51+ MWh) Net Consumption (with battery) (kWh) | 75500928.1975 | 2308117062.6564 | 23495949.5015 | 12065546.7801 | 154810676.3584 | 75838075.9036 | 923709228.34 | Segment 4 (51+ MWh) Net Consumption (with battery) (kWh) | 38813235.441 | 1422353167.1996 | 22914395.2493 | 7573969.0573 | 110339852.1891 | 51252600.1522 | 675040279.07
50,001 kWh + | Storage Winter Peak Savings (kW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Storage Winter Peak Savings (kW) | 0 | 0 | 0 | 0 | 0 | 0 | 0
50,001 kWh + | Storage Summer Peak Savings (kW) | 680.4885 | 26195.1809 | 0 | 0 | 0 | 0 | 0 | Storage Summer Peak Savings (kW) | 4954.2611 | 82088.5943 | 0 | 249.8536 | 53.8256 | 430.1904 | 0

## PV
Utility | TECO |  |  |  |  | Sum of AC System Output (W)
[6 empty] | Hour | Jan | Aug
Potential Breakdown by Year | 2020 |  |  |  |  | 0 | 0 | 0
Residential | [5 empty] | 1 | 0 | 0
Nameplate Technical Potential (MW) | 2228.1839 |  |  |  |  | 2 | 0 | 0
Summer Peak Capacity (MW) | 508.9025 |  |  |  |  | 3 | 0 | 0
Winter Peak Capacity (MW) | 18.9677 |  |  |  |  | 4 | 0 | 0
EnergyTechnical Potential (GWh) | 3461.1767 |  |  |  |  | 5 | 0 | 0
Technical Potential as a % of Residential Sales | 52.73% |  |  |  |  | 6 | 0 | 2035.997
Commercial | [5 empty] | 7 | 1055.567 | 14651.598
Nameplate Technical Potential (MW) | 3655.9769 |  |  |  |  | 8 | 23127.85 | 34223.955
Summer Peak Capacity (MW) | 835.0009 |  |  |  |  | 9 | 43010.017 | 49540.124
Winter Peak Capacity (MW) | 31.122 |  |  |  |  | 10 | 60592.506 | 60303.343
Energy Technical Potential (GWh) | 5679.0564 |  |  |  |  | 11 | 73113.369 | 65663.979
Technical Potential as a % of Commercial Sales | 111.9% |  |  |  |  | 12 | 76740.513 | 67268.465
Total | [5 empty] | 13 | 71387.287 | 64365.584
Total Energy Potential (GWh) | 9140.2331 |  |  |  |  | 14 | 62255.101 | 57461.952
Technical Potential as a % of Res+Com Sales | 78.53% |  |  |  |  | 15 | 48385.935 | 41890.24
[6 empty] | 16 | 27011.61 | 28320.779
Residential breakdown by building Type | [5 empty] | 17 | 8591.795 | 14696.854
Parameter | Single Family | Multi Family | Mobile Home | Total |  | 18 | 0 | 2166.024
Number of Premises | 460678 | 153039 | 57036 | 670753 |  | 19 | 0 | 0
Average Square Footage | 1807 | 1229 | 813 |  |  | 20 | 0 | 0
Average Stories | 1.3752 | 3.6673 | 1 |  |  | 21 | 0 | 0
Usable PV Area (sq ft) | 113317777.2062 | 9600809.4328 | 8680514.1696 | 131599100.8086 |  | 22 | 0 | 0
PV Density DC (w/sf) | 17.0767 | 17.0767 | 17.0767 |  |  | 23 | 0 | 0
Inverter efficiency (PV Watts) | 96% | 96% | 96%
Energy Savings Factor (kWh per kW from PVWatts) | 1553.3622 | 1553.3622 | 1553.3622 | 1553.3622
Annual Solar Capacity Factor (PVWatts) | 17.7% | 17.7% | 17.7%
Overall Nameplate Capacity (kW) | 1935088.1603 | 163949.6743 | 148234.113 | 2247271.9476
Less installed capacity from Net Metering Chart |  |  |  | 19088
Remaining Nameplate Technical Potential (kW) | 1935088.1603 | 163949.6743 | 148234.113 | 2228183.9476
Annual Capacity Technical Potential (kW) | 342510.6044 | 29019.0923 | 26237.438 | 397767.1347
Energy Technical Potential (GWh) | 3005.8928 | 254.6732 | 230.2613 | 3461.1767
2018 Solar Technical Potential % of 2018 Sales | 32.06% | 2.716% | 2.456% | 36.91%
Commercial breakdown by building Type
Parameter | Assembly | College and University | Grocery | Healthcare | Hospitals | Institutional | Lodging/Hospitality | Miscellaneous | Offices | Restaurants | Retail | Schools K-12 | Warehouse | Total
Total Square Footage | 43051698 | 54283797 | 26322885 | 38138508.01 | 32550635.56 | 14880634.77 | 110931712.43 | 22209694.16 | 296551833.15 | 75531544.81 | 170317275.86 | 111437188.21 | 189142884.49 | 1185350291.45
Average no. of Floors | 2.9437 | 2.0221 | 1.3571 | 4.4667 | 7.7206 | 2.9577 | 7.3731 | 2.9473 | 6.0686 | 1.4211 | 1.328 | 2.0221 | 1.3953
Usable PV Area | 5996339.3722 | 11006780.0753 | 7952282.1 | 3500753.7943 | 1728593.7513 | 2062737.0911 | 6168611.6203 | 3089633.8795 | 20035214.3172 | 21792249.41 | 52583927.5817 | 22595409.5076 | 55579613.7087 | 214092146.2092
PV Density DC (w/sf) | 17.0767 | 17.0767 | 17.0767 | 17.0767 | 17.0767 | 17.0767 | 17.0767 | 17.0767 | 17.0767 | 17.0767 | 17.0767 | 17.0767 | 17.0767
Inverter efficiency (PV Watts) | 96% | 96% | 96% | 96% | 96% | 96% | 96% | 96% | 96% | 96% | 96% | 96% | 96%
Annual Solar Capacity Factor (PVWatts) | 17.7% | 17.7% | 17.7% | 17.7% | 17.7% | 17.7% | 17.7% | 17.7% | 17.7% | 17.7% | 17.7% | 17.7% | 17.7%
Energy Savings Factor (kWh per kW from PVWatts) | 1553.3622 | 1553.3622 | 1553.3622 | 1553.3622 | 1553.3622 | 1553.3622 | 1553.3622 | 1553.3622 | 1553.3622 | 1553.3622 | 1553.3622 | 1553.3622 | 1553.3622
Nameplate Capacity (kW) | 102397.3962 | 187958.9446 | 135798.348 | 59781.1516 | 29518.5926 | 35224.6419 | 105339.2293 | 52760.6002 | 342134.3674 | 372138.6428 | 897957.392 | 385853.9277 | 949113.6792 | 3655976.9134
Annual Capacity Technical Potential (KW) | 18124.3391 | 33268.7332 | 24036.3076 | 10581.2638 | 5224.7909 | 6234.7616 | 18645.0436 | 9338.6262 | 60557.783 | 65868.5398 | 158938.4584 | 68296.1452 | 167993.1212 | 647107.9137
Energy Technical Potential (GWh) | 159.0602 | 291.9683 | 210.944 | 92.8618 | 45.8531 | 54.7166 | 163.63 | 81.9563 | 531.4586 | 578.0661 | 1394.8531 | 599.3709 | 1474.3173 | 5679.0564
2018 Solar Technical Potential % of 2018 Sales | 2.445% | 4.488% | 3.242% | 1.427% | 0.7048% | 0.841% | 2.515% | 1.26% | 8.169% | 8.885% | 21.44% | 9.212% | 22.66% | 87.29%
0.18062

## CHP
Utility | TECO
Installed Capacity (MW) | 461.9
Methodology
Number of Qualifying Facilities determined by total kWh consumption of facilities that exceed kWh output of a given CHP technology type (Col B) as well as minimum the Thermal Factor threshold for the given segment.
Data on customer-specific commercial segment were not available; so estimates are based solely on facility consumption and thermal factor of 0.78.
POTENTIAL BREAKDOWN |  | Qualifying Facilities
Technology Type | kWH Output | Units Installed | Installed KWh | MW Capacity | MW Winter Capacity
5500 kW Steam Turbine-Biomass | 43362000 | 7 | 303534000 | 5.5 | 2.998
3500 kW Steam Turbine-Biomass | 27594000 | 5 | 137970000 | 3.5 | 1.9078
3500 kW Gas Turbine | 24834600 | 1 | 24834600 | 3.5 | 1.9078
3000 kW Gas Turbine | 21286800 | 7 | 149007600 | 3 | 1.6353
2500 kW Gas Turbine | 17739000 | 4 | 70956000 | 2.5 | 1.3627
4500 kW Reciprocating Engine | 15768000 | 4 | 63072000 | 4.5 | 2.4529
1500 kW Steam Turbine-Biomass | 11826000 | 8 | 94608000 | 1.5 | 0.81763
3000 kW Reciprocating Engine | 10512000 | 4 | 42048000 | 3 | 1.6353
1125 kW Fuel Cell | 6997050 | 27 | 188920350 | 1.125 | 0.61323
800 kW Fuel Cell-Biogas | 4975680 | 32 | 159221760 | 0.8 | 0.43607
1250 kW Reciprocating Engine | 4380000 | 10 | 43800000 | 1.25 | 0.68136
1250 kW Reciprocating Engine-Biogas | 4380000 | 0 | 0 | 1.25 | 0.68136
500 kW Fuel Cell | 3109800 | 60 | 186588000 | 0.5 | 0.27254
350 kW Reciprocating Engine | 1226400 | 470 | 576408000 | 0.35 | 0.19078
175 kW Fuel Cell | 1088430 | 95 | 103400850 | 0.175 | 0.095391
200 kW Micro Turbine | 858480 | 188 | 161394240 | 0.2 | 0.10902
150 kW Reciprocating Engine | 525600 | 558 | 293284800 | 0.15 | 0.081763
100 kW Micro Turbine | 429240 | 366 | 157101840 | 0.1 | 0.054509
100 kW Micro Turbine- Biogas | 429240 | 0 | 0 | 0.1 | 0.054509
50 kW Micro Turbine | 214620 | 1721 | 369361020 | 0.05 | 0.027254
Total |  | 3567 | 3125511060 | 656.05 | 357.6061
Technical Capacity Potential (MW) |  |  | 656.05
Installed Capacity (MW) |  |  | 461.9
Net Technical Capacity Potential (MW)* |  |  | 656.05
% of Total Commercial Sales |  |  | 0.01027%
Net Technical Energy Potential (MWh) |  |  | 3125511.06
*This technical capacity potential does not include existing capacity; therefore the technical capacity potential and the net technical capacity potential are equivalent