## RIM Achievable
RIM Achievable Potential Measures
Residential
1 | Variable Speed Pool Pump
2 | Two Speed Pool Pump
3 | Smart Thermostat
4 | Programmable Thermostat
5 | Energy Star Windows
6 | ENERGY STAR Certified Home
7 | Duct Repair
8 | Ceiling Insulation(R2 to R38)
9 | Smart thermostats - Utility Installation
10 | Smart thermostats - BYOT
11 | Pool pump switches
12 | CPP + Tech
13 | Central Heating - Load Shed
14 | Central air conditioner - Load Shed
15 | Central air conditioner - 50% cycling
Commercial/Industrial
1 | Water Cooled Refrigeration Heat Recovery
2 | VSD Controlled Compressor
3 | Variable Speed Pool Pump
4 | Variable Refrigerant Flow (VRF) HVAC Systems
5 | Solar Water Heater
6 | Solar Pool Heater
7 | Smart Thermostat
8 | Programmable Thermostat
9 | LED Street Lights
10 | Hot Water Pipe Insulation
11 | High Efficiency PTHP
12 | High Efficiency PTAC
13 | High Efficiency DX 135k- less than 240k BTU
14 | High Efficiency Chiller (Water cooled-positive displacement, 100 tons)
15 | High Efficiency Chiller (Water cooled-centrifugal, 200 tons)
16 | High Efficiency Chiller (Air Cooled, 50 tons)
17 | Heat Pump Water Heater
18 | Heat Pump Pool Heater
19 | Floating Head Pressure Controls
20 | Facility Energy Management System
21 | Facility Commissioning
22 | ENERGY STAR Water Cooler
23 | Energy Star Hot Food Holding Cabinet
24 | Energy Star Commercial Oven
25 | Energy Star Commercial Glass Door Refrigerator
26 | ENERGY STAR certified buildings program
27 | Efficient Exhaust Hood
28 | ECM Motors on Furnaces
29 | Dedicated Outdoor Air System on VRF unit
30 | CO Sensors for Parking Garage Exhaust
31 | Chilled Water System - Variable Speed Drives
32 | Smart thermostats - Utility Installation
33 | Smart thermostats - BYOT
34 | Guaranteed Load Drop
35 | Firm Service Level
36 | CPP + Tech
37 | CPP
38 | Central Heating - Load Shed
39 | Central Heating - 50% cycling
40 | Central air conditioner - Load Shed
41 | Central air conditioner - 50% cycling
42 | Auto DR
43 | Pump System Optimization
44 | Pump Equipment Upgrade
45 | Process Refrig Equipment Upgrade
46 | Process Refrig Controls
47 | Process Other Systems Optimization
48 | Process Heat Improved Controls
49 | Process Heat Equipment Upgrade
50 | Motor Optimization
51 | Motor Equipment Upgrades
52 | Lighting Controls - Exterior
53 | Lighting Controls
54 | HVAC Recommissioning
55 | HVAC Improved Controls
56 | HVAC Equipment Upgrades
57 | Fan Equipment Upgrades
58 | Efficient Lighting - Other Interior Lighting
59 | Efficient Lighting - High Bay
60 | Efficient Lighting - Exterior
61 | Compressed Air Equipment
62 | Compressed Air Controls
63 | Building Envelope Improvements

## TRC Achievable
TRC Achievable Potential Measures
Residential
1 | Ceiling Insulation(R2 to R38)
2 | Central air conditioner - 50% cycling
3 | Central air conditioner - Load Shed
4 | CPP + Tech
5 | Duct Repair
6 | ENERGY STAR Certified Home
7 | Energy Star Windows
8 | Programmable Thermostat
9 | Smart Thermostat
10 | Smart thermostats - BYOT
11 | Smart thermostats - Utility Installation
12 | Solar Pool Heater
13 | Two Speed Pool Pump
14 | Variable Speed Pool Pump
Commercial/Industrial
1 | Anti-Sweat Controls
2 | Auto DR
3 | Building Envelope Improvements
4 | Central air conditioner - 50% cycling
5 | Central air conditioner - Load Shed
6 | Central Heating - Load Shed
7 | Chilled Water System - Variable Speed Drives
8 | CO Sensors for Parking Garage Exhaust
9 | Compressed Air Controls
10 | Compressed Air Equipment
11 | CPP
12 | CPP + Tech
13 | Demand Controlled Ventilation
14 | ECM Motors on Furnaces
15 | Efficient Exhaust Hood
16 | Efficient Lighting - Exterior
17 | Efficient Lighting - High Bay
18 | Efficient Lighting - Other Interior Lighting
19 | ENERGY STAR certified buildings program
20 | Energy Star Commercial Glass Door Refrigerator
21 | Energy Star Commercial Oven
22 | Energy Star Commercial Solid Door Refrigerator
23 | ENERGY STAR Water Cooler
24 | Facility Energy Management System
25 | Fan Equipment Upgrades
26 | Firm Service Level
27 | Floating Head Pressure Controls
28 | Guaranteed Load Drop
29 | Heat Pump Pool Heater
30 | High Bay LED
31 | High Efficiency Chiller (Air Cooled, 50 tons)
32 | High Efficiency Chiller (Water cooled-positive displacement, 100 tons)
33 | Hot Water Pipe Insulation
34 | HVAC Equipment Upgrades
35 | HVAC Improved Controls
36 | HVAC Recommissioning
37 | LED Street Lights
38 | Lighting Controls
39 | Lighting Controls - Exterior
40 | Motor Equipment Upgrades
41 | Motor Optimization
42 | Process Heat Equipment Upgrade
43 | Process Refrig Controls
44 | Process Refrig Equipment Upgrade
45 | Programmable Thermostat
46 | Pump Equipment Upgrade
47 | Pump System Optimization
48 | Smart Thermostat
49 | Smart thermostats - BYOT
50 | Smart thermostats - Utility Installation
51 | Solar Pool Heater
52 | Solar Water Heater
53 | Variable Speed Pool Pump
54 | VSD Controlled Compressor