## 2018 Measures list
2018 - Comprehensive Technical Potential Measure List
Energy Efficiency
Residential - Energy Efficiency
1 | Energy Star Clothes Dryer
2 | Energy Star Clothes Washer
3 | Energy Star Dishwasher
4 | Energy Star Freezer
5 | Energy Star Refrigerator
6 | Heat Pump Clothes Dryer
7 | Removal of 2nd Refrigerator-Freezer
8 | High Efficiency Convection Oven
9 | High Efficiency Induction Cooktop
10 | Drain Water Heat Recovery
11 | Faucet Aerator
12 | Heat Pump Water Heater
13 | Heat Trap
14 | Hot Water Pipe Insulation
15 | Instantaneous Hot Water System
16 | Low Flow Showerhead
17 | Solar Water Heater
18 | Thermostatic Shower Restriction Valve
19 | Water Heater Blanket
20 | Water Heater Thermostat Setback
21 | Water Heater Timeclock
22 | Energy Star Air Purifier
23 | Energy Star Audio-Video Equipment
24 | Energy Star Imaging Equipment
25 | Energy Star Personal Computer
26 | Energy Star TV
27 | Smart Power Strip
28 | CFL - 15W Flood
29 | CFL - 15W Flood (Exterior)
30 | CFL-13W
31 | CFL-23W
32 | Exterior Lighting Controls
33 | Interior Lighting Controls
34 | LED - 14W
35 | LED - 9W
36 | LED - 9W Flood
37 | LED - 9W Flood (Exterior)
38 | LED Specialty Lamps-5W Chandelier
39 | Linear LED
40 | Low Wattage T8 Fixture
41 | Energy Star Bathroom Ventilating Fan
42 | Energy Star Ceiling Fan
43 | Energy Star Dehumidifier
44 | Heat Pump Pool Heater
45 | Solar Pool Heater
46 | Solar Powered Pool Pumps
47 | Two Speed Pool Pump
48 | Variable Speed Pool Pump
49 | 15 SEER Central AC
50 | 16 SEER Central AC
51 | 17 SEER Central AC
52 | 18 SEER Central AC
53 | 21 SEER Central AC
54 | Central AC Tune Up
55 | Energy Star Room AC
56 | Solar Attic Fan
57 | 14 SEER ASHP from base electric resistance heating
58 | 15 SEER Air Source Heat Pump
59 | 16 SEER Air Source Heat Pump
60 | 17 SEER Air Source Heat Pump
61 | 18 SEER Air Source Heat Pump
62 | 21 SEER Air Source Heat Pump
63 | 21 SEER ASHP from base electric resistance heating
64 | Air Sealing-Infiltration Control
65 | Ceiling Insulation(R12 to R38)
66 | Ceiling Insulation(R19 to R38)
67 | Ceiling Insulation(R2 to R38)
68 | Ceiling Insulation(R30 to R38)
69 | Duct Insulation
70 | Duct Repair
71 | Energy Star Certified Roof Products
72 | Energy Star Door
73 | Energy Star Windows
74 | Floor Insulation
75 | Green Roof
76 | Ground Source Heat Pump
77 | Heat Pump Tune Up
78 | Home Energy Management System
79 | Programmable Thermostat
80 | Radiant Barrier
81 | Sealed crawlspace
82 | Smart Thermostat
83 | Spray Foam Insulation(Base R12)
84 | Spray Foam Insulation(Base R19)
85 | Spray Foam Insulation(Base R2)
86 | Spray Foam Insulation(Base R30)
87 | Storm Door
88 | Variable Refrigerant Flow (VRF) HVAC Systems
89 | Wall Insulation
90 | Window Sun Protection
91 | HVAC ECM Motor
Commercial - Energy Efficiency
1 | Efficient Exhaust Hood
2 | Energy Star Commercial Oven
3 | Energy Star Fryer
4 | Energy Star Griddle
5 | Energy Star Hot Food Holding Cabinet
6 | Energy Star Steamer
7 | Induction Cooktops
8 | Drain Water Heat Recovery
9 | Energy Star Commercial Dishwasher
10 | Faucet Aerator
11 | Heat Pump Water Heater
12 | Hot Water Circulation Pump Control
13 | Hot Water Pipe Insulation
14 | Instantaneous Hot Water System
15 | Low Flow Shower Head
16 | Low-Flow Pre-Rinse Sprayers
17 | Solar Water Heater
18 | Tank Wrap on Water Heater
19 | Thermostatic Shower Restriction Valve
20 | Bi-Level Lighting Control (Exterior)
21 | CFL - 15W Flood
22 | High Efficiency HID Lighting
23 | LED - 9W Flood
24 | LED Display Lighting (Exterior)
25 | LED Exterior Lighting
26 | LED Parking Lighting
27 | LED Street Lights
28 | LED Traffic and Crosswalk Lighting
29 | Outdoor Lighting Controls
30 | Bi-Level Lighting Control (Interior)
31 | CFL-23W
32 | High Bay Fluorescent (T5)
33 | High Bay LED
34 | Interior Lighting Controls
35 | LED - 14W
36 | LED Display Lighting (Interior)
37 | LED Linear - Fixture Replacement
38 | LED Linear - Lamp Replacement
39 | Premium T8 - Fixture Replacement
40 | Premium T8 - Lamp Replacement
41 | Efficient Battery Charger
42 | Efficient Motor Belts
43 | ENERGY STAR Commercial Clothes Washer
44 | ENERGY STAR Water Cooler
45 | Engine Block Timer
46 | Regenerative Drive Elevator Motor
47 | Solar Pool Heater
48 | Heat Pump Pool Heater
49 | Two Speed Pool Pump
50 | Variable Speed Pool Pump
51 | Solar Powered Pool Pump
52 | VSD Controlled Compressor
53 | Facility Energy Management System
54 | Retro-Commissioning
55 | ENERGY STAR Imaging Equipment
56 | Energy Star PCs
57 | Energy Star Servers
58 | Energy Star Uninterruptable Power Supply
59 | Network PC Power Management
60 | Server Virtualization
61 | Smart Strip Plug Outlet
62 | Anti-Sweat Controls
63 | Automatic Door Closer for Walk-in Coolers and Freezers
64 | Demand Defrost
65 | Energy Star Commercial Glass Door Freezer
66 | Energy Star Commercial Glass Door Refrigerator
67 | Energy Star Commercial Solid Door Freezer
68 | Energy Star Commercial Solid Door Refrigerator
69 | Energy Star Ice Maker
70 | Energy Star Refrigerator
71 | Energy Star Vending Machine
72 | Floating Head Pressure Controls
73 | Freezer-Cooler Replacement Gaskets
74 | High Efficiency Refrigeration Compressor
75 | High R-Value Glass Doors
76 | Night Covers for Display Cases
77 | PSC to ECM Evaporator Fan Motor (Reach-In)
78 | PSC to ECM Evaporator Fan Motor (Walk-In, Refrigerator)
79 | Refrigerated Display Case LED Lighting
80 | Refrigerated Display Case Lighting Controls
81 | Strip Curtains for Walk-ins
82 | Chilled Water Controls Optimization
83 | Chilled Water System - Variable Speed Drives
84 | Cool Roof
85 | High Efficiency Chiller (Air Cooled, 50 tons)
86 | High Efficiency Chiller (Water cooled-centrifugal, 200 tons)
87 | Thermal Energy Storage
88 | Air Curtains
89 | Airside Economizer
90 | Ceiling Insulation(R12 to R38)
91 | Ceiling Insulation(R19 to R38)
92 | Ceiling Insulation(R2 to R38)
93 | Ceiling Insulation(R30 to R38)
94 | Dedicated Outdoor Air System on VRF unit
95 | Destratification Fans
96 | Duct Insulation
97 | Duct Sealing Repair
98 | Energy Recovery Ventilation System (ERV)
99 | Facility Commissioning
100 | Floor Insulation
101 | Geothermal Heat Pump
102 | Green Roof
103 | High Efficiency Chiller (Water cooled-positive displacement, 100 tons)
104 | High Efficiency Data Center Cooling
105 | High Efficiency DX 135k- less than 240k BTU
106 | High Efficiency PTAC
107 | High Efficiency PTHP
108 | Hotel Card Energy Control Systems
109 | HVAC tune-up
110 | Infiltration Reduction - Air Sealing
111 | Low U-Value Windows
112 | Programmable Thermostat
113 | Roof Insulation
114 | Smart Thermostat
115 | Variable Refrigerant Flow (VRF) HVAC Systems
116 | Wall Insulation
117 | Warehouse Loading Dock Seals
118 | Water Cooled Refrigeration Heat Recovery
119 | Waterside Economizer
120 | Window Sun Protection
121 | ECM Motors on Furnaces
122 | 10HP Open Drip-Proof(ODP) Motor
123 | CO Sensors for Parking Garage Exhaust
124 | Demand Controlled Ventilation
125 | High Speed Fans
126 | VAV System
Industrial - Energy Efficiency
1 | Building Envelope Improvements
2 | HVAC Equipment Upgrades
3 | HVAC Recommissioning
4 | HVAC Improved Controls
5 | Efficient Lighting - High Bay
6 | Efficient Lighting - Other Interior Lighting
7 | Lighting Controls
8 | Efficient Lighting - Exterior
9 | Lighting Controls - Exterior
10 | Compressed Air System Optimization
11 | Compressed Air Controls
12 | Compressed Air Equipment
13 | Fan Improved Controls
14 | Fan System Optimization
15 | Fan Equipment Upgrades
16 | Pump Improved Controls
17 | Pump System Optimization
18 | Pump Equipment Upgrade
19 | Motor Equipment Upgrades
20 | Motor Improved Controls
21 | Motor Optimization
22 | Process Heat Improved Controls
23 | Process Heat System Optimization
24 | Process Heat Equipment Upgrade
25 | Process Other Systems Optimization
26 | Process Other Equipment Upgrades
27 | Process Refrig System Optimization
28 | Process Refrig Controls
29 | Process Refrig Equipment Upgrade
30 | Plant Energy Management
Demand Response
Residential - Demand Response
1 | Central air conditioner - Load Shed
2 | Central Heating - Load Shed
3 | Central air conditioner - 50% cycling
4 | Central Heating - 50% cycling
5 | Smart thermostats - Utility Installation
6 | Smart thermostats - BYOT
7 | CPP + Tech
8 | Water heater switches
9 | Pool pump switches
10 | Room AC
Commercial - Demand Response
1 | Central air conditioner - Load Shed
2 | Central Heating - Load Shed
3 | Central air conditioner - 50% cycling
4 | Central Heating - 50% cycling
5 | Smart thermostats - Utility Installation
6 | Smart thermostats - BYOT
7 | CPP + Tech
Large Commercial/Industrial - Demand Response
1 | CPP + Tech
2 | Auto DR
3 | Firm Service Level
4 | Guaranteed Load Drop
Distributed Energy Resources
Residential - Distributed Energy Resources
1 | PV System
2 | Battery Storage from PV System
Commercial/Industrial - Distributed Energy Resources
1 | PV System
2 | Battery Storage from PV System
3 | CHP – Fuel Cell
4 | CHP – Micro Turbine
5 | CHP – Gas Turbine
6 | CHP – Reciprocating Engine
7 | CHP - Steam Turbine
Total Measures Evaluated
247 | Energy Efficiency
21 | Demand Response
9 | Distributed Energy Resources
Total Measure Permutations
4196 | Energy Efficiency
74 | Demand Response
47 | Distributed Energy Resources

## 2013 Measures list
2013 - Comprehensive Technical Potential Measure List
Energy Efficiency
Residential - Energy Efficiency
1 | 15 SEER Split-System Air Conditioner
2 | 15 SEER Split-System Heat Pump
3 | 17 SEER Split-System Air Conditioner
4 | 17 SEER Split-System Heat Pump
5 | 19 SEER Split-System Air Conditioner
6 | AC Heat Recovery Units
7 | AC Maintenance (Indoor Coil Cleaning)
8 | AC Maintenance (Outdoor Coil Cleaning)
9 | Ceiling R-0 to R-19 Insulation
10 | Ceiling R-19 to R-38 Insulation
11 | CFL (18-Watt integral ballast), 0.5 hr/day
12 | CFL (18-Watt integral ballast), 2.5 hr/day
13 | CFL (18-Watt integral ballast), 6.0 hr/day
14 | Default Window With Sunscreen
15 | Duct Repair
16 | Electronically Commutated Motors (ECM) on an Air Handler Unit
17 | Energy Star CW CEE Tier 2 (MEF=2.0)
18 | Energy Star CW CEE Tier 3 (MEF=2.2)
19 | Energy Star Desktop PC
20 | Energy Star DVD Player
21 | Energy Star DW (EF=0.68)
22 | Energy Star Laptop PC
23 | Energy Star Set-Top Box
24 | Energy Star TV
25 | Energy Star VCR
26 | Faucet Aerators
27 | HE Freezer
28 | HE Refrigerator - Energy Star version of above
29 | HE Room Air Conditioner - EER 11
30 | HE Room Air Conditioner - EER 12
31 | Heat Pump Water Heater (EF=2.9)
32 | Heat Trap
33 | High Efficiency One Speed Pool Pump (1.5 hp)
34 | LED (12-Watt integral ballast)
35 | Low Flow Showerhead
36 | Photovoltaic System
37 | Pipe Wrap
38 | Proper Refrigerant Charging and Air Flow
39 | PV-Powered Pool Pumps
40 | Radient Barrier
41 | Reflective Roof
42 | Refrigerator/freezer recycling
43 | RET 2L4'T8, 1EB
44 | ROB 2L4'T8, 1EB
45 | Sealed Attic w/Sprayed Foam Insulated Roof Deck
46 | Sealed Attics
47 | Single Pane Clear Windows to Double Pane Low-E Windows
48 | Smart Plug
49 | Solar Water Heating
50 | Two Speed Pool Pump (1.5 hp)
51 | Variable-Speed Pool Pump (<1 hp)
52 | Wall 2x4 R-0 to Blow-In R-13 Insulation
53 | Water Heater Blanket
54 | Water Heater Temperature Check and Adjustment
55 | Water Heater Timeclock
56 | Weather Strip/Caulk w/Blower Door
57 | Window Film
58 | Window Tinting
Commercial - Energy Efficiency
1 | Aerosole Duct Sealing
2 | Air Handler Optimization
3 | Anti-sweat (humidistat) controls
4 | Ceiling Insulation
5 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
6 | CFL Hardwired, Modular 18W
7 | CFL Screw-in 18W
8 | Chiller Tune Up/Diagnostics
9 | Compressor VSD retrofit
10 | Continuous Dimming
11 | Convection Oven
12 | Cool Roof
13 | Copier Power Management Enabling
14 | dehumidification hybrid desiccant heat pump
15 | Demand Control Ventilation (DCV)
16 | Demand controlled circulating systems
17 | Demand Defrost Electric
18 | Demand Hot Gas Defrost
19 | Duct/Pipe Insulation
20 | DX Coil Cleaning
21 | DX Packaged System, EER=11.9, 10 tons
22 | DX Tune Up/ Advanced Diagnostics
23 | Efficient compressor motor
24 | Efficient Fryer
25 | Electronically Commutated Motors (ECM) on an Air Handler Unit
26 | EMS - Chiller
27 | EMS Optimization
28 | Energy Recovery Ventilation (ERV)
29 | Energy Star or Better Copier
30 | Energy Star or Better Monitor
31 | Evaporator fan controller for MT walk-ins
32 | Faucet Aerator
33 | Floating head pressure controls
34 | Flood LED 14W
35 | Freezer-Cooler Replacement Gaskets
36 | Geothermal Heat Pump, EER=13, 10 tons
37 | Griddle
38 | HE PTAC, EER=9.6, 1 ton
39 | Heat Pump Water Heater (air source)
40 | Heat Recovery Unit
41 | Heat Trap
42 | High Bay T5
43 | High Efficiency Chiller Motors
44 | High Efficiency Fan Motor, 15hp, 1800rpm, 92.4%
45 | High Pressure Sodium 250W Lamp
46 | High R-Value Glass Doors
47 | High-efficiency fan motors
48 | Holding Cabinet
49 | Hot Water Pipe Insulation
50 | Hybrid Dessicant-DX System (Trane CDQ)
51 | Ice Machine
52 | LED (12-Watt)
53 | LED Display Lighting
54 | LED Exit Sign
55 | LED High Bay 83W (400W equivalent)
56 | LED Linear Tube 22W
57 | Lighting Control Tuneup
58 | Monitor Power Management Enabling
59 | Multiplex Compressor System
60 | Night covers for display cases
61 | Occupancy Sensor
62 | Occupancy Sensor (hotels)
63 | Optimize Controls
64 | Outdoor LED 104W
65 | Outdoor Lighting Controls (Photocell/Timeclock)
66 | Oversized Air Cooled Condenser
67 | Packaged HP System, EER=11.7, 10 tons
68 | PC Manual Power Management Enabling
69 | PC Network Power Management Enabling
70 | Photovoltaic System
71 | Premium T8, EB, Reflector
72 | Premium T8, Elecctronic Ballast
73 | Printer Power Management Enabling
74 | PSMH, 250W, magnetic ballast
75 | Refrigeration Commissioning
76 | ROB Premium T8, 1EB
77 | ROB Premium T8, EB, Reflector
78 | Roof Insulation
79 | Run Time Optimizer
80 | Separate Makeup Air / Exhaust Hoods AC
81 | Server Virtualization
82 | Showerhead
83 | Solar Water Heater
84 | Steamer
85 | Strip curtains for walk-ins
86 | Thermal Energy Storage (TES)
87 | Variable Speed Drive Control
88 | Vending Misers (cooled machines only)
89 | VSD for Chiller Pumps and Towers
90 | Window Film (Standard)
Industrial - Energy Efficiency
1 | Aerosole Duct Sealing
2 | Air conveying systems
3 | Bakery - Process
4 | Bakery - Process (Mixing) - O&M
5 | Centrifugal Chiller, 0.51 kW/ton, 500 tons
6 | CFL Hardwired, Modular 18W
7 | CFL Screw-in 18W
8 | Chiller Tune Up/Diagnostics
9 | Clean Room - Controls
10 | Clean Room - New Designs
11 | Comp Air - ASD (100+ hp)
12 | Comp Air - ASD (1-5 hp)
13 | Comp Air - ASD (6-100 hp)
14 | Comp Air - Motor practices-1 (100+ HP)
15 | Comp Air - Motor practices-1 (1-5 HP)
16 | Comp Air - Motor practices-1 (6-100 HP)
17 | Comp Air - Replace 100+ HP motor
18 | Comp Air - Replace 1-5 HP motor
19 | Comp Air - Replace 6-100 HP motor
20 | Compressed Air - Controls
21 | Compressed Air - System Optimization
22 | Compressed Air- Sizing
23 | Compressed Air-O&M
24 | Cool Roof
25 | Direct drive Extruders
26 | Drives - EE motor
27 | Drives - Optimization process (M&T)
28 | Drives - Process Control
29 | Drives - Process Controls (batch + site)
30 | Drives - Scheduling
31 | Drying (UV/IR)
32 | Duct/Pipe Insulation
33 | DX Coil Cleaning
34 | DX Packaged System, EER=11.9, 10 tons
35 | DX Tune Up/ Advanced Diagnostics
36 | Efficient Curing ovens
37 | Efficient desalter
38 | Efficient drives
39 | Efficient drives - rolling
40 | Efficient electric melting
41 | Efficient grinding
42 | Efficient Machinery
43 | Efficient practices printing press
44 | Efficient Printing press (fewer cylinders)
45 | Efficient processes (welding, etc.)
46 | Efficient Refrigeration - Operations
47 | EMS - Chiller
48 | EMS Optimization - Chiller
49 | Extruders/injection Moulding-multipump
50 | Fans - ASD (100+ hp)
51 | Fans - ASD (1-5 hp)
52 | Fans - ASD (6-100 hp)
53 | Fans - Controls
54 | Fans - Motor practices-1 (100+ HP)
55 | Fans - Motor practices-1 (1-5 HP)
56 | Fans - Motor practices-1 (6-100 HP)
57 | Fans - O&M
58 | Fans - Replace 100+ HP motor
59 | Fans - Replace 1-5 HP motor
60 | Fans - Replace 6-100 HP motor
61 | Fans - System Optimization
62 | Fans- Improve components
63 | Gap Forming papermachine
64 | Geothermal Heat Pump, EER=13, 10 tons
65 | Heat Pumps - Drying
66 | Heating - Optimization process (M&T)
67 | Heating - Process Control
68 | Heating - Scheduling
69 | High Bay T5
70 | High Consistency forming
71 | High Efficiency Chiller Motors
72 | Hybrid Dessicant-DX System (Trane CDQ)
73 | Injection Moulding - Direct drive
74 | Injection Moulding - Impulse Cooling
75 | Intelligent extruder (DOE)
76 | Light cylinders
77 | Machinery
78 | Membranes for wastewater
79 | Near Net Shape Casting
80 | New transformers welding
81 | O&M - Extruders/Injection Moulding
82 | O&M/drives spinning machines
83 | Occupancy Sensor
84 | Optimization control PM
85 | Optimization Refrigeration
86 | Optimize Controls
87 | Optimize drying process
88 | Other Process Controls (batch + site)
89 | Power recovery
90 | Premium T8, Electronic Ballast
91 | Process control
92 | Process Drives - ASD
93 | Process optimization
94 | Pumps - ASD (100+ hp)
95 | Pumps - ASD (1-5 hp)
96 | Pumps - ASD (6-100 hp)
97 | Pumps - Controls
98 | Pumps - Motor practices-1 (100+ HP)
99 | Pumps - Motor practices-1 (1-5 HP)
100 | Pumps - Motor practices-1 (6-100 HP)
101 | Pumps - O&M
102 | Pumps - Replace 100+ HP motor
103 | Pumps - Replace 1-5 HP motor
104 | Pumps - Replace 6-100 HP motor
105 | Pumps - Sizing
106 | Pumps - System Optimization
107 | Refinery Controls
108 | Replace V-Belts
109 | Roof Insulation
110 | Top-heating (glass)
111 | VSD for Chiller Pumps and Towers
112 | Window Film (Standard) - Chiller
113 | Run Time Optimizer
114 | Dehumidification Hybrid Desiccant Heat Pump (5 TON)
115 | LED Linear Tube 22W
116 | Flood LED 14W
117 | LED High Bay 83W
Demand Response
Residential
1 | In home display with peak threshold warning system and pre set
control strategies
2 | On-off switching via low-power wireless communication technology
3 | Smart thrermostats
4 | Switch - cycling program
5 | Switch - shedding program
Commercial
1 | Automated control strategies
2 | Direct load control
Industrial
1 | Automated control strategies
2 | Direct load control
Total Measures
265 | Energy Efficiency
9 | Demand Response
274 | Total

## 2018 add or eliminated
2018 - Comprehensive Technical Potential Measure List
Energy Efficiency
Residential - Energy Efficiency - Added
Energy Star Clothes Dryer
Heat Pump Clothes Dryer
High Efficiency Convection Oven
High Efficiency Induction Cooktop
Drain Water Heat Recovery
Instantaneous Hot Water System
Thermostatic Shower Restriction Valve
Energy Star Air Purifier
Energy Star Imaging Equipment
Exterior Lighting Controls
Interior Lighting Controls
Energy Star Bathroom Ventilating Fan
Energy Star Ceiling Fan
Energy Star Dehumidifier
Heat Pump Pool Heater
Solar Pool Heater
Solar Attic Fan
14 SEER ASHP from base electric resistance heating
Duct Insulation
Energy Star Door
Floor Insulation
Green Roof
Heat Pump Tune Up
Home Energy Management System
Programmable Thermostat
Smart Thermostat
Storm Door
Variable Refrigerant Flow (VRF) HVAC Systems
Residential - Energy Efficiency - Removed
Weather stripping/With Caulk
Water Heater Time Clock
Commercial - Energy Efficiency - Added
Induction Cooktops
Energy Star Commercial Dishwasher
Hot Water Circulation Pump Control
Instantaneous Hot Water System
Low-Flow Pre-Rinse Sprayers
Tank Wrap on Water Heater
Thermostatic Shower Restriction Valve
Efficient Battery Charger
Efficient Motor Belts
ENERGY STAR Commercial Clothes Washer
ENERGY STAR Water Cooler
Engine Block Timer
Regenerative Drive Elevator Motor
Solar Pool Heater
Heat Pump Pool Heater
Two Speed Pool Pump
Variable Speed Pool Pump
Solar Powered Pool Pump
Retro-Commissioning
Energy Star Uninterruptable Power Supply
Smart Strip Plug Outlet
Energy Star Commercial Glass Door Freezer
Energy Star Commercial Glass Door Refrigerator
Energy Star Commercial Solid Door Freezer
Energy Star Commercial Solid Door Refrigerator
Energy Star Refrigerator
Energy Star Vending Machine
High Efficiency Refrigeration Compressor
Night Covers for Display Cases
Air Curtains
Airside Economizer
Dedicated Outdoor Air System on VRF unit
Destratification Fans
Facility Commissioning
Floor Insulation
Green Roof
Hotel Card Energy Control Systems
Infiltration Reduction - Air Sealing
Low U-Value Windows
Programmable Thermostat
Smart Thermostat
Variable Refrigerant Flow (VRF) HVAC Systems
Wall Insulation
Warehouse Loading Dock Seals
Water Cooled Refrigeration Heat Recovery
Waterside Economizer
ECM Motors on Furnaces
CO Sensors for Parking Garage Exhaust
High Speed Fans
Commercial - Energy Efficiency - Removed
Chiller Tuneup Diagnostic
Compressor VSD Retrofit
Continuous Dimming
Copier Power Management Enabling
Evaporator fan controller for MT walk-ins
Printer Power Management Enabling
Run Time Optimizer
Vending Misers (cooled machines only)
Industrial - Energy Efficiency
Plant Energy Management
Industrial - Energy Efficiency - Removed
Aerosole Duct Sealing
Efficient desalter
Power recovery
Demand Response
Residential - Demand Response - Added
No Measures added
Residential - Demand Response - Removed
No Measures removed
Commercial - Demand Response - Added
CPP + Tech
Commercial - Demand Response - Removed
No Measures removed
Large Commercial/Industrial - Demand Response - Added
CPP + Tech
Large Commercial/Industrial - Demand Response - Removed
No Measures removed
Distributed Energy Resources
Residential - Distributed Energy Resources - Added
Battery Storage from PV System
Residential - Distributed Energy Resources - Removede
No Measures removed
Commercial/Industrial - Distributed Energy Resources - Added
Battery Storage from PV System
CHP – Fuel Cell
CHP – Micro Turbine
CHP – Gas Turbine
CHP – Reciprocating Engine
CHP - Steam Turbine
Commercial/Industrial - Distributed Energy Resources - Added
No Measures removed