- Technical Potential

Energy Efficiency:			SkW	1,138 MW

WkW	   583 MW

AE	4,483 GWh

Demand Response:			SkW	2,399 MW

WkW	2,318 MW

AE	       0 GWh

Distributed Energy Resources:	SkW	 2,215 MW

WkW	     619 MW

AE     	12,266 GWh

- Economic Potential

RIM Based

Energy Efficiency:			SkW	   824 MW

WkW	      93 MW

AE	1,314 GWh

Demand Response:			SkW	2,399 MW

WkW	2,318 MW

AE	       0 GWh

Distributed Energy Resources:	SkW	   1,705 MW

WkW	      600 MW

AE     	10,056 GWh

TRC Based

Energy Efficiency:			SkW	   326 MW

WkW	   160 MW

AE	1,115 GWh

Demand Response:			SkW	2,330 MW

WkW	2,223 MW

AE	       0 GWh

Distributed Energy Resources:	SkW	        0 MW

WkW	        0 MW

AE                 0 GWh

- Low and High Fuel Sensitivities

RIM Based Low Fuel Sensitivity

Energy Efficiency:			SkW	   270 MW

WkW	   153 MW

AE	1,196 GWh

Demand Response:			SkW	2,399 MW

WkW	2,318 MW

AE	       0 GWh

Distributed Energy Resources:	SkW	       0 MW

WkW	       0 MW

AE     	       0 GWh

TRC Based Low Fuel Sensitivity

Energy Efficiency:			SkW	   321 MW

WkW	   263 MW

AE	1,739 GWh

Demand Response:			SkW	2,330 MW

WkW	2,223 MW

AE	       0 GWh

Distributed Energy Resources:	SkW	        0 MW

WkW	        0 MW

AE                 0 GWh

RIM Based High Fuel Sensitivity

Energy Efficiency:			SkW	   333 MW

WkW	      191 MW

AE	1,534 GWh

Demand Response:			SkW	2,399 MW

WkW	2,318 MW

AE	       0 GWh

Distributed Energy Resources:	SkW	       0 MW

WkW	       0 MW

AE                0 GWh

TRC Based High Fuel Sensitivity

Energy Efficiency:			SkW	   384 MW

WkW	   283 MW

AE	2,020 GWh

Demand Response:			SkW	2,316 MW

WkW	2,176 MW

AE	       0 GWh

Distributed Energy Resources:	SkW	        0 MW

WkW	        0 MW

AE                 0 GWh

- One and Three-Year Free-Ridership Sensitivities

RIM Based One-Year Free-Ridership

Energy Efficiency:			SkW	   204 MW

WkW	   107 MW

AE	   999 GWh

Demand Response:			SkW	2,399 MW

WkW	2,318 MW

AE	       0 GWh

Distributed Energy Resources:	SkW	       0 MW

WkW	       0 MW

AE     	       0 GWh

TRC Based One-Year Free-Ridership

Energy Efficiency:			SkW	   210 MW

WkW	   167 MW

AE	1,275 GWh

Demand Response:			SkW	2,330 MW

WkW	2,223 MW

AE	       0 GWh

Distributed Energy Resources:	SkW	        0 MW

WkW	        0 MW

AE                 0 GWh

RIM Based Three-Year Free-Ridership

Energy Efficiency:			SkW	   127 MW

WkW	      61 MW

AE	    570 GWh

Demand Response:			SkW	2,399 MW

WkW	2,318 MW

AE	       0 GWh

Distributed Energy Resources:	SkW	       0 MW

WkW	       0 MW

AE     	       0 GWh

TRC Based RIM Based Three-Year Free-Ridership

Energy Efficiency:			SkW	   102 MW

WkW	     64 MW

AE	   488 GWh

Demand Response:			SkW	2,330 MW

WkW	2,223 MW

AE	       0 GWh

Distributed Energy Resources:	SkW	        0 MW

WkW	        0 MW

AE                 0 GWh

- Two-Year Free-Ridership Consideration

RIM Based

Energy Efficiency:			SkW	   158 MW

WkW	      91 MW

AE	   747 GWh

Demand Response:			SkW	2,399 MW

WkW	2,318 MW

AE	       0 GWh

Distributed Energy Resources:	SkW	       0 MW

WkW	       0 MW

AE     	       0 GWh

TRC Based

Energy Efficiency:			SkW	   135 MW

WkW	   103 MW

AE	   686 GWh

Demand Response:			SkW	2,330 MW

WkW	2,223 MW

AE	       0 GWh

Distributed Energy Resources:	SkW	        0 MW

WkW	        0 MW

AE                 0 GWh

- Achievable Potential at Meter

RIM Based

Residential:				SkW	   50.3 MW

WkW	   23.7 MW

AE	   98.1 GWh

Commercial/Industrial:		SkW	   24.1 MW

WkW	   16.7 MW

AE	   58.4 GWh

Combined:				SkW	   74.4 MW

WkW	   40.4 MW

AE     	 156.5 GWh

TRC Based

Residential:				SkW	   115.74 MW

WkW	     44.9 MW

AE	   305.4 GWh

Commercial/Industrial:		SkW	     39.0 MW

WkW	     30.8 MW

AE	     87.6 GWh

Combined:				SkW	    154.7 MW

WkW	      75.6 MW

AE            392.92 GWh

- Achievable Potential at Generator

RIM Based – Proposed Goals

Residential:				SkW	   54.0 MW

WkW	   25.5 MW

AE	 103.6 GWh

Commercial/Industrial:		SkW	   25.8 MW

WkW	   17.8 MW

AE	   61.4 GWh

Combined:				SkW	   79.7 MW

WkW	   43.3 MW

AE     	 165.0 GWh

TRC Based

Residential:				SkW	   124.2 MW

WkW	     48.1 MW

AE	   322.5 GWh

Commercial/Industrial:		SkW	     41.7 MW

WkW	     32.9 MW

AE	     92.1 GWh

Combined:				SkW	    165.9 MW

WkW	      81.1 MW

AE            414.6 GWh