Tampa Electric’s Avoided Unit Data for 2020-2029

DSM Goals Setting

1. In‐service Date: 						January 1, 2023

2. Type of Unit: 						7 FA.05 CT

3. Type of Fuel: 						Natural Gas

4. Average Annual heat rate Average (Btu/kWh):		11,110

5. Cost of Fuel	Natural Gas (2023 $/MMBtu):		 5.59

6. Construction Cost (W/O AFUDC)

a: 2018 $000 						122,820

b: $/kW (based on winter rating) 			501.92

7. Construction Escalation Rate 2018 & beyond:		2.4 percent

8. In‐service Cost (W/AFUDC)

a: 2023 $000 						144,381

b: $/kW (based on average rating) 			590.03

9. Incremental Capital Structure

a: Debt 						46.00 percent

c: Common Stock 					54.00 percent

10. Cost of Capital

a: Debt 						4.50 percent

c: Common Stock					10.25 percent

11. Book Life							30 years

12. Tax Life							15 years

13. AFUDC Rate						6.46 percent

14. Effective Tax Rate						25.345 percent

15. Other Taxes (2023)					1.21 percent

16. Other Taxes Escalation Rate				0.00 percent

17. Discount Rate for Present Worth				7.080 percent

18. Fixed O&M Costs (2018 $/kW/yr)				5.56

19. Variable O&M Costs (2018 $/MWh)			11.46

20. O&M Escalation Rate 2018 & beyond			2.4 percent

21. Value of K‐factor						1.521

22. Capacity (kW) Winter					245,000

23 Capacity (kW) Summer					229,000