Tampa Electric’s Cost-Effectiveness Inputs

for 2020-2029 DSM Goals Setting

Line Losses and Outage Rate                			units

Residential Line loss percentage				7.3 percent

Commercial/Industrial Line loss percentage			7.0 percent

Forced outage rate						3.4 percent

Life & k factors						units

Generator economic life 					25 years

T&D economic life 						25 years

k factor for generation				 	1.5213

k factor for T&D					 	1.5213

Utility & Customer costs					units

Utility cost escalation rate			 		2.4 percent

Customer equipment escalation rate 			2.3 percent

Customer O&M escalation rate			 	2.3 percent

Utility discount rate				 		7.08 percent

Utility AFUDC rate				 		6.46 percent

Utility rebate/incentive escalation rate			0.0 percent

Avoided generator, trans., & dist. Costs			units

Base year					 		2020

In-service year for avoided generating unit			2023

In-service year for avoided T&D			 	2021

Base year avoided generating unit cost			$526.30/kW

Base year avoided transmission cost 				$34.90/kW

Base year distribution cost					$82.37/kW

Gen., tran., & dist. cost escalation rate			2.4 percent

Generator fixed O&M cost			 		$5.83/kW-yr

Generator fixed O&M escalation rate		 	2.4 percent

Transmission fixed O&M cost			 		$2.78/kW-yr

Distribution fixed O&M cost			 		$11.34/kW-yr

T&D fixed O&M escalation rate			 	2.4 percent

Avoided gen unit variable O&M costs		 	0.210cents/kWh

Generator variable O&M cost escalation rate		2.4 percent

Generator capacity factor			 		9.1 percent

Avoided generating unit fuel cost		 		3.75cents/kWh

Avoided gen unit fuel escalation rate		 		4.54 percent

Avoided purchase capacity cost per kW		 	$0/kW-yr

Capacity cost escalation rate			 		0 percent