## Summary
Summary
Residential Energy (MWh)
Year | Goals | Residential Audits | Residential HVAC | Total | Total - Goals
2015 | 23 | 38.5567 | 377.4227 | 415.9794 | 392.9794
2016 | 30 | 38.5567 | 377.083 | 415.6397 | 385.6397
2017 | 38 | 38.5567 | 377.083 | 415.6397 | 377.6397
2018 | 45 | 38.5567 | 377.083 | 415.6397 | 370.6397
2019 | 53 | 38.5567 | 377.083 | 415.6397 | 362.6397
2020 | 60 | 38.5567 | 377.083 | 415.6397 | 355.6397
2021 | 67 | 38.5567 | 377.083 | 415.6397 | 348.6397
2022 | 73 | 38.5567 | 377.083 | 415.6397 | 342.6397
2023 | 78 | 38.5567 | 377.083 | 415.6397 | 337.6397
2024 | 84 | 38.5567 | 377.083 | 415.6397 | 331.6397
Residential Summer Demand (MW)
Year | Goals | Residential Audits | Residential HVAC | Total | Total - Goals
2015 | 0.036 | 0.015697 | 0.19759 | 0.21328 | 0.17728
2016 | 0.046 | 0.015697 | 0.19759 | 0.21328 | 0.16728
2017 | 0.056 | 0.015697 | 0.19759 | 0.21328 | 0.15728
2018 | 0.067 | 0.015697 | 0.19759 | 0.21328 | 0.14628
2019 | 0.078 | 0.015697 | 0.19759 | 0.21328 | 0.13528
2020 | 0.089 | 0.015697 | 0.19759 | 0.21328 | 0.12428
2021 | 0.099 | 0.015697 | 0.19759 | 0.21328 | 0.11428
2022 | 0.107 | 0.015697 | 0.19759 | 0.21328 | 0.10628
2023 | 0.117 | 0.015697 | 0.19759 | 0.21328 | 0.096282
2024 | 0.123 | 0.015697 | 0.19759 | 0.21328 | 0.090282
Residential Winter Demand (MW)
Year | Goals | Residential Audits | Residential HVAC | Total | Total - Goals
2015 | 0.012 | 0.013282 | 0.10867 | 0.12195 | 0.10995
2016 | 0.015 | 0.013282 | 0.10867 | 0.12195 | 0.10695
2017 | 0.018 | 0.013282 | 0.10867 | 0.12195 | 0.10395
2018 | 0.022 | 0.013282 | 0.10867 | 0.12195 | 0.099954
2019 | 0.025 | 0.013282 | 0.10867 | 0.12195 | 0.096954
2020 | 0.028 | 0.013282 | 0.10867 | 0.12195 | 0.093954
2021 | 0.031 | 0.013282 | 0.10867 | 0.12195 | 0.090954
2022 | 0.034 | 0.013282 | 0.10867 | 0.12195 | 0.087954
2023 | 0.036 | 0.013282 | 0.10867 | 0.12195 | 0.085954
2024 | 0.039 | 0.013282 | 0.10867 | 0.12195 | 0.082954
Commercial Energy (MWh)
Year | Goals | Commercial HVAC | Chiller Upgrade | Reflective Roof | Window Film | Total | Total - Goals
2015 | 55 | 37.7423 | 84.4773 | 0 | 20.1134 | 142.333 | 87.333
2016 | 78 | 37.7423 | 84.4773 | 12.6289 | 20.1134 | 154.9619 | 76.9619
2017 | 94 | 37.7423 | 84.4773 | 25.2577 | 20.1134 | 167.5907 | 73.5907
2018 | 115 | 37.7423 | 84.4773 | 37.8866 | 20.1134 | 180.2196 | 65.2196
2019 | 148 | 37.7423 | 84.4773 | 50.5155 | 20.1134 | 192.8485 | 44.8485
2020 | 168 | 37.7423 | 168.9546 | 63.1443 | 20.1134 | 289.9546 | 121.9546
2021 | 182 | 37.7423 | 168.9546 | 63.1443 | 20.1134 | 289.9546 | 107.9546
2022 | 202 | 37.7423 | 168.9546 | 63.1443 | 20.1134 | 289.9546 | 87.9546
2023 | 215 | 37.7423 | 168.9546 | 63.1443 | 20.1134 | 289.9546 | 74.9546
2024 | 229 | 37.7423 | 168.9546 | 63.1443 | 20.1134 | 289.9546 | 60.9546
Commercial Summer Demand (MW)
Year | Goals | Commercial HVAC | Chiller Upgrade | Reflective Roof | Window Film | Total | Total - Goals
2015 | 0.021 | 0.019759 | 0.046981 | 0 | 0.010977 | 0.077717 | 0.056717
2016 | 0.027 | 0.019759 | 0.046981 | 0.004955 | 0.010977 | 0.082672 | 0.055672
2017 | 0.031 | 0.019759 | 0.046981 | 0.0099099 | 0.010977 | 0.087627 | 0.056627
2018 | 0.039 | 0.019759 | 0.046981 | 0.014865 | 0.010977 | 0.092582 | 0.053582
2019 | 0.045 | 0.019759 | 0.046981 | 0.01982 | 0.010977 | 0.097537 | 0.052537
2020 | 0.052 | 0.019759 | 0.093963 | 0.024775 | 0.010977 | 0.14947 | 0.097473
2021 | 0.058 | 0.019759 | 0.093963 | 0.024775 | 0.010977 | 0.14947 | 0.091473
2022 | 0.058 | 0.019759 | 0.093963 | 0.024775 | 0.010977 | 0.14947 | 0.091473
2023 | 0.065 | 0.019759 | 0.093963 | 0.024775 | 0.010977 | 0.14947 | 0.084473
2024 | 0.071 | 0.019759 | 0.093963 | 0.024775 | 0.010977 | 0.14947 | 0.078473
Commercial Winter Demand (MW)
Year | Goals | Commercial HVAC | Chiller Upgrade | Reflective Roof | Window Film | Total | Total - Goals
2015 | 0.01 | 0.010867 | 0.034797 | 0 | 0 | 0.045664 | 0.035664
2016 | 0.008 | 0.010867 | 0.034797 | 0 | 0 | 0.045664 | 0.037664
2017 | 0.009 | 0.010867 | 0.034797 | 0 | 0 | 0.045664 | 0.036664
2018 | 0.018 | 0.010867 | 0.034797 | 0 | 0 | 0.045664 | 0.027664
2019 | 0.018 | 0.010867 | 0.034797 | 0 | 0 | 0.045664 | 0.027664
2020 | 0.018 | 0.010867 | 0.069594 | 0 | 0 | 0.080461 | 0.062461
2021 | 0.018 | 0.010867 | 0.069594 | 0 | 0 | 0.080461 | 0.062461
2022 | 0.027 | 0.010867 | 0.069594 | 0 | 0 | 0.080461 | 0.053461
2023 | 0.027 | 0.010867 | 0.069594 | 0 | 0 | 0.080461 | 0.053461
2024 | 0.027 | 0.010867 | 0.069594 | 0 | 0 | 0.080461 | 0.053461
Total Energy (MWh)
Year | Goals | Program Total | Program Total - Goals
2015 | 78 | 558.3124 | 480.3124
2016 | 108 | 570.6016 | 462.6016
2017 | 132 | 583.2304 | 451.2304
2018 | 160 | 595.8593 | 435.8593
2019 | 201 | 608.4882 | 407.4882
2020 | 228 | 705.5943 | 477.5943
2021 | 249 | 705.5943 | 456.5943
2022 | 275 | 705.5943 | 430.5943
2023 | 293 | 705.5943 | 412.5943
2024 | 313 | 705.5943 | 392.5943
Total Summer Demand (MW)
Year | Goals | Program Total | Program Total - Goals
2015 | 0.057 | 0.291 | 0.234
2016 | 0.073 | 0.29595 | 0.22295
2017 | 0.087 | 0.30091 | 0.21391
2018 | 0.106 | 0.30586 | 0.19986
2019 | 0.123 | 0.31082 | 0.18782
2020 | 0.141 | 0.36275 | 0.22175
2021 | 0.157 | 0.36275 | 0.20575
2022 | 0.165 | 0.36275 | 0.19775
2023 | 0.182 | 0.36275 | 0.18075
2024 | 0.194 | 0.36275 | 0.16875
Total Winter Demand (MW)
Year | Goals | Program Total | Program Total - Goals
2015 | 0.022 | 0.16762 | 0.14562
2016 | 0.023 | 0.16762 | 0.14462
2017 | 0.027 | 0.16762 | 0.14062
2018 | 0.04 | 0.16762 | 0.12762
2019 | 0.043 | 0.16762 | 0.12462
2020 | 0.046 | 0.20241 | 0.15641
2021 | 0.049 | 0.20241 | 0.15341
2022 | 0.061 | 0.20241 | 0.14141
2023 | 0.063 | 0.20241 | 0.13941
2024 | 0.066 | 0.20241 | 0.13641

## Commercial Chiller Upgrade
Commercial Chiller Upgrade
AT THE METER
Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction
2015 | 81943 | 31.7 | 42.8 | 81943 | 31.7 | 42.8
2016 | 81943 | 31.7 | 42.8 | 81943 | 31.7 | 42.8
2017 | 81943 | 31.7 | 42.8 | 81943 | 31.7 | 42.8
2018 | 81943 | 31.7 | 42.8 | 81943 | 31.7 | 42.8
2019 | 81943 | 31.7 | 42.8 | 81943 | 31.7 | 42.8
2020 | 81943 | 31.7 | 42.8 | 163886 | 63.4 | 85.6
2021 | 81943 | 31.7 | 42.8 | 163886 | 63.4 | 85.6
2022 | 81943 | 31.7 | 42.8 | 163886 | 63.4 | 85.6
2023 | 81943 | 31.7 | 42.8 | 163886 | 63.4 | 85.6
2024 | 81943 | 31.7 | 42.8 | 163886 | 63.4 | 85.6
AT THE GENERATOR
Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction
2015 | 84477.3196 | 34.7969 | 46.9813 | 84477.3196 | 34.7969 | 46.9813
2016 | 84477.3196 | 34.7969 | 46.9813 | 84477.3196 | 34.7969 | 46.9813
2017 | 84477.3196 | 34.7969 | 46.9813 | 84477.3196 | 34.7969 | 46.9813
2018 | 84477.3196 | 34.7969 | 46.9813 | 84477.3196 | 34.7969 | 46.9813
2019 | 84477.3196 | 34.7969 | 46.9813 | 84477.3196 | 34.7969 | 46.9813
2020 | 84477.3196 | 34.7969 | 46.9813 | 168954.6392 | 69.5939 | 93.9627
2021 | 84477.3196 | 34.7969 | 46.9813 | 168954.6392 | 69.5939 | 93.9627
2022 | 84477.3196 | 34.7969 | 46.9813 | 168954.6392 | 69.5939 | 93.9627
2023 | 84477.3196 | 34.7969 | 46.9813 | 168954.6392 | 69.5939 | 93.9627
2024 | 84477.3196 | 34.7969 | 46.9813 | 168954.6392 | 69.5939 | 93.9627
CUSTOMERS AND PARTICIPATION RATES
Year | Total Number of Non-Residential Customers | Total Number of Eligible Non-Residential Customers | Annual Number of Program Participants | Total Penetration Level % | Cumulative Number of Program Participants
2015 | 4275 | 4275 | 1 | 0.023392 | 1
2016 | 4275 | 4285 | 1 | 0.046784 | 2
2017 | 4275 | 4294 | 1 | 0.070175 | 3
2018 | 4275 | 4317 | 1 | 0.093567 | 4
2019 | 4275 | 4340 | 1 | 0.11696 | 5
2020 | 4275 | 4364 | 2 | 0.16374 | 7
2021 | 4275 | 4387 | 2 | 0.21053 | 9
2022 | 4275 | 4411 | 2 | 0.25731 | 11
2023 | 4275 | 4435 | 2 | 0.30409 | 13
2024 | 4275 | 4458 | 2 | 0.35088 | 15

## Residential HVAC
Residential Heating & Cooling Efficiency Upgrade Program
AT THE METER
Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction
2015 | 3661 | 0.99 | 1.8 | 366100 | 99 | 180
2016 | 3661 | 0.99 | 1.8 | 366100 | 99 | 180
2017 | 3661 | 0.99 | 1.8 | 366100 | 99 | 180
2018 | 3661 | 0.99 | 1.8 | 366100 | 99 | 180
2019 | 3661 | 0.99 | 1.8 | 366100 | 99 | 180
2020 | 3661 | 0.99 | 1.8 | 366100 | 99 | 180
2021 | 3661 | 0.99 | 1.8 | 366100 | 99 | 180
2022 | 3661 | 0.99 | 1.8 | 366100 | 99 | 180
2023 | 3661 | 0.99 | 1.8 | 366100 | 99 | 180
2024 | 3661 | 0.99 | 1.8 | 366100 | 99 | 180
AT THE GENERATOR
Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction
2015 | 3774.2268 | 1.0867 | 1.9759 | 377422.6804 | 108.6718 | 197.5851
2016 | 3770.83 | 1.0867 | 1.9759 | 377083 | 108.6718 | 197.5851
2017 | 3770.83 | 1.0867 | 1.9759 | 377083 | 108.6718 | 197.5851
2018 | 3770.83 | 1.0867 | 1.9759 | 377083 | 108.6718 | 197.5851
2019 | 3770.83 | 1.0867 | 1.9759 | 377083 | 108.6718 | 197.5851
2020 | 3770.83 | 1.0867 | 1.9759 | 377083 | 108.6718 | 197.5851
2021 | 3770.83 | 1.0867 | 1.9759 | 377083 | 108.6718 | 197.5851
2022 | 3770.83 | 1.0867 | 1.9759 | 377083 | 108.6718 | 197.5851
2023 | 3770.83 | 1.0867 | 1.9759 | 377083 | 108.6718 | 197.5851
2024 | 3770.83 | 1.0867 | 1.9759 | 377083 | 108.6718 | 197.5851
CUSTOMERS AND PARTICIPATION RATES
Year | Total Number of Residential Customers | Total Number of Eligible Residential Customers | Annual Number of Program Participants | Total Penetration Level % | Cumulative Number of Program Participants
2015 | 23284 | 23284 | 100 | 0.42948 | 100
2016 | 23335 | 23335 | 100 | 0.85708 | 200
2017 | 23387 | 23387 | 100 | 1.2828 | 300
2018 | 23513 | 23513 | 100 | 1.7012 | 400
2019 | 23639 | 23639 | 100 | 2.1151 | 500
2020 | 23766 | 23766 | 100 | 2.5246 | 600
2021 | 23894 | 23894 | 100 | 2.9296 | 700
2022 | 24022 | 24022 | 100 | 3.3303 | 800
2023 | 24151 | 24151 | 100 | 3.7266 | 900
2024 | 24281 | 24281 | 100 | 4.1184 | 1000

## Residential Audits
Residential Energy Survey Program
AT THE METER
Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction
2015 | 374 | 0.121 | 0.143 | 37400 | 12.1 | 14.3
2016 | 374 | 0.121 | 0.143 | 37400 | 12.1 | 14.3
2017 | 374 | 0.121 | 0.143 | 37400 | 12.1 | 14.3
2018 | 374 | 0.121 | 0.143 | 37400 | 12.1 | 14.3
2019 | 374 | 0.121 | 0.143 | 37400 | 12.1 | 14.3
2020 | 374 | 0.121 | 0.143 | 37400 | 12.1 | 14.3
2021 | 374 | 0.121 | 0.143 | 37400 | 12.1 | 14.3
2022 | 374 | 0.121 | 0.143 | 37400 | 12.1 | 14.3
2023 | 374 | 0.121 | 0.143 | 37400 | 12.1 | 14.3
2024 | 374 | 0.121 | 0.143 | 37400 | 12.1 | 14.3
AT THE GENERATOR
Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction
2015 | 385.567 | 0.13282 | 0.15697 | 38556.701 | 13.2821 | 15.697
2016 | 385.567 | 0.13282 | 0.15697 | 38556.701 | 13.2821 | 15.697
2017 | 385.567 | 0.13282 | 0.15697 | 38556.701 | 13.2821 | 15.697
2018 | 385.567 | 0.13282 | 0.15697 | 38556.701 | 13.2821 | 15.697
2019 | 385.567 | 0.13282 | 0.15697 | 38556.701 | 13.2821 | 15.697
2020 | 385.567 | 0.13282 | 0.15697 | 38556.701 | 13.2821 | 15.697
2021 | 385.567 | 0.13282 | 0.15697 | 38556.701 | 13.2821 | 15.697
2022 | 385.567 | 0.13282 | 0.15697 | 38556.701 | 13.2821 | 15.697
2023 | 385.567 | 0.13282 | 0.15697 | 38556.701 | 13.2821 | 15.697
2024 | 385.567 | 0.13282 | 0.15697 | 38556.701 | 13.2821 | 15.697
CUSTOMERS AND PARTICIPATION RATES
Year | Total Number of Residential Customers | Total Number of Eligible Residential Customers | Annual Number of Program Participants | Total Penetration Level % | Cumulative Number of Program Participants
2015 | 23284 | 23284 | 100 | 0.42948 | 100
2016 | 23335 | 23335 | 100 | 0.85708 | 200
2017 | 23387 | 23387 | 100 | 1.2828 | 300
2018 | 23513 | 23513 | 100 | 1.7012 | 400
2019 | 23639 | 23639 | 100 | 2.1151 | 500
2020 | 23766 | 23766 | 100 | 2.5246 | 600
2021 | 23894 | 23894 | 100 | 2.9296 | 700
2022 | 24022 | 24022 | 100 | 3.3303 | 800
2023 | 24151 | 24151 | 100 | 3.7266 | 900
2024 | 24281 | 24281 | 100 | 4.1184 | 1000

## Commercial Reflective Roof
Commercial Reflective Roof
AT THE METER
Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction
2015 | 2450 | 0 | 0.91 | 0 | 0 | 0
2016 | 2450 | 0 | 0.91 | 12250 | 0 | 4.55
2017 | 2450 | 0 | 0.91 | 24500 | 0 | 9.1
2018 | 2450 | 0 | 0.91 | 36750 | 0 | 13.65
2019 | 2450 | 0 | 0.91 | 49000 | 0 | 18.2
2020 | 2450 | 0 | 0.91 | 61250 | 0 | 22.75
2021 | 2450 | 0 | 0.91 | 61250 | 0 | 22.75
2022 | 2450 | 0 | 0.91 | 61250 | 0 | 22.75
2023 | 2450 | 0 | 0.91 | 61250 | 0 | 22.75
2024 | 2450 | 0 | 0.91 | 61250 | 0 | 22.75
AT THE GENERATOR
Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction
2015 | 2525.7732 | 0 | 0.9989 | 0 | 0 | 0
2016 | 2525.7732 | 0 | 0.99099 | 12628.866 | 0 | 4.955
2017 | 2525.7732 | 0 | 0.99099 | 25257.732 | 0 | 9.9099
2018 | 2525.7732 | 0 | 0.99099 | 37886.5979 | 0 | 14.8649
2019 | 2525.7732 | 0 | 0.99099 | 50515.4639 | 0 | 19.8198
2020 | 2525.7732 | 0 | 0.99099 | 63144.3299 | 0 | 24.7748
2021 | 2525.7732 | 0 | 0.99099 | 63144.3299 | 0 | 24.7748
2022 | 2525.7732 | 0 | 0.99099 | 63144.3299 | 0 | 24.7748
2023 | 2525.7732 | 0 | 0.99099 | 63144.3299 | 0 | 24.7748
2024 | 2525.7732 | 0 | 0.99099 | 63144.3299 | 0 | 24.7748
CUSTOMERS AND PARTICIPATION RATES
Year | Square Feet of Roof (1000) | Eligible Square Feet of Roof (1000) | Annual Number Square Feet of Roof (1000) | Total Penetration Level % | Cumulative Square Feet of Roof (1000)
2015 | 13600 | 13600 | 0 | 0 | 0
2016 | 13600 | 13600 | 5 | 0.036765 | 5
2017 | 13600 | 13600 | 10 | 0.11029 | 15
2018 | 13600 | 13600 | 15 | 0.22059 | 30
2019 | 13600 | 13600 | 20 | 0.36765 | 50
2020 | 13600 | 13600 | 25 | 0.55147 | 75
2021 | 13600 | 13600 | 25 | 0.73529 | 100
2022 | 13600 | 13600 | 25 | 0.91912 | 125
2023 | 13600 | 13600 | 25 | 1.1029 | 150
2024 | 13600 | 13600 | 25 | 1.2868 | 175
Note: Program based on 1000 square feet of roof

## Commercial HVAC
Commercial Heat & Cooling Efficiency Upgrade Program
AT THE METER
Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction
2015 | 3661 | 0.99 | 1.8 | 36610 | 9.9 | 18
2016 | 3661 | 0.99 | 1.8 | 36610 | 9.9 | 18
2017 | 3661 | 0.99 | 1.8 | 36610 | 9.9 | 18
2018 | 3661 | 0.99 | 1.8 | 36610 | 9.9 | 18
2019 | 3661 | 0.99 | 1.8 | 36610 | 9.9 | 18
2020 | 3661 | 0.99 | 1.8 | 36610 | 9.9 | 18
2021 | 3661 | 0.99 | 1.8 | 36610 | 9.9 | 18
2022 | 3661 | 0.99 | 1.8 | 36610 | 9.9 | 18
2023 | 3661 | 0.99 | 1.8 | 36610 | 9.9 | 18
2024 | 3661 | 0.99 | 1.8 | 36610 | 9.9 | 18
AT THE GENERATOR
Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction
2015 | 3774.2268 | 1.0867 | 1.9759 | 37742.268 | 10.8672 | 19.7585
2016 | 3774.2268 | 1.0867 | 1.9759 | 37742.268 | 10.8672 | 19.7585
2017 | 3774.2268 | 1.0867 | 1.9759 | 37742.268 | 10.8672 | 19.7585
2018 | 3774.2268 | 1.0867 | 1.9759 | 37742.268 | 10.8672 | 19.7585
2019 | 3774.2268 | 1.0867 | 1.9759 | 37742.268 | 10.8672 | 19.7585
2020 | 3774.2268 | 1.0867 | 1.9759 | 37742.268 | 10.8672 | 19.7585
2021 | 3774.2268 | 1.0867 | 1.9759 | 37742.268 | 10.8672 | 19.7585
2022 | 3774.2268 | 1.0867 | 1.9759 | 37742.268 | 10.8672 | 19.7585
2023 | 3774.2268 | 1.0867 | 1.9759 | 37742.268 | 10.8672 | 19.7585
2024 | 3774.2268 | 1.0867 | 1.9759 | 37742.268 | 10.8672 | 19.7585
CUSTOMERS AND PARTICIPATION RATES
Year | Total Number of Non-Residential Customers | Total Number of Eligible Non-Residential Customers | Annual Number of Program Participants | Total Penetration Level % | Cumulative Number of Program Participants
2015 | 4275 | 4275 | 10 | 0.23392 | 10
2016 | 4275 | 4275 | 10 | 0.46784 | 20
2017 | 4275 | 4275 | 10 | 0.70175 | 30
2018 | 4275 | 4275 | 10 | 0.93567 | 40
2019 | 4275 | 4275 | 10 | 1.1696 | 50
2020 | 4275 | 4275 | 10 | 1.4035 | 60
2021 | 4275 | 4275 | 10 | 1.6374 | 70
2022 | 4275 | 4275 | 10 | 1.8713 | 80
2023 | 4275 | 4275 | 10 | 2.1053 | 90
2024 | 4275 | 4275 | 10 | 2.3392 | 100
0

## Commercial Window Film
Commercial Window Film Installation Program
AT THE METER
Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction
2015 | 1951 | 0 | 1 | 19510 | 0 | 10
2016 | 1951 | 0 | 1 | 19510 | 0 | 10
2017 | 1951 | 0 | 1 | 19510 | 0 | 10
2018 | 1951 | 0 | 1 | 19510 | 0 | 10
2019 | 1951 | 0 | 1 | 19510 | 0 | 10
2020 | 1951 | 0 | 1 | 19510 | 0 | 10
2021 | 1951 | 0 | 1 | 19510 | 0 | 10
2022 | 1951 | 0 | 1 | 19510 | 0 | 10
2023 | 1951 | 0 | 1 | 19510 | 0 | 10
2024 | 1951 | 0 | 1 | 19510 | 0 | 10
AT THE GENERATOR
Year | Per Customer kWh Reduction | Per Customer Winter kW Reduction | Per Customer Summer kW Reduction | Total Annual kWh Reduction | Total Annual Winter kW Reduction | Total Annual Summer kW Reduction
2015 | 2011.3402 | 0 | 1.0977 | 20113.4021 | 0 | 10.9769
2016 | 2011.3402 | 0 | 1.0977 | 20113.4021 | 0 | 10.9769
2017 | 2011.3402 | 0 | 1.0977 | 20113.4021 | 0 | 10.9769
2018 | 2011.3402 | 0 | 1.0977 | 20113.4021 | 0 | 10.9769
2019 | 2011.3402 | 0 | 1.0977 | 20113.4021 | 0 | 10.9769
2020 | 2011.3402 | 0 | 1.0977 | 20113.4021 | 0 | 10.9769
2021 | 2011.3402 | 0 | 1.0977 | 20113.4021 | 0 | 10.9769
2022 | 2011.3402 | 0 | 1.0977 | 20113.4021 | 0 | 10.9769
2023 | 2011.3402 | 0 | 1.0977 | 20113.4021 | 0 | 10.9769
2024 | 2011.3402 | 0 | 1.0977 | 20113.4021 | 0 | 10.9769
CUSTOMERS AND PARTICIPATION RATES
Year | Total Number of Non-Residential Customers | Total Number of Eligible Non-Residential Customers | Annual Number of Program Participants | Total Penetration Level % | Cumulative Number of Program Participants
2015 | 4275 | 4275 | 10 | 0.23392 | 10
2016 | 4275 | 4275 | 10 | 0.46784 | 20
2017 | 4275 | 4275 | 10 | 0.70175 | 30
2018 | 4275 | 4275 | 10 | 0.93567 | 40
2019 | 4275 | 4275 | 10 | 1.1696 | 50
2020 | 4275 | 4275 | 10 | 1.4035 | 60
2021 | 4275 | 4275 | 10 | 1.6374 | 70
2022 | 4275 | 4275 | 10 | 1.8713 | 80
2023 | 4275 | 4275 | 10 | 2.1053 | 90
2024 | 4275 | 4275 | 10 | 2.3392 | 100
0

## Tests
Program | TRC | Participant | RIM
Residential
Residential Energy Survey | 0.18 | 1 | 0.14
Residential Heating and Cooling Upgrade | 1.47 | 1.4 | 1.22
Commercial
Commercial Chiller | 1.35 | 1.39 | 1.14
Commercial Heating and Cooling Upgrade | 1.31 | 1.37 | 1.14
Commercial Reflective Roof | 2.09 | 2.58 | 1.09
Commercial Window Film Installation Program | 1.54 | 2.28 | 1.03