## Battery Schedule 9
Florida Power & Light Company
Docket No. 20190061-EI
Staff's Third Set of Interrogatories
Interrogatory No. 205
Attachment No. 3
Tab 1 of 6
Schedule 9
Status Report and Specifications of Proposed Generating Facilities
-1 | Plant Name and Unit Number: |  | Battery Storage
-2 | Capacity
| a. Summer | 469 | MW
| b. Winter | 469 | MW
-3 | Technology Type: | Battery
-4 | Anticipated Construction Timing
| a. Field construction start-date: |  | 2020
| b. Commercial In-service date: |  | Late 2021 or Early 2022
-5 | Fuel
| a. Primary Fuel |  |  | Not applicable
| b. Alternate Fuel |  |  | Not applicable
-6 | Air Pollution and Control Strategy: |  |  | Not applicable
-7 | Cooling Method: |  | Not applicable
-8 | Total Site Area: |  | Existing Site | 40 Acres
-9 | Construction Status: |  | P | (Planned Unit)
-10 | Certification Status: |  | ---
-11 | Status with Federal Agencies: |  | ---
-12 | Projected Unit Performance Data:
| Planned Outage Factor (POF): |  |  | Not applicable
| Forced Outage Factor (FOF): |  |  | Not applicable
| Equivalent Availability Factor (EAF): |  |  | Not applicable
| Resulting Capacity Factor (%): |  |  | Not applicable
| Average Net Operating Heat Rate (ANOHR): |  |  | Not applicable
Base Operation 75F,100%
| Average Net Incremental Heat Rate (ANIHR): |  |  | Not applicable
Peak Operation 75F,100%
-13 | Projected Unit Financial Data *,**
| Book Life (Years): |  |  | 40 | years
| Total Installed Cost (2022 $/kW): |  |  | TBD
| Direct Construction Cost (2022 $/kW): |  |  | TBD
| AFUDC Amount (2022 $/kW): |  |  | TBD
| Escalation ($/kW): |  |  | TBD
| Fixed O&M ($/kW-Yr.): |  |  | TBD
| Long Term Capital Replenishment ($/kW) |  |  | TBD
| Variable O&M (2022 $/MWH): |  |  | TBD
| K Factor: |  |  | TBD
* $/kW values are based on Summer capacity.
** Levelized value for Fixed O&M also includes Capital Replacement and annual capital replenishment
Note: Total installed cost includes transmission interconnection and integration,
escalation, and AFUDC.

## Dania Beach Schedule 9
Florida Power & Light Company
Docket No. 20190061-EI
Staff's Third Set of Interrogatories
Interrogatory No. 205
Attachment No. 3
Tab 2 of 6
Schedule 9
Status Report and Specifications of Proposed Generating Facilities
-1 | Plant Name and Unit Number: |  | Lauderdale Modernization (Dania Beach Clean Energy Center Unit 7)
-2 | Capacity
| a. Summer | 1163 | MW
| b. Winter | 1176 | MW
-3 | Technology Type: | Combined Cycle
-4 | Anticipated Construction Timing
| a. Field construction start-date: |  | 2020
| b. Commercial In-service date: |  | June, 2022
-5 | Fuel
| a. Primary Fuel |  |  | Natural Gas
| b. Alternate Fuel |  |  | Ultra-low sulfur distillate
-6 | Air Pollution and Control Strategy: |  |  | Dry Low NOx Burners, SCR, Natural Gas,
0.0015% S. Distillate and Water Injection
-7 | Cooling Method: |  | Once through cooling water
-8 | Total Site Area: |  | Existing Site | 392 Acres
-9 | Construction Status: |  | P | (Planned Unit)
-10 | Certification Status: |  | ---
-11 | Status with Federal Agencies: |  | ---
-12 | Projected Unit Performance Data:
| Planned Outage Factor (POF): |  |  | 3.5%
| Forced Outage Factor (FOF): |  |  | 1%
| Equivalent Availability Factor (EAF): |  |  | 95.5%
| Resulting Capacity Factor (%): |  |  | 90% | (First Full Year Base Operation)
| Average Net Operating Heat Rate (ANOHR): |  |  | 6,119 Btu/kWh on Gas
Base Operation 75F,100%
| Average Net Incremental Heat Rate (ANIHR): |  |  | 7,592 Btu/kWh on Gas
Peak Firing and Wet Compression 75F,100%
-13 | Projected Unit Financial Data *,**
| Book Life (Years): |  |  | 40 | years
| Total Installed Cost (2022 $/kW): |  |  | 764
| Direct Construction Cost (2022 $/kW): |  |  | 675
| AFUDC Amount (2022 $/kW): |  |  | 89
| Escalation ($/kW): |  |  | Accounted for in Direct Construction Cost
| Fixed O&M ($/kW-Yr.): |  |  | 19.73
| Variable O&M (2022 $/MWH): |  |  | 0.23
| K Factor: |  |  | 1.55
* $/kW values are based on Summer capacity.
** Levelized value for Fixed O&M also includes Capital Replacement
Note: Total installed cost includes transmission interconnection and integration, escalation, and AFUDC.

## Greenfield CC Schedule 9
Florida Power & Light Company
Docket No. 20190061-EI
Staff's Third Set of Interrogatories
Interrogatory No. 205
Attachment No. 3
Tab 3 of 6
| Schedule 9 | [5 empty] | Schedule 9
| Status Report and Specifications of Proposed Generating Facilities | [5 empty] | Status Report and Specifications of Proposed Generating Facilities
-1 | Plant Name and Unit Number: |  | Unsited 3x1 Combined Cycle |  |  | -1 | Plant Name and Unit Number: |  | Unsited 3x1 Combined Cycle
-2 | Capacity |  |  |  |  | -2 | Capacity
| a. Summer | 1886 | MW |  |  |  | a. Summer | 1886 | MW
| b. Winter | 1880 | MW |  |  |  | b. Winter | 1880 | MW
-3 | Technology Type: | Combined Cycle |  |  |  | -3 | Technology Type: | Combined Cycle
-4 | Anticipated Construction Timing |  |  |  |  | -4 | Anticipated Construction Timing
| a. Field construction start-date: |  | 2024 |  |  |  | a. Field construction start-date: |  | 2029
| b. Commercial In-service date: |  | 2026 |  |  |  | b. Commercial In-service date: |  | 2031
-5 | Fuel |  |  |  |  | -5 | Fuel
| a. Primary Fuel |  |  | Natural Gas |  |  | a. Primary Fuel |  |  | Natural Gas
| b. Alternate Fuel |  |  | Ultra-low sulfur distillate |  |  | b. Alternate Fuel |  |  | Ultra-low sulfur distillate
-6 | Air Pollution and Control Strategy: |  |  | Dry Low NOx Burners, SCR, Natural Gas, |  | -6 | Air Pollution and Control Strategy: |  |  | Dry Low NOx Burners, SCR, Natural Gas,
|  |  |  | 0.0015% S. Distillate and Water Injection | [5 empty] | 0.0015% S. Distillate and Water Injection
-7 | Cooling Method: |  |  | Mechanical Draft Cooling Towers |  | -7 | Cooling Method: |  |  | Mechanical Draft Cooling Towers
-8 | Total Site Area: |  | TBD | Acres |  | -8 | Total Site Area: |  | TBD | Acres
-9 | Construction Status: |  | P | (Planned Unit) |  | -9 | Construction Status: |  | P | (Planned Unit)
-10 | Certification Status: |  | --- |  |  | -10 | Certification Status: |  | ---
-11 | Status with Federal Agencies: |  | --- |  |  | -11 | Status with Federal Agencies: |  | ---
-12 | Projected Unit Performance Data: |  |  |  |  | -12 | Projected Unit Performance Data:
| Planned Outage Factor (POF): |  |  | 3.5% |  |  | Planned Outage Factor (POF): |  |  | 3.5%
| Forced Outage Factor (FOF): |  |  | 1% |  |  | Forced Outage Factor (FOF): |  |  | 1%
| Equivalent Availability Factor (EAF): |  |  | 95.5% |  |  | Equivalent Availability Factor (EAF): |  |  | 95.5%
| Resulting Capacity Factor (%): |  |  | Approx. 80% | (First Full Year Base Operation) |  | Resulting Capacity Factor (%): |  |  | Approx. 80% | (First Full Year Base Operation)
| Average Net Operating Heat Rate (ANOHR): |  |  | 6134 |  |  | Average Net Operating Heat Rate (ANOHR): |  |  | 6134
| Base Operation 75F,100% | [5 empty] | Base Operation 75F,100%
| Average Net Incremental Heat Rate (ANIHR): |  |  | 8045 |  |  | Average Net Incremental Heat Rate (ANIHR): |  |  | 8045
| Wet Compression 75F,100% | [5 empty] | Wet Compression 75F,100%
-13 | Projected Unit Financial Data *,** |  |  |  |  | -13 | Projected Unit Financial Data *,**
| Book Life (Years): |  |  | 40 | years |  | Book Life (Years): |  |  | 40 | years
| Total Installed Cost (2024 $/kW): |  |  | 673.7396 |  |  | Total Installed Cost (2028 $/kW): |  |  | 743.863
| Direct Construction Cost (2024 $/kW): |  |  | 605.7396 |  |  | Direct Construction Cost (2028 $/kW): |  |  | 668.7855
| AFUDC Amount (2024 $/kW): |  |  | 68 |  |  | AFUDC Amount (2028 $/kW): |  |  | 75.0775
| Escalation ($/kW): |  |  | Accounted for in Direct Construction Cost |  |  | Escalation ($/kW): |  |  | Accounted for in Direct Construction Cost
| Fixed O&M (2024 $/kW-Yr.): |  |  | 23.0407 |  |  | Fixed O&M (2028 $/kW-Yr.): |  |  | 26.0684
| Variable O&M (2024 $/MWH): |  |  | 0.17008 |  |  | Variable O&M (2028 $/MWH): |  |  | 0.19243
| K Factor: |  |  | 1.53 |  |  | K Factor: |  |  | 1.53
| * $/kW values are based on Summer capacity. | [5 empty] | * $/kW values are based on Summer capacity.
| ** Levelized value for Fixed O&M also includes Capital Replacement | [5 empty] | ** Levelized value for Fixed O&M also includes Capital Replacement
| Note: Total installed cost includes transmission interconnection and integration, escalation, and AFUDC. | [5 empty] | Note: Total installed cost includes transmission interconnection and integration, escalation, and AFUDC.

## Filler CC Schedule 9
Florida Power & Light Company
Docket No. 20190061-EI
Staff's Third Set of Interrogatories
Interrogatory No. 205
Attachment No. 3
Tab 4 of 6
Schedule 9
Status Report and Specifications of Proposed Generating Facilities
-1 | Plant Name and Unit Number: |  | Unsited Filler Combined Cycle
-2 | Capacity
| a. Summer | 943 | MW
| b. Winter | 940 | MW
-3 | Technology Type: | Combined Cycle
-4 | Anticipated Construction Timing
| a. Field construction start-date: |  | 2033
| b. Commercial In-service date: |  | 2035
-5 | Fuel
| a. Primary Fuel |  |  | Natural Gas
| b. Alternate Fuel |  |  | Ultra-low sulfur distillate
-6 | Air Pollution and Control Strategy: |  |  | Dry Low NOx Burners, SCR, Natural Gas,
0.0015% S. Distillate and Water Injection
-7 | Cooling Method: |  |  | Mechanical Draft Cooling Towers
-8 | Total Site Area: |  | TBD | Acres
-9 | Construction Status: |  | P | (Planned Unit)
-10 | Certification Status: |  | ---
-11 | Status with Federal Agencies: |  | ---
-12 | Projected Unit Performance Data:
| Planned Outage Factor (POF): |  |  | 3.5%
| Forced Outage Factor (FOF): |  |  | 1%
| Equivalent Availability Factor (EAF): |  |  | 95.5%
| Resulting Capacity Factor (%): |  |  | Approx. 25% | (First Full Year Base Operation)
| Average Net Operating Heat Rate (ANOHR): |  |  | 6820
Base Operation 75F,100%
-13 | Projected Unit Financial Data *,**
| Book Life (Years): |  |  | 40 | years
| Total Installed Cost (2032 $/kW): |  |  | 827.046
| Direct Construction Cost (2032 $/kW): |  |  | 743.5729
| AFUDC Amount (2032 $/kW): |  |  | 83.4731
| Escalation ($/kW): |  |  | Accounted for in Direct Construction Cost
| Fixed O&M (2032 $/kW-Yr.): |  |  | 29.494
| Variable O&M (2032 $/MWH): |  |  | 0.21772
| K Factor: |  |  | 1.53
* $/kW values are based on Summer capacity.
** Levelized value for Fixed O&M also includes Capital Replacement
Note: Total installed cost includes transmission interconnection and integration, escalation, and AFUDC.

## 2020 SoBRA Schedule 9
Florida Power & Light Company
Docket No. 20190061-EI
Staff's Third Set of Interrogatories
Interrogatory No. 205
Attachment No. 3
Tab 5 of 6
| Schedule 9 | [5 empty] | Schedule 9 | [5 empty] | Schedule 9 | [5 empty] | Schedule 9
| Status Report and Specifications of Proposed Generating Facilities | [5 empty] | Status Report and Specifications of Proposed Generating Facilities | [5 empty] | Status Report and Specifications of Proposed Generating Facilities | [5 empty] | Status Report and Specifications of Proposed Generating Facilities
-1 | Plant Name and Unit Number: |  | Echo River Solar Energy Center (Suwannee County) |  |  | -1 | Plant Name and Unit Number: |  | Hibiscus Solar Energy Center (Palm Beach County) |  |  | -1 | Plant Name and Unit Number: |  | Okeechobee Solar Energy Center (Okeechobee County) |  |  | -1 | Plant Name and Unit Number: |  | Southfork Solar Energy Center (Manatee County)
-2 | Capacity |  |  |  |  | -2 | Capacity |  |  |  |  | -2 | Capacity |  |  |  |  | -2 | Capacity
| a. Nameplate (AC) | 74.5 | MW |  |  |  | a. Nameplate (AC) | 74.5 | MW |  |  |  | a. Nameplate (AC) | 74.5 | MW |  |  |  | a. Nameplate (AC) | 74.5 | MW
| b. Summer Firm (AC)1/ | 41.2894 | MW (Approximately) |  |  |  | b. Summer Firm (AC)1/ | 41.2894 | MW (Approximately) |  |  |  | b. Summer Firm (AC)1/ | 41.2894 | MW (Approximately) |  |  |  | b. Summer Firm (AC)1/ | 41.2894 | MW (Approximately)
| c. Winter Firm (AC) | 0 |  |  |  |  | c. Winter Firm (AC) | 0 |  |  |  |  | c. Winter Firm (AC) | 0 |  |  |  |  | c. Winter Firm (AC) | 0
-3 | Technology Type: | Photovoltaic (PV) |  |  |  | -3 | Technology Type: | Photovoltaic (PV) |  |  |  | -3 | Technology Type: | Photovoltaic (PV) |  |  |  | -3 | Technology Type: | Photovoltaic (PV)
-4 | Anticipated Construction Timing |  |  |  |  | -4 | Anticipated Construction Timing |  |  |  |  | -4 | Anticipated Construction Timing |  |  |  |  | -4 | Anticipated Construction Timing
| a. Field construction start-date: |  | 2019 |  |  |  | a. Field construction start-date: |  | 2019 |  |  |  | a. Field construction start-date: |  | 2019 |  |  |  | a. Field construction start-date: |  | 2019
| b. Commercial In-service date: |  | 2020 |  |  |  | b. Commercial In-service date: |  | 2020 |  |  |  | b. Commercial In-service date: |  | 2020 |  |  |  | b. Commercial In-service date: |  | 2020
-5 | Fuel |  |  |  |  | -5 | Fuel |  |  |  |  | -5 | Fuel |  |  |  |  | -5 | Fuel
| a. Primary Fuel |  |  | Solar |  |  | a. Primary Fuel |  |  | Solar |  |  | a. Primary Fuel |  |  | Solar |  |  | a. Primary Fuel |  |  | Solar
| b. Alternate Fuel |  |  | Not applicable |  |  | b. Alternate Fuel |  |  | Not applicable |  |  | b. Alternate Fuel |  |  | Not applicable |  |  | b. Alternate Fuel |  |  | Not applicable
-6 | Air Pollution and Control Strategy: |  |  | Not applicable |  | -6 | Air Pollution and Control Strategy: |  |  | Not applicable |  | -6 | Air Pollution and Control Strategy: |  |  | Not applicable |  | -6 | Air Pollution and Control Strategy: |  |  | Not applicable
-7 | Cooling Method: |  | Not applicable |  |  | -7 | Cooling Method: |  | Not applicable |  |  | -7 | Cooling Method: |  | Not applicable |  |  | -7 | Cooling Method: |  | Not applicable
-8 | Total Site Area: |  | 802.3 | Acres |  | -8 | Total Site Area: |  | 401.7 | Acres |  | -8 | Total Site Area: |  | 471.3 | Acres |  | -8 | Total Site Area: |  | 548.3 | Acres
-9 | Construction Status: |  | P | (Planned Unit) |  | -9 | Construction Status: |  | P | (Planned Unit) |  | -9 | Construction Status: |  | P | (Planned Unit) |  | -9 | Construction Status: |  | P | (Planned Unit)
-10 | Certification Status: |  | --- |  |  | -10 | Certification Status: |  | --- |  |  | -10 | Certification Status: |  | --- |  |  | -10 | Certification Status: |  | ---
-11 | Status with Federal Agencies: |  | --- |  |  | -11 | Status with Federal Agencies: |  | --- |  |  | -11 | Status with Federal Agencies: |  | --- |  |  | -11 | Status with Federal Agencies: |  | ---
-12 | Projected Unit Performance Data: |  |  |  |  | -12 | Projected Unit Performance Data: |  |  |  |  | -12 | Projected Unit Performance Data: |  |  |  |  | -12 | Projected Unit Performance Data:
| Planned Outage Factor (POF): |  |  | Not applicable |  |  | Planned Outage Factor (POF): |  |  | Not applicable |  |  | Planned Outage Factor (POF): |  |  | Not applicable |  |  | Planned Outage Factor (POF): |  |  | Not applicable
| Forced Outage Factor (FOF): |  |  | Not applicable |  |  | Forced Outage Factor (FOF): |  |  | Not applicable |  |  | Forced Outage Factor (FOF): |  |  | Not applicable |  |  | Forced Outage Factor (FOF): |  |  | Not applicable
| Equivalent Availability Factor (EAF): |  |  | Not applicable |  |  | Equivalent Availability Factor (EAF): |  |  | Not applicable |  |  | Equivalent Availability Factor (EAF): |  |  | Not applicable |  |  | Equivalent Availability Factor (EAF): |  |  | Not applicable
| Resulting Capacity Factor (%): |  |  | 30.4% | (First Full Year Operation) |  | Resulting Capacity Factor (%): |  |  | 26.2% | (First Full Year Operation) |  | Resulting Capacity Factor (%): |  |  | 27.08% | (First Full Year Operation) |  | Resulting Capacity Factor (%): |  |  | 31.11% | (First Full Year Operation)
| Average Net Operating Heat Rate (ANOHR): |  |  | Not applicable | Btu/kWh |  | Average Net Operating Heat Rate (ANOHR): |  |  | Not applicable | Btu/kWh |  | Average Net Operating Heat Rate (ANOHR): |  |  | Not applicable |  |  | Average Net Operating Heat Rate (ANOHR): |  |  | Not applicable | Btu/kWh
| Base Operation 75F,100% | [5 empty] | Base Operation 75F,100% | [5 empty] | Base Operation 75F,100% | [5 empty] | Base Operation 75F,100%
| Average Net Incremental Heat Rate (ANIHR): |  |  | Not applicable | Btu/kWh |  | Average Net Incremental Heat Rate (ANIHR): |  |  | Not applicable | Btu/kWh |  | Average Net Incremental Heat Rate (ANIHR): |  |  | Not applicable |  |  | Average Net Incremental Heat Rate (ANIHR): |  |  | Not applicable | Btu/kWh
| Peak Operation 75F,100% | [5 empty] | Peak Operation 75F,100% | [5 empty] | Peak Operation 75F,100% | [5 empty] | Peak Operation 75F,100%
-13 | Projected Unit Financial Data * |  |  |  |  | -13 | Projected Unit Financial Data * |  |  |  |  | -13 | Projected Unit Financial Data * |  |  |  |  | -13 | Projected Unit Financial Data *
| Book Life (Years): |  |  | 30 | years |  | Book Life (Years): |  |  | 30 | years |  | Book Life (Years): |  |  | 30 | years |  | Book Life (Years): |  |  | 30 | years
| Total Installed Cost (2020 $/kW): |  |  | 1393.7303 |  |  | Total Installed Cost (2020 $/kW): |  |  | 1373.0564 |  |  | Total Installed Cost (2020 $/kW): |  |  | 1339.3159 |  |  | Total Installed Cost (2020 $/kW): |  |  | 1406.6301
| Direct Construction Cost ($/kW): |  |  | 1330.496 |  |  | Direct Construction Cost ($/kW): |  |  | 1340.9838 |  |  | Direct Construction Cost ($/kW): |  |  | 1298.4503 |  |  | Direct Construction Cost ($/kW): |  |  | 1338.9575
| AFUDC Amount (2020 $/kW): |  |  | 63.2343 |  |  | AFUDC Amount (2020 $/kW): |  |  | 32.0725 |  |  | AFUDC Amount (2020 $/kW): |  |  | 40.8656 |  |  | AFUDC Amount (2020 $/kW): |  |  | 67.6726
| Escalation ($/kW): |  |  | Accounted for in Direct Construction Cost |  |  | Escalation ($/kW): |  |  | Accounted for in Direct Construction Cost |  |  | Escalation ($/kW): |  |  | Accounted for in Direct Construction Cost |  |  | Escalation ($/kW): |  |  | Accounted for in Direct Construction Cost
| Fixed O&M ($/kW-Yr.): | (2020 $) |  | 7.06 | (First Full Year Operation) |  | Fixed O&M ($/kW-Yr.): | (2020 $) |  | 6.27 | (First Full Year Operation) |  | Fixed O&M ($/kW-Yr.): | (2020 $) |  | 6.41 | (First Full Year Operation) |  | Fixed O&M ($/kW-Yr.): | (2020 $) |  | 6.7 | (First Full Year Operation)
| Variable O&M ($/MWH): | (2020 $) |  | 0 |  |  | Variable O&M ($/MWH): | (2020 $) |  | 0 |  |  | Variable O&M ($/MWH): | (2020 $) |  | 0 |  |  | Variable O&M ($/MWH): | (2020 $) |  | 0
| K Factor: |  |  | 1.0262 |  |  | K Factor: |  |  | 0.98101 |  |  | K Factor: |  |  | 1.0442 |  |  | K Factor: |  |  | 1.0331
| * $/kW values are based on nameplate capacity. | [5 empty] | * $/kW values are based on nameplate capacity. | [5 empty] | * $/kW values are based on nameplate capacity. | [5 empty] | * $/kW values are based on nameplate capacity.
| Note: Total installed cost includes transmission interconnection and AFUDC. | [5 empty] | Note: Total installed cost includes transmission interconnection and AFUDC. | [5 empty] | Note: Total installed cost includes transmission interconnection and AFUDC. | [5 empty] | Note: Total installed cost includes transmission interconnection and AFUDC.
1/ | The value shown represents FPL’s current projection of the firm capacity of this amount of incremental PV assuming |  |  |  |  | 1/ | The value shown represents FPL’s current projection of the firm capacity of this amount of incremental PV assuming |  |  |  |  | 1/ | The value shown represents FPL’s current projection of the firm capacity of this amount of incremental PV assuming |  |  |  |  | 1/ | The value shown represents FPL’s current projection of the firm capacity of this amount of incremental PV assuming
| the planned PV additions in prior years. As the amount of PV on FPL’s system increases, the remaining Summer load | [5 empty] | the planned PV additions in prior years. As the amount of PV on FPL’s system increases, the remaining Summer load | [5 empty] | the planned PV additions in prior years. As the amount of PV on FPL’s system increases, the remaining Summer load | [5 empty] | the planned PV additions in prior years. As the amount of PV on FPL’s system increases, the remaining Summer load
| not served by solar is altered so that the remaining Summer peak load moves to later in the day. Because the amount | [5 empty] | not served by solar is altered so that the remaining Summer peak load moves to later in the day. Because the amount | [5 empty] | not served by solar is altered so that the remaining Summer peak load moves to later in the day. Because the amount | [5 empty] | not served by solar is altered so that the remaining Summer peak load moves to later in the day. Because the amount
| of solar energy diminishes in these later hours, the firm capacity value of the incremental solar is decreased. | [5 empty] | of solar energy diminishes in these later hours, the firm capacity value of the incremental solar is decreased. | [5 empty] | of solar energy diminishes in these later hours, the firm capacity value of the incremental solar is decreased. | [5 empty] | of solar energy diminishes in these later hours, the firm capacity value of the incremental solar is decreased.
| FPL will continue to analyze the projected impacts of increasing amounts of PV in its on-going resource planning work. | [5 empty] | FPL will continue to analyze the projected impacts of increasing amounts of PV in its on-going resource planning work. | [5 empty] | FPL will continue to analyze the projected impacts of increasing amounts of PV in its on-going resource planning work. | [5 empty] | FPL will continue to analyze the projected impacts of increasing amounts of PV in its on-going resource planning work.

## Unsited Solar Schedule 9
Florida Power & Light Company
Docket No. 20190061-EI
Staff's Third Set of Interrogatories
Interrogatory No. 205
Attachment No. 3
Tab 6 of 6
| Schedule 9 | [5 empty] | Schedule 9 | [5 empty] | Schedule 9 | [5 empty] | Schedule 9 | [5 empty] | Schedule 9 | [5 empty] | Schedule 9 | [5 empty] | Schedule 9 | [5 empty] | Schedule 9
| Status Report and Specifications of Proposed Generating Facilities | [5 empty] | Status Report and Specifications of Proposed Generating Facilities | [5 empty] | Status Report and Specifications of Proposed Generating Facilities | [5 empty] | Status Report and Specifications of Proposed Generating Facilities | [5 empty] | Status Report and Specifications of Proposed Generating Facilities | [5 empty] | Status Report and Specifications of Proposed Generating Facilities | [5 empty] | Status Report and Specifications of Proposed Generating Facilities | [5 empty] | Status Report and Specifications of Proposed Generating Facilities
-1 | Plant Name and Unit Number: |  | Unsited PV |  |  | -1 | Plant Name and Unit Number: |  | Unsited PV |  |  | -1 | Plant Name and Unit Number: |  | Unsited PV |  |  | -1 | Plant Name and Unit Number: |  | Unsited PV |  |  | -1 | Plant Name and Unit Number: |  | Unsited PV |  |  | -1 | Plant Name and Unit Number: |  | Unsited PV |  |  | -1 | Plant Name and Unit Number: |  | Unsited PV |  |  | -1 | Plant Name and Unit Number: |  | Unsited PV
-2 | Capacity |  |  |  |  | -2 | Capacity |  |  |  |  | -2 | Capacity |  |  |  |  | -2 | Capacity |  |  |  |  | -2 | Capacity |  |  |  |  | -2 | Capacity |  |  |  |  | -2 | Capacity |  |  |  |  | -2 | Capacity
| a. Nameplate (AC) | 894 | MW (in twelve 74.5 MW increments) |  |  |  | a. Nameplate (AC) | 894 | MW (in twelve 74.5 MW increments) |  |  |  | a. Nameplate (AC) | 745 | MW (in ten 74.5 MW increments) |  |  |  | a. Nameplate (AC) | 1043 | MW (in four teen 74.5 MW increments) |  |  |  | a. Nameplate (AC) | 894 | MW (in twelve 74.5 MW increments) |  |  |  | a. Nameplate (AC) | 1192 | MW (in sixteen 74.5 MW increments) |  |  |  | a. Nameplate (AC) | 1192 | MW (in sixteen 74.5 MW increments) |  |  |  | a. Nameplate (AC) | 1192 | MW (in sixteen 74.5 MW increments)
| b. Summer Firm (AC)1/ | 449.1183 | MW (Approximately) |  |  |  | b. Summer Firm (AC)1/ | 347.161 | MW (Approximately) |  |  |  | b. Summer Firm (AC)1/ | 289.3009 | MW (Approximately) |  |  |  | b. Summer Firm (AC)1/ | 405.0212 | MW (Approximately) |  |  |  | b. Summer Firm (AC)1/ | 347.161 | MW (Approximately) |  |  |  | b. Summer Firm (AC)1/ | 321.3518 | MW (Approximately) |  |  |  | b. Summer Firm (AC)1/ | 0 | MW (Approximately) |  |  |  | b. Summer Firm (AC)1/ | 246.2461 | MW (Approximately)
| c. Winter Firm (AC) | 0 |  |  |  |  | c. Winter Firm (AC) | 0 |  |  |  |  | c. Winter Firm (AC) | 0 |  |  |  |  | c. Winter Firm (AC) | 0 |  |  |  |  | c. Winter Firm (AC) | 0 |  |  |  |  | c. Winter Firm (AC) | 0 |  |  |  |  | c. Winter Firm (AC) | 0 |  |  |  |  | c. Winter Firm (AC) | 0
-3 | Technology Type: | Photovoltaic (PV) |  |  |  | -3 | Technology Type: | Photovoltaic (PV) |  |  |  | -3 | Technology Type: | Photovoltaic (PV) |  |  |  | -3 | Technology Type: | Photovoltaic (PV) |  |  |  | -3 | Technology Type: | Photovoltaic (PV) |  |  |  | -3 | Technology Type: | Photovoltaic (PV) |  |  |  | -3 | Technology Type: | Photovoltaic (PV) |  |  |  | -3 | Technology Type: | Photovoltaic (PV)
-4 | Anticipated Construction Timing 2/ |  |  |  |  | -4 | Anticipated Construction Timing |  |  |  |  | -4 | Anticipated Construction Timing |  |  |  |  | -4 | Anticipated Construction Timing |  |  |  |  | -4 | Anticipated Construction Timing |  |  |  |  | -4 | Anticipated Construction Timing |  |  |  |  | -4 | Anticipated Construction Timing |  |  |  |  | -4 | Anticipated Construction Timing
| a. Field construction start-date: |  | 2021 |  |  |  | a. Field construction start-date: |  | 2022 |  |  |  | a. Field construction start-date: |  | 2023 |  |  |  | a. Field construction start-date: |  | 2024 |  |  |  | a. Field construction start-date: |  | 2026 |  |  |  | a. Field construction start-date: |  | 2027 |  |  |  | a. Field construction start-date: |  | 2028 |  |  |  | a. Field construction start-date: |  | 2029
| b. Commercial In-service date: |  | 1st Q, 2022 2/ |  |  |  | b. Commercial In-service date: |  | 1st Q, 2023 2/ |  |  |  | b. Commercial In-service date: |  | 1st Q, 2024 2/ |  |  |  | b. Commercial In-service date: |  | 1st Q, 2025 |  |  |  | b. Commercial In-service date: |  | 1st Q, 2027 2/ |  |  |  | b. Commercial In-service date: |  | 1st Q, 2028 2/ |  |  |  | b. Commercial In-service date: |  | 1st Q, 2029 2/ |  |  |  | b. Commercial In-service date: |  | 1st Q, 2030 2/
-5 | Fuel |  |  |  |  | -5 | Fuel |  |  |  |  | -5 | Fuel |  |  |  |  | -5 | Fuel |  |  |  |  | -5 | Fuel |  |  |  |  | -5 | Fuel |  |  |  |  | -5 | Fuel |  |  |  |  | -5 | Fuel
| a. Primary Fuel |  |  | Solar |  |  | a. Primary Fuel |  |  | Solar |  |  | a. Primary Fuel |  |  | Solar |  |  | a. Primary Fuel |  |  | Solar |  |  | a. Primary Fuel |  |  | Solar |  |  | a. Primary Fuel |  |  | Solar |  |  | a. Primary Fuel |  |  | Solar |  |  | a. Primary Fuel |  |  | Solar
| b. Alternate Fuel |  |  | Not applicable |  |  | b. Alternate Fuel |  |  | Not applicable |  |  | b. Alternate Fuel |  |  | Not applicable |  |  | b. Alternate Fuel |  |  | Not applicable |  |  | b. Alternate Fuel |  |  | Not applicable |  |  | b. Alternate Fuel |  |  | Not applicable |  |  | b. Alternate Fuel |  |  | Not applicable |  |  | b. Alternate Fuel |  |  | Not applicable
-6 | Air Pollution and Control Strategy: |  |  | Not applicable |  | -6 | Air Pollution and Control Strategy: |  |  | Not applicable |  | -6 | Air Pollution and Control Strategy: |  |  | Not applicable |  | -6 | Air Pollution and Control Strategy: |  |  | Not applicable |  | -6 | Air Pollution and Control Strategy: |  |  | Not applicable |  | -6 | Air Pollution and Control Strategy: |  |  | Not applicable |  | -6 | Air Pollution and Control Strategy: |  |  | Not applicable |  | -6 | Air Pollution and Control Strategy: |  |  | Not applicable
-7 | Cooling Method: |  | Not applicable |  |  | -7 | Cooling Method: |  | Not applicable |  |  | -7 | Cooling Method: |  | Not applicable |  |  | -7 | Cooling Method: |  | Not applicable |  |  | -7 | Cooling Method: |  | Not applicable |  |  | -7 | Cooling Method: |  | Not applicable |  |  | -7 | Cooling Method: |  | Not applicable |  |  | -7 | Cooling Method: |  | Not applicable
-8 | Total Site Area: |  | Not applicable |  |  | -8 | Total Site Area: |  | Not applicable |  |  | -8 | Total Site Area: |  | Not applicable | Acres |  | -8 | Total Site Area: |  | Not applicable |  |  | -8 | Total Site Area: |  | Not applicable |  |  | -8 | Total Site Area: |  | Not applicable |  |  | -8 | Total Site Area: |  | Not applicable |  |  | -8 | Total Site Area: |  | Not applicable
-9 | Construction Status: |  | P | (Planned Unit) |  | -9 | Construction Status: |  | P | (Planned Unit) |  | -9 | Construction Status: |  | P | (Planned Unit) |  | -9 | Construction Status: |  | P | (Planned Unit) |  | -9 | Construction Status: |  | P | (Planned Unit) |  | -9 | Construction Status: |  | P | (Planned Unit) |  | -9 | Construction Status: |  | P | (Planned Unit) |  | -9 | Construction Status: |  | P | (Planned Unit)
-10 | Certification Status: |  | --- |  |  | -10 | Certification Status: |  | --- |  |  | -10 | Certification Status: |  | --- |  |  | -10 | Certification Status: |  | --- |  |  | -10 | Certification Status: |  | --- |  |  | -10 | Certification Status: |  | --- |  |  | -10 | Certification Status: |  | --- |  |  | -10 | Certification Status: |  | ---
-11 | Status with Federal Agencies: |  | --- |  |  | -11 | Status with Federal Agencies: |  | --- |  |  | -11 | Status with Federal Agencies: |  | --- |  |  | -11 | Status with Federal Agencies: |  | --- |  |  | -11 | Status with Federal Agencies: |  | --- |  |  | -11 | Status with Federal Agencies: |  | --- |  |  | -11 | Status with Federal Agencies: |  | --- |  |  | -11 | Status with Federal Agencies: |  | ---
-12 | Projected Unit Performance Data: |  |  |  |  | -12 | Projected Unit Performance Data: |  |  |  |  | -12 | Projected Unit Performance Data: |  |  |  |  | -12 | Projected Unit Performance Data: |  |  |  |  | -12 | Projected Unit Performance Data: |  |  |  |  | -12 | Projected Unit Performance Data: |  |  |  |  | -12 | Projected Unit Performance Data: |  |  |  |  | -12 | Projected Unit Performance Data:
| Planned Outage Factor (POF): |  |  | Not applicable |  |  | Planned Outage Factor (POF): |  |  | Not applicable |  |  | Planned Outage Factor (POF): |  |  | Not applicable |  |  | Planned Outage Factor (POF): |  |  | Not applicable |  |  | Planned Outage Factor (POF): |  |  | Not applicable |  |  | Planned Outage Factor (POF): |  |  | Not applicable |  |  | Planned Outage Factor (POF): |  |  | Not applicable |  |  | Planned Outage Factor (POF): |  |  | Not applicable
| Forced Outage Factor (FOF): |  |  | Not applicable |  |  | Forced Outage Factor (FOF): |  |  | Not applicable |  |  | Forced Outage Factor (FOF): |  |  | Not applicable |  |  | Forced Outage Factor (FOF): |  |  | Not applicable |  |  | Forced Outage Factor (FOF): |  |  | Not applicable |  |  | Forced Outage Factor (FOF): |  |  | Not applicable |  |  | Forced Outage Factor (FOF): |  |  | Not applicable |  |  | Forced Outage Factor (FOF): |  |  | Not applicable
| Equivalent Availability Factor (EAF): |  |  | Not applicable |  |  | Equivalent Availability Factor (EAF): |  |  | Not applicable |  |  | Equivalent Availability Factor (EAF): |  |  | Not applicable |  |  | Equivalent Availability Factor (EAF): |  |  | Not applicable |  |  | Equivalent Availability Factor (EAF): |  |  | Not applicable |  |  | Equivalent Availability Factor (EAF): |  |  | Not applicable |  |  | Equivalent Availability Factor (EAF): |  |  | Not applicable |  |  | Equivalent Availability Factor (EAF): |  |  | Not applicable
| Resulting Capacity Factor (%): |  |  | TBD |  |  | Resulting Capacity Factor (%): |  |  | TBD |  |  | Resulting Capacity Factor (%): |  |  | TBD |  |  | Resulting Capacity Factor (%): |  |  | TBD |  |  | Resulting Capacity Factor (%): |  |  | TBD |  |  | Resulting Capacity Factor (%): |  |  | TBD |  |  | Resulting Capacity Factor (%): |  |  | TBD |  |  | Resulting Capacity Factor (%): |  |  | TBD
| Average Net Operating Heat Rate (ANOHR): |  |  | Not applicable |  |  | Average Net Operating Heat Rate (ANOHR): |  |  | Not applicable |  |  | Average Net Operating Heat Rate (ANOHR): |  |  | Not applicable |  |  | Average Net Operating Heat Rate (ANOHR): |  |  | Not applicable |  |  | Average Net Operating Heat Rate (ANOHR): |  |  | Not applicable |  |  | Average Net Operating Heat Rate (ANOHR): |  |  | Not applicable |  |  | Average Net Operating Heat Rate (ANOHR): |  |  | Not applicable |  |  | Average Net Operating Heat Rate (ANOHR): |  |  | Not applicable
| Base Operation 75F,100% | [5 empty] | Base Operation 75F,100% | [5 empty] | Base Operation 75F,100% | [5 empty] | Base Operation 75F,100% | [5 empty] | Base Operation 75F,100% | [5 empty] | Base Operation 75F,100% | [5 empty] | Base Operation 75F,100% | [5 empty] | Base Operation 75F,100%
| Average Net Incremental Heat Rate (ANIHR): |  |  | Not applicable |  |  | Average Net Incremental Heat Rate (ANIHR): |  |  | Not applicable |  |  | Average Net Incremental Heat Rate (ANIHR): |  |  | Not applicable |  |  | Average Net Incremental Heat Rate (ANIHR): |  |  | Not applicable |  |  | Average Net Incremental Heat Rate (ANIHR): |  |  | Not applicable |  |  | Average Net Incremental Heat Rate (ANIHR): |  |  | Not applicable |  |  | Average Net Incremental Heat Rate (ANIHR): |  |  | Not applicable |  |  | Average Net Incremental Heat Rate (ANIHR): |  |  | Not applicable
| Peak Operation 75F,100% | [5 empty] | Peak Operation 75F,100% | [5 empty] | Peak Operation 75F,100% | [5 empty] | Peak Operation 75F,100% | [5 empty] | Peak Operation 75F,100% | [5 empty] | Peak Operation 75F,100% | [5 empty] | Peak Operation 75F,100% | [5 empty] | Peak Operation 75F,100%
-13 | Projected Unit Financial Data |  |  |  |  | -13 | Projected Unit Financial Data |  |  |  |  | -13 | Projected Unit Financial Data |  |  |  |  | -13 | Projected Unit Financial Data |  |  |  |  | -13 | Projected Unit Financial Data |  |  |  |  | -13 | Projected Unit Financial Data |  |  |  |  | -13 | Projected Unit Financial Data |  |  |  |  | -13 | Projected Unit Financial Data
| Book Life (Years): |  |  | 30 | years |  | Book Life (Years): |  |  | 30 | years |  | Book Life (Years): |  |  | 30 | years |  | Book Life (Years): |  |  | 30 | years |  | Book Life (Years): |  |  | 30 | years |  | Book Life (Years): |  |  | 30 | years |  | Book Life (Years): |  |  | 30 | years |  | Book Life (Years): |  |  | 30 | years
| Total Installed Cost (2022 $/kW): |  |  | TBD |  |  | Total Installed Cost (2023 $/kW): |  |  | TBD |  |  | Total Installed Cost (2024 $/kW): |  |  | TBD |  |  | Total Installed Cost (2025 $/kW): |  |  | TBD |  |  | Total Installed Cost (2027 $/kW): |  |  | TBD |  |  | Total Installed Cost (2028 $/kW): |  |  | TBD |  |  | Total Installed Cost (2028 $/kW): |  |  | TBD |  |  | Total Installed Cost (2028 $/kW): |  |  | TBD
| Direct Construction Cost ($/kW): |  |  | TBD |  |  | Direct Construction Cost ($/kW): |  |  | TBD |  |  | Direct Construction Cost ($/kW): |  |  | TBD |  |  | Direct Construction Cost ($/kW): |  |  | TBD |  |  | Direct Construction Cost ($/kW): |  |  | TBD |  |  | Direct Construction Cost ($/kW): |  |  | TBD |  |  | Direct Construction Cost ($/kW): |  |  | TBD |  |  | Direct Construction Cost ($/kW): |  |  | TBD
| AFUDC Amount (2022 $/kW): |  |  | TBD |  |  | AFUDC Amount (2023 $/kW): |  |  | TBD |  |  | AFUDC Amount (2024 $/kW): |  |  | TBD |  |  | AFUDC Amount (2025 $/kW): |  |  | TBD |  |  | AFUDC Amount (2027 $/kW): |  |  | TBD |  |  | AFUDC Amount (2028 $/kW): |  |  | TBD |  |  | AFUDC Amount (2028 $/kW): |  |  | TBD |  |  | AFUDC Amount (2028 $/kW): |  |  | TBD
| Escalation ($/kW): |  |  | TBD |  |  | Escalation ($/kW): |  |  | TBD |  |  | Escalation ($/kW): |  |  | TBD |  |  | Escalation ($/kW): |  |  | TBD |  |  | Escalation ($/kW): |  |  | TBD |  |  | Escalation ($/kW): |  |  | TBD |  |  | Escalation ($/kW): |  |  | TBD |  |  | Escalation ($/kW): |  |  | TBD
| Fixed O&M ($/kW-Yr.): | (2022 $) |  | TBD |  |  | Fixed O&M ($/kW-Yr.): | (2023 $) |  | TBD |  |  | Fixed O&M ($/kW-Yr.): | (2024 $) |  | TBD |  |  | Fixed O&M ($/kW-Yr.): | (2025 $) |  | TBD |  |  | Fixed O&M ($/kW-Yr.): | (2027 $) |  | TBD |  |  | Fixed O&M ($/kW-Yr.): | (2028 $) |  | TBD |  |  | Fixed O&M ($/kW-Yr.): | (2028 $) |  | TBD |  |  | Fixed O&M ($/kW-Yr.): | (2028 $) |  | TBD
| Variable O&M ($/MWH): | (2022 $) |  | TBD |  |  | Variable O&M ($/MWH): | (2023 $) |  | TBD |  |  | Variable O&M ($/MWH): | (2024 $) |  | TBD |  |  | Variable O&M ($/MWH): | (2025 $) |  | TBD |  |  | Variable O&M ($/MWH): | (2027 $) |  | TBD |  |  | Variable O&M ($/MWH): | (2028 $) |  | TBD |  |  | Variable O&M ($/MWH): | (2028 $) |  | TBD |  |  | Variable O&M ($/MWH): | (2028 $) |  | TBD
| K Factor: |  |  | TBD |  |  | K Factor: |  |  | TBD |  |  | K Factor: |  |  | TBD |  |  | K Factor: |  |  | TBD |  |  | K Factor: |  |  | TBD |  |  | K Factor: |  |  | TBD |  |  | K Factor: |  |  | TBD |  |  | K Factor: |  |  | TBD
1/ | The value shown represents FPL’s current projection of the firm capacity of this amount of incremental PV assuming |  |  |  |  | 1/ | The value shown represents FPL’s current projection of the firm capacity of this amount of incremental PV assuming |  |  |  |  | 1/ | The value shown represents FPL’s current projection of the firm capacity of this amount of incremental PV assuming |  |  |  |  | 1/ | The value shown represents FPL’s current projection of the firm capacity of this amount of incremental PV assuming |  |  |  |  | 1/ | The value shown represents FPL’s current projection of the firm capacity of this amount of incremental PV assuming |  |  |  |  | 1/ | The value shown represents FPL’s current projection of the firm capacity of this amount of incremental PV assuming |  |  |  |  | 1/ | The value shown represents FPL’s current projection of the firm capacity of this amount of incremental PV assuming |  |  |  |  | 1/ | The value shown represents FPL’s current projection of the firm capacity of this amount of incremental PV assuming
| the planned PV additions in prior years. As the amount of PV on FPL’s system increases, the remaining Summer load | [5 empty] | the planned PV additions in prior years. As the amount of PV on FPL’s system increases, the remaining Summer load | [5 empty] | the planned PV additions in prior years. As the amount of PV on FPL’s system increases, the remaining Summer load | [5 empty] | the planned PV additions in prior years. As the amount of PV on FPL’s system increases, the remaining Summer load | [5 empty] | the planned PV additions in prior years. As the amount of PV on FPL’s system increases, the remaining Summer load | [5 empty] | the planned PV additions in prior years. As the amount of PV on FPL’s system increases, the remaining Summer load | [5 empty] | the planned PV additions in prior years. As the amount of PV on FPL’s system increases, the remaining Summer load | [5 empty] | the planned PV additions in prior years. As the amount of PV on FPL’s system increases, the remaining Summer load
| not served by solar is altered so that the remaining Summer peak load moves to later in the day. Because the amount | [5 empty] | not served by solar is altered so that the remaining Summer peak load moves to later in the day. Because the amount | [5 empty] | not served by solar is altered so that the remaining Summer peak load moves to later in the day. Because the amount | [5 empty] | not served by solar is altered so that the remaining Summer peak load moves to later in the day. Because the amount | [5 empty] | not served by solar is altered so that the remaining Summer peak load moves to later in the day. Because the amount | [5 empty] | not served by solar is altered so that the remaining Summer peak load moves to later in the day. Because the amount | [5 empty] | not served by solar is altered so that the remaining Summer peak load moves to later in the day. Because the amount | [5 empty] | not served by solar is altered so that the remaining Summer peak load moves to later in the day. Because the amount
| of solar energy diminishes in these later hours, the firm capacity value of the incremental solar is decreased. | [5 empty] | of solar energy diminishes in these later hours, the firm capacity value of the incremental solar is decreased. | [5 empty] | of solar energy diminishes in these later hours, the firm capacity value of the incremental solar is decreased. | [5 empty] | of solar energy diminishes in these later hours, the firm capacity value of the incremental solar is decreased. | [5 empty] | of solar energy diminishes in these later hours, the firm capacity value of the incremental solar is decreased. | [5 empty] | of solar energy diminishes in these later hours, the firm capacity value of the incremental solar is decreased. | [5 empty] | of solar energy diminishes in these later hours, the firm capacity value of the incremental solar is decreased. | [5 empty] | of solar energy diminishes in these later hours, the firm capacity value of the incremental solar is decreased.
| FPL will continue to analyze the projected impacts of increasing amounts of PV in its on-going resource planning work. | [5 empty] | FPL will continue to analyze the projected impacts of increasing amounts of PV in its on-going resource planning work. | [5 empty] | FPL will continue to analyze the projected impacts of increasing amounts of PV in its on-going resource planning work. | [5 empty] | FPL will continue to analyze the projected impacts of increasing amounts of PV in its on-going resource planning work. | [5 empty] | FPL will continue to analyze the projected impacts of increasing amounts of PV in its on-going resource planning work. | [5 empty] | FPL will continue to analyze the projected impacts of increasing amounts of PV in its on-going resource planning work. | [5 empty] | FPL will continue to analyze the projected impacts of increasing amounts of PV in its on-going resource planning work. | [5 empty] | FPL will continue to analyze the projected impacts of increasing amounts of PV in its on-going resource planning work.
2/ | The in-service date of this PV addition is reflected in table ES-1 or Schedule 7.1. |  |  |  |  | 2/ | The in-service date of this PV addition is reflected in table ES-1 or Schedule 7.1. |  |  |  |  | 2/ | The in-service date of this PV addition is reflected in table ES-1 or Schedule 7.1. |  |  |  |  | 2/ | The in-service date of this PV addition is reflected in table ES-1 or Schedule 7.1. |  |  |  |  | 2/ | The in-service date of this PV addition is reflected in table ES-1 or Schedule 7.1. |  |  |  |  | 2/ | The in-service date of this PV addition is reflected in table ES-1 or Schedule 7.1. |  |  |  |  | 2/ | The in-service date of this PV addition is reflected in table ES-1 or Schedule 7.1. |  |  |  |  | 2/ | The in-service date of this PV addition is reflected in table ES-1 or Schedule 7.1.