## 20200069-DEF-003435
| Costs (Deployment Costs) |  |  | CMI Reduction |  |  | Outage Restoration Cost Benefits
Program | Normal | Above Avg | Increased | Normal | Above Avg | Increased | Normal | Above Avg | Increased
D1: Feeder Hardening | 1524387923.2842 | 1524387923.2842 | 1524387923.2842 | 38632672.796 | 42495940.0756 | 48290840.995 | 3416502.1287 | 3758152.3416 | 4270627.6609
D2: Lateral Hardening | 1815174247.3027 | 1815174247.3027 | 1815174247.3027 | 196007311.2808 | 215608042.4089 | 245009139.1011 | 22227827.414 | 24450610.1554 | 27784784.2675
D3: Self-Optimizing Grid (SOG) | 255628341.39 | 255628341.39 | 255628341.39 | 194821763.7598 | 214303940.1358 | 243527204.6998 | 0 | 0 | 0
D4: Underground Flood Mitigation | 10805349.07 | 10805349.07 | 10805349.07 | 440157.7133 | 484173.4846 | 550197.1416 | 904624.7963 | 995087.276 | 1130780.9954
T1: Structure Hardening | 1330586670.11 | 1330586670.11 | 1330586670.11 | 12828912.1225 | 14111803.3348 | 16036140.1531 | 15826437.1951 | 17409080.9147 | 19783046.4939
T2: Substation Flood Mitigation | 29640000 | 29640000 | 29640000 | 8067695.586 | 8874465.1446 | 10084619.4825 | 299127.1644 | 329039.8809 | 373908.9555
T3: Loop Radially Fed Substations | 58014000 | 58014000 | 58014000 | 395325.6943 | 434858.2638 | 494157.1179 | 0 | 0 | 0
T4: Substation Hardening | 104392800 | 104392800 | 104392800 | 6266109.8521 | 6892720.8373 | 7832637.3151 | 12736.6531 | 14010.3185 | 15920.8164
| Costs include capital, O&M, and removal |  |  | Includes reduced CMI from storm and blue sky |  |  | Includes reduced restoration costs from storm and blue sky
Notes
Based on projects deployed over the 10-year study period
Costs include capital, O&M, and removal
Reduced CMI includes impacts during storm conditions only (excludes blue sky)
Outage restoration cost benefits include impacts during storm conditions only (excludes blue sky)
20200069-DEF-003435