## Cost-Effectiveness Results
Attachment 1, Page 1 of 2
DEF's Response to STAFF's ROG 1 (Nos. 1-8)
Docket No. 20200002-EG
2019 | Cost-Effectiveness Scores
Program | RIM | TRC | Participant
Residential Segment
Residential Incentive | 1.5179 | 2.4884 | 1.3605
Neighborhood Energy Saver | 1.3234 | 3.9534 | 3.7665
Low Income Weatherization Assistance | 1.4652 | 3.2419 | 2.0041
Residential Energy Management | 2.9017 | 7.3857 | NA
Non-Residential Segment
Better Business | 1.5444 | 4.3336 | 3.2575
Standby Generation | 4.1238 | 41.3576 | NA
Curtailable Service | 3.1462 | 29.437 | NA
Interruptible Service | 1.5606 | 12.9308 | NA

## Assumptions
Attachment 1, Page 2 of 2
DEF's Response to STAFF's ROG 1 (Nos. 1-8)
Docket No. 20200002-EG
GT Brownfield- COMBUSTION TURBINE |  | Units 1 - 3
(1) Base Year |  | 2020
(2) In Service Year for Avoided Generation Unit |  | 2027-06-01
(3) Winter Capacity | MW | 239.5
(4) Base Year Avoided Generating Unit Cost (including transmission upgrade cost) | $/KW | 530.0787
(5) Generator Cost Escalation Rate |  | 1.372%
(6) Generator Fixed O&M Cost (including non-escalating gas pipeline reservation cost) | $/kw-year | 79.5161
(7) Generator Fixed O&M Cost Escalation Rate |  | 2.5%
(8) Avoided Gen Unit Variable O&M Cost | ¢/Kwh | 0.86261
(9) Generator Variable O&M Cost Escalation Rate |  | 2.5%
(10) Generator Capacity Factor |  | 4% winter 19% summer
(11) Avoided Generating Unit Fuel Cost | ¢/Kwh | 4.0911
(12) Avoided Generating Unit Fuel Escalation Rate |  | 5.091%
GT Brownfield- COMBUSTION TURBINE |  | Unit 4
(1) Base Year |  | 2020
(2) In Service Year for Avoided Generation Unit |  | 2030-06-01
(3) Winter Capacity | MW | 239.5
(4) Base Year Avoided Generating Unit Cost (including transmission upgrade cost) | $/KW | 530.0787
(5) Generator Cost Escalation Rate |  | 1.372%
(6) Generator Fixed O&M Cost (including non-escalating gas pipeline reservation cost) | $/kw-year | 85.6301
(7) Generator Fixed O&M Cost Escalation Rate |  | 2.5%
(8) Avoided Gen Unit Variable O&M Cost | ¢/Kwh | 0.92894
(9) Generator Variable O&M Cost Escalation Rate |  | 2.5%
(10) Generator Capacity Factor |  | 4% winter 19% summer
(11) Avoided Generating Unit Fuel Cost | ¢/Kwh | 5.3324
(12) Avoided Generating Unit Fuel Escalation Rate |  | 5.091%
GT Brownfield- COMBUSTION TURBINE |  | Unit 5
(1) Base Year |  | 2020
(2) In Service Year for Avoided Generation Unit |  | 2031-06-01
(3) Winter Capacity | MW | 239.5
(4) Base Year Avoided Generating Unit Cost (including transmission upgrade cost) | $/KW | 530.0787
(5) Generator Cost Escalation Rate |  | 1.372%
(6) Generator Fixed O&M Cost (including non-escalating gas pipeline reservation cost) | $/kw-year | 87.7709
(7) Generator Fixed O&M Cost Escalation Rate |  | 2.5%
(8) Avoided Gen Unit Variable O&M Cost | ¢/Kwh | 0.95216
(9) Generator Variable O&M Cost Escalation Rate |  | 2.5%
(10) Generator Capacity Factor |  | 4% winter 19% summer
(11) Avoided Generating Unit Fuel Cost | ¢/Kwh | 5.6492
(12) Avoided Generating Unit Fuel Escalation Rate |  | 5.091%
GT Brownfield- COMBUSTION TURBINE |  | Unit 6
(1) Base Year |  | 2020
(2) In Service Year for Avoided Generation Unit |  | 2034-06-01
(3) Winter Capacity | MW | 239.5
(4) Base Year Avoided Generating Unit Cost (including transmission upgrade cost) | $/KW | 530.0787
(5) Generator Cost Escalation Rate |  | 1.372%
(6) Generator Fixed O&M Cost (including non-escalating gas pipeline reservation cost) | $/kw-year | 94.5196
(7) Generator Fixed O&M Cost Escalation Rate |  | 2.5%
(8) Avoided Gen Unit Variable O&M Cost | ¢/Kwh | 1.0254
(9) Generator Variable O&M Cost Escalation Rate |  | 2.5%
(10) Generator Capacity Factor |  | 4% winter 19% summer
(11) Avoided Generating Unit Fuel Cost | ¢/Kwh | 6.1853
(12) Avoided Generating Unit Fuel Escalation Rate |  | 5.091%
GT Avg- COMBUSTION TURBINE |  | Units 7 - 9
(1) Base Year |  | 2020
(2) In Service Year for Avoided Generation Unit |  | 2034-06-01
(3) Winter Capacity | MW | 239.5
(4) Base Year Avoided Generating Unit Cost (including transmission upgrade cost) | $/KW | 602.9752
(5) Generator Cost Escalation Rate |  | 1.372%
(6) Generator Fixed O&M Cost (including non-escalating gas pipeline reservation cost) | $/kw-year | 96.9507
(7) Generator Fixed O&M Cost Escalation Rate |  | 2.5%
(8) Avoided Gen Unit Variable O&M Cost | ¢/Kwh | 1.0254
(9) Generator Variable O&M Cost Escalation Rate |  | 2.5%
(10) Generator Capacity Factor |  | 4% winter 19% summer
(11) Avoided Generating Unit Fuel Cost | ¢/Kwh | 6.1853
(12) Avoided Generating Unit Fuel Escalation Rate |  | 5.091%
CC2X1 J Greenfield Combined Cycle - COMBINED CYCLE |  | Unit 10
(1) Base Year |  | 2020
(2) In Service Year for Avoided Generation Unit |  | 2034-06-01
(3) Winter Capacity | MW | 1377.2
(4) Base Year Avoided Generating Unit Cost (including transmission upgrade cost) | $/KW | 919.7664
(5) Generator Cost Escalation Rate |  | 1.167%
(6) Generator Fixed O&M Cost (including non-escalating gas pipeline reservation cost) | $/kw-year | 93.0381
(7) Generator Fixed O&M Cost Escalation Rate |  | 2.5%
(8) Avoided Gen Unit Variable O&M Cost | ¢/Kwh | 0.16885
(9) Generator Variable O&M Cost Escalation Rate |  | 2.5%
(10) Generator Capacity Factor |  | 81% winter 92% summer
(11) Avoided Generating Unit Fuel Cost | ¢/Kwh | 3.8524
(12) Avoided Generating Unit Fuel Escalation Rate |  | 5.091%
GT Avg- COMBUSTION TURBINE |  | Unit 11
(1) Base Year |  | 2020
(2) In Service Year for Avoided Generation Unit |  | 2037-06-01
(3) Winter Capacity | MW | 239.5
(4) Base Year Avoided Generating Unit Cost (including transmission upgrade cost) | $/KW | 602.9752
(5) Generator Cost Escalation Rate |  | 1.372%
(6) Generator Fixed O&M Cost (including non-escalating gas pipeline reservation cost) | $/kw-year | 104.4053
(7) Generator Fixed O&M Cost Escalation Rate |  | 2.5%
(8) Avoided Gen Unit Variable O&M Cost | ¢/Kwh | 1.1042
(9) Generator Variable O&M Cost Escalation Rate |  | 2.5%
(10) Generator Capacity Factor |  | 4% winter 19% summer
(11) Avoided Generating Unit Fuel Cost | ¢/Kwh | 6.9624
(12) Avoided Generating Unit Fuel Escalation Rate |  | 5.091%
GT Avg- COMBUSTION TURBINE |  | Units 12 and 13
(1) Base Year |  | 2020
(2) In Service Year for Avoided Generation Unit |  | 2038-06-01
(3) Winter Capacity | MW | 239.5
(4) Base Year Avoided Generating Unit Cost (including transmission upgrade cost) | $/KW | 602.9752
(5) Generator Cost Escalation Rate |  | 1.372%
(6) Generator Fixed O&M Cost (including non-escalating gas pipeline reservation cost) | $/kw-year | 107.0155
(7) Generator Fixed O&M Cost Escalation Rate |  | 2.5%
(8) Avoided Gen Unit Variable O&M Cost | ¢/Kwh | 1.1318
(9) Generator Variable O&M Cost Escalation Rate |  | 2.5%
(10) Generator Capacity Factor |  | 4% winter 19% summer
(11) Avoided Generating Unit Fuel Cost | ¢/Kwh | 7.2933
(12) Avoided Generating Unit Fuel Escalation Rate |  | 5.091%
GT Avg- COMBUSTION TURBINE |  | Unit 14
(1) Base Year |  | 2020
(2) In Service Year for Avoided Generation Unit |  | 2040-06-01
(3) Winter Capacity | MW | 239.5
(4) Base Year Avoided Generating Unit Cost (including transmission upgrade cost) | $/KW | 602.9752
(5) Generator Cost Escalation Rate |  | 1.372%
(6) Generator Fixed O&M Cost (including non-escalating gas pipeline reservation cost) | $/kw-year | 112.4331
(7) Generator Fixed O&M Cost Escalation Rate |  | 2.5%
(8) Avoided Gen Unit Variable O&M Cost | ¢/Kwh | 1.1891
(9) Generator Variable O&M Cost Escalation Rate |  | 2.5%
(10) Generator Capacity Factor |  | 4% winter 19% summer
(11) Avoided Generating Unit Fuel Cost | ¢/Kwh | 7.7441
(12) Avoided Generating Unit Fuel Escalation Rate |  | 5.091%
CC2X1 J Greenfield Combined Cycle - COMBINED CYCLE |  | Unit 15
(1) Base Year |  | 2020
(2) In Service Year for Avoided Generation Unit |  | 2042-06-01
(3) Winter Capacity | MW | 1377.2
(4) Base Year Avoided Generating Unit Cost (including transmission upgrade cost) | $/KW | 919.7664
(5) Generator Cost Escalation Rate |  | 1.167%
(6) Generator Fixed O&M Cost (including non-escalating gas pipeline reservation cost) | $/kw-year | 113.3579
(7) Generator Fixed O&M Cost Escalation Rate |  | 2.5%
(8) Avoided Gen Unit Variable O&M Cost | ¢/Kwh | 0.20572
(9) Generator Variable O&M Cost Escalation Rate |  | 2.5%
(10) Generator Capacity Factor |  | 81% winter 92% summer
(11) Avoided Generating Unit Fuel Cost | ¢/Kwh | 5.1724
(12) Avoided Generating Unit Fuel Escalation Rate |  | 5.091%
Note: all the fixed cost, variable and fuel costs are nominal dollar value in the first year when Unit is in service