## Macros (hidden)
*
Utilities, Inc. of Florida - Sandalhaven
COMPANY DATA:
* | enter company name => |  |  | Utilities, Inc. of Florida - Sandalhaven
enter system =>
* | enter docket number => |  |  | Docket No.: 20200139-WS
* | schedule year ended => |  |  | Schedule Year Ended: December 31, 2019
* | schedule year ended => |  |  | Schedule Year Ended: December 31, 2019
* | schedule year ended => |  |  | Schedule Year Ended: December 31, 2019
* | preparer => |  |  | Preparer: F. Seidman
| preparer 2 |  |  | Preparer: F. Seidman
| preparer 3 |  |  | Preparer: F. Seidman
test year ended =>
| test year ended => |  |  | Test Year Ended: December 31, 2019
* | test year ended => |  |  | Schedule Year Ended: December 31, 2019
| * | * | * | * | *
| Page1 |  |  | Page 1 of 2
| Page2 |  |  | Page 2 of 2
| Page3 |  |  | Page 3 of 3

## F 2
Gallons of Wastewater Treated |  |  |  |  | Florida Public Service Commission
In Thousands of Gallons
Schedule F-2
Utilities, Inc. of Florida - Sandalhaven |  |  |  |  | Page 1 of 1
Docket No.: 20200139-WS |  |  |  |  | Preparer: Seidman, F.
Test Year Ended: December 31, 2019
Explanation: Provide a schedule of gallons of wastewater treated by individual plant for each month of the
historical test year. Flow data should match the monthly operating reports sent to DER.
| (1) | (2) | (3) | (4) | (5) | (6) | (7)
[6 empty] | Purchased | Total
Month/ | (1): Individual Plant Flows (000,000); (5): Total Plant; (6): Sewage; (7): Sewage
Year | N/A | N/A | N/A | N/A | Flows | Treatment * | Treatment
2019-01-01 | (5): 0; (6): 4.0706; (7): 4.0706
2019-02-01 | (5): 0; (6): 4.087; (7): 4.087
2019-03-01 | (5): 0; (6): 4.402; (7): 4.402
2019-04-01 | (5): 0; (6): 4.1429; (7): 4.1429
2019-05-01 | (5): 0; (6): 3.3004; (7): 3.3004
2019-06-01 | (5): 0; (6): 2.3138; (7): 2.3138
2019-07-01 | (5): 0; (6): 3.4125; (7): 3.4125
2019-08-01 | (5): 0; (6): 2.6421; (7): 2.6421
2019-09-01 | (5): 0; (6): 2.1339; (7): 2.1339
2019-10-01 | (5): 0; (6): 2.7513; (7): 2.7513
2019-11-01 | (5): 0; (6): 3.3641; (7): 3.3641
2019-12-01 | (1): 0; (5): 0; (6): 3.8591; (7): 3.8591
Total | 0 | 0 | 0 | 0 | 0 | 40.4798 | 40.4798
* Sewage treated by Englewood Water District (EWD)

## F 4
Wastewater Treatment Plant Data |  | Florida Public Service Commission
Utilities, Inc. of Florida - Sandalhaven |  | Schedule F-4
Docket No.: 20200139-WS |  | Page 1 of 1
Test Year Ended: December 31, 2019 |  | Preparer: Seidman, F.
Explanation: Provide the following information for each wastewater treatment plant. All flow data must be obtained from the monthly operating reports (MORs) sent to the Department of Environmental Regulation.
|  | MONTH | GPD
1. | Purchased Capacity, Englewood Water District (EWD) (AADF) |  | 300000
2.
| Average Daily Flow Max Month - | Mar, 2019 | 142000
| Average Annual Daily Flow |  | 110903.4412
An average of the daily flows during the peak usage month during the test year. Explain, on a separate page, if this peak-month was influenced by abnormal infiltration due to rainfall periods.

## F 6
Used and Useful Calculations |  |  |  | Florida Public Service Commission
Wastewater Treatment Plant
Utilities, Inc. of Florida - Sandalhaven |  |  |  | Schedule F-6
Docket No.: 20200139-WS |  |  |  | Page 1 of 2
Test Year Ended: December 31, 2019 |  |  |  | Preparer: Seidman, F.
|  |  |  | REVISED FOR STAFF ROG 29 | .
Explanation: Provide all calculations, analyses and governmental requirements used to determine the used and useful percentages for the wastewater treatment plant(s) for the historical test year and the projected test year (if applicable).
Line
No.
ALL FLOWS TO ENGLEWOOD WATER DISTRICT
1 | (A) | TY Flows to EWD, GPD, AADF |  |  | 110903.4412
REVISED FOR STAFF ROG 29
2 | (B) | Plus: Imputed flows to bring treated flows to level experienced in a prior year, 2010. See Note |  |  | 0
3 | (C) | Total Flows to be Treated, GPD, AADF |  |  | 110903.4412
4 | (D) | EWD Purchased Capacity, AADF |  |  | 300000
5 | (E) | Used and useful percentage |  |  | 36.9678 | %
6 | (F) | Non-used and useful percentage |  |  | 63.0322 | %
Note: In Docket No. 20160101-WS, Order No. PSC-2019-0363-PAA-WS, the PSC determined U&U to be 42.24% based on
actual flows for the 2015 TY of 138,285 gpd , adjusted for excess I&I. Flows in the 2019 TY have fallen to 110,903. The PSC
typically defaults to a U&U based on the higher flows experienced in prior years so as to not penalize the utility for providing
capacity previously needed. Based on that, the PSC should defer to the 2010 TY flow of 154,850 presented before Charlotte County.
Sandalhaven requests those higher flows in determining U&U and recognize it as the default minimum going forward.
The above used and useful percentage is applicable to All Treatment & Disposal Accounts 355.4,354.4,380.4 & 389.4.
Recap Schedules: A-6, A-10, B-14

## F 6 (2)
Used and Useful Calculations | [6 empty] | FPSC
Wastewater Treatment Plant
Utilities, Inc. of Florida - Sandalhaven | [6 empty] | Schedule F-6
Docket No.: 20200139-WS | [6 empty] | Page 2 of 2
Test Year Ended: December 31, 2019 | [6 empty] | Preparer: Seidman, F.
A. Infiltration allowance, excluding service laterals
Allowance @ 500
| Main dia. |  | Main length |  | gpd/inch-dia.-mile
| inches | Type | feet | miles | gpd
1 | 4 |  | 0 | 0 | 0
| 6 | PVC | 0 | 0 | 0
2 | 6 |  | 0 | 0 | 0
3 | 8 | PVC | 44045 | 8.3419 | 33367.4242
4 | 10 |  | 0 | 0 | 0
5 | 12 |  | 0 | 0 | 0
6 | 15 |  | 0 | 0 | 0
7 | Total |  | 44045 | 8.3419 | 33367.4242 | 12179109.8485
8 | Estimated Inflow @ 10% of flows sold (L.15) |  |  |  |  | 3649900
9 | Allowable I&I |  |  |  |  | 15829009.8485
B. Calculation of Actual Inflow & Infiltration (I&I)
10 | Wastewater treated |  |  |  |  | 40479756.0203 | F-2
| Water Gallons (not capped) sold to: |  |  |  | Estimated returned *
11 | Residential WW SFR |  |  | 21141000 | 80% | 16912800 | F-10
14 | General Service |  |  | 15358000 | 90% | 13822200
15 | Estimated flows returned |  |  | 36499000 | 84.21% | 30735000 | F-10
16 | Estimated I&I (treated less returned) [L.10-L.15] |  |  |  |  | 9744756.0203
17 | Actual less allowable [L.16-L.9] |  |  |  |  | -6084253.8282
18 | Excess, if any [L.17, if positive] |  |  |  |  | 0
19 | Excess as percent of wastewater treated |  |  |  |  | 0%
20 | Excess as percent to be used for filing |  |  |  |  | 0%
* - Notes:
1. Residential flow returns at 90% are borne out by the capped residential flows of 17,284,000 and
consistent with the flows used and accepted in Docket No. 060285-SU.
2. General Service flow returns at 96% is consistent with flows used and accepted in Docket No. 060285-SU.
4. These results are consistent with the NOTE above wherein little excess I&I was found after an investigation
followed by repairs.

## F 7
Used and Useful Calculations |  | Florida Public Service Commission
Water Distribution and Wastewater Collection Systems
Utilities, Inc. of Florida - Sandalhaven |  | Schedule F-7
Docket No.: 20200139-WS |  | Docket No.: 20200139-WS
Test Year Ended: December 31, 2019 |  | Preparer: Seidman, F.
Explanation: Provide all calculations, analyses and governmental requirements used to determine the used and useful percentages for the water distribution and wastewater collection systems for the historical and the projected test year (if applicable). The capacity should be in terms of ability to serve a designated number of connections. It should then be related to actual connected density for historical year calculations. Explain all assumptions for projected calculations. If the distribution and collection systems are entirely contributed or built-out, this schedule is not required.
Recap Schedules: A-6, A-10, B-14
This is a wastewater-only system.
Wastewater Collection System
The wastewater collection mains and lift stations within developments are contributed by the developers.
Under the circumstances, a used & useful analysis was not deemed necessary nor performed.
In Docket No. 20160101-WS, the PSC found the collection system to br 100% U&U.
The cirmstances have not changed. The system should still be considered 100% U&U.
Master 12 "Force Main and Associated Lift Station Transmission System
In Docket No. 20160101-WS, the PSC concluded that theat this tranmission system, being the sole meand of
delivering flows to the Eenglewood Water District (EWD) for treatment is 100% U&U.

## F 8
Margin Reserve Calculations |  |  | Florida Public Service Commission
Utilities, Inc. of Florida - Sandalhaven |  |  | Schedule F-8
Docket No.: 20200139-WS |  |  | Page 1 of 1
Test Year Ended: December 31, 2019 |  |  | Preparer: Seidman, F.
Explanation: If a margin reserve is requested, provide all calculations and analyses used to determine the amount of margin reserve for each portion of used and useful plant.
Recap Schedules: F-6, F-7
Wastewater Treatment & Related Facilities -
NOT APPLICABLE
All flows are now sent to the Englewood Water District (EWD for treatment and disposal.
The growth factor is determined according to the formula in Commission Rule 25-30.431:
PN = EG x PT x U
where:
| EG = | Equivalent annual growth in ERCs (see E-6), capped @ 5%/yr
| PT = | Post test year period per statute
| U = | Unit of measure utilized in U&U calculations
| PN = | Property needed expressed in U units
The raw data produces negative growth and for reasons explained in Sch. F-10 is not representaive of ongoing demand.

## F 10
Equivalent Residential Connections - Wastewater | [6 empty] | Florida Public Service Commission
Utilities, Inc. of Florida - Sandalhaven | [6 empty] | Schedule F-10
Docket No.: 20200139-WS | [6 empty] | Page 1 of 1
Test Year Ended: December 31, 2019 | [6 empty] | Preparer: Seidman, F.
Explanation: Provide the following information in order to calculate the average growth in ERC's for the last five years, including the test year. If the utility does not have single-family residential (SFR) customers, the largest customer class should be used as a substitute.
| (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9)
[5 empty] | SFR | Gallons/ | Total | Total | Annual
Line |  | SFR Customers |  |  | Gallons | SFR | Gallons | ERCs | % Incr.
No. | Year | Beginning | Ending | Average | Sold | (5)/(4) | Sold | (7)/(6) | in ERCs
1 | 2011 | 725 | 769 | 747 | 19758000 | 26449.7992 | 50204000 | 1898.0862
2 | 2012 | 769 | 757 | 763 | 19141000 | 25086.5007 | 48368000 | 1928.0489 | 1.579%
3 | 2013 | 757 | 764 | 760.5 | 19657000 | 25847.4688 | 42970000 | 1662.4452 | -13.78%
4 | 2014 | 764 | 788 | 776 | 19209000 | 24753.866 | 36568000 | 1477.2642 | -11.14%
5 | 2015 | 788 | 793 | 790.5 | 21141000 | 26743.833 | 36499000 | 1364.7632 | -7.615%
[5 empty] | Average Growth Through 5-Year Period (Col. 8) |  |  | 1608.1304 | -7.738%
Note: Above shows total sales (not capped) to WW Customers.
[7 empty] | X | Y
Regression Analysis per Rule 25-30.431(2)(C)
|  |  | Constant: |  | 2121.3508 |  | -
|  |  | X Coefficient: |  | -151.7431 |  | 1 | 1898.0862 | Actual
|  |  | R^2: |  | 0.92507 |  | 2 | 1928.0489 | Actual
[7 empty] | 3 | 1662.4452 | Actual
[7 empty] | 4 | 1477.2642 | Actual
[7 empty] | 5 | 1364.7632 | Actual
[7 empty] | 10 | 603.92 | Projected
|  |  | 5 year growth |  |  |  |  | -760.8432
|  |  | Annual average growth |  |  |  |  | -152.1686
|  |  | Annual average growth @ |  |  |  | -7.738% | -105.6046
The substantial reduction in total gallons sold, even though SFR gallons and gallons/SFR are relatively stable,
is more an indication of instability in MFD (included in General Service) occupancy than of growth patterns.
Compare the pattern of change in total ERCs between 2012 and 2015 to that between 2007 and 2011.
|  |  | 2007 | 6.48% |  | 2012 | 1.579%
|  |  | 2008 | 11.99% |  | 2013 | -13.78%
|  |  | 2009 | 15.48% |  | 2014 | -11.14%
|  |  | 2010 | 12.42% |  | 2015 | -7.615%
|  |  | 2011 | 18.78%
|  |  | Average | 13.03% |  |  | -7.738%
When occupancy increases, so will total gallons sold and thus total ERCs.

## EWD2019 (hidden)
Flows
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | Total | Avg. | Max.
2019-01-01 | 0.1 | 0.1 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.13329 | 0.13329 | 0.146 |  | 4.0706 | 0.13131 | 0.146
February | 0.14597 | 0.14597 | 0.14597 | 0.14597 | 0.14597 | 0.14597 | 0.14597 | 0.14597 | 0.14597 | 0.14597 | 0.14597 | 0.14597 | 0.14597 | 0.14597 | 0.14597 | 0.14597 | 0.14597 | 0.14597 | 0.14597 | 0.14597 | 0.14597 | 0.14597 | 0.14597 | 0.14597 | 0.14597 | 0.14597 | 0.14597 | 0.14597 |  |  |  |  | 4.087 | 0.13184 | 0.14597
March | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 | 0.142 |  | 4.402 | 0.142 | 0.142
April | 0.142 | 0.142 | 0.14224 | 0.13766 | 0.13766 | 0.13766 | 0.13766 | 0.13766 | 0.13766 | 0.13766 | 0.13766 | 0.13766 | 0.13766 | 0.13766 | 0.13766 | 0.13766 | 0.13766 | 0.13766 | 0.13766 | 0.13766 | 0.13766 | 0.13766 | 0.13766 | 0.13766 | 0.13766 | 0.13766 | 0.13766 | 0.13766 | 0.13766 | 0.13766 |  |  | 4.1429 | 0.13364 | 0.14224
May | 0.13766 | 0.13766 | 0.10431 | 0.10431 | 0.10431 | 0.10431 | 0.10431 | 0.10431 | 0.10431 | 0.10431 | 0.10431 | 0.10431 | 0.10431 | 0.10431 | 0.10431 | 0.10431 | 0.10431 | 0.10431 | 0.10431 | 0.10431 | 0.10431 | 0.10431 | 0.10431 | 0.10431 | 0.10431 | 0.10431 | 0.10431 | 0.10431 | 0.10431 | 0.10431 | 0.10431 |  | 3.3004 | 0.10646 | 0.13766
June | 0.10431 | 0.10431 | 0.10431 | 0.074107 | 0.074107 | 0.074107 | 0.074107 | 0.074107 | 0.074107 | 0.074107 | 0.074107 | 0.074107 | 0.074107 | 0.074107 | 0.074107 | 0.074107 | 0.074107 | 0.074107 | 0.074107 | 0.074107 | 0.074107 | 0.074107 | 0.074107 | 0.074107 | 0.074107 | 0.074107 | 0.074107 | 0.074107 | 0.074107 | 0.074107 |  | 0.11718 | 2.3138 | 0.07464 | 0.10431
July | 0.074107 | 0.11128 | 0.11128 | 0.11128 | 0.11128 | 0.11128 | 0.11128 | 0.11128 | 0.11128 | 0.11128 | 0.11128 | 0.11128 | 0.11128 | 0.11128 | 0.11128 | 0.11128 | 0.11128 | 0.11128 | 0.11128 | 0.11128 | 0.11128 | 0.11128 | 0.11128 | 0.11128 | 0.11128 | 0.11128 | 0.11128 | 0.11128 | 0.11128 | 0.11128 | 0.11128 |  | 3.4125 | 0.11008 | 0.11128
August | 0.11128 | 0.11128 | 0.083433 | 0.083433 | 0.083433 | 0.083433 | 0.083433 | 0.083433 | 0.083433 | 0.083433 | 0.083433 | 0.083433 | 0.083433 | 0.083433 | 0.083433 | 0.083433 | 0.083433 | 0.083433 | 0.083433 | 0.083433 | 0.083433 | 0.083433 | 0.083433 | 0.083433 | 0.083433 | 0.083433 | 0.083433 | 0.083433 | 0.083433 | 0.083433 | 0.083433 |  | 2.6421 | 0.08523 | 0.11128
September | 0.083433 | 0.083433 | 0.07025 | 0.07025 | 0.07025 | 0.07025 | 0.07025 | 0.07025 | 0.07025 | 0.07025 | 0.07025 | 0.07025 | 0.07025 | 0.07025 | 0.07025 | 0.07025 | 0.07025 | 0.07025 | 0.07025 | 0.07025 | 0.07025 | 0.07025 | 0.07025 | 0.07025 | 0.07025 | 0.07025 | 0.07025 | 0.07025 | 0.07025 | 0.07025 |  |  | 2.1339 | 0.068834 | 0.083433
October | 0.08875 | 0.08875 | 0.08875 | 0.08875 | 0.08875 | 0.08875 | 0.08875 | 0.08875 | 0.08875 | 0.08875 | 0.08875 | 0.08875 | 0.08875 | 0.08875 | 0.08875 | 0.08875 | 0.08875 | 0.08875 | 0.08875 | 0.08875 | 0.08875 | 0.08875 | 0.08875 | 0.08875 | 0.08875 | 0.08875 | 0.08875 | 0.08875 | 0.08875 | 0.08875 | 0.08875 |  | 2.7513 | 0.08875 | 0.08875
November | 0.08875 | 0.11294 | 0.11294 | 0.11294 | 0.11294 | 0.11294 | 0.11294 | 0.11294 | 0.11294 | 0.11294 | 0.11294 | 0.11294 | 0.11294 | 0.11294 | 0.11294 | 0.11294 | 0.11294 | 0.11294 | 0.11294 | 0.11294 | 0.11294 | 0.11294 | 0.11294 | 0.11294 | 0.11294 | 0.11294 | 0.11294 | 0.11294 | 0.11294 | 0.11294 |  |  | 3.3641 | 0.10852 | 0.11294
December | 0.11294 | 0.11294 | 0.11294 | 0.11294 | 0.11294 | 0.11294 | 0.12726 | 0.12726 | 0.12726 | 0.12726 | 0.12726 | 0.12726 | 0.12726 | 0.12726 | 0.12726 | 0.12726 | 0.12726 | 0.12726 | 0.12726 | 0.12726 | 0.12726 | 0.12726 | 0.12726 | 0.12726 | 0.12726 | 0.12726 | 0.12726 | 0.12726 | 0.12726 | 0.12726 | 0.12726 |  | 3.8591 | 0.12449 | 0.12726
40.4798
[33 empty] | 4.402 |  | 0.146
EWD Reads
Day | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
2019-01-01 |  | 178540 | [27 empty] | 182272
February | [27 empty] | 186505
March | 186505
April |  |  | 191341
May |  | 195333
June |  |  | 198671
July | 200746
August |  |  | 204307
September |  | 206810 | [27 empty] | 208777
October
November | 211617
December | [5 empty] | 215570
| Date | Read | Usage | Formated
Prior
| 2019-12-06 | 215570
| 2019-12-07 |  | 127.2593 | 0.12726
| 2019-12-08 |  | 127.2593 | 0.12726
| 2019-12-09 |  | 127.2593 | 0.12726
| 2019-12-10 |  | 127.2593 | 0.12726
| 2019-12-11 |  | 127.2593 | 0.12726
| 2019-12-12 |  | 127.2593 | 0.12726
| 2019-12-13 |  | 127.2593 | 0.12726
| 2019-12-14 |  | 127.2593 | 0.12726
| 2019-12-15 |  | 127.2593 | 0.12726
| 2019-12-16 |  | 127.2593 | 0.12726
| 2019-12-17 |  | 127.2593 | 0.12726
| 2019-12-18 |  | 127.2593 | 0.12726
| 2019-12-19 |  | 127.2593 | 0.12726
| 2019-12-20 |  | 127.2593 | 0.12726
| 2019-12-21 |  | 127.2593 | 0.12726
| 2019-12-22 |  | 127.2593 | 0.12726
| 2019-12-23 |  | 127.2593 | 0.12726
| 2019-12-24 |  | 127.2593 | 0.12726
| 2019-12-25 |  | 127.2593 | 0.12726
| 2019-12-26 |  | 127.2593 | 0.12726
| 2019-12-27 |  | 127.2593 | 0.12726
| 2019-12-28 |  | 127.2593 | 0.12726
| 2019-12-29 |  | 127.2593 | 0.12726
| 2019-12-30 |  | 127.2593 | 0.12726
| 2019-12-31 |  | 127.2593 | 0.12726
| 2020-01-01 |  | 127.2593 | 0.12726
27 | 2020-01-02 | 219006 | 127.2593 | 0.12726

## WWSUMARY2019 (hidden)
2019
|  | Jan | Feb | Mar | April | May | June | July | Aug | Sept | Oct | Nov | Dec
Billing Period From Date |  | 2018-12-27 | 2019-01-25 | 2019-02-26 | 2019-03-27 | 2019-04-25 | 2019-05-24 | 2019-06-26 | 2019-07-26 | 2019-08-27 | 2019-09-25 | 2019-10-25 | 2019-11-22
Billing Period To Date |  | 2019-01-25 | 2019-02-26 | 2019-03-27 | 2019-04-25 | 2019-05-24 | 2019-06-26 | 2019-07-26 | 2019-08-27 | 2019-09-25 | 2019-10-25 | 2019-11-22 | 2019-12-27
Days |  | 29 | 32 | 29 | 29 | 29 | 33 | 30 | 32 | 29 | 30 | 28 | 35
Meter Read - Previous |  | 177815000 | 181428000 | 186306000 | 190439000 | 194571000 | 197541000 | 200278000 | 203839000 | 206335000 | 208423000 | 210914000 | 214018000
Meter Read - Current |  | 181428000 | 186306000 | 190439000 | 194571000 | 197541000 | 200278000 | 203839000 | 206335000 | 208423000 | 210914000 | 214018000 | 218150000
Total Gallons Sent To EWD |  | 3613000 | 4878000 | 4133000 | 4132000 | 2970000 | 2737000 | 3561000 | 2496000 | 2088000 | 2491000 | 3104000 | 4132000 | 40.335 | YTD EWD
Meter Read - Previous |  | 178540 | 182272 | 186505 | 191341 | 195333 | 198671 | 204307 | 206810 | 206810 | 208777 | 211617 | 215570
Meter Read - Current |  | 182272 | 186505 | 191341 | 195333 | 198671 | 204307 | 206810 | 206810 | 208777 | 211617 | 215570 | 219006
| Flow total from Reads | 3.732 | 4.6067 | 4.1259 | 4.0226 | 3.3961 | 2.7476 | 3.0413 | 2.8648 | 2.1163 | 2.57 | 3.0818 | 4.2536 | 40.5588 | YTD Sndlhvn
| Total WW Billed | 3.9422 | 3.9372 | 3.9837 | 3.336 | 2.5685 | 2.2466 | 1.9187 | 1.8276 | 1.9065 | 2.3117 | 2.5958 | 2.1132
[14 empty] | 32.6876 | YTD Billed

## Newsales (hidden)
Sandalhaven, 256-446 CCB 2015
Rate Schedule | Description | Rev Class | Mtr Sz | January | February | March | April | May | June | July | August | September | October | November | December | Grand Total | Yr End Res Cust
256WWGEN | 256 Sandalhaven Wastewater General Service | COML | 1" | 4000 | 9000 | 6000 | 9000 | 5000 | 3000 | 5000 | 6000 | 7000 | 5000 | 7000 | 7000 | 73000
256WWGEN | 256 Sandalhaven Wastewater General Service | COML | 1.5" | 44000 | 110000 | 59000 | 66000 | 55000 | 44000 | 47000 | 51000 | 33000 | 43000 | 35000 | 50000 | 637000
256WWGEN | 256 Sandalhaven Wastewater General Service | COML | 2" | 165000 | 316000 | 298000 | 300000 | 233000 | 141000 | 114000 | 83000 | 109000 | 121000 | 126000 | 179000 | 2185000
256WWGEN | 256 Sandalhaven Wastewater General Service | COML | 3" | 151000 | 326000 | 316000 | 316000 | 224000 | 194000 | 64000 | 102000 | 138000 | 109000 | 108000 | 161000 | 2209000
256WWGEN | 256 Sandalhaven Wastewater General Service | COML | 5/8" | 201000 | 189000 | 199000 | 214000 | 187000 | 205000 | 190000 | 143000 | 207000 | 156000 | 162000 | 178000 | 2231000
256WWGEN | 256 Sandalhaven Wastewater General Service | RES | 5/8" | January: 0; February: 23000; March: 2000; April: 4000 | 29000
256WWMUL | 256 Sandalhaven Wastewater Multi-Residential | RES | 1.5" | 12000 | 15000 | 9000 | 9000 | 8000 | 13000 | 15000 | 8000 | 8000 | 11000 | 9000 | 8000 | 125000
256WWMUL | 256 Sandalhaven Wastewater Multi-Residential | RES | 2" | 0 | 0 |  |  |  | 32000 | 16000 | 21000 | 16000 | 21000 | 22000 | 33000 | 161000
256WWMUL | 256 Sandalhaven Wastewater Multi-Residential | RES | 3" | 181000 | 146000 | 163000 | 153000 | 131000 | 218000 | 29000 | 166000 | 116000 | 170000 | 169000 | 181000 | 1823000
256WWMUL | 256 Sandalhaven Wastewater Multi-Residential | RES | 6" | 441000 | 677000 | 618000 | 644000 | 566000 | 603000 | 229000 | 349000 | 217000 | 762000 | 400000 | 379000 | 5885000
256WWRES | 256 Sandalhaven Wastewater Residential Service | RES | 1" | 15000 | 12000 | 11000 | 11000 | 11000 | 17000 | 13000 | 11000 | 10000 | 9000 | 11000 | 18000 | 149000
256WWRES | 256 Sandalhaven Wastewater Residential Service | RES | 5/8" | 1852000 | 2278000 | 2381000 | 2444000 | 2281000 | 1698000 | 950000 | 1017000 | 1093000 | 1115000 | 1303000 | 1610000 | 20022000
256WWRTB | 256 Sandalhaven Wastewater Restaurant | RES | 1.5" | 17000 | 27000 | 28000 | 29000 | 23000 | 22000 | 22000 | 16000 | 15000 | 17000 | 16000 | 18000 | 250000
256WWRTB | 256 Sandalhaven Wastewater Restaurant | RES | 5/8" | 58000 | 94000 | 90000 | 81000 | 73000 | 61000 | 56000 | 39000 | 40000 | 45000 | 38000 | 45000 | 720000
|  |  |  | 3141000 | 4222000 | 4180000 | 4280000 | 3797000 | 3251000 | 1750000 | 2012000 | 2009000 | 2584000 | 2406000 | 2867000 | 36499000
|  |  |  | 3141000 | 4222000 | 4180000 | 4280000 | 3797000 | 3251000 | 1750000 | 2012000 | 2009000 | 2584000 | 2406000 | 2867000 | 36499000
Water
Wastewater |  |  |  | 3141000 | 4222000 | 4180000 | 4280000 | 3797000 | 3251000 | 1750000 | 2012000 | 2009000 | 2584000 | 2406000 | 2867000 | 36499000
Total |  |  |  | 3141000 | 4222000 | 4180000 | 4280000 | 3797000 | 3251000 | 1750000 | 2012000 | 2009000 | 2584000 | 2406000 | 2867000 | 36499000
Water Res
Wastewater Res |  |  |  | 1942000 | 2411000 | 2510000 | 2565000 | 2388000 | 1798000 | 1041000 | 1083000 | 1158000 | 1186000 | 1368000 | 1691000 | 21141000 | 793
Sandalhaven, 256-446 CCB 2014
[16 empty] | Total | Yr End Res Cust
Water
Wastewater | [15 empty] | 36568000
Total | [15 empty] | 36568000
Water Res
Wastewater Res | [15 empty] | 19209000 | 788
Sandalhaven, 256-446 CCB 2013
[16 empty] | Total | Yr End Res Cust
Water
Wastewater | [15 empty] | 42970000
Total | [15 empty] | 42970000
Water Res
Wastewater Res | [15 empty] | 19657000 | 764
Sandalhaven, 256-446 CCB 2012
[16 empty] | Total | Yr End Res Cust
Water
Wastewater | [15 empty] | 48368000
Total | [15 empty] | 48368000
Water Res
Wastewater Res | [15 empty] | 19141000 | 757
Sandalhaven, 256-446 CCB 2011
[16 empty] | Total | Yr End Res Cust
Water
Wastewater | [15 empty] | 50204000
Total | [15 empty] | 50204000
Water Res
Wastewater Res | [15 empty] | 19758000 | 769 | 725