## Step 1 - Resource Plans
FPL 042964
20210015-EI
Page 1 of 6
Gulf Step 1 - 2020 Analysis
| Resource Options (Years It Can Be Selected) |  | Step 1a |  | Step 1b
| - New 1x0, 2x0 & 3x0 CT units (2024-2030) & 1x1 Escambia CC Unit (2026-2030) |  | X |  | X
| - 20 Addl. 75 MW Solar units (2022-2030) |  |  |  | X
| - 5 - 20 MW Batteries (2023-2030) |  |  | X | X | X
| - Daniels 1&2 Early Retirement (2024) |  |  | X | X | X | Gulf Case 1b: Solar
| Common to all Plans Retirements / Additions | Year | Resource Plan | RM% | Resource Plan | RM% | Year | Fixed | Tracking | Total
| 75 MW Solar Lansing Smith Upgrade (83 MW) Crist 6&7 Coal-Gas Conversion | 2020 | -- | 41.9145 | -- | 41.9145 | 2020 | -- | -- | --
| --- | 2021 | -- | 40.7111 | -- | 40.7111 | 2021 | -- | -- | --
| Crist 4x0 CT (938 MW) 149 MW Solar | 2022 | -- | 84.0738 | -- | 84.0738 | 2022 | -- | -- | --
| Shell PPA (885 MW) | 2023 | -- | 46.7586 | -- | 46.7586 | 2023 | -- | -- | --
| --- | 2024 | -- | 45.6606 | Daniel 1&2 Retired (502 MW) 298 MW Solar | 30.5177 | 2024 | -- | 298 | 298
| Crist 4 (75 MW) , Pea Ridge (12 MW) | 2025 | -- | 41.0339 | 74.5 MW Solar 3 x 20 MW Battery | 30.0203 | 2025 | -- | 74.5 | 74.5
| --- | 2026 | -- | 40.0959 | 2 x 20 MW Battery | 30.7367 | 2026 | -- | -- | --
| Crist 5 (75 MW) | 2027 | -- | 36.0623 | 1x1 Escambia CC (627 MW) | 51.7092 | 2027 | -- | -- | --
| Lansing Smith A (32 MW) | 2028 | -- | 33.9541 | -- | 49.4875 | 2028 | -- | -- | --
| --- | 2029 | -- | 32.4002 | -- | 47.7385 | 2029 | -- | -- | --
| Perdido 1&2 (3 MW) | 2030 | 1x1 Escambia CC (627 MW) | 55.0282 | -- | 45.9124 | 2030 | -- | -- | --
| Total CPVRR $M (2020-2068) |  | 10198.7033 |  | 9338.6749 |  | Total | 0 | 372.5 | 372.5
| Difference From Case 1a: |  | -- |  | -860.0284
Notes:
GULF 6.95% WACC

## Step 2 FPL Stand-Alone Res Plan
FPL 042965
20210015-EI
Page 2 of 6
| FPL Stand-Alone |  |  |  | FPL Stand-Alone: Solar
| Common to all Plans Retirements / Additions | Year | FPL Stand-Alone | RM% | Year | Fixed | Tracking | Total
| 745 MW Solar | 2020 | -- | 21.756 | 2020 | -- | -- | --
| 1,043 MW Solar OUC PPA (100 MW) Indiantown PPA (330 MW) | 2021 | -- | 21.6595 | 2021 | -- | -- | --
| Manatee Battery (469 MW) +54 MW GE Upgrades Manatee 1&2 (1,618 MW), Scherer 4 (634 MW) | 2022 | 1,043 MW Solar | 20.1215 | 2022 | 521.5 | 521.5 | 1043
| +92 MW GE Upgrades | 2023 | 596 MW Solar 1 x 100 MW Battery | 20.0982 | 2023 | 74.5 | 521.5 | 596
| +196 MW GE Upgrades | 2024 | 596 MW Solar | 20.0408 | 2024 | 74.5 | 521.5 | 596
| +77 MW GE Upgrades | 2025 | 670.5 MW Solar | 20.0474 | 2025 | 149 | 521.5 | 670.5
| +6 MW GE Upgrades | 2026 | 596 MW Solar 1 x 100 MW Battery | 20.0529 | 2026 | 74.5 | 521.5 | 596
| --- | 2027 | 521.5 MW Solar 1 x 100 MW Battery | 20.2901 | 2027 | -- | 521.5 | 521.5
| --- | 2028 | 521.5 MW Solar 1 x 100 MW Battery | 20.0846 | 2028 | -- | 521.5 | 521.5
| --- | 2029 | 596 MW Solar 3 x 100 MW Battery | 20.009 | 2029 | 74.5 | 521.5 | 596
| --- | 2030 | Martin 3x1 CC (1,991 MW) 521.5 MW Solar | 25.7602 | 2030 | -- | 521.5 | 521.5
| Total CPVRR $M (2020-2068) |  | 74891.634 |  | Total | 968.5 | 4693.5 | 5662
Notes:
FPL 7.52% WACC

## Step 2 - Gulf Resource Plan
FPL 042966
20210015-EI
Page 3 of 6
| Gulf Step 2 |  |  |  | Gulf Step 2: Solar
| Common to all Plans Retirements / Additions | Year | GULF Step 2 | RM% | Year | Fixed | Tracking | Total
| 75 MW Solar Lansing Smith Upgrade (83 MW) Crist 6&7 Coal-Gas Conversion | 2020 | -- | 41.9145 | 2020 | -- | -- | --
| --- | 2021 | -- | 40.7111 | 2021 | -- | -- | --
| 149 MW Solar Crist 4x0 CT (938 MW) | 2022 | 850 MW NFRC Line | 84.0738 | 2022 | -- | -- | --
| Shell PPA (885 MW) | 2023 | -- | 46.7586 | 2023 | -- | -- | --
| --- | 2024 | Daniel 1&2 Retired (502 MW) | 25.2784 | 2024 | -- | -- | --
| Crist 4 (75 MW) , Pea Ridge (12 MW) | 2025 | 74.5 MW Solar | 22.0874 | 2025 | -- | 74.5 | 74.5
| --- | 2026 | -- | 21.2669 | 2026 | -- | -- | --
| Crist 5 (75 MW) | 2027 | 298 MW Solar | 22.8082 | 2027 | -- | 298 | 298
| Lansing Smith A (32 MW) | 2028 | -- | 20.7581 | 2028 | -- | -- | --
| --- | 2029 | 1 x 20 MW Battery | 20.1175 | 2029 | -- | -- | --
| Perdido 1&2 (3 MW) | 2030 | 1x1 Escambia CC (627 MW) 4 x 20 MW Battery | 45.9592 | 2030 | -- | -- | --
| Gulf CPVRR $M: |  | 6054.5524 |  | Total | 0 | 372.5 | 372.5
| Incremental Costs of FPL Energy CPVRR $M: |  | 2212.2483
| NFRC Line Project CPVRR $M: |  | 708.774
| Total CPVRR $M: |  | 8975.5747
| Difference from Step 1b: |  | -363.1002
Notes:
GULF 6.95% WACC, including the FPL incremental costs
CPVRR is discounted at 6.95% from 2020-2068
Incremental Costs of FPL Energy delivered to Gulf via NFRC line are assumed charged to Gulf

## Step 3 - Resource Plan
FPL 042967
20210015-EI
Page 4 of 6
Integrated FPL/Gulf System: Solar
Step 3: FPL and Gulf Combined | [5 empty] | FPL Solar Fixed | FPL Solar Tracking | Gulf Solar Fixed | Gulf Solar Tracking | Total Solar
FPL Common to all Plans Retirements / Additions | Gulf Common to all Plans Retirements / Additions | Year | FPL Area Resource Additions | Gulf Area Resource Additions | RM%
745 MW Solar | 75 MW Solar Lansing Smith Upgrade (83 MW) Crist 6&7 Coal-Gas Conversion | 2020 | -- | -- | 24.8624 | -- | -- | -- | -- | 0
1,043 MW Solar OUC PPA (100 MW) Indiantown PPA (330 MW) | --- | 2021 | -- | -- | 24.1778 | -- | -- | -- | -- | 0
Manatee Battery (469 MW) +54 MW GE Upgrades Manatee 1&2 (1,618 MW), Scherer 4 (634 MW) | 850 MW NFRC Line Crist 4x0 CT (938 MW), 149 MW Solar | 2022 | 447 MW Solar | -- | 25.4985 | 372.5 | 74.5 | -- | -- | 447
+92 MW GE Upgrades | Shell PPA (885 MW) | 2023 | 372.5 MW Solar | 372.5 MW Solar | 21.5793 | 223.5 | 149 | 149 | 223.5 | 745
+196 MW GE Upgrades | Daniel 1&2 (502 MW) | 2024 | 521.5 MW Solar | 372.5 MW Solar | 20.0368 | -- | 521.5 | 372.5 | -- | 894
+77 MW GE Upgrades | Crist 4 (75 MW) , Pea Ridge (12 MW) | 2025 | 521.5 MW Solar | 372.5 MW Solar | 20.0896 | -- | 521.5 | 372.5 | -- | 894
+6 MW GE Upgrades | --- | 2026 | 521.5 MW Solar 1 x 100 MW Battery | 74.5 MW Solar | 20.0139 | -- | 521.5 | 74.5 | -- | 596
--- | Crist 5 (75 MW) | 2027 | 521.5 MW Solar 1 x 100 MW Battery | 74.5 MW Solar | 20.0059 | -- | 521.5 | 74.5 | -- | 596
--- | Lansing Smith A (32 MW) | 2028 | 1,117.5 MW Solar | -- | 20.0402 | 596 | 521.5 | -- | -- | 1117.5
--- | --- | 2029 | 968.5 MW Solar 2 x 100 MW Battery | 74.5 MW Solar | 20.1294 | 521.5 | 447 | -- | 74.5 | 1043
--- | Perdido 1&2 (3 MW) | 2030 | 298 MW Solar 2 x 100 MW Battery | 298 MW Solar 3 x 100 MW Battery | 20.1745 | 74.5 | 223.5 | -- | 298 | 596
| Step 3 CPVRR $M: |  | 82045.2574 |  |  | 1788 | 3501.5 | 1043 | 596 | 6928.5
FPL Stand-Alone + Gulf Step 2 CPVRR $M: |  |  | 82399.9478
Notes: | Difference from Step 2: |  | -354.6904
WACC = 7.52% (FPL 2020 WACC)
CPVRR is discounted at 7.52% from 2020-2068 (Gulf Step 2 CPVRR was re-calculated with a 7.52% discount rate)
The recalculated CPVRR for Gulf in Step 2 is $7,508M (Not including NFRC line costs)
Cost of the NFRC Line was omitted from CPVRR calculation because it is the same in Steps 2 and 3

## CPVRR Breakout
FPL 042968
20210015-EI
Page 5 of 6
CPVRR Summary Gulf Step 1&2 (6.95%, 2020-2068)
| Scenario | Generation Capital ($M) | FOM & Capital Replacement ($M) | Transmission Capital ($M) | NFRC Cost ($M) | Total Fixed Costs ($M) | Fuel ($M) | Start-up ($M) | VOM ($M) | Emissions ($M) | Total Variable Costs ($M) | Total System Costs ($M) | Difference from Previous ($M)
| Gulf Step 1 Case 1a | 607.8312 | 1009.6053 | 55.5221 | 0 | 1672.9587 | 5172.3963 | 197.9073 | 1234.9614 | 1920.4797 | 8525.7446 | 10198.7033 | --
| Gulf Step 1 Case 1b | 998.2114 | 430.5495 | 84.8171 | 0 | 1513.578 | 4684.4849 | 206.791 | 1202.9795 | 1730.8415 | 7825.0969 | 9338.6749 | -860.0284
| Gulf Step 2 | 786.7618 | 365.7833 | 56.6083 | 708.774 | 1917.9274 | 4261.4231 | 147.936 | 1124.1775 | 1524.1107 | 7057.6473 | 8975.5747 | -363.1002
CPVRR Summary Step 2&3 (7.52%, 2020-2068)
| Scenario | Generation Capital ($M) | FOM & Capital Replacement ($M) | Transmission Capital ($M) | NFRC Cost** ($M) | Total Fixed Costs ($M) | Fuel ($M) | Start-up ($M) | VOM ($M) | Emissions ($M) | Total Variable Costs ($M) | Total System Costs ($M) | Difference from Previous ($M)
| Step 2 Total* | 11665.1864 | 2160.6928 | 1426.7267 | -- | 15252.6058 | 43739.7125 | 1877.6713 | 5455.8356 | 16074.1225 | 67147.3419 | 82399.9478 | --
| Step 3 | 11707.7651 | 2018.0981 | 1300.5771 | -- | 15026.4403 | 43620.5788 | 1912.012 | 5484.6317 | 16001.5946 | 67018.8171 | 82045.2574 | -354.6904
* - Step 2 Total consists of FPL Stand-Alone + Gulf Step 2 (In this instance Gulf Step 2's CPVRR was recalculated with a 7.52% discount rate)
** - NFRC cost was omitted from Step 2 Total CPVRR because it is common to both scenarios

## Transmission Flow
FPL 042969
20210015-EI
Page 6 of 6
Annual Transmission Flow Across the NFRC Line
Transmission Flow Step 2 and 3
| Step 2 |  | Step 3
Year | FPL to Gulf (GWh) | Gulf to FPL (GWh) | FPL to Gulf (GWh) | Gulf to FPL (GWh)
2022 | 1347.5421 | 208.0126 | 1354.4496 | 243.2784
2023 | 3408.6013 | 158.3988 | 3274.555 | 245.8687
2024 | 3810.3427 | 60.529 | 3301.4265 | 234.0449
2025 | 3815.2512 | 61.2275 | 2942.9958 | 414.5445
2026 | 5113.9015 | 24.5641 | 3686.5698 | 273.2072
2027 | 4833.3195 | 36.828 | 3727.5885 | 314.2521
2028 | 4749.3505 | 35.9323 | 3667.6965 | 275.373
2029 | 4820.0435 | 61.6481 | 3501.3632 | 319.3559
2030 | 3556.5805 | 137.728 | 3943.0875 | 341.7305
2031 | 3567.9437 | 146.7206 | 4274.167 | 276.6022
2032 | 3562.7447 | 120.0847 | 4362.05 | 264.7744
2033 | 3608.743 | 124.5023 | 4361.5015 | 249.4691
2034 | 3670.3787 | 87.2946 | 4491.8 | 232.2733
2035 | 3674.434 | 123.6616 | 4525.271 | 220.8159
2036 | 4334.2685 | 56.8622 | 4809.706 | 166.6018
2037 | 4369.1645 | 59.0449 | 4838.069 | 168.6134
2038 | 4383.014 | 49.7759 | 4910.093 | 163.7447
2039 | 4471.4875 | 49.1492 | 4921.071 | 151.5777
2040 | 4546.882 | 43.0438 | 4934.2765 | 153.2506
2041 | 4650.85 | 40.5867 | 5086.011 | 104.8537
2042 | 4676.484 | 42.878 | 5105.697 | 126.17
2043 | 4690.3155 | 44.375 | 5127.7835 | 109.4397
2044 | 4715.188 | 45.585 | 5132.4135 | 116.1849
2045 | 4737.75 | 39.669 | 5150.8725 | 109.672
2046 | 4774.157 | 44.774 | 5166.467 | 106.2313
2047 | 4813.04 | 39.047 | 5237.9265 | 101.7037
2048 | 4784.794 | 46.7181 | 5187.4155 | 89.9723
2049 | 4856.844 | 44.6081 | 5239.6825 | 97.0294
2050 | 4866.5585 | 43.0029 | 5253.3235 | 88.3475
2051 | 4846.9605 | 40.8203 | 5272.6775 | 90.063
2052 | 4887.8355 | 40.8479 | 5340.7305 | 76.0365
2053 | 4891.1555 | 41.6266 | 5322.266 | 82.3796
2054 | 4908.8025 | 40.1602 | 5340.634 | 75.1385
2055 | 4924.841 | 40.7512 | 5328.664 | 84.6055
2056 | 4949.8455 | 36.3403 | 5412.158 | 72.033
2057 | 4970.746 | 37.984 | 5372.884 | 81.5441
2058 | 4989.6785 | 34.9741 | 5445.6175 | 84.8313
2059 | 5003.7885 | 34.8578 | 5433.9245 | 70.8315
2060 | 5049.5515 | 33.0458 | 5507.332 | 61.3257
2061 | 5058.259 | 29.4524 | 5481.218 | 70.3096
2062 | 5028.8215 | 31.6926 | 5463.5525 | 71.8478
2063 | 5057.3195 | 32.016 | 5524.1245 | 59.7645
2064 | 5071.6105 | 30.8472 | 5564.767 | 65.1833
2065 | 5059.705 | 27.6213 | 5580.3235 | 55.2266
2066 | 5076.8015 | 24.7144 | 5566.53 | 60.5167
2067 | 5101.3335 | 28.8031 | 5602.0465 | 56.7174
2068 | 5101.8395 | 29.1318 | 5635.0755 | 56.1849

## Gulf Step 1a
FPL 042970
20210015-EI
2022-03-28 16:21
| Case name: |  | 2021 GULF IRP Step 1: GULF Case 1a
|  |  | System Fixed Costs |  |  |  | System Variable Costs
|  | Annual | Generation | Fixed O&M & | Transmission | Total |  |  |  |  | Total | Total | NPV | NPV
|  | Discount | Capital | Capital Replacement | Interconnection | Fixed | System | Startup | VOM | Emission | Variable | Annual | Total | Cumulative
|  | Factor | Costs | Costs | Costs | Costs | Net Fuel | Costs | Costs | Costs | Costs | Costs | Annual Cost | Total Costs
| Year | 6.95% | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | Year
1 | 2020 | 1 | 0 | 29.6596 | 0 | 29.6596 | 165.4738 | 5.5932 | 81.0559 | 0.20286 | 252.3257 | 281.9853 | 281.9853 | 281.9853 | 2020
2 | 2021 | 0.93502 | 0 | 33.9761 | 0 | 33.9761 | 225.0631 | 5.8949 | 84.8424 | 0.20191 | 316.0022 | 349.9783 | 327.2354 | 609.2208 | 2021
3 | 2022 | 0.87426 | 0 | 37.4051 | 0 | 37.4051 | 195.306 | 5.1819 | 86.2985 | 0.16467 | 286.951 | 324.3561 | 283.5701 | 892.7909 | 2022
4 | 2023 | 0.81744 | 0 | 41.41 | 0 | 41.41 | 229.4023 | 5.5112 | 80.6064 | 0.23932 | 315.7592 | 357.1692 | 291.9656 | 1184.7565 | 2023
5 | 2024 | 0.76432 | 0 | 45.3031 | 0 | 45.3031 | 241.2705 | 6.5269 | 80.3434 | 0.32358 | 328.4643 | 373.7674 | 285.679 | 1470.4354 | 2024
6 | 2025 | 0.71465 | 0 | 49.1318 | 0 | 49.1318 | 266.9286 | 7.3709 | 84.6571 | 0.36184 | 359.3184 | 408.4502 | 291.9008 | 1762.3362 | 2025
7 | 2026 | 0.66821 | 0 | 52.8488 | 0 | 52.8488 | 263.2345 | 7.4716 | 86.6574 | 6.6923 | 364.0557 | 416.9044 | 278.5812 | 2040.9174 | 2026
8 | 2027 | 0.62479 | 0 | 56.5134 | 0 | 56.5134 | 278.7696 | 8.2172 | 90.279 | 10.6886 | 387.9545 | 444.4678 | 277.6993 | 2318.6167 | 2027
9 | 2028 | 0.58419 | 0 | 60.1854 | 0 | 60.1854 | 290.0763 | 8.8364 | 94.3153 | 18.2083 | 411.4362 | 471.6216 | 275.5163 | 2594.133 | 2028
10 | 2029 | 0.54623 | 0 | 63.8687 | 0 | 63.8687 | 303.0555 | 13.3566 | 98.5167 | 25.3067 | 440.2355 | 504.1043 | 275.3552 | 2869.4882 | 2029
11 | 2030 | 0.51073 | 81.8974 | 80.2119 | 3.5963 | 165.7056 | 274.2779 | 9.483 | 105.2485 | 26.4829 | 415.4923 | 581.1979 | 296.8357 | 3166.324 | 2030
12 | 2031 | 0.47754 | 79.6742 | 84.2296 | 3.4982 | 167.4021 | 292.0219 | 9.4499 | 108.7449 | 32.5594 | 442.7761 | 610.1782 | 291.3856 | 3457.7095 | 2031
13 | 2032 | 0.44651 | 77.0732 | 88.1087 | 3.4094 | 168.5913 | 307.7044 | 9.5933 | 112.2821 | 38.6105 | 468.1903 | 636.7817 | 284.3289 | 3742.0385 | 2032
14 | 2033 | 0.41749 | 74.6067 | 102.2563 | 3.3347 | 180.1977 | 326.6275 | 9.965 | 115.3851 | 46.3164 | 498.294 | 678.4918 | 283.2659 | 4025.3044 | 2033
15 | 2034 | 0.39036 | 72.2528 | 106.1956 | 3.2367 | 181.685 | 345.5537 | 11.0304 | 118.7633 | 54.872 | 530.2195 | 711.9045 | 277.9014 | 4303.2058 | 2034
16 | 2035 | 0.365 | 69.9969 | 110.8149 | 3.1713 | 183.9831 | 359.9154 | 11.4476 | 123.2297 | 70.0835 | 564.6762 | 748.6593 | 273.2577 | 4576.4634 | 2035
17 | 2036 | 0.34128 | 67.8283 | 113.1604 | 3.0816 | 184.0703 | 422.3543 | 12.8052 | 45.277 | 97.9865 | 578.423 | 762.4933 | 260.2217 | 4836.6851 | 2036
18 | 2037 | 0.3191 | 65.6487 | 119.2362 | 3.0078 | 187.8927 | 440.1145 | 14.2385 | 46.0805 | 121.8457 | 622.2792 | 810.1719 | 258.5257 | 5095.2108 | 2037
19 | 2038 | 0.29836 | 63.4909 | 121.2009 | 2.9424 | 187.6342 | 455.1312 | 20.1472 | 49.1988 | 143.8911 | 668.3684 | 856.0026 | 255.4 | 5350.6108 | 2038
20 | 2039 | 0.27897 | 61.3331 | 126.3303 | 2.877 | 190.5404 | 467.7181 | 25.6681 | 51.1321 | 170.3919 | 714.9101 | 905.4505 | 252.5979 | 5603.2087 | 2039
21 | 2040 | 0.26085 | 59.1736 | 129.6952 | 2.7866 | 191.6554 | 488.694 | 27.6012 | 53.3493 | 200.1674 | 769.8119 | 961.4673 | 250.7949 | 5854.0036 | 2040
22 | 2041 | 0.2439 | 100.6686 | 146.7379 | 11.0327 | 258.4391 | 493.9228 | 19.3236 | 52.7621 | 227.0829 | 793.0914 | 1051.5305 | 256.4634 | 6110.467 | 2041
23 | 2042 | 0.22805 | 97.3363 | 130.7278 | 10.7716 | 238.8357 | 506.6987 | 20.4685 | 53.9792 | 257.8301 | 838.9765 | 1077.8123 | 245.7909 | 6356.2579 | 2042
24 | 2043 | 0.21323 | 93.7839 | 80.6156 | 10.4615 | 184.861 | 518.8713 | 21.4235 | 55.7096 | 293.5978 | 889.6021 | 1074.4631 | 229.1044 | 6585.3622 | 2043
25 | 2044 | 0.19937 | 90.2984 | 96.218 | 10.1465 | 196.6628 | 526.7757 | 21.5644 | 56.3898 | 331.5309 | 936.2608 | 1132.9236 | 225.8716 | 6811.2339 | 2044
26 | 2045 | 0.18641 | 87.1036 | 96.2624 | 9.8576 | 193.2236 | 539.4994 | 28.0852 | 59.0477 | 375.833 | 1002.4654 | 1195.689 | 222.8941 | 7034.1279 | 2045
27 | 2046 | 0.1743 | 84.368 | 89.6102 | 9.572 | 183.5502 | 552.3705 | 29.2809 | 61.0229 | 419.9244 | 1062.5987 | 1246.149 | 217.2048 | 7251.3327 | 2046
28 | 2047 | 0.16297 | 131.0094 | 37.8026 | 18.6577 | 187.4697 | 564.4648 | 25.1019 | 62.1812 | 445.9479 | 1097.6959 | 1285.1655 | 209.4487 | 7460.7815 | 2047
29 | 2048 | 0.15238 | 127.2025 | 46.3158 | 18.2016 | 191.7199 | 571.8439 | 25.5861 | 63.8538 | 470.7554 | 1132.0393 | 1323.7591 | 201.719 | 7662.5005 | 2048
30 | 2049 | 0.14248 | 123.174 | 45.2907 | 17.6705 | 186.1352 | 585.8885 | 27.4093 | 65.3134 | 502.4215 | 1181.0326 | 1367.1678 | 194.7955 | 7857.296 | 2049
31 | 2050 | 0.13322 | 119.1666 | 45.8575 | 17.1647 | 182.1887 | 597.6555 | 27.9519 | 66.9538 | 533.0841 | 1225.6452 | 1407.8339 | 187.5546 | 8044.8506 | 2050
32 | 2051 | 0.12456 | 115.2897 | 47.3692 | 16.6589 | 179.3178 | 605.8453 | 28.9483 | 68.9247 | 547.7163 | 1251.4346 | 1430.7524 | 178.2215 | 8223.0721 | 2051
33 | 2052 | 0.11647 | 111.4151 | 43.521 | 16.1728 | 171.1089 | 613.5091 | 28.3245 | 70.4328 | 560.5548 | 1272.8212 | 1443.9301 | 168.1748 | 8391.2469 | 2052
34 | 2053 | 0.1089 | 107.65 | 61.0911 | 15.7289 | 184.47 | 622.5474 | 30.5116 | 72.1308 | 576.5073 | 1301.697 | 1486.167 | 161.8459 | 8553.0928 | 2053
35 | 2054 | 0.10182 | 103.8383 | 56.1597 | 15.2802 | 175.2782 | 629.3582 | 30.5142 | 75.0624 | 590.0662 | 1325.001 | 1500.2792 | 152.7655 | 8705.8583 | 2054
36 | 2055 | 0.095208 | 100.0511 | 57.4018 | 14.8316 | 172.2845 | 637.6351 | 31.1367 | 77.7881 | 606.3127 | 1352.8725 | 1525.157 | 145.2068 | 8851.0651 | 2055
37 | 2056 | 0.089021 | 96.3884 | 53.0223 | 14.3896 | 163.8002 | 644.2151 | 30.6081 | 79.156 | 620.9689 | 1374.9481 | 1538.7484 | 136.9806 | 8988.0457 | 2056
38 | 2057 | 0.083236 | 92.9252 | 46.8924 | 13.9995 | 153.8171 | 654.4984 | 32.2294 | 80.8319 | 639.2278 | 1406.7875 | 1560.6046 | 129.8984 | 9117.9441 | 2057
39 | 2058 | 0.077827 | 89.6111 | 60.3891 | 13.6487 | 163.6489 | 662.7617 | 31.8944 | 82.3458 | 656.4771 | 1433.4789 | 1597.1278 | 124.2996 | 9242.2437 | 2058
40 | 2059 | 0.072769 | 86.2398 | 71.512 | 13.2652 | 171.017 | 670.5201 | 32.9157 | 84.9286 | 672.2184 | 1460.5828 | 1631.5998 | 118.7307 | 9360.9743 | 2059
41 | 2060 | 0.068041 | 82.9073 | 71.8901 | 12.9253 | 167.7227 | 678.2127 | 34.3301 | 86.9876 | 689.5115 | 1489.0418 | 1656.7645 | 112.7273 | 9473.7016 | 2060
42 | 2061 | 0.063619 | 79.5789 | 81.5123 | 12.5637 | 173.6549 | 687.7416 | 34.6282 | 89.6258 | 709.2534 | 1521.2489 | 1694.9037 | 107.8283 | 9581.5299 | 2061
43 | 2062 | 0.059485 | 76.3299 | 75.4706 | 12.2047 | 164.0052 | 696.8225 | 35.2396 | 90.9104 | 725.6267 | 1548.5992 | 1712.6044 | 101.8741 | 9683.4041 | 2062
44 | 2063 | 0.055619 | 73.6689 | 80.533 | 11.9273 | 166.1292 | 706.4539 | 44.377 | 95.3029 | 747.1894 | 1593.3232 | 1759.4524 | 97.8596 | 9781.2637 | 2063
45 | 2064 | 0.052005 | 71.0794 | 73.637 | 11.6818 | 156.3983 | 713.2188 | 36.9408 | 96.4371 | 762.9941 | 1609.5907 | 1765.989 | 91.8403 | 9873.104 | 2064
46 | 2065 | 0.048626 | 68.5097 | 74.1589 | 11.4215 | 154.0901 | 724.2559 | 45.1278 | 101.0187 | 786.0931 | 1656.4954 | 1810.5856 | 88.0407 | 9961.1447 | 2065
47 | 2066 | 0.045466 | 65.9465 | 72.7042 | 11.1359 | 149.7866 | 733.5358 | 45.71 | 102.4246 | 805.4114 | 1687.0819 | 1836.8684 | 83.5145 | 10044.6592 | 2066
48 | 2067 | 0.042511 | 63.3506 | 79.4674 | 10.883 | 153.701 | 741.4784 | 39.0241 | 105.7661 | 827.8376 | 1714.1062 | 1867.8072 | 79.4026 | 10124.0618 | 2067
49 | 2068 | 0.039749 | 60.7902 | 59.7391 | 10.6019 | 131.1312 | 749.8035 | 40.5201 | 107.2296 | 849.1527 | 1746.7059 | 1877.8371 | 74.6414 | 10198.7033 | 2068
|  | Total NPV = | 607.8312 | 1009.6053 | 55.5221 | 1672.9587 | 5172.3963 | 197.9073 | 1234.9614 | 1920.4797 | 8525.7446 | 10198.7033

## Gulf Step 1b
FPL 042971
20210015-EI
2022-03-28 16:21
| Case name: |  | 2021 GULF IRP Step 1: GULF Case 1b
|  |  | System Fixed Costs |  |  |  | System Variable Costs
|  | Annual | Generation | Fixed O&M & | Transmission | Total |  |  |  |  | Total | Total | NPV | NPV
|  | Discount | Capital | Capital Replacement | Interconnection | Fixed | System | Startup | VOM | Emission | Variable | Annual | Total | Cumulative
|  | Factor | Costs | Costs | Costs | Costs | Net Fuel | Costs | Costs | Costs | Costs | Costs | Annual Cost | Total Costs
| Year | 6.95% | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | Year
1 | 2020 | 1 | 0 | 29.6596 | 0 | 29.6596 | 165.4738 | 5.5932 | 81.0559 | 0.20286 | 252.3257 | 281.9853 | 281.9853 | 281.9853 | 2020
2 | 2021 | 0.93502 | 0 | 33.9761 | 0 | 33.9761 | 225.0631 | 5.8949 | 84.8424 | 0.20191 | 316.0022 | 349.9783 | 327.2354 | 609.2208 | 2021
3 | 2022 | 0.87426 | 0 | 37.4051 | 0 | 37.4051 | 195.306 | 5.1819 | 86.2985 | 0.16467 | 286.951 | 324.3561 | 283.5701 | 892.7909 | 2022
4 | 2023 | 0.81744 | 0 | 41.41 | 0 | 41.41 | 229.4023 | 5.5112 | 80.6064 | 0.23932 | 315.7592 | 357.1692 | 291.9656 | 1184.7565 | 2023
5 | 2024 | 0.76432 | 34.6213 | 1.1902 | 3.6148 | 39.4264 | 221.7094 | 8.379 | 80.5698 | 0.30257 | 310.9608 | 350.3871 | 267.8089 | 1452.5654 | 2024
6 | 2025 | 0.71465 | 46.4405 | 1.6861 | 4.2925 | 52.4191 | 240.4667 | 8.5697 | 82.5125 | 0.28612 | 331.835 | 384.2542 | 274.6089 | 1727.1743 | 2025
7 | 2026 | 0.66821 | 47.6798 | 2.4466 | 3.9856 | 54.112 | 234.1564 | 7.8606 | 85.2428 | 5.8838 | 333.1436 | 387.2557 | 258.7695 | 1985.9438 | 2026
8 | 2027 | 0.62479 | 122.0484 | 15.2833 | 7.12 | 144.4517 | 206.0155 | 8.9251 | 89.1638 | 7.5601 | 311.6644 | 456.1161 | 284.9771 | 2270.9208 | 2027
9 | 2028 | 0.58419 | 117.6567 | 15.7643 | 6.8753 | 140.2962 | 213.5606 | 8.4764 | 93.0986 | 12.8209 | 327.9565 | 468.2527 | 273.5483 | 2544.4691 | 2028
10 | 2029 | 0.54623 | 113.1221 | 15.949 | 6.6147 | 135.6858 | 223.1719 | 9.143 | 96.3136 | 17.7652 | 346.3936 | 482.0794 | 263.3246 | 2807.7937 | 2029
11 | 2030 | 0.51073 | 109.1633 | 26.0829 | 6.425 | 141.6711 | 242.1879 | 9.6942 | 101.2694 | 22.6954 | 375.8468 | 517.518 | 264.3124 | 3072.1061 | 2030
12 | 2031 | 0.47754 | 105.6289 | 26.3924 | 6.2586 | 138.2799 | 258.1967 | 9.6897 | 104.9569 | 27.4251 | 400.2685 | 538.5484 | 257.1793 | 3329.2855 | 2031
13 | 2032 | 0.44651 | 102.2852 | 27.4961 | 6.0605 | 135.8418 | 273.2474 | 10.9726 | 108.6384 | 32.9174 | 425.7758 | 561.6176 | 250.7675 | 3580.053 | 2032
14 | 2033 | 0.41749 | 98.99 | 26.2919 | 5.9009 | 131.1828 | 291.1257 | 11.3412 | 111.5376 | 38.8603 | 452.8649 | 584.0477 | 243.8361 | 3823.8891 | 2033
15 | 2034 | 0.39036 | 95.7526 | 28.435 | 5.7384 | 129.926 | 311.5918 | 16.5823 | 115.1456 | 46.0438 | 489.3635 | 619.2895 | 241.7479 | 4065.637 | 2034
16 | 2035 | 0.365 | 90.3425 | 26.7458 | 5.5759 | 122.6641 | 324.4332 | 21.3154 | 119.2135 | 59.0309 | 523.993 | 646.6571 | 236.0273 | 4301.6643 | 2035
17 | 2036 | 0.34128 | 124.9164 | 30.6621 | 12.9277 | 168.5061 | 381.5728 | 13.8094 | 41.7567 | 83.3032 | 520.442 | 688.9481 | 235.1223 | 4536.7866 | 2036
18 | 2037 | 0.3191 | 120.9576 | 30.6779 | 12.5913 | 164.2268 | 397.5085 | 14.1388 | 43.6448 | 102.9086 | 558.2008 | 722.4275 | 230.5265 | 4767.3131 | 2037
19 | 2038 | 0.29836 | 119.2948 | 39.7807 | 12.1914 | 171.2669 | 411.0502 | 15.7528 | 44.2281 | 123.9626 | 594.9937 | 766.2606 | 228.6243 | 4995.9374 | 2038
20 | 2039 | 0.27897 | 115.0806 | 26.4445 | 11.8371 | 153.3621 | 421.0698 | 21.584 | 46.0454 | 148.3267 | 637.0259 | 790.3881 | 220.4984 | 5216.4357 | 2039
21 | 2040 | 0.26085 | 110.9603 | 26.4348 | 11.4663 | 148.8613 | 433.8357 | 17.6097 | 47.1811 | 174.9593 | 673.5857 | 822.447 | 214.532 | 5430.9678 | 2040
22 | 2041 | 0.2439 | 106.8798 | 37.0629 | 11.145 | 155.0877 | 450.3097 | 18.6275 | 48.5938 | 205.2956 | 722.8266 | 877.9143 | 214.1192 | 5645.087 | 2041
23 | 2042 | 0.22805 | 103.0412 | 36.9384 | 10.7868 | 150.7664 | 463.0709 | 25.017 | 50.0076 | 234.0776 | 772.1732 | 922.9396 | 210.4728 | 5855.5597 | 2042
24 | 2043 | 0.21323 | 99.5949 | 33.5572 | 10.453 | 143.6051 | 473.6692 | 20.0865 | 51.5623 | 266.4788 | 811.7969 | 955.402 | 203.7174 | 6059.2771 | 2043
25 | 2044 | 0.19937 | 96.3456 | 36.9232 | 10.1224 | 143.3912 | 482.5625 | 25.3369 | 54.1513 | 300.5086 | 862.5593 | 1005.9505 | 200.5569 | 6259.834 | 2044
26 | 2045 | 0.18641 | 93.102 | 45.8538 | 9.7855 | 148.7413 | 495.7188 | 26.4619 | 55.7839 | 341.0271 | 918.9916 | 1067.7329 | 199.0412 | 6458.8752 | 2045
27 | 2046 | 0.1743 | 89.8519 | 46.151 | 9.4672 | 145.4701 | 509.3521 | 27.8236 | 57.0877 | 382.5502 | 976.8137 | 1122.2838 | 195.615 | 6654.4902 | 2046
28 | 2047 | 0.16297 | 86.6018 | 42.9857 | 9.1373 | 138.7248 | 521.9779 | 27.5499 | 59.3595 | 407.8428 | 1016.7301 | 1155.4549 | 188.3093 | 6842.7995 | 2047
29 | 2048 | 0.15238 | 83.3325 | 56.5266 | 8.7992 | 148.6584 | 530.25 | 29.0128 | 60.4843 | 430.5826 | 1050.3298 | 1198.9881 | 182.706 | 7025.5055 | 2048
30 | 2049 | 0.14248 | 80.2399 | 58.7594 | 8.4935 | 147.4927 | 537.3713 | 24.1709 | 61.8233 | 459.4325 | 1082.7981 | 1230.2908 | 175.2931 | 7200.7986 | 2049
31 | 2050 | 0.13322 | 77.184 | 60.5666 | 8.2119 | 145.9625 | 556.9137 | 32.1169 | 64.2256 | 488.192 | 1141.4482 | 1287.4106 | 171.5116 | 7372.3102 | 2050
32 | 2051 | 0.12456 | 74.2505 | 51.8255 | 7.9547 | 134.0307 | 565.422 | 33.1322 | 66.9875 | 501.6877 | 1167.2295 | 1301.2601 | 162.0913 | 7534.4015 | 2051
33 | 2052 | 0.11647 | 71.4938 | 52.6074 | 7.7103 | 131.8115 | 564.8137 | 32.9578 | 67.3644 | 514.0314 | 1179.1673 | 1310.9788 | 152.6899 | 7687.0914 | 2052
34 | 2053 | 0.1089 | 68.8156 | 50.6037 | 7.481 | 126.9003 | 572.6955 | 34.1592 | 69.8334 | 526.8424 | 1203.5304 | 1330.4307 | 144.8859 | 7831.9773 | 2053
35 | 2054 | 0.10182 | 58.9036 | 41.5864 | 6.5203 | 107.0103 | 588.8678 | 32.9577 | 72.5327 | 543.1381 | 1237.4963 | 1344.5066 | 136.904 | 7968.8813 | 2054
36 | 2055 | 0.095208 | 51.061 | 55.7613 | 6.0867 | 112.909 | 588.6569 | 42.3954 | 73.345 | 556.9024 | 1261.2996 | 1374.2087 | 130.8353 | 8099.7167 | 2055
37 | 2056 | 0.089021 | 48.1648 | 64.5907 | 5.8918 | 118.6473 | 605.7577 | 35.2111 | 76.7269 | 571.6651 | 1289.3607 | 1408.008 | 125.342 | 8225.0587 | 2056
38 | 2057 | 0.083236 | 46.269 | 44.6365 | 5.7696 | 96.6751 | 615.3304 | 39.2196 | 79.3463 | 585.0505 | 1318.9468 | 1415.6219 | 117.8306 | 8342.8893 | 2057
39 | 2058 | 0.077827 | 44.366 | 42.8723 | 5.639 | 92.8774 | 618.1473 | 38.0596 | 80.067 | 600.7192 | 1336.993 | 1429.8704 | 111.2825 | 8454.1718 | 2058
40 | 2059 | 0.072769 | 42.4875 | 68.2917 | 5.5084 | 116.2876 | 621.4328 | 46.481 | 82.3284 | 618.4112 | 1368.6534 | 1484.9411 | 108.0584 | 8562.2301 | 2059
41 | 2060 | 0.068041 | 40.8106 | 69.2382 | 5.3598 | 115.4086 | 635.4198 | 38.5667 | 84.749 | 631.901 | 1390.6364 | 1506.045 | 102.4723 | 8664.7024 | 2060
42 | 2061 | 0.063619 | 39.1964 | 68.5817 | 5.2391 | 113.0172 | 645.224 | 40.4112 | 87.5827 | 649.0478 | 1422.2657 | 1535.2829 | 97.6733 | 8762.3758 | 2061
43 | 2062 | 0.059485 | 103.7083 | 65.7184 | 17.7096 | 187.1362 | 641.1061 | 32.8121 | 86.6664 | 666.3405 | 1426.9251 | 1614.0613 | 96.0123 | 8858.3881 | 2062
44 | 2063 | 0.055619 | 100.2807 | 64.0893 | 17.2609 | 181.6309 | 651.2717 | 41.2241 | 90.9149 | 685.3703 | 1468.781 | 1650.4119 | 91.7949 | 8950.1829 | 2063
45 | 2064 | 0.052005 | 96.5049 | 58.8818 | 16.7519 | 172.1386 | 657.2755 | 32.5441 | 91.3035 | 702.8168 | 1483.94 | 1656.0786 | 86.1244 | 9036.3074 | 2064
46 | 2065 | 0.048626 | 92.8707 | 63.2258 | 16.282 | 172.3785 | 667.3543 | 33.0553 | 94.4252 | 723.5869 | 1518.4217 | 1690.8003 | 82.2161 | 9118.5234 | 2065
47 | 2066 | 0.045466 | 89.2963 | 61.0486 | 15.8333 | 166.1783 | 677.5127 | 42.7923 | 97.9324 | 742.7464 | 1560.9837 | 1727.162 | 78.5266 | 9197.05 | 2066
48 | 2067 | 0.042511 | 71.9739 | 40.3424 | 15.4091 | 127.7255 | 684.5967 | 34.8089 | 100.2106 | 761.6399 | 1581.2562 | 1708.9817 | 72.6508 | 9269.7008 | 2067
49 | 2068 | 0.039749 | 67.0544 | 42.725 | 14.9769 | 124.7563 | 692.2199 | 34.1393 | 102.2028 | 781.9373 | 1610.4993 | 1735.2556 | 68.974 | 9338.6749 | 2068
|  | Total NPV = | 998.2114 | 430.5495 | 84.8171 | 1513.578 | 4684.4849 | 206.791 | 1202.9795 | 1730.8415 | 7825.0969 | 9338.6749

## Step 2 Rev Req
FPL 042972
20210015-EI
| Case name: |  | 2020 GULF IRP Step 2 | [11 empty] | Step 2 - FPL Incremenal Variable Costs
|  |  | System Fixed Costs |  |  |  | System Variable Costs | [7 empty] | FPL w/ 850 MW Line |  |  |  |  | (FPL with 850 MW Line) - (FPL without 850 MW Line)
|  | Annual | Generation | Fixed O&M & | Transmission | Total |  |  |  |  | Total | Total | NPV | NPV |  |  |  |  | Total |  |  |  |  | Total
|  | Discount | Capital | Capital Replacement | Interconnection | Fixed | System | Startup | VOM | Emission | Variable | Annual | Total | Cumulative | System | Startup | VOM | Emission | Variable | System | Startup | VOM | Emission | Variable
|  | Factor | Costs | Costs | Costs | Costs | Net Fuel | Costs | Costs | Costs | Costs | Costs | Annual Cost | Total Costs | Net Fuel | Costs | Costs | Costs | Costs | Net Fuel | Costs | Costs | Costs | Costs
| Year | 6.95% | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions)
1 | 2020 | 1 | 0 | 29.6596 | 0 | 29.6596 | 165.4738 | 5.5932 | 81.0559 | 0.20286 | 252.3257 | 281.9853 | 281.9853 | 281.9853 | 1433.5476 | 67.2878 | 226.4646 | 0.82252 | 1728.1225 | 0 | 0 | 0 | 0 | 0
2 | 2021 | 0.93502 | 0 | 33.9761 | 0 | 33.9761 | 225.0631 | 5.8949 | 84.8424 | 0.20191 | 316.0022 | 349.9783 | 327.2354 | 609.2208 | 1903.6425 | 79.2289 | 221.5854 | 0.85494 | 2205.3118 | 0 | 0 | 0 | 0 | 0
3 | 2022 | 0.87426 | 0 | 37.4051 | 0 | 37.4051 | 171.3826 | 8.4638 | 81.3155 | 0.13454 | 261.2965 | 298.7016 | 261.1415 | 870.3623 | 1690.2231 | 79.6 | 233.6707 | 0.68749 | 2004.1812 | 18.3183 | -0.1488 | 0.21535 | 0.0055258 | 18.3903
4 | 2023 | 0.81744 | 0 | 41.41 | 0 | 41.41 | 146.7868 | 11.92 | 72.9603 | 0.17338 | 231.8405 | 273.2504 | 223.3667 | 1093.729 | 1777.3821 | 78.1715 | 224.7694 | 0.64949 | 2080.9725 | 58.7959 | 0.1494 | 5.1604 | 0.023922 | 64.1296
5 | 2024 | 0.76432 | 0 | 0 | 0 | 0 | 140.2516 | 10.8731 | 73.0436 | 0.19486 | 224.3632 | 224.3632 | 171.4859 | 1265.2149 | 1759.1458 | 81.3366 | 231.971 | 0.69121 | 2073.1447 | 67.2874 | 0.30857 | 8.1156 | 0.039437 | 75.7509
6 | 2025 | 0.71465 | 8.8842 | 0.305 | 0.90512 | 10.0943 | 150.0223 | 11.5284 | 75.9376 | 0.19285 | 237.6811 | 247.7754 | 177.0737 | 1442.2887 | 1923.117 | 85.7989 | 235.2399 | 0.66724 | 2244.8231 | 74.7175 | -0.45881 | 7.3803 | 0.039442 | 81.6784
7 | 2026 | 0.66821 | 8.3364 | 0.31329 | 0.84685 | 9.4966 | 111.4994 | 9.5966 | 75.5667 | 2.8342 | 199.4968 | 208.9934 | 139.6522 | 1581.9409 | 1909.813 | 85.7244 | 241.1212 | 40.9517 | 2277.6103 | 99.3884 | -0.11545 | 12.5298 | 2.3369 | 114.1396
8 | 2027 | 0.62479 | 45.2872 | 1.6296 | 4.4052 | 51.322 | 105.9227 | 9.4509 | 77.4352 | 4.0207 | 196.8295 | 248.1514 | 155.0427 | 1736.9836 | 1992.7645 | 92.5728 | 248.7003 | 64.8285 | 2398.8661 | 99.2691 | -1.1336 | 11.9374 | 3.5162 | 113.5891
9 | 2028 | 0.58419 | 42.5833 | 1.6796 | 4.1251 | 48.388 | 112.5605 | 9.8625 | 80.689 | 6.96 | 210.072 | 258.46 | 150.9896 | 1887.9732 | 2087.8613 | 97.821 | 254.0622 | 111.3424 | 2551.0869 | 101.9372 | -1.1612 | 12.6982 | 5.917 | 119.3912
10 | 2029 | 0.54623 | 41.0574 | 1.9303 | 3.8458 | 46.8334 | 116.6952 | 11.9051 | 83.0825 | 9.4816 | 221.1644 | 267.9978 | 146.3876 | 2034.3607 | 2198.2546 | 103.4301 | 265.0271 | 155.5521 | 2722.2639 | 108.6239 | 0.31748 | 11.4227 | 8.3276 | 128.6917
11 | 2030 | 0.51073 | 126.9272 | 15.0515 | 7.2401 | 149.2188 | 137.5328 | 6.1843 | 85.5529 | 12.9127 | 242.1827 | 391.4015 | 199.9008 | 2234.2615 | 2237.7191 | 105.158 | 252.5369 | 186.2671 | 2781.6811 | 81.1359 | -0.50369 | 9.0323 | 7.2712 | 96.9358
12 | 2031 | 0.47754 | 122.5638 | 16.6468 | 6.9789 | 146.1894 | 147.31 | 6.7115 | 88.2281 | 15.6779 | 257.9275 | 404.1169 | 192.9827 | 2427.2442 | 2396.5101 | 111.1075 | 259.1871 | 226.1364 | 2992.9411 | 83.8424 | -0.31067 | 9.1775 | 8.5364 | 101.2457
13 | 2032 | 0.44651 | 118.0507 | 16.7887 | 6.736 | 141.5754 | 154.8286 | 6.9253 | 91.5147 | 18.5266 | 271.7952 | 413.3706 | 184.5738 | 2611.818 | 2559.2165 | 117.1311 | 270.1696 | 275.519 | 3222.0362 | 89.9671 | -0.55766 | 9.248 | 10.366 | 109.0235
14 | 2033 | 0.41749 | 114.0858 | 27.4912 | 6.559 | 148.136 | 164.7375 | 7.0728 | 93.8948 | 22.1698 | 287.8748 | 436.0108 | 182.0317 | 2793.8497 | 2760.7641 | 124.3918 | 281.9964 | 332.4047 | 3499.557 | 94.8323 | -0.076656 | 9.649 | 12.1876 | 116.5921
15 | 2034 | 0.39036 | 110.47 | 27.6703 | 6.3638 | 144.5041 | 172.3102 | 7.0309 | 96.2648 | 25.6645 | 301.2704 | 445.7745 | 174.014 | 2967.8637 | 2973.4582 | 131.3838 | 293.3816 | 397.1699 | 3795.3935 | 102.7177 | 0.11073 | 10.436 | 14.6263 | 127.8906
16 | 2035 | 0.365 | 106.9453 | 28.8053 | 6.2013 | 141.9519 | 182.3838 | 7.6769 | 99.7241 | 32.9838 | 322.7687 | 464.7206 | 169.6212 | 3137.4849 | 3185.0556 | 140.7645 | 308.4264 | 522.6887 | 4156.9351 | 105.8924 | 1.2482 | 11.5983 | 18.5036 | 137.2425
17 | 2036 | 0.34128 | 103.6027 | 27.3768 | 6.007 | 136.9865 | 204.7048 | 8.7671 | 20.7851 | 44.5885 | 278.8454 | 415.8319 | 141.914 | 3279.3989 | 3576.0885 | 144.9887 | 334.6454 | 715.6659 | 4771.3884 | 133.6328 | -0.63139 | 12.6684 | 27.8726 | 173.5425
18 | 2037 | 0.3191 | 100.2308 | 30.0349 | 5.8436 | 136.1094 | 214.0791 | 8.8548 | 21.6851 | 55.3081 | 299.927 | 436.0364 | 139.1391 | 3418.5381 | 3798.4542 | 152.389 | 346.6936 | 901.8936 | 5199.4304 | 140.0996 | -0.51526 | 12.4351 | 34.5452 | 186.5647
19 | 2038 | 0.29836 | 99.8696 | 28.1751 | 5.6811 | 133.7257 | 221.7869 | 9.6153 | 22.4939 | 66.8195 | 320.7155 | 454.4412 | 135.5887 | 3554.1268 | 3991.7961 | 158.9503 | 364.1917 | 1117.4967 | 5632.4347 | 144.0559 | 0.023551 | 12.8254 | 41.7294 | 198.6344
20 | 2039 | 0.27897 | 95.9515 | 29.7384 | 5.5225 | 131.2124 | 224.8987 | 9.4585 | 23.3741 | 80.0507 | 337.782 | 468.9944 | 130.8376 | 3684.9644 | 4108.9386 | 165.4564 | 376.9346 | 1347.4938 | 5998.8234 | 148.1611 | -0.47465 | 13.2444 | 50.3488 | 211.2796
21 | 2040 | 0.26085 | 89.9032 | 29.085 | 5.338 | 124.3262 | 230.8995 | 10.0191 | 23.9433 | 93.5871 | 358.449 | 482.7752 | 125.93 | 3810.8944 | 4266.1057 | 172.0683 | 387.1808 | 1605.3975 | 6430.7523 | 154.1995 | 0.53931 | 13.3522 | 60.1358 | 228.2268
22 | 2041 | 0.2439 | 86.6147 | 39.6643 | 5.1803 | 131.4593 | 239.0861 | 10.868 | 25.206 | 109.2491 | 384.4091 | 515.8684 | 125.8179 | 3936.7123 | 4393.1084 | 176.4734 | 405.4977 | 1874.4053 | 6849.4847 | 159.1636 | 0.40937 | 14.3529 | 70.2835 | 244.2094
23 | 2042 | 0.22805 | 83.4547 | 23.7808 | 5.0178 | 112.2533 | 245.3575 | 11.2915 | 26.1636 | 125.6097 | 408.4223 | 520.6756 | 118.738 | 4055.4503 | 4524.8936 | 182.3091 | 415.2106 | 2146.5333 | 7268.9466 | 163.9244 | -0.28769 | 13.7516 | 80.5751 | 257.9635
24 | 2043 | 0.21323 | 80.2791 | 24.1888 | 4.8553 | 109.3232 | 251.8274 | 11.7417 | 26.9547 | 142.4886 | 433.0125 | 542.3358 | 115.6405 | 4171.0908 | 4794.2359 | 188.0021 | 444.6972 | 2552.8352 | 7979.7703 | 166.9554 | 0.28709 | 15.2346 | 91.2794 | 273.7564
25 | 2044 | 0.19937 | 77.1097 | 36.0988 | 4.6729 | 117.8814 | 255.1283 | 12.0335 | 27.5255 | 160.6054 | 455.2927 | 573.1741 | 114.274 | 4285.3649 | 4954.6947 | 193.0468 | 465.8332 | 2964.7658 | 8578.3404 | 169.785 | 0.82459 | 14.9223 | 103.7197 | 289.2516
26 | 2045 | 0.18641 | 74.1569 | 35.2654 | 4.4976 | 113.9199 | 261.6398 | 12.8186 | 28.5856 | 182.2599 | 485.3039 | 599.2238 | 111.7042 | 4397.069 | 5090.8808 | 198.628 | 478.0934 | 3359.7991 | 9127.4013 | 174.54 | -0.30721 | 15.3242 | 117.6047 | 307.1617
27 | 2046 | 0.1743 | 71.6025 | 32.1869 | 4.3351 | 108.1244 | 267.4709 | 13.1553 | 29.3599 | 205.2557 | 515.2418 | 623.3662 | 108.6533 | 4505.7223 | 5240.3186 | 204.2041 | 496.1302 | 3809.2576 | 9749.9105 | 178.5036 | -0.59129 | 16.5572 | 132.4868 | 326.9562
28 | 2047 | 0.16297 | 69.2598 | 35.4455 | 4.1765 | 108.8818 | 273.2262 | 13.2158 | 30.4684 | 218.9932 | 535.9036 | 644.7854 | 105.0833 | 4610.8056 | 5408.1233 | 210.78 | 512.6271 | 4084.7091 | 10216.2395 | 183.4337 | 0.94913 | 16.239 | 141.3166 | 341.9383
29 | 2048 | 0.15238 | 66.9125 | 44.5818 | 4.0211 | 115.5155 | 279.1268 | 13.7904 | 31.3811 | 231.5772 | 555.8755 | 671.391 | 102.3089 | 4713.1145 | 5494.7275 | 217.414 | 528.7057 | 4342.5285 | 10583.3758 | 183.9122 | -0.14936 | 16.6173 | 148.4139 | 348.794
30 | 2049 | 0.14248 | 64.5761 | 43.9556 | 3.867 | 112.3988 | 283.4657 | 14.4418 | 31.9853 | 243.9383 | 573.8311 | 686.2298 | 97.7748 | 4810.8893 | 5657.4234 | 222.1792 | 545.4049 | 4645.5069 | 11070.5144 | 190.107 | 0.43812 | 17.1269 | 159.4013 | 367.0733
31 | 2050 | 0.13322 | 62.2567 | 42.2786 | 3.7084 | 108.2437 | 290.5807 | 14.7767 | 33.2636 | 261.7453 | 600.3663 | 708.61 | 94.4025 | 4905.2918 | 5831.7797 | 229.1717 | 567.593 | 4982.4778 | 11611.0222 | 194.1856 | 1.1242 | 18.1368 | 169.2169 | 382.6635
32 | 2051 | 0.12456 | 59.97 | 43.7543 | 3.5498 | 107.2741 | 296.375 | 15.7805 | 34.6047 | 268.9412 | 615.7015 | 722.9756 | 90.0573 | 4995.3492 | 5929.7677 | 233.1296 | 582.5959 | 5120.3065 | 11865.7997 | 194.6097 | 0.0613 | 18.1851 | 171.9364 | 384.7925
33 | 2052 | 0.11647 | 112.0948 | 45.5812 | 13.7453 | 171.4213 | 298.7027 | 15.6814 | 35.1914 | 275.014 | 624.5894 | 796.0107 | 92.7115 | 5088.0607 | 6147.8803 | 238.2876 | 611.7728 | 5400.6427 | 12398.5833 | 197.6522 | 0.15704 | 18.5472 | 176.8998 | 393.2563
34 | 2053 | 0.1089 | 108.5079 | 50.3979 | 13.3771 | 172.2829 | 303.9466 | 16.5667 | 36.4295 | 283.5954 | 640.5382 | 812.8211 | 88.5175 | 5176.5781 | 6509.5738 | 242.3792 | 664.8396 | 5897.9921 | 13314.7848 | 199.5935 | -0.66606 | 19.8199 | 181.2316 | 399.9789
35 | 2054 | 0.10182 | 104.6067 | 44.8798 | 12.9731 | 162.4596 | 307.6621 | 17.1389 | 37.4419 | 289.8831 | 652.126 | 814.5856 | 82.9449 | 5259.5231 | 6674.9842 | 248.1533 | 696.048 | 6157.336 | 13776.5215 | 201.3563 | 0.72197 | 19.3806 | 185.3796 | 406.8384
36 | 2055 | 0.095208 | 98.9504 | 45.7508 | 12.3994 | 157.1005 | 312.2497 | 17.5451 | 38.841 | 298.613 | 667.2489 | 824.3494 | 78.4845 | 5338.0075 | 6786.1727 | 253.7229 | 717.4801 | 6346.5756 | 14103.9513 | 203.6494 | 0.92859 | 19.7102 | 190.0718 | 414.36
37 | 2056 | 0.089021 | 94.4283 | 42.0438 | 11.9877 | 148.4597 | 315.6698 | 17.8544 | 39.8885 | 305.5117 | 678.9243 | 827.3841 | 73.6544 | 5411.6619 | 6898.3751 | 258.8414 | 740.0898 | 6540.9717 | 14438.278 | 206.6269 | 0.77848 | 20.2351 | 195.4131 | 423.0535
38 | 2057 | 0.083236 | 83.0581 | 34.099 | 10.8385 | 127.9956 | 320.4658 | 18.4084 | 41.5309 | 314.8974 | 695.3026 | 823.2982 | 68.528 | 5480.1899 | 7015.0989 | 265.1505 | 765.8022 | 6744.0606 | 14790.1121 | 208.8044 | 0.18037 | 21.2276 | 200.3658 | 430.5782
39 | 2058 | 0.077827 | 76.0558 | 50.4173 | 10.4678 | 136.9409 | 324.988 | 18.2148 | 42.8684 | 324.1447 | 710.2158 | 847.1567 | 65.9316 | 5546.1216 | 7132.2703 | 270.6126 | 790.0131 | 6951.8144 | 15144.7105 | 211.1958 | 0.23748 | 21.5346 | 205.4913 | 438.4592
40 | 2059 | 0.072769 | 73.2962 | 48.7078 | 10.1822 | 132.1863 | 329.3505 | 18.8711 | 44.1589 | 331.0651 | 723.4455 | 855.6319 | 62.2639 | 5608.3854 | 7250.8148 | 275.7294 | 815.6002 | 7165.1577 | 15507.3021 | 213.667 | -1.4892 | 22.3628 | 210.754 | 445.2946
41 | 2060 | 0.068041 | 70.5171 | 46.5887 | 9.9075 | 127.0133 | 332.717 | 18.6774 | 45.5482 | 339.6831 | 736.6257 | 863.639 | 58.7626 | 5667.148 | 7370.4636 | 283.8082 | 843.0824 | 7384.4964 | 15881.8506 | 217.6219 | -0.27255 | 22.3339 | 217.5045 | 457.1877
42 | 2061 | 0.063619 | 67.7608 | 47.1569 | 9.6275 | 124.5453 | 338.1144 | 19.8054 | 47.3748 | 351.7178 | 757.0124 | 881.5576 | 56.0839 | 5723.2319 | 7494.9768 | 290.0086 | 870.3116 | 7613.3067 | 16268.6037 | 219.4994 | -0.93854 | 23.2024 | 222.6611 | 464.4243
43 | 2062 | 0.059485 | 64.9768 | 64.591 | 9.3174 | 138.8852 | 344.5382 | 20.5342 | 48.7948 | 360.0103 | 773.8775 | 912.7627 | 54.2956 | 5777.5275 | 7616.2511 | 297.0355 | 899.9448 | 7843.996 | 16657.2273 | 219.298 | -0.53279 | 23.2136 | 225.3593 | 467.338
44 | 2063 | 0.055619 | 62.5114 | 79.3789 | 9.0401 | 150.9304 | 349.3182 | 20.5645 | 50.6187 | 372.7998 | 793.3012 | 944.2315 | 52.5176 | 5830.0451 | 7742.6102 | 303.5484 | 929.2373 | 8084.8151 | 17060.2109 | 221.7922 | 0.017688 | 24.3447 | 231.2078 | 477.3624
45 | 2064 | 0.052005 | 59.9896 | 76.928 | 8.7867 | 145.7043 | 353.3487 | 20.9008 | 51.7958 | 379.5345 | 805.5799 | 951.2841 | 49.4716 | 5879.5166 | 7868.5223 | 312.3708 | 958.3559 | 8330.1371 | 17469.3861 | 223.3779 | 0.69878 | 25.4303 | 235.9336 | 485.4406
46 | 2065 | 0.048626 | 57.4991 | 78.8656 | 8.5098 | 144.8745 | 360.1177 | 21.4196 | 53.9322 | 392.5422 | 828.0117 | 972.8862 | 47.3071 | 5926.8238 | 8000.1934 | 319.3971 | 991.6996 | 8587.054 | 17898.344 | 225.5066 | -0.081886 | 25.5774 | 241.6349 | 492.637
47 | 2066 | 0.045466 | 55.0093 | 85.0808 | 8.1997 | 148.2899 | 364.7214 | 22.5269 | 55.2467 | 402.3341 | 844.829 | 993.1189 | 45.1528 | 5971.9766 | 8130.9741 | 328.5566 | 1024.2495 | 8848.5315 | 18332.3117 | 226.8039 | 2.9748 | 26.1646 | 246.3452 | 502.2884
48 | 2067 | 0.042511 | 52.6336 | 67.5588 | 7.9468 | 128.1392 | 369.5447 | 22.349 | 57.4953 | 413.2494 | 862.6384 | 990.7776 | 42.1191 | 6014.0957 | 8266.0225 | 334.4296 | 1056.7193 | 9120.1572 | 18777.3286 | 230.7151 | 0.14118 | 26.7372 | 254.0145 | 511.6079
49 | 2068 | 0.039749 | 50.5591 | 71.7808 | 7.7313 | 130.0712 | 375.9473 | 23.3197 | 59.3608 | 429.1144 | 887.7422 | 1017.8134 | 40.4567 | 6054.5524 | 8399.193 | 344.4531 | 1092.4595 | 9396.0288 | 19232.1344 | 232.1788 | 1.125 | 27.0818 | 259.0468 | 519.4324
|  | Total NPV = | 786.7618 | 365.7833 | 56.6083 | 1209.1534 | 2787.4545 | 149.2161 | 976.406 | 932.3223 | 4845.399 | 6054.5524 |  |  | 45355.9411 | 1908.6128 | 4965.7596 | 17981.7096 | 70212.0232 | 1473.9685 | -1.2801 | 147.7715 | 591.7884 | 2212.2483
8266.8007

## FPL Stand-Alone Rev Req
FPL 042973
20210015-EI
2022-03-28 16:21
| Case name: |  | 2020 IRP FPL Stand-Alone
|  |  | System Fixed Costs |  |  |  | System Variable Costs
|  | Annual | Generation | Fixed O&M & | Transmission | Total |  |  |  |  | Total | Total | NPV | NPV
|  | Discount | Capital | Capital Replacement | Interconnection | Fixed | System | Startup | VOM | Emission | Variable | Annual | Total | Cumulative
|  | Factor | Costs | Costs | Costs | Costs | Net Fuel | Costs | Costs | Costs | Costs | Costs | Annual Cost | Total Costs
| Year | 7.52% | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | Year
1 | 2020 | 1 | 0 | 0 | 0 | 0 | 1433.5476 | 67.2878 | 226.4646 | 0.82252 | 1728.1225 | 1728.1225 | 1728.1225 | 1728.1225 | 2020
2 | 2021 | 0.93006 | 121.4553 | 4.0438 | 20.4091 | 145.9081 | 1903.6425 | 79.2289 | 221.5854 | 0.85494 | 2205.3118 | 2351.2199 | 2186.7745 | 3914.897 | 2021
3 | 2022 | 0.86501 | 263.305 | 8.3184 | 56.7989 | 328.4222 | 1671.9048 | 79.7488 | 233.4553 | 0.68197 | 1985.7909 | 2314.2131 | 2001.8192 | 5916.7162 | 2022
4 | 2023 | 0.80451 | 331.9562 | 11.8687 | 74.1111 | 417.936 | 1718.5861 | 78.0221 | 219.609 | 0.62557 | 2016.8429 | 2434.7788 | 1958.8075 | 7875.5237 | 2023
5 | 2024 | 0.74824 | 384.5492 | 14.5052 | 91.0823 | 490.1367 | 1691.8585 | 81.028 | 223.8555 | 0.65178 | 1997.3937 | 2487.5304 | 1861.2786 | 9736.8022 | 2024
6 | 2025 | 0.69591 | 446.3432 | 18.3437 | 110 | 574.6868 | 1848.3996 | 86.2577 | 227.8597 | 0.62779 | 2163.1448 | 2737.8316 | 1905.2872 | 11642.0894 | 2025
7 | 2026 | 0.64724 | 507.0549 | 25.6882 | 125.8616 | 658.6047 | 1810.4246 | 85.8399 | 228.5914 | 38.6148 | 2163.4707 | 2822.0755 | 1826.5564 | 13468.6458 | 2026
8 | 2027 | 0.60197 | 560.4246 | 28.7016 | 138.8203 | 727.9465 | 1893.4954 | 93.7065 | 236.7629 | 61.3123 | 2285.2771 | 3013.2236 | 1813.8717 | 15282.5175 | 2027
9 | 2028 | 0.55987 | 614.7449 | 33.9701 | 151.3606 | 800.0757 | 1985.9241 | 98.9822 | 241.364 | 105.4255 | 2431.6957 | 3231.7714 | 1809.3667 | 17091.8842 | 2028
10 | 2029 | 0.52071 | 698.9842 | 46.8089 | 165.9054 | 911.6985 | 2089.6307 | 103.1126 | 253.6043 | 147.2245 | 2593.5722 | 3505.2707 | 1825.2328 | 18917.117 | 2029
11 | 2030 | 0.48429 | 926.2859 | 59.4547 | 182.9116 | 1168.6522 | 2156.5832 | 105.6617 | 243.5046 | 178.9959 | 2684.7454 | 3853.3975 | 1866.1702 | 20783.2872 | 2030
12 | 2031 | 0.45042 | 889.8349 | 61.0296 | 176.1567 | 1127.0212 | 2312.6678 | 111.4182 | 250.0096 | 217.5999 | 2891.6954 | 4018.7166 | 1810.1125 | 22593.3997 | 2031
13 | 2032 | 0.41892 | 919.3562 | 78.4909 | 169.4008 | 1167.2478 | 2469.2493 | 117.6887 | 260.9216 | 265.153 | 3113.0127 | 4280.2605 | 1793.0778 | 24386.4775 | 2032
14 | 2033 | 0.38962 | 952.4232 | 88.6864 | 162.7811 | 1203.8907 | 2665.9318 | 124.4685 | 272.3474 | 320.2172 | 3382.9648 | 4586.8555 | 1787.1242 | 26173.6017 | 2033
15 | 2034 | 0.36237 | 987.3751 | 98.6671 | 156.2234 | 1242.2656 | 2870.7405 | 131.2731 | 282.9456 | 382.5436 | 3667.5029 | 4909.7685 | 1779.1454 | 27952.7471 | 2034
16 | 2035 | 0.33702 | 1023.7403 | 119.9184 | 149.7171 | 1293.3758 | 3079.1632 | 139.5163 | 296.8281 | 504.185 | 4019.6926 | 5313.0684 | 1790.6329 | 29743.38 | 2035
17 | 2036 | 0.31345 | 1197.3955 | 130.6734 | 143.216 | 1471.2849 | 3442.4556 | 145.62 | 321.977 | 687.7932 | 4597.8459 | 6069.1308 | 1902.385 | 31645.765 | 2036
18 | 2037 | 0.29153 | 1301.1377 | 153.4371 | 136.8504 | 1591.4253 | 3658.3546 | 152.9042 | 334.2585 | 867.3484 | 5012.8657 | 6604.291 | 1925.3463 | 33571.1113 | 2037
19 | 2038 | 0.27114 | 1381.8949 | 173.3263 | 130.6906 | 1685.9117 | 3847.7401 | 158.9268 | 351.3662 | 1075.7672 | 5433.8004 | 7119.7121 | 1930.4379 | 35501.5492 | 2038
20 | 2039 | 0.25218 | 1409.8883 | 193.0086 | 124.7695 | 1727.6665 | 3960.7776 | 165.9311 | 363.6902 | 1297.145 | 5787.5439 | 7515.2104 | 1895.1574 | 37396.7066 | 2039
21 | 2040 | 0.23454 | 1511.6843 | 218.3898 | 119.03 | 1849.1041 | 4111.9062 | 171.529 | 373.8287 | 1545.2617 | 6202.5255 | 8051.6296 | 1888.4203 | 39285.1269 | 2040
22 | 2041 | 0.21814 | 1462.5596 | 254.7741 | 113.556 | 1830.8898 | 4233.9447 | 176.064 | 391.1447 | 1804.1218 | 6605.2753 | 8436.165 | 1840.224 | 41125.3509 | 2041
23 | 2042 | 0.20288 | 1489.8226 | 237.6387 | 108.2572 | 1835.7185 | 4360.9692 | 182.5968 | 401.459 | 2065.9582 | 7010.9832 | 8846.7017 | 1794.807 | 42920.158 | 2042
24 | 2043 | 0.18869 | 1519.2316 | 290.9293 | 103.1408 | 1913.3016 | 4627.2805 | 187.715 | 429.4627 | 2461.5558 | 7706.0139 | 9619.3155 | 1815.0613 | 44735.2192 | 2043
25 | 2044 | 0.17549 | 1546.2708 | 315.8565 | 98.1754 | 1960.3027 | 4784.9097 | 192.2222 | 450.9109 | 2861.0461 | 8289.0888 | 10249.3915 | 1798.6884 | 46533.9077 | 2044
26 | 2045 | 0.16322 | 1573.2906 | 329.9514 | 93.4756 | 1996.7176 | 4916.3408 | 198.9353 | 462.7692 | 3242.1944 | 8820.2396 | 10816.9573 | 1765.5244 | 48299.4321 | 2045
27 | 2046 | 0.1518 | 1520.6866 | 357.0698 | 89.0205 | 1966.7769 | 5061.8151 | 204.7954 | 479.5731 | 3676.7708 | 9422.9543 | 11389.7312 | 1728.9914 | 50028.4234 | 2046
28 | 2047 | 0.14119 | 1553.4991 | 402.6955 | 84.7067 | 2040.9013 | 5224.6896 | 209.8309 | 496.3881 | 3943.3925 | 9874.3011 | 11915.2024 | 1682.2538 | 51710.6772 | 2047
29 | 2048 | 0.13131 | 1500.1653 | 402.1468 | 80.5445 | 1982.8566 | 5310.8154 | 217.5634 | 512.0883 | 4194.1147 | 10234.5817 | 12217.4383 | 1604.283 | 53314.9603 | 2048
30 | 2049 | 0.12213 | 1544.5699 | 444.1168 | 76.4234 | 2065.1101 | 5467.3164 | 221.741 | 528.278 | 4486.1057 | 10703.4411 | 12768.5513 | 1559.3845 | 54874.3448 | 2049
31 | 2050 | 0.11359 | 1537.5809 | 471.0319 | 72.4093 | 2081.0221 | 5637.5941 | 228.0475 | 549.4562 | 4813.2609 | 11228.3587 | 13309.3808 | 1511.7507 | 56386.0955 | 2050
32 | 2051 | 0.10564 | 1498.1537 | 502.3974 | 63.3615 | 2063.9126 | 5735.158 | 233.0683 | 564.4108 | 4948.3701 | 11481.0072 | 13544.9198 | 1430.9007 | 57816.9962 | 2051
33 | 2052 | 0.098253 | 1594.2276 | 506.3815 | 51.8428 | 2152.4519 | 5950.2281 | 238.1305 | 593.2255 | 5223.7429 | 12005.327 | 14157.7789 | 1391.0378 | 59208.0341 | 2052
34 | 2053 | 0.091381 | 1701.3958 | 572.9438 | 43.908 | 2318.2475 | 6309.9803 | 243.0453 | 645.0198 | 5716.7605 | 12914.8059 | 15233.0534 | 1392.0073 | 60600.0414 | 2053
35 | 2054 | 0.08499 | 1619.3504 | 564.126 | 36.7415 | 2220.2178 | 6473.6279 | 247.4313 | 676.6674 | 5971.9564 | 13369.6831 | 15589.901 | 1324.978 | 61925.0194 | 2054
36 | 2055 | 0.079045 | 1636.1281 | 593.4327 | 29.4431 | 2259.004 | 6582.5232 | 252.7943 | 697.7699 | 6156.5039 | 13689.5913 | 15948.5953 | 1260.6615 | 63185.6809 | 2055
37 | 2056 | 0.073517 | 1655.4484 | 626.9794 | 22.9957 | 2305.4235 | 6691.7482 | 258.0629 | 719.8547 | 6345.5587 | 14015.2245 | 16320.648 | 1199.8424 | 64385.5233 | 2056
38 | 2057 | 0.068375 | 1575.7933 | 620.886 | 17.4754 | 2214.1547 | 6806.2945 | 264.9701 | 744.5745 | 6543.6948 | 14359.5339 | 16573.6886 | 1133.2265 | 65518.7497 | 2057
39 | 2058 | 0.063593 | 1604.1831 | 666.4304 | 12.306 | 2282.9195 | 6921.0745 | 270.3752 | 768.4785 | 6746.3231 | 14706.2513 | 16989.1708 | 1080.3898 | 66599.1395 | 2058
40 | 2059 | 0.059145 | 1632.209 | 699.4458 | 6.894 | 2338.5488 | 7037.1478 | 277.2186 | 793.2375 | 6954.4037 | 15062.0075 | 17400.5563 | 1029.1583 | 67628.2978 | 2059
41 | 2060 | 0.055008 | 1552.4283 | 703.8867 | 2.2918 | 2258.6068 | 7152.8417 | 284.0808 | 820.7486 | 7166.9918 | 15424.6629 | 17683.2697 | 972.7301 | 68601.0278 | 2060
42 | 2061 | 0.051161 | 1602.1035 | 718.4324 | 1.7873 | 2322.3232 | 7275.4774 | 290.9472 | 847.1092 | 7390.6456 | 15804.1794 | 18126.5026 | 927.3732 | 69528.401 | 2061
43 | 2062 | 0.047583 | 1546.5466 | 749.6274 | 1.6951 | 2297.8691 | 7396.9531 | 297.5683 | 876.7312 | 7618.6367 | 16189.8893 | 18487.7584 | 879.7019 | 70408.1029 | 2062
44 | 2063 | 0.044255 | 1606.5289 | 801.8706 | 1.6202 | 2410.0197 | 7520.818 | 303.5307 | 904.8926 | 7853.6073 | 16582.8486 | 18992.8683 | 840.5287 | 71248.6316 | 2063
45 | 2064 | 0.04116 | 1668.5939 | 825.3001 | 1.5453 | 2495.4393 | 7645.1444 | 311.672 | 932.9257 | 8094.2035 | 16983.9455 | 19479.3848 | 801.7666 | 72050.3983 | 2064
46 | 2065 | 0.038281 | 1609.8291 | 871.0085 | 1.4704 | 2482.308 | 7774.6868 | 319.479 | 966.1222 | 8345.4191 | 17405.707 | 19888.015 | 761.3335 | 72811.7318 | 2065
47 | 2066 | 0.035604 | 1673.3905 | 933.636 | 1.3955 | 2608.422 | 7904.1702 | 325.5818 | 998.085 | 8602.1863 | 17830.0233 | 20438.4452 | 727.6828 | 73539.4145 | 2066
48 | 2067 | 0.033113 | 1737.1668 | 954.1822 | 1.3206 | 2692.6696 | 8035.3074 | 334.2884 | 1029.9821 | 8866.1427 | 18265.7206 | 20958.3903 | 694.0055 | 74233.42 | 2067
49 | 2068 | 0.030798 | 1672.3413 | 986.0179 | 1.2457 | 2659.6049 | 8167.0142 | 343.3281 | 1065.3778 | 9136.982 | 18712.702 | 21372.3068 | 658.214 | 74891.634 | 2068
|  | Total NPV = | 10950.5151 | 1824.9399 | 1375.8202 | 14151.2753 | 39834.1156 | 1741.2462 | 4393.2021 | 14771.7949 | 60740.3588 | 74891.634

## Step 2 Discount Rate Change
FPL 042974
20210015-EI
2022-03-28 16:21
| Case name: |  | Step 2 Discount Rate Change
|  |  | System Fixed Costs |  |  |  | System Variable Costs
|  | Annual | Generation | Fixed O&M & | Transmission | Total |  |  |  |  | Total | Total | NPV | NPV
|  | Discount | Capital | Capital Replacement | Interconnection | Fixed | System | Startup | VOM | Emission | Variable | Annual | Total | Cumulative
|  | Factor | Costs | Costs | Costs | Costs | Net Fuel | Costs | Costs | Costs | Costs | Costs | Annual Cost | Total Costs
| Year | 7.52% | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | Year
1 | 2020 | 1 | 0 | 29.6596 | 0 | 29.6596 | 1599.0214 | 72.881 | 307.5205 | 1.0254 | 1980.4483 | 2010.1079 | 2010.1079 | 2010.1079 | 2020
2 | 2021 | 0.93006 | 121.4553 | 38.0198 | 20.4091 | 179.8842 | 2128.7056 | 85.1237 | 306.4278 | 1.0569 | 2521.314 | 2701.1982 | 2512.2751 | 4522.383 | 2021
3 | 2022 | 0.86501 | 263.305 | 45.7235 | 56.7989 | 365.8273 | 1861.6057 | 88.0638 | 314.9862 | 0.82204 | 2265.4777 | 2631.3051 | 2276.1071 | 6798.4901 | 2022
4 | 2023 | 0.80451 | 331.9562 | 53.2786 | 74.1111 | 459.346 | 1924.1689 | 90.0915 | 297.7297 | 0.82288 | 2312.8129 | 2772.1589 | 2230.2336 | 9028.7237 | 2023
5 | 2024 | 0.74824 | 384.5492 | 14.5052 | 91.0823 | 490.1367 | 1899.3975 | 92.2096 | 305.0146 | 0.88608 | 2297.5078 | 2787.6445 | 2085.837 | 11114.5607 | 2024
6 | 2025 | 0.69591 | 455.2273 | 18.6487 | 110.9051 | 584.7811 | 2073.1393 | 97.3273 | 311.1775 | 0.86009 | 2482.5042 | 3067.2853 | 2134.5577 | 13249.1183 | 2025
7 | 2026 | 0.64724 | 515.3914 | 26.0015 | 126.7085 | 668.1013 | 2021.3124 | 95.3211 | 316.6879 | 43.7858 | 2477.1071 | 3145.2085 | 2035.7006 | 15284.8189 | 2026
8 | 2027 | 0.60197 | 605.7117 | 30.3312 | 143.2255 | 779.2684 | 2098.6872 | 102.0238 | 326.1355 | 68.8492 | 2595.6956 | 3374.964 | 2031.6288 | 17316.4477 | 2027
9 | 2028 | 0.55987 | 657.3282 | 35.6497 | 155.4857 | 848.4636 | 2200.4218 | 107.6835 | 334.7512 | 118.3024 | 2761.1589 | 3609.6225 | 2020.9136 | 19337.3613 | 2028
10 | 2029 | 0.52071 | 740.0416 | 48.7392 | 169.7512 | 958.532 | 2314.9498 | 115.3352 | 348.1096 | 165.0337 | 2943.4283 | 3901.9603 | 2031.7934 | 21369.1547 | 2029
11 | 2030 | 0.48429 | 1053.2132 | 74.5061 | 190.1517 | 1317.871 | 2375.2519 | 111.3423 | 338.0899 | 199.1798 | 3023.8638 | 4341.7348 | 2102.6681 | 23471.8228 | 2030
12 | 2031 | 0.45042 | 1012.3987 | 77.6763 | 183.1356 | 1273.2106 | 2543.8201 | 117.819 | 347.4152 | 241.8143 | 3250.8686 | 4524.0792 | 2037.7382 | 25509.561 | 2031
13 | 2032 | 0.41892 | 1037.4069 | 95.2796 | 176.1368 | 1308.8232 | 2714.0451 | 124.0564 | 361.6843 | 294.0456 | 3493.8314 | 4802.6546 | 2011.918 | 27521.479 | 2032
14 | 2033 | 0.38962 | 1066.509 | 116.1776 | 169.3401 | 1352.0266 | 2925.5015 | 131.4646 | 375.8912 | 354.5745 | 3787.4318 | 5139.4584 | 2002.4286 | 29523.9076 | 2033
15 | 2034 | 0.36237 | 1097.8451 | 126.3374 | 162.5872 | 1386.7697 | 3145.7684 | 138.4147 | 389.6464 | 422.8344 | 4096.664 | 5483.4336 | 1987.0235 | 31510.9311 | 2034
16 | 2035 | 0.33702 | 1130.6856 | 148.7237 | 155.9184 | 1435.3277 | 3367.4394 | 148.4414 | 408.1505 | 555.6725 | 4479.7038 | 5915.0315 | 1993.5091 | 33504.4403 | 2035
17 | 2036 | 0.31345 | 1300.9983 | 158.0502 | 149.223 | 1608.2714 | 3780.7933 | 153.7557 | 355.4305 | 760.2543 | 5050.2338 | 6658.5052 | 2087.1259 | 35591.5662 | 2036
18 | 2037 | 0.29153 | 1401.3685 | 183.4721 | 142.694 | 1727.5346 | 4012.5333 | 161.2438 | 368.3787 | 957.2017 | 5499.3574 | 7226.8921 | 2106.8529 | 37698.4191 | 2037
19 | 2038 | 0.27114 | 1481.7644 | 201.5014 | 136.3717 | 1819.6374 | 4213.583 | 168.5656 | 386.6855 | 1184.3162 | 5953.1502 | 7772.7877 | 2107.5127 | 39805.9318 | 2038
20 | 2039 | 0.25218 | 1505.8398 | 222.747 | 130.292 | 1858.8789 | 4333.8373 | 174.9149 | 400.3087 | 1427.5445 | 6336.6054 | 8195.4843 | 2066.7063 | 41872.6381 | 2039
21 | 2040 | 0.23454 | 1601.5875 | 247.4748 | 124.368 | 1973.4303 | 4497.0052 | 182.0873 | 411.1241 | 1698.9846 | 6789.2012 | 8762.6315 | 2055.178 | 43927.8161 | 2040
22 | 2041 | 0.21814 | 1549.1743 | 294.4384 | 118.7363 | 1962.349 | 4632.1944 | 187.3414 | 430.7036 | 1983.6544 | 7233.8938 | 9196.2428 | 2006.0237 | 45933.8398 | 2041
23 | 2042 | 0.20288 | 1573.2773 | 261.4195 | 113.275 | 1947.9718 | 4770.2511 | 193.6006 | 441.3742 | 2272.143 | 7677.3689 | 9625.3407 | 1952.7763 | 47886.6161 | 2042
24 | 2043 | 0.18869 | 1599.5107 | 315.1181 | 107.9961 | 2022.6249 | 5046.0633 | 199.7438 | 471.652 | 2695.3238 | 8412.7828 | 10435.4077 | 1969.0491 | 49855.6651 | 2043
25 | 2044 | 0.17549 | 1623.3805 | 351.9553 | 102.8483 | 2078.1841 | 5209.823 | 205.0802 | 493.3587 | 3125.3712 | 9033.6331 | 11111.8172 | 1950.0374 | 51805.7026 | 2044
26 | 2045 | 0.16322 | 1647.4474 | 365.2168 | 97.9733 | 2110.6375 | 5352.5206 | 211.4467 | 506.6791 | 3542.059 | 9612.7053 | 11723.3428 | 1913.463 | 53719.1656 | 2045
27 | 2046 | 0.1518 | 1592.2891 | 389.2567 | 93.3556 | 2074.9013 | 5507.7895 | 217.3594 | 525.4901 | 4014.5133 | 10265.1523 | 12340.0536 | 1873.2528 | 55592.4184 | 2046
28 | 2047 | 0.14119 | 1622.7589 | 438.141 | 88.8832 | 2149.7831 | 5681.3495 | 223.9958 | 543.0955 | 4303.7024 | 10752.143 | 12901.9261 | 1821.5649 | 57413.9833 | 2047
29 | 2048 | 0.13131 | 1567.0778 | 446.7287 | 84.5655 | 2098.3721 | 5773.8543 | 231.2044 | 560.0868 | 4574.1058 | 11139.2513 | 13237.6233 | 1738.2445 | 59152.2278 | 2048
30 | 2049 | 0.12213 | 1609.146 | 488.0724 | 80.2904 | 2177.5089 | 5940.8891 | 236.6209 | 577.3902 | 4889.4453 | 11644.3455 | 13821.8544 | 1688.0212 | 60840.249 | 2049
31 | 2050 | 0.11359 | 1599.8376 | 513.3105 | 76.1177 | 2189.2658 | 6122.3604 | 243.9484 | 600.8566 | 5244.2231 | 12211.3885 | 14400.6544 | 1635.7034 | 62475.9524 | 2050
32 | 2051 | 0.10564 | 1558.1237 | 546.1516 | 66.9113 | 2171.1867 | 6226.1427 | 248.9101 | 617.2006 | 5389.2477 | 12481.5012 | 14652.6878 | 1547.9266 | 64023.879 | 2051
33 | 2052 | 0.098253 | 1706.3225 | 551.9627 | 65.5881 | 2323.8732 | 6446.583 | 253.9689 | 646.9641 | 5675.6566 | 13023.1727 | 15347.0459 | 1507.8863 | 65531.7654 | 2052
34 | 2053 | 0.091381 | 1809.9036 | 623.3417 | 57.2851 | 2490.5304 | 6813.5204 | 258.9459 | 701.2692 | 6181.5875 | 13955.323 | 16445.8534 | 1502.8339 | 67034.5992 | 2053
35 | 2054 | 0.08499 | 1723.957 | 609.0058 | 49.7146 | 2382.6774 | 6982.6463 | 265.2922 | 733.49 | 6447.2191 | 14428.6475 | 16811.325 | 1428.7862 | 68463.3855 | 2054
36 | 2055 | 0.079045 | 1735.0785 | 639.1835 | 41.8425 | 2416.1045 | 7098.4224 | 271.268 | 756.3211 | 6645.1887 | 14771.2002 | 17187.3047 | 1358.5757 | 69821.9611 | 2055
37 | 2056 | 0.073517 | 1749.8767 | 669.0232 | 34.9834 | 2453.8832 | 7214.0448 | 276.6958 | 779.9783 | 6846.4834 | 15117.2024 | 17571.0856 | 1291.7706 | 71113.7317 | 2056
38 | 2057 | 0.068375 | 1658.8514 | 654.985 | 28.3139 | 2342.1503 | 7335.5647 | 283.5589 | 807.3331 | 7058.9581 | 15485.4147 | 17827.5651 | 1218.9603 | 72332.692 | 2057
39 | 2058 | 0.063593 | 1680.239 | 716.8477 | 22.7738 | 2419.8605 | 7457.2583 | 288.8274 | 832.8815 | 7275.959 | 15854.9263 | 18274.7867 | 1162.1458 | 73494.8378 | 2058
40 | 2059 | 0.059145 | 1705.5053 | 748.1536 | 17.0762 | 2470.7351 | 7580.1653 | 294.6005 | 859.7591 | 7496.2228 | 16230.7477 | 18701.4828 | 1106.1017 | 74600.9395 | 2059
41 | 2060 | 0.055008 | 1622.9454 | 750.4754 | 12.1993 | 2385.6201 | 7703.1806 | 302.4856 | 888.6307 | 7724.1795 | 16618.4764 | 19004.0965 | 1045.3868 | 75646.3263 | 2060
42 | 2061 | 0.051161 | 1669.8644 | 765.5894 | 11.4148 | 2446.8685 | 7833.0912 | 309.814 | 917.6864 | 7965.0244 | 17025.6161 | 19472.4845 | 996.2352 | 76642.5615 | 2061
43 | 2062 | 0.047583 | 1611.5234 | 814.2183 | 11.0125 | 2436.7543 | 7960.7893 | 317.5697 | 948.7396 | 8204.0063 | 17431.1049 | 19867.8592 | 945.3711 | 77587.9326 | 2062
44 | 2063 | 0.044255 | 1669.0403 | 881.2494 | 10.6603 | 2560.95 | 8091.9284 | 324.1129 | 979.8559 | 8457.6149 | 17853.5121 | 20414.4621 | 903.4413 | 78491.3739 | 2063
45 | 2064 | 0.04116 | 1728.5835 | 902.2281 | 10.332 | 2641.1436 | 8221.8711 | 333.2716 | 1010.1517 | 8709.6717 | 18274.966 | 20916.1096 | 860.9019 | 79352.2758 | 2064
46 | 2065 | 0.038281 | 1667.3282 | 949.874 | 9.9802 | 2627.1824 | 8360.3111 | 340.8167 | 1045.6318 | 8979.5962 | 18726.3557 | 21353.5382 | 817.4352 | 80169.711 | 2065
47 | 2066 | 0.035604 | 1728.3998 | 1018.7168 | 9.5952 | 2756.7118 | 8495.6954 | 351.0834 | 1079.4962 | 9250.8657 | 19177.1407 | 21933.8526 | 780.9247 | 80950.6357 | 2066
48 | 2067 | 0.033113 | 1789.8005 | 1021.7409 | 9.2674 | 2820.8088 | 8635.5672 | 356.7786 | 1114.2145 | 9533.4066 | 19639.9669 | 22460.7757 | 743.7547 | 81694.3904 | 2067
49 | 2068 | 0.030798 | 1722.9004 | 1057.7987 | 8.977 | 2789.6761 | 8775.1403 | 367.7728 | 1151.8203 | 9825.1432 | 20119.8766 | 22909.5527 | 705.5574 | 82399.9478 | 2068
|  | Total NPV = | 11665.1864 | 2160.6928 | 1426.7267 | 15252.6058 | 43739.7125 | 1877.6713 | 5455.8356 | 16074.1225 | 67147.3419 | 82399.9478

## Step 3 Rev Req
FPL 042975
20210015-EI
2022-03-28 16:21
| Case name: |  | Step 3
|  |  | System Fixed Costs |  |  |  | System Variable Costs
|  | Annual | Generation | Fixed O&M & | Transmission | Total |  |  |  |  | Total | Total | NPV | NPV
|  | Discount | Capital | Capital Replacement | Interconnection | Fixed | System | Startup | VOM | Emission | Variable | Annual | Total | Cumulative
|  | Factor | Costs | Costs | Costs | Costs | Net Fuel | Costs | Costs | Costs | Costs | Costs | Annual Cost | Total Costs
| Year | 7.52% | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | Year
1 | 2020 | 1 | 0 | 29.6596 | 0 | 29.6596 | 1599.0214 | 72.881 | 307.5205 | 1.0254 | 1980.4483 | 2010.1079 | 2010.1079 | 2010.1079 | 2020
2 | 2021 | 0.93006 | 121.4553 | 38.0198 | 20.4091 | 179.8842 | 2128.7056 | 85.1237 | 306.4278 | 1.0569 | 2521.314 | 2701.1982 | 2512.2751 | 4522.383 | 2021
3 | 2022 | 0.86501 | 188.2633 | 43.1807 | 27.9112 | 259.3551 | 1888.5418 | 84.0691 | 316.7046 | 0.83602 | 2290.1514 | 2549.5066 | 2205.3505 | 6727.7335 | 2022
4 | 2023 | 0.80451 | 268.365 | 50.4729 | 33.86 | 352.698 | 1943.6038 | 83.7174 | 300.9563 | 0.8293 | 2329.1068 | 2681.8048 | 2157.5427 | 8885.2762 | 2023
5 | 2024 | 0.74824 | 374.4412 | 13.2923 | 55.566 | 443.2995 | 1901.8552 | 88.6457 | 307.548 | 0.8834 | 2298.9323 | 2742.2318 | 2051.8572 | 10937.1335 | 2024
6 | 2025 | 0.69591 | 462.0759 | 18.1307 | 78.2606 | 558.4672 | 2070.3896 | 94.0131 | 312.9849 | 0.8414 | 2478.229 | 3036.6962 | 2113.2704 | 13050.4038 | 2025
7 | 2026 | 0.64724 | 520.8409 | 22.5185 | 94.328 | 637.6874 | 2021.2852 | 94.9945 | 317.1744 | 43.7362 | 2477.1903 | 3114.8777 | 2016.0693 | 15066.4731 | 2026
8 | 2027 | 0.60197 | 580.2463 | 28.6293 | 110.0052 | 718.8808 | 2112.3729 | 102.1386 | 327.4784 | 69.3077 | 2611.2976 | 3330.1785 | 2004.6692 | 17071.1424 | 2027
9 | 2028 | 0.55987 | 699.0031 | 35.425 | 143.3276 | 877.7557 | 2187.6413 | 110.9891 | 333.2767 | 117.4906 | 2749.3978 | 3627.1535 | 2030.7286 | 19101.871 | 2028
10 | 2029 | 0.52071 | 824.0851 | 47.5619 | 172.5143 | 1044.1613 | 2280.2357 | 116.4567 | 346.0059 | 162.3485 | 2905.0468 | 3949.2081 | 2056.3959 | 21158.2668 | 2029
11 | 2030 | 0.48429 | 918.5809 | 57.5584 | 191.9051 | 1168.0444 | 2396.0681 | 115.342 | 352.5088 | 200.9628 | 3064.8818 | 4232.9262 | 2049.973 | 23208.2398 | 2030
12 | 2031 | 0.45042 | 1062.6757 | 66.8983 | 190.0239 | 1319.598 | 2517.9608 | 119.6378 | 347.4343 | 239.2645 | 3224.2974 | 4543.8953 | 2046.6638 | 25254.9036 | 2031
13 | 2032 | 0.41892 | 1021.4278 | 77.6507 | 182.5005 | 1281.579 | 2687.5907 | 127.3889 | 365.6891 | 291.4113 | 3472.08 | 4753.659 | 1991.3929 | 27246.2965 | 2032
14 | 2033 | 0.38962 | 1048.6525 | 95.1208 | 175.4497 | 1319.2231 | 2898.4741 | 134.5396 | 380.3109 | 351.3571 | 3764.6817 | 5083.9048 | 1980.7838 | 29227.0804 | 2033
15 | 2034 | 0.36237 | 1144.8437 | 102.2957 | 168.6075 | 1415.7469 | 3118.7706 | 140.5774 | 389.4601 | 419.3047 | 4068.1128 | 5483.8597 | 1987.1779 | 31214.2583 | 2034
16 | 2035 | 0.33702 | 1176.4453 | 121.3348 | 161.9102 | 1459.6903 | 3339.601 | 148.7388 | 407.5986 | 551.2801 | 4447.2185 | 5906.9088 | 1990.7716 | 33205.0299 | 2035
17 | 2036 | 0.31345 | 1345.7085 | 151.892 | 155.3796 | 1652.9801 | 3754.356 | 157.3639 | 356.6074 | 754.9624 | 5023.2896 | 6676.2697 | 2092.6943 | 35297.7241 | 2036
18 | 2037 | 0.29153 | 1375.8155 | 153.5557 | 148.9978 | 1678.369 | 3985.5315 | 167.1996 | 373.6999 | 951.029 | 5477.4599 | 7155.8289 | 2086.1359 | 37383.86 | 2037
19 | 2038 | 0.27114 | 1535.7361 | 184.6793 | 142.6712 | 1863.0866 | 4187.681 | 173.6387 | 388.0072 | 1176.9685 | 5926.2954 | 7789.382 | 2112.0121 | 39495.8721 | 2038
20 | 2039 | 0.25218 | 1559.6231 | 214.9458 | 136.4409 | 1911.0098 | 4307.2781 | 180.7207 | 401.765 | 1418.4098 | 6308.1737 | 8219.1835 | 2072.6827 | 41568.5548 | 2039
21 | 2040 | 0.23454 | 1583.0462 | 221.3193 | 130.3065 | 1934.672 | 4469.8989 | 188.1483 | 415.4542 | 1688.626 | 6762.1274 | 8696.7994 | 2039.7378 | 43608.2926 | 2040
22 | 2041 | 0.21814 | 1606.2868 | 248.917 | 124.448 | 1979.6517 | 4605.9112 | 191.4536 | 432.1354 | 1972.8646 | 7202.3648 | 9182.0165 | 2002.9204 | 45611.213 | 2041
23 | 2042 | 0.20288 | 1552.65 | 284.7265 | 118.7 | 1956.0765 | 4744.5363 | 204.1096 | 446.8201 | 2258.6205 | 7654.0865 | 9610.1629 | 1949.697 | 47560.91 | 2042
24 | 2043 | 0.18869 | 1655.6695 | 270.526 | 113.1861 | 2039.3816 | 5019.0197 | 203.6294 | 473.6902 | 2680.8608 | 8377.2 | 10416.5817 | 1965.4968 | 49526.4068 | 2043
25 | 2044 | 0.17549 | 1678.7732 | 319.4258 | 107.9897 | 2106.1887 | 5186.2999 | 214.4823 | 495.9261 | 3108.7291 | 9005.4374 | 11111.6261 | 1950.0039 | 51476.4107 | 2044
26 | 2045 | 0.16322 | 1701.1049 | 354.6059 | 103.0895 | 2158.8004 | 5328.8503 | 221.4228 | 509.6042 | 3524.5591 | 9584.4364 | 11743.2367 | 1916.7101 | 53393.1208 | 2045
27 | 2046 | 0.1518 | 1643.7674 | 351.7402 | 98.4518 | 2093.9593 | 5484.2976 | 228.5904 | 528.3756 | 3994.0713 | 10235.3349 | 12329.2941 | 1871.6195 | 55264.7403 | 2046
28 | 2047 | 0.14119 | 1671.3754 | 412.3391 | 93.8304 | 2177.5449 | 5658.2688 | 234.8285 | 546.4166 | 4282.093 | 10721.6068 | 12899.1517 | 1821.1732 | 57085.9135 | 2047
29 | 2048 | 0.13131 | 1696.019 | 431.6639 | 89.3065 | 2216.9893 | 5747.9189 | 241.4756 | 559.7087 | 4553.3287 | 11102.4319 | 13319.4213 | 1748.9854 | 58834.8989 | 2048
30 | 2049 | 0.12213 | 1640.5966 | 456.6076 | 84.8367 | 2182.0409 | 5914.3811 | 248.058 | 580.4981 | 4867.5028 | 11610.44 | 13792.4808 | 1684.4339 | 60519.3328 | 2049
31 | 2050 | 0.11359 | 1704.6651 | 499.388 | 80.4926 | 2284.5457 | 6096.5787 | 255.5912 | 601.1292 | 5220.0171 | 12173.3161 | 14457.8618 | 1642.2013 | 62161.5342 | 2050
32 | 2051 | 0.10564 | 1602.6353 | 518.5743 | 71.1166 | 2192.3262 | 6199.8621 | 268.4123 | 620.4906 | 5364.6717 | 12453.4368 | 14645.763 | 1547.1951 | 63708.7293 | 2051
33 | 2052 | 0.098253 | 1703.8151 | 556.8235 | 65.3239 | 2325.9626 | 6425.9432 | 267.7071 | 651.5576 | 5651.7284 | 12996.9364 | 15322.899 | 1505.5139 | 65214.2431 | 2052
34 | 2053 | 0.091381 | 1811.6465 | 572.433 | 59.9361 | 2444.0156 | 6789.659 | 277.8394 | 704.6244 | 6158.5224 | 13930.6451 | 16374.6607 | 1496.3282 | 66710.5713 | 2053
35 | 2054 | 0.08499 | 1813.063 | 623.3136 | 51.5937 | 2487.9704 | 6965.2201 | 282.2542 | 736.3498 | 6426.071 | 14409.8951 | 16897.8655 | 1436.1412 | 68146.7126 | 2054
36 | 2055 | 0.079045 | 1714.926 | 610.6867 | 42.891 | 2368.5038 | 7076.4144 | 289.049 | 760.8746 | 6622.4375 | 14748.7754 | 17117.2792 | 1353.0405 | 69499.753 | 2055
37 | 2056 | 0.073517 | 1727.2719 | 641.2453 | 35.7513 | 2404.2684 | 7189.9921 | 290.057 | 783.3095 | 6821.4412 | 15084.7998 | 17489.0682 | 1285.7409 | 70785.494 | 2056
38 | 2057 | 0.068375 | 1745.8895 | 671.1053 | 29.0808 | 2446.0756 | 7321.4781 | 296.1849 | 811.163 | 7033.5249 | 15462.3509 | 17908.4265 | 1224.4892 | 72009.9832 | 2057
39 | 2058 | 0.063593 | 1647.497 | 657.5915 | 18.8686 | 2323.9572 | 7434.3257 | 301.42 | 837.2213 | 7250.5285 | 15823.4955 | 18147.4527 | 1154.0482 | 73164.0314 | 2058
40 | 2059 | 0.059145 | 1652.9024 | 715.3521 | 9.516 | 2377.7705 | 7558.1092 | 309.9111 | 864.6428 | 7472.2857 | 16204.9488 | 18582.7193 | 1099.0774 | 74263.1089 | 2059
41 | 2060 | 0.055008 | 1673.2179 | 735.6237 | 2.6206 | 2411.4622 | 7681.2331 | 316.7736 | 891.375 | 7698.4346 | 16587.8163 | 18999.2785 | 1045.1217 | 75308.2306 | 2060
42 | 2061 | 0.051161 | 1606.716 | 752.3058 | 1.917 | 2360.9388 | 7811.5636 | 326.1068 | 922.7387 | 7937.9268 | 16998.3358 | 19359.2746 | 990.4432 | 76298.6738 | 2061
43 | 2062 | 0.047583 | 1663.9714 | 776.7755 | 1.823 | 2442.5699 | 7941.6074 | 330.2941 | 951.9473 | 8179.5822 | 17403.431 | 19846.0009 | 944.331 | 77243.0049 | 2062
44 | 2063 | 0.044255 | 1721.6812 | 840.9485 | 1.729 | 2564.3588 | 8076.7355 | 349.8274 | 983.6111 | 8430.4372 | 17840.6111 | 20404.9698 | 903.0212 | 78146.0261 | 2063
45 | 2064 | 0.04116 | 1661.3989 | 882.8468 | 1.6526 | 2545.8983 | 8203.6274 | 349.9144 | 1016.3587 | 8683.7016 | 18253.602 | 20799.5003 | 856.1023 | 79002.1284 | 2064
46 | 2065 | 0.038281 | 1722.5915 | 893.3658 | 1.5762 | 2617.5335 | 8342.5109 | 357.354 | 1049.7404 | 8951.2141 | 18700.8194 | 21318.3529 | 816.0883 | 79818.2167 | 2065
47 | 2066 | 0.035604 | 1782.9335 | 978.8133 | 1.4998 | 2763.2466 | 8497.1092 | 365.0758 | 1087.8832 | 9226.0274 | 19176.0956 | 21939.3422 | 781.1201 | 80599.3368 | 2066
48 | 2067 | 0.033113 | 1717.5261 | 1014.2204 | 1.4234 | 2733.1699 | 8619.8002 | 376.2406 | 1120.776 | 9504.243 | 19621.0598 | 22354.2297 | 740.2266 | 81339.5634 | 2067
49 | 2068 | 0.030798 | 1782.6208 | 1035.6473 | 1.347 | 2819.6151 | 8760.0504 | 385.3143 | 1155.8574 | 9793.1505 | 20094.3727 | 22913.9878 | 705.694 | 82045.2574 | 2068
|  | Total NPV = | 11707.7651 | 2018.0981 | 1300.5771 | 15026.4403 | 43620.5788 | 1912.012 | 5484.6317 | 16001.5946 | 67018.8171 | 82045.2574