## Page 1
Florida Power & Light Company
Docket No. 20220051-EI
Staff's First Set of Interrogatories
Interrogatory No. 6
Attachment 1 of 1
Tab 1 of 2
Voltage Regulators and Phase Reactors
Component | Plan Area | Substation | Feeder Number | T&S Area | Age1
Voltage Regulators | CB | WOODLANDS | 703237 | Broward | 30
| NB | PALM AIRE | 703638 | Broward | 26
| NB | REMSBURG | 705866 | Broward | 8, 7, 25
| SB | DRIFTWOOD | 702035 | Broward | 19, 16, 13
| SB | HIGHLANDS | 703835 | Broward | 22, 22, 23
| SB | PERRY | 702831 | Broward | 28, 16, 28
| SB | VALENCIA | 706265 | Broward | 28
| WB | JOG | 407235 | Palm Beach | 24
| WB | LOXAHATCHEE | 407665 | Palm Beach | 24
| BV | HIELD | 208164 | Central | 24
| BV | PALM BAY | 201635 | Central | 18, 14, 8
| NF | DURBIN | 108963 | North | 6
| TC | GATLIN | 410465 | Central | 16
| TC | OSLO | 402932 | Central | 19
| PN | LIVE OAK GLF | 905922 | NW | 24
| PN | BLACKWATER GLF | 905602 | NW | 32, 32, 36
| PN | BEACH HAVEN GLF | 906072 | NW | 17
| FW | AIRPORT GLF | 908932 | NW | 19, 34, 36
| PN | SCENIC HILL GLF | 907582 | NW | 37
| FW | FORT WALTON GLF | 909492 | NW | 37
Footnote #1 - Voltage Regulators are 3 components per location. Therefore, if only one year is provided, all 3 were installed at the same time.

## Page 2
Florida Power & Light Company
Docket No. 20220051-EI
Staff's First Set of Interrogatories
Interrogatory No. 6
Attachment 1 of 1
Tab 2 of 2
Substation Power Transformers
Component | Substation | TX # | T&S Area | Age
Power TXs | Tomoka | 49-2075 | North | 38
| Caldwell | 49-1682 | Palm Beach | 55
| Port | 49-1278 | Broward | 55
| Payne | 49-1954 | Sarasota | 50
| Navarre | AW3011 | Northwest | 34
| Shalimar | AW327 | Northwest | 58
FPL is replacing 6 Substation Power Transformers. The other Substation Power Transformers are being mitigated by adding additional units (10) to their respective substation.