## TN3 Aug 2020
Florida Power & Light Company
Docket No. 20220001-EI
Staff’s 2nd Set of Interrogatories
Attachment No. I, Interrogatory No. 3
Page 1 of 1
Turkey Point Unit 3
Event Start | Event End | Seq. # | Event Title | MW Loss | Outage Hours | MWh Loss | Replacement Cost ($/MWh) | Replacement Cost ($) | TN3 Fuel Cost ($/MWh) | Nuclear Fuel Cost ($) | Net Replacement Cost ($)
A | B | C | D | E | F = (B - A) * 24 | G = E * F | H = WA $/MWh | I = G * H | J = TN3 $/MWh | K = J * G | L = I - K
2020-08-17 21:13 | 2020-08-19 13:23 | 1 | Unit 3 Manual Rx trip due to high 3C SG level | 837 | 40.1667 | 33619.5 | 14.7618 | 496282.9103 | 4.9871 | 167662.5461 | 328620.3642
2020-08-19 13:23 | 2020-08-20 18:16 | 2 | PTN Unit 3 Automatic Rx trip caused by N-3-31 Source Range Counts | 837 | 28.8833 | 24175.35 | 14.7618 | 356870.6571 | 4.9871 | 120563.9803 | 236306.6768
2020-08-20 18:17 | 2020-08-20 23:54 | 3 | PTN Unit 3 power ascension following Auto Rx trip | 755.44 | 5.6167 | 4243.0547 | 14.7618 | 62634.9446 | 4.9871 | 21160.3786 | 41474.5659
2020-08-20 23:54 | 2020-08-24 13:06 | 4 | Unit 3 Manual Rx Trip due to loss of running SG feed pump | 837 | 85.2 | 71312.4 | 14.7618 | 1052696.3641 | 4.9871 | 355639.3924 | 697056.9717
2020-08-24 13:07 | 2020-08-25 12:00 | 5 | PTN Unit 3 Power ascension following manual Rx trip | 737 | 22.8833 | 16865.0167 | 14.7618 | 248957.2883 | 4.9871 | 84106.8914 | 164850.3969
[5 empty] | 182.75 | 150215.3213 |  |  |  |  | 1468308.9756
August 2020 - A4 Data | [10 empty] | 192828.5385
TN3 Fuel Cost | TN3 Heat Rate
0.46873 | 10639.5389
TN3 $/MWh
4.9871
August 2020 - A3 Data
Fuel | MWh | % Mix | Fuel Cost $ | $/MWh | Demand $ | Rev. Fuel Cost $ | $/MWh | WA $/MWh
Heavy Oil | 2585.82 | 0.02521% | 340645.31 | 131.7359 | 0 | 340645.31 | 131.7359 | 0.033208
Light Oil | 2842.6804 | 0.02771% | 355147.6393 | 124.9341 | 0 | 355147.6393 | 124.9341 | 0.034621
Coal | 183829.9496 | 1.792% | 5989567.43 | 32.5821 | 0 | 5989567.43 | 32.5821 | 0.58389
Gas | 10068810.85 | 98.16% | 232689230.74 | 23.1099 | 87947458.46 | 144741772.28 | 14.3753 | 14.11
Total | 10258069.3 | 100% | 239374591.1193 |  | 87947458.46 | 151427132.6593 |  | 14.7618