## TP4 July 2020
Florida Power & Light Company
Docket No. 20220001-EI
Staff’s 2nd Set of Interrogatories
Attachment No. I, Interrogatory No. 4
Page 1 of 6
Turkey Point Unit 4
Event Start | Event End | Seq. # | Event Title | MW Loss | Outage Hours | MWh Loss | Replacement Cost ($/MWh) | Replacement Cost ($) | TN4 Fuel Cost ($/MWh) | Nuclear Fuel Cost ($) | Net Replacement Cost ($)
A | B | C | D | E | F = (B - A) * 24 | G = E * F | H = WA $/MWh | I = G * H | J = TN4 $/MWh | K = J * G | L = I - K
2020-07-05 21:09 | 2020-07-20 14:54 | 1 | Automatic Rx Trip due to main gen lockout from loss of exciter | 821 | 353.75 | 290428.75 | 11.2998 | 3281797.1092 | 6.4157 | 1863313.2364 | 1418483.8728
2020-07-20 14:55 | 2020-07-21 15:00 | 2 | Automatic Rx Trip due to main gen lockout from loss of exciter | 301.69 | 24.0833 | 7265.7008 | 11.2998 | 82101.2245 | 6.4157 | 46614.7946 | 35486.4298
[5 empty] | 377.8333 | 297694.4508 |  |  |  |  | 1453970.3027
July 2020 - A4 Data | [10 empty] | 92356.2962
TN4 Fuel Cost | TN4 Heat Rate
0.56924 | 11270.6667
TN4 $/MWh
6.4157
July 2020 - A3 Data
Fuel | MWh | % Mix | Fuel Cost $ | $/MWh | Demand $ | Rev. Fuel Cost $ | $/MWh | WA $/MWh
Heavy Oil | 7442.56 | 0.07436% | 967595.97 | 130.0085 | 0 | 967595.97 | 130.0085 | 0.096681
Light Oil | 3893.632 | 0.0389% | 500080.3465 | 128.4354 | 0 | 500080.3465 | 128.4354 | 0.049967
Coal | 185425.268 | 1.853% | 6010505.15 | 32.4147 | 0 | 6010505.15 | 32.4147 | 0.60056
Gas | 9811387.78 | 98.03% | 192410990.29 | 19.611 | 86798731.35 | 105612258.94 | 10.7643 | 10.5526
Total | 10008149.24 | 100% | 199889171.7565 |  | 86798731.35 | 113090440.4065 |  | 11.2998

## TP3 Nov 2020
Florida Power & Light Company
Docket No. 20220001-EI
Staff’s 2nd Set of Interrogatories
Attachment No. I, Interrogatory No. 4
Page 2 of 6
Turkey Point Unit 3
Event Start | Event End | Seq. # | Event Title | MW Loss | Outage Hours | MWh Loss | Replacement Cost ($/MWh) | Replacement Cost ($) | TN3 Fuel Cost ($/MWh) | Nuclear Fuel Cost ($) | Net Replacement Cost ($)
A | B | C | D | E | F = (B - A) * 24 | G = E * F | H = WA $/MWh | I = G * H | J = TN4 $/MWh | K = J * G | L = I - K
2020-11-07 03:18 | 2020-11-21 11:39 | 1 | PTN Unit 3 Unplanned Auto Turbine Runback | 169.83 | 344.35 | 58480.9605 | 19.7597 | 1155566.3015 | 5.1893 | 303476.2343 | 852090.0672
2020-11-21 11:40 | 2020-11-24 01:00 | 2 | PTN Unit 3 downpower to support FBM replacement | 490.7 | 61.3333 | 30096.2667 | 19.7597 | 594693.2346 | 5.1893 | 156179.064 | 438514.1705
[5 empty] | 405.6833 | 88577.2272 |  |  |  |  | 1290604.2377
November 2020 - A4 Data | [10 empty] | 76351.4277
TN3 Fuel Cost | TN3 Heat Rate
0.4773 | 10872.1997
TN3 $/MWh
5.1893
November 2020 - A3 Data
Fuel | MWh | % Mix | Fuel Cost $ | $/MWh | Demand $ | Rev. Fuel Cost $ | $/MWh | WA $/MWh
Heavy Oil | 696.19 | 0.009414% | 92932.01 | 133.4866 | 0 | 92932.01 | 133.4866 | 0.012567
Light Oil | 982.21 | 0.01328% | 170546.0501 | 173.635 | 0 | 170546.0501 | 173.635 | 0.023062
Coal | 166720 | 2.254% | 5184225.79 | 31.0954 | 0 | 5184225.79 | 31.0954 | 0.70103
Gas | 7226805.2 | 97.72% | 218636264.27 | 30.2535 | 77956955.16 | 140679309.11 | 19.4663 | 19.023
Total | 7395203.6 | 100% | 224083968.1201 |  | 77956955.16 | 146127012.9601 |  | 19.7597

## SL2 Jan 2021
Florida Power & Light Company
Docket No. 20220001-EI
Staff’s 2nd Set of Interrogatories
Attachment No. I, Interrogatory No. 4
Page 3 of 6
St. Lucie Unit 2
Event Start | Event End | Seq. # | Event Title | MW Loss | Outage Hours | MWh Loss | Replacement Cost ($/MWh) | Replacement Cost ($) | SL2 Fuel Cost ($/MWh) | Nuclear Fuel Cost ($) | Net Replacement Cost ($)
A | B | C | D | E | F = (B - A) * 24 | G = E * F | H = WA $/MWh | I = G * H | J = SL2 $/MWh | K = J * G | L = I - K
2021-01-14 00:58 | 2021-01-14 08:31 | 1 | 2B2 4KV Breaker Power Reduction | 511.15 | 7.55 | 3859.1825 | 17.7713 | 68582.513 | 4.4323 | 17104.9196 | 51477.5934
2021-01-14 08:31 | 2021-01-14 15:16 | 2 | 2B2 4KV Breaker Shut down | 987 | 6.75 | 6662.25 | 17.7713 | 118396.5379 | 4.4323 | 29528.8576 | 88867.6803
2021-01-14 15:16 | 2021-01-16 06:24 | 3 | 2B2 4KV Breaker Power Ascension | 154.37 | 39.1333 | 6041.0127 | 17.7713 | 107356.3714 | 4.4323 | 26775.3691 | 80581.0023
2021-01-20 18:22 | 2021-01-23 14:28 | 4 | 2B2 Automatic shut down Motor Control Center | 987 | 68.1 | 67214.7 | 17.7713 | 1194489.516 | 4.4323 | 297913.3634 | 896576.1526
2021-01-23 14:28 | 2021-01-24 03:12 | 5 | 2B2 Motor Control Center Power Ascension | 370.61 | 12.7333 | 4719.1007 | 17.7713 | 83864.3373 | 4.4323 | 20916.3048 | 62948.0325
[5 empty] | 134.2667 | 88496.2458 |  |  |  |  | 1180450.4611
January 2021 - A4 Data | [10 empty] | 211004.0546
SL2 Fuel Cost | SL2 Heat Rate
0.4339 | 10215.0485
SL2 $/MWh
4.4323
January 2021 - A3 Data
Fuel | MWh | % Mix | Fuel Cost $ | $/MWh | Demand $ | Rev. Fuel Cost $ | $/MWh | WA $/MWh
Heavy Oil | -1845.5 | -0.03223% | 0 | 0 | 0 | 0 | 0 | 0
Light Oil | 5374.2962 | 0.09385% | 779832.0716 | 145.104 | 0 | 779832.0716 | 145.104 | 0.13618
Coal | 152748.1038 | 2.667% | 1830141.46 | 11.9814 | 0 | 1830141.46 | 11.9814 | 0.3196
Gas | 5570002.9 | 97.27% | 179842135.95 | 32.2876 | 80688935.85 | 99153200.1 | 17.8013 | 17.3155
Total | 5726279.8 | 100% | 182452109.4816 |  | 80688935.85 | 101763173.6316 |  | 17.7713

## TP3 Mar 2021
Florida Power & Light Company
Docket No. 20220001-EI
Staff’s 2nd Set of Interrogatories
Attachment No. I, Interrogatory No. 4
Page 4 of 6
Turkey Point Unit 3
Event Start | Event End | Seq. # | Event Title | MW Loss | Outage Hours | MWh Loss | Replacement Cost ($/MWh) | Replacement Cost ($) | TN3 Fuel Cost ($/MWh) | Nuclear Fuel Cost ($) | Net Replacement Cost ($)
A | B | C | D | E | F = (B - A) * 24 | G = E * F | H = WA $/MWh | I = G * H | J = TN3 $/MWh | K = J * G | L = I - K
2021-03-01 11:08 | 2021-03-04 21:19 | 1 | Automatic trip during reactor protection system testing | 837 | 82.1833 | 68787.45 | 20.6379 | 1419631.9241 | 4.9944 | 343551.5331 | 1076080.3911
2021-03-04 21:20 | 2021-03-05 17:00 | 2 | Automatic trip during reactor protection system power ascension | 306.04 | 19.6667 | 6018.7867 | 20.6379 | 124215.4157 | 4.9944 | 30060.1837 | 94155.232
2021-03-24 19:15 | 2021-03-25 20:00 | 3 | Power reduction due to turbine runback | 94.29 | 24.75 | 2333.6775 | 20.6379 | 48162.3186 | 4.9944 | 11655.3017 | 36507.0169
[5 empty] | 126.6 | 77139.9142 |  |  |  |  | 1206742.6399
March 2021 - A4 Data | [10 empty] | 228766.3772
TN3 Fuel Cost | TN3 Heat Rate
0.48094 | 10384.6789
TN3 $/MWh
4.9944
March 2021 - A3 Data
Fuel | MWh | % Mix | Fuel Cost $ | $/MWh | Demand $ | Rev. Fuel Cost $ | $/MWh | WA $/MWh
Heavy Oil | 7493.02 | 0.1132% | 967309.62 | 129.0948 | 0 | 967309.62 | 129.0948 | 0.1461
Light Oil | 3724.3499 | 0.05625% | 490603.0021 | 131.7285 | 0 | 490603.0021 | 131.7285 | 0.074101
Coal | 167673.2901 | 2.533% | 5388631.34 | 32.1377 | 0 | 5388631.34 | 32.1377 | 0.8139
Gas | 6441823.52 | 97.3% | 212154964.42 | 32.934 | 82363543.02 | 129791421.4 | 20.1482 | 19.6038
Total | 6620714.18 | 100% | 219001508.3821 |  | 82363543.02 | 136637965.3621 |  | 20.6379

## SL1 May 2021
Florida Power & Light Company
Docket No. 20220001-EI
Staff’s 2nd Set of Interrogatories
Attachment No. I, Interrogatory No. 4
Page 5 of 6
St. Lucie Unit 1
Event Start | Event End | Seq. # | Event Title | MW Loss | Outage Hours | MWh Loss | Replacement Cost ($/MWh) | Replacement Cost ($) | SL1 Fuel Cost ($/MWh) | Nuclear Fuel Cost ($) | Net Replacement Cost ($)
A | B | C | D | E | F = (B - A) * 24 | G = E * F | H = WA $/MWh | I = G * H | J = SL1 $/MWh | K = J * G | L = I - K
2021-05-14 00:01 | 2021-05-17 21:32 | 1 | Outage Extension (no power ascension since part of planned outage) | 981 | 93.5167 | 91739.85 | 21.4814 | 1970698.1563 | 4.9399 | 453186.7719 | 1517511.3844
[5 empty] | 93.5167 | 91739.85 |  |  |  |  | 1517511.3844
May 2021 - A4 Data | [10 empty] | 389452.2177
SL1 Fuel Cost | SL1 Heat Rate
0.46624 | 10595.2337
SL1 $/MWh
4.9399
May 2021 - A3 Data
Fuel | MWh | % Mix | Fuel Cost $ | $/MWh | Demand $ | Rev. Fuel Cost $ | $/MWh | WA $/MWh
Heavy Oil | 10933.59 | 0.1294% | 1449516.69 | 132.5746 | 0 | 1449516.69 | 132.5746 | 0.1715
Light Oil | 8988.2312 | 0.1063% | 1242012.9303 | 138.1821 | 0 | 1242012.9303 | 138.1821 | 0.14695
Coal | 179097.5088 | 2.119% | 10707124.52 | 59.7838 | 0 | 10707124.52 | 59.7838 | 1.2668
Gas | 8253106.17 | 97.65% | 252830399.7 | 30.6346 | 84665773.11 | 168164626.59 | 20.3759 | 19.8961
Total | 8452125.5 | 100% | 266229053.8403 |  | 84665773.11 | 181563280.7303 |  | 21.4814

## TP3 Aug 2021
Florida Power & Light Company
Docket No. 20220001-EI
Staff’s 2nd Set of Interrogatories
Attachment No. I, Interrogatory No. 4
Page 6 of 6
Turkey Point Unit 3
Event Start | Event End | Seq. # | Event Title | MW Loss | Outage Hours | MWh Loss | Replacement Cost ($/MWh) | Replacement Cost ($) | TN3 Fuel Cost ($/MWh) | Nuclear Fuel Cost ($) | Net Replacement Cost ($)
A | B | C | D | E | F = (B - A) * 24 | G = E * F | H = WA $/MWh | I = G * H | J = TN3 $/MWh | K = J * G | L = I - K
2021-08-05 01:30 | 2021-08-13 21:59 | 1 | Unplanned power reduction due to Turbine Control Valve Auto Close | 249.63 | 212.4833 | 53042.2145 | 28.4619 | 1509679.9725 | 5.3814 | 285444.0063 | 1224235.9661
2021-08-13 22:00 | 2021-08-16 19:38 | 2 | Shutdown to repair Turbine Control Valve | 837 | 69.6333 | 58283.1 | 28.4619 | 1658845.3109 | 5.3814 | 313647.5677 | 1345197.7432
2021-08-16 19:39 | 2021-08-17 23:00 | 3 | Turbine Control Valve Power Ascension | 312.75 | 27.35 | 8553.7125 | 28.4619 | 243454.5498 | 5.3814 | 46031.3731 | 197423.1767
[5 empty] | 309.4667 | 119879.027 |  |  |  |  | 2766856.886
August 2021 - A4 Data | [10 empty] | 214577.4405
TN3 Fuel Cost | TN3 Heat Rate
0.49678 | 10832.7336
TN3 $/MWh
5.3814
August 2021 - A3 Data
Fuel | MWh | % Mix | Fuel Cost $ | $/MWh | Demand $ | Rev. Fuel Cost $ | $/MWh | WA $/MWh
Heavy Oil | 2246.26 | 0.02231% | 314780.7365 | 140.1355 | 0 | 314780.7365 | 140.1355 | 0.031259
Light Oil | 3425.2412 | 0.03401% | 446656.4818 | 130.4015 | 0 | 446656.4818 | 130.4015 | 0.044355
Coal | 151046.5388 | 1.5% | 5557391.49 | 36.7926 | 0 | 5557391.49 | 36.7926 | 0.55187
Gas | 9913334.21 | 98.44% | 365832639.5504 | 36.9031 | 85539071.95 | 280293567.6004 | 28.2744 | 27.8344
Total | 10070052.25 | 100% | 372151468.2588 |  | 85539071.95 | 286612396.3088 |  | 28.4619