## Schedule 7.1
Florida Power & Light Company
Docket No. 20240012-EG
Staff’s Fourth Set of Interrogatories
Interrogatory No. 83
Attachment 2 of 3
Tab 1 of 2
Schedule 7.1
Forecast of Capacity, Demand, and Scheduled
Maintenance At Time Of Summer Peak
-1 | -2 | -3 | -4 | -5 | -6 | -7 | -8 | -9 | -10 | -11 | -12 | -13 | -14 | -15 | -16
[5 empty] | Total |  |  | Firm | Total |  |  | Total |  | Generation Only
| Firm | Firm | Firm |  | Firm | Total |  | Summer | Reserve |  |  | Reserve |  | Reserve
| Installed | Capacity | Capacity | Firm | Capacity | Peak |  | Peak | Margin Before |  | Scheduled | Margin After |  | Margin After
August of | Capacity | Import | Export | QF | Available | Demand | DSM | Demand | Maintenance |  | Maintenance | Maintenance |  | Maintenance
Year | MW | MW | MW | MW | MW | MW | MW | MW | MW | % of Peak | MW | MW | % of Peak | MW | % of Peak
2023 | 31394.2963 | 239.97 | 0 | 3.5 | 31637.7663 | 27740.022 | 1794.6662 | 25945.3558 | 5692.4105 | 21.94 | 0 | 5692.4105 | 21.94 | 3897.7443 | 14.051
2024 | 31751.7835 | 239.72 | 0 | 3.5 | 31995.0035 | 27991.4372 | 1822.0289 | 26169.4083 | 5825.5952 | 22.2611 | 0 | 5825.5952 | 22.2611 | 4003.5663 | 14.3028
2025 | 32195.5372 | 239.49 | 0 | 3.5 | 32438.5272 | 28249.8938 | 1846.6802 | 26403.2136 | 6035.3136 | 22.8583 | 0 | 6035.3136 | 22.8583 | 4188.6334 | 14.8271
2026 | 32717.4456 | 239.23 | 0 | 3.5 | 32960.1756 | 28596.2569 | 1870.6802 | 26725.5767 | 6234.5988 | 23.3282 | 0 | 6234.5988 | 23.3282 | 4363.9187 | 15.2605
2027 | 32865.948 | 239 | 0 | 0 | 33104.948 | 28830.6593 | 1897.6802 | 26932.9791 | 6171.9689 | 22.916 | 0 | 6171.9689 | 22.916 | 4274.2887 | 14.8255
2028 | 32994.065 | 238.76 | 0 | 0 | 33232.825 | 29168.9202 | 1928.6802 | 27240.24 | 5992.585 | 21.999 | 0 | 5992.585 | 21.999 | 4063.9048 | 13.9323
2029 | 33025.213 | 238.51 | 0 | 0 | 33263.723 | 29681.4796 | 1961.6802 | 27719.7994 | 5543.9236 | 19.9999 | 0 | 5543.9236 | 19.9999 | 3582.2434 | 12.069
2030 | 33612.9729 | 238.28 | 0 | 0 | 33851.2529 | 30205.0832 | 1995.6802 | 28209.403 | 5641.8499 | 19.9999 | 0 | 5641.8499 | 19.9999 | 3646.1697 | 12.0714
2031 | 34101.9058 | 238.05 | 0 | 0 | 34339.9558 | 30646.2998 | 2029.6802 | 28616.6197 | 5723.3362 | 20 | 0 | 5723.3362 | 20 | 3693.656 | 12.0525
2032 | 34702.7383 | 197.8 | 0 | 0 | 34900.5383 | 31147.3919 | 2063.6802 | 29083.7117 | 5816.8266 | 20.0003 | 0 | 5816.8266 | 20.0003 | 3753.1465 | 12.0496
2033 | 37097.8415 | 197.57 | 0 | 0 | 37295.4115 | 31701.0189 | 2063.6802 | 29637.3388 | 7658.0727 | 25.8393 | 0 | 7658.0727 | 25.8393 | 5594.3925 | 17.6474
2034 | 37082.4176 | 127.34 | 0 | 0 | 37209.7576 | 32292.3637 | 2063.6802 | 30228.6835 | 6981.074 | 23.0942 | 0 | 6981.074 | 23.0942 | 4917.3938 | 15.2277
Col. (2) represents capacity additions and changes projected to be in-service by June 1st. These MW are generally considered to be available to meet summer
peak loads which are forecasted to occur during August of the year indicated.
Col. (6) = Col.(2) + Col.(3) - Col(4) + Col(5).
Col.(7) reflects the 2023 load forecast without incremental DSM or cumulative load management.
Col.(8) represents cumulative load management capability, plus incremental conservation and load management, from 9/2022-on intended for use with the
2023 load forecast.
Col.(10) = Col.(6) - Col.(9)
Col.(11) = Col.(10) / Col.(9)
Col.(12) indicates the capacity of units projected to be out-of-service for planned maintenance during the summer peak period.
Col.(13) = Col.(10) - Col.(12)
Col.(14) = Col.(13) / Col.(9)
Col.(15) = Col.(6) - Col.(7) - Col.(12)
Col.(16) = Col.(15) / Col.(7)

## Schedule 7.2
Florida Power & Light Company
Docket No. 20240012-EG
Staff’s Fourth Set of Interrogatories
Interrogatory No. 83
Attachment 2 of 3
Tab 2 of 2
Schedule 7.2
Forecast of Capacity, Demand, and Scheduled
Maintenance At Time Of Winter Peak
-1 | -2 | -3 | -4 | -5 | -6 | -7 | -8 | -9 | -10 | -11 | -12 | -13 | -14 | -15 | -16
[5 empty] | Total |  |  | Firm | Total |  |  | Total |  | Generation Only
| Firm | Firm | Firm |  | Firm | Total |  | Summer | Reserve |  |  | Reserve |  | Reserve
| Installed | Capacity | Capacity | Firm | Capacity | Peak |  | Peak | Margin Before |  | Scheduled | Margin After |  | Margin After
January of | Capacity | Import | Export | QF | Available | Demand | DSM | Demand | Maintenance |  | Maintenance | Maintenance |  | Maintenance
Year | MW | MW | MW | MW | MW | MW | MW | MW | MW | % of Peak | MW | MW | % of Peak | MW | % of Peak
2023 | 30099.8681 | 1104 | 0 | 3.5 | 31207.3681 | 22638.2727 | 1355 | 21283.2727 | 9924.0955 | 46.6286 | 0 | 9924.0955 | 46.6286 | 8569.0955 | 37.8522
2024 | 29852.4737 | 219 | 0 | 3.5 | 30074.9737 | 22941.797 | 1378 | 21563.797 | 8511.1766 | 39.4697 | 0 | 8511.1766 | 39.4697 | 7133.1766 | 31.0925
2025 | 29910.527 | 219 | 0 | 3.5 | 30133.027 | 23172.0587 | 1400 | 21772.0587 | 8360.9683 | 38.4023 | 0 | 8360.9683 | 38.4023 | 6960.9683 | 30.0404
2026 | 29999.1437 | 219 | 0 | 3.5 | 30221.6437 | 23509.138 | 1428 | 22081.138 | 8140.5057 | 36.8663 | 0 | 8140.5057 | 36.8663 | 6712.5057 | 28.5528
2027 | 29928.6135 | 219 | 0 | 0 | 30147.6135 | 23755.6807 | 1458 | 22297.6807 | 7849.9327 | 35.2052 | 0 | 7849.9327 | 35.2052 | 6391.9327 | 26.907
2028 | 29888.0848 | 219 | 0 | 0 | 30107.0848 | 24098.1283 | 1493 | 22605.1283 | 7501.9565 | 33.187 | 0 | 7501.9565 | 33.187 | 6008.9565 | 24.9354
2029 | 29805.6088 | 219 | 0 | 0 | 30024.6088 | 24484.5276 | 1530 | 22954.5276 | 7070.0812 | 30.8004 | 0 | 7070.0812 | 30.8004 | 5540.0812 | 22.6269
2030 | 30368.9358 | 219 | 0 | 0 | 30587.9358 | 24860.2787 | 1569 | 23291.2787 | 7296.6571 | 31.3279 | 0 | 7296.6571 | 31.3279 | 5727.6571 | 23.0394
2031 | 30872.0649 | 219 | 0 | 0 | 31091.0649 | 25273.9477 | 1609 | 23664.9477 | 7426.1172 | 31.3802 | 0 | 7426.1172 | 31.3802 | 5817.1172 | 23.0163
2032 | 31674.3501 | 219 | 0 | 0 | 31893.3501 | 25735.0835 | 1648 | 24087.0835 | 7806.2666 | 32.4085 | 0 | 7806.2666 | 32.4085 | 6158.2666 | 23.9295
2033 | 34113.0008 | 179 | 0 | 0 | 34292.0008 | 26210.355 | 1648 | 24562.355 | 9729.6459 | 39.612 | 0 | 9729.6459 | 39.612 | 8081.6459 | 30.8338
2034 | 34112.4816 | 179 | 0 | 0 | 34291.4816 | 26698.6108 | 1648 | 25050.6108 | 9240.8708 | 36.8888 | 0 | 9240.8708 | 36.8888 | 7592.8708 | 28.4392
Col. (2) represents capacity additions and changes projected to be in-service by Jan 1st. These MW are generally considered to be available to meet winter
peak loads which are forecasted to occur during January of the year indicated.
Col. (6) = Col.(2) + Col.(3) - Col(4) + Col(5).
Col.(7) reflects the 2023 load forecast without incremental DSM or cumulative load management.
Col.(8) represents cumulative load management capability, plus incremental conservation and load management, from 9/2022-on intended for use with the
2023 load forecast.
Col.(10) = Col.(6) - Col.(9)
Col.(11) = Col.(10) / Col.(9)
Col.(12) indicates the capacity of units projected to be out-of-service for planned maintenance during the summer peak period.
Col.(13) = Col.(10) - Col.(12)
Col.(14) = Col.(13) / Col.(9)
Col.(15) = Col.(6) - Col.(7) - Col.(12)
Col.(16) = Col.(15) / Col.(7)