## Schedule 9
Florida Power & Light Company
Docket No. 20240012-EG
Staff’s Fourth Set of Interrogatories
Interrogatory No. 83
Attachment 3 of 3
Tab 1 of 2
Schedule 9
Status Report and Specifications of Proposed Generating Facilities
| -1 | Plant Name and Unit Number: |  | Unsited Battery Storage
| -2 | Capacity
|  | a. Nameplate (AC) | 800 | MW
|  | b. Summer Firm (AC) | 475 | MW
|  | c. Winter Firm (AC) | 800 | MW
| -3 | Technology Type: | Battery
| -4 | Anticipated Construction Timing
|  | a. Field construction start-date: |  | 2031
|  | b. Commercial In-service date: |  | 2032
| -5 | Fuel
|  | a. Primary Fuel |  |  | Not applicable
|  | b. Alternate Fuel |  |  | Not applicable
| -6 | Air Pollution and Control Strategy: |  |  | Not applicable
| -7 | Cooling Method: |  | Not applicable
| -8 | Total Site Area: |  | TBD | Acres
| -9 | Construction Status: |  | P | (Planned Unit)
| -10 | Certification Status: |  | ---
| -11 | Status with Federal Agencies: |  | ---
| -12 | Projected Unit Performance Data:
|  | Planned Outage Factor (POF): |  |  | Not applicable
|  | Forced Outage Factor (FOF): |  |  | Not applicable
|  | Equivalent Availability Factor (EAF): |  |  | Not applicable
|  | Resulting Capacity Factor (%): |  |  | TBD | (First Full Year Operation)
|  | Average Net Operating Heat Rate (ANOHR): |  |  | Not applicable
Base Operation 75F,100%
|  | Average Net Incremental Heat Rate (ANIHR): |  |  | Not applicable
Peak Operation 75F,100%
| -13 | Projected Unit Financial Data *
|  | Book Life (Years): |  |  | 20 | years
|  | Total Installed Cost (2032 $/kW): |  |  | 1015.9419
|  | Direct Construction Cost ($/kW): |  |  | 1015.9419
|  | AFUDC Amount (2032 $/kW): |  |  | TBD
|  | Escalation ($/kW): |  |  | TBD
|  | Fixed O&M ($/kW-Yr.): | (2032 $) |  | 14.61 | (First Full Year Operation)
|  | Variable O&M ($/MWH): | (2032 $) |  | TBD
|  | K Factor: |  |  | TBD
* $/kW values are based on nameplate capacity.
Note: Total installed cost includes transmission interconnection and AFUDC.
| 1/ | The value shown represents FPL’s current projection of the firm capacity of this battery storage after the net load of the
system and other battery storage being discharged. Because battery storage "flattens" the peak period, the firm capacity
value of storage decreases as more battery storage is added to the system.
FPL will continue to analyze the projected impacts of increasing amounts of battery storage in its on-going resource planning work.

## PSC Form CE 2.1
Florida Power & Light Company
Docket No. 20240012-EG
Staff’s Fourth Set of Interrogatories
Interrogatory No. 83
Attachment 3 of 3
Tab 2 of 2
|  |  | AVOIDED GENERATING BENEFITS |  |  |  | PSC FORM CE 2.1
|  |  | PROGRAM METHOD SELECTED: REV_REQ |  |  |  | PAGE 1 OF 1
|  | PROGRAM NAME: | 2032 Battery Avoided Unit
| (2) | (3) | (4) | (5) | (6) | (7)
AVOIDED
| GEN UNIT | AVOIDED | AVOIDED | AVOIDED |  | AVOIDED
| CAPACITY | GEN UNIT | GEN UNIT | GEN UNIT | REPLACEMENT | GEN UNIT
| COST | FIXED O&M | VARIABLE O&M | FUEL COST | FUEL COST | BENEFITS
YEAR | $(000) | $(000) | $(000) | $(000) | $(000) | $(000)
2023 | 0 | 0 | 0 | 0 | 0 | 0
2024 | 0 | 0 | 0 | 0 | 0 | 0
2025 | 0 | 0 | 0 | 0 | 0 | 0
2026 | 0 | 0 | 0 | 0 | 0 | 0
2027 | 0 | 0 | 0 | 0 | 0 | 0
2028 | 0 | 0 | 0 | 0 | 0 | 0
2029 | 0 | 0 | 0 | 0 | 0 | 0
2030 | 0 | 0 | 0 | 0 | 0 | 0
2031 | 0 | 0 | 0 | 0 | 0 | 0
2032 | 193.6347 | 18.8151 | 0 | 0 | 89.6369 | 122.8129
2033 | 180.4931 | 19.2855 | 0 | 0 | 56.0716 | 143.707
2034 | 167.4699 | 19.7676 | 0 | 0 | 124.4043 | 62.8333
2035 | 157.4803 | 20.2618 | 0 | 0 | 89.8033 | 87.9387
2036 | 148.6281 | 20.7684 | 0 | 0 | 68.4251 | 100.9713
2037 | 140.6291 | 21.2876 | 0 | 0 | 24.7255 | 137.1911
2038 | 134.3364 | 21.8198 | 0 | 0 | 99.2904 | 56.8657
2039 | 128.8968 | 22.3652 | 0 | 0 | 2.4411 | 148.8209
2040 | 123.4572 | 22.9244 | 0 | 0 | 61.786 | 84.5956
2041 | 118.0177 | 23.4975 | 0 | 0 | 65.3737 | 76.1415
2042 | 112.5781 | 24.0849 | 0 | 0 | 56.1641 | 80.499
2043 | 107.1386 | 24.687 | 0 | 0 | 71.0327 | 60.793
2044 | 101.699 | 25.3042 | 0 | 0 | 65.5402 | 61.4631
2045 | 96.2595 | 25.9368 | 0 | 0 | 64.708 | 57.4883
2046 | 90.8199 | 26.5852 | 0 | 0 | 68.2402 | 49.165
2047 | 85.3803 | 27.2499 | 0 | 0 | 103.9692 | 8.661
2048 | 79.9408 | 27.9311 | 0 | 0 | 38.3366 | 69.5353
2049 | 75.4847 | 28.6294 | 0 | 0 | 116.3967 | -12.2825
2050 | 71.0287 | 29.3451 | 0 | 0 | 131.7461 | -31.3722
2051 | 66.5727 | 30.0788 | 0 | 0 | 39.0208 | 57.6307
NOM | 2379.9456 | 480.6254 | 0 | 0 | 1437.1123 | 1423.4586
NPV | 705.4711 | 118.0789 | 0 | 0 | 376.7104 | 446.8396