## CostEff Summary
FPL 003331
Docket No. 20240012-EG
|  | Residential HVAC Measures | [5 empty] | Residential HVAC Measures w/ AC Shed
|  | Central AC - ENERGY STAR/CEE Tier 1: 16 SEER/15.2 SEER2 | Central AC - CEE Tier 2: 16.8 SEER/16 SEER2 | Central AC - CEE Advanced Tier: 17.8 SEER/17 SEER2 | Central AC - 24 SEER/22.9 SEER2 | Residential On-Call - AC Shed |  | 16 SEER + ROC | 16.8 SEER + ROC | 17.8 SEER + ROC | 24 SEER + ROC
| Summer kW Reduction: | 0.127 | 0.218 | 0.32 | 0.764 | 2.4061 |  | 2.5331 | 2.6241 | 2.7261 | 3.1701
| Winter kW Reduction: | 0.001 | 0.001 | 0.002 | 0.004 | 2.9132 |  | 2.9142 | 2.9142 | 2.9152 | 2.9172
| Annual kWh Reduction: | 305.94 | 524.47 | 770.02 | 1835.66 | 2.31 |  | 308.25 | 526.78 | 772.33 | 1837.97
| Incremental Cost: | 408 | 2280 | 3414 | 10008 | 0 |  | 408 | 2280 | 3414 | 10008
| Life of Measure: | 18 | 18 | 18 | 18 | 40
Participation:
| 2025 | 300 | 300 | 300 | 300 | 300 |  | 300 | 300 | 300 | 300
| 2026 | 500 | 500 | 500 | 500 | 500 |  | 500 | 500 | 500 | 500
| 2027 | 750 | 750 | 750 | 750 | 750 |  | 750 | 750 | 750 | 750
| 2028 | 825 | 825 | 825 | 825 | 825 |  | 825 | 825 | 825 | 825
| 2029 | 908 | 908 | 908 | 908 | 908 |  | 908 | 908 | 908 | 908
| 2030 | 998 | 998 | 998 | 998 | 998 |  | 998 | 998 | 998 | 998
| 2031 | 1098 | 1098 | 1098 | 1098 | 1098 |  | 1098 | 1098 | 1098 | 1098
| 2032 | 1208 | 1208 | 1208 | 1208 | 1208 |  | 1208 | 1208 | 1208 | 1208
Benefits CPVRR $(000):
| Avoided Gen Unit Capacity Cost | 602.8136 | 1034.1515 | 1518.4657 | 3624.6886 | 13841.5624 |  | 14444.376 | 14875.7139 | 15360.0281 | 17466.2509
| Avoided Gen Unit Fixed O&M | 114.9131 | 197.1381 | 289.4619 | 690.9667 | 2638.5877 |  | 2753.5008 | 2835.7258 | 2928.0496 | 3329.5544
| Avoided Gen Unit Variable O&M | 5.4512 | 9.3517 | 13.7313 | 32.7775 | 125.1673 |  | 130.6184 | 134.5189 | 138.8985 | 157.9448
| Avoided Gen Unit Fuel Cost | 2820.9977 | 4839.5377 | 7105.9915 | 16962.5211 | 64774.6113 |  | 67595.6091 | 69614.1491 | 71880.6028 | 81737.1324
| Replacement Fuel Cost | -3101.8232 | -5321.3055 | -7813.3809 | -18651.1111 | -71222.8134 |  | -74324.6367 | -76544.1189 | -79036.1943 | -89873.9246
| Avoided Transmission Cap Cost | 423.1448 | 725.9224 | 1065.8866 | 2544.3491 | 0 |  | 423.1448 | 725.9224 | 1065.8866 | 2544.3491
| Avoided Transmission O&M Cost | 40.1229 | 68.8325 | 101.0682 | 241.2571 | 0 |  | 40.1229 | 68.8325 | 101.0682 | 241.2571
| Avoided Distribution Cap Cost | 132.4503 | 227.224 | 333.6376 | 796.4172 | 0 |  | 132.4503 | 227.224 | 333.6376 | 796.4172
| Avoided Distribution O&M Cost | 40.3735 | 69.2624 | 101.6994 | 242.764 | 0 |  | 40.3735 | 69.2624 | 101.6994 | 242.764
| Program Fuel Savings | 985.4543 | 1689.3548 | 2480.2886 | 5912.7901 | 7.3305 |  | 992.7848 | 1696.6853 | 2487.6192 | 5920.1207
| Program Off-Peak Payback | 0 | 0 | 0 | 0 | -3.6438 |  | -3.6438 | -3.6438 | -3.6438 | -3.6438
| Avoided Gen Unit Emission Benefit | 471.0009 | 808.0215 | 1186.4343 | 2832.1054 | 10814.9328 |  | 11285.9337 | 11622.9543 | 12001.3671 | 13647.0382
| Replacement Emission Cost | -529.3636 | -908.145 | -1333.4478 | -3183.0373 | -12155.0329 |  | -12684.3965 | -13063.1779 | -13488.4807 | -15338.0702
| Program Emission Benefit | 159.1176 | 272.7738 | 400.4829 | 954.7161 | 1.2014 |  | 160.319 | 273.9752 | 401.6843 | 955.9175
| Off-Peak Emissions Payback Cost | 0 | 0 | 0 | 0 | -0.6752 |  | -0.6752 | -0.6752 | -0.6752 | -0.6752
| Total RIM and TRC Benefits = | 2164.6531 | 3712.1199 | 5450.3193 | 13001.2045 | 8821.228 |  | 10985.8811 | 12533.3479 | 14271.5474 | 21822.4325
Costs CPVRR $(000):
| Utility Program Cost | 0 | 0 | 0 | 0 | 1180.0468 |  | 1180.0468 | 1180.0468 | 1180.0468 | 1180.0468
| Participant Equipment Costs | 3012.6749 | 16835.5362 | 25209.0002 | 73899.1429 | 0 |  | 3012.6749 | 16835.5362 | 25209.0002 | 73899.1429
| Incentive Cost | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
| Savings in Participants Bills | 3802.0043 | 6517.7395 | 9569.2599 | 22812.2745 | 12.5737 |  | 3814.578 | 6530.3131 | 9581.8336 | 22824.8482
| Energy Charge Revenue Losses | 2889.5233 | 4953.482 | 7272.6375 | 17337.3287 | 9.556 |  | 2899.0793 | 4963.038 | 7282.1935 | 17346.8846
| Demand Charge Revenue Losses | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
| IT Costs | 0 | 0 | 0 | 0 | 2503.1379 |  | 2503.1379 | 2503.1379 | 2503.1379 | 2503.1379
| Total RIM Costs = | 2889.5233 | 4953.482 | 7272.6375 | 17337.3287 | 1189.6028 |  | 6582.264 | 8646.2227 | 10965.3783 | 21030.0694
| Total TRC Costs = | 3012.6749 | 16835.5362 | 25209.0002 | 73899.1429 | 1180.0468 |  | 3012.6749 | 16835.5362 | 25209.0002 | 73899.1429
| Total Participant Benefits = | 3802.0043 | 6517.7395 | 9569.2599 | 22812.2745 | 4839.1761 |  | 3814.578 | 6530.3131 | 9581.8336 | 22824.8482
| RIM Ratio = | 0.74914 | 0.7494 | 0.74943 | 0.7499 | 7.4153 |  | 1.669 | 1.4496 | 1.3015 | 1.0377
| TRC Ratio = | 0.71852 | 0.22049 | 0.21621 | 0.17593 | 7.4753 |  | 3.6466 | 0.74446 | 0.56613 | 0.2953
| Participant Test Ratio = | 1.262 | 0.38714 | 0.3796 | 0.30869 | --- |  | 1.2662 | 0.38789 | 0.3801 | 0.30886
[7 empty] | CPVRR Differential: | 4403617.1099 | 3887125.2027 | 3306169.0885 | 792363.1307

## IT Costs
FPL 003332
Docket No. 20240012-EG
| CPVRR: | 2503137.945
| 2023 | 0
| 2024 | 0
| 2025 | 2000000
| 2026 | 1000000
| 2027 | 0

## Payments
FPL 003333
Docket No. 20240012-EG
|  | One-time Payment: |  | Annual Payment: | Monthly Payment: | Cost-Effectiveness Results: | 16 SEER + ROC | 16.8 SEER + ROC | 17.8 SEER + ROC | 24 SEER + ROC
|  | 231.5435 |  | 32.2502 | 2.6875 | CPVRR Differential: | 4403617.1099 | 3887125.2027 | 3306169.0885 | 792363.1307
NPV: |  | 1736602 |  | 1736602 |  | CPVRR Differential for RIM = 1.01: | 4360016.9405 | 3848638.8146 | 3273434.7411 | 784517.9511
| Participant Signups | Payments | Cumulative Part. | Payments
2023 | 0 | 0 | 0 | 0 |  | One-time Payment at Signup: | 581.327 | 513.1443 | 436.4516 | 104.6009
2024 | 0 | 0 | 0 | 0 |  | Annual Payment: | 80.9694 | 71.4726 | 60.7906 | 14.5692
2025 | 300 | 69463.0543 | 300 | 9675.0717 |  | Monthly Payment: | 6.7474 | 5.9561 | 5.0659 | 1.2141
2026 | 500 | 115771.7572 | 800 | 25800.1911
2027 | 750 | 173657.6358 | 1550 | 49987.8702
2028 | 825 | 191023.3993 | 2375 | 76594.3173
2029 | 908 | 210241.511 | 3283 | 105877.5342
2030 | 998 | 231080.4273 | 4281 | 138063.2726
2031 | 1098 | 254234.7788 | 5379 | 173474.0348
2032 | 1208 | 279704.5654 | 6587 | 212432.3234
2033 | 0 | 0 | 6587 | 212432.3234
2034 | 0 | 0 | 6587 | 212432.3234
2035 | 300 | 69463.0543 | 6587 | 212432.3234
2036 | 500 | 115771.7572 | 6587 | 212432.3234
2037 | 750 | 173657.6358 | 6587 | 212432.3234
2038 | 825 | 191023.3993 | 6587 | 212432.3234
2039 | 908 | 210241.511 | 6587 | 212432.3234
2040 | 998 | 231080.4273 | 6587 | 212432.3234
2041 | 1098 | 254234.7788 | 6587 | 212432.3234
2042 | 1208 | 279704.5654 | 6587 | 212432.3234
2043 | 0 | 0 | 6587 | 212432.3234
2044 | 0 | 0 | 6587 | 212432.3234
2045 | 300 | 69463.0543 | 6587 | 212432.3234
2046 | 500 | 115771.7572 | 6587 | 212432.3234
2047 | 750 | 173657.6358 | 6587 | 212432.3234
2048 | 825 | 191023.3993 | 6587 | 212432.3234
2049 | 908 | 210241.511 | 6587 | 212432.3234
2050 | 998 | 231080.4273 | 6587 | 212432.3234
2051 | 1098 | 254234.7788 | 6587 | 212432.3234
2052 | 1208 | 279704.5654 | 6587 | 212432.3234
2053 | 0 | 0 | 6587 | 212432.3234
2054 | 0 | 0 | 6587 | 212432.3234
2055 | 300 | 69463.0543 | 6587 | 212432.3234
2056 | 500 | 115771.7572 | 6587 | 212432.3234
2057 | 750 | 173657.6358 | 6587 | 212432.3234
2058 | 825 | 191023.3993 | 6587 | 212432.3234
2059 | 908 | 210241.511 | 6587 | 212432.3234
2060 | 998 | 231080.4273 | 6587 | 212432.3234
2061 | 1098 | 254234.7788 | 6587 | 212432.3234
2062 | 1208 | 279704.5654 | 6587 | 212432.3234
2063 | 0 | 0 | 6587 | 212432.3234
2064 | 0 | 0 | 6587 | 212432.3234
2065 | 300 | 69463.0543 | 6587 | 212432.3234
2066 | 500 | 115771.7572 | 6587 | 212432.3234
2067 | 750 | 173657.6358 | 6587 | 212432.3234
2068 | 825 | 191023.3993 | 6587 | 212432.3234
2069 | 908 | 210241.511 | 6587 | 212432.3234
2070 | 998 | 231080.4273 | 6587 | 212432.3234
2071 | 1098 | 254234.7788 | 6587 | 212432.3234
2072 | 1208 | 279704.5654 | 6587 | 212432.3234
2073 | 0 | 0 | 6587 | 212432.3234
2074 | 0 | 0 | 6587 | 212432.3234
2075 | 300 | 69463.0543 | 6587 | 212432.3234
2076 | 500 | 115771.7572 | 6587 | 212432.3234
2077 | 750 | 173657.6358 | 6587 | 212432.3234
2078 | 825 | 191023.3993 | 6587 | 212432.3234
2079 | 908 | 210241.511 | 6587 | 212432.3234
2080 | 998 | 231080.4273 | 6587 | 212432.3234
2081 | 1098 | 254234.7788 | 6587 | 212432.3234
2082 | 1208 | 279704.5654 | 6587 | 212432.3234