## Resource Plans
FPL 000008
20240012-EG
2024 Ten Year Site Plan - TRC Plan
Common to all Plans Retirements / Additions | Year | 2024 TYSP 522 MW Battery NW FL 2,235 MW Solar 2026 - 2033 Min. 300 MW Battery 2027 - 2033 | Summer RM%
+72 MW GE Upgrades Daniel 1&2 (502 MW) | 2024 | 894 MW SoBRA 745 MW SolarTogether Extension | 22.6657
+6 MW GE Upgrades +29 MW OCEC Rotor Upgrade 522 MW Battery NW FL 12/01/25 COD Pea Ridge (12 MW) Crist 4 (75MW) | 2025 | 894 MW SoBRA 596 MW Solar Together Extension | 23.6251
-- | 2026 | 522 MW Battery NWFL 2,235 MW Solar | 25.7108
+20 MW GE Upgrades Broward South (4 MW) Crist 5 (75 MW) | 2027 | 2,235 MW Solar 300 MW Battery | 26.1465
Lansing Smith 3A (32 MW) | 2028 | 2,235 MW Solar 300 MW Battery | 25.9102
Scherer 3 (215 MW) | 2029 | 2,235 MW Solar 300 MW Battery | 24.9665
Perdido 1&2 (3 MW) | 2030 | 2,235 MW Solar 300 MW Battery | 24.5886
-- | 2031 | 2,235 MW Solar 300 MW Battery | 23.8987
| 2032 | 2,235 MW Solar 300 MW Battery | 22.1336
| 2033 | 2,235 MW Solar 300 MW Battery | 20.6287
Manatee 1-2 (1,590 MW) | 2034 | 3x1 Martin CC, (1,991 MW) 2,300 MW Battery | 27.2857
--- | 2035 | -- | 24.4715
Kingfisher PPA (81 MW) | 2036 | -- | 21.4839
--- | 2037 | 1 x 660 MW Filler | 20.9971
--- | 2038 | 1 x 660 MW Filler | 20.5913
--- | 2039 | 1 x 660 MW Filler | 20.326
--- | 2040 | 1 x 660 MW Filler | 20.2255
--- | 2041 | 1 x 660 MW Filler | 20.8119
--- | 2042 | 1 x 660 MW Filler | 21.4687
--- | 2043 | -- | 20.0536
--- | 2044 | 1 x 660 MW Filler | 20.6809
--- | 2045 | 1 x 660 MW Filler | 21.2816
--- | 2046 | -- | 20
--- | 2047 | 1 x 660 MW Filler | 20.5732
--- | 2048 | 1 x 660 MW Filler | 21.1217
--- | 2049 | 1 x 660 MW Filler | 21.6463
--- | 2050 | -- | 20.3639
--- | 2051 | 1 x 660 MW Filler | 20.8623
Turkey Point 3 (837 MW) | 2052 | 2 x 660 MW Filler | 20.8683
Turkey Point 4 (841 MW) | 2053 | 2 x 660 MW Filler | 20.8444
--- | 2054 | 1 x 660 MW Filler | 21.2853
--- | 2055 | -- | 20.0108
St. Lucie 1 (981 MW) | 2056 | 3 x 660 MW Filler | 21.2882
--- | 2057 | -- | 20.0151
--- | 2058 | 1 x 660 MW Filler | 20.399
--- | 2059 | 1 x 660 MW Filler | 20.7629
--- | 2060 | 1 x 660 MW Filler | 21.1069
--- | 2061 | 1 x 660 MW Filler | 21.4308
--- | 2062 | -- | 20.1592
St. Lucie 2 (840 MW) | 2063 | 2 x 660 MW Filler | 20.0377
--- | 2064 | 1 x 660 MW Filler | 20.3267
--- | 2065 | 1 x 660 MW Filler | 20.5978
--- | 2066 | 1 x 660 MW Filler | 20.851
--- | 2067 | 1 x 660 MW Filler | 21.0866
--- | 2068 | 1 x 660 MW Filler | 21.3061
--- | 2069 | -- | 20.04
--- | 2070 | 1 x 660 MW Filler | 20.241
Nameplate Solar Additions (2024-2033): |  | 21009
Storage Additions (2024-2034): |  | 4921.5
Filler Additions (2035-2070): |  | 21120
CPVRR ($M, 2024-2070): |  | 93654.6164
WACC = 8.14%
New Solar resource options - 35-year book life

## TRC Plan
FPL 000009
20240012-EG
| Case name: |  | 2024 Ten Year Site Plan - TRC Plan
|  |  | System Fixed Costs |  |  |  | System Variable Costs
|  | Annual | Generation | Fixed O&M & | Transmission | Total |  |  |  |  | Total | Total | NPV | NPV |  | 11/1/2023 Load
|  | Discount | Capital | Capital Replacement | Interconnection | Fixed | System | Startup | VOM | Emission | Variable | Annual | Total | Cumulative |  | Net Energy
|  | Factor | Costs | Costs | Costs | Costs | Net Fuel | Costs | Costs | Costs | Costs | Costs | Annual Cost | Total Costs |  | For Load | Annual Rate
| Year | 8.14% | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | Year | (MWh) | ($/1,000 kWh)
1 | 2024 | 1 | 160.1665 | 3.4924 | 9.0337 | 172.6926 | 2539.1509 | 117.2929 | 41.6363 | 0.54329 | 2698.6233 | 2871.3159 | 2871.3159 | 2871.3159 | 2024 | 140469039.7788 | 20.4409
2 | 2025 | 0.92473 | 337.4859 | 12.877 | 14.6556 | 365.0185 | 2820.9674 | 128.2163 | -105.3391 | 0.55533 | 2844.4 | 3209.4185 | 2967.8366 | 5839.1525 | 2025 | 141760595.4501 | 22.6397
3 | 2026 | 0.85512 | 885.2538 | 34.9961 | 81.8273 | 1002.0772 | 3164.5102 | 147.6218 | -360.412 | 0.5249 | 2952.2449 | 3954.322 | 3381.4215 | 9220.574 | 2026 | 142991001.8858 | 27.6543
4 | 2027 | 0.79075 | 1323.4753 | 48.6252 | 146.3264 | 1518.427 | 2983.1399 | 154.7636 | -617.256 | 0.50992 | 2521.1574 | 4039.5845 | 3194.3139 | 12414.8879 | 2027 | 144052949.1213 | 28.0424
5 | 2028 | 0.73123 | 1729.4985 | 62.4188 | 208.3061 | 2000.2235 | 3024.6384 | 168.3054 | -859.6807 | 0.47598 | 2333.7391 | 4333.9626 | 3169.1274 | 15584.0153 | 2028 | 145101074.9487 | 29.8686
6 | 2029 | 0.67619 | 2107.7627 | 94.5068 | 267.8325 | 2470.102 | 3001.3063 | 195.0551 | -1138.3264 | 0.42168 | 2058.4566 | 4528.5586 | 3062.162 | 18646.1773 | 2029 | 146550779.6675 | 30.901
7 | 2030 | 0.62529 | 2465.6974 | 92.7999 | 325.0967 | 2883.594 | 2769.3197 | 203.7966 | -1434.7388 | 0.40147 | 1538.7789 | 4422.3729 | 2765.2676 | 21411.445 | 2030 | 148289967.0067 | 29.8225
8 | 2031 | 0.57822 | 2805.1106 | 114.097 | 380.141 | 3299.3486 | 2661.819 | 229.5266 | -1743.6636 | 0.39702 | 1148.079 | 4447.4276 | 2571.6054 | 23983.0503 | 2031 | 149577661.0371 | 29.7332
9 | 2032 | 0.5347 | 3129.9089 | 147.6818 | 433.0557 | 3710.6464 | 2622.1247 | 263.8064 | -1990.9669 | 0.39573 | 895.36 | 4606.0064 | 2462.8253 | 26445.8757 | 2032 | 151677427.0016 | 30.3671
10 | 2033 | 0.49445 | 3440.2957 | 151.2319 | 483.8294 | 4075.357 | 2663.7903 | 300.2354 | -2171.8809 | 0.38928 | 792.534 | 4867.8911 | 2406.9306 | 28852.8063 | 2033 | 153686054.8413 | 31.6743
11 | 2034 | 0.45723 | 3877.0386 | 182.1471 | 502.942 | 4562.1277 | 2731.4348 | 190.9414 | -2056.9281 | 0.34887 | 865.7969 | 5427.9246 | 2481.8193 | 31334.6255 | 2034 | 155677526.0634 | 34.8665
12 | 2035 | 0.42281 | 3714.8056 | 201.0165 | 484.786 | 4400.6082 | 2963.7297 | 201.8509 | -1916.7213 | 0.35975 | 1249.219 | 5649.8271 | 2388.8294 | 33723.455 | 2035 | 157715250.1878 | 35.823
13 | 2036 | 0.39099 | 3572.9042 | 184.837 | 466.7514 | 4224.4926 | 3182.3833 | 212.245 | -1750.604 | 93.0176 | 1737.0419 | 5961.5345 | 2330.8895 | 36054.3444 | 2036 | 159678552.768 | 37.3346
14 | 2037 | 0.36156 | 3551.9784 | 198.5732 | 459.6113 | 4210.1629 | 3379.6014 | 214.8464 | -1489.2238 | 193.3845 | 2298.6085 | 6508.7714 | 2353.2945 | 38407.6389 | 2037 | 161501513.2313 | 40.3016
15 | 2038 | 0.33434 | 3800.9212 | 256.4293 | 452.854 | 4510.2045 | 3605.4786 | 221.3268 | -1219.2421 | 304.4417 | 2912.0049 | 7422.2095 | 2481.5561 | 40889.195 | 2038 | 163154117.4882 | 45.492
16 | 2039 | 0.30918 | 3793.8658 | 243.2548 | 446.2604 | 4483.3811 | 3802.7915 | 223.9492 | -938.7209 | 424.2639 | 3512.2838 | 7995.6649 | 2472.0606 | 43361.2555 | 2039 | 164626973.0906 | 48.5684
17 | 2040 | 0.2859 | 3793.0492 | 261.1129 | 439.8569 | 4494.0191 | 4108.6786 | 234.6983 | -650.9241 | 546.6381 | 4239.0909 | 8733.1099 | 2496.8191 | 45858.0747 | 2040 | 165934759.0104 | 52.6298
18 | 2041 | 0.26438 | 3793.4038 | 303.998 | 433.7191 | 4531.1209 | 4294.9398 | 239.6118 | -348.848 | 627.3009 | 4813.0044 | 9344.1253 | 2470.418 | 48328.4927 | 2041 | 164918528.2227 | 56.659
19 | 2042 | 0.24448 | 3795.5761 | 299.5391 | 428.1837 | 4523.299 | 4508.7336 | 245.8335 | -30.9542 | 738.8876 | 5462.5005 | 9985.7995 | 2441.34 | 50769.8327 | 2042 | 166510767.1957 | 59.9709
20 | 2043 | 0.22608 | 3675.2826 | 312.8312 | 410.8802 | 4398.994 | 4742.8959 | 255.5353 | 298.8299 | 861.2235 | 6158.4847 | 10557.4787 | 2386.8178 | 53156.6505 | 2043 | 168119102.7607 | 62.7976
21 | 2044 | 0.20906 | 3681.9006 | 390.6827 | 407.1252 | 4479.7085 | 5180.7212 | 272.5144 | 312.8032 | 1013.5947 | 6779.6334 | 11259.3419 | 2353.8875 | 55510.538 | 2044 | 169743699.3898 | 66.3314
22 | 2045 | 0.19332 | 3688.7503 | 353.1946 | 404.235 | 4446.18 | 5601.6648 | 281.555 | 327.567 | 1194.8015 | 7405.5884 | 11851.7684 | 2291.2342 | 57801.7722 | 2045 | 171384723.2394 | 69.153
23 | 2046 | 0.17877 | 3547.7001 | 401.6014 | 388.4281 | 4337.7297 | 5833.5494 | 288.8468 | 340.6682 | 1351.2684 | 7814.3328 | 12152.0625 | 2172.4509 | 59974.2231 | 2046 | 173042342.1682 | 70.2259
24 | 2047 | 0.16532 | 3553.6546 | 411.8709 | 387.1395 | 4352.6651 | 6240.2676 | 299.7728 | 357.5142 | 1546.6297 | 8444.1842 | 12796.8493 | 2115.5177 | 62089.7407 | 2047 | 174716725.7539 | 73.2434
25 | 2048 | 0.15287 | 3562.9697 | 433.0126 | 386.7408 | 4382.7231 | 6691.4655 | 323.9686 | 371.9718 | 1761.1126 | 9148.5184 | 13531.2415 | 2068.5446 | 64158.2853 | 2048 | 176408045.3109 | 76.7042
26 | 2049 | 0.14136 | 3574.2813 | 486.3009 | 386.9765 | 4447.5587 | 7164.1317 | 333.3425 | 381.1086 | 1993.7039 | 9872.2866 | 14319.8453 | 2024.3201 | 66182.6054 | 2049 | 178116473.9087 | 80.396
27 | 2050 | 0.13072 | 3437.3127 | 529.0011 | 372.2332 | 4338.547 | 7904.5414 | 355.3406 | 400.7959 | 2279.544 | 10940.2219 | 15278.7689 | 1997.298 | 68179.9034 | 2050 | 179842186.3891 | 84.9565
28 | 2051 | 0.12088 | 3458.6022 | 500.5179 | 373.386 | 4332.5061 | 8062.9089 | 344.3251 | 417.7145 | 2378.1317 | 11203.0802 | 15535.5863 | 1878.0009 | 70057.9043 | 2051 | 181585359.385 | 85.5553
29 | 2052 | 0.11178 | 3645.1379 | 580.2536 | 391.1235 | 4616.5149 | 8387.7653 | 349.1973 | 445.7222 | 2542.2173 | 11724.9022 | 16341.4171 | 1826.7179 | 71884.6222 | 2052 | 183346171.3384 | 89.1288
30 | 2053 | 0.10337 | 3836.1608 | 648.8269 | 409.1519 | 4894.1396 | 9080.2468 | 353.9279 | 501.9243 | 2876.5697 | 12812.6687 | 17706.8083 | 1830.3565 | 73714.9787 | 2053 | 185124802.5188 | 95.648
31 | 2054 | 0.095589 | 3808.7302 | 687.1426 | 408.8331 | 4904.7059 | 9385.004 | 362.8298 | 532.4481 | 3064.7216 | 13345.0035 | 18249.7094 | 1744.476 | 75459.4547 | 2054 | 186921435.0425 | 97.633
32 | 2055 | 0.088394 | 3670.8372 | 690.4651 | 392.3504 | 4753.6526 | 9496.9043 | 378.7598 | 554.2495 | 3168.6304 | 13598.5439 | 18352.1966 | 1622.2237 | 77081.6784 | 2055 | 188736252.8909 | 97.2373
33 | 2056 | 0.08174 | 4084.5823 | 777.4232 | 431.4306 | 5293.4361 | 10077.4112 | 376.8931 | 603.0465 | 3485.3858 | 14542.7365 | 19836.1726 | 1621.415 | 78703.0934 | 2056 | 190569441.9301 | 104.0889
34 | 2057 | 0.075587 | 3947.6818 | 815.1535 | 414.6496 | 5177.485 | 10286.1188 | 358.8181 | 634.9532 | 3657.5726 | 14937.4626 | 20114.9476 | 1520.4385 | 80223.5319 | 2057 | 192421189.9298 | 104.536
35 | 2058 | 0.069898 | 4001.0343 | 871.6926 | 417.2182 | 5289.945 | 10373.4658 | 364.0823 | 655.4239 | 3777.7642 | 15170.7362 | 20460.6812 | 1430.1568 | 81653.6887 | 2058 | 194291686.5833 | 105.3091
36 | 2059 | 0.064636 | 4027.1905 | 934.7988 | 418.6075 | 5380.5968 | 10538.9078 | 374.6057 | 685.5623 | 3939.4009 | 15538.4767 | 20919.0734 | 1352.1338 | 83005.8225 | 2059 | 196181123.5265 | 106.6314
37 | 2060 | 0.059771 | 4043.1223 | 971.9508 | 421.0638 | 5436.1368 | 10657.6568 | 385.1846 | 715.2145 | 4082.7031 | 15840.759 | 21276.8958 | 1271.7423 | 84277.5648 | 2060 | 198089694.3587 | 107.4104
38 | 2061 | 0.055272 | 4011.0434 | 1004.9356 | 413.0685 | 5429.0475 | 10771.9482 | 391.2696 | 737.0371 | 4225.1471 | 16125.402 | 21554.4495 | 1191.3556 | 85468.9204 | 2061 | 200017594.6619 | 107.7628
39 | 2062 | 0.051111 | 3761.9414 | 1073.3026 | 383.3767 | 5218.6206 | 10943.7069 | 369.171 | 767.284 | 4399.0594 | 16479.2213 | 21697.8419 | 1109.008 | 86577.9284 | 2062 | 201965022.0216 | 107.4337
40 | 2063 | 0.047264 | 3967.3391 | 1095.4243 | 399.9463 | 5462.7096 | 11365.9801 | 376.4092 | 825.5774 | 4716.4894 | 17284.4561 | 22747.1658 | 1075.1252 | 87653.0536 | 2063 | 203932176.0472 | 111.5428
41 | 2064 | 0.043706 | 3958.7884 | 1265.9141 | 394.9283 | 5619.6308 | 11580.9285 | 392.2872 | 867.0579 | 4951.426 | 17791.6997 | 23411.3305 | 1023.2258 | 88676.2794 | 2064 | 205919258.3928 | 113.6918
42 | 2065 | 0.040417 | 3958.5549 | 1228.8422 | 390.888 | 5578.2851 | 11716.5815 | 391.9824 | 902.8035 | 5136.5413 | 18147.9087 | 23726.1938 | 958.9304 | 89635.2098 | 2065 | 207926472.778 | 114.1086
43 | 2066 | 0.037374 | 3969.0835 | 1302.11 | 388.0602 | 5659.2537 | 11853.4563 | 409.5216 | 938.2356 | 5327.2281 | 18528.4416 | 24187.6953 | 903.9973 | 90539.2072 | 2066 | 209954025.0091 | 115.2047
44 | 2067 | 0.034561 | 3990.1073 | 1375.4067 | 386.5348 | 5752.0488 | 11977.9034 | 406.8367 | 975.9266 | 5519.6401 | 18880.3067 | 24632.3555 | 851.3188 | 91390.526 | 2067 | 212002123.0008 | 116.1892
45 | 2068 | 0.031959 | 4021.9148 | 1524.3458 | 386.4539 | 5932.7145 | 12084.0721 | 386.1185 | 1008.1713 | 5709.6415 | 19188.0034 | 25120.7179 | 802.8455 | 92193.3715 | 2068 | 214070976.7973 | 117.3476
46 | 2069 | 0.029554 | 3877.3209 | 1509.5 | 372.465 | 5759.2859 | 12220.2448 | 389.3915 | 1049.7878 | 5920.6347 | 19580.0588 | 25339.3447 | 748.8743 | 92942.2458 | 2069 | 216160798.5946 | 117.2245
47 | 2070 | 0.027329 | 4036.4251 | 1643.5525 | 387.8102 | 6067.7878 | 12370.3684 | 401.3195 | 1084.4358 | 6142.3529 | 19998.4766 | 26066.2643 | 712.3706 | 93654.6164 | 2070 | 218271802.762 | 119.4211
|  | Total NPV = | 32921.2393 | 2862.6459 | 3914.8514 | 39698.7366 | 52433.5588 | 2841.1448 | -8935.103 | 7616.2792 | 53955.8798 | 93654.6164