## Resource Plans
FPL 000044
20240012-EG
2024 Ten Year Site Plan - RIM Plan
Common to all Plans Retirements / Additions | Year | 2024 TYSP 522 MW Battery NW FL 2,235 MW Solar 2026 - 2033 Min. 300 MW Battery 2027 - 2033 | Summer RM%
+72 MW GE Upgrades Daniel 1&2 (502 MW) | 2024 | 894 MW SoBRA 745 MW SolarTogether Extension | 22.6657
+6 MW GE Upgrades +29 MW OCEC Rotor Upgrade 522 MW Battery NW FL 12/01/25 COD Pea Ridge (12 MW) Crist 4 (75MW) | 2025 | 894 MW SoBRA 596 MW Solar Together Extension | 23.4982
-- | 2026 | 522 MW Battery NWFL 2,235 MW Solar | 25.4543
+20 MW GE Upgrades Broward South (4 MW) Crist 5 (75 MW) | 2027 | 2,235 MW Solar 300 MW Battery | 25.7617
Lansing Smith 3A (32 MW) | 2028 | 2,235 MW Solar 300 MW Battery | 25.401
Scherer 3 (215 MW) | 2029 | 2,235 MW Solar 300 MW Battery | 24.3371
Perdido 1&2 (3 MW) | 2030 | 2,235 MW Solar 300 MW Battery | 23.8387
-- | 2031 | 2,235 MW Solar 300 MW Battery | 23.0343
| 2032 | 2,235 MW Solar 300 MW Battery | 21.1722
| 2033 | 2,235 MW Solar 500 MW Battery | 20
Manatee 1-2 (1,590 MW) | 2034 | 3x1 Martin CC, (1,991 MW) 1,000 MW Battery | 25.0046
--- | 2035 | -- | 22.2659
Kingfisher PPA (81 MW) | 2036 | 1 x 660 MW Filler | 21.4702
--- | 2037 | 1 x 660 MW Filler | 20.9881
--- | 2038 | 1 x 660 MW Filler | 20.5861
--- | 2039 | 1 x 660 MW Filler | 20.3232
--- | 2040 | 1 x 660 MW Filler | 20.2236
--- | 2041 | 1 x 660 MW Filler | 20.8051
--- | 2042 | 1 x 660 MW Filler | 21.4565
--- | 2043 | -- | 20.0532
--- | 2044 | 1 x 660 MW Filler | 20.6753
--- | 2045 | 1 x 660 MW Filler | 21.2712
--- | 2046 | -- | 20
--- | 2047 | 1 x 660 MW Filler | 20.5687
--- | 2048 | 1 x 660 MW Filler | 21.113
--- | 2049 | 1 x 660 MW Filler | 21.6335
--- | 2050 | -- | 20.3611
--- | 2051 | 1 x 660 MW Filler | 20.8557
Turkey Point 3 (837 MW) | 2052 | 2 x 660 MW Filler | 20.8618
Turkey Point 4 (841 MW) | 2053 | 2 x 660 MW Filler | 20.8381
--- | 2054 | 1 x 660 MW Filler | 21.2758
--- | 2055 | -- | 20.0107
St. Lucie 1 (981 MW) | 2056 | 3 x 660 MW Filler | 21.2789
--- | 2057 | -- | 20.015
--- | 2058 | 1 x 660 MW Filler | 20.3961
--- | 2059 | 1 x 660 MW Filler | 20.7576
--- | 2060 | 1 x 660 MW Filler | 21.0992
--- | 2061 | 1 x 660 MW Filler | 21.421
--- | 2062 | -- | 20.1581
St. Lucie 2 (840 MW) | 2063 | 2 x 660 MW Filler | 20.0375
--- | 2064 | 1 x 660 MW Filler | 20.3245
--- | 2065 | 1 x 660 MW Filler | 20.5938
--- | 2066 | 1 x 660 MW Filler | 20.8454
--- | 2067 | 1 x 660 MW Filler | 21.0796
--- | 2068 | 1 x 660 MW Filler | 21.2978
--- | 2069 | -- | 20.0398
--- | 2070 | 1 x 660 MW Filler | 20.2395
Nameplate Solar Additions (2024-2033): |  | 21009
Storage Additions (2024-2034): |  | 3821.5
Filler Additions (2035-2070): |  | 21780
CPVRR ($M, 2024-2070): |  | 94733.1406
WACC = 8.14%
New Solar resource options - 35-year book life

## RIM Plan
FPL 000045
20240012-EG
| Case name: |  | 2024 Ten Year Site Plan - RIM Plan
|  |  | System Fixed Costs |  |  |  | System Variable Costs
|  | Annual | Generation | Fixed O&M & | Transmission | Total |  |  |  |  | Total | Total | NPV | NPV |  | 11/1/2023 Load
|  | Discount | Capital | Capital Replacement | Interconnection | Fixed | System | Startup | VOM | Emission | Variable | Annual | Total | Cumulative |  | Net Energy
|  | Factor | Costs | Costs | Costs | Costs | Net Fuel | Costs | Costs | Costs | Costs | Costs | Annual Cost | Total Costs |  | For Load | Annual Rate
| Year | 8.14% | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | (Millions) | Year | (MWh) | ($/1,000 kWh)
1 | 2024 | 1 | 160.1665 | 3.4924 | 9.0337 | 172.6926 | 2539.7194 | 117.185 | 41.798 | 0.54356 | 2699.2459 | 2871.9385 | 2871.9385 | 2871.9385 | 2024 | 140469039.7788 | 20.4453
2 | 2025 | 0.92473 | 337.4859 | 12.877 | 14.6556 | 365.0185 | 2824.7081 | 127.401 | -105.0528 | 0.55629 | 2847.6127 | 3212.6312 | 2970.8075 | 5842.746 | 2025 | 141760595.4501 | 22.6624
3 | 2026 | 0.85512 | 885.2538 | 34.9961 | 81.8273 | 1002.0772 | 3174.114 | 146.4087 | -359.0684 | 0.52572 | 2961.98 | 3964.0572 | 3389.7462 | 9232.4922 | 2026 | 142991001.8858 | 27.7224
4 | 2027 | 0.79075 | 1323.4753 | 48.6252 | 146.3264 | 1518.427 | 2996.4944 | 154.7364 | -616.7616 | 0.50834 | 2534.9775 | 4053.4045 | 3205.2422 | 12437.7344 | 2027 | 144052949.1213 | 28.1383
5 | 2028 | 0.73123 | 1729.4985 | 62.4188 | 208.3061 | 2000.2235 | 3044.3718 | 166.5752 | -858.0701 | 0.47423 | 2353.3512 | 4353.5747 | 3183.4684 | 15621.2028 | 2028 | 145101074.9487 | 30.0037
6 | 2029 | 0.67619 | 2107.7627 | 94.5068 | 267.8325 | 2470.102 | 3027.0659 | 195.7004 | -1136.4258 | 0.42601 | 2086.7665 | 4556.8685 | 3081.3049 | 18702.5077 | 2029 | 146550779.6675 | 31.0941
7 | 2030 | 0.62529 | 2465.6974 | 92.7999 | 325.0967 | 2883.594 | 2798.9512 | 202.7762 | -1432.5071 | 0.40695 | 1569.6272 | 4453.2212 | 2784.5568 | 21487.0644 | 2030 | 148289967.0067 | 30.0305
8 | 2031 | 0.57822 | 2805.1106 | 114.097 | 380.141 | 3299.3486 | 2696.3771 | 230.6264 | -1741.3806 | 0.40261 | 1186.0255 | 4485.3741 | 2593.5469 | 24080.6114 | 2031 | 149577661.0371 | 29.9869
9 | 2032 | 0.5347 | 3129.9089 | 147.6818 | 433.0557 | 3710.6464 | 2658.4604 | 264.2555 | -1990.3195 | 0.39979 | 932.7962 | 4643.4426 | 2482.8424 | 26563.4538 | 2032 | 151677427.0016 | 30.6139
10 | 2033 | 0.49445 | 3474.2737 | 155.0385 | 484.5964 | 4113.9086 | 2696.6418 | 291.663 | -2176.6023 | 0.39222 | 812.0947 | 4926.0034 | 2435.6642 | 28999.118 | 2033 | 153686054.8413 | 32.0524
11 | 2034 | 0.45723 | 3734.6639 | 163.7127 | 499.6467 | 4398.0233 | 2808.6201 | 225.6915 | -2047.6006 | 0.36433 | 987.0753 | 5385.0986 | 2462.2379 | 31461.3559 | 2034 | 155677526.0634 | 34.5914
12 | 2035 | 0.42281 | 3582.6652 | 192.049 | 481.7277 | 4256.442 | 3043.1164 | 240.6847 | -1910.0747 | 0.37553 | 1374.1019 | 5630.5439 | 2380.6762 | 33842.0321 | 2035 | 157715250.1878 | 35.7007
13 | 2036 | 0.39099 | 3551.7356 | 180.4181 | 474.1131 | 4206.2668 | 3255.2699 | 241.8485 | -1747.9266 | 95.3026 | 1844.4944 | 6050.7613 | 2365.7761 | 36207.8081 | 2036 | 159678552.768 | 37.8934
14 | 2037 | 0.36156 | 3537.2492 | 200.4484 | 466.9402 | 4204.6378 | 3455.7919 | 244.0429 | -1485.4805 | 198.1311 | 2412.4854 | 6617.1233 | 2392.4699 | 38600.278 | 2037 | 161501513.2313 | 40.9725
15 | 2038 | 0.33434 | 3790.774 | 243.7922 | 460.0258 | 4494.592 | 3682.6043 | 252.7275 | -1215.4074 | 311.5565 | 3031.4809 | 7526.0729 | 2516.282 | 41116.56 | 2038 | 163154117.4882 | 46.1286
16 | 2039 | 0.30918 | 3787.9318 | 242.2154 | 453.2812 | 4483.4284 | 3882.7497 | 254.4539 | -935.3658 | 434.0146 | 3635.8523 | 8119.2807 | 2510.2795 | 43626.8395 | 2039 | 164626973.0906 | 49.3193
17 | 2040 | 0.2859 | 3790.0375 | 268.0166 | 446.7097 | 4504.7638 | 4194.6407 | 265.7093 | -647.6707 | 559.1373 | 4371.8166 | 8876.5804 | 2537.8377 | 46164.6772 | 2040 | 165934759.0104 | 53.4944
18 | 2041 | 0.26438 | 3792.6323 | 298.518 | 440.4002 | 4531.5505 | 4384.7628 | 273.9932 | -345.4028 | 641.6196 | 4954.9727 | 9486.5232 | 2508.0654 | 48672.7426 | 2041 | 164918528.2227 | 57.5225
19 | 2042 | 0.24448 | 3797.1224 | 305.8317 | 434.7027 | 4537.6567 | 4601.3745 | 278.6281 | -27.6231 | 755.4548 | 5607.8342 | 10145.491 | 2480.3816 | 51153.1242 | 2042 | 166510767.1957 | 60.9299
20 | 2043 | 0.22608 | 3679.2182 | 323.8329 | 417.2401 | 4420.2911 | 4838.1329 | 291.6081 | 302.3023 | 880.024 | 6312.0674 | 10732.3585 | 2426.3544 | 53579.4786 | 2043 | 168119102.7607 | 63.8378
21 | 2044 | 0.20906 | 3688.2653 | 372.7804 | 413.3259 | 4474.3717 | 5283.3679 | 307.0291 | 316.1978 | 1035.2155 | 6941.8103 | 11416.182 | 2386.6766 | 55966.1552 | 2044 | 169743699.3898 | 67.2554
22 | 2045 | 0.19332 | 3697.5501 | 358.6052 | 410.2766 | 4466.4319 | 5710.0355 | 319.4518 | 332.105 | 1219.6884 | 7581.2806 | 12047.7125 | 2329.115 | 58295.2702 | 2045 | 171384723.2394 | 70.2963
23 | 2046 | 0.17877 | 3558.9348 | 413.1933 | 394.3105 | 4366.4387 | 5944.0478 | 324.415 | 344.688 | 1378.6804 | 7991.8312 | 12358.2699 | 2209.315 | 60504.5851 | 2046 | 173042342.1682 | 71.4176
24 | 2047 | 0.16532 | 3567.3243 | 405.9369 | 392.8627 | 4366.1239 | 6355.0712 | 336.0754 | 362.3638 | 1577.0296 | 8630.5399 | 12996.6638 | 2148.5501 | 62653.1352 | 2047 | 174716725.7539 | 74.3871
25 | 2048 | 0.15287 | 3579.0743 | 449.2847 | 392.3049 | 4420.6638 | 6812.9458 | 359.5675 | 376.3536 | 1795.1878 | 9344.0547 | 13764.7185 | 2104.2366 | 64757.3718 | 2048 | 176408045.3109 | 78.0277
26 | 2049 | 0.14136 | 3592.8209 | 492.187 | 392.3814 | 4477.3893 | 7307.9818 | 387.8017 | 390.6778 | 2035.0842 | 10121.5455 | 14598.9348 | 2063.7735 | 66821.1454 | 2049 | 178116473.9087 | 81.9629
27 | 2050 | 0.13072 | 3458.4714 | 527.7119 | 377.4831 | 4363.6664 | 8056.056 | 409.9134 | 410.6977 | 2324.6511 | 11201.3181 | 15564.9846 | 2034.7132 | 68855.8585 | 2050 | 179842186.3891 | 86.548
28 | 2051 | 0.12088 | 3481.4374 | 518.828 | 378.4869 | 4378.7523 | 8215.9842 | 402.9052 | 427.88 | 2424.6844 | 11471.4538 | 15850.2061 | 1916.0333 | 70771.8918 | 2051 | 181585359.385 | 87.2879
29 | 2052 | 0.11178 | 3669.6497 | 597.8362 | 396.1304 | 4663.6163 | 8537.4589 | 410.2025 | 455.5703 | 2589.0322 | 11992.2639 | 16655.8802 | 1861.87 | 72633.7619 | 2052 | 183346171.3384 | 90.8439
30 | 2053 | 0.10337 | 3855.6485 | 650.7705 | 413.9413 | 4920.3603 | 9228.7601 | 413.7244 | 513.0729 | 2924.1695 | 13079.7269 | 18000.0872 | 1860.6728 | 74494.4347 | 2053 | 185124802.5188 | 97.2322
31 | 2054 | 0.095589 | 3864.3921 | 691.5513 | 414.351 | 4970.2944 | 9527.1701 | 418.232 | 544.2783 | 3111.626 | 13601.3063 | 18571.6008 | 1775.2453 | 76269.6801 | 2054 | 186921435.0425 | 99.3551
32 | 2055 | 0.088394 | 3728.0516 | 709.9496 | 397.7988 | 4835.8 | 9637.1177 | 432.407 | 565.2233 | 3216.1196 | 13850.8676 | 18686.6676 | 1651.7889 | 77921.4689 | 2055 | 188736252.8909 | 99.0094
33 | 2056 | 0.08174 | 4139.7881 | 784.8998 | 436.7226 | 5361.4104 | 10215.9867 | 438.8206 | 613.7341 | 3533.37 | 14801.9113 | 20163.3218 | 1648.1563 | 79569.6252 | 2056 | 190569441.9301 | 105.8056
34 | 2057 | 0.075587 | 4001.2974 | 828.8454 | 419.7851 | 5249.928 | 10430.1318 | 420.3942 | 644.555 | 3708.2492 | 15203.3302 | 20453.2582 | 1546.0105 | 81115.6358 | 2057 | 192421189.9298 | 106.2942
35 | 2058 | 0.069898 | 4053.2689 | 885.3908 | 422.1972 | 5360.8569 | 10507.5848 | 421.0089 | 669.7967 | 3827.0784 | 15425.4687 | 20786.3256 | 1452.9187 | 82568.5544 | 2058 | 194291686.5833 | 106.9852
36 | 2059 | 0.064636 | 4078.0442 | 927.53 | 423.4301 | 5429.0043 | 10677.9527 | 430.5303 | 697.456 | 3991.1387 | 15797.0777 | 21226.082 | 1371.9777 | 83940.5321 | 2059 | 196181123.5265 | 108.1964
37 | 2060 | 0.059771 | 4092.5951 | 986.4199 | 425.7299 | 5504.7449 | 10800.1547 | 443.1029 | 723.1339 | 4136.2513 | 16102.6428 | 21607.3878 | 1291.4962 | 85232.0283 | 2060 | 198089694.3587 | 109.0788
38 | 2061 | 0.055272 | 4059.1353 | 1013.9342 | 417.5782 | 5490.6477 | 10909.1141 | 447.4151 | 747.8258 | 4278.5054 | 16382.8603 | 21873.508 | 1208.9906 | 86441.0189 | 2061 | 200017594.6619 | 109.3579
39 | 2062 | 0.051111 | 3808.6524 | 1065.5126 | 387.73 | 5261.895 | 11071.0819 | 429.9931 | 781.7826 | 4450.8668 | 16733.7243 | 21995.6193 | 1124.2278 | 87565.2467 | 2062 | 201965022.0216 | 108.9081
40 | 2063 | 0.047264 | 4012.6691 | 1104.4469 | 404.1431 | 5521.2592 | 11494.8494 | 435.0046 | 840.7656 | 4770.1105 | 17540.7301 | 23061.9893 | 1090.0051 | 88655.2518 | 2063 | 203932176.0472 | 113.0866
41 | 2064 | 0.043706 | 4002.7376 | 1247.5308 | 398.9686 | 5649.237 | 11714.3614 | 449.9459 | 879.3591 | 5007.6179 | 18051.2843 | 23700.5213 | 1035.8653 | 89691.1171 | 2064 | 205919258.3928 | 115.0962
42 | 2065 | 0.040417 | 4001.1231 | 1229.3737 | 394.772 | 5625.2687 | 11850.0947 | 451.2605 | 912.3382 | 5193.8952 | 18407.5886 | 24032.8574 | 971.3247 | 90662.4418 | 2065 | 207926472.778 | 115.5834
43 | 2066 | 0.037374 | 4010.2708 | 1324.9687 | 391.7877 | 5727.0272 | 11977.7417 | 464.6299 | 951.9118 | 5382.8443 | 18777.1277 | 24504.1549 | 915.8248 | 91578.2666 | 2066 | 209954025.0091 | 116.712
44 | 2067 | 0.034561 | 4029.9137 | 1393.2384 | 390.1058 | 5813.2579 | 12108.8244 | 461.534 | 987.8869 | 5579.1031 | 19137.3484 | 24950.6063 | 862.3179 | 92440.5845 | 2067 | 212002123.0008 | 117.6904
45 | 2068 | 0.031959 | 4060.3403 | 1542.2435 | 389.8685 | 5992.4523 | 12218.3603 | 449.1048 | 1021.7762 | 5771.971 | 19461.2124 | 25453.6646 | 813.4863 | 93254.0708 | 2068 | 214070976.7973 | 118.9029
46 | 2069 | 0.029554 | 3914.3654 | 1526.6348 | 375.7231 | 5816.7234 | 12347.0791 | 447.584 | 1063.143 | 5981.2821 | 19839.0883 | 25655.8116 | 758.2271 | 94012.2979 | 2069 | 216160798.5946 | 118.6885
47 | 2070 | 0.027329 | 4072.0888 | 1666.2907 | 390.9119 | 6129.2913 | 12483.7595 | 460.5872 | 1103.2164 | 6199.4111 | 20246.9742 | 26376.2656 | 720.8427 | 94733.1406 | 2070 | 218271802.762 | 120.8414
|  | Total NPV = | 32866.9881 | 2865.244 | 3942.0441 | 39674.2762 | 53147.5445 | 3064.1613 | -8893.6125 | 7740.7711 | 55058.8644 | 94733.1406